## BoQ1
Government eProcurement System Created By: SUBBIAN VELUSWAMY SENTHIL KUMAR Created Date/Time: 22-Nov-2024 05:17 PM Tender Title: Replacement of Old ACs, Water coolers, Water Purifiers etc at Coimbatore International Airport Tender ID: 2024_AAI_211384_1
Tender Inviting Authority: Asst.Gen.Manager(E-E), Airports Authority of India, Coimbatore International Airport, Coimbatore-641014.
Name of Work: Replacement of Old AC's, Water coolers, Water Purifiers etc at Coimbatore International Airport.
Contract No: 2024_AAI_211384_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | VOLKS ENERGIE PVT LTD (GSTN-07AADCV9396C1ZZ) BID ID -763880 |  | CHENNAI ENGINEERING SERVICES (GSTN-33AADFC4373K1ZH) BID ID -766413 |  | Sri Bhavani Enterprises (GSTN-NA) BID ID -760589
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 1.5TR/5.27 Kw.hr (Min. rating) Inverter Type, 5 star rated Split Type Air Conditioners with Hermetically Sealed Rotary Compressors, Operating on Refriegerant R32 or equivalent eco friendly referigerant gas, wall mounting type, suitable for operation on 230 V, 50 Hz. Single Phase, AC Supply with copper condenser tubes capable of performing: Dehumidifying, Air Circulating, Filtering. The units shall be supplied with standard length of copper refrigerant pipes, thermal insulation, interconnecting PVC Copper power cable, UPVC Drain pipe, LCD chordless remote, first charge of refrigerant etc. complete as required. | 10.00 | Each | 1.00 | 38500.00 | 385000.00 | 35109.00 | 351090.00 | 38500.00 | 385000.00 | 351090.00 | CHENNAI ENGINEERING SERVICES
2.00 | Supply of 1.8TR/6.2 Kw.hr (Min. rating) Inverter Type, 5 star rated Split Type Air Conditioners with Hermetically Sealed Rotary Compressors, Operating on Refriegerant R32 or equivalent eco friendly referigerant gas, wall mounting type, suitable for operation on 230 V, 50 Hz. Single Phase, AC Supply with copper condenser tubes capable of performing: Dehumidifying, Air Circulating, Filtering. The units shall be supplied with standard length of copper refrigerant pipes, thermal insulation, interconnecting PVC Copper power cable, UPVC Drain pipe, LCD chordless remote, first charge of refrigerant etc. complete as required. | 19.00 | Each | 1.00 | 48500.00 | 921500.00 | 42829.00 | 813751.00 | 51000.00 | 969000.00 | 813751.00 | CHENNAI ENGINEERING SERVICES
3.00 | Supply of 3TR/10.55 Kw.hr (Min. rating) Inverter Type, 3 star rated Split Type Air Conditioners with Hermetically Sealed Rotary Compressors, Operating on Refriegerant R32/R410A or equivalent eco friendly referigerant gas, wall mounting type, suitable for operation on 230 V, 50 Hz. Single Phase, AC Supply with copper condenser tubes capable of performing: Dehumidifying, Air Circulating, Filtering. The units shall be supplied with standard length of copper refrigerant pipes, thermal insulation, interconnecting PVC Copper power cable, UPVC Drain pipe, LCD chordless remote, first charge of refrigerant etc. complete as required. | 13.00 | Each | 1.00 | 76100.00 | 989300.00 | 64019.00 | 832247.00 | 66500.00 | 864500.00 | 832247.00 | CHENNAI ENGINEERING SERVICES
4.00 | Supply of 4TR/14.0 Kw.hr (Min. rating) inverter type, Cassette Split Air Conditioners with Hermetically Sealed Rotary Compressors, Operating on Refriegerant R32/R410A or equivalent eco friendly referigerant gas, ceiling mounting type, suitable for operation on 230V, 1Ø/415V, 3Ø 50Hz. AC Supply with copper condenser tubes capable of performing: Dehumidifying, Air Circulating, Filtering. The units shall be supplied with standard length of copper refrigerant pipes, thermal insulation, interconnecting PVC Copper power cable, UPVC Drain pipe, LCD chordless remote, first charge of refrigerant etc. complete as required. | 2.00 | Each | 1.00 | 118000.00 | 236000.00 | 100669.00 | 201338.00 | 100500.00 | 201000.00 | 201000.00 | Sri Bhavani Enterprises
5.00 | Installation, testing and Commissioning of following Air conditionering unit including civil work such as drilling for hole, painting, finish with the same and connection of refrigerant pipelines,Pipe Insulation, mounting stand and control cables comprising of the following including first charge of refrigerant etc. complete as required.
5.01 | 1.5 TR Hi-wall Split AC | 10.00 | Each | 1.00 | 1500.00 | 15000.00 | 1499.00 | 14990.00 | 2000.00 | 20000.00 | 14990.00 | CHENNAI ENGINEERING SERVICES
5.02 | 1.8 TR Hi-wall Split AC | 19.00 | Each | 1.00 | 1500.00 | 28500.00 | 1499.00 | 28481.00 | 2000.00 | 38000.00 | 28481.00 | CHENNAI ENGINEERING SERVICES
5.03 | 3TR Hi-wall Split AC | 13.00 | Each | 1.00 | 2500.00 | 32500.00 | 3499.00 | 45487.00 | 2000.00 | 26000.00 | 26000.00 | Sri Bhavani Enterprises
5.04 | 3TR Hi-wall Split AC | 2.00 | Each | 1.00 | 4000.00 | 8000.00 | 3499.00 | 6998.00 | 3500.00 | 7000.00 | 6998.00 | CHENNAI ENGINEERING SERVICES
6.00 | Supply & laying of copper refrigeratnt gas pipe line, pipe insulation, etc. of following size etc. as required for 2.0/3.0/4.0 TR split AC units.
6.01 | 7/8" Copper pipeline | 40.00 | Mtr | 1.00 | 500.00 | 20000.00 | 899.00 | 35960.00 | 700.00 | 28000.00 | 20000.00 | VOLKS ENERGIE PVT LTD
6.02 | 5/8" Copper pipeline | 100.00 | Mtr | 1.00 | 400.00 | 40000.00 | 599.00 | 59900.00 | 600.00 | 60000.00 | 40000.00 | VOLKS ENERGIE PVT LTD
6.03 | 3/8" Copper pipeline | 80.00 | Mtr | 1.00 | 300.00 | 24000.00 | 399.00 | 31920.00 | 375.00 | 30000.00 | 24000.00 | VOLKS ENERGIE PVT LTD
6.04 | 1/2" Copper pipeline | 100.00 | Mtr | 1.00 | 400.00 | 40000.00 | 499.00 | 49900.00 | 400.00 | 40000.00 | 40000.00 | Sri Bhavani Enterprises, VOLKS ENERGIE PVT LTD
6.05 | 1/4" Copper Pipeline | 100.00 | Mtr | 1.00 | 250.00 | 25000.00 | 299.00 | 29900.00 | 300.00 | 30000.00 | 25000.00 | VOLKS ENERGIE PVT LTD
7.00 | Supplying, Installations, Testing and Commissioning of Wall Mounting Type, 6 KVA Capacity, single phase, automatic line voltage stabilizer, suitable operation on 170 volts to 270 volts AC input, 200 volts to 240 volts AC output, single phase, 50HZ AC power supply with built in time delay, high voltage cut off at 275, and low voltage cut off at 165 volts and input/output/trip indications and suitable for use in 2.0 Ton &1.5 Ton Air conditioning unit etc as required. | 13.00 | Each | 1.00 | 3850.00 | 50050.00 | 5499.00 | 71487.00 | 3500.00 | 45500.00 | 45500.00 | Sri Bhavani Enterprises
8.00 | Providing and fixing extra 32 mm UPVC drain pipe including cutting, jointing with approved solvent cement compound as per IS 14735, wastage etc complete as per manufacturer's specification and as per direction of the Engineer Incharge. | 150.00 | Mtr | 1.00 | 150.00 | 22500.00 | 179.00 | 26850.00 | 300.00 | 45000.00 | 22500.00 | VOLKS ENERGIE PVT LTD
9.00 | Supplying and Fixing 20 amps, 240 volts, SPN industrial type, socket outlet, with 2 pole and earth, metal enclosed plug top alongwith 20 amps "C" curve, DP MCB, in metal enclosure box, on surface or in recess, with the socket out let and complete with connections, testing and commissioning etc. as required. | 10.00 | Each | 1.00 | 1100.00 | 11000.00 | 2499.00 | 24990.00 | 2500.00 | 25000.00 | 11000.00 | VOLKS ENERGIE PVT LTD
10.00 | Supply of mounting stand/bracket for ac out door unit
10.01 | 1.5 or 1.8 TR | 15.00 | Each | 1.00 | 500.00 | 7500.00 | 1199.00 | 17985.00 | 750.00 | 11250.00 | 7500.00 | VOLKS ENERGIE PVT LTD
10.02 | 3 or 4 TR | 12.00 | Each | 1.00 | 1500.00 | 18000.00 | 2199.00 | 26388.00 | 1750.00 | 21000.00 | 18000.00 | VOLKS ENERGIE PVT LTD
11.00 | Dismantling of following type & Capacity Airconditioning Units including indoor and outdoor units, drain pipe arrangements, old copper pipeline with insulations etc. from their location, including making good the damages to the original finish and shifting to AAI stores etc. complete as required
11.01 | 1.5/1.8 TR Hi-wall Split AC | 21.00 | Each | 1.00 | 500.00 | 10500.00 | 749.00 | 15729.00 | 1000.00 | 21000.00 | 10500.00 | VOLKS ENERGIE PVT LTD
11.02 | 3 TR Hi-wall Split AC | 9.00 | Each | 1.00 | 500.00 | 4500.00 | 999.00 | 8991.00 | 1000.00 | 9000.00 | 4500.00 | VOLKS ENERGIE PVT LTD
11.03 | 4 TR Cassette Type AC Units | 1.00 | Each | 1.00 | 750.00 | 750.00 | 1249.00 | 1249.00 | 1000.00 | 1000.00 | 750.00 | VOLKS ENERGIE PVT LTD
12.00 | Supply and installation of Water cooler of capacity Minimum 90 Ltrs storage, 30ltrs per hour cooling capacity self contained storage type drinking water cooler suitable for operation on 230 v +/- 10 %, 50 Hz, single phase A.C. supply. Water Cooler with stainless Steel Storage Tank, All the four sides panel fitted with Stainless steel sheet (SS 304), with inbuilt UV, 2LPM and 6 stage purification unit fitted with suitable Compressors and with 03 faucets (hot,normal and cold) etc. complete as requied. | 4.00 | Each | 22.00 | 139000.00 | 556000.00 | 148869.00 | 595476.00 | 95000.00 | 380000.00 | 380000.00 | Sri Bhavani Enterprises
| Total in Figures |  |  |  |  | 3445600.00 |  | 3291107.00 |  | 3257250.00
Lowest Amount Quoted BY: Sri Bhavani Enterprises(3257250.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of Old ACs, Water coolers, Water Purifiers etc at Coimbatore International Airport Tender ID: 2024_AAI_211384_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Sri Bhavani Enterprises (BID ID -760589) | 3257250.00 | L1
| 2 | CHENNAI ENGINEERING SERVICES (BID ID -766413) | 3291107.00 | L2
| 3 | VOLKS ENERGIE PVT LTD (BID ID -763880) | 3445600.00 | L3