## BoQ1
Government eProcurement System Created By: PALLIPPATTU RAVI HARI Created Date/Time: 18-Nov-2024 12:27 PM Tender Title: SITC of RCL and TDZ inset fittings and its allied works at Calicut International Airport Tender ID: 2024_AAI_211477_1
Tender Inviting Authority: Asst. General Manager Engg(Elect),Calicut Airport
Name of Work :SITC of RCL and TDZ inset Fittings and it's allied works at Calicut Airport.
Contract No: <2024_AAI_211477_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Akshaya Associates (GSTN-33AAMFA0496N1Z4) BID ID -762973 |  | Sai Avionics (GSTN-07ADHFS8725N1ZC) BID ID -764730 |  | REWINDER TECHNO ELECTRICALS (GSTN-18AAFFR7457K1ZL) BID ID -764941 |  | Balaji Engineering (GSTN-33ADGPV2628A1ZV) BID ID -764979 |  | AMA Private Limited (GSTN-27AAACA1016F1ZE) BID ID -764980 |  | YPR ENGINEERING AND SOLUTIONS PRIVATE LIMITED (GSTN-NA) BID ID -764834 |  | vardhman Airport solutions pvt. Ltd. (GSTN-NA) BID ID -763452
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of following LED type Inset light fitting for aviation visual aid requirements complete (but without shallow base) suitable for existing installed LED inset fitting as per specifications, working at a current of 6.6 amps and all standard accessories meeting ICAO specifications/ compliances including spares and extended warranty as per special conditions clause (6 & 22) and technical specifications. Runway cenre line light 8 inch- Bi-directional Clear/ Clear | 51.00 | No |  | 72810.00 | 3713310.00 | 60000.00 | 3060000.00 | 75000.00 | 3825000.00 | 70000.00 | 3570000.00 | 71595.00 | 3651345.00 | 52700.00 | 2687700.00 | 78000.00 | 3978000.00 | 2687700.00 | YPR ENGINEERING AND SOLUTIONS PRIVATE LIMITED
2.00 | Supply of following LED type Inset light fitting for aviation visual aid requirements complete (but without shallow base) suitable for existing installed LED inset fitting as per specifications, working at a current of 6.6 amps and all standard accessories meeting ICAO specifications/ compliances including spares and extended warranty as per special conditions clause (6 & 22) and technical specifications. Runway cenre line light 8 inch- Bi-directional Clear/Red | 44.00 | No |  | 72810.00 | 3203640.00 | 60000.00 | 2640000.00 | 75000.00 | 3300000.00 | 70000.00 | 3080000.00 | 71595.00 | 3150180.00 | 52700.00 | 2318800.00 | 78000.00 | 3432000.00 | 2318800.00 | YPR ENGINEERING AND SOLUTIONS PRIVATE LIMITED
3.00 | Supply of following LED type Inset light fitting for aviation visual aid requirements complete (but without shallow base) suitable for existing installed LED inset fitting as per specifications, working at a current of 6.6 amps and all standard accessories meeting ICAO specifications/ compliances including spares and extended warranty as per special conditions clause (6 & 22) and technical specifications. Runway cenre line light 8 inch- Unidirectional Clear | 11.00 | No |  | 70790.00 | 778690.00 | 55000.00 | 605000.00 | 58000.00 | 638000.00 | 65000.00 | 715000.00 | 61873.00 | 680603.00 | 52700.00 | 579700.00 | 75000.00 | 825000.00 | 579700.00 | YPR ENGINEERING AND SOLUTIONS PRIVATE LIMITED
4.00 | Supply of following LED type Inset light fitting for aviation visual aid requirements complete (but without shallow base) suitable for existing installed LED inset fitting as per specifications, working at a current of 6.6 amps and all standard accessories meeting ICAO specifications/ compliances including spares and extended warranty as per special conditions clause (6 & 22) and technical specifications. Runway touch down zone light 8 inch- Unidirectional Clear | 99.00 | No |  | 51500.00 | 5098500.00 | 60000.00 | 5940000.00 | 58000.00 | 5742000.00 | 65000.00 | 6435000.00 | 61873.00 | 6125427.00 | 44900.00 | 4445100.00 | 47000.00 | 4653000.00 | 4445100.00 | YPR ENGINEERING AND SOLUTIONS PRIVATE LIMITED
5.00 | Installation, testing and commissioning of above LED Inset light fitting on the existing shallow base as per requirements, working at a current of 6.6 amps and all standard accessories meeting ICAO specifications/ compliances as required. | 198.00 | No |  | 500.00 | 99000.00 | 800.00 | 158400.00 | 500.00 | 99000.00 | 2000.00 | 396000.00 | 500.00 | 99000.00 | 300.00 | 59400.00 | 1000.00 | 198000.00 | 59400.00 | YPR ENGINEERING AND SOLUTIONS PRIVATE LIMITED
6.00 | Providing and laying in position cement concrete of grade 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), including removal of earth, levelling as required around each CI box on all sides with size 200 cm x 200 cm x 10 cm as per drawing/as per directives of EIC. Note: The work involves providing tapping in the damaged holes of CI box and removing the broken bolts and rethreading complete as required. | 560.00 | Cum |  | 9050.00 | 5068000.00 | 1000.00 | 560000.00 | 3000.00 | 1680000.00 | 7000.00 | 3920000.00 | 4000.00 | 2240000.00 | 5500.00 | 3080000.00 | 4850.00 | 2716000.00 | 560000.00 | Sai Avionics
7.00 | Supply and fixing of CI Collars of following heights suitable for mounting on the existing C.I.box , made out of water tight round type metal container of outside dia 330 mm and 10 mm thick MS moulding all around, except top surface which is 15 mm thick with clear opening of 220mm dia on the top & bottom with 6 Nos. M-10 tapped hole at hole centre of 260mm to recieve bolts, along with suitable neoprene gaskets, existing 6 No. M-10 SS bolt, plain and spring washers etc filling & finishing around the box with suitable sealant etc. as required,complete as per direction of Engineer-in-charge. 75 mm dia | 200.00 | No |  | 2400.00 | 480000.00 | 2300.00 | 460000.00 | 4000.00 | 800000.00 | 3000.00 | 600000.00 | 5000.00 | 1000000.00 | 2800.00 | 560000.00 | 3200.00 | 640000.00 | 460000.00 | Sai Avionics
8.00 | Supply and fixing of Lightning arrestor for the primary cable (5 KV AGL) at field side including suitable enclosure, frangible base, supports etc., complete as requried for protection of CCR. | 16.00 | No |  | 17000.00 | 272000.00 | 40000.00 | 640000.00 | 5000.00 | 80000.00 | 5000.00 | 80000.00 | 70000.00 | 1120000.00 | 3500.00 | 56000.00 | 25000.00 | 400000.00 | 56000.00 | YPR ENGINEERING AND SOLUTIONS PRIVATE LIMITED
9.00 | Repairing of earth pits by dismantling the existing masonry enclosure and providing RCC enclosure of 1:2:4 grade (1 cement : 2 coarse sand : 4 graded stone) and reinforced with steel rods 8mm dia in a pattern approved by AAI, providing hinged MS cover of minimum 8 mm thickness with suitable locking system as per specifications including, painting the earth pit portion above ground and cover plate, numbering the same, providing and fixing suitable funnel, removing of debris etc. as per the direction of EIC. | 40.00 | No |  | 3250.00 | 130000.00 | 10000.00 | 400000.00 | 6000.00 | 240000.00 | 3000.00 | 120000.00 | 2000.00 | 80000.00 | 1800.00 | 72000.00 | 7000.00 | 280000.00 | 72000.00 | YPR ENGINEERING AND SOLUTIONS PRIVATE LIMITED
10.00 | Supply of M10 SS bolt sets (set of 6 No.) including spring and plain washers suitable for base plates. | 100.00 | No |  | 175.00 | 17500.00 | 50.00 | 5000.00 | 50.00 | 5000.00 | 60.00 | 6000.00 | 150.00 | 15000.00 | 180.00 | 18000.00 | 200.00 | 20000.00 | 5000.00 | Sai Avionics, REWINDER TECHNO ELECTRICALS
| Total in Figures |  |  |  |  | 18860640.00 |  | 14468400.00 |  | 16409000.00 |  | 18922000.00 |  | 18161555.00 |  | 13876700.00 |  | 17142000.00
Lowest Amount Quoted BY: YPR ENGINEERING AND SOLUTIONS PRIVATE LIMITED(13876700.00)

## BOQ Summary
BOQ Summary Details Tender Title: SITC of RCL and TDZ inset fittings and its allied works at Calicut International Airport Tender ID: 2024_AAI_211477_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | YPR ENGINEERING AND SOLUTIONS PRIVATE LIMITED (BID ID -764834) | 13876700.00 | L1
| 2 | Sai Avionics (BID ID -764730) | 14468400.00 | L2
| 3 | REWINDER TECHNO ELECTRICALS (BID ID -764941) | 16409000.00 | L3
| 4 | vardhman Airport solutions pvt. Ltd. (BID ID -763452) | 17142000.00 | L4
| 5 | AMA Private Limited (BID ID -764980) | 18161555.00 | L5
| 6 | Akshaya Associates (BID ID -762973) | 18860640.00 | L6
| 7 | Balaji Engineering (BID ID -764979) | 18922000.00 | L7