## BoQ1
Government eProcurement System Created By: KUMAR RIJENDRA Created Date/Time: 30-Oct-2024 01:19 PM Tender Title: Provision of Gas suppression system at Nav Aids site( DVOR,GP and LLZ) at B M Airport Ranchi. Tender ID: 2024_AAI_211936_1
Tender Inviting Authority: SM (E-E), AAI, B.M.airport, Ranchi
Name of Work:Provision of Gas suppression system at Nav-Aids site( DVOR,GP & LLZ) at B M Airport Ranchi.
Contract No: 2024_AAI_211936_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | CENTRE TAP ENGINEERING (GSTN-24AGPPP8172K1ZP) BID ID -759402 |  | PYROGUARD ENGINEERS PRIVATE LIMITED (GSTN-07AACCP9466E1Z7) BID ID -759729 |  | Nexus Fire And Security Systems (GSTN-07AAKFN7125K1ZY) BID ID -759879 |  | advent electric technologies pvt. ltd. (GSTN-07AAJCA2055K1ZN) BID ID -760404
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Design, supply, instalation, testing and commissioning of Automatic Gas Suppression System consisting of Cylinder PESO Approved, complete with UL/VDS/PESO Approved valve assembly and arrangement for supervisory switch connection for monitoring cylinder pressure, a pressure guage with a safety burst disc, electronic control head/Solenoid, pressure operated control head,flexible hose, strap, NRV, Pressure Switch and a safety cap, required nos. of Nozzles (UL/VDS listed), Piping, Manifold, Gas Release panel, Fire Alarm System, Aspiration Detector etc. complete as required. (Gas Quantity would be as per the volume given below and as per the UL/VDS certification) CLEAN AGENT (FK-5-1-12)/Inset Gas with Zero Ozone Depletion Potential (ODP), has appearance/Colourless gas and odour less. Note: The cylinder, Volume of Gas, Nos. of Nozzles, piping design and pressure claculations using manufacturer design software for a given dimension of room duly approved by manufacturer (OEM) shall be submitted prior to starting of the works. Gas Suppression System for following rooms and given approximate volume.
1.01 | DVOR ( 4.9 m X 3.8 m X 3.0 m + 3.3 m x 2.3 m x 3.0 m) | 1.00 | Job | 165909.00 | 800000.00 | 800000.00 | 508600.00 | 508600.00 | 615352.00 | 615352.00 | 756824.00 | 756824.00 | 508600.00 | PYROGUARD ENGINEERS PRIVATE LIMITED
1.02 | GP ( 4 m x 3.4 m x 3.0 m) | 1.00 | Job | 954418.00 | 400000.00 | 400000.00 | 449320.00 | 449320.00 | 439116.00 | 439116.00 | 378412.00 | 378412.00 | 378412.00 | advent electric technologies pvt. ltd.
1.03 | LLZ ( 4.0 m x 3.4 m x 3.0 m) | 1.00 | Job | 188372.00 | 400000.00 | 400000.00 | 437250.00 | 437250.00 | 439116.00 | 439116.00 | 378412.00 | 378412.00 | 378412.00 | advent electric technologies pvt. ltd.
| Total in Figures |  |  |  |  | 1600000.00 |  | 1395170.00 |  | 1493584.00 |  | 1513648.00
Lowest Amount Quoted BY: PYROGUARD ENGINEERS PRIVATE LIMITED(1395170.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Gas suppression system at Nav Aids site( DVOR,GP and LLZ) at B M Airport Ranchi. Tender ID: 2024_AAI_211936_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | PYROGUARD ENGINEERS PRIVATE LIMITED (BID ID -759729) | 1395170.00 | L1
| 2 | Nexus Fire And Security Systems (BID ID -759879) | 1493584.00 | L2
| 3 | advent electric technologies pvt. ltd. (BID ID -760404) | 1513648.00 | L3
| 4 | CENTRE TAP ENGINEERING (BID ID -759402) | 1600000.00 | L4