## BoQ1
Government eProcurement System Created By: Jyoti Prakash chauhan Created Date/Time: 22-Nov-2024 03:52 PM Tender Title: Provision of Energy saving measures at CATC, Prayagraj SH SITC of LED fixtures in institute block and replacement of old ceiling fan of residential colony at CATC, Prayagraj Tender ID: 2024_AAI_212213_1
Tender Inviting Authority: Asstt. General Manager (Engg.-Electrical), AAI, CATC, Prayagraj
Name of Work: Provision of Energy saving measures at CATC, Prayagraj SH: SITC of LED fixtures in institute block and replacement of old ceiling fan of residential colony at CATC, Prayagraj.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Genesis (GSTN-09AGAPJ4118N1ZA) BID ID -763869 |  | Industrial Traders (GSTN-09ACJPC1773F1ZQ) BID ID -766066 |  | Avion industries (GSTN-09AFZPJ4337F1ZZ) BID ID -766598 |  | Yash Energy Pvt. Ltd (GSTN-24AAACY3771H1ZA) BID ID -766627 |  | Aditya Techno Products Private Limited (GSTN-09AAGCA0910L1ZS) BID ID -767141 |  | Awasthi Electric Works (GSTN-09ABAPA1866D1Z5) BID ID -767256 |  | BATRA ENGINEERS (GSTN-NA) BID ID -763834 |  | SAURABH ENTERPRISES (GSTN-NA) BID ID -763428 |  | Shiva Enterprises (GSTN-NA) BID ID -766968 |  | SYNERGY LIGHTING SOLUTIONS (GSTN-NA) BID ID -766813
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FR-LSH PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FR-LSH PVC insulated copper conductor single core cable etc. as required. (a) Group C | 50.00 | Point | 1.00 | 1150.00 | 57500.00 | 1020.00 | 51000.00 | 1100.00 | 55000.00 | 1888.00 | 94400.00 | 800.00 | 40000.00 | 1625.00 | 81250.00 | 450.00 | 22500.00 | 1200.00 | 60000.00 | 2100.00 | 105000.00 | 800.00 | 40000.00 | 22500.00 | BATRA ENGINEERS
2.00 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point (without independent switch etc.) with 1.5 sq. mm FR-LSH PVC insulated copper conductor single core cable in surface/ recessed steel conduit, and earthing the point with 1.5 sq. mm FR-LSH PVC insulated copper conductor single core cable etc. as required. (a) Group C | 20.00 | Point | 1.00 | 800.00 | 16000.00 | 840.00 | 16800.00 | 750.00 | 15000.00 | 1770.00 | 35400.00 | 550.00 | 11000.00 | 970.00 | 19400.00 | 380.00 | 7600.00 | 550.00 | 11000.00 | 2010.00 | 40200.00 | 600.00 | 12000.00 | 7600.00 | BATRA ENGINEERS
3.00 | Circuit / Submain wiring in steel conduit: Wiring for circuit / submain wiring along with earth wire with the following sizes of FR-LSH PVC insulated copper conductor, single core cable in surface / recessed steel conduit as required. (a) 2X4 sq.mm + 1X4 sq. mm | 50.00 | Meter | 1.00 | 200.00 | 10000.00 | 240.00 | 12000.00 | 250.00 | 12500.00 | 514.00 | 25700.00 | 200.00 | 10000.00 | 290.00 | 14500.00 | 220.00 | 11000.00 | 200.00 | 10000.00 | 69.00 | 3450.00 | 250.00 | 12500.00 | 3450.00 | Shiva Enterprises
4.00 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator). (a) 8 way (8 + 24), Double door | 4.00 | Each | 1.00 | 4500.00 | 18000.00 | 5239.00 | 20956.00 | 3300.00 | 13200.00 | 5428.00 | 21712.00 | 3500.00 | 14000.00 | 5000.00 | 20000.00 | 3800.00 | 15200.00 | 3800.00 | 15200.00 | 10500.00 | 42000.00 | 4000.00 | 16000.00 | 13200.00 | Avion industries
5.00 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator). (a) 8 way , Double door | 8.00 | Each | 1.00 | 1600.00 | 12800.00 | 1764.00 | 14112.00 | 1200.00 | 9600.00 | 2596.00 | 20768.00 | 1450.00 | 11600.00 | 1700.00 | 13600.00 | 2500.00 | 20000.00 | 2000.00 | 16000.00 | 8900.00 | 71200.00 | 2000.00 | 16000.00 | 9600.00 | Avion industries
6.00 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. (a) Single pole | 150.00 | Each | 1.00 | 170.00 | 25500.00 | 138.00 | 20700.00 | 110.00 | 16500.00 | 177.00 | 26550.00 | 115.00 | 17250.00 | 160.00 | 24000.00 | 150.00 | 22500.00 | 130.00 | 19500.00 | 190.00 | 28500.00 | 125.00 | 18750.00 | 16500.00 | Avion industries
7.00 | Supplying and fixing single pole blanking plate in the existing MCB DB complete etc. as required. | 10.00 | Each | 1.00 | 15.00 | 150.00 | 12.00 | 120.00 | 10.00 | 100.00 | 30.00 | 300.00 | 12.00 | 120.00 | 15.00 | 150.00 | 25.00 | 250.00 | 10.00 | 100.00 | 12.00 | 120.00 | 19.00 | 190.00 | 100.00 | SAURABH ENTERPRISES, Avion industries
8.00 | Supplying and fixing following rating, double pole, 240 V, MCB isolator in the existing MCB DB complete with connections, testing and commissioning etc. as required. |  |  | 1.00
9.00 | (a) 40 Amps | 4.00 | Each | 1.00 | 350.00 | 1400.00 | 230.00 | 920.00 | 350.00 | 1400.00 | 944.00 | 3776.00 | 1150.00 | 4600.00 | 380.00 | 1520.00 | 350.00 | 1400.00 | 216.00 | 864.00 | 1380.00 | 5520.00 | 500.00 | 2000.00 | 864.00 | SAURABH ENTERPRISES
10.00 | (b) 63 Amps | 4.00 | Each | 1.00 | 400.00 | 1600.00 | 249.00 | 996.00 | 500.00 | 2000.00 | 944.00 | 3776.00 | 1250.00 | 5000.00 | 480.00 | 1920.00 | 450.00 | 1800.00 | 285.00 | 1140.00 | 1436.00 | 5744.00 | 812.00 | 3248.00 | 996.00 | Industrial Traders
11.00 | Supplying and fixing following rating, four pole, 415 V, MCB isolator in the existing MCB DB complete with connections, testing and commissioning etc. as required
12.00 | (a) 63 Amps | 2.00 | Each | 1.00 | 800.00 | 1600.00 | 724.00 | 1448.00 | 800.00 | 1600.00 | 1794.00 | 3588.00 | 1400.00 | 2800.00 | 900.00 | 1800.00 | 850.00 | 1700.00 | 500.00 | 1000.00 | 1425.00 | 2850.00 | 1125.00 | 2250.00 | 1000.00 | SAURABH ENTERPRISES
13.00 | (b) 100 Amps | 2.00 | Each | 1.00 | 900.00 | 1800.00 | 900.00 | 1800.00 | 1050.00 | 2100.00 | 7198.00 | 14396.00 | 1500.00 | 3000.00 | 780.00 | 1560.00 | 1050.00 | 2100.00 | 565.00 | 1130.00 | 2125.00 | 4250.00 | 1562.00 | 3124.00 | 1130.00 | SAURABH ENTERPRISES
14.00 | Supply of 8 Watt round shaped surface mounted LED downlight with white powder coated Aluminium housing with inbuilt driver complete with all accessories etc. complete as required. | 1600.00 | Each | 1.00 | 280.00 | 448000.00 | 300.00 | 480000.00 | 250.00 | 400000.00 | 354.00 | 566400.00 | 560.00 | 896000.00 | 280.00 | 448000.00 | 450.00 | 720000.00 | 600.00 | 960000.00 | 765.00 | 1224000.00 | 460.00 | 736000.00 | 400000.00 | Avion industries
15.00 | Supply of 18 to 22 Watt round shaped recess mounted LED downlight with Aluminium die-cast body, finish with drop down PC diffuser to deliver low glare illumination with optimized heat sink for efficient heat dissipation with inbuilt driver complete with all accessories etc. complete as required. | 50.00 | Each | 1.00 | 380.00 | 19000.00 | 456.00 | 22800.00 | 425.00 | 21250.00 | 449.00 | 22450.00 | 600.00 | 30000.00 | 430.00 | 21500.00 | 580.00 | 29000.00 | 815.00 | 40750.00 | 920.00 | 46000.00 | 655.00 | 32750.00 | 19000.00 | Genesis
16.00 | Supply of 18 to 22 Watt round shaped surface mounted LED downlight with white powder coated Aluminium housing with inbuilt driver complete with all accessories etc. complete as required. | 70.00 | Each | 1.00 | 475.00 | 33250.00 | 492.00 | 34440.00 | 460.00 | 32200.00 | 531.00 | 37170.00 | 710.00 | 49700.00 | 400.00 | 28000.00 | 680.00 | 47600.00 | 850.00 | 59500.00 | 1030.00 | 72100.00 | 855.00 | 59850.00 | 28000.00 | Awasthi Electric Works
17.00 | Supply of 36 Watt to 40 Watt LED indoor surface mounted high performance decorated batten integated channel luminaire (4 Feet) with high power LEDs, integrated LED driver with under voltage & high voltage protection and operating range 220-240 volt complete with all accessories etc mounting directly on wall/ ceiling including connections complete etc. as required. | 500.00 | Each | 1.00 | 280.00 | 140000.00 | 420.00 | 210000.00 | 425.00 | 212500.00 | 413.00 | 206500.00 | 505.00 | 252500.00 | 600.00 | 300000.00 | 580.00 | 290000.00 | 490.00 | 245000.00 | 1350.00 | 675000.00 | 550.00 | 275000.00 | 140000.00 | Genesis
18.00 | Supply of 36 to 40 Watt LED recess mounted 2 Feet X 2 Feet square LED luminaries made in powder coated CRCA/Aluminium housing with opal diffuser complete with electronic driver and suitable to operate in 230V, 50Hz AC supply etc. complete as required. | 200.00 | Each | 1.00 | 1450.00 | 290000.00 | 1260.00 | 252000.00 | 1250.00 | 250000.00 | 1357.00 | 271400.00 | 1550.00 | 310000.00 | 1345.00 | 269000.00 | 1650.00 | 330000.00 | 1470.00 | 294000.00 | 1780.00 | 356000.00 | 1375.00 | 275000.00 | 250000.00 | Avion industries
19.00 | Supply of 36 to 40 Watt LED, 2 Feet X 2 Feet square, Aesthetically designed LED flat panel for surface mounting which provideds soft light and glare free symmetrical illumination, made in powder coated CRCA / Aluminium housing with inbuilt driver and suitable to operate in 230V, 50Hz AC supply etc. complete as required. | 70.00 | Each | 1.00 | 1700.00 | 119000.00 | 1680.00 | 117600.00 | 1400.00 | 98000.00 | 1711.00 | 119770.00 | 1500.00 | 105000.00 | 2080.00 | 145600.00 | 1850.00 | 129500.00 | 1680.00 | 117600.00 | 2125.00 | 148750.00 | 1710.00 | 119700.00 | 98000.00 | Avion industries
20.00 | Supply of 80 Watt LED high bay luminaries made in powder coated CRCA/Aluminium PDC housing and toughend glass complete with driver and suitable to operate in 230V, 50Hz AC supply etc. complete as required. | 80.00 | Each | 1.00 | 3000.00 | 240000.00 | 3600.00 | 288000.00 | 2600.00 | 208000.00 | 3304.00 | 264320.00 | 3200.00 | 256000.00 | 3640.00 | 291200.00 | 4800.00 | 384000.00 | 3200.00 | 256000.00 | 4140.00 | 331200.00 | 3600.00 | 288000.00 | 208000.00 | Avion industries
21.00 | Supply of wall/ceiling mounted 18 to 20 Watt Cool daylight LED INVERTER Batten Luminaire (4 Feet) for multipurpose application made from polycorbonated housing and diffuser with integrated LED driver, built-in battery backup for emergency lighting purpose etc. complete as required. | 10.00 | Each | 1.00 | 1000.00 | 10000.00 | 660.00 | 6600.00 | 550.00 | 5500.00 | 708.00 | 7080.00 | 600.00 | 6000.00 | 790.00 | 7900.00 | 950.00 | 9500.00 | 535.00 | 5350.00 | 6430.00 | 64300.00 | 3060.00 | 30600.00 | 5350.00 | SAURABH ENTERPRISES
22.00 | Supply of 8 Watt to 11 Watt LED decorative Bollard luminaire, diffuser at upper portion, IP-65 protection suitable for operation on 230 Volt , 50 HZ AC supply with fixing arrangements and making electrical connections etc complete as required. | 4.00 | Each | 1.00 | 5000.00 | 20000.00 | 1740.00 | 6960.00 | 2200.00 | 8800.00 | 2006.00 | 8024.00 | 2550.00 | 10200.00 | 2080.00 | 8320.00 | 2800.00 | 11200.00 | 1790.00 | 7160.00 | 2200.00 | 8800.00 | 3125.00 | 12500.00 | 6960.00 | Industrial Traders
23.00 | Supply of 30 Watt to 40 Watt LED post top luminaries pole mounted type decorative with acrylic diffuser, IP-65 protection suitable for operation on 230 Volt , 50 HZ AC supply on the existing GI pole with fixing arrangements (reducer etc.) and making electrical connections etc. complete as required. | 130.00 | Each | 1.00 | 3000.00 | 390000.00 | 2844.00 | 369720.00 | 3200.00 | 416000.00 | 3186.00 | 414180.00 | 3400.00 | 442000.00 | 3610.00 | 469300.00 | 3890.00 | 505700.00 | 6500.00 | 845000.00 | 4000.00 | 520000.00 | 3400.00 | 442000.00 | 369720.00 | Industrial Traders
24.00 | Supply of 70 Watt to 72 Watt LED street light Luminaire with aluminium PDC housing and toughened glass cover with IP66 protection with integrated LED driver etc. complete as required. | 100.00 | Each | 1.00 | 1700.00 | 170000.00 | 2040.00 | 204000.00 | 1800.00 | 180000.00 | 2065.00 | 206500.00 | 3000.00 | 300000.00 | 1490.00 | 149000.00 | 2775.00 | 277500.00 | 2070.00 | 207000.00 | 2700.00 | 270000.00 | 2300.00 | 230000.00 | 149000.00 | Awasthi Electric Works
25.00 | SITC of 200 watt LED type flood light luminaries with dia cast aluminium housing , IP-66 protection suitable for operation on 230 Volt , 50 HZ AC supply on the existing pole and making electrical connections etc as required | 35.00 | Each | 1.00 | 4850.00 | 169750.00 | 7020.00 | 245700.00 | 4550.00 | 159250.00 | 6490.00 | 227150.00 | 4500.00 | 157500.00 | 4080.00 | 142800.00 | 7500.00 | 262500.00 | 6400.00 | 224000.00 | 7126.00 | 249410.00 | 5800.00 | 203000.00 | 142800.00 | Awasthi Electric Works
26.00 | SITC of 50 watt LED type flood light luminaries with dia cast aluminium housing , IP-66 protection suitable for operation on 230 Volt , 50 HZ AC supply on the existing pole and making electrical connections etc as required | 20.00 | Each | 1.00 | 1500.00 | 30000.00 | 2040.00 | 40800.00 | 1150.00 | 23000.00 | 2242.00 | 44840.00 | 1100.00 | 22000.00 | 2040.00 | 40800.00 | 2200.00 | 44000.00 | 1570.00 | 31400.00 | 3000.00 | 60000.00 | 2280.00 | 45600.00 | 22000.00 | Aditya Techno Products Private Limited
27.00 | Supply of 1200 mm sweep, BEE 5 star rated, ceiling fan with Brush Less Direct Current (BLDC) Motor, class of insulation: B, 3 nos. blades, 30 cm long down rod, 2 nos. canopies, shackle kit, safety rope, copper winding, Power Factor not less than 0.9, Service Value (CM/M/W) minimum 6.00, Air delivery minimum 210 Cum/Min, 350 RPM (tolerance as per IS : 374-2019), THD less than 10% and all remaining accessories including safety pin, nut bolts, washers, suitable for 230 V, 50 Hz, single phase AC Supply etc. complete as required. | 425.00 | Each | 1.00 | 2180.00 | 926500.00 | 1920.00 | 816000.00 | 2350.00 | 998750.00 | 2301.00 | 977925.00 | 2400.00 | 1020000.00 | 2160.00 | 918000.00 | 2150.00 | 913750.00 | 2015.00 | 856375.00 | 2480.00 | 1054000.00 | 2400.00 | 1020000.00 | 816000.00 | Industrial Traders
28.00 | Supply of following sizes of heavy duty exhaust fan suitable for 230 V/240 V 50 HZ, AC supply confirms to relevant IS and suitable size louvers etc complete as required. (a) 300 mm sweep, 1400 RPM | 100.00 | Each | 1.00 | 2500.00 | 250000.00 | 2190.00 | 219000.00 | 1900.00 | 190000.00 | 1711.00 | 171100.00 | 4150.00 | 415000.00 | 2430.00 | 243000.00 | 2775.00 | 277500.00 | 1630.00 | 163000.00 | 2534.00 | 253400.00 | 2450.00 | 245000.00 | 163000.00 | SAURABH ENTERPRISES
29.00 | Supply of following sizes of heavy duty exhaust fan suitable for 230 V/240 V 50 HZ, AC supply confirms to relevant IS and suitable size louvers etc complete as required. (a) 450 mm sweep, 1400 RPM | 10.00 | Each | 1.00 | 4500.00 | 45000.00 | 3480.00 | 34800.00 | 4300.00 | 43000.00 | 3186.00 | 31860.00 | 9000.00 | 90000.00 | 3760.00 | 37600.00 | 3850.00 | 38500.00 | 2940.00 | 29400.00 | 4200.00 | 42000.00 | 4200.00 | 42000.00 | 29400.00 | SAURABH ENTERPRISES
30.00 | Supply of following sizes of heavy duty exhaust fan suitable for 230 V/240 V 50 HZ, AC supply confirms to relevant IS and suitable size louvers etc complete as required. (a) 600 mm sweep, 900 RPM | 10.00 | Each | 1.00 | 7500.00 | 75000.00 | 7420.00 | 74200.00 | 8000.00 | 80000.00 | 9204.00 | 92040.00 | 11500.00 | 115000.00 | 7910.00 | 79100.00 | 4800.00 | 48000.00 | 6600.00 | 66000.00 | 7585.00 | 75850.00 | 5800.00 | 58000.00 | 48000.00 | BATRA ENGINEERS
31.00 | Supply of following sizes of ventilation fan with powerful air suction capability and auto dust protection louvres suitable for 230 V/240 V 50 HZ, AC supply confirms to relevant IS etc. complete as required. (a) 250 mm sweep, 1200 RPM (min.) | 200.00 | Each | 1.00 | 1100.00 | 220000.00 | 945.00 | 189000.00 | 1300.00 | 260000.00 | 1015.00 | 203000.00 | 1299.00 | 259800.00 | 1130.00 | 226000.00 | 1450.00 | 290000.00 | 925.00 | 185000.00 | 1235.00 | 247000.00 | 1100.00 | 220000.00 | 185000.00 | SAURABH ENTERPRISES
32.00 | Supply of min. 450 mm sweep, 1400 rpm, 3-speed switch control pedestal fan suitable for 230 V/240 V 50 HZ, AC supply complete as required. | 5.00 | Each | 1.00 | 4500.00 | 22500.00 | 2700.00 | 13500.00 | 3000.00 | 15000.00 | 7080.00 | 35400.00 | 3700.00 | 18500.00 | 2880.00 | 14400.00 | 7500.00 | 37500.00 | 3700.00 | 18500.00 | 2500.00 | 12500.00 | 1875.00 | 9375.00 | 9375.00 | SYNERGY LIGHTING SOLUTIONS
33.00 | supply of 400 mm sweep, 2100 rpm high speed wall mounted fan suitable for operation on 230 V , 50 Hz A.C. power supply etc. complete as required. | 20.00 | Each | 1.00 | 2300.00 | 46000.00 | 2040.00 | 40800.00 | 3100.00 | 62000.00 | 2065.00 | 41300.00 | 2100.00 | 42000.00 | 2200.00 | 44000.00 | 2400.00 | 48000.00 | 1800.00 | 36000.00 | 2240.00 | 44800.00 | 2250.00 | 45000.00 | 36000.00 | SAURABH ENTERPRISES
34.00 | Installation, testing and commissioning of pre-wired, prewired Surface/Recessed mounted LED Luminaire/Fitting/Batten/Downlighter compact fluorescent fitting of all types, complete with all accessories etc. directly on ceiling/wall, including connections with 1.5 sq. mm FR-LSH PVC insulated, copper conductor, single core cable, chain, clamps, bolts and all other accessories etc. complete as required. | 400.00 | Each | 1.00 | 90.00 | 36000.00 | 144.00 | 57600.00 | 90.00 | 36000.00 | 590.00 | 236000.00 | 55.00 | 22000.00 | 200.00 | 80000.00 | 90.00 | 36000.00 | 100.00 | 40000.00 | 430.00 | 172000.00 | 150.00 | 60000.00 | 22000.00 | Aditya Techno Products Private Limited
35.00 | Installation, testing and commissioning of ceiling fan, including wiring the down rods of standard length (upto 30 cm) with 1.5 sq. mm FR-LSH PVC insulated, copper conductor, single core cable including providing and fixing phenolic laminated sheet cover and all other accessories on the fan box etc. complete as required. | 400.00 | Each | 1.00 | 75.00 | 30000.00 | 144.00 | 57600.00 | 90.00 | 36000.00 | 590.00 | 236000.00 | 60.00 | 24000.00 | 250.00 | 100000.00 | 90.00 | 36000.00 | 100.00 | 40000.00 | 330.00 | 132000.00 | 150.00 | 60000.00 | 24000.00 | Aditya Techno Products Private Limited
36.00 | Installation of exhaust fan / ventilation fan of 250mm sweep by making the proper opening in wall, window including finishing work, painting in good shade, suitable size screw/fastner/bolt and support for the above fan, connections, testing, commissioning etc. complete as required as per specifications and instructions of Enigineer-in-charge . | 248.00 | Each | 1.00 | 90.00 | 22320.00 | 480.00 | 119040.00 | 600.00 | 148800.00 | 590.00 | 146320.00 | 75.00 | 18600.00 | 500.00 | 124000.00 | 90.00 | 22320.00 | 100.00 | 24800.00 | 320.00 | 79360.00 | 250.00 | 62000.00 | 18600.00 | Aditya Techno Products Private Limited
37.00 | Installation of exhaust fan of 300mm to 450mm sweep in the existing opening including with suitable size screw/fastner/bolt and support and for the above fan, connections, testing, commissioning etc. complete as required. | 115.00 | Each | 1.00 | 130.00 | 14950.00 | 240.00 | 27600.00 | 150.00 | 17250.00 | 472.00 | 54280.00 | 61.00 | 7015.00 | 400.00 | 46000.00 | 90.00 | 10350.00 | 100.00 | 11500.00 | 320.00 | 36800.00 | 250.00 | 28750.00 | 7015.00 | Aditya Techno Products Private Limited
38.00 | Installation of exhaust fan of 600mm sweep in the existing opening including with suitable size screw/fastner/bolt and support and for the above fan, connections, testing, commissioning etc. complete as required. | 10.00 | Each | 1.00 | 200.00 | 2000.00 | 300.00 | 3000.00 | 150.00 | 1500.00 | 295.00 | 2950.00 | 150.00 | 1500.00 | 450.00 | 4500.00 | 90.00 | 900.00 | 100.00 | 1000.00 | 280.00 | 2800.00 | 250.00 | 2500.00 | 900.00 | BATRA ENGINEERS
39.00 | Suplly and fixing of 3 mm thick phenolic laminated sheet of size 10cm X 10cm (approx.) on existing MS box with suitable size non corrosive screw etc complete as required. | 100.00 | Each | 1.00 | 20.00 | 2000.00 | 60.00 | 6000.00 | 50.00 | 5000.00 | 36.00 | 3600.00 | 35.00 | 3500.00 | 15.00 | 1500.00 | 65.00 | 6500.00 | 16.00 | 1600.00 | 110.00 | 11000.00 | 13.00 | 1300.00 | 1300.00 | SYNERGY LIGHTING SOLUTIONS
40.00 | Suplly and fixing of 3 mm thick phenolic laminated sheet of size 10cm X 20cm (approx.) on existing MS box with suitable size non corrosive screw etc complete as required. | 330.00 | Each | 1.00 | 30.00 | 9900.00 | 67.00 | 22110.00 | 80.00 | 26400.00 | 59.00 | 19470.00 | 55.00 | 18150.00 | 25.00 | 8250.00 | 95.00 | 31350.00 | 30.00 | 9900.00 | 125.00 | 41250.00 | 19.00 | 6270.00 | 6270.00 | SYNERGY LIGHTING SOLUTIONS
41.00 | Suplly and fixing of 3 mm thick phenolic laminated sheet of size 15cm X 25cm (approx.) on existing MS box with suitable size non corrosive screw etc complete as required. | 230.00 | Each | 1.00 | 35.00 | 8050.00 | 84.00 | 19320.00 | 150.00 | 34500.00 | 71.00 | 16330.00 | 65.00 | 14950.00 | 48.00 | 11040.00 | 95.00 | 21850.00 | 50.00 | 11500.00 | 130.00 | 29900.00 | 38.00 | 8740.00 | 8050.00 | Genesis
42.00 | Suplly and fixing of 3 mm thick phenolic laminated sheet of size 20cm X 27cm (approx.) on existing MS box with suitable size non corrosive screw etc complete as required. | 50.00 | Each | 1.00 | 35.00 | 1750.00 | 96.00 | 4800.00 | 200.00 | 10000.00 | 95.00 | 4750.00 | 67.00 | 3350.00 | 70.00 | 3500.00 | 105.00 | 5250.00 | 80.00 | 4000.00 | 140.00 | 7000.00 | 50.00 | 2500.00 | 1750.00 | Genesis
43.00 | Supplying and fixing following piano type switch/ socket/accessories on the existing switch box /cover including connections etc. as required.
44.00 | (a) 5/6 amps switch | 1000.00 | Each | 1.00 | 50.00 | 50000.00 | 36.00 | 36000.00 | 17.00 | 17000.00 | 30.00 | 30000.00 | 14.00 | 14000.00 | 35.00 | 35000.00 | 20.00 | 20000.00 | 40.00 | 40000.00 | 13.00 | 13000.00 | 25.00 | 25000.00 | 13000.00 | Shiva Enterprises
45.00 | (b) 2 way 5/6 Amp switch | 50.00 | Each | 1.00 | 64.00 | 3200.00 | 54.00 | 2700.00 | 32.00 | 1600.00 | 48.00 | 2400.00 | 22.00 | 1100.00 | 65.00 | 3250.00 | 25.00 | 1250.00 | 50.00 | 2500.00 | 22.50 | 1125.00 | 34.00 | 1700.00 | 1100.00 | Aditya Techno Products Private Limited
46.00 | (c) 16/20 Amp switch | 150.00 | Each | 1.00 | 120.00 | 18000.00 | 91.00 | 13650.00 | 72.00 | 10800.00 | 97.00 | 14550.00 | 45.00 | 6750.00 | 125.00 | 18750.00 | 60.00 | 9000.00 | 90.00 | 13500.00 | 58.00 | 8700.00 | 82.00 | 12300.00 | 6750.00 | Aditya Techno Products Private Limited
47.00 | (d) 5 pin 5/6 Amp multi socket outlet | 150.00 | Each | 1.00 | 120.00 | 18000.00 | 92.00 | 13800.00 | 27.00 | 4050.00 | 65.00 | 9750.00 | 24.00 | 3600.00 | 55.00 | 8250.00 | 35.00 | 5250.00 | 60.00 | 9000.00 | 65.45 | 9817.50 | 38.00 | 5700.00 | 3600.00 | Aditya Techno Products Private Limited
48.00 | (e) 6 pin 6/16 Amp universal socket outlet with shutter | 250.00 | Each | 1.00 | 100.00 | 25000.00 | 92.00 | 23000.00 | 73.00 | 18250.00 | 101.00 | 25250.00 | 55.00 | 13750.00 | 120.00 | 30000.00 | 60.00 | 15000.00 | 100.00 | 25000.00 | 172.00 | 43000.00 | 82.00 | 20500.00 | 13750.00 | Aditya Techno Products Private Limited
49.00 | (f) 6 Amp Bell push | 50.00 | Each | 1.00 | 80.00 | 4000.00 | 60.00 | 3000.00 | 121.00 | 6050.00 | 59.00 | 2950.00 | 15.00 | 750.00 | 45.00 | 2250.00 | 25.00 | 1250.00 | 55.00 | 2750.00 | 22.00 | 1100.00 | 38.00 | 1900.00 | 750.00 | Aditya Techno Products Private Limited
50.00 | (g) Electronic Step type mini Fan Regulator | 400.00 | Each | 1.00 | 120.00 | 48000.00 | 192.00 | 76800.00 | 31.00 | 12400.00 | 189.00 | 75600.00 | 121.00 | 48400.00 | 240.00 | 96000.00 | 120.00 | 48000.00 | 300.00 | 120000.00 | 170.00 | 68000.00 | 206.00 | 82400.00 | 12400.00 | Avion industries
51.00 | (h) Electronic type mini Dimmer | 50.00 | Each | 1.00 | 150.00 | 7500.00 | 204.00 | 10200.00 | 161.00 | 8050.00 | 201.00 | 10050.00 | 145.00 | 7250.00 | 255.00 | 12750.00 | 1050.00 | 52500.00 | 80.00 | 4000.00 | 143.00 | 7150.00 | 156.00 | 7800.00 | 4000.00 | SAURABH ENTERPRISES
52.00 | (i) Ceiling Rose 2 plate | 75.00 | Each | 1.00 | 20.00 | 1500.00 | 60.00 | 4500.00 | 19.00 | 1425.00 | 48.00 | 3600.00 | 23.00 | 1725.00 | 80.00 | 6000.00 | 30.00 | 2250.00 | 25.00 | 1875.00 | 15.95 | 1196.25 | 38.00 | 2850.00 | 1196.25 | Shiva Enterprises
53.00 | (j) Door bell ding dong type | 50.00 | Each | 1.00 | 180.00 | 9000.00 | 192.00 | 9600.00 | 100.00 | 5000.00 | 166.00 | 8300.00 | 75.00 | 3750.00 | 250.00 | 12500.00 | 100.00 | 5000.00 | 300.00 | 15000.00 | 130.00 | 6500.00 | 170.00 | 8500.00 | 3750.00 | Aditya Techno Products Private Limited
54.00 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including one way ms box, painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit etc. complete as required. (a) 20mm | 100.00 | Meter | 1.00 | 25.00 | 2500.00 | 300.00 | 30000.00 | 115.00 | 11500.00 | 130.00 | 13000.00 | 120.00 | 12000.00 | 240.00 | 24000.00 | 150.00 | 15000.00 | 100.00 | 10000.00 | 55.00 | 5500.00 | 190.00 | 19000.00 | 2500.00 | Genesis
55.00 | Supply and drawing following sizes of FR-LSH PVC insulated copper conductor, single core stranded cable in the existing surface/ recessed steel/ PVC conduit as required. (a) 2 x 1.5 sq.mm. | 100.00 | Meter | 1.00 | 70.00 | 7000.00 | 48.00 | 4800.00 | 115.00 | 11500.00 | 89.00 | 8900.00 | 23.00 | 2300.00 | 70.00 | 7000.00 | 75.00 | 7500.00 | 50.00 | 5000.00 | 95.00 | 9500.00 | 50.00 | 5000.00 | 2300.00 | Aditya Techno Products Private Limited
| Total in Figures |  |  |  |  | 4131020.00 |  | 4351892.00 |  | 4215325.00 |  | 5122825.00 |  | 5145010.00 |  | 4697760.00 |  | 5152320.00 |  | 5175894.00 |  | 6750642.75 |  | 4940147.00
Lowest Amount Quoted BY: Genesis(4131020.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Energy saving measures at CATC, Prayagraj SH SITC of LED fixtures in institute block and replacement of old ceiling fan of residential colony at CATC, Prayagraj Tender ID: 2024_AAI_212213_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Genesis (BID ID -763869) | 4131020.00 | L1
| 2 | Avion industries (BID ID -766598) | 4215325.00 | L2
| 3 | Industrial Traders (BID ID -766066) | 4351892.00 | L3
| 4 | Awasthi Electric Works (BID ID -767256) | 4697760.00 | L4
| 5 | SYNERGY LIGHTING SOLUTIONS (BID ID -766813) | 4940147.00 | L5
| 6 | Yash Energy Pvt. Ltd (BID ID -766627) | 5122825.00 | L6
| 7 | Aditya Techno Products Private Limited (BID ID -767141) | 5145010.00 | L7
| 8 | BATRA ENGINEERS (BID ID -763834) | 5152320.00 | L8
| 9 | SAURABH ENTERPRISES (BID ID -763428) | 5175894.00 | L9
| 10 | Shiva Enterprises (BID ID -766968) | 6750642.75 | L10