## BoQ1
Government eProcurement System Created By: DEVENDRA GOSWAMI Created Date/Time: 25-Nov-2024 04:05 PM Tender Title: Construction of office space adjacent to NITB at S.V. Airport, Raipur. SH Electrical Work Tender ID: 2024_AAI_212463_1
Tender Inviting Authority: Asst. Gen. Manager (E-E), Airports Authority of India, S.V. Airport, Raipur
Name of Work: Construction of office space adjacent to NITB at S.V. Airport, Raipur. SH: Electrical Work.
Contract No: 2024_AAI_212463_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Manish Electricals (GSTN-23ABLPM9012E1ZW) BID ID -767845 |  | Awasthi Electric Works (GSTN-09ABAPA1866D1Z5) BID ID -767890 |  | SAURABH ENTERPRISES (GSTN-NA) BID ID -767780 |  | Roy Enterprises (GSTN-NA) BID ID -763987
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | H1 Amount | H1 Vendor
1.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. | 33.00 | Point | 1211.60 | 1100.00 | 36300.00 | 1100.00 | 36300.00 | 1100.00 | 36300.00 | 1100.00 | 36300.00 | 36300.00 | Roy Enterprises, SAURABH ENTERPRISES, Manish Electricals, Awasthi Electric Works
2.00 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point ( without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed PVC conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc. as required. | 16.00 | Point | 708.24 | 900.00 | 14400.00 | 700.00 | 11200.00 | 900.00 | 14400.00 | 1000.00 | 16000.00 | 16000.00 | Roy Enterprises
3.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required.
4.00 | 2 X 2.5 Sq. mm + 1 X 2.5 Sq. mm earth wire | 828.00 | Meter | 226.72 | 160.00 | 132480.00 | 250.00 | 207000.00 | 200.00 | 165600.00 | 110.00 | 91080.00 | 207000.00 | Awasthi Electric Works
5.00 | 2 X 4 Sq. mm + 1 X 4 Sq. mm earth wire | 130.00 | Meter | 275.60 | 190.00 | 24700.00 | 325.00 | 42250.00 | 250.00 | 32500.00 | 170.00 | 22100.00 | 42250.00 | Awasthi Electric Works
6.00 | Supplying and fixing suitable size GI box with moudular plate and cover in front on surface or in recess, including providing and fixing 5 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required. | 24.00 | Each | 394.16 | 210.00 | 5040.00 | 500.00 | 12000.00 | 400.00 | 9600.00 | 450.00 | 10800.00 | 12000.00 | Awasthi Electric Works
7.00 | Supplying and fixing suitable size GI box with moudular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 A & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required. | 20.00 | Each | 483.60 | 360.00 | 7200.00 | 600.00 | 12000.00 | 400.00 | 8000.00 | 500.00 | 10000.00 | 12000.00 | Awasthi Electric Works
8.00 | Supply of following sizes Aluminium Armoured conductor XLPE insulated, PVC tape inner sheathed Cable for working voltage 1.1 KV grade & as per IS: 7098 (Part- I ) 1988 with up to date ammendments, complete etc as required.
9.00 | 4C X 35 sq. mm | 125.00 | Meter | 489.84 | 240.00 | 30000.00 | 300.00 | 37500.00 | 370.00 | 46250.00 | 290.00 | 36250.00 | 46250.00 | SAURABH ENTERPRISES
10.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. Upto 35 sq. mm (clamped with 1mm thick saddle)
11.00 | upto 35 sq. mm | 55.00 | Meter | 45.76 | 30.00 | 1650.00 | 150.00 | 8250.00 | 25.00 | 1375.00 | 60.00 | 3300.00 | 8250.00 | Awasthi Electric Works
12.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required.
13.00 | upto 35 sq. mm | 70.00 | Meter | 22.88 | 30.00 | 2100.00 | 50.00 | 3500.00 | 25.00 | 1750.00 | 50.00 | 3500.00 | 3500.00 | Roy Enterprises, Awasthi Electric Works
14.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.
15.00 | 4 X 35 sq. mm (32mm) | 6.00 | Each | 305.76 | 600.00 | 3600.00 | 250.00 | 1500.00 | 300.00 | 1800.00 | 200.00 | 1200.00 | 3600.00 | Manish Electricals
16.00 | Providing and fixing 6 SWG dia G.l. wire on surface or in recess for loop earthing along with existing surface/recessed conduit/submain wiring/ cable as required. | 250.00 | Meter | 34.32 | 30.00 | 7500.00 | 25.00 | 6250.00 | 50.00 | 12500.00 | 50.00 | 12500.00 | 12500.00 | Roy Enterprises, SAURABH ENTERPRISES
17.00 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator).
18.00 | 6 Way (4 + 18), Double door | 3.00 | Each | 4106.96 | 6900.00 | 20700.00 | 4500.00 | 13500.00 | 4000.00 | 12000.00 | 2500.00 | 7500.00 | 20700.00 | Manish Electricals
19.00 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Single Pole | 52.00 | Each | 211.12 | 210.00 | 10920.00 | 190.00 | 9880.00 | 150.00 | 7800.00 | 160.00 | 8320.00 | 10920.00 | Manish Electricals
20.00 | Supplying and fixing 63A rating, four pole, 415 volts, isolator in the existing MCB DB complete with connections, testing and commissioning etc. as required. (L&T or equivalent) | 3.00 | Each | 853.84 | 900.00 | 2700.00 | 800.00 | 2400.00 | 900.00 | 2700.00 | 1800.00 | 5400.00 | 5400.00 | Roy Enterprises
21.00 | Supplying and fixing 63A rating, four pole, (three phase and neutral), 415 volts, residual current circuit breaker (RCCB), having a sensitivity current 300 milli amperes in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 3.00 | Each | 2371.20 | 3500.00 | 10500.00 | 3250.00 | 9750.00 | 1850.00 | 5550.00 | 1800.00 | 5400.00 | 10500.00 | Manish Electricals
22.00 | Supplying and fixing 20 A, 240 V, SPN Industrial type socket outlet, with 2 pole and earth, metal enclosed plug top alongwith 20 A "C" curve, SP, MCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket outlet and complete with connections, testing and commissioning etc. as required. | 4.00 | Each | 1338.48 | 1200.00 | 4800.00 | 1600.00 | 6400.00 | 1100.00 | 4400.00 | 1000.00 | 4000.00 | 6400.00 | Awasthi Electric Works
23.00 | Supply of 600mm X 600mm recess Mounted LED 36 Watt fixture as per technical specification of tender document. | 51.00 | Each | 2067.52 | 2200.00 | 112200.00 | 1000.00 | 51000.00 | 1500.00 | 76500.00 | 3000.00 | 153000.00 | 153000.00 | Roy Enterprises
24.00 | Supply of 5 star rated 1200 mm sweep ceiling fan, ISI marked, along with copper wound stator, blades, capacitor, downrod etc.complete as required. | 14.00 | Each | 4094.48 | 2600.00 | 36400.00 | 2000.00 | 28000.00 | 3000.00 | 42000.00 | 2500.00 | 35000.00 | 42000.00 | SAURABH ENTERPRISES
25.00 | Supply of 300mm dia sweep metal body, 900 + 1% RPM heavy duty Exhaust fan with guard and mounting arrangement. | 3.00 | Each | 2318.16 | 3500.00 | 10500.00 | 2400.00 | 7200.00 | 2700.00 | 8100.00 | 2500.00 | 7500.00 | 10500.00 | Manish Electricals
26.00 | Installation, testing and commissioning of pre-wired, LED fitting of all types and wattages, complete with all accessories etc. from false ceiling including GI chain/clutch wire support from slab/truss or directly hanged from truss and including connections with 1.5 sqmm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | 51.00 | Each | 170.56 | 350.00 | 17850.00 | 200.00 | 10200.00 | 100.00 | 5100.00 | 100.00 | 5100.00 | 17850.00 | Manish Electricals
27.00 | Installation, testing and commissioning of ceiling fan, including wiring the down rods of standard length (upto 30 cm) with 1.5 sqmm FRLS PVC insulated, copper conductor, single core cable, including providing and fixing phenolic laminated sheet cover on the fan box etc. as required. | 14.00 | Each | 329.68 | 200.00 | 2800.00 | 150.00 | 2100.00 | 100.00 | 1400.00 | 100.00 | 1400.00 | 2800.00 | Manish Electricals
28.00 | Installation of exhaust fan upto 450 mm sweep in the existing opening, including making good the damage, connection, testing, commissioning etc. as required. | 3.00 | Each | 371.28 | 700.00 | 2100.00 | 350.00 | 1050.00 | 100.00 | 300.00 | 100.00 | 300.00 | 2100.00 | Manish Electricals
29.00 | Supply, Installation, testing and Commssioning of following 5 Star, Air-conditioner with remote operation having air cooled condensor, remote operation, compressor operating on refrigerant R-32, suitable for 230 V, 50Hz, A.C supply etc. including installing the outdoor unit at a suitable location by providing wall mounting brackets/PCC foundation for outdoor unit etc. complete as required. 1.5 TR 5 Star, Air-conditioner | 4.00 | Job | 46064.72 | 46000.00 | 184000.00 | 38800.00 | 155200.00 | 45000.00 | 180000.00 | 50000.00 | 200000.00 | 200000.00 | Roy Enterprises
30.00 | Providing & fixing of Copper Refrigerant piping, Control Cable suitable for R-32/R-410a (Supply and return) refrigerant with insulation tubing as per the manufacturer's standard size suitable for following Split type air conditioners complete as required. (Measurement of 1 running mtr. shall include both supply & return Cu. Piping with insulation beyond length supplied by OEM with AC unit). 1.5 TR, Hi Wall Split AC, 230 V, 50Hz, 1 Ph AC supply | 20.00 | Meter | 1056.64 | 750.00 | 15000.00 | 1150.00 | 23000.00 | 600.00 | 12000.00 | 900.00 | 18000.00 | 23000.00 | Awasthi Electric Works
31.00 | Supplying and laying of size 20mm dia rigid PVC pipe as drain pipe including all accessories such as bends, elbows, flexible connections etc. as required. | 20.00 | Meter | 165.36 | 150.00 | 3000.00 | 80.00 | 1600.00 | 100.00 | 2000.00 | 40.00 | 800.00 | 3000.00 | Manish Electricals
32.00 | Supply of Carbon dioxide type of 6.5 Kg capacity cylinder of relevant ISI. | 2.00 | Nos. | 24193.52 | 7800.00 | 15600.00 | 7000.00 | 14000.00 | 18500.00 | 37000.00 | 8000.00 | 16000.00 | 37000.00 | SAURABH ENTERPRISES
33.00 | Supplying, installation, testing & commissioning of smoke detector with builtin LED and mounting base complete with all connections etc. as required. | 16.00 | Each | 951.60 | 3500.00 | 56000.00 | 1050.00 | 16800.00 | 800.00 | 12800.00 | 2400.00 | 38400.00 | 56000.00 | Manish Electricals
34.00 | Supplying, installation, testing & commissioning of manual call boxes of MS construction in surface/recess with stainless steel chain & hammer assembly complete with glass and push button etc. as required. | 1.00 | Each | 391.04 | 4000.00 | 4000.00 | 1250.00 | 1250.00 | 350.00 | 350.00 | 3500.00 | 3500.00 | 4000.00 | Manish Electricals
35.00 | Supplying, installation, testing & commissioning response indicator on surface/recess MS box having two LEDs metallic cover complete with all connections etc. as required. | 8.00 | Each | 162.24 | 2500.00 | 20000.00 | 200.00 | 1600.00 | 150.00 | 1200.00 | 100.00 | 800.00 | 20000.00 | Manish Electricals
36.00 | Supplying & laying of 2x1.5 sqmm fire survival armoured cable, 600/1000V rated with annealed copper conductor having glass mica fire barrier tape covered by an extruded layer of Cross Linkable Ethylene Propylene Rubber (EPR) insulation and LSZH inner bedding, steel wire armouring & LSZH outer sheath complete as required. | 200.00 | Meter | 296.40 | 160.00 | 32000.00 | 170.00 | 34000.00 | 220.00 | 44000.00 | 110.00 | 22000.00 | 44000.00 | SAURABH ENTERPRISES
37.00 | Supply of 12F SM Multi tube (single sheath Armoured OFC Cable) Make as per AAI preferred make | 500.00 | Meter | 44.72 | 125.00 | 62500.00 | 55.00 | 27500.00 | 40.00 | 20000.00 | 70.00 | 35000.00 | 62500.00 | Manish Electricals
38.00 | Supplying and drawing of UTP 4 pair CAT 6 LAN Cable in the existing surface/ recessed Steel/ PVC conduit as required. | 500.00 | Meter | 48.88 | 80.00 | 40000.00 | 50.00 | 25000.00 | 40.00 | 20000.00 | 30.00 | 15000.00 | 40000.00 | Manish Electricals
39.00 | Supplying and fixing of 25 mm sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required. | 235.00 | Meter | 119.60 | 30.00 | 7050.00 | 100.00 | 23500.00 | 80.00 | 18800.00 | 50.00 | 11750.00 | 23500.00 | Awasthi Electric Works
40.00 | Supplying and fixing following Modular base & cover plate on existing modular metal boxes etc. as required. 1 or 2 Module | 6.00 | Each | 110.24 | 100.00 | 600.00 | 150.00 | 900.00 | 80.00 | 480.00 | 150.00 | 900.00 | 900.00 | Roy Enterprises, Awasthi Electric Works
41.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.
42.00 | Telephone socket outlet | 6.00 | Each | 122.72 | 60.00 | 360.00 | 150.00 | 900.00 | 100.00 | 600.00 | 200.00 | 1200.00 | 1200.00 | Roy Enterprises
| Total in Figures |  |  |  |  | 936550.00 |  | 844480.00 |  | 845155.00 |  | 839300.00
Highest Amount Quoted BY: Manish Electricals(936550.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of office space adjacent to NITB at S.V. Airport, Raipur. SH Electrical Work Tender ID: 2024_AAI_212463_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Manish Electricals (BID ID -767845) | 936550.00 | H1
| 2 | SAURABH ENTERPRISES (BID ID -767780) | 845155.00 | H2
| 3 | Awasthi Electric Works (BID ID -767890) | 844480.00 | H3
| 4 | Roy Enterprises (BID ID -763987) | 839300.00 | H4