## BoQ1
Government eProcurement System Created By: Arun Kumar Majhi Created Date/Time: 01-Jan-2025 04:15 PM Tender Title: Work contract for different electrical AGL installations, Security lighting in operational area at NSCBI Airport, Kolkata. Tender ID: 2024_AAI_212852_1
Tender Inviting Authority: AGM (E-E), AAI, NSCBI Airport, Kolkata.
Name of Work: Work contract for different electrical AGL installations, Security lighting in operational area at NSCBI Airport, Kolkata.
Contract No: 2024_AAI_212852_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Youngmen Traders (GSTN-19AEIPB6323B1ZZ) BID ID -766374 |  | M/s J.K. Electric Engineering Works (GSTN-19AAHFJ4404E1ZL) BID ID -772458 |  | YPR ENGINEERING AND SOLUTIONS PRIVATE LIMITED (GSTN-NA) BID ID -774413 |  | Vardhman Airport Solutions Pvt Ltd (GSTN-NA) BID ID -775107 |  | ABHISHEK INTEGRATIONS LIMITED (GSTN-NA) BID ID -775067 |  | MANKHA ELECTROTECH PRIVATE LIMITED (GSTN-NA) BID ID -775236
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Job contract for Preventive and Break Down Maintenance of NASU make Constant Current Regulators (CCRs) to comply the performance as per DGCA CAR / ICAO requirement including documentation, testing, sundry materials but excluding any spares etc. complete as required. Note: The contractor needs to deploy minimum manpower as per SCC. | 432.00 | Per CCR/ Month |  | 2600.00 | 1123200.00 | 3200.00 | 1382400.00 | 2900.00 | 1252800.00 | 2882.00 | 1245024.00 | 2763.00 | 1193616.00 | 11000.00 | 4752000.00 | 1123200.00 | Youngmen Traders
2.00 | Supply of following spare for NASU make conventional CCR 4KW to 30KW as and when required basis for item no.1 above.
2.01 | Supply of Main control card including RMS to DC converter Card (Make: NASU) | 4.00 | Nos. |  | 45000.00 | 180000.00 | 38000.00 | 152000.00 | 48150.00 | 192600.00 | 36307.00 | 145228.00 | 48150.00 | 192600.00 | 24000.00 | 96000.00 | 96000.00 | MANKHA ELECTROTECH PRIVATE LIMITED
2.02 | Supply of Power supply + Driver card (Make: NASU) | 4.00 | Nos. |  | 15000.00 | 60000.00 | 11500.00 | 46000.00 | 16050.00 | 64200.00 | 12102.00 | 48408.00 | 16050.00 | 64200.00 | 22000.00 | 88000.00 | 46000.00 | M/s J.K. Electric Engineering Works
2.03 | Supply of Over current trip -2 Card (Make: NASU) | 4.00 | Nos. |  | 8500.00 | 34000.00 | 8000.00 | 32000.00 | 9095.00 | 36380.00 | 6858.00 | 27432.00 | 9095.00 | 36380.00 | 15000.00 | 60000.00 | 27432.00 | Vardhman Airport Solutions Pvt Ltd
2.04 | Supply of Relay card (Make: NASU) | 4.00 | Nos. |  | 7000.00 | 28000.00 | 6500.00 | 26000.00 | 7490.00 | 29960.00 | 5648.00 | 22592.00 | 7490.00 | 29960.00 | 15000.00 | 60000.00 | 22592.00 | Vardhman Airport Solutions Pvt Ltd
2.05 | Supply 24V DC plug in type relays (suitable for 11 pin socket) | 10.00 | Nos. |  | 115.00 | 1150.00 | 800.00 | 8000.00 | 931.00 | 9310.00 | 428.00 | 4280.00 | 931.00 | 9310.00 | 600.00 | 6000.00 | 1150.00 | Youngmen Traders
2.06 | Supply 48V DC plug in type relays (suitable for 11 pin socket) | 10.00 | Nos. |  | 115.00 | 1150.00 | 800.00 | 8000.00 | 1070.00 | 10700.00 | 428.00 | 4280.00 | 1070.00 | 10700.00 | 1200.00 | 12000.00 | 1150.00 | Youngmen Traders
2.07 | Supply 240V AC plug in type relays (suitable for 11 pin socket) | 10.00 | Nos. |  | 115.00 | 1150.00 | 900.00 | 9000.00 | 1177.00 | 11770.00 | 395.00 | 3950.00 | 1177.00 | 11770.00 | 600.00 | 6000.00 | 1150.00 | Youngmen Traders
2.08 | Supply of GS 1000/100 High speed semi-conductor protection fuses | 10.00 | Nos. |  | 250.00 | 2500.00 | 1500.00 | 15000.00 | 1712.00 | 17120.00 | 952.00 | 9520.00 | 1712.00 | 17120.00 | 1500.00 | 15000.00 | 2500.00 | Youngmen Traders
2.09 | Supply of 250 RK 160 Thyristor Suitable for 30KW CCR | 2.00 | Nos. |  | 4800.00 | 9600.00 | 13500.00 | 27000.00 | 16050.00 | 32100.00 | 1631.00 | 3262.00 | 16050.00 | 32100.00 | 42000.00 | 84000.00 | 3262.00 | Vardhman Airport Solutions Pvt Ltd
2.10 | Supply of 150 RK 160 Thyristor Suitable for 20KW, 15KW CCR | 2.00 | Nos. |  | 2800.00 | 5600.00 | 12500.00 | 25000.00 | 14980.00 | 29960.00 | 1066.00 | 2132.00 | 14980.00 | 29960.00 | 32000.00 | 64000.00 | 2132.00 | Vardhman Airport Solutions Pvt Ltd
2.11 | Supply of 85 RK 160 Thyristor Suitable for 7.5KW CCR | 2.00 | Nos. |  | 1600.00 | 3200.00 | 10500.00 | 21000.00 | 11770.00 | 23540.00 | 968.00 | 1936.00 | 11770.00 | 23540.00 | 27000.00 | 54000.00 | 1936.00 | Vardhman Airport Solutions Pvt Ltd
2.12 | Supply of 65 RK 160 Thyristor Suitable for 4KW CCR | 2.00 | Nos. |  | 1200.00 | 2400.00 | 8000.00 | 16000.00 | 8560.00 | 17120.00 | 674.00 | 1348.00 | 8560.00 | 17120.00 | 27000.00 | 54000.00 | 1348.00 | Vardhman Airport Solutions Pvt Ltd
2.13 | Supply of 160A HRC fuse Link for 30KW CCR | 4.00 | Nos. |  | 705.00 | 2820.00 | 1300.00 | 5200.00 | 1712.00 | 6848.00 | 524.00 | 2096.00 | 1712.00 | 6848.00 | 2400.00 | 9600.00 | 2096.00 | Vardhman Airport Solutions Pvt Ltd
2.14 | Supply of 100A HRC fuse Link for 20KW, 15KW CCR | 4.00 | Nos. |  | 520.00 | 2080.00 | 1100.00 | 4400.00 | 1445.00 | 5780.00 | 468.00 | 1872.00 | 1445.00 | 5780.00 | 2000.00 | 8000.00 | 1872.00 | Vardhman Airport Solutions Pvt Ltd
2.15 | Supply of 63A HRC fuse Link for 7.5KW CCR | 4.00 | Nos. |  | 375.00 | 1500.00 | 900.00 | 3600.00 | 1284.00 | 5136.00 | 444.00 | 1776.00 | 1284.00 | 5136.00 | 1800.00 | 7200.00 | 1500.00 | Youngmen Traders
2.16 | Supply of 32A HRC fuse Link for 30KW, 20KW, 15KW, 7.5KW, 4KW CCR | 4.00 | Nos. |  | 330.00 | 1320.00 | 800.00 | 3200.00 | 1177.00 | 4708.00 | 395.00 | 1580.00 | 1177.00 | 4708.00 | 1500.00 | 6000.00 | 1320.00 | Youngmen Traders
2.17 | Supply of 20A HRC fuse Link for 30KW, 20KW, 15KW, 7.5KW, 4KW CCR | 4.00 | Nos. |  | 175.00 | 700.00 | 750.00 | 3000.00 | 1070.00 | 4280.00 | 371.00 | 1484.00 | 1070.00 | 4280.00 | 1400.00 | 5600.00 | 700.00 | Youngmen Traders
2.18 | Supply of 4A HRC fuse Link for 30KW, 20KW, 15KW, 7.5KW, 4KW CCR | 4.00 | Nos. |  | 165.00 | 660.00 | 750.00 | 3000.00 | 856.00 | 3424.00 | 77.00 | 308.00 | 856.00 | 3424.00 | 900.00 | 3600.00 | 308.00 | Vardhman Airport Solutions Pvt Ltd
2.19 | Supply of 10A/1A True RMS meter | 10.00 | Nos. |  | 3500.00 | 35000.00 | 3500.00 | 35000.00 | 4280.00 | 42800.00 | 1856.00 | 18560.00 | 4280.00 | 42800.00 | 1000.00 | 10000.00 | 10000.00 | MANKHA ELECTROTECH PRIVATE LIMITED
2.20 | Supply of 4.5 grade Lighting Arrestors | 4.00 | Nos. |  | 3000.00 | 12000.00 | 3000.00 | 12000.00 | 4280.00 | 17120.00 | 1291.00 | 5164.00 | 4280.00 | 17120.00 | 33000.00 | 132000.00 | 5164.00 | Vardhman Airport Solutions Pvt Ltd
2.21 | Supply of Contactors suitable for 30KW CCR | 2.00 | Nos. |  | 11000.00 | 22000.00 | 22000.00 | 44000.00 | 25680.00 | 51360.00 | 10166.00 | 20332.00 | 25680.00 | 51360.00 | 11000.00 | 22000.00 | 20332.00 | Vardhman Airport Solutions Pvt Ltd
2.22 | Supply of Contactors suitable for 20KW CCR | 2.00 | Nos. |  | 6000.00 | 12000.00 | 18000.00 | 36000.00 | 23540.00 | 47080.00 | 8472.00 | 16944.00 | 23540.00 | 47080.00 | 10500.00 | 21000.00 | 12000.00 | Youngmen Traders
2.23 | Supply of Contactors suitable for 15KW CCR | 2.00 | Nos. |  | 6000.00 | 12000.00 | 16000.00 | 32000.00 | 23540.00 | 47080.00 | 7907.00 | 15814.00 | 23540.00 | 47080.00 | 10000.00 | 20000.00 | 12000.00 | Youngmen Traders
2.24 | Supply of Contactors suitable for 7.5KW CCR | 2.00 | Nos. |  | 4000.00 | 8000.00 | 14000.00 | 28000.00 | 16050.00 | 32100.00 | 5809.00 | 11618.00 | 16050.00 | 32100.00 | 9000.00 | 18000.00 | 8000.00 | Youngmen Traders
2.25 | Supply of Contactors suitable for 4KW CCR | 2.00 | Nos. |  | 2000.00 | 4000.00 | 12000.00 | 24000.00 | 12840.00 | 25680.00 | 3631.00 | 7262.00 | 12840.00 | 25680.00 | 9000.00 | 18000.00 | 4000.00 | Youngmen Traders
3.00 | Job contract for Preventive and Break Down Maintenance of Airfield Signages of NSCBI Airport Kolkata on round the clock basis to comply operational requirement as per DGCA CAR / ICAO including testing documentation, sundry matrials but excluding spare parts and photometry checking etc. complete as required. Note: The contractor needs to deploy minimum manpower as per SCC. | 1200.00 | Per signage/ Month |  | 600.00 | 720000.00 | 850.00 | 1020000.00 | 850.00 | 1020000.00 | 3299.00 | 3958800.00 | 2943.00 | 3531600.00 | 3000.00 | 3600000.00 | 720000.00 | Youngmen Traders
4.00 | Installation, testing and commissioning of signage boards on the existing foundation including making necessary electrical connections i/c providing wiring, fixing the base with fastners, nut, bolts etc. as per site requirement. | 30.00 | Job |  | 750.00 | 22500.00 | 700.00 | 21000.00 | 2000.00 | 60000.00 | 100.00 | 3000.00 | 1000.00 | 30000.00 | 10000.00 | 300000.00 | 3000.00 | Vardhman Airport Solutions Pvt Ltd
5.00 | Dismantling the existing signage board by disconnecting from the circuit i/c removal of nut bolts from the legs, carrying and stacking in AAI store as and when required as per requirement. | 30.00 | Job |  | 175.00 | 5250.00 | 250.00 | 7500.00 | 500.00 | 15000.00 | 10.00 | 300.00 | 1500.00 | 45000.00 | 4000.00 | 120000.00 | 300.00 | Vardhman Airport Solutions Pvt Ltd
6.00 | Supply and replacement of UV stabilized Polycarbonate sheet (4 mm thick) including graphics (alpha numeric) as per requirement at site and as per instruction of Engineer in-charge. | 100.00 | SQM |  | 4000.00 | 400000.00 | 7000.00 | 700000.00 | 6500.00 | 650000.00 | 3308.00 | 330800.00 | 219.00 | 21900.00 | 6000.00 | 600000.00 | 21900.00 | ABHISHEK INTEGRATIONS LIMITED
7.00 | Installation of Isolating transformer MS housing box of different sizes in the existing cut out with cement concrete as per the Direction of the Engineer-In-Charge. ( cement concrete cost not to be included) | 50.00 | Job |  | 1000.00 | 50000.00 | 900.00 | 45000.00 | 2000.00 | 100000.00 | 10.00 | 500.00 | 1000.00 | 50000.00 | 4200.00 | 210000.00 | 500.00 | Vardhman Airport Solutions Pvt Ltd
8.00 | Supply of converter/Driver as per exsitng or better for Airfield signages of NSCBI Airport, Kolkata etc. complete as required. | 300.00 | Nos. |  | 2000.00 | 600000.00 | 2000.00 | 600000.00 | 4000.00 | 1200000.00 | 2420.00 | 726000.00 | 7150.00 | 2145000.00 | 2400.00 | 720000.00 | 600000.00 | Youngmen Traders, M/s J.K. Electric Engineering Works
9.00 | Supply of LED tubelight of 09/10W of 2 ft length with necessary wiring, holder at both end etc as required and as per technical specification. | 300.00 | Nos. |  | 175.00 | 52500.00 | 220.00 | 66000.00 | 225.00 | 67500.00 | 195.00 | 58500.00 | 198.00 | 59400.00 | 222.00 | 66600.00 | 52500.00 | Youngmen Traders
10.00 | Supply of LED tubelight of 18/20W of 4 ft length with necessary wiring, holder at both end etc as required and as per technical specification. | 400.00 | Nos. |  | 200.00 | 80000.00 | 250.00 | 100000.00 | 230.00 | 92000.00 | 111.00 | 44400.00 | 319.00 | 127600.00 | 333.00 | 133200.00 | 44400.00 | Vardhman Airport Solutions Pvt Ltd
11.00 | Job contract for round the clock Operation and Preventive and Break Down Maintenance of complete Perimeter Road and Perimeter Wall Lighting System, Road holding Lights etc. and power supply for Security Watch Towers including Feeder Pillars and portable light masts etc., in NSCBI Airport, Kolkata by deploying adequate manpower on all days throughout the year including Sundays and holidays including testing, measuring lux level, sundry material and documentation but excluding spare parts etc. complete as required. Note: The contractor needs to deploy minimum manpower as per SCC. | 24.00 | Months |  | 390000.00 | 9360000.00 | 430000.00 | 10320000.00 | 450000.00 | 10800000.00 | 394262.00 | 9462288.00 | 479031.00 | 11496744.00 | 20000.00 | 480000.00 | 480000.00 | MANKHA ELECTROTECH PRIVATE LIMITED
12.00 | Dismantling the damaged pole upto 11 m height) by disconnecting from the circuit i/c removal of nut bolts from the legs and removal of cement concrete for reuseable the same and carrying and stacking in AAI store as and when required as per the instruction of engineer in-charge. | 50.00 | Job |  | 300.00 | 15000.00 | 300.00 | 15000.00 | 2500.00 | 125000.00 | 5.00 | 250.00 | 1000.00 | 50000.00 | 3300.00 | 165000.00 | 250.00 | Vardhman Airport Solutions Pvt Ltd
13.00 | Installation of pole (upto 11 m height) in ground by grouting not less than 1 mtr. below ground level, with 1:3:6 (1 cement : 3 coarse sand : 6 graded stone of 40mm nominal size) cement concrete foundation and cement concrete collar of size 0.4mtr dia x 0.5 mtr. height i/c excavation and refilling, cement plaster, neat cement etc. as required i/c painting C.C. collar with synthetic enamel paint of approved colour etc. as required. | 50.00 | Job |  | 1000.00 | 50000.00 | 1200.00 | 60000.00 | 7000.00 | 350000.00 | 2500.00 | 125000.00 | 4500.00 | 225000.00 | 4200.00 | 210000.00 | 50000.00 | Youngmen Traders
14.00 | Scrapping, cleaning the surface of existing LT panel / Feeder pillars / Junction box and painting with two coats of primer and synthetic enamel paint of EIC approved shade etc. complete as required.
14.01 | 1st Year | 100.00 | SQM |  | 145.00 | 14500.00 | 195.00 | 19500.00 | 150.00 | 15000.00 | 75.00 | 7500.00 | 250.00 | 25000.00 | 150.00 | 15000.00 | 7500.00 | Vardhman Airport Solutions Pvt Ltd
14.02 | 2nd Year | 100.00 | SQM |  | 155.00 | 15500.00 | 195.00 | 19500.00 | 165.00 | 16500.00 | 75.00 | 7500.00 | 250.00 | 25000.00 | 170.00 | 17000.00 | 7500.00 | Vardhman Airport Solutions Pvt Ltd
15.00 | Writing of maximum 2 inch size letters/numbers on the surface of light pole /cover plates of light fittings and on the body of LT panels, feeder pillars, CCR's by painting or computer cut vinyle sheet etc. complete as required as per the instruction of the EIC.
15.01 | 1st Year | 1000.00 | Nos. |  | 4.00 | 4000.00 | 8.00 | 8000.00 | 80.00 | 80000.00 | 2.00 | 2000.00 | 8.00 | 8000.00 | 33.00 | 33000.00 | 2000.00 | Vardhman Airport Solutions Pvt Ltd
15.02 | 2nd Year | 1000.00 | Nos. |  | 5.00 | 5000.00 | 8.00 | 8000.00 | 88.00 | 88000.00 | 2.00 | 2000.00 | 8.00 | 8000.00 | 33.00 | 33000.00 | 2000.00 | Vardhman Airport Solutions Pvt Ltd
16.00 | Supply of weather proof, Integral type LED Flood Light Luminaire of the following Wattage, as per the existing make ( philips / bajaj/ crompton/havells) and model or upgraded model. Etc. complete as required. (i) 55-60 Watts LED Flood Light Luminaire | 100.00 | Nos. |  | 2400.00 | 240000.00 | 3000.00 | 300000.00 | 1470.00 | 147000.00 | 1051.00 | 105100.00 | 2090.00 | 209000.00 | 2400.00 | 240000.00 | 105100.00 | Vardhman Airport Solutions Pvt Ltd
17.00 | Supply of weather proof, Integral type LED Street Light Luminaire of the following Wattage, as per the existing make ( philips / bajaj/ crompton/havells) and model or upgraded model. Etc. complete as required. (i) 45 Watts street Light Luminaire | 100.00 | Nos. |  | 1800.00 | 180000.00 | 1800.00 | 180000.00 | 1370.00 | 137000.00 | 1376.00 | 137600.00 | 1925.00 | 192500.00 | 1800.00 | 180000.00 | 137000.00 | YPR ENGINEERING AND SOLUTIONS PRIVATE LIMITED
18.00 | Supply & fixing of IP-65 Thermoplastic enclosure for external lighting pole junction box having full transparent hinged lid with sealing facility through SS screw, corrosion proof, insulated and shock proof, fire retardant, self extinguishing, halogen & silica free non-toxic material, with internally embedded Gasket (made of polyurethane), size not less than 200mmx250mmx100mm fitted with clamp and GI Strip at the back of the enclosure and along with the components [i.e. (i) one no. 6/10A DP MCB on a din channel for mounting, (ii) one no. 100 A, 4 way terminal, (iii) one no. 6Sq mm disconnecting Terminal & (iv) one no. 4 Sq mm Earth Terminal) fixed inside the enclosure] etc. as required. | 100.00 | Nos. |  | 4500.00 | 450000.00 | 3500.00 | 350000.00 | 7500.00 | 750000.00 | 1222.00 | 122200.00 | 3650.00 | 365000.00 | 1100.00 | 110000.00 | 110000.00 | MANKHA ELECTROTECH PRIVATE LIMITED
19.00 | Supply of following spare for maintenance of Perimeter light and High Mast (Make:As per AAI makelist)
19.01 | MCCB-100A | 4.00 | Nos. |  | 5500.00 | 22000.00 | 3500.00 | 14000.00 | 4771.00 | 19084.00 | 5493.00 | 21972.00 | 11308.00 | 45232.00 | 6800.00 | 27200.00 | 14000.00 | M/s J.K. Electric Engineering Works
19.02 | 4 pole, MCB-C63A | 10.00 | Nos. |  | 1066.00 | 10660.00 | 1950.00 | 19500.00 | 1702.00 | 17020.00 | 1489.00 | 14890.00 | 1284.00 | 12840.00 | 1100.00 | 11000.00 | 10660.00 | Youngmen Traders
19.03 | 4 pole, MCB-C32 A | 10.00 | Nos. |  | 752.00 | 7520.00 | 1080.00 | 10800.00 | 1229.00 | 12290.00 | 1047.00 | 10470.00 | 891.00 | 8910.00 | 1050.00 | 10500.00 | 7520.00 | Youngmen Traders
19.04 | Single pole MCB C6A/10A | 20.00 | Nos. |  | 106.00 | 2120.00 | 165.00 | 3300.00 | 139.00 | 2780.00 | 147.00 | 2940.00 | 110.00 | 2200.00 | 90.00 | 1800.00 | 1800.00 | MANKHA ELECTROTECH PRIVATE LIMITED
19.05 | Double pole MCB C6A/10A | 30.00 | Nos. |  | 346.00 | 10380.00 | 550.00 | 16500.00 | 548.00 | 16440.00 | 480.00 | 14400.00 | 409.00 | 12270.00 | 200.00 | 6000.00 | 6000.00 | MANKHA ELECTROTECH PRIVATE LIMITED
19.06 | 3 pole, Contactor MNX-40 | 10.00 | Nos. |  | 3120.00 | 31200.00 | 2250.00 | 22500.00 | 3548.00 | 35480.00 | 2083.00 | 20830.00 | 3116.00 | 31160.00 | 2700.00 | 27000.00 | 20830.00 | Vardhman Airport Solutions Pvt Ltd
19.07 | Analog Timer with 150 Hrs Battery Backup | 5.00 | Nos. |  | 1419.00 | 7095.00 | 1900.00 | 9500.00 | 8883.00 | 44415.00 | 1955.00 | 9775.00 | 1760.00 | 8800.00 | 1500.00 | 7500.00 | 7095.00 | Youngmen Traders
20.00 | Calibration of Clinometer / Megger from Govt. Test labrotory/ OEM, submission of test report etc., complete the job as per direction of Engineer in-charge i/c taking the equipment from AAI's site to labortory and bringing back the same from labortory to AAI's site.
20.01 | For 1st Year | 5.00 | Job |  | 3000.00 | 15000.00 | 1500.00 | 7500.00 | 2000.00 | 10000.00 | 11500.00 | 57500.00 | 16800.00 | 84000.00 | 50000.00 | 250000.00 | 7500.00 | M/s J.K. Electric Engineering Works
20.02 | For 2nd Year | 5.00 | Job |  | 3000.00 | 15000.00 | 1500.00 | 7500.00 | 2200.00 | 11000.00 | 11500.00 | 57500.00 | 16800.00 | 84000.00 | 50000.00 | 250000.00 | 7500.00 | M/s J.K. Electric Engineering Works
21.00 | Calibration of Lux meter from Test labrotory/ OEM, submission of test report etc., complete the job as per direction of Engineer in-charge i/c taking the equipment from AAI's site to labortory and bringing back the same from labortory to AAI's site.
21.01 | For 1st Year | 5.00 | Job |  | 10000.00 | 50000.00 | 5000.00 | 25000.00 | 2000.00 | 10000.00 | 2500.00 | 12500.00 | 800.00 | 4000.00 | 15000.00 | 75000.00 | 4000.00 | ABHISHEK INTEGRATIONS LIMITED
21.02 | For 2nd Year | 50.00 | Job |  | 8000.00 | 400000.00 | 5000.00 | 250000.00 | 2200.00 | 110000.00 | 400.00 | 20000.00 | 800.00 | 40000.00 | 15000.00 | 750000.00 | 20000.00 | Vardhman Airport Solutions Pvt Ltd
22.00 | Shifting of 01 no MS chamber cover of approx. weight upto 1000 kg as and when required from chamber to suitable location before starting of maintenance work and shifting back to its initial position after completion of maintenance work at RCS bay of NSCBI Airport, kolkata including deployment vehicle with driver and fuel for to and fro transportation of chain pulley from AAI store to site. | 50.00 | Job |  | 2000.00 | 100000.00 | 2200.00 | 110000.00 | 1500.00 | 75000.00 | 5.00 | 250.00 | 3000.00 | 150000.00 | 13000.00 | 650000.00 | 250.00 | Vardhman Airport Solutions Pvt Ltd
23.00 | Supply and laying of DWC pipe of following size alongwith necessary accessories like connectors /couplers /bends / tee etc. and with pulling rope fitted inside in the existing trench etc. complete as required. OD 50 mm/ ID 38 mm | 2000.00 | Mtr |  | 65.00 | 130000.00 | 150.00 | 300000.00 | 120.00 | 240000.00 | 38.00 | 76000.00 | 198.00 | 396000.00 | 180.00 | 360000.00 | 76000.00 | Vardhman Airport Solutions Pvt Ltd
24.00 | Excavation of the cable trenches in hard rock not exceeding 1.5 meters in width, and lift upto 1.5 meters, including getting out the excavated soil and disposal of excavated soil as directed within a lead of 50 meters. | 80.00 | CUM |  | 650.00 | 52000.00 | 650.00 | 52000.00 | 1500.00 | 120000.00 | 1.00 | 80.00 | 1200.00 | 96000.00 | 3300.00 | 264000.00 | 80.00 | Vardhman Airport Solutions Pvt Ltd
25.00 | Excavation for cable trenches in soft soil, depth upto 1.2 m including dressing of sides lift upto 1.5 m, including getting out the excavated soil, refilling with sand and or good soil after laying of cable/ pipe etc in layers of 20 cm, ramming, watering and disposal of surplus excavated soil as directed, within a lead of 50 meters. | 100.00 | CUM |  | 150.00 | 15000.00 | 275.00 | 27500.00 | 300.00 | 30000.00 | 1.00 | 100.00 | 1000.00 | 100000.00 | 500.00 | 50000.00 | 100.00 | Vardhman Airport Solutions Pvt Ltd
26.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering up to plinth level -
26.01 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 30.00 | CUM |  | 6000.00 | 180000.00 | 6500.00 | 195000.00 | 6500.00 | 195000.00 | 1.00 | 30.00 | 2100.00 | 63000.00 | 7100.00 | 213000.00 | 30.00 | Vardhman Airport Solutions Pvt Ltd
26.02 | 1:3:6 (1 Cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) | 30.00 | CUM |  | 5000.00 | 150000.00 | 5500.00 | 165000.00 | 6000.00 | 180000.00 | 1.00 | 30.00 | 3100.00 | 93000.00 | 6599.00 | 197970.00 | 30.00 | Vardhman Airport Solutions Pvt Ltd
27.00 | Laying of one no. PVC/XLPE insulated & sheathed AFL cable of 5 KV grade of size not exceeding 25 sq.mm in the existing pipe. | 2000.00 | Mtr |  | 40.00 | 80000.00 | 20.00 | 40000.00 | 25.00 | 50000.00 | 1.00 | 2000.00 | 25.00 | 50000.00 | 40.00 | 80000.00 | 2000.00 | Vardhman Airport Solutions Pvt Ltd
28.00 | Dismantling of transformer housing box of differnet size from existing concrete foundation and removing the cement concrete as per requirement and as per instruction of Engineer-in-Charge | 40.00 | Job |  | 200.00 | 8000.00 | 300.00 | 12000.00 | 2000.00 | 80000.00 | 1.00 | 40.00 | 1200.00 | 48000.00 | 5000.00 | 200000.00 | 40.00 | Vardhman Airport Solutions Pvt Ltd
29.00 | Installation of MS housing box of size not more than 750 mm x 330 mm x 450 mm (H) (to be supplied by AAI) in soil by providing brick soling at the bottom & using cement concrete of ratio 1:2:4 all around & bottom of the box of 100 mm thick and making pedestal of 300mm & 100mm thick all around the box by making suitable slope i/c centering & shuttering etc. as required. | 40.00 | Job |  | 1500.00 | 60000.00 | 2000.00 | 80000.00 | 2400.00 | 96000.00 | 1.00 | 40.00 | 3000.00 | 120000.00 | 9000.00 | 360000.00 | 40.00 | Vardhman Airport Solutions Pvt Ltd
30.00 | Supply of cable tag of minimum size 76mm(L) x 19mm(W) made of aluminium sheet of minimum thickness 1.6 mm, with approx. 7 to 12 letters/numbers/characters engraved on it and two holes on two sides along with two nos. suitable PVC cable tie for fastening on the cables. | 2000.00 | Set |  | 35.00 | 70000.00 | 25.00 | 50000.00 | 20.00 | 40000.00 | 13.00 | 26000.00 | 50.00 | 100000.00 | 240.00 | 480000.00 | 26000.00 | Vardhman Airport Solutions Pvt Ltd
31.00 | Annual Maintenance of ASKA make (Model VT-8 400W LED - Y3) portable light mast including replacement of battery and other consumable spares for DG set as per OEM recommendation. | 16.00 | per equipment per quarter |  | 5000.00 | 80000.00 | 9000.00 | 144000.00 | 11000.00 | 176000.00 | 13750.00 | 220000.00 | 15000.00 | 240000.00 | 100000.00 | 1600000.00 | 80000.00 | Youngmen Traders
32.00 | DSR item (Rate will be considered % above / below of or equal to 100% of DSR 2022 E&M rate). Estimate amount considered ₹6,00,000.00 (Excluding GST) NOTE: - a) The execution of Delhi Schedule of Rates (E&M) 2022 Items as when required basis. b) Payment of DSR rate will be made excluding GST considered in the Rate of DSR/DAR-2022 (Calculation sheet attached in the Tender Document). Example for quoting the rate: - (i)Agency Quoting ₹5,40,000‬.00 in the Rate stands for 10% below the Estimate amounting of ₹6,00,000.00 net amount will be ₹5,40,000‬.00 and payment will be made 10% below on DSR 2022 rate against items. (ii)Agency Quoting ₹6,60,000‬‬.00 in the Rate stands for 10% above the Estimate amounting of ₹6,00,000.00 net amount will be ₹6,00,000‬‬.00 and payment will be made 10% above on DSR 2022 rate against items. (i) (iii) Agency Quoting ₹6,00,000‬‬.00 in the Rate stands same as Estimate amounting of ₹6,00,000‬‬.00 net amount will be ₹6,00,000‬‬.00 and payment will be made same as above on DSR 2022 rate against items. | 1.00 | Job |  | 450000.00 | 450000.00 | 400000.00 | 400000.00 | 600000.00 | 600000.00 | 300000.00 | 300000.00 | 540000.00 | 540000.00 | 500000.00 | 500000.00 | 300000.00 | Vardhman Airport Solutions Pvt Ltd
33.00 | Providing 01 no. commerical number plate pick up vehicle Bolero/Scorpio/Sumo with back side cover for carrying materials, tools, plants, workers to inside operational area of NSCBI Airport, Kolkata along with drivers cum work assistants in three shifts on round the clock for operational duty along with necessary fuel/diesel, insurance maintenace i.e all expense paid for a daily run of not exceeding 80Kms, on all days through out the contract period i/c sundays and holidays. The vehicle should be preferably new and in any case not older than 04 years. The vehicle shall be always in clean and serviceable condition. Whenever the vehicle is to be taken away for servicing or any kind of repair, a substitute vehicle of similar type and age shall be provided. The deployed persons has to obtain necessary Airfield driving permit (ADP) issued by AAI for driving the vehicle in operational area. Note: Note: The contractor needs to deploy minimum manpower as per SCC. | 24.00 | Months |  | 105000.00 | 2520000.00 | 128000.00 | 3072000.00 | 163190.00 | 3916560.00 | 110491.00 | 2651784.00 | 135325.00 | 3247800.00 | 30000.00 | 720000.00 | 720000.00 | MANKHA ELECTROTECH PRIVATE LIMITED
| Total in Figures |  |  |  |  | 18296255.00 |  | 20873900.00 |  | 23821025.00 |  | 20237071.00 |  | 26153728.00 |  | 19955770.00
Lowest Amount Quoted BY: Youngmen Traders(18296255.00)

## BOQ Summary
BOQ Summary Details Tender Title: Work contract for different electrical AGL installations, Security lighting in operational area at NSCBI Airport, Kolkata. Tender ID: 2024_AAI_212852_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Youngmen Traders (BID ID -766374) | 18296255.00 | L1
| 2 | MANKHA ELECTROTECH PRIVATE LIMITED (BID ID -775236) | 19955770.00 | L2
| 3 | Vardhman Airport Solutions Pvt Ltd (BID ID -775107) | 20237071.00 | L3
| 4 | M/s J.K. Electric Engineering Works (BID ID -772458) | 20873900.00 | L4
| 5 | YPR ENGINEERING AND SOLUTIONS PRIVATE LIMITED (BID ID -774413) | 23821025.00 | L5
| 6 | ABHISHEK INTEGRATIONS LIMITED (BID ID -775067) | 26153728.00 | L6