## BoQ1
Government eProcurement System Created By: Ajit Saha Created Date/Time: 17-Dec-2024 05:28 PM Tender Title: Renovation of Old Store Building near Operational Gate no 4 VIP Gate for Temporary Arrangement of Additional space for CCR Hall at NSCBIA Kolkata Tender ID: 2024_AAI_213137_1
Tender Inviting Authority: AGM EC
Name of Work:Renovation of Old Store Building near Operational Gate no 4 (VIP Gate) for Temporary Arrangement of Additional space for CCR hall at NSCBI Airport, Kolkata.
Contract No: 2024_AAI_213137
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Sanjib Saha (GSTN-19ALGPS1804B1ZD) BID ID -766671 |  | M/s. A S Traders (GSTN-19AKDPR7595N1ZA) BID ID -766854 |  | B C Enterprise (GSTN-19AQQPS5972B1ZE) BID ID -773112 |  | M/S.BHATTACHARJEE CONSTRUCTION (GSTN-19ADNPB4495L2ZX) BID ID -771648
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-incharge. All kinds of soil | 65.00 | Cum |  | 100.00 | 6500.00 | 20.00 | 1300.00 | 95.00 | 6175.00 | 127.00 | 8255.00 | 1300.00 | M/s. A S Traders
2.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. | 150.00 | Cum |  | 150.00 | 22500.00 | 350.00 | 52500.00 | 85.00 | 12750.00 | 127.00 | 19050.00 | 12750.00 | B C Enterprise
3.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 19.00 | Cum |  | 5000.00 | 95000.00 | 4000.00 | 76000.00 | 4700.00 | 89300.00 | 6780.00 | 128820.00 | 76000.00 | M/s. A S Traders
4.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:3:6 (1 Cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) | 1.00 | Cum |  | 5000.00 | 5000.00 | 6500.00 | 6500.00 | 4900.00 | 4900.00 | 5932.00 | 5932.00 | 4900.00 | B C Enterprise
5.00 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | 70.00 | Sqm |  | 500.00 | 35000.00 | 306.00 | 21420.00 | 470.00 | 32900.00 | 466.00 | 32620.00 | 21420.00 | M/s. A S Traders
6.00 | Providing and laying in position specified grade of reinforced cementconcrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level :1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from naturalsources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 8.00 | Cum |  | 5500.00 | 44000.00 | 5500.00 | 44000.00 | 5300.00 | 42400.00 | 7203.00 | 57624.00 | 42400.00 | B C Enterprise
7.00 | Centering and shuttering including strutting, propping etc. and removal of form for all heights: Lintels, beams, plinth beams, girders, bressumers and cantilevers. | 140.00 | Sqm |  | 180.00 | 25200.00 | 300.00 | 42000.00 | 170.00 | 23800.00 | 424.00 | 59360.00 | 23800.00 | B C Enterprise
8.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 420.00 | Kg |  | 70.00 | 29400.00 | 67.00 | 28140.00 | 72.00 | 30240.00 | 76.00 | 31920.00 | 28140.00 | M/s. A S Traders
9.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 600.00 | Kg |  | 70.00 | 42000.00 | 67.00 | 40200.00 | 72.00 | 43200.00 | 76.00 | 45600.00 | 40200.00 | M/s. A S Traders
10.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:6 (1 cement : 6 coarse sand) | 82.00 | Cum |  | 5800.00 | 475600.00 | 4000.00 | 328000.00 | 5100.00 | 418200.00 | 7203.00 | 590646.00 | 328000.00 | M/s. A S Traders
11.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : | 46.00 | Cum |  | 6000.00 | 276000.00 | 5900.00 | 271400.00 | 5200.00 | 239200.00 | 7627.00 | 350842.00 | 239200.00 | B C Enterprise
12.00 | Half brick masonry in foundations & plinth and superstructure. cement mortar 1:4 (1 cement : 4 coarse sand) | 55.00 | Sqm. |  | 50.00 | 2750.00 | 20.00 | 1100.00 | 350.00 | 19250.00 | 1017.00 | 55935.00 | 1100.00 | M/s. A S Traders
13.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. Cement mortar 1:4 (1 cement :4 coarse sand) | 100.00 | Sqm. |  | 800.00 | 80000.00 | 780.00 | 78000.00 | 590.00 | 59000.00 | 1102.00 | 110200.00 | 59000.00 | B C Enterprise
14.00 | Brick edging 7cm wide 11.4 cm deep to plinth protection with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 including grouting with cement mortar 1:4 (1 cement : 4 fine sand). | 100.00 | Metre |  | 50.00 | 5000.00 | 60.00 | 6000.00 | 40.00 | 4000.00 | 127.00 | 12700.00 | 4000.00 | B C Enterprise
15.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. Granite stone slab colour black, Cherry/Ruby red Area of slab over 0.50 sqm | 12.00 | Sqm |  | 2700.00 | 32400.00 | 4000.00 | 48000.00 | 2800.00 | 33600.00 | 3814.00 | 45768.00 | 32400.00 | Sanjib Saha
16.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 500.00 | Sqm. |  | 750.00 | 375000.00 | 1200.00 | 600000.00 | 710.00 | 355000.00 | 932.00 | 466000.00 | 355000.00 | B C Enterprise
17.00 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 2000.00 | Litre |  | 7.00 | 14000.00 | 10.00 | 20000.00 | 8.00 | 16000.00 | 9.00 | 18000.00 | 14000.00 | Sanjib Saha
18.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: 30 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 20.00 | Sqm. |  | 2500.00 | 50000.00 | 1500.00 | 30000.00 | 2650.00 | 53000.00 | 2119.00 | 42380.00 | 30000.00 | M/s. A S Traders
19.00 | Providing and fixing bright finished brass hanging type floor door stopper with necessary screws, etc. complete. | 10.00 | Each |  | 150.00 | 1500.00 | 100.00 | 1000.00 | 108.00 | 1080.00 | 127.00 | 1270.00 | 1000.00 | M/s. A S Traders
20.00 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | 8.00 | Each |  | 700.00 | 5600.00 | 1500.00 | 12000.00 | 650.00 | 5200.00 | 1271.00 | 10168.00 | 5200.00 | B C Enterprise
21.00 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : 250x16 mm | 8.00 | Each |  | 275.00 | 2200.00 | 250.00 | 2000.00 | 230.00 | 1840.00 | 212.00 | 1696.00 | 1696.00 | M/S.BHATTACHARJEE CONSTRUCTION
22.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 200x10 mm | 20.00 | Each |  | 200.00 | 4000.00 | 80.00 | 1600.00 | 85.00 | 1700.00 | 127.00 | 2540.00 | 1600.00 | M/s. A S Traders
23.00 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : 125 mm | 16.00 | Each |  | 200.00 | 3200.00 | 45.00 | 720.00 | 55.00 | 880.00 | 85.00 | 1360.00 | 720.00 | M/s. A S Traders
24.00 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. Single rubber stopper | 8.00 | Each |  | 170.00 | 1360.00 | 40.00 | 320.00 | 40.00 | 320.00 | 42.00 | 336.00 | 320.00 | M/s. A S Traders, B C Enterprise
25.00 | Providing and fixing factory made uPVC door frame made of uPVC extruded sections having an overall dimension as below (tolerance ±1mm), with wall thickness 2.0 mm (± 0.2 mm), corners of the door frame to be Jointed with galvanized brackets and stainless steel screws, joints mitred and Plastic welded. The hinge side vertical of the frames reinforced by galvanized M.S. tube of size 19 X 19 mm and 1mm (± 0.1 mm) wall thickness and 3 nos. stainless steel hinges fixed to the frame complete as per manufacturer’s specification and direction of Engineerin- charge. Extruded section profile size 42x50 mm | 40.00 | Mtr |  | 350.00 | 14000.00 | 175.00 | 7000.00 | 320.00 | 12800.00 | 254.00 | 10160.00 | 7000.00 | M/s. A S Traders
26.00 | Providing and fixing to existing door frames. 30 mm thick factory made Polyvinyl Chloride (PVC) door shutter made of styles and rails of a uPVC hollow section of size 60x30 mm and wall thickness 2 mm (± 0.2 mm), with inbuilt decorative moulding edging on one side. The styles and rails mitred and joint at the corners by means of M.S. galvanised/ plastic brackets of size 75x220 mm having wall thickness 1.0 mm and stainless steel screws. The styles of the shutter reinforced by inserting galvanised M.S. tube of size 25x20 mm and 1 mm (± 0.1 mm) wall thickness. The lock rail made up of 'H' section, a uPVC hollow section of size 100x30 mm and 2 mm (± 0.2 mm) wall thickness fixed to the shutter styles by means of plastic/ galvanised M.S. 'U' cleats. The shutter frame filled with a uPVC multi-chambered single panel of size not less than 620 mm, having over all thickness of 20 mm and 1 mm (± 0.1 mm) wall thickness . The panels filled vertically and tie bar at two places by inserting horizontally 6 mm galvanised M.S. rod and fastened with nuts and washers, complete as per manufacturer's specification and direction of Engineer-in-charge. | 15.00 | Sqm |  | 2800.00 | 42000.00 | 1200.00 | 18000.00 | 2900.00 | 43500.00 | 1864.00 | 27960.00 | 18000.00 | M/s. A S Traders
27.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. Hot finished welded type tubes. | 2500.00 | Kg |  | 80.00 | 200000.00 | 70.00 | 175000.00 | 75.00 | 187500.00 | 127.00 | 317500.00 | 175000.00 | M/s. A S Traders
28.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. In stringers, treads, landings etc. of stair cases, including use of chequered plate wherever required, all complete | 14940.00 | Kg |  | 80.00 | 1195200.00 | 70.00 | 1045800.00 | 78.00 | 1165320.00 | 127.00 | 1897380.00 | 1045800.00 | M/s. A S Traders
29.00 | Brick on edge flooring with bricks of class designation 7.5 on a bed of 12 mm cement mortar, including filling the joints with same mortar, with common burnt clay non modular bricks: 1:6 (1cement : 6 coarse sand) | 35.00 | Sqm |  | 600.00 | 21000.00 | 600.00 | 21000.00 | 700.00 | 24500.00 | 763.00 | 26705.00 | 21000.00 | Sanjib Saha, M/s. A S Traders
30.00 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. Size of Tile 600x600 mm | 530.00 | Sqm. |  | 800.00 | 424000.00 | 650.00 | 344500.00 | 800.00 | 424000.00 | 1102.00 | 584060.00 | 344500.00 | M/s. A S Traders
31.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete. Size of Tile 600x600 mm | 25.00 | Sqm. |  | 830.00 | 20750.00 | 650.00 | 16250.00 | 800.00 | 20000.00 | 1144.00 | 28600.00 | 16250.00 | M/s. A S Traders
32.00 | Providing gola 75x75 mm in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 stone aggregate 10 mm and down gauge), including finishing with cement mortar 1:3 (1 cement : 3 fine sand) as per standard design : In 75x75 mm deep chase | 110.00 | Metre |  | 50.00 | 5500.00 | 10.00 | 1100.00 | 100.00 | 11000.00 | 127.00 | 13970.00 | 1100.00 | M/s. A S Traders
33.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. 110 mm diameter | 74.00 | Mtr |  | 300.00 | 22200.00 | 300.00 | 22200.00 | 250.00 | 18500.00 | 254.00 | 18796.00 | 18500.00 | B C Enterprise
34.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Single tee without door 110x110x110 mm | 14.00 | Each |  | 200.00 | 2800.00 | 150.00 | 2100.00 | 150.00 | 2100.00 | 169.00 | 2366.00 | 2100.00 | M/s. A S Traders, B C Enterprise
35.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Bend 87.5°. 110 mm bend | 10.00 | Each |  | 190.00 | 1900.00 | 100.00 | 1000.00 | 130.00 | 1300.00 | 110.00 | 1100.00 | 1000.00 | M/s. A S Traders
36.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Shoe (Plain) 110 mm Shoe | 9.00 | Each |  | 150.00 | 1350.00 | 110.00 | 990.00 | 120.00 | 1080.00 | 110.00 | 990.00 | 990.00 | M/s. A S Traders, M/S.BHATTACHARJEE CONSTRUCTION
37.00 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+ 0.05 %) total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineerin- charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 25.00 | Sqm. |  | 600.00 | 15000.00 | 650.00 | 16250.00 | 500.00 | 12500.00 | 720.00 | 18000.00 | 12500.00 | B C Enterprise
38.00 | Providing and Fixing 15 mm thick densified tegular edged eco friendly light weight calcium silicate false ceiling tiles of approved texture of size 595 x 595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanised steel sections (galvanising @ 120 grams per sqm including both side) consisting of main ‘T’ runner suitably spaced at joints to get required length and of size 24x38 mm made from 0.33 mm thick (minimum) sheet, spaced 1200 mm centre to centre, and cross “T” of size 24x28 mm made out of 0.33 mm (Minimum) sheet, 1200 mm long spaced between main’T’ at 600 mm centre to centre to form a grid of 1200x600 mm and secondary cross ‘T’ of length 600 mm and size 24 x28 mm made of 0.33 mm thick (Minimum) sheet to be inter locked at middle of the 1200x 600 mm panel to from grid of size 600x600 mm, resting on periphery walls /partitions on a Perimeter wall angle pre-coated steel of size(24x24X3000 mm made of 0.40 mm thick (minimum) sheet with the help of rawl plugs at 450 mm centre to centre with 25 mm long dry wall screws @ 230 mm interval and laying 15 mm thick densified edges calicum silicate ceiling tiles of approved texture in the grid, including, cutting/ making opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc., wherever required. Main ‘T’ runners to be suspended from ceiling using G.I. slotted cleats of size 25x35x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm G.I. adjustable rods with galvanised steel level clips of size 85 x 30 x 0.8 mm, spaced at 1200 mm centre to centre along main ‘T’, bottom exposed with 24 mm of all Tsections shall be pre-painted with polyster baked paint, for all heights, as per specifications, drawings and as directed by Engineer-in-Charge. | 350.00 | Sqm |  | 1600.00 | 560000.00 | 1500.00 | 525000.00 | 1800.00 | 630000.00 | 1441.00 | 504350.00 | 504350.00 | M/S.BHATTACHARJEE CONSTRUCTION
39.00 | 12 mm cement plaster of mix : 1:6 (1 cement: 6 coarse sand) | 460.00 | Sqm. |  | 160.00 | 73600.00 | 250.00 | 115000.00 | 175.00 | 80500.00 | 339.00 | 155940.00 | 73600.00 | Sanjib Saha
40.00 | 15 mm cement plaster on rough side of single or half brick wall of mix: 1:6 (1 cement: 6 coarse sand) | 950.00 | Sqm. |  | 170.00 | 161500.00 | 100.00 | 95000.00 | 180.00 | 171000.00 | 356.00 | 338200.00 | 95000.00 | M/s. A S Traders
41.00 | 12 mm cement plaster finished with a floating coat of neat cement of mix : 1:3 (1 cement: 3 fine sand) | 500.00 | Sqm. |  | 200.00 | 100000.00 | 250.00 | 125000.00 | 220.00 | 110000.00 | 381.00 | 190500.00 | 100000.00 | Sanjib Saha
42.00 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. Two or more coats on new work | 1600.00 | Sqm |  | 60.00 | 96000.00 | 42.00 | 67200.00 | 55.00 | 88000.00 | 127.00 | 203200.00 | 67200.00 | M/s. A S Traders
43.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work | 70.00 | Sqm |  | 10.00 | 700.00 | 50.00 | 3500.00 | 60.00 | 4200.00 | 102.00 | 7140.00 | 700.00 | Sanjib Saha
44.00 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | 470.00 | Sqm |  | 80.00 | 37600.00 | 40.00 | 18800.00 | 68.00 | 31960.00 | 127.00 | 59690.00 | 18800.00 | M/s. A S Traders
45.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 1100.00 | Sqm |  | 80.00 | 88000.00 | 90.00 | 99000.00 | 68.00 | 74800.00 | 127.00 | 139700.00 | 74800.00 | B C Enterprise
46.00 | Applying one coat of water thinnable cement primer of approved brand and manufacture on wall surface : Water thinnable cement primer | 1600.00 | Sqm |  | 30.00 | 48000.00 | 30.00 | 48000.00 | 35.00 | 56000.00 | 34.00 | 54400.00 | 48000.00 | Sanjib Saha, M/s. A S Traders
47.00 | Removing white or colour wash by scrapping and sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete | 300.00 | Sqm |  | 5.00 | 1500.00 | 5.00 | 1500.00 | 10.00 | 3000.00 | 8.00 | 2400.00 | 1500.00 | Sanjib Saha, M/s. A S Traders
48.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : Old work (One or more coat applied @ 0.90 ltr/10 sqm). | 600.00 | Sqm |  | 65.00 | 39000.00 | 55.00 | 33000.00 | 50.00 | 30000.00 | 68.00 | 40800.00 | 30000.00 | B C Enterprise
49.00 | Providing and laying APP (Atactic Polypropylene Polymer) modified prefabricated five layer 3 mm thick water proofing membrane, black finished reinforced with non-woven polyester matt consisting of a coat of bitumen primer for bitumen membrane @ 0.40 litre/sqm by the same membrane manufacture of density at 25°C, 0.87-0.89 kg/ litre and viscocity 70-160 cps. Over the primer coat the layer of membrane shall be laid using Butane Torch and sealing all joints etc, and preparing the surface complete. The vital physical and chemical parameters of the membrane shall be as under : Joint strength in longitudinal and transverse direction at 23°C as 650/ 450N/ 5cm. Tear strength in longitudinal and transverse direction as 300/ 250N. Softening point of membrane not less than 150°C. Cold flexibility shall be upto -2°C when tested in accordance with ASTM, D - 5147. The laying of membrane shall be got done through the authorised applicator of the manufacturer of membrane : 3 mm thick | 760.00 | Sqm |  | 350.00 | 266000.00 | 280.00 | 212800.00 | 450.00 | 342000.00 | 678.00 | 515280.00 | 212800.00 | M/s. A S Traders
50.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 25.00 | Cum |  | 700.00 | 17500.00 | 50.00 | 1250.00 | 620.00 | 15500.00 | 1271.00 | 31775.00 | 1250.00 | M/s. A S Traders
51.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. In cement mortar | 2.00 | Cum |  | 200.00 | 400.00 | 5.00 | 10.00 | 280.00 | 560.00 | 847.00 | 1694.00 | 10.00 | M/s. A S Traders
52.00 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : Of area beyond 3 sq. metres | 6.00 | Each |  | 300.00 | 1800.00 | 250.00 | 1500.00 | 270.00 | 1620.00 | 85.00 | 510.00 | 510.00 | M/S.BHATTACHARJEE CONSTRUCTION
53.00 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead | 500.00 | Sqm. |  | 20.00 | 10000.00 | 50.00 | 25000.00 | 35.00 | 17500.00 | 17.00 | 8500.00 | 8500.00 | M/S.BHATTACHARJEE CONSTRUCTION
54.00 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | 50.00 | Cum |  | 300.00 | 15000.00 | 200.00 | 10000.00 | 230.00 | 11500.00 | 169.00 | 8450.00 | 8450.00 | M/S.BHATTACHARJEE CONSTRUCTION
55.00 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests | 3.00 | Each |  | 3300.00 | 9900.00 | 3500.00 | 10500.00 | 4500.00 | 13500.00 | 3390.00 | 10170.00 | 9900.00 | Sanjib Saha
56.00 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : W.C. pan with ISI marked white solid plastic seat and lid | 3.00 | Each |  | 3800.00 | 11400.00 | 4000.00 | 12000.00 | 4500.00 | 13500.00 | 4237.00 | 12711.00 | 11400.00 | Sanjib Saha
57.00 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: White Vitreous China Flat back wash basin size 550x 400 mm with single 15 mm C.P. brass pillar tap | 4.00 | Each |  | 2900.00 | 11600.00 | 2500.00 | 10000.00 | 1100.00 | 4400.00 | 1864.00 | 7456.00 | 4400.00 | B C Enterprise
58.00 | Providing and fixing white vitreous china flat back or wall corner type lipped front urinal basin of 430x260x350 mm or 340x410x265 mm sizes respectively. | 8.00 | Each |  | 1800.00 | 14400.00 | 4900.00 | 39200.00 | 1450.00 | 11600.00 | 424.00 | 3392.00 | 3392.00 | M/S.BHATTACHARJEE CONSTRUCTION
59.00 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. Flexible pipe 32 mm dia | 11.00 | Each |  | 80.00 | 880.00 | 50.00 | 550.00 | 105.00 | 1155.00 | 51.00 | 561.00 | 550.00 | M/s. A S Traders
60.00 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | 5.00 | Each |  | 800.00 | 4000.00 | 1400.00 | 7000.00 | 950.00 | 4750.00 | 1271.00 | 6355.00 | 4000.00 | Sanjib Saha
61.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls. 15 mm nominal dia Pipes | 50.00 | Metre |  | 500.00 | 25000.00 | 300.00 | 15000.00 | 380.00 | 19000.00 | 169.00 | 8450.00 | 8450.00 | M/S.BHATTACHARJEE CONSTRUCTION
62.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls. 20 mm nominal dia Pipes | 65.00 | Metre |  | 50.00 | 3250.00 | 300.00 | 19500.00 | 240.00 | 15600.00 | 212.00 | 13780.00 | 3250.00 | Sanjib Saha
63.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls. 25 mm nominal dia Pipes | 65.00 | Metre |  | 50.00 | 3250.00 | 300.00 | 19500.00 | 330.00 | 21450.00 | 254.00 | 16510.00 | 3250.00 | Sanjib Saha
64.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. 50 mm nominal dia Pipes | 25.00 | Metre |  | 900.00 | 22500.00 | 600.00 | 15000.00 | 500.00 | 12500.00 | 339.00 | 8475.00 | 8475.00 | M/S.BHATTACHARJEE CONSTRUCTION
65.00 | Providing and fixing brass bib cock of approved quality : 15 mm nominal bore | 10.00 | Each |  | 800.00 | 8000.00 | 600.00 | 6000.00 | 300.00 | 3000.00 | 508.00 | 5080.00 | 3000.00 | B C Enterprise
66.00 | Providing and fixing uplasticised PVC connection pipe with brass unions : 45 cm length 15 mm nominal bore | 12.00 | Each |  | 250.00 | 3000.00 | 60.00 | 720.00 | 80.00 | 960.00 | 127.00 | 1524.00 | 720.00 | M/s. A S Traders
67.00 | Providing and fixing PTMT grating of approved quality and colour. Circular type 125 mm nominal dia with 25 mm waste hole | 10.00 | Each |  | 90.00 | 900.00 | 30.00 | 300.00 | 40.00 | 400.00 | 42.00 | 420.00 | 300.00 | M/s. A S Traders
68.00 | Providing and fixing PTMT angle stop cock 15 mm nominal bore, weighing not less than 85 gms | 22.00 | Each |  | 200.00 | 4400.00 | 150.00 | 3300.00 | 130.00 | 2860.00 | 102.00 | 2244.00 | 2244.00 | M/S.BHATTACHARJEE CONSTRUCTION
69.00 | Providing and fixing PTMT swivelling shower, 15 mm nominal bore, weighing not less than 40 gms | 10.00 | Each |  | 350.00 | 3500.00 | 150.00 | 1500.00 | 100.00 | 1000.00 | 254.00 | 2540.00 | 1000.00 | B C Enterprise
| Total in Figures |  |  |  |  | 5241490.00 |  | 4925020.00 |  | 5211850.00 |  | 7408806.00
Lowest Amount Quoted BY: M/s. A S Traders(4925020.00)

## BOQ Summary
BOQ Summary Details Tender Title: Renovation of Old Store Building near Operational Gate no 4 VIP Gate for Temporary Arrangement of Additional space for CCR Hall at NSCBIA Kolkata Tender ID: 2024_AAI_213137_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s. A S Traders (BID ID -766854) | 4925020.00 | L1
| 2 | B C Enterprise (BID ID -773112) | 5211850.00 | L2
| 3 | Sanjib Saha (BID ID -766671) | 5241490.00 | L3
| 4 | M/S.BHATTACHARJEE CONSTRUCTION (BID ID -771648) | 7408806.00 | L4