## BoQ1
Government eProcurement System Created By: Ashwani Kumar Created Date/Time: 02-Dec-2024 12:32 PM Tender Title: Renovation of Toilets in SHA, Departure, Arrival area of Terminal Buildings and other allied buildings at Darbhanga Airport. Tender ID: 2024_AAI_213170_1
Tender Inviting Authority: <SM (Engg.-Civil), Darbhanga Airport, Darbhanga>
Name of Work: <Renovation of Toilets in SHA ,Departure ,Arrival area of Terminal Buildings and other allied buildings.>
Contract No: <2024_AAI_213170>
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/S. SALASAR A2Z BROKING & INVESTMENT (GSTN-NA) BID ID -768110 |  | M/S VIKASH KUMAR (GSTN-NA) BID ID -766631 |  | SUPURAN CONSTRUCTION PVT. LTD. (GSTN-NA) BID ID -770347
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 6.00 | CUM | 100.00 | 2434.00 | 14604.00 | 50.00 | 300.00 | 2500.00 | 15000.00 | 300.00 | M/S VIKASH KUMAR
2.00 | Demolishing R.C.C. work by mechanical means and stockpiling at designated locations and disposal of dismantled materials up to a lead of 1 kilometre, stacking serviceable and unserviceable material separately including cutting reinforcement bars | 11.00 | CUM | 100.00 | 2818.00 | 30998.00 | 10.00 | 110.00 | 2000.00 | 22000.00 | 110.00 | M/S VIKASH KUMAR
3.00 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge | 366.00 | SQM | 100.00 | 56.35 | 20624.10 | 50.00 | 18300.00 | 57.00 | 20862.00 | 18300.00 | M/S VIKASH KUMAR
4.00 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | 263.00 | SQM | 100.00 | 54.65 | 14372.95 | 10.00 | 2630.00 | 55.00 | 14465.00 | 2630.00 | M/S VIKASH KUMAR
5.00 | Dismantling of flushing cistern of all types (C.I./PVC/Vitrious China) including stacking of useful materials near the site and disposal of unserviceable materials within 50 metres lead. | 24.00 | Each | 100.00 | 112.00 | 2688.00 | 50.00 | 1200.00 | 113.00 | 2712.00 | 1200.00 | M/S VIKASH KUMAR
6.00 | Dismantling of C.I. sluice valve including stacking of useful materials within a lead of 50 metres .Up to 150 mm diameter | 4.00 | Each | 100.00 | 80.25 | 321.00 | 2.00 | 8.00 | 320.00 | 1280.00 | 8.00 | M/S VIKASH KUMAR
7.00 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | 40.00 | CUM | 100.00 | 263.95 | 10558.00 | 50.00 | 2000.00 | 264.00 | 10560.00 | 2000.00 | M/S VIKASH KUMAR
8.00 | Providing and fixing stainless steel soft closing spring hinges at 0 degree hinges (hydraulic type) of approved make/brand to cupboard shutters with full threaded steel screws including making necessary recess in board and finished etc. complete as per direction of Engineer-in-charge. | 6.00 | Each | 100.00 | 850.00 | 5100.00 | 10.00 | 60.00 | 227.00 | 1362.00 | 60.00 | M/S VIKASH KUMAR
9.00 | Providing and fixing factory made single extruded WPC (Wood Polymer Composite) solid plain white color board for backing of cup boards and bathroom/kitchen cabinets etc. of required size comprising of virgin polymer of K value 58-60 (Suspension Grade), calcium carbonate and natural fibers (wood powder/ rice husk/wheat husk) and non toxic additives (maximum toxicity index of 12 for 100 gms) having minimum density of 650 kg/cum and screw withdrawal strength of 1800 N (Face) & 900 N (Edge), minimum compressive strength 50 N/mm2, modulus of elasticity 850 N/mm2 and resistance to spread of flame of Class A category with property of being termite/borer proof, water/moisture proof and fire retardant and fixing with stainless steel screws etc. all as per direction of Engineer-InCharge. (Note: stainless steel screws shall be paid separately) 12 mm thick | 36.00 | SQM | 100.00 | 6000.00 | 216000.00 | 1300.00 | 46800.00 | 3250.00 | 117000.00 | 46800.00 | M/S VIKASH KUMAR
10.00 | Providing and fixing factory made single extruded WPC (Wood Polymer Composite) solid board one side white color and other side of board laminted with PVC foil of minimum 14 micron thickness of approved design pasted with hot melt adhesivefor cup boards, work stations and bathroom/kitchen cabinet etc. of required sizes comprising of virgin polymer of K value 58-60 (Suspension Grade), calcium carbonate and natural fibers (wood powder/ rice husk/wheat husk) and non toxic additives (maximum toxicity index of 12 for 100 gms) having minimum density of 650 kg/cum and screw withdrawal strength of 1800N (Face) & 900 N (Edge), minimum compressive strength 50 N/mm2, modulus of elasticity 850 N/mm2 and resistance to spread of flame of Class A category with property of being termite/borer proof, water/moisture proof and fire retardant and fixing with stainless steel piano hinges/soft close clip on concealed hinges of required size with necessary full body threaded star headed counter sunk S.S screws, all as per direction of Engineer-In- Charge. (Note: stainless steel piano hinges/softclose clip on concealed hinges and necessary S.S screws shall be paid separately) 18 mm thick | 12.00 | SQM | 100.00 | 6000.00 | 72000.00 | 2100.00 | 25200.00 | 1711.00 | 20532.00 | 20532.00 | SUPURAN CONSTRUCTION PVT. LTD.
11.00 | Providing and fixing factory made single extruded WPC (Wood Polymer Composite) solid decorative type flush door shutter of required size comprising of virgin polymer of K value 58-60 (Suspension Grade), calcium carbonate and natural fibers (wood powder/ rice husk/wheat husk) and non toxic additives (maximum toxicity index of 12 for 100 gms) having minimum density of 650 kg/cum and screw withdrawal strength of 1800 N (Face) & 900 N (Edge), minimum compressive strength 50 N/mm2, modulus of elasticity 850 N/mm2 and resistance to spread of flame of Class A category with property of being termite/ borer proof, water/moisture proof and fire retardant. WPC to be laminated with PVC foil of minimum 14 microns thick of approved design pasted with hot melt adhesive on both faces of shutter and fixing with stainless steel butt hinges of required size with necessary full body threaded star headed counter sunk S.S screws, all as per direction of Engineer-In- Charge.(Note: stainless steel butt hinges and necessary S.S screws shall be paid separately) 35 mm thick | 21.00 | SQM | 100.00 | 5500.00 | 115500.00 | 3600.00 | 75600.00 | 4764.00 | 100044.00 | 75600.00 | M/S VIKASH KUMAR
12.00 | Providing & fixing push type liquid soap dispenser ROCA Model No- RA816391001/ Jaquar Model No- CAN-1137N/ Kohler K-10712D-CP or approved equivalent including all fittings and accessories required as per satisfaction & direction of Engineer- Incharge. | 16.00 | Each | 100.00 | 169.00 | 2704.00 | 2900.00 | 46400.00 | 6000.00 | 96000.00 | 2704.00 | M/S. SALASAR A2Z BROKING & INVESTMENT
13.00 | Providing & fixing recessed sanitary napkin disposal (Bobrick cat no. B-35139 or approved equivalent) as per direction of Engineer-Incharge. | 6.00 | Each | 100.00 | 4000.00 | 24000.00 | 35000.00 | 210000.00 | 500.00 | 3000.00 | 3000.00 | SUPURAN CONSTRUCTION PVT. LTD.
14.00 | Providing and fixing Toilet Paper Holder Kohler Model No 5632IN-CP/ Jaquar Model No AHS-1553/ ROCA RA816070159 or approved equivalent including all fittings and accessories required as per satisfaction & direction of Engineer- Incharge. | 26.00 | Each | 100.00 | 150.00 | 3900.00 | 900.00 | 23400.00 | 804.00 | 20904.00 | 3900.00 | M/S. SALASAR A2Z BROKING & INVESTMENT
15.00 | Providing & fixing of 600 mm to 750 mm long stainless steel grab bar (Jaquar cat.no.WAC-SAP- BR0600CS/Bobrick code B-5806 / Utec (TVB access cat no. TVB-7524) or approved equivalent with all necessary fittings etc complete as approved by Engineer in charge. | 5.00 | Each | 100.00 | 700.00 | 3500.00 | 5600.00 | 28000.00 | 15000.00 | 75000.00 | 3500.00 | M/S. SALASAR A2Z BROKING & INVESTMENT
16.00 | Providing and fixing Hygeine panel in ladies toilet of make Euronix or equivalent with all necessary fittings etc complete as approved by Engineer in charge. | 2.00 | Each | 100.00 | 250.00 | 500.00 | 38000.00 | 76000.00 | 50000.00 | 100000.00 | 500.00 | M/S. SALASAR A2Z BROKING & INVESTMENT
17.00 | Providing assistance on architectural issues while carrying out modification works to meet the desired requirements. The architect/consultant engaged should have experience of handling interior furnishing, drainage system & washroom work of prominent buildings preferably Airports, premium hotels, shopping complexes or similar.(This item shall be executed with the prior approval of Engineer In-charge or Project In-charge after verification of the the experience of the consultant.) | 1.00 | JOB | 100.00 | 25000.00 | 25000.00 | 195000.00 | 195000.00 | 80000.00 | 80000.00 | 25000.00 | M/S. SALASAR A2Z BROKING & INVESTMENT
18.00 | Supplying Dustbins made of 18 gauge, SS-202 grade stainless steel hairline finish of 400 mm external die length 750 mm and hight 750 mm with 2 nos. 300 mm dia round opening at top with PU coating including 125 mm high AAI blue colour Logo, colour coded waste description sticker and Neoprene gasket ring at botton. The dustbin should have removable cover and provision of clipping poly bags complete as per design, drawing no.- PLG/A9/STD/DB/02 (drawing enclosed) and directions of Engineer in charge. The dustbin shall display sticker indicating type of garbage and the top shall be finished with approved shade of PU coating as per the instructions Engineer-In-charge.(Before supply, Sample of dustbin should be submitted to AAI for Approval. Approved sample shall be paid in respective item.) | 8.00 | Nos. | 100.00 | 5000.00 | 40000.00 | 19500.00 | 156000.00 | 1000.00 | 8000.00 | 8000.00 | SUPURAN CONSTRUCTION PVT. LTD.
19.00 | Supplying Dustbins made of 18 gauge, SS-202 grade stainless steel hairline finish of 400 mm external die length 750 mm and hight 750 mm with 2 nos. 300 mm dia round opening at top with PU coating including 125 mm high AAI blue colour Logo, colour coded waste description sticker and Neoprene gasket ring at botton. The dustbin should have removable cover and provision of clipping poly bags and having trolley castor wheels complete as per design, drawing no.- PLG/A9/STD/DB/05 (drawing enclosed) and directions of Engineer in charge. The dustbin shall display sticker indicating type of garbage and the top shall be finished with approved shade of PU coating as per the instructions Engineer-In-charge. (Before supply, Sample of dustbin should be submitted to AAI for Approval. Approved sample shall be paid in respective item.) | 5.00 | Nos. | 100.00 | 5000.00 | 25000.00 | 20500.00 | 102500.00 | 1500.00 | 7500.00 | 7500.00 | SUPURAN CONSTRUCTION PVT. LTD.
20.00 | Filling the gap in between aluminium frame & adjacent RCC/ Brick/ Stone work by providing weather silicon sealant over backer rod of approved quality as per architectural drawings and direction of Engineer-in-charge complete. Upto 5mm depth and 5 mm width | 65.00 | Mtr. | 100.00 | 180.00 | 11700.00 | 20.00 | 1300.00 | 97.00 | 6305.00 | 1300.00 | M/S VIKASH KUMAR
21.00 | Supplying Dustbins made of 18 gauge, SS-202 grade stainless steel hairline finish of 400 mm external die length 750 mm and hight 750 mm with 400 mm dia round opening at top with PU coating including 125 mm high AAI blue colour Logo, colour coded waste description sticker and Neoprene gasket ring at bottom. The dustbin should have removable cover and provision of clipping poly bags complete as per design, drawing no.- PLG/A9/STD/DB/01 and directions of Engineer in-charge. The dustbin shall display sticker indicating type of garbage and the top shall be finished with approved shade of PU coating as per the instructions of Engineer -in-charge. | 14.00 | Nos. | 100.00 | 2500.00 | 35000.00 | 13000.00 | 182000.00 | 1200.00 | 16800.00 | 16800.00 | SUPURAN CONSTRUCTION PVT. LTD.
22.00 | Providing and fixing powder coated telescopic drawer channels 300 mm long with necessary screws etc. complete as per directions of Engineer-in-charge. | 16.00 | Per Set | 100.00 | 450.00 | 7200.00 | 300.00 | 4800.00 | 355.00 | 5680.00 | 4800.00 | M/S VIKASH KUMAR
23.00 | Providing and fixing magnetic catcher of approved quality in cupboard / ward robe shutters, including fixing with necessary screws etc. complete. Triple strip vertical type | 40.00 | Per No. | 100.00 | 750.00 | 30000.00 | 40.00 | 1600.00 | 45.00 | 1800.00 | 1600.00 | M/S VIKASH KUMAR
24.00 | 25 mm wooden planking, tongued and grooved in flooring, including fixing with iron screws complete with : Second class deodar wood | 9.00 | SQM | 100.00 | 750.00 | 6750.00 | 100.00 | 900.00 | 2800.00 | 25200.00 | 900.00 | M/S VIKASH KUMAR
25.00 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer), of 1st quality conforming to IS : 15622, of approved make, in all colours, shades, except White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick bed of cement mortar 1:4 (1 Cement : 4 Coarse sand), jointing with grey cement slurry @ 3.3 kg/ sq.m including pointing the joints with white cement and matching pigments etc., complete. | 19.00 | SQM | 100.00 | 1500.00 | 28500.00 | 50.00 | 950.00 | 935.00 | 17765.00 | 950.00 | M/S VIKASH KUMAR
26.00 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. | 16.00 | SQM | 100.00 | 1500.00 | 24000.00 | 50.00 | 800.00 | 2200.00 | 35200.00 | 800.00 | M/S VIKASH KUMAR
27.00 | Grouting the joints of flooring tiles having joints of 3 mm width, using epoxy grout mix of 0.70 kg of organic coated filler of desired shade (0.10 kg of hardener and 0.20 kg of resin per kg), including filling / grouting and finishing complete as per direction of Engineer-in-charge. Size of Tile 600x600 mm | 90.00 | SQM | 100.00 | 1500.00 | 135000.00 | 150.00 | 13500.00 | 258.00 | 23220.00 | 13500.00 | M/S VIKASH KUMAR
28.00 | Providing and laying flamed finish Granite stone flooring in required design and patterns, in linear as well as curvilinear portions of the building all complete as per the architectural drawings with 18 mm thick stone slab over 20 mm (average) thick base of cement mortar 1:4 (1 cement : 4 coarse sand) laid and jointed with cement slurry and pointing with white cement slurry admixed with pigment of matching shade including rubbing, curing and polishing etc. all complete as specified and as directed by the Engineer-in-Charge : Flamed finish granite stone slab Jet Black, Cherry Red, Elite Brown, Cat Eye or equivalent. | 35.00 | SQM | 100.00 | 5000.00 | 175000.00 | 3200.00 | 112000.00 | 5000.00 | 175000.00 | 112000.00 | M/S VIKASH KUMAR
29.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 446.00 | SQM | 100.00 | 1000.00 | 446000.00 | 1300.00 | 579800.00 | 1000.00 | 446000.00 | 446000.00 | M/S. SALASAR A2Z BROKING & INVESTMENT, SUPURAN CONSTRUCTION PVT. LTD.
30.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 92.00 | SQM | 100.00 | 300.00 | 27600.00 | 100.00 | 9200.00 | 17.00 | 1564.00 | 1564.00 | SUPURAN CONSTRUCTION PVT. LTD.
31.00 | Providing and fixing C.P. brass angle valve of Jaquar make- Model No- CON-053KN/ Kohler 11568IN-7-CP/ or of approved equivalent quality with all necessary fittings etc complete as per satisfaction & direction of Engineer- Incharge. | 37.00 | Each | 100.00 | 600.00 | 22200.00 | 750.00 | 27750.00 | 700.00 | 25900.00 | 22200.00 | M/S. SALASAR A2Z BROKING & INVESTMENT
32.00 | Providing & fixing C.P. hand spray with lever control (health faucet) (Jaquar cat. no. ALD- 573/ Kohler Cat No. K-12927IN-CP or approved equivalent), flexible hose 1 m-1.2m long connection with C.P. holder for hand spray complete with all necessary fittings etc complete as per satisfaction & direction of Engineer- Incharge. | 16.00 | Each | 100.00 | 300.00 | 4800.00 | 1200.00 | 19200.00 | 900.00 | 14400.00 | 4800.00 | M/S. SALASAR A2Z BROKING & INVESTMENT
33.00 | Providing and fixing 32mm dia Bottle Trap (Jaquar cat.no.ALD-769L300X190 / Kohler cat no. K-7314IN-CP or approved equivalent) and other ancillary fittings, cutting and making good the walls wherever required complete as per satisfaction & directions of Engineer-Incharge. | 34.00 | Each | 100.00 | 1500.00 | 51000.00 | 1500.00 | 51000.00 | 2500.00 | 85000.00 | 51000.00 | M/S VIKASH KUMAR, M/S. SALASAR A2Z BROKING & INVESTMENT
34.00 | Providing & fixing Stainless Steel floor push nahani trap of size 150 mm x 150 mm at floor level i.c proper finishing of joint in flooring etc complete as per direction of Engineer-Incharge. | 5.00 | Each | 100.00 | 1700.00 | 8500.00 | 10.00 | 50.00 | 600.00 | 3000.00 | 50.00 | M/S VIKASH KUMAR
35.00 | Providing & fixing sensor-based urinal with sensor complete set up with automatic flushing systems ( Kohler Cat No. -16321IN-SS-0 & 24199IN-C03-CP or approved equivalent) comprising of all plumbing, electronic and electrical items. CP brass flush pipe with CP brass elbow, CP brass spreader, CP wall flange, infrared photo cells, eyes electrically operated solenoid valve, step down transformer / equipment and any other item required to provide satisfactory functioning including necessary wall cutting / chasing and making good, as required for urinal flushing complete as mentioned above as per direction of Engineer-Incharge. | 11.00 | Each | 100.00 | 60000.00 | 660000.00 | 23000.00 | 253000.00 | 68000.00 | 748000.00 | 253000.00 | M/S VIKASH KUMAR
36.00 | Providing & fixing of white vitreous European type water closet (Jaquar cat.no.ARS-39951UFSM, JCS-WHT-2400 & JCP-CHR-152415 / Kohler Cat No. 2917IN-S-0 & P77027IN-M-NA / or approved equivalent) with CP bolts, nuts, CI chair hanging arrangements, seat & cover with CP hinges & rubber buffers, CP brass screw, washer with all accessories with WC connector with Rubber Lip / Buffer and side gap filled with silicon sealant wherever required with chrome finished brass concealed type dual flush cistern or as required comprising of actuator button facia assembly including brass / SS screws and washer complete including cutting, making good the walls, floors, slab wherever required as per satisfaction direction of Engineer-Incharge. | 10.00 | Each | 100.00 | 2500.00 | 25000.00 | 23000.00 | 230000.00 | 15000.00 | 150000.00 | 25000.00 | M/S. SALASAR A2Z BROKING & INVESTMENT
37.00 | Providing & fixing of white vitreous china wash basin (Roca Cat No. R32747 Series/ Jaquar cat.no.FLS-WHT-5935/ Kohler cat no. 2660IN-1-0 / or approved equivalent) with CP brass waste assembly, wall flanges and rubber adapters for waste connection complete including CI/MS brackets duly painted, nuts, washers, cutting and making good the walls floors wherever required as per direction & satisfaction of Engineer-Incharge. | 11.00 | Each | 100.00 | 3200.00 | 35200.00 | 5800.00 | 63800.00 | 12000.00 | 132000.00 | 35200.00 | M/S. SALASAR A2Z BROKING & INVESTMENT
38.00 | Providing & fixing Pressmatic Pillar tap ( Jaquar Model No-PRS-031/ PRS-CHR-031L65/ Kohler 20747 IN-8-CP/ Roca - RT5A4277C00) or approved equivalent auto closing type for wash basin, complete with all accessories as per direction of Engineer-Incharge. | 15.00 | Each | 100.00 | 980.00 | 14700.00 | 2000.00 | 30000.00 | 3300.00 | 49500.00 | 14700.00 | M/S. SALASAR A2Z BROKING & INVESTMENT
39.00 | Providing & fixing unplasticised PVC connection pipe(Jaquar cat.no.ALD-CHR-805B or equivalent ) with brass unions of 45cm length & 15mm nominal bore. | 58.00 | Each | 100.00 | 1560.00 | 90480.00 | 20.00 | 1160.00 | 280.00 | 16240.00 | 1160.00 | M/S VIKASH KUMAR
40.00 | Providing and fixing mirror of superior glass make saint Gobain/ Modiguard or equivalent with bevelled edge, thickness 5mm fitted with 50mm SS studs with screws and cap etc all complete as per satisfaction of Engineer-in-charge | 7.00 | SQM | 100.00 | 10200.00 | 71400.00 | 2500.00 | 17500.00 | 1600.00 | 11200.00 | 11200.00 | SUPURAN CONSTRUCTION PVT. LTD.
41.00 | Credit items for taking dismantle Iron/Steel to be taken by the agency out side the premises of Airport at own transportation, loading, unloading etc all cost complete as per direction of E-I-C. | 10.00 | KG | 100.00 | 9000.00 | 90000.00 | 20.00 | 200.00 | 100.00 | 1000.00 | 200.00 | M/S VIKASH KUMAR
42.00 | Credit items for taking dismantle Aluminium to be taken by the agency out side the premises of Airport at own transportation, loading, unloading etc all cost complete as per direction of E-I-C. | 2.00 | KG | 100.00 | 500.00 | 1000.00 | 80.00 | 160.00 | 50.00 | 100.00 | 100.00 | SUPURAN CONSTRUCTION PVT. LTD.
43.00 | Credit items for taking dismantle Brass/ Pillar cock & other CP items to be taken by the agency out side the premises of Airport at own transportation, loading, unloading etc all cost complete as per direction of E-I-C. | 23.00 | Each | 100.00 | 400.00 | 9200.00 | 100.00 | 2300.00 | 100.00 | 2300.00 | 2300.00 | M/S VIKASH KUMAR, SUPURAN CONSTRUCTION PVT. LTD.
44.00 | Providing and fixing false ceiling at all heights with integral densified calcium silicate reinforced with fibre and natural filler false ceiling tiles of Size 595x595 mm of approved texture, design and patterns having NRC (Noise Reduction coefficient) of 0.50 (minimum) as per IS 8225:1987, Light reflectance of 85% (minimum). Non combustible as per BS:476 (part-4), fire performance as per BS:476 (part 6 &7), humidity resistance of 100%, thermal conductivity < 0.043 W/m K as per ASTM 518:1991, in true horizontal level suspended on interlocking metal powder coated T-Grid of hot dipped galvanised iron section of 0.40 mm thick on Silhouette profile,rotary stiched double webbed white with 6mm reveal profile (white/black),comprising of main-T runners of size 15x42mm of length 3000 mm, cross - T of size 15x42 mm of length 1200 mm and secondary intermediate crossT of size 15x42 mm of length 600mm to form grid module of size 600 x 600 mm, suspended from ceiling using galvanised mild steel items (galvanizing @ 80 grams per sqm) i.e. 50 mm long, 8 mm outer diameter M-6 dash fasteners, 6 mm dia fully threaded hanger rod upto 1000 mm length and L-shape level adjuster of size 85x25x2 mm. Galvanised iron perimeter wall angle of size 22x19x0.40 mm of length 3000 mm to be fixed on periphery wall / partition with the help of plastic rawl plugs at 450 mm center to center and 40mm long dry wall S.S screws. The work shall be carried out as per specifications, drawing and as per directions of the Engineer-in-Charge. With 15 mm thick integral densified micro edge light weight calcium silicate false ceiling tiles | 96.00 | SQM | 100.00 | 950.00 | 91200.00 | 1800.00 | 172800.00 | 300.00 | 28800.00 | 28800.00 | SUPURAN CONSTRUCTION PVT. LTD.
45.00 | Providing and fixing internal wall panels on Light gauge steel frame work with 12.5mm thick gypsum plaster board conforming IS 2095:2011 fixed on cement board as per standard sizes fixed with self-drilling / taping screws / fasteners @ 60cm c/c of approved make, Screws shall be of counter sunk rib head of 1.60mm to 4 mm thick or 8 to 10 gauge of length varying from 25 to 45 mm. Proper taping and jointing to be done using fiber mesh tape and epoxy and acrylic based jointing compound for seamless finish.(cost of frame work to be paid for separately). Cement Fiber Board 8 mm thick as per IS 14862:2000 of type B (High pressure Steam Cured) | 129.00 | SQM | 100.00 | 950.00 | 122550.00 | 1450.00 | 187050.00 | 2500.00 | 322500.00 | 122550.00 | M/S. SALASAR A2Z BROKING & INVESTMENT
46.00 | Supply of 10 Watt (not more than 110% of the rated capacity) indoor recess mounted centre froceted COB LED fixture (down lighter) with minimum system lumens efficacy > / = 90 lumens per watt, minimum lifetime of 50000 burning hours, IP-20 protected Aluminium housing with Aluminium heat sink, heat resistant clear toughened glass difuser i/c all accessories like LED electronic driver suitable for operation on single phase, 230 V, 50 Hz, AC supply complete etc as required as per enclosed technical specification. | 200.00 | Each | 100.00 | 1900.00 | 380000.00 | 1100.00 | 220000.00 | 900.00 | 180000.00 | 180000.00 | SUPURAN CONSTRUCTION PVT. LTD.
47.00 | Supply of 25W LED strip of 5 Mtr, including driver, suitable for 1-phase operation (230V AC) | 30.00 | Set | 100.00 | 650.00 | 19500.00 | 1200.00 | 36000.00 | 1800.00 | 54000.00 | 19500.00 | M/S. SALASAR A2Z BROKING & INVESTMENT
48.00 | SITC of Stainless steel Hand driers Suitable for 230 Volt ,drying time less than 20sec, autocut off time 60 sec approx , motor Bursh type, dual Ball Beargins etc complete as required(make Euronics- Model- EH201N or equivalent as required. ) | 10.00 | Job | 100.00 | 500.00 | 5000.00 | 12000.00 | 120000.00 | 18000.00 | 180000.00 | 5000.00 | M/S. SALASAR A2Z BROKING & INVESTMENT
49.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface I recessed steel conduit, with modular switch, modular plate, suitable Gl box and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc. as required (Group-C). | 15.00 | Point | 100.00 | 500.00 | 7500.00 | 1000.00 | 15000.00 | 198.00 | 2970.00 | 2970.00 | SUPURAN CONSTRUCTION PVT. LTD.
50.00 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point (without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc. as required (Group-C). | 40.00 | point | 100.00 | 500.00 | 20000.00 | 500.00 | 20000.00 | 250.00 | 10000.00 | 10000.00 | SUPURAN CONSTRUCTION PVT. LTD.
51.00 | Wiring with light/power plug with 2 x 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface/recessed steel conduit alongwith 1 No 1.5 sq.mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 50.00 | Meter | 100.00 | 500.00 | 25000.00 | 200.00 | 10000.00 | 240.00 | 12000.00 | 10000.00 | M/S VIKASH KUMAR
52.00 | Wiring with light/power plug with 2 x 2.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface/recessed steel conduit alongwith 1 No 2.5 sq.mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 100.00 | Meter | 100.00 | 500.00 | 50000.00 | 250.00 | 25000.00 | 300.00 | 30000.00 | 25000.00 | M/S VIKASH KUMAR
53.00 | Wiring with light/power plug with 4 x 2.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface/recessed steel conduit alongwith 2 No 2.5 sq.mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 100.00 | Meter | 100.00 | 500.00 | 50000.00 | 250.00 | 25000.00 | 400.00 | 40000.00 | 25000.00 | M/S VIKASH KUMAR
54.00 | Wiring with light/power plug with 2 x 4 sq.mm FRLS PVC insulated copper conductor single core cable in surface/recessed steel conduit alongwith 1 No 4 sq.mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 100.00 | Meter | 100.00 | 500.00 | 50000.00 | 200.00 | 20000.00 | 500.00 | 50000.00 | 20000.00 | M/S VIKASH KUMAR
55.00 | Supplying and fixing suitable size Gl box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required. | 26.00 | Each | 100.00 | 500.00 | 13000.00 | 250.00 | 6500.00 | 1000.00 | 26000.00 | 6500.00 | M/S VIKASH KUMAR
56.00 | Supplying and fixing suitable size Gl box with modular plate and cover in Front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 A modular socket outlet and 15/16 A modular switch, connection etc. as required. | 26.00 | Each | 100.00 | 500.00 | 13000.00 | 250.00 | 6500.00 | 500.00 | 13000.00 | 6500.00 | M/S VIKASH KUMAR
57.00 | Installation, testing and commissioning of pre-wired, recess mounted fluorescent fitting / compact fluorescent fitting/LED fitting/MH fitting/post top luminaries etc of all types, complete with all accessories and tube etc. directly on ceiling/ wall, including connection with 1.5 sq. mm FRLSH PVC insulated, stranded, copper conductor, single core cable with flexible conduits and coupler and earthing etc. as required | 200.00 | Set | 100.00 | 2500.00 | 500000.00 | 100.00 | 20000.00 | 100.00 | 20000.00 | 20000.00 | M/S VIKASH KUMAR, SUPURAN CONSTRUCTION PVT. LTD.
| Total in Figures |  |  |  |  | 3984350.05 |  | 3496328.00 |  | 3678665.00
Lowest Amount Quoted BY: M/S VIKASH KUMAR(3496328.00)

## BOQ Summary
BOQ Summary Details Tender Title: Renovation of Toilets in SHA, Departure, Arrival area of Terminal Buildings and other allied buildings at Darbhanga Airport. Tender ID: 2024_AAI_213170_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/S VIKASH KUMAR (BID ID -766631) | 3496328.00 | L1
| 2 | SUPURAN CONSTRUCTION PVT. LTD. (BID ID -770347) | 3678665.00 | L2
| 3 | M/S. SALASAR A2Z BROKING & INVESTMENT (BID ID -768110) | 3984350.05 | L3