## BoQ1
Government eProcurement System Created By: SUBBIAN VELUSWAMY SENTHIL KUMAR Created Date/Time: 18-Dec-2024 11:55 AM Tender Title: Provision of Interleaving Circuits for RWY 23 and 05 PAPIs at Coimbatore International Airport Tender ID: 2024_AAI_213437_1
Tender Inviting Authority: Senior Manager (Engg.- Elct.), Airports Authority of India, Coimbatore International Airport, Coimbatore-641014.
Name of Work: Provision of Interleaving Circuits for RWY 23 & 05 PAPIs at Coimbatore International Airport.
Tender ID: 2024_AAI_213437_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | C P MONCHESTER ELECTRICALS (GSTN-33AJOPP7842E1ZY) BID ID -767464 |  | surbhi association (GSTN-23AGKPD2522N1ZK) BID ID -773951 |  | Awasthi Electric Works (GSTN-09ABAPA1866D1Z5) BID ID -774216 |  | DElite System Engineering (India) Pvt. Ltd. (GSTN-NA) BID ID -773982 |  | YPR ENGINEERING AND SOLUTIONS PRIVATE LIMITED (GSTN-NA) BID ID -771741
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 2Core x 16 sq.mm 5 KV grade stranded annealed copper conductor underground, unscreened, unarmoured PVC insulated and PVC sheathed AFL cable conforming to IS 1554 (Part II) with up to date amendments and as per AAI specifications etc. as required. | 3500.00 | Mtr | 1.00 | 470.00 | 1645000.00 | 500.00 | 1750000.00 | 475.00 | 1662500.00 | 269.00 | 941500.00 | 600.00 | 2100000.00 | 941500.00 | DElite System Engineering (India) Pvt. Ltd.
2.00 | Supply of 5KV grade, 200W, 6.6/6.6 Amps Isolating Transformers for Runway lighting System | 35.00 | Nos | 1.00 | 5100.00 | 178500.00 | 4800.00 | 168000.00 | 5000.00 | 175000.00 | 7000.00 | 245000.00 | 4500.00 | 157500.00 | 157500.00 | YPR ENGINEERING AND SOLUTIONS PRIVATE LIMITED
3.00 | Supply of 5 KV grade plug and receptacle suitable of type I class B connector suitable for field attachment with 1x16 sqmm 5 KV grade PVC insulated PVC sheathed single core copper conductor cable conforming to the relevant IS specifications as required. | 50.00 | Set | 1.00 | 550.00 | 27500.00 | 550.00 | 27500.00 | 560.00 | 28000.00 | 900.00 | 45000.00 | 800.00 | 40000.00 | 27500.00 | C P MONCHESTER ELECTRICALS, surbhi association
4.00 | Supply of XLPE insulated and PVC sheathed armoured aluminium conductor UG power cable of 1.1 KV grade of following sizes confirming to IS 7098(Part -1/1988) with upto date amendments etc complete as required. 4 x 35 Sqmm | 250.00 | Mtr | 1.00 | 450.00 | 112500.00 | 250.00 | 62500.00 | 275.00 | 68750.00 | 329.00 | 82250.00 | 380.00 | 95000.00 | 62500.00 | surbhi association
5.00 | SITC of PAPI units (set of 4 units viz. A, B C &D units) fitted with 4 nos. of 200W/150W, 6.6Amps halogen lamps in each units including all accessories like clear lens, red filters, reflectors, supporting legs, secondary leads etc. as per ICAO /CAR standards, including providing suitable concrete plat form, proving and installing checking stick base plates, conducting ground calibration of PAPI units to the required glide angles using inclinometer & checking sticks etc. as required. | 2.00 | Job | 1.00 | 570000.00 | 1140000.00 | 615000.00 | 1230000.00 | 610000.00 | 1220000.00 | 900000.00 | 1800000.00 | 520000.00 | 1040000.00 | 1040000.00 | YPR ENGINEERING AND SOLUTIONS PRIVATE LIMITED
6.00 | Supply of Inclinometer & checking stick along with base (4 nos per set) suitable for ground calibration of PAPI units of item no. 4 above | 2.00 | Set | 1.00 | 140000.00 | 280000.00 | 90000.00 | 180000.00 | 68000.00 | 136000.00 | 90000.00 | 180000.00 | 80000.00 | 160000.00 | 136000.00 | Awasthi Electric Works
7.00 | SITC of FAA compliant indoor type Microprocessor based, air cooled Constant Current Regulator of Thyristor controlled electronic type suitable for use on 240 V AC, 50Hz, input AC supply with below mentioned output power at 6.6 amps with 5 steps variation of current output suitable for local and remote control operation with 24/48 V DC control supply complete with output current indicated on multifunction digital display, over current, over voltage, earth fault protection and earth leakage meter, positive back indication equipment relay contactor etc. as required as per specification and of following rating. 7.5 KW MPCCR at 6.6 Amps, supply voltage 240 V AC with tapping at 2.5 KW & 4 KW | 3.00 | Job | 1.00 | 270000.00 | 810000.00 | 315000.00 | 945000.00 | 294000.00 | 882000.00 | 390000.00 | 1170000.00 | 270000.00 | 810000.00 | 810000.00 | C P MONCHESTER ELECTRICALS, YPR ENGINEERING AND SOLUTIONS PRIVATE LIMITED
8.00 | Supplying of following size DWC HDPE pipe of ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930. 50 mm OD , 38 mm ID | 1900.00 | Mtr | 1.00 | 81.00 | 153900.00 | 100.00 | 190000.00 | 60.00 | 114000.00 | 119.00 | 226100.00 | 90.00 | 171000.00 | 114000.00 | Awasthi Electric Works
9.00 | Excavation for cable trenches in soft soil, depth upto 1.2 m including dressing of sides lift upto 1.5 m, including getting out the excavated soil, refilling with good soil after laying of cable/ pipe etc and disposal of surplus excavated soil as directed, within a lead of 50 metres. | 1000.00 | Cum | 1.00 | 450.00 | 450000.00 | 180.00 | 180000.00 | 125.00 | 125000.00 | 700.00 | 700000.00 | 300.00 | 300000.00 | 125000.00 | Awasthi Electric Works
10.00 | Laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc. Direct in ground (75 cm below ground level) in existing trench etc., complete as required. 50 mm OD 38 mm ID | 3200.00 | Mtr | 1.00 | 21.00 | 67200.00 | 25.00 | 80000.00 | 35.00 | 112000.00 | 150.00 | 480000.00 | 60.00 | 192000.00 | 67200.00 | C P MONCHESTER ELECTRICALS
11.00 | Laying of one number PVC insulated and PVC sheathed /XLPE power cable of 5 kV grade of following size in the existing RCC/ HUME/ DUCT/ METAL/DWC pipe as required. Up to 35 sq.mm | 3200.00 | Mtr | 1.00 | 31.00 | 99200.00 | 25.00 | 80000.00 | 30.00 | 96000.00 | 90.00 | 288000.00 | 18.00 | 57600.00 | 57600.00 | YPR ENGINEERING AND SOLUTIONS PRIVATE LIMITED
12.00 | Installation of CI Transformer housing box in runway / taxy way shoulder including required excavation and providing 75 mm thick cement concrete 1:2:4 all around and bottom of the transformer housing box with required slope to match with the bitumen/soil surface and plastering of exposed surface with cement mortar 1:3 over the concrete surface including painting top of CI box after installation, disposing off surplus excavated material etc. as required. Note: housing box will be provided by AAI | 15.00 | Job | 1.00 | 4200.00 | 63000.00 | 2000.00 | 30000.00 | 8000.00 | 120000.00 | 9000.00 | 135000.00 | 3000.00 | 45000.00 | 30000.00 | surbhi association
13.00 | Providing and laying in position cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) in foundation, cable route marker, PAPI foundation, checking stick foundation including form work etc as required. | 10.00 | Cum | 1.00 | 9000.00 | 90000.00 | 6500.00 | 65000.00 | 8500.00 | 85000.00 | 9000.00 | 90000.00 | 6500.00 | 65000.00 | 65000.00 | YPR ENGINEERING AND SOLUTIONS PRIVATE LIMITED, surbhi association
14.00 | Earthing with G.I. earth pipe 4.5 meter long, 40 mm dia including accessories, and providing masonry enclosure with FRP cover plate of mini 2.5 ton capacity, 18x18 mini size and watering pipe etc. with charcoal/ coke and salt as required. | 7.00 | Nos | 1.00 | 9000.00 | 63000.00 | 7500.00 | 52500.00 | 10000.00 | 70000.00 | 15000.00 | 105000.00 | 14000.00 | 98000.00 | 52500.00 | surbhi association
15.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing including connection/ termination with GI thimble etc. as required. | 2800.00 | Mtr | 1.00 | 21.00 | 58800.00 | 22.00 | 61600.00 | 30.00 | 84000.00 | 60.00 | 168000.00 | 30.00 | 84000.00 | 58800.00 | C P MONCHESTER ELECTRICALS
16.00 | Providing and laying earth connection from earth electrode with 6 SWG dia G.I. Wire in 15 mm dia G.I. pipe from earth electrode including connection with G.I. thimble excavation and re-filling as required. | 50.00 | Mtr | 1.00 | 360.00 | 18000.00 | 250.00 | 12500.00 | 225.00 | 11250.00 | 600.00 | 30000.00 | 250.00 | 12500.00 | 11250.00 | Awasthi Electric Works
17.00 | Necessary modification of Existing Nasu make ALCMS in ATC tower and CCR hall including making required changes to the software upgradation, MIMIC indication, control wiring of CCR to RCD,Vault panel circuits, providing and installing new Auto/Manual change over panel for 02 additional CCRs, required cabling, control wiring etc complete as required as per instructions of Engineer-In-Charge. | 1.00 | Job | 1.00 | 565100.00 | 565100.00 | 525000.00 | 525000.00 | 225000.00 | 225000.00 | 600000.00 | 600000.00 | 200000.00 | 200000.00 | 200000.00 | YPR ENGINEERING AND SOLUTIONS PRIVATE LIMITED
18.00 | Making 63 mm dia holes using in existing CI box suitable for use in Runway without damages to the CI box complete as required. | 10.00 | Nos | 1.00 | 860.00 | 8600.00 | 1000.00 | 10000.00 | 2000.00 | 20000.00 | 900.00 | 9000.00 | 500.00 | 5000.00 | 5000.00 | YPR ENGINEERING AND SOLUTIONS PRIVATE LIMITED
19.00 | Supply of 10 mm thick base plate (dummy) with gasket and 06 nos. M- 10 SS bolts suitable for 330 mm outer dia, isolating transformer housing box etc. as required. | 10.00 | Nos | 1.00 | 2500.00 | 25000.00 | 1000.00 | 10000.00 | 1475.00 | 14750.00 | 5000.00 | 50000.00 | 1200.00 | 12000.00 | 10000.00 | surbhi association
20.00 | SITC of precast type RCC cable chamber, minimum M20 grade, inner size 1m (L) x 1m (W) x 2m (D), made of cement concrete wall thickness minimum 150 mm, wall thickness, RCC slab cover of minimum 200 mm thick, cast in 3 pieces to cover the chamber, suitable hook arrangement in sections including excavation, base concreting, backfilling, removal of excess of soil, flushing with the soil level etc as per directions of Engineer-In-Charge complete as required. | 4.00 | Each | 1.00 | 45000.00 | 180000.00 | 10000.00 | 40000.00 | 16000.00 | 64000.00 | 40000.00 | 160000.00 | 80000.00 | 320000.00 | 40000.00 | surbhi association
21.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on cable tray as required. Upto 35 sq. mm (clamped with 1mm thick saddle) | 250.00 | Mtr | 1.00 | 62.00 | 15500.00 | 30.00 | 7500.00 | 140.00 | 35000.00 | 120.00 | 30000.00 | 200.00 | 50000.00 | 7500.00 | surbhi association
22.00 | Supplying and making end termination with brass single compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed/ XLPE aluminium conductor cable of 1.1 KV grade as required. 4 X 35 sq. mm (32mm) | 6.00 | Set | 1.00 | 900.00 | 5400.00 | 350.00 | 2100.00 | 400.00 | 2400.00 | 900.00 | 5400.00 | 1000.00 | 6000.00 | 2100.00 | surbhi association
23.00 | Supply of 200 dia PE 100 PN 10 HDPE Pipe suitable for horizontal directional drilling complete as required. | 250.00 | Mtr | 1.00 | 1700.00 | 425000.00 | 500.00 | 125000.00 | 1350.00 | 337500.00 | 900.00 | 225000.00 | 700.00 | 175000.00 | 125000.00 | surbhi association
| Total in Figures |  |  |  |  | 6481200.00 |  | 5834200.00 |  | 5688150.00 |  | 7765250.00 |  | 6195600.00
Lowest Amount Quoted BY: Awasthi Electric Works(5688150.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Interleaving Circuits for RWY 23 and 05 PAPIs at Coimbatore International Airport Tender ID: 2024_AAI_213437_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Awasthi Electric Works (BID ID -774216) | 5688150.00 | L1
| 2 | surbhi association (BID ID -773951) | 5834200.00 | L2
| 3 | YPR ENGINEERING AND SOLUTIONS PRIVATE LIMITED (BID ID -771741) | 6195600.00 | L3
| 4 | C P MONCHESTER ELECTRICALS (BID ID -767464) | 6481200.00 | L4
| 5 | DElite System Engineering (India) Pvt. Ltd. (BID ID -773982) | 7765250.00 | L5