## BoQ1
Government eProcurement System Created By: Anil Prakash Created Date/Time: 18-Dec-2024 12:45 PM Tender Title: Renovation of Toilets blocks of all toilets in terminal building at Pantnagar Airport (Civil and Electrical works) Tender ID: 2024_AAI_213439_1
Tender Inviting Authority: Asstt. General Manager (Engg-Civil), AAI, RHQ-NR, NATS Complex, IGI Airport, New Delhi.
Name of Work: Renovation of Toilets blocks of all toilets in terminal building at Pantnagar Airport (Civil and Electrical works).
Contract No: 2024_AAI_213439_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Alaknanda Traders (GSTN-NA) BID ID -768994 |  | WSS ENTERPRISES (GSTN-NA) BID ID -765874
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge.In cement mortar. | 3.00 | cum | 100.00 | 1627.00 | 4881.00 | 130.00 | 390.00 | 390.00 | WSS ENTERPRISES
2.00 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead.For thickness of tiles 10 mm to 25 mm | 311.00 | sqm | 100.00 | 59.00 | 18349.00 | 170.00 | 52870.00 | 18349.00 | Alaknanda Traders
3.00 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | .31 | cum | 100.00 | 2805.00 | 869.55 | 1300.00 | 403.00 | 403.00 | WSS ENTERPRISES
4.00 | Dismantling of flushing cistern of all types (C.I./PVC/Vitrious China) including stacking of useful materials near the site and disposal of unserviceable materials within 50 metres lead. | 7.00 | Each | 100.00 | 88.00 | 616.00 | 170.00 | 1190.00 | 616.00 | Alaknanda Traders
5.00 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | 8.00 | sqm | 100.00 | 44.00 | 352.00 | 370.00 | 2960.00 | 352.00 | Alaknanda Traders
6.00 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading,transporting, unloading to approved municipal dumping ground or asapproved by Engineer-in-charge, beyond 50 m initial lead, for all leadsincluding all lifts involved. | 30.00 | cum | 100.00 | 207.00 | 6210.00 | 1300.00 | 39000.00 | 6210.00 | Alaknanda Traders
7.00 | Painting with Synthetic enamel paint of approved brand and manufacture of required colour to given an even shade: Two or more coats on new work | 16.00 | Sqm | 100.00 | 170.00 | 2720.00 | 100.00 | 1600.00 | 1600.00 | WSS ENTERPRISES
8.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS : 15622 (thickness to be specified by the manufacturer ) of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 271.00 | sqm | 100.00 | 1000.00 | 271000.00 | 730.00 | 197830.00 | 197830.00 | WSS ENTERPRISES
9.00 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS : 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @3.3kg/sqm including grouting the joints with white cement and matching pigments etc., complete.Size of Tile 600x600 mm | 43.00 | sqm | 100.00 | 1226.00 | 52718.00 | 1000.00 | 43000.00 | 43000.00 | WSS ENTERPRISES
10.00 | Providing and fixing tiled false ceiling of specified materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections ( galvanized @ 120 grams/ sqm, both side inclusive) consisting of main “T” runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross “T” of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main “T” at 600 mm center to center to form a grid of 1200x600 mm and secondary cross “T” of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/making, opening for services like diffusers,grills, light fittings, fixtures, smoke detectors etc. Main “T” runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer-in-charge. GI Metal Ceiling Lay in perforated Tegular edge global white color tiles of size 595x595 mm and 0.5 mm thick with 8 mm drop; made of GI sheet having galvanizing of 100 gms/sqm (both sides inclusive) and 20% perforation area with 1.8 mm dia holes and having NRC (Noise Reduction Coefficient ) of 0.5, electro statically polyester powder coated of thickness 60 microns (minimum), including factory painted after bending and perforation, and backed with a black Glass fiber acoustical fleece | 73.50 | sqm | 100.00 | 1633.00 | 120025.50 | 1800.00 | 132300.00 | 120025.50 | Alaknanda Traders
11.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 12.00 | sqm | 100.00 | 1890.00 | 22680.00 | 1300.00 | 15600.00 | 15600.00 | WSS ENTERPRISES
12.00 | Providing and fixing chromium plated brass handles with necessary screws etc. complete: 125 mm | 26.00 | each | 100.00 | 185.00 | 4810.00 | 275.00 | 7150.00 | 4810.00 | Alaknanda Traders
13.00 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests | 6.00 | Each | 100.00 | 5345.00 | 32070.00 | 1300.00 | 7800.00 | 7800.00 | WSS ENTERPRISES
14.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) For fixed portion Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 168.00 | kg | 100.00 | 390.00 | 65520.00 | 630.00 | 105840.00 | 65520.00 | Alaknanda Traders
15.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) 21.1.2.1 Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 36.00 | kg | 100.00 | 475.00 | 17100.00 | 705.00 | 25380.00 | 17100.00 | Alaknanda Traders
16.00 | Providing and fixing uplasticised PVC connection pipe with brass unions : 45 cm length: 15 mm nominal bore | 6.00 | Each | 100.00 | 80.00 | 480.00 | 100.00 | 600.00 | 480.00 | Alaknanda Traders
17.00 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. Flexible pipe: 32 mm dia | 17.00 | Each | 100.00 | 94.00 | 1598.00 | 190.00 | 3230.00 | 1598.00 | Alaknanda Traders
18.00 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc for External work . 20 mm diameter nominal bore | 80.00 | metre | 100.00 | 316.00 | 25280.00 | 330.00 | 26400.00 | 25280.00 | Alaknanda Traders
19.00 | Dismantling of Sanitary Fixtures Europeon water closet /Urinal/Wash Basin including stacking of useful materials near the site and disposal of unserviceable materials within 50 metre lead as per direction of Engineer-in-charge. | 21.00 | each | 100.00 | 158.00 | 3318.00 | 190.00 | 3990.00 | 3318.00 | Alaknanda Traders
20.00 | Dismantling G.I. pipes (internal work) including making good as same after taking out the pipes, manually/ by mechanical means including stacking of pipes within 50 metres lead as per direction of Engineer-in-charge :15 mm to 40 mm nominal bore. | 30.00 | metre | 100.00 | 158.00 | 4740.00 | 35.00 | 1050.00 | 1050.00 | WSS ENTERPRISES
21.00 | Providing and fixing C.P. brass Bib cock Round Wall Outlet with Shower Hook and Shut off Valve of make Jaquar Cat. No. ALD-CHR-591R or equivalent make of ROCA or Kohler all complete as per the direction by Engineer-in-charge. . | 2.00 | each | 100.00 | 1325.00 | 2650.00 | 2400.00 | 4800.00 | 2650.00 | Alaknanda Traders
22.00 | Providing and fixing C.P. brass angular Stop cock with wall flange of make Jaquar Cat. No. FLR- CHR-5053N or equivalent make of ROCA or Kohler all complete as per the direction by Engineer-in-charge. | 14.00 | each | 100.00 | 908.00 | 12712.00 | 1150.00 | 16100.00 | 12712.00 | Alaknanda Traders
23.00 | Providing and fixing long body C.P. brass Bib cock with Pillar Cock Auto Closing System with 65mm Extension Body of Jaquar Cat. No. PRS-CHR-031L65 or equivalent make of ROCA or Kohler all complete as per the direction by Engineer-in-charge. . | 18.00 | each | 100.00 | 2500.00 | 45000.00 | 3150.00 | 56700.00 | 45000.00 | Alaknanda Traders
24.00 | Providing and fixing CP brass Single Towel Rail 600mm Long of Jaquar Cat. No. AQN-CHR-7711 or equivalent make of ROCA or Kohler, complete with brackets fixed to PVC rawl plug with CP brass screws complete as per the direction by Engineer-in-charge. | 2.00 | each | 100.00 | 1533.00 | 3066.00 | 1975.00 | 3950.00 | 3066.00 | Alaknanda Traders
25.00 | Providing and fixing C.P. brass waste coupling half threading of Jaquar Cat. No. ALD-705 or equivalent make of ROCA or Kohler all complete as per the direction by Engineer-in-charge. | 10.00 | each | 100.00 | 415.00 | 4150.00 | 440.00 | 4400.00 | 4150.00 | Alaknanda Traders
26.00 | Providing and fixing Jaguar make urinal with Spreader Hole and fixing accessories Code of URS-WHT-13261H of 355x340x535 mm sizes. | 7.00 | Each | 100.00 | 4400.00 | 30800.00 | 3900.00 | 27300.00 | 27300.00 | WSS ENTERPRISES
27.00 | Providing and fixing Jaguar make wall hung cistern (Top cover with ledge) with 39 mm drainage L-bend pipe with gasket & installation kit (suitable for EWC) code JAH-WHT-184ANL as per the direction by Engineer-in-charge. | 10.00 | Each | 100.00 | 1818.00 | 18180.00 | 2550.00 | 25500.00 | 18180.00 | Alaknanda Traders
28.00 | Providing & fixing vitreous china oval shape wash basin of make -Jaquar cat no-FLS-WHT-5701or equivalent make of ROCA or Kohler for under counter basin specially fabricated brackets painted white, and connection pipe to wall with C.P. wall flange and rubber adopter for waste connection complete, including cutting and making good the walls wherever required complete as per the direction by Engineer-in-charge. | 8.00 | each | 100.00 | 3100.00 | 24800.00 | 3250.00 | 26000.00 | 24800.00 | Alaknanda Traders
29.00 | Providing and fixing wash basin make -Jaquar cat no. CNS-WHT-801 with C.I. brackets, 15 mm C.P. brass pillar tap of make Jaquar Cat. No. PRS-CHR-031, 32 mm C.P. brass waste of standard pattern, or equivalent make of ROCA or Kohler including painting of fittings and brackets, cutting and making good the walls wherever required complete as per the direction by Engineer-in-charge. | 2.00 | each | 100.00 | 6500.00 | 13000.00 | 2550.00 | 5100.00 | 5100.00 | WSS ENTERPRISES
30.00 | Providing and fixing floor mounted, vitreous china bowl with cistern of make Jaquar Cat No. CNS-WHT-755S220SPPZ or equivalent make of ROCA or Kohler including all fittings and fixtures with seat cover, cistern fittings, nuts, bolts and gasket etc including making connection with the P/S trap, complete in all respect as per the direction by Engineer-in-charge. | 7.00 | each | 100.00 | 8140.00 | 56980.00 | 10100.00 | 70700.00 | 56980.00 | Alaknanda Traders
31.00 | Providing and fixing Bottle Trap 32mm Size with 300mm & 190mm Long Wall Connection Pipes & Wall Flange of make Jaquar Cat. No. ALD-CHR-769L300x190 or equivalent make of ROCA or Kohler all complete as per the direction by Engineer-in-charge. | 10.00 | each | 100.00 | 1327.00 | 13270.00 | 1750.00 | 17500.00 | 13270.00 | Alaknanda Traders
32.00 | Providing and fixing urinal partition with frosted glass 8mm thick, chrome finish, size 900mm x 450mm of Jaquar Cat. No.1810-UC or equivalent make of ROCA or Kohler all complete as per the direction by Engineer-in-charge. | 5.00 | each | 100.00 | 3500.00 | 17500.00 | 5300.00 | 26500.00 | 17500.00 | Alaknanda Traders
33.00 | Providing and Fixing CP Grating with frame and SS Screws casted heavy 125 mm dia complete as per the direction by Engineer-in-charge. | 16.00 | each | 100.00 | 500.00 | 8000.00 | 155.00 | 2480.00 | 2480.00 | WSS ENTERPRISES
34.00 | Providing and fixing Toilet paper holder Toilet Roll Holder with Stainless Steel Flap of make Jaquar Cat No. ACN-CHR-1153S or equivalent make of ROCA or Kohler all complete as per the direction by Engineer-in-charge. | 5.00 | each | 100.00 | 925.00 | 4625.00 | 1075.00 | 5375.00 | 4625.00 | Alaknanda Traders
35.00 | Providing and fixing automatic soap dispenser Capacity : 0.8L, Material: Aluminium/ABS, Finish : Chrome/Black of make Jaquar Cat No: SDR-BLC-DJ0160ASN or equivalent make of ROCA or Kohler all complete including cutting and making good the walls, wherever required all complete as per the direction by Engineer-in-charge. | 6.00 | each | 100.00 | 3600.00 | 21600.00 | 3800.00 | 22800.00 | 21600.00 | Alaknanda Traders
36.00 | Providing and fixing grab bar of make Jaquar AHS-CHR-1507 or equivalent make of ROCA or Kohler all complete with SS Screws including as per the direction by Engineer-in-charge. | 3.00 | each | 100.00 | 1325.00 | 3975.00 | 1650.00 | 4950.00 | 3975.00 | Alaknanda Traders
37.00 | Providing and fixing Hand Shower (Health Faucet) with 8mm Dia, 1 Meter Long Flexible Tube & Wall Hook with N.R.V of make Jaquar Cat No. ALD-CHR-577 or equivalent make of ROCA or Kohler all complete with PVC & SS Screws including cutting and making good the wall wherever required all complete as per the direction by Engineer-in-charge. | 5.00 | each | 100.00 | 1185.00 | 5925.00 | 1525.00 | 7625.00 | 5925.00 | Alaknanda Traders
38.00 | Providing and fixing 6mm thick Clear mirror on the wall with VHB Tape (3M) and 10mm brush finish stainless steel trims, machine cut in required size, approved shade & colour etc. complete at all levels as per the direction by Engineer-in-charge.(Sample of Mirror shall be got approved from Engineer-in-Charge). | 7.00 | sqm | 100.00 | 3100.00 | 21700.00 | 1200.00 | 8400.00 | 8400.00 | WSS ENTERPRISES
39.00 | Providing and fixing 12mm thick Corian Tops of LG HI MACS of shade white off/ Dupont TM CORIAN (R) or equivalent make in required colors ,shall be compatiable with ANSIZ 124.3 or ANSIZ 124.6 standards, resembling real stone but made of 1/3 acrylic raisin ( poly Methyle Meth Acrylate) and 2/3 natural minerals ,heat resistance withstand up to 2120 F,hardness rating 85 on the rockwell M scale, tensile strength 6000 psi, flexural strength 10000psi including 10 year warranty from the manufacturer on material defect in required shape and size by providing required cut out by using a router with at least a 0.4 inch bit for washbasin for general toilets at all level complete as per direction of Engineer-in-charge. | 17.00 | sqm | 100.00 | 7877.00 | 133909.00 | 4400.00 | 74800.00 | 74800.00 | WSS ENTERPRISES
40.00 | Providing and fixing in floor unplasticised Rigid PVC sewer pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. 110 mm diameter | 40.00 | m | 100.00 | 1780.00 | 71200.00 | 200.00 | 8000.00 | 8000.00 | WSS ENTERPRISES
41.00 | P/F vinyal printed posters with lamination and 3mm sun board as per requirement and satisfaction of EIC. | 2.00 | sqm | 100.00 | 1680.00 | 3360.00 | 55.00 | 110.00 | 110.00 | WSS ENTERPRISES
42.00 | Supply of Round type 15W-18W Recess mounted glare free LED downlighter fitting with duly powder coated Aluminium pressure die-cast body, electronic driver , high efficiency glare free opal diffuser and having Ingress protection IP20 suitable to operate on 230-240 V, 50 Hz AC supply with all accessories etc. complete as required. | 11.00 | Each | 100.00 | 700.00 | 7700.00 | 1100.00 | 12100.00 | 7700.00 | Alaknanda Traders
43.00 | Supply of Square type 20W-24W Recess mounted glare free LED downlighter fitting with duly powder coated Aluminium pressure die-cast body, electronic driver , high efficiency glare free opal diffuser and having Ingress protection IP20 suitable to operate on 230-240 V, 50 Hz AC supply with all accessories etc. complete as required. | 8.00 | Each | 100.00 | 1000.00 | 8000.00 | 1300.00 | 10400.00 | 8000.00 | Alaknanda Traders
44.00 | Supply of 36 W LED (2X2)Panel Recess mounted glare free LED downlighter fitting with duly powder coated Aluminium pressure die-cast body, electronic driver , high efficiency glare free opal diffuser and having Ingress protection IP20 suitable to operate on 230-240 V, 50 Hz AC supply with all accessories etc. complete as required. | 8.00 | Each | 100.00 | 360.00 | 2880.00 | 1900.00 | 15200.00 | 2880.00 | Alaknanda Traders
45.00 | Supply & fixing of 15-20W 6500K LED indoor prewired surface mounted high performance decorated mirror light with high power LEDs , integrated LED driver and operating range 220-240 volt complete with all accessories , including connections etc. complete as required. | 8.00 | Each | 100.00 | 360.00 | 2880.00 | 1400.00 | 11200.00 | 2880.00 | Alaknanda Traders
46.00 | Supply of Exhaust Fan 300mm sweep ,1400 rpm suitable to work on 220V,50Hz supply with all accessories complete as required. | 8.00 | Each | 100.00 | 2700.00 | 21600.00 | 2000.00 | 16000.00 | 16000.00 | WSS ENTERPRISES
47.00 | Supply of wall mounted SS steel Hand drier having suitable voltage range of 220-240 v. 50 Hz , Touch free infrared sensor activation, brushless motor having 25000 RPM, Noise level should not be more than 70 db. (Make : Jaquar ; HDR-SSF-AK2803D or Equivalent) | 8.00 | Each | 100.00 | 7581.00 | 60648.00 | 9650.00 | 77200.00 | 60648.00 | Alaknanda Traders
48.00 | Providing of Geyser unit vertically mounted with 15 L storage confirming to IS 2082:2018 suitable to operate on 230-240 V, 50 Hz AC supply with all accessories etc. complete as required. | 2.00 | Each | 100.00 | 5200.00 | 10400.00 | 14000.00 | 28000.00 | 10400.00 | Alaknanda Traders
49.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. (Group C) | 40.00 | Point | 100.00 | 1340.00 | 53600.00 | 1500.00 | 60000.00 | 53600.00 | Alaknanda Traders
50.00 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point (without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit,and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc. as required. (Group C) | 10.00 | Point | 100.00 | 790.00 | 7900.00 | 1200.00 | 12000.00 | 7900.00 | Alaknanda Traders
51.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required. 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 100.00 | Meter | 100.00 | 287.00 | 28700.00 | 250.00 | 25000.00 | 25000.00 | WSS ENTERPRISES
52.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required. 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | 100.00 | Meter | 100.00 | 358.00 | 35800.00 | 650.00 | 65000.00 | 35800.00 | Alaknanda Traders
53.00 | Rewiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable and 1.5 sq.mm FRLS PVC insulated copper conductor single core cable as earth wire in existing surface/ recessed steel/PVC conduit including dismantling as required. Group C | 10.00 | Point | 100.00 | 750.00 | 7500.00 | 1500.00 | 15000.00 | 7500.00 | Alaknanda Traders
54.00 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required. 20mm | 40.00 | Meter | 100.00 | 115.00 | 4600.00 | 150.00 | 6000.00 | 4600.00 | Alaknanda Traders
55.00 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required. 25mm | 40.00 | Meter | 100.00 | 150.00 | 6000.00 | 200.00 | 8000.00 | 6000.00 | Alaknanda Traders
56.00 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required. 32mm | 20.00 | Meter | 100.00 | 190.00 | 3800.00 | 350.00 | 7000.00 | 3800.00 | Alaknanda Traders
57.00 | Supplying and fixing modular blanking plate on the existing modular plate & switch box excluding modular plate as required. | 10.00 | Each | 100.00 | 30.00 | 300.00 | 25.00 | 250.00 | 250.00 | WSS ENTERPRISES
58.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required. | 16.00 | Each | 100.00 | 535.00 | 8560.00 | 2037.51 | 32600.16 | 8560.00 | Alaknanda Traders
59.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 A & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required. | 16.00 | Each | 100.00 | 675.00 | 10800.00 | 2287.51 | 36600.16 | 10800.00 | Alaknanda Traders
60.00 | Installation, testing and commissioning of pre-wired, fluorescent fitting / compact fluorescent fitting of all types, complete with all accessories and tube/lamp etc. directly on ceiling/ wall, including connections with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc.as required. | 35.00 | Each | 100.00 | 150.00 | 5250.00 | 1300.00 | 45500.00 | 5250.00 | Alaknanda Traders
| Total in Figures |  |  |  |  | 1458657.05 |  | 1570723.32
Lowest Amount Quoted BY: Alaknanda Traders(1458657.05)

## BOQ Summary
BOQ Summary Details Tender Title: Renovation of Toilets blocks of all toilets in terminal building at Pantnagar Airport (Civil and Electrical works) Tender ID: 2024_AAI_213439_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Alaknanda Traders (BID ID -768994) | 1458657.05 | L1
| 2 | WSS ENTERPRISES (BID ID -765874) | 1570723.32 | L2