## BoQ1
Government eProcurement System Created By: PALLIPPATTU RAVI HARI Created Date/Time: 13-Dec-2024 06:02 PM Tender Title: Job Contract for Annual Maintenance of GLF Installations and In-field Photometry Testing for GLF Installations at Calicut International Airport Tender ID: 2024_AAI_213745_1
Tender Inviting Authority: Asst. General Manager Engg(Elect),Calicut Airport
Name of Work :Job Contract for Annual Maintenace of GLF Installations and In-field Photometry Testing for GLF Installations at Calicut International Airport.
Contract No: <2024_AAI_213745_1>
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | MPC ELECTRICALS AND ENGINEERS (GSTN-08ABUPP6558K1ZM) BID ID -778277 |  | vardhman Airport solutions pvt. Ltd. (GSTN-NA) BID ID -775952
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Carrying out In-field test for measurement of intensity, beam spread and orientation (4 Cs ie. Configuration, Colour, Candelas and Coverage) of the following Airfield Ground Lights (10/28 Runway) as per ICAO/CAR requirements by using vehicle mounted mobile testing equipment, including submission of test reports etc. complete as required. a. Elevated type Runway Edge/ Threshold/ End lights - 252 Nos. b. Inset type Runway Edge /Centre line / TDZ/ end lights - 424 Nos. c. Elevated type Approach Lights - 30 Nos. d. PAPI Units (4 unit PAPI) for runway 10/28 Runways- 2 Set e. Carrying out illumination check of Mandatory/ Information sign boards of different sizes in operational area complete as required.- 33 No. | 4.00 | Job |  | 440000.00 | 1760000.00 | 260000.00 | 1040000.00 | 1040000.00 | vardhman Airport solutions pvt. Ltd.
2.00 | Carrying out one time in-field alignment setting of Elevated Light Fittings of Simple Approach Lighting Systems (10/28 Runway) using angle setting tools by deputing experienced manpower, including submission of test reports, conducting training to GLF maintenance team etc. complete as required. | 2.00 | Job |  | 15200.00 | 30400.00 | 35000.00 | 70000.00 | 30400.00 | MPC ELECTRICALS AND ENGINEERS
3.00 | Annual maintenance contract for Maintenance of various Electrical & Mechanical Installations and GLF Installations as detailed in "Annexure-B" of operational area such as CCR, high masts, signs etc. including daily activities, repairs & maintenance, attending faults / breakdown rectifications, ensuring serviceability / satisfactory working conditions of the system, attending complaints, preventive maintenance on daily / weekly / monthly / quarterly / half yearly / yearly basis maintenance of records / documentation, pre monsoon cheks etc., as per scope of work given in special conditions of contract and particular specifications in all days including sunday and holidays. The services of installations at old power house and operational araea shall be ensured round the clock (i.e. in three shifts daily, each shift of 8 hours) daily as required by engaging minimum number of staff including vehicle as stipulated in the special conditions of the contract and particular specifications. If any, additional manpower required to complete the checks as stipulated, same should also be given free of cost to AAI. | 24.00 | Month |  | 413000.00 | 9912000.00 | 321845.00 | 7724280.00 | 7724280.00 | vardhman Airport solutions pvt. Ltd.
4.00 | Execution of items of schedule of rates CPWD DSR-2022 as and when required for attending breakdowns, repair & maintenance and upkeep of internal and external electrical installations as per direction of E-I-C at different locations in operational area as per the special Terms and Conditions in addition to General Terms and Conditions of Contract as required. The bidder shall quote the rate for 01 (one) job corresponding to the value of Rs.3,00,000/- (Ex.GST) in INR only and percentage (%) above / below shall be calculated by AAI and paid accordingly. Note: The rate provided in DSR 2022 is inclusive of GST @12%, however the contractor has to quote the amount in rate column, excluding GST, the payment shall be made to contractor as mentioned in special conditions of tender document. For First Year | 1.00 | Job |  | 280000.00 | 280000.00 | 300000.00 | 300000.00 | 280000.00 | MPC ELECTRICALS AND ENGINEERS
5.00 | Execution of items of schedule of rates CPWD DSR-2022 as and when required for attending breakdowns, repair & maintenance and upkeep of internal and external electrical installations as per direction of E-I-C at different locations in operational area as per the special Terms and Conditions in addition to General Terms and Conditions of Contract as required. The bidder shall quote the rate for 01 (one) job corresponding to the value of Rs.3,00,000/- (Ex.GST) in INR only and percentage (%) above / below shall be calculated by AAI and paid accordingly. Note: The rate provided in DSR 2022 is inclusive of GST @12%, however the contractor has to quote the amount in rate column, excluding GST, the payment shall be made to contractor as mentioned in special conditions of tender document. For Second Year | 1.00 | Job |  | 290000.00 | 290000.00 | 300000.00 | 300000.00 | 290000.00 | MPC ELECTRICALS AND ENGINEERS
6.00 | Providing unskilled manpower for urgent maintenance works such as excavation to locate cable fault, clearing stores, or assisting maintenance related activities etc. as per direction of the EIC. | 200.00 | Days |  | 800.00 | 160000.00 | 800.00 | 160000.00 | 160000.00 | vardhman Airport solutions pvt. Ltd., MPC ELECTRICALS AND ENGINEERS
7.00 | Calibration of existing photometric device of FB Technology Model PAC2V5-Mobile Bi-directioal Photometric Airfield Calibration Unit and submission of calibration report.(1 job = calibration/year) | 2.00 | Job |  | 71000.00 | 142000.00 | 200000.00 | 400000.00 | 142000.00 | MPC ELECTRICALS AND ENGINEERS
| Total in Figures |  |  |  |  | 12574400.00 |  | 9994280.00
Lowest Amount Quoted BY: vardhman Airport solutions pvt. Ltd.(9994280.00)

## BOQ Summary
BOQ Summary Details Tender Title: Job Contract for Annual Maintenance of GLF Installations and In-field Photometry Testing for GLF Installations at Calicut International Airport Tender ID: 2024_AAI_213745_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | vardhman Airport solutions pvt. Ltd. (BID ID -775952) | 9994280.00 | L1
| 2 | MPC ELECTRICALS AND ENGINEERS (BID ID -778277) | 12574400.00 | L2