## BoQ1
Government eProcurement System Created By: Prabhash Baleshwar Created Date/Time: 11-Dec-2024 11:54 AM Tender Title: Installation of new Stand alone MSSR at Maharana Pratap Airport, Udaipur SH Provision of Power supply, Internal and External Electrification. Tender ID: 2024_AAI_214020_1
Tender Inviting Authority: SM (Engg.-Elect.), AAI, M.P. Airport, Udaipur
Name of Work: Installation of new Stand alone MSSR at Maharana Pratap Airport , Udaipur SH: Provision of Power supply , Internal and External Electrification.
Contract No: AAI/UDR/ENGG(E)/2024-25/MSSR/POWERSUPPLY
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Yash Energy Pvt. Ltd (GSTN-24AAACY3771H1ZA) BID ID -776448 |  | Awasthi Electric Works (GSTN-09ABAPA1866D1Z5) BID ID -776796 |  | MPC ELECTRICALS AND ENGINEERS (GSTN-08ABUPP6558K1ZM) BID ID -777015 |  | Aditya Techno Products Private Limited (GSTN-09AAGCA0910L1ZS) BID ID -777203 |  | Krishsons International Engineers And Consultants (I) Pvt. Ltd (GSTN-NA) BID ID -777159 |  | BATRA ENGINEERS (GSTN-NA) BID ID -776930 |  | Shiva Enterprises (GSTN-NA) BID ID -777028
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of heavy duty XLPE insulated PVC sheathed aluminium conductor armoured power cable of 1.1KV grade confirming to IS 7098, Part-I 1988 with up to date amendments of following size and confirming to technical specifications.
1.10 | 3.5 core 300 sq.mm | 2500.00 | Meter | 0.00 | 1259.00 | 3147500.00 | 1325.00 | 3312500.00 | 1420.00 | 3550000.00 | 1700.00 | 4250000.00 | 1350.00 | 3375000.00 | 1550.00 | 3875000.00 | 1500.00 | 3750000.00 | 3147500.00 | Yash Energy Pvt. Ltd
1.20 | 3.5 core 120 sq. mm | 200.00 | Meter | 0.00 | 544.00 | 108800.00 | 599.00 | 119800.00 | 530.00 | 106000.00 | 800.00 | 160000.00 | 590.00 | 118000.00 | 550.00 | 110000.00 | 600.00 | 120000.00 | 106000.00 | MPC ELECTRICALS AND ENGINEERS
1.30 | 3.5 core 50 sq.mm | 100.00 | Meter | 0.00 | 258.00 | 25800.00 | 305.00 | 30500.00 | 350.00 | 35000.00 | 320.00 | 32000.00 | 275.00 | 27500.00 | 350.00 | 35000.00 | 328.00 | 32800.00 | 25800.00 | Yash Energy Pvt. Ltd
1.40 | 3.5 core 25 sq.mm | 400.00 | Meter | 0.00 | 150.00 | 60000.00 | 170.00 | 68000.00 | 206.00 | 82400.00 | 200.00 | 80000.00 | 180.00 | 72000.00 | 220.00 | 88000.00 | 190.00 | 76000.00 | 60000.00 | Yash Energy Pvt. Ltd
1.50 | 4 core 16 sq.mm | 700.00 | Meter | 0.00 | 123.00 | 86100.00 | 145.00 | 101500.00 | 170.00 | 119000.00 | 150.00 | 105000.00 | 150.00 | 105000.00 | 180.00 | 126000.00 | 165.00 | 115500.00 | 86100.00 | Yash Energy Pvt. Ltd
2.00 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II amended upto date complete with fitting and cutting, jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required.
2.10 | 63 mm dia (OD-63 mm & ID-51 mm nominal) | 500.00 | Meter | 0.00 | 185.00 | 92500.00 | 225.00 | 112500.00 | 170.00 | 85000.00 | 85.00 | 42500.00 | 160.00 | 80000.00 | 160.00 | 80000.00 | 235.00 | 117500.00 | 42500.00 | Aditya Techno Products Private Limited
2.20 | 120 mm dia (OD-120 mm & ID-103 mm nominal) | 1100.00 | Meter | 0.00 | 222.00 | 244200.00 | 260.00 | 286000.00 | 225.00 | 247500.00 | 125.00 | 137500.00 | 200.00 | 220000.00 | 350.00 | 385000.00 | 280.00 | 308000.00 | 137500.00 | Aditya Techno Products Private Limited
3.00 | Supplying and laying of 120 mm dia (OD-120 mm & ID-103 mm nominal) size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II amended upto date complete with fitting and cutting, jointing etc. direct in ground in the same trench in one tier horizontal formation including excavation and refilling but excluding sand cushioning, protective covering etc complete as required. | 1100.00 | Meter | 0.00 | 134.00 | 147400.00 | 240.00 | 264000.00 | 260.00 | 286000.00 | 125.00 | 137500.00 | 180.00 | 198000.00 | 320.00 | 352000.00 | 280.00 | 308000.00 | 137500.00 | Aditya Techno Products Private Limited
4.00 | Providing, laying and fixing 150 mm dia G.l. pipe (medium class) in ground complete with G.l. fittings including trenching (75 cm deep)and re-filling etc as required | 50.00 | Meter | 0.00 | 1510.00 | 75500.00 | 1350.00 | 67500.00 | 2060.00 | 103000.00 | 2081.00 | 104050.00 | 1595.00 | 79750.00 | 1250.00 | 62500.00 | 530.00 | 26500.00 | 26500.00 | Shiva Enterprises
5.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL/DWC pipe as required.
5.10 | Above 185 sq. mm and upto 400 sq. mm | 2250.00 | Meter | 0.00 | 95.00 | 213750.00 | 90.00 | 202500.00 | 53.00 | 119250.00 | 65.00 | 146250.00 | 30.00 | 67500.00 | 150.00 | 337500.00 | 210.00 | 472500.00 | 67500.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
5.20 | Upto 35 sq. mm | 500.00 | Meter | 0.00 | 56.00 | 28000.00 | 35.00 | 17500.00 | 35.00 | 17500.00 | 22.00 | 11000.00 | 10.00 | 5000.00 | 95.00 | 47500.00 | 140.00 | 70000.00 | 5000.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
6.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3½ X 300 sq. mm | 8.00 | Set | 0.00 | 3552.00 | 28416.00 | 5200.00 | 41600.00 | 5300.00 | 42400.00 | 2007.00 | 16056.00 | 3000.00 | 24000.00 | 2500.00 | 20000.00 | 5600.00 | 44800.00 | 16056.00 | Aditya Techno Products Private Limited
7.00 | Supplying and installing following size of perforated Hot Dipped Galvanised Iron cable tray (Galvanisation thickness not less than 50 microns) with perforation not more than 17.5%, in convenient sections, joined with connectors, suspended from the ceiling with G.l. suspenders including G.l. bolts & nuts, etc. as required.
7.10 | 450 mm width X 62.5 mm depth X 2.0 mm thickness | 300.00 | Meter | 0.00 | 1316.00 | 394800.00 | 1300.00 | 390000.00 | 1250.00 | 375000.00 | 800.00 | 240000.00 | 1300.00 | 390000.00 | 650.00 | 195000.00 | 940.00 | 282000.00 | 195000.00 | BATRA ENGINEERS
7.20 | 300 mm width X 50 mm depth X 1.6 mm thickness | 150.00 | Meter | 0.00 | 811.00 | 121650.00 | 790.00 | 118500.00 | 1070.00 | 160500.00 | 500.00 | 75000.00 | 800.00 | 120000.00 | 480.00 | 72000.00 | 760.00 | 114000.00 | 72000.00 | BATRA ENGINEERS
8.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on existing cable tray as required.
8.10 | From 16 sq. mm upto 95 sq. mm (clamped with 25x3mm MS flat clamp) | 400.00 | Meter | 0.00 | 56.00 | 22400.00 | 155.00 | 62000.00 | 26.00 | 10400.00 | 30.00 | 12000.00 | 70.00 | 28000.00 | 60.00 | 24000.00 | 70.00 | 28000.00 | 10400.00 | MPC ELECTRICALS AND ENGINEERS
8.20 | Above 95 sq. mm and upto 185 sq. mm (clamped with 25/40x3mm MS flat clamp) | 150.00 | Meter | 0.00 | 78.00 | 11700.00 | 170.00 | 25500.00 | 35.00 | 5250.00 | 75.00 | 11250.00 | 80.00 | 12000.00 | 80.00 | 12000.00 | 120.00 | 18000.00 | 5250.00 | MPC ELECTRICALS AND ENGINEERS
8.30 | Above 185 sq. mm and upto 400 sq. mm (clamped with 40x3mm MS flat clamp) | 100.00 | Meter | 0.00 | 134.00 | 13400.00 | 190.00 | 19000.00 | 44.00 | 4400.00 | 95.00 | 9500.00 | 85.00 | 8500.00 | 120.00 | 12000.00 | 200.00 | 20000.00 | 4400.00 | MPC ELECTRICALS AND ENGINEERS
9.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required .
9.10 | 3½X 300 sq.mm | 18.00 | Set | 0.00 | 1665.00 | 29970.00 | 1250.00 | 22500.00 | 1250.00 | 22500.00 | 2000.00 | 36000.00 | 800.00 | 14400.00 | 500.00 | 9000.00 | 2000.00 | 36000.00 | 9000.00 | BATRA ENGINEERS
9.20 | 3½X120 sq.mm | 8.00 | Set | 0.00 | 722.00 | 5776.00 | 420.00 | 3360.00 | 1100.00 | 8800.00 | 950.00 | 7600.00 | 400.00 | 3200.00 | 450.00 | 3600.00 | 1210.00 | 9680.00 | 3200.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
9.30 | 3½X 50 sq.mm | 2.00 | Set | 0.00 | 444.00 | 888.00 | 280.00 | 560.00 | 350.00 | 700.00 | 600.00 | 1200.00 | 300.00 | 600.00 | 350.00 | 700.00 | 810.00 | 1620.00 | 560.00 | Awasthi Electric Works
9.40 | 3½X 25 sq.mm | 6.00 | Set | 0.00 | 333.00 | 1998.00 | 180.00 | 1080.00 | 350.00 | 2100.00 | 400.00 | 2400.00 | 250.00 | 1500.00 | 250.00 | 1500.00 | 675.00 | 4050.00 | 1080.00 | Awasthi Electric Works
9.50 | 4 X 16 sq.mm | 40.00 | Set | 0.00 | 333.00 | 13320.00 | 170.00 | 6800.00 | 260.00 | 10400.00 | 300.00 | 12000.00 | 245.00 | 9800.00 | 150.00 | 6000.00 | 800.00 | 32000.00 | 6000.00 | BATRA ENGINEERS
10.00 | Supplying and fixing cable route marker with 10 cm X 10 cm X 5 mm thick G.l. plate with inscription there on, bolted /welded to 35 mm X 35 mm X 6 mm angle iron, 60 cm long and fixing the same in ground as required for LT power cable . | 80.00 | Each | 0.00 | 444.00 | 35520.00 | 500.00 | 40000.00 | 440.00 | 35200.00 | 200.00 | 16000.00 | 250.00 | 20000.00 | 450.00 | 36000.00 | 120.00 | 9600.00 | 9600.00 | Shiva Enterprises
11.00 | Providing and fixing 6 SWG dia G.l. wire on surface or in recess for loop earthing along with existing surface/ recessed conduit/Pipe submain wiring/cable as required. | 3000.00 | Meter | 0.00 | 25.00 | 75000.00 | 25.00 | 75000.00 | 21.00 | 63000.00 | 15.00 | 45000.00 | 20.00 | 60000.00 | 23.00 | 69000.00 | 30.00 | 90000.00 | 45000.00 | Aditya Techno Products Private Limited
12.00 | SITC of Modular power analyser with graphic colour display suitable in existing main incomer LT panel for measurement for recording current, voltage, frequency, active, apparent & reactive power (per phase & total) in the frequency range 45 - 65 Hz, power factor, active, apparent & reactive energy total as well as consumption and output of active & reactive energy (4-quadrant measurement) in continuous true RMS measurement, real time temparature and humidity of equipment room, Digital drag pointer function (positive/negative) of active and apparent powers as well as currents with external synchronisation as well as freely adjustable period duration (1..166 min.) and representation on the unit display. Measurement of the positive, negative and zero sequence as well as the direction of the rotating field. Total harmonic distortion (THD-I & THD-U), Total Demand Distortion (TDD), single harmonics (odd) for current & voltage up to the 65th harmonic. The sampling rate of 13.67 kHz (50 Hz) with 279 measuring points per period (voltage and current measurement) and output of the measured values via the interfaces (cycle >=200 ms). Configurable memory with up to 5 years of data stored in the device. Should be adaptable to monitor Residual Current in future. The device shall have a minimum of one ethernet port and one RS485 port working simultaneously. The device should be UL-certified for safety. (Make Janitza, Model: UMG-96PQ-L or equivalent). | 1.00 | Each | 0.00 | 49950.00 | 49950.00 | 125000.00 | 125000.00 | 260000.00 | 260000.00 | 185000.00 | 185000.00 | 35000.00 | 35000.00 | 95000.00 | 95000.00 | 60000.00 | 60000.00 | 35000.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
13.00 | Supply and fixing of fire retardant electrically insulated synthetic mat of class A, 2 mm thick suitable for all voltages not exceeding 3.3 KV AC and 240V DC system meeting requirements of IS 15652:2006 tested for breakdown strength, tensile/elongation, aging properties, insulation resistance, effect to acid, alkaline, diesel, transformer oil & leakage current test, fire test etc. having minimum width of 1000 mm +20 mm along with all allied materials such as Pu-resin, Chemi bound, special PVC adhesive, liquid primer etc. in what so ever quantity required to complete the job as per site conditionsand as per instructions from Engineer-in-Charge. | 30.00 | Meter | 0.00 | 500.00 | 15000.00 | 850.00 | 25500.00 | 4400.00 | 132000.00 | 400.00 | 12000.00 | 500.00 | 15000.00 | 950.00 | 28500.00 | 1500.00 | 45000.00 | 12000.00 | Aditya Techno Products Private Limited
14.00 | Supplying, installation, testing & commissioning of cubical, floor mounted , indoor type, having IP 42 protection, TTA LT panel suitable for 415V, 3 phase, 4 wire 50 Hz AC supply system fabricated in totally enclosed and compartmentalized design from CRCA sheet steel of 2 mm thick for load bearing members & 1.6mm thick for doors, 3mm thick for gland plates i/c cleaning & finishing complete with powder coating in approved shade, having 400 Amps. capacity extensible type TPN Aluminium Alloy bus bars of high conductivity, DMC/ SMC bus bar supports, suitable angle /channels frame in the bottom. Fabrication shall be done in transportable sections, connections from main bus bars to switch gears with required size of copper/aluminium solid conductors/bus bars and control wiring with 2.5 sq. mm PVC insulated copper conductor , cable alleys, cable gland plates in two half etc. as required as per technical specifications i/c providing following switch gears (The rate should include plastering and minor civil works complete as required) : Incomer and Bus coupler 400 Amp 4 pole ( 50 KA , lcs = 100% lcu) MCCB with shunt trip coil , spreaders & ROH having Microprocessor release -3 nos. which shall be mutually mechanical & electrically interlocked by control key system between incomers and Bus coupler for safe operation. Bus Bars 400 Amp. TPN bus bars of aluminium alloy of suitable size as per technical specifications. Outgoings a) 250 Amp. 4 Pole, 36 KA, (lcs=100%lcu) MCCB with ROH having Microprocessor release - 04 Nos. b)125 Amps , 4 pole, 36 KA (at 415Volts) MCCB with ROH having Microprocessor release range (100 - 125 A) - 04 nos c) 20KVAR Capacitor Bank with each step of 5kVAR and APFC Relay- 01 no. Instruments a) 2 Nos. Digital volt-AMP-Frequency meter of suitable range with CTs- one set for each incomer b) 1 set of LED indicating lights (RYB) with protection fuses for each incomer. c)Surge protection device Type 1 with inbuilt fuse and all necessary accessories and wire connections as per specifications. d) 1 set of ON/OFF LED indicating lamps with protection fuses for bus coupler and ON indicating lamp for each individual MCCB. | 1.00 | Each | 0.00 | 674325.00 | 674325.00 | 770000.00 | 770000.00 | 380000.00 | 380000.00 | 690000.00 | 690000.00 | 860000.00 | 860000.00 | 380000.00 | 380000.00 | 940000.00 | 940000.00 | 380000.00 | BATRA ENGINEERS, MPC ELECTRICALS AND ENGINEERS
15.00 | Supplying, installation, testing & commissioning of cubical, floor mounted , indoor type having minimum IP 42 protection, TTA LT panel suitable for 415V, 3 phase, 4 wire 50 Hz AC supply system fabricated in totally enclosed and compartmentalized design from CRCA sheet steel of 2mm thick for load bearing members & 1.6mm thick for doors, 3mm thick for gland plates i/c cleaning & finishing complete with powder coating in approved shade, having 300 Amps. capacity extensible type TPN Aluminium Alloy bus bars of high conductivity, DMC/ SMC bus bar supports .Fabrication shall be done in transportable sections, connections from main bus bars to switch gears with required size of copper/aluminium solid conductors/bus bars and control wiring with 2.5 sq. mm PVC insulated copper conductor , cable alleys, cable gland plates in two half etc. as required as per technical specifications i/c providing following switch gears (rate should include plastering and minor civil works complete as required) : Incomer and Bus coupler a) 250 Amp 4 pole 36 KA, MCCBs (lcs = 100% lcu)-3 nos. with ROH having Microprocessor release which shall be mutually mechanical/electrically interlocked by control key system between incomers and Bus coupler for safe operation. Bus Bars 300 Amp. TPN bus bars of aluminium alloy of suitable size as per technical specifications. Outgoings a)125 Amps , 4 pole, 36 KA (at 415Volts) MCCB with ROH having Microprocessor release range (100 - 125 A) - 06 nos b)100 AMP, 4 Pole, 36 KA (at 415 Volts) MCCB with ROH having Microprocessor release range ( 80-100 A) - 06 Nos. Instruments a) 2 Nos. Digital volt-AMP-Frequency meter of suitable range with CTs one set for each incomer b) 1 set indicating lights (RYB) with protection fuses for each incomer c) Surge protection device Type 1+2 with inbuilt fuse and all necessary accessories and wire connections as per specifications. d) 1 set of ON/OFF indicating lamps with protection fuses for bus coupler and ON indicating lamp for each individual MCCB. | 1.00 | Each | 0.00 | 660450.00 | 660450.00 | 675000.00 | 675000.00 | 350000.00 | 350000.00 | 600000.00 | 600000.00 | 720000.00 | 720000.00 | 250000.00 | 250000.00 | 895000.00 | 895000.00 | 250000.00 | BATRA ENGINEERS
16.00 | Supplying, installation, testing & commissioning of cubical, wall/floor mounted , indoor type, having minimum IP 42 protection, LT panel suitable for 415V, 3 phase, 4 wire 50 Hz AC supply system fabricated in totally enclosed and compartmentalized design from CRCA sheet steel of 2mm thick for load bearing members & 1.6mm thick for doors, 3mm thick for gland plates i/c cleaning & finishing complete with powder coating in approved shade, having 200 Amps. capacity extensible type TPN Aluminium Alloy bus bars of high conductivity, DMC/ SMC bus bar supports, connections from main bus bars to switch gears with required size of copper/aluminium solid conductors/bus bars and control wiring with 2.5 sq. mm PVC insulated copper conductor , cable alleys, cable gland plates in two half etc. as required as per technical specifications i/c providing following switch gears (rate should include brick foundation with plastering and minor civil works complete as required) : Incomer and Bus coupler: a)125 Amps , 4 pole, 36 KA (at 415Volts) MCCB with ROH having Microprocessor release range (100 - 125 A) - 2 nos (Incomers and bus coupler MCCBs shall be mutually mechanical & electrically interlocked by control key system between incomers and Bus coupler for safe operation.) b) 125 A Bus coupler - 1 no. Bus Bars 200 Amps TPN Aluminium Alloy bus bar - 01 set Out goings a)100 AMP, 4 Pole, 36 KA (at 415 Volts) MCCB with ROH having Microprocessor release range (40-50 A) - 04 Nos. Instruments a) 1 No. Digital volt-AMP-Frequency meter of suitable range with CTs- one set for each incomer b) LED type indication lights for R,Y & B phases with protection fuses & toggle switches for each incomer - 02sets c) 1 set of ON/OFF LED indicating lamps with protection fuses for bus coupler and ON indicating lamp for each individual MCCB. d) Surge protection device Type 2 with inbuilt fuse and all necessary accessories and wire connections as per specifications. | 3.00 | Each | 0.00 | 233988.00 | 701964.00 | 250000.00 | 750000.00 | 206000.00 | 618000.00 | 245000.00 | 735000.00 | 273000.00 | 819000.00 | 145000.00 | 435000.00 | 400000.00 | 1200000.00 | 435000.00 | BATRA ENGINEERS
17.00 | Supply, installation, testing & commissioning of feeder pillar self supporting type, outdoor type, having IP 54 protection, suitable for 415V, 3 phase, 4 wire 50 Hz AC supply system fabricated from CRCA sheet steel of 2 mm thick & 1.6 mm for doors and 3 mm thick for gland plates i/c cleaning & finishing complete with powder coating in approved shade, having 200 Amps. capacity TPN Aluminium Alloy bus bars of high conductivity, DMC/ SMC bus bar supports , interconnections etc. as required as per technical specifications. (The panel should have adequate space enough to terminate 4 no. of 3.5x300 sq. mm cables and the rate should include brick foundation with plastering and minor civil works complete as required) | 2.00 | Each | 0.00 | 124764.00 | 249528.00 | 145000.00 | 290000.00 | 53000.00 | 106000.00 | 16500.00 | 33000.00 | 15000.00 | 30000.00 | 42000.00 | 84000.00 | 165000.00 | 330000.00 | 30000.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
18.00 | Supply, installation, testing & commissioning of LT Panel compartmentalized , self standing type, outdoor type, dust and vermin proof having IP 54 protection, suitable for 415V, 3 phase, 4 wire 50 Hz AC supply system fabricated from CRCA sheet steel of 2 mm thick & 1.6 mm for doors and 3 mm thick for gland plates i/c cleaning & finishing complete with powder coating in approved shade, having 300 Amps. capacity TPN Aluminium Alloy bus bars of high conductivity, DMC/ SMC bus bar supports , interconnections required as per technical specifications with following provisions: 1. Incomer MCCB - 4 Pole , 400 A (50 kA Ics=100 % Icu) having thermal magnetic release - 1 no. 2. Outgoing MCCB - 4 Pole , 400 A (50 kA Ics=100 % Icu) having thermal magnetic release - 2 no. (The panel should have sufficient space to terminate 2 no. 3.5 C x 300 Sq.mm cable in each MCCB) | 2.00 | Each | 0.00 | 43290.00 | 86580.00 | 140000.00 | 280000.00 | 170000.00 | 340000.00 | 140000.00 | 280000.00 | 165000.00 | 330000.00 | 52000.00 | 104000.00 | 250000.00 | 500000.00 | 86580.00 | Yash Energy Pvt. Ltd
19.00 | SITC of 3 phase , 415 V, pre fabricated, double door, prewired, recessed type distribution panel for street light/Building external lighting power supply distribution at MSSR building with following provisions. : Incomer : 63 A , 4 P MCB , B series - 1 no. Outgoing : 1. 32 A TP MCB, B series- 2 Nos. 2. 16 A SP MCB , B series - 4 Nos. 3. 4 Pole contactor 50 A -1 no. 4. 24 hr. street light Timer -1 no. 5. Copper Bus Bar - 1 set. 6. Auto Manual selector switch- 1 no. 7. RYB indication lamps - 1 set | 2.00 | Each | 0.00 | 28416.00 | 56832.00 | 35000.00 | 70000.00 | 53000.00 | 106000.00 | 30000.00 | 60000.00 | 63000.00 | 126000.00 | 32000.00 | 64000.00 | 30000.00 | 60000.00 | 56832.00 | Yash Energy Pvt. Ltd
20.00 | SITC of 7 Mtr high OCTOGONAL pole, hot dip galvanized indian standards with average coating thickness of 70 micron by single dipping, confirming to top 70 mm A/F, bottom 130 mm A/F made up of 3 mm thk HT Steel. Pole should be mounted with 1000MM Long single arm brackets made up of 48.3mm dia pipe for fixing lighting fixture. The octagonal Poles shall have door of approximate 500 mm length at the elevation of 500 mm from the Base plate. The door shall be flush with the exterior surface and shall have suitable locking arrangement. Pole should be supplied along with Foundation Bolts of EN.8 grade and of size M20 and 700mm long J-type Bolts. Poles should be , grouted in M20 grade RCC Foundation of size 1400 X 550 X550 , with 200mm above FGL. Pole should also comprises of Supply and fixing Internal junction box comparing of 6mm Bakelite sheet with 4 Pole 32 Amps Heavy Duty Connector and 10Amp DP MCB. Cable should be Properly terminated at Junction box with Suitable size thimbles. (Scope of work includes construction of foundation and erection of pole as per technical specification). | 45.00 | Each | 0.00 | 15540.00 | 699300.00 | 10500.00 | 472500.00 | 14500.00 | 652500.00 | 8500.00 | 382500.00 | 18000.00 | 810000.00 | 12500.00 | 562500.00 | 8820.00 | 396900.00 | 382500.00 | Aditya Techno Products Private Limited
21.00 | Supply of 50 W LED outdoor street light fitting Deep drawn/Al. die cast body, high purity extruded heat sink , power LEDs with operating voltage range 110/260 V AC. (Make : Halonix Model: HLSLD-14-50-CWDL-R ) | 45.00 | No. | 0.00 | 1221.00 | 54945.00 | 1900.00 | 85500.00 | 2600.00 | 117000.00 | 3500.00 | 157500.00 | 1400.00 | 63000.00 | 2800.00 | 126000.00 | 2600.00 | 117000.00 | 54945.00 | Yash Energy Pvt. Ltd
22.00 | ITC of LED street light fitting on the existing street light poles/brackets i/c. making connection etc. complete as per site requirement. | 45.00 | Job | 0.00 | 555.00 | 24975.00 | 250.00 | 11250.00 | 350.00 | 15750.00 | 85.00 | 3825.00 | 100.00 | 4500.00 | 150.00 | 6750.00 | 400.00 | 18000.00 | 3825.00 | Aditya Techno Products Private Limited
23.00 | Wiring with the 3x2.5 sq.mm size PVC insulated, copper conductor, single core cable in the existing street light pole from looping box to LED fitting and making connections etc. as required. | 200.00 | Meter | 0.00 | 106.00 | 21200.00 | 100.00 | 20000.00 | 107.00 | 21400.00 | 92.00 | 18400.00 | 130.00 | 26000.00 | 55.00 | 11000.00 | 120.00 | 24000.00 | 11000.00 | BATRA ENGINEERS
24.00 | SITC of LED type Aviation Obstruction Light Fixture alongwith 50 mm dia. GI pipe support of 3 m length on MSSR tower of height upto 30 mtr. for ITC of fitting suitable for operation on 230 V, 50 Hz AC supply with all accessoris complete as per technical specifications.( Make Halonix Model: HAVL 01 S 230 or equivalent) | 4.00 | Each | 0.00 | 5106.00 | 20424.00 | 2900.00 | 11600.00 | 6500.00 | 26000.00 | 10000.00 | 40000.00 | 5000.00 | 20000.00 | 3800.00 | 15200.00 | 5800.00 | 23200.00 | 11600.00 | Awasthi Electric Works
25.00 | Supply, installation, testing & comissioning of LED based IP65 decorative Bollard with aluminium pipe housing, PDC Base and Top Cover with glare free PC Diffuser with height of 800 mm complete as required. (Make Halonix Model: HL OB-95-15-CW-01 or equivalent) | 18.00 | Each | 0.00 | 3552.00 | 63936.00 | 2700.00 | 48600.00 | 8000.00 | 144000.00 | 1700.00 | 30600.00 | 5000.00 | 90000.00 | 3500.00 | 63000.00 | 3500.00 | 63000.00 | 30600.00 | Aditya Techno Products Private Limited
26.00 | Supply, installation, testing & comissioning of LED based IP65 Post Top lantern with die cast aluminium spigot, spun al, powder coated top cover,AL., PDC heat sink and clear acrylic complete as required. (Make Halonix Model: HLPT-04H-50-CW or equivalent) | 4.00 | Each | 0.00 | 4107.00 | 16428.00 | 5000.00 | 20000.00 | 8000.00 | 32000.00 | 2500.00 | 10000.00 | 7500.00 | 30000.00 | 3500.00 | 14000.00 | 3000.00 | 12000.00 | 10000.00 | Aditya Techno Products Private Limited
27.00 | Supply of recess mounting 36W (Nominal) ,2X2 Panel light LED fixtures conforming to IS 10322 (Part 5/ Sec. 2):2012 with all accessories including controller/ driver, diffusers, reflectors, housing etc. suitable for false ceilng grid of size 600mm x 600mm and operation of 230 V, 50 Hz AC supply complete as per technical specifications. ( Make Halonix, Model : HLFPR22-11-36-CW-37MM or equivelent.) | 50.00 | Each | 0.00 | 1277.00 | 63850.00 | 1600.00 | 80000.00 | 2060.00 | 103000.00 | 1510.00 | 75500.00 | 1500.00 | 75000.00 | 1850.00 | 92500.00 | 2200.00 | 110000.00 | 63850.00 | Yash Energy Pvt. Ltd
28.00 | Supply of surface mounting 36W (Nominal) ,2X2 Panel light LED fixtures conforming to IS 10322 (Part 5/ Sec. 2):2012 with all accessories including controller/ driver, diffusers, reflectors, housing etc. suitable operation of 230 V, 50 Hz AC supply complete as per technical specifications. ( Make Halonix, Model : HLFPS22-02-36-CW-R or equivelent.) | 20.00 | Each | 0.00 | 1721.00 | 34420.00 | 1650.00 | 33000.00 | 2600.00 | 52000.00 | 1510.00 | 30200.00 | 1500.00 | 30000.00 | 2150.00 | 43000.00 | 2200.00 | 44000.00 | 30000.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
29.00 | Supply of recess mounted 15W (Nominal) LED down light fixture (white) conforming to IS 10322 (Part 5/ Sec. 2):2012 rectangular type with all accessories including controller/ driver, diffusers, reflectors, housing etc. suitable for operation of 230 V, 50 Hz AC supply complete as per technical specifications.( Make Halonix, Model : HLDLR-R27-15-CW or equivelent.) | 20.00 | Each | 0.00 | 777.00 | 15540.00 | 680.00 | 13600.00 | 1400.00 | 28000.00 | 1200.00 | 24000.00 | 585.00 | 11700.00 | 950.00 | 19000.00 | 950.00 | 19000.00 | 11700.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
30.00 | Supply of surface mounted 15W (Nominal) LED down light fixture (white) conforming to IS 10322 (Part 5/ Sec. 2):2012 rectangular type with all accessories including controller/ driver, diffusers, reflectors, housing etc. suitable for operation of 230 V, 50 Hz AC supply complete as per technical specifications.( Make Halonix, Model : HLDLS-R27-15-CW or equivelent.) | 20.00 | Each | 0.00 | 833.00 | 16660.00 | 680.00 | 13600.00 | 1150.00 | 23000.00 | 1200.00 | 24000.00 | 585.00 | 11700.00 | 850.00 | 17000.00 | 1050.00 | 21000.00 | 11700.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
31.00 | Supply installation testing and commissioning of industrial type RO water purifier consisting of raw water pump, FRP vessel 1248 having dual media filter, particulate filter (10 Micron, 4"x20"), activated carbon block (4"x20"), Micron cartridge filter (5 Micron, 4"x20"), anti scalant dosing system, high pressure pump SS 304 - 1.1 kW, pressure tube, RO membrane 4040, Microprocessor based control panel with provision of high and low pressure safeties, water level sensors, CPVC piping, online Rota meter, Pressure guages PU coated MS powder coated skid including other minor accessories for raw water with TDS up to 5000 PPM i/c. attachment with existing water tank (Make : WAE INRO 250 or equivalent). | 1.00 | Each | 0.00 | 199800.00 | 199800.00 | 280000.00 | 280000.00 | 206000.00 | 206000.00 | 30000.00 | 30000.00 | 330000.00 | 330000.00 | 95000.00 | 95000.00 | 150000.00 | 150000.00 | 30000.00 | Aditya Techno Products Private Limited
32.00 | Supply, installation, testing and commissioning of water dispenser having stainless steel tank 304 grade of 80 Litres storage capacity and 60 Litres cooling capacity with Hot, Cold & Normal options and mounting arrangement etc. complete as required as per technical specifiations. (Make WAE Volurnus 80 Ltr. or equivalent) | 2.00 | Each | 0.00 | 127650.00 | 255300.00 | 120000.00 | 240000.00 | 152000.00 | 304000.00 | 40000.00 | 80000.00 | 110000.00 | 220000.00 | 28500.00 | 57000.00 | 60000.00 | 120000.00 | 57000.00 | BATRA ENGINEERS
33.00 | Supply of Heavy duty Exhaust fan and suitable for use on 220 V / 240 V, 50 Hz single phase AC supply confirming to IS: 374/1979 class 1 of size 450 mm sweep and 1400 rpm (nominal) complete as per technical specifications.(Make Havells Model: Turbo Force 1P or equivelent) | 8.00 | Each | 0.00 | 3219.00 | 25752.00 | 3500.00 | 28000.00 | 5300.00 | 42400.00 | 10500.00 | 84000.00 | 4000.00 | 32000.00 | 4800.00 | 38400.00 | 5300.00 | 42400.00 | 25752.00 | Yash Energy Pvt. Ltd
34.00 | Supply of 250 mm Exhaust Fan suitable for operation on 230 volt AC supply. (Make Havells Model: Thrill Air DX or equivelent) | 6.00 | Each | 0.00 | 1122.00 | 6732.00 | 1030.00 | 6180.00 | 4400.00 | 26400.00 | 1400.00 | 8400.00 | 2000.00 | 12000.00 | 1550.00 | 9300.00 | 1550.00 | 9300.00 | 6180.00 | Awasthi Electric Works
35.00 | Supply of 1200 mm sweep 5 star rated ceiling fan capacitor type alongwith electronic regulator, complete with standard length down rod, canopies hanging shackle blades and suitable for use on 220 V / 240 V, 50 Hz single phase AC supply complete as per technical specifications. (Make Havells Model: EPIC equivelent) | 15.00 | Each | 0.00 | 2165.00 | 32475.00 | 2200.00 | 33000.00 | 2060.00 | 30900.00 | 2250.00 | 33750.00 | 1500.00 | 22500.00 | 2250.00 | 33750.00 | 2650.00 | 39750.00 | 22500.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
36.00 | Installation, testing and commissioning of pre-wired, LED indoor fixture of all types, complete with all accessories . directly on ceiling/ wall/ surface, including connections with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | 110.00 | Each | 0.00 | 222.00 | 24420.00 | 200.00 | 22000.00 | 350.00 | 38500.00 | 100.00 | 11000.00 | 75.00 | 8250.00 | 100.00 | 11000.00 | 175.00 | 19250.00 | 8250.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
37.00 | Installation, testing and commissioning of ceiling fan, including wiring the down rods of standard length (upto 30 cm) with 1.5 sq. mm FRLS PVC nsulated, copper conductor, single core cable, including providing and fixing phenolic laminated sheet cover on the fan box etc. as required. | 15.00 | Each | 0.00 | 278.00 | 4170.00 | 300.00 | 4500.00 | 170.00 | 2550.00 | 100.00 | 1500.00 | 100.00 | 1500.00 | 100.00 | 1500.00 | 350.00 | 5250.00 | 1500.00 | BATRA ENGINEERS, Krishsons International Engineers And Consultants (I) Pvt. Ltd, Aditya Techno Products Private Limited
38.00 | Installation of upto 450mm sweep exhaust fan in the existing opening, including making good the damage, connection, testing, commissioning etc. as required. | 14.00 | Each | 0.00 | 278.00 | 3892.00 | 500.00 | 7000.00 | 920.00 | 12880.00 | 150.00 | 2100.00 | 300.00 | 4200.00 | 120.00 | 1680.00 | 350.00 | 4900.00 | 1680.00 | BATRA ENGINEERS
39.00 | Supply of Aluminum Economical Telescopic Wheeled Ladder of Closed height 12 ft. , Extended height 20 ft , sides made of Aluminum ‘I’ Shape Channel 75x35x3.5 mm and steps made of Aluminum 26 mm dia round corrugated tubing, having Pushing handle, 2 No. Wheels, Rubber shoes at bottom end and top & Side railing and fitted with safety ring and platform on the top ,etc. complete as required. (Model: AL1003/8803, Make: Sumer or equivelent) | 1.00 | Each | 0.00 | 29415.00 | 29415.00 | 42000.00 | 42000.00 | 83000.00 | 83000.00 | 20000.00 | 20000.00 | 50000.00 | 50000.00 | 35000.00 | 35000.00 | 120000.00 | 120000.00 | 20000.00 | Aditya Techno Products Private Limited
40.00 | Supply of Aluminum Stool type folding ladder (Heavy duty) of height 8 ft. ,sides - Al. Channel C shaped section 75x35x3.5 mm , Aluminum steps of size 63 mm wide, Platform size of 16"x12" on top , Botton end with non slippery rubber pad. (Model: AL201/ASH18, Make: Sumer or equivelent) | 1.00 | Each | 0.00 | 9768.00 | 9768.00 | 23000.00 | 23000.00 | 26000.00 | 26000.00 | 17500.00 | 17500.00 | 25000.00 | 25000.00 | 42000.00 | 42000.00 | 9000.00 | 9000.00 | 9000.00 | Shiva Enterprises
41.00 | Supply of Aluminum Stool type folding ladder (Heavy duty) of height 10 ft. ,sides - Al. Channel C shaped section 75x35x3.5 mm , Aluminum steps of size 63 mm wide, Platform size of 16"x12" on top , Botton end with non slippery rubber pad. (Model: AL201/ASH18, Make: Sumer or equivelent) | 1.00 | Each | 0.00 | 12210.00 | 12210.00 | 27000.00 | 27000.00 | 26000.00 | 26000.00 | 18000.00 | 18000.00 | 26000.00 | 26000.00 | 45000.00 | 45000.00 | 10000.00 | 10000.00 | 10000.00 | Shiva Enterprises
42.00 | Supply of First aid box containing material as prescribed by St. John Ambulance brigade (Applicable for medium risk) OR Indian Red Cross conforming to IS 2217-1963 complete as required. | 1.00 | No. | 0.00 | 2331.00 | 2331.00 | 1500.00 | 1500.00 | 2600.00 | 2600.00 | 3493.00 | 3493.00 | 2000.00 | 2000.00 | 500.00 | 500.00 | 2500.00 | 2500.00 | 500.00 | BATRA ENGINEERS
| Total in Figures |  |  |  |  | 9116960.00 |  | 9897530.00 |  | 9799180.00 |  | 9391074.00 |  | 9880100.00 |  | 8739880.00 |  | 11497000.00
Lowest Amount Quoted BY: BATRA ENGINEERS(8739880.00)

## BOQ Summary
BOQ Summary Details Tender Title: Installation of new Stand alone MSSR at Maharana Pratap Airport, Udaipur SH Provision of Power supply, Internal and External Electrification. Tender ID: 2024_AAI_214020_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | BATRA ENGINEERS (BID ID -776930) | 8739880.00 | L1
| 2 | Yash Energy Pvt. Ltd (BID ID -776448) | 9116960.00 | L2
| 3 | Aditya Techno Products Private Limited (BID ID -777203) | 9391074.00 | L3
| 4 | MPC ELECTRICALS AND ENGINEERS (BID ID -777015) | 9799180.00 | L4
| 5 | Krishsons International Engineers And Consultants (I) Pvt. Ltd (BID ID -777159) | 9880100.00 | L5
| 6 | Awasthi Electric Works (BID ID -776796) | 9897530.00 | L6
| 7 | Shiva Enterprises (BID ID -777028) | 11497000.00 | L7