## BoQ1
Government eProcurement System Created By: Sujit Kumar Modak Created Date/Time: 14-Jan-2025 05:43 PM Tender Title: R and M Other Electrical Works at NSCBI Airport, Kolkata SH Operation and Day to Day Maintenance of Sewage Treatment Plant (STP) and Carpark sewage sump pumps i/c renovation works at NSCBI Airport, Kolkata. Tender ID: 2024_AAI_214197_1
Tender Inviting Authority: Airports Authority of India
Name of Work:R & M Other Electrical Works at NSCBI Airport, Kolkata. SH: Operation & Day to Day Maintenance of Sewage Treatment Plant (STP) & Carpark sewage sump pumps i/c renovation works at NSCBI Airport, Kolkata.
Contract No: AAI, NSCBI Airport, Kolkata.
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Vindhya Enviro Group (GSTN-23ALJPC4617R1ZV) BID ID -775667 |  | GLOBAL TECH SERVICES (GSTN-29BFQPD1799R2Z9) BID ID -784466 |  | KAKOLIL TRADE AGENCIES (GSTN-35AAHFK0831G1ZN) BID ID -787159 |  | M/s SOM Engineering Works (GSTN-NA) BID ID -776205
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I: Operation & daily Maintenance of Sewage Treatment Plant (STP) & Car Park Sump pump Manpower for Round the clock (24x7) Operation & day to day maintenance of Sewage Treatment Plant(STP) & Car Park Sump pump etc. along with its associated system accessories including carrying out regular inspection & testing, Preventive Maintenance, monthly water testing, documentation etc. in accordance to the special conditions of contract and Particular & Technical specification of contract & by deploying following manpower at NSCBI Airport, Kolkata.
1.01 | a) First Year | 12.00 | Month |  | 350000.00 | 4200000.00 | 350000.00 | 4200000.00 | 122500.00 | 1470000.00 | 313907.00 | 3766884.00 | 1470000.00 | KAKOLIL TRADE AGENCIES
1.02 | b) Second Year | 12.00 | Month |  | 400000.00 | 4800000.00 | 360000.00 | 4320000.00 | 132500.00 | 1590000.00 | 313907.00 | 3766884.00 | 1590000.00 | KAKOLIL TRADE AGENCIES
3.00 | SH-II : Cleaning works at Sewerage Treatment Tanks Complete cleaning of all tank of 750 cubic meter capacity sewage treatment module - 1 including dewatering, removal of sludge from Collection chamber, Screen chamber, equalization tank (L - 9 mtr. x W- 5.5 mtr. x H - 2.5 mtr), Aeration tank (L - 15 mtr. x W- 9 mtr. x H - 3.8 mtr), Clarifier tank (Dia - 8 mtr. & effective H - 2 mtr), Clarifier Filter tank (L - 9 mtr. x W - 5 mtr. x H - 4.2 mtr) , Sludge holding tank (L - 9 mtr. x W- 5 mtr. x H - 4.2 mtr.) and related pipe lines etc. with suitable sludge transporting vechicles for offloading sludge to nearest designated garbage dumpyard demarked by local administration by maintaining pollution control board norms and directives etc. complete as required and as per attached specifications. | 1.00 | Job |  | 1000000.00 | 1000000.00 | 350000.00 | 350000.00 | 590000.00 | 590000.00 | 525000.00 | 525000.00 | 350000.00 | GLOBAL TECH SERVICES
4.00 | Complete cleaning of all tanks of 750 cubic meter capacity sewage treatment module - 2 including dewatering, removal of sludge from Collection chamber, Screen chamber, equalization tank (L - 9 mtr. x W- 5.5 mtr. x H - 2.5 mtr), Aeration tank (L - 15 mtr. x W- 9 mtr. x H - 3.8 mtr), Clarifier tank (Dia - 8 mtr. & effective H - 2 mtr), Clarifier Filter tank (L - 9 mtr. x W - 5 mtr. x H - 4.2 mtr), Sludge holding tank (L - 9 mtr. x W - 5 mtr. x H - 4.2 mtr.) and related pipe lines etc. with suitable sludge transporting vehicles for offloading sludge to nearest designated garbage dumyard demarked by local administration by maintaining pollution control board norms and directives etc. complete as required and as per attached specifications. | 1.00 | Job |  | 1000000.00 | 1000000.00 | 350000.00 | 350000.00 | 590000.00 | 590000.00 | 525000.00 | 525000.00 | 350000.00 | GLOBAL TECH SERVICES
5.00 | Pumping out of entire sewage waste and sludge from the sewage sump well at Carpark having depth of 9 mtrs and 6 mtrs. wide with the help of motorized vacuum suction jet tanker mounted vehicle including cleaning of the sump well fully by mechanical means and disposal of the sewage to nearest designated garbage dumpyard demarked by local administration by maintaining pollution control board norms and directives etc. complete as required.
6.00 | a) First Year | 1.00 | Job |  | 300000.00 | 300000.00 | 80000.00 | 80000.00 | 66000.00 | 66000.00 | 105000.00 | 105000.00 | 66000.00 | KAKOLIL TRADE AGENCIES
7.00 | b) Second Year | 1.00 | Job |  | 300000.00 | 300000.00 | 80000.00 | 80000.00 | 70000.00 | 70000.00 | 105000.00 | 105000.00 | 70000.00 | KAKOLIL TRADE AGENCIES
8.00 | Providing and fixing of CI body Butterfly valves with SS disc nitrile sheet & O-ring & PN16 pressure rating as per IS 13095 or BS 5155 including nuts, bolts, gaskets, component flanges etc. complete in all respect and as per instruction of E-I-C and AAI approved make list of following sizes.
9.00 | 65 mm
10.00 | a) First Year | 1.00 | Job |  | 1400.00 | 1400.00 | 13700.00 | 13700.00 | 8700.00 | 8700.00 | 2165.00 | 2165.00 | 1400.00 | Vindhya Enviro Group
11.00 | b) Second Year | 1.00 | Job |  | 1500.00 | 1500.00 | 13700.00 | 13700.00 | 9000.00 | 9000.00 | 2165.00 | 2165.00 | 1500.00 | Vindhya Enviro Group
12.00 | 80 mm
13.00 | a) First Year | 1.00 | Job |  | 1600.00 | 1600.00 | 14000.00 | 14000.00 | 9200.00 | 9200.00 | 2629.00 | 2629.00 | 1600.00 | Vindhya Enviro Group
14.00 | b) Second Year | 1.00 | Job |  | 1800.00 | 1800.00 | 14000.00 | 14000.00 | 9600.00 | 9600.00 | 2629.00 | 2629.00 | 1800.00 | Vindhya Enviro Group
15.00 | 100 mm
16.00 | a) First Year | 1.00 | Job |  | 2800.00 | 2800.00 | 15000.00 | 15000.00 | 9600.00 | 9600.00 | 3252.00 | 3252.00 | 2800.00 | Vindhya Enviro Group
17.00 | b) Second Year | 1.00 | Job |  | 3000.00 | 3000.00 | 15000.00 | 15000.00 | 9900.00 | 9900.00 | 3252.00 | 3252.00 | 3000.00 | Vindhya Enviro Group
18.00 | 150 mm
19.00 | a) First Year | 1.00 | Job |  | 3500.00 | 3500.00 | 18000.00 | 18000.00 | 12700.00 | 12700.00 | 4948.00 | 4948.00 | 3500.00 | Vindhya Enviro Group
20.00 | b) Second Year | 1.00 | Job |  | 4000.00 | 4000.00 | 18000.00 | 18000.00 | 13100.00 | 13100.00 | 4948.00 | 4948.00 | 4000.00 | Vindhya Enviro Group
21.00 | Providing and fixing of CI SS plates Non return valves with vulcanized NBR seal flanged end & PN 16 pressure rating including nuts, bolts, component flanges, complete in all respect as per instruction of E-I-C and AAI approved make list of following sizes.
22.00 | 50 mm
23.00 | a) First Year | 1.00 | Job |  | 1200.00 | 1200.00 | 14000.00 | 14000.00 | 13000.00 | 13000.00 | 2939.00 | 2939.00 | 1200.00 | Vindhya Enviro Group
24.00 | b) Second Year | 1.00 | Job |  | 1300.00 | 1300.00 | 14000.00 | 14000.00 | 13500.00 | 13500.00 | 2939.00 | 2939.00 | 1300.00 | Vindhya Enviro Group
25.00 | 65 mm
26.00 | a) First Year | 1.00 | Job |  | 1500.00 | 1500.00 | 14500.00 | 14500.00 | 21000.00 | 21000.00 | 3611.00 | 3611.00 | 1500.00 | Vindhya Enviro Group
27.00 | b) Second Year | 1.00 | Job |  | 1600.00 | 1600.00 | 14500.00 | 14500.00 | 21900.00 | 21900.00 | 3611.00 | 3611.00 | 1600.00 | Vindhya Enviro Group
28.00 | 80 mm
29.00 | a) First Year | 1.00 | Job |  | 1800.00 | 1800.00 | 15000.00 | 15000.00 | 22400.00 | 22400.00 | 4633.00 | 4633.00 | 1800.00 | Vindhya Enviro Group
30.00 | b) Second Year | 1.00 | Job |  | 2000.00 | 2000.00 | 15000.00 | 15000.00 | 23300.00 | 23300.00 | 4633.00 | 4633.00 | 2000.00 | Vindhya Enviro Group
31.00 | 100 mm
32.00 | a) First Year | 1.00 | Job |  | 2400.00 | 2400.00 | 16000.00 | 16000.00 | 24600.00 | 24600.00 | 6179.00 | 6179.00 | 2400.00 | Vindhya Enviro Group
33.00 | b) Second Year | 1.00 | Job |  | 2600.00 | 2600.00 | 16000.00 | 16000.00 | 25650.00 | 25650.00 | 6179.00 | 6179.00 | 2600.00 | Vindhya Enviro Group
34.00 | 150 mm
35.00 | a) First Year | 1.00 | Job |  | 3000.00 | 3000.00 | 19000.00 | 19000.00 | 27800.00 | 27800.00 | 12391.00 | 12391.00 | 3000.00 | Vindhya Enviro Group
36.00 | b) Second Year | 1.00 | Job |  | 3500.00 | 3500.00 | 19000.00 | 19000.00 | 29050.00 | 29050.00 | 12391.00 | 12391.00 | 3500.00 | Vindhya Enviro Group
37.00 | 200 mm
38.00 | a) First Year | 1.00 | Job |  | 4000.00 | 4000.00 | 22000.00 | 22000.00 | 31000.00 | 31000.00 | 22140.00 | 22140.00 | 4000.00 | Vindhya Enviro Group
39.00 | b) Second Year | 1.00 | Job |  | 4500.00 | 4500.00 | 22000.00 | 22000.00 | 32400.00 | 32400.00 | 22140.00 | 22140.00 | 4500.00 | Vindhya Enviro Group
40.00 | Providing and fixing of CI SS plates Gate valves with vulcanized NBR seal flanged end & PN 16 pressure rating including nuts, bolts, component flanges, complete in all respect as per instruction of E-I-C and AAI approved make list of following sizes:
41.00 | 150 mm
42.00 | a) First Year | 2.00 | Job |  | 5000.00 | 10000.00 | 40000.00 | 80000.00 | 12800.00 | 25600.00 | 17308.00 | 34616.00 | 10000.00 | Vindhya Enviro Group
43.00 | b) Second Year | 2.00 | Job |  | 6000.00 | 12000.00 | 40000.00 | 80000.00 | 13390.00 | 26780.00 | 17308.00 | 34616.00 | 12000.00 | Vindhya Enviro Group
44.00 | 200 mm
45.00 | a) First Year | 2.00 | Job |  | 6000.00 | 12000.00 | 60000.00 | 120000.00 | 17050.00 | 34100.00 | 27516.00 | 55032.00 | 12000.00 | Vindhya Enviro Group
46.00 | b) Second Year | 2.00 | Job |  | 6500.00 | 13000.00 | 60000.00 | 120000.00 | 17755.00 | 35510.00 | 27516.00 | 55032.00 | 13000.00 | Vindhya Enviro Group
47.00 | Providing and fixing of bronze / brass ball valves of following sizes.
48.00 | 13 mm
49.00 | a) First Year | 2.00 | Job |  | 800.00 | 1600.00 | 1600.00 | 3200.00 | 480.00 | 960.00 | 323.00 | 646.00 | 646.00 | M/s SOM Engineering Works
50.00 | b) Second Year | 2.00 | Job |  | 1000.00 | 2000.00 | 1600.00 | 3200.00 | 500.00 | 1000.00 | 323.00 | 646.00 | 646.00 | M/s SOM Engineering Works
51.00 | 25 mm
52.00 | a) First Year | 2.00 | Job |  | 1200.00 | 2400.00 | 2200.00 | 4400.00 | 500.00 | 1000.00 | 572.00 | 1144.00 | 1000.00 | KAKOLIL TRADE AGENCIES
53.00 | b) Second Year | 2.00 | Job |  | 1300.00 | 2600.00 | 2200.00 | 4400.00 | 520.00 | 1040.00 | 572.00 | 1144.00 | 1040.00 | KAKOLIL TRADE AGENCIES
54.00 | 40 mm
55.00 | a) First Year | 1.00 | Job |  | 1400.00 | 1400.00 | 4900.00 | 4900.00 | 1050.00 | 1050.00 | 1235.00 | 1235.00 | 1050.00 | KAKOLIL TRADE AGENCIES
56.00 | b) Second Year | 1.00 | Job |  | 1600.00 | 1600.00 | 4900.00 | 4900.00 | 1100.00 | 1100.00 | 1235.00 | 1235.00 | 1100.00 | KAKOLIL TRADE AGENCIES
57.00 | Supply, Installation, Testing & Commissioning of CI Foot Valve with components flanges, gaskets, nut & bolts as per IS 4038 as required.
58.00 | 80 mm
59.00 | a) First Year | 1.00 | Job |  | 2000.00 | 2000.00 | 4500.00 | 4500.00 | 7415.00 | 7415.00 | 4000.00 | 4000.00 | 2000.00 | Vindhya Enviro Group
60.00 | b) Second Year | 1.00 | Job |  | 2200.00 | 2200.00 | 4500.00 | 4500.00 | 7785.00 | 7785.00 | 4000.00 | 4000.00 | 2200.00 | Vindhya Enviro Group
61.00 | Providing and fixing of CI Diaphragm valves with dual plates vulcanized NBR seal flanged end & PN 16 pressure rating including nuts, bolts, component flanges, complete in all respect as per instruction of E-I-C and AAI approved make list of following sizes:
62.00 | 80 mm
63.00 | a) First Year | 1.00 | Job |  | 3500.00 | 3500.00 | 15000.00 | 15000.00 | 6800.00 | 6800.00 | 7583.00 | 7583.00 | 3500.00 | Vindhya Enviro Group
64.00 | b) Second Year | 1.00 | Job |  | 4000.00 | 4000.00 | 15000.00 | 15000.00 | 7140.00 | 7140.00 | 7583.00 | 7583.00 | 4000.00 | Vindhya Enviro Group
65.00 | SH-III: Electrical works
66.00 | Supply, installation, testing & commissioning of Star Delta starter's on delay timer having range upto 120 sec and operating voltage 110-415 V AC, 30V DC and suitable current upto 5A.
67.00 | a) First Year | 1.00 | Job |  | 5000.00 | 5000.00 | 20000.00 | 20000.00 | 2364.00 | 2364.00 | 1000.00 | 1000.00 | 1000.00 | M/s SOM Engineering Works
68.00 | b) Second Year | 1.00 | Job |  | 6000.00 | 6000.00 | 20000.00 | 20000.00 | 2626.00 | 2626.00 | 1000.00 | 1000.00 | 1000.00 | M/s SOM Engineering Works
69.00 | Supply, installation, testing & commissioning of Overload Relay having Ampere range upto 16 Amp, operating voltage 110V - 415 V AC.
70.00 | a) First Year | 1.00 | Job |  | 2000.00 | 2000.00 | 5000.00 | 5000.00 | 3000.00 | 3000.00 | 1000.00 | 1000.00 | 1000.00 | M/s SOM Engineering Works
71.00 | b) Second Year | 1.00 | Job |  | 2200.00 | 2200.00 | 5000.00 | 5000.00 | 3500.00 | 3500.00 | 1000.00 | 1000.00 | 1000.00 | M/s SOM Engineering Works
72.00 | Supply, installation, testing & commissioning of single phase preventor/phase failure relay having trip time delay on phase failure/unbalance up to 5 sec, operating current setting 0.4-1 amp and operating voltage 110V - 415 V AC.
73.00 | a) First Year | 1.00 | Job |  | 1000.00 | 1000.00 | 5000.00 | 5000.00 | 4000.00 | 4000.00 | 1000.00 | 1000.00 | 1000.00 | Vindhya Enviro Group, M/s SOM Engineering Works
74.00 | b) Second Year | 1.00 | Job |  | 1200.00 | 1200.00 | 5000.00 | 5000.00 | 4200.00 | 4200.00 | 1000.00 | 1000.00 | 1000.00 | M/s SOM Engineering Works
75.00 | Complete rewinding the following capacity defective motor suitable for 230/415 volts AC with necessary copper winding and heat varnishing, replacement of bearing etc. complete as required including dismantling and reinstallation of the same at site.
76.00 | Upto 10 KW
77.00 | a) First Year | 2.00 | Job |  | 10000.00 | 20000.00 | 25000.00 | 50000.00 | 17069.00 | 34138.00 | 2835.00 | 5670.00 | 5670.00 | M/s SOM Engineering Works
78.00 | b) Second Year | 2.00 | Job |  | 12000.00 | 24000.00 | 25000.00 | 50000.00 | 17239.00 | 34478.00 | 2835.00 | 5670.00 | 5670.00 | M/s SOM Engineering Works
79.00 | Above 10 KW to 20 KW
80.00 | a) First Year | 2.00 | Job |  | 20000.00 | 40000.00 | 30000.00 | 60000.00 | 26260.00 | 52520.00 | 17850.00 | 35700.00 | 35700.00 | M/s SOM Engineering Works
81.00 | b) Second Year | 2.00 | Job |  | 22000.00 | 44000.00 | 30000.00 | 60000.00 | 26522.00 | 53044.00 | 17850.00 | 35700.00 | 35700.00 | M/s SOM Engineering Works
82.00 | SH-IV : Painting Works
83.00 | Cleaning the surface of chequered plates and painting with two coats of synthetic enamel black paint etc. of approved brand and manufacturer as required.
84.00 | a) First Year | 100.00 | sq. mtr. |  | 200.00 | 20000.00 | 300.00 | 30000.00 | 140.00 | 14000.00 | 165.00 | 16500.00 | 14000.00 | KAKOLIL TRADE AGENCIES
85.00 | b) Second Year | 100.00 | sq. mtr. |  | 230.00 | 23000.00 | 300.00 | 30000.00 | 140.00 | 14000.00 | 165.00 | 16500.00 | 14000.00 | KAKOLIL TRADE AGENCIES
86.00 | Scrubbing, cleaning the existing surface of cubicle panels / MS pipes and spray painting the same with two coats of synthetic enamel paint of approved brand and manufacturer of required colour over one coat of red oxide metal primer etc. to give an even shade as required.
87.00 | a) First Year | 150.00 | sq. mtr. |  | 200.00 | 30000.00 | 250.00 | 37500.00 | 140.00 | 21000.00 | 165.00 | 24750.00 | 21000.00 | KAKOLIL TRADE AGENCIES
88.00 | b) Second Year | 150.00 | sq. mtr. |  | 250.00 | 37500.00 | 300.00 | 45000.00 | 140.00 | 21000.00 | 165.00 | 24750.00 | 21000.00 | KAKOLIL TRADE AGENCIES
89.00 | Scrubbing, cleaning the existing surface of cubicle panels / MS pipes / ACF & PSF chambers and spray painting the same with two coats of synthetic enamel paint of approved brand and manufacturer of required colour to give an even shade etc. as required.
90.00 | a) First Year | 200.00 | sq. mtr. |  | 250.00 | 50000.00 | 300.00 | 60000.00 | 140.00 | 28000.00 | 165.00 | 33000.00 | 28000.00 | KAKOLIL TRADE AGENCIES
91.00 | b) Second Year | 200.00 | sq. mtr. |  | 300.00 | 60000.00 | 350.00 | 70000.00 | 140.00 | 28000.00 | 165.00 | 33000.00 | 28000.00 | KAKOLIL TRADE AGENCIES
92.00 | SH-V : Miscellaneous works
93.00 | Supply of NACL (Iodine Free)
94.00 | a) First Year | 250000.00 | Kg |  | 9.00 | 2250000.00 | 10.00 | 2500000.00 | 10.00 | 2500000.00 | 5.50 | 1375000.00 | 1375000.00 | M/s SOM Engineering Works
95.00 | b) Second Year | 250000.00 | Kg |  | 10.00 | 2500000.00 | 10.00 | 2500000.00 | 11.00 | 2750000.00 | 5.50 | 1375000.00 | 1375000.00 | M/s SOM Engineering Works
96.00 | Supply of Sodium Hypochlorite (NaOCl 8% free chlorine)
97.00 | a) First Year | 2500.00 | Ltr. |  | 30.00 | 75000.00 | 50.00 | 125000.00 | 67.00 | 167500.00 | 20.00 | 50000.00 | 50000.00 | M/s SOM Engineering Works
98.00 | b) Second Year | 2500.00 | Ltr. |  | 32.00 | 80000.00 | 50.00 | 125000.00 | 68.00 | 170000.00 | 20.00 | 50000.00 | 50000.00 | M/s SOM Engineering Works
99.00 | Supply, installation, testing & commissioning of Water Pressure Gauge having pressure range upto 30 kg/cm2 and suitable size as per site condition.
100.00 | a) First Year | 10.00 | Job |  | 1500.00 | 15000.00 | 2700.00 | 27000.00 | 2800.00 | 28000.00 | 825.00 | 8250.00 | 8250.00 | M/s SOM Engineering Works
101.00 | b) Second Year | 10.00 | Job |  | 1600.00 | 16000.00 | 2700.00 | 27000.00 | 2950.00 | 29500.00 | 825.00 | 8250.00 | 8250.00 | M/s SOM Engineering Works
102.00 | Supply of HDPE laminated lay flat tube lapeta delivery hose pipe having dia 150 mm complete as required.
103.00 | a) First Year | 80.00 | Feet. |  | 200.00 | 16000.00 | 350.00 | 28000.00 | 150.00 | 12000.00 | 102.00 | 8160.00 | 8160.00 | M/s SOM Engineering Works
104.00 | b) Second Year | 80.00 | Feet. |  | 220.00 | 17600.00 | 350.00 | 28000.00 | 200.00 | 16000.00 | 102.00 | 8160.00 | 8160.00 | M/s SOM Engineering Works
105.00 | Supply of PVC flexible suction pipe having dia 80 mm complete as required.
106.00 | a) First Year | 35.00 | Feet. |  | 200.00 | 7000.00 | 450.00 | 15750.00 | 100.00 | 3500.00 | 170.00 | 5950.00 | 3500.00 | KAKOLIL TRADE AGENCIES
107.00 | b) Second Year | 35.00 | Feet. |  | 250.00 | 8750.00 | 450.00 | 15750.00 | 120.00 | 4200.00 | 170.00 | 5950.00 | 4200.00 | KAKOLIL TRADE AGENCIES
108.00 | Steel work in M.S. C section/ angle iron/ I section / MS flat / MS Plates including cutting to required length welding & fixing the members to existing structure with suitable means as per the direction by the Engg. -in-Charge including spray/manual painting the same with two coats of ISI marked synthetic enamel paint of approved colour over one coat of red oxide metal primer etc. as per direction of engineer - in - charge.
109.00 | a) First Year | 350.00 | Kg |  | 200.00 | 70000.00 | 120.00 | 42000.00 | 120.00 | 42000.00 | 95.00 | 33250.00 | 33250.00 | M/s SOM Engineering Works
110.00 | b) Second Year | 350.00 | Kg |  | 230.00 | 80500.00 | 120.00 | 42000.00 | 130.00 | 45500.00 | 95.00 | 33250.00 | 33250.00 | M/s SOM Engineering Works
111.00 | SH-VI : Supply of different spares
112.00 | Supply of suitable size O-ring rubber for following capacity water pump
113.00 | for 1 hp pump
114.00 | a) First Year | 1.00 | Each |  | 200.00 | 200.00 | 15.00 | 15.00 | 325.00 | 325.00 | 2.00 | 2.00 | 2.00 | M/s SOM Engineering Works
115.00 | b) Second Year | 1.00 | Each |  | 250.00 | 250.00 | 15.00 | 15.00 | 329.00 | 329.00 | 2.00 | 2.00 | 2.00 | M/s SOM Engineering Works
116.00 | for 2 hp pump
117.00 | a) First Year | 1.00 | Each |  | 300.00 | 300.00 | 30.00 | 30.00 | 390.00 | 390.00 | 3.00 | 3.00 | 3.00 | M/s SOM Engineering Works
118.00 | b) Second Year | 1.00 | Each |  | 400.00 | 400.00 | 30.00 | 30.00 | 394.00 | 394.00 | 3.00 | 3.00 | 3.00 | M/s SOM Engineering Works
119.00 | for 3 hp pump
120.00 | a) First Year | 3.00 | Each |  | 300.00 | 900.00 | 40.00 | 120.00 | 455.00 | 1365.00 | 4.00 | 12.00 | 12.00 | M/s SOM Engineering Works
121.00 | b) Second Year | 3.00 | Each |  | 400.00 | 1200.00 | 40.00 | 120.00 | 460.00 | 1380.00 | 4.00 | 12.00 | 12.00 | M/s SOM Engineering Works
122.00 | for 5.5 hp pump
123.00 | a) First Year | 2.00 | Each |  | 500.00 | 1000.00 | 50.00 | 100.00 | 520.00 | 1040.00 | 5.00 | 10.00 | 10.00 | M/s SOM Engineering Works
124.00 | b) Second Year | 2.00 | Each |  | 600.00 | 1200.00 | 50.00 | 100.00 | 525.00 | 1050.00 | 5.00 | 10.00 | 10.00 | M/s SOM Engineering Works
125.00 | for 7.5 hp pump
126.00 | a) First Year | 2.00 | Each |  | 500.00 | 1000.00 | 60.00 | 120.00 | 585.00 | 1170.00 | 5.00 | 10.00 | 10.00 | M/s SOM Engineering Works
127.00 | b) Second Year | 2.00 | Each |  | 600.00 | 1200.00 | 60.00 | 120.00 | 592.00 | 1184.00 | 5.00 | 10.00 | 10.00 | M/s SOM Engineering Works
128.00 | for 10 hp pump
129.00 | a) First Year | 2.00 | Each |  | 600.00 | 1200.00 | 70.00 | 140.00 | 650.00 | 1300.00 | 5.00 | 10.00 | 10.00 | M/s SOM Engineering Works
130.00 | b) Second Year | 2.00 | Each |  | 700.00 | 1400.00 | 70.00 | 140.00 | 656.00 | 1312.00 | 5.00 | 10.00 | 10.00 | M/s SOM Engineering Works
131.00 | for 13 hp pump
132.00 | a) First Year | 3.00 | Each |  | 800.00 | 2400.00 | 80.00 | 240.00 | 1690.00 | 5070.00 | 7.00 | 21.00 | 21.00 | M/s SOM Engineering Works
133.00 | b) Second Year | 3.00 | Each |  | 900.00 | 2700.00 | 80.00 | 240.00 | 1707.00 | 5121.00 | 7.00 | 21.00 | 21.00 | M/s SOM Engineering Works
134.00 | for 20 hp pump
135.00 | a) First Year | 1.00 | Each |  | 1000.00 | 1000.00 | 150.00 | 150.00 | 1950.00 | 1950.00 | 10.00 | 10.00 | 10.00 | M/s SOM Engineering Works
136.00 | b) Second Year | 1.00 | Each |  | 1200.00 | 1200.00 | 150.00 | 150.00 | 1969.00 | 1969.00 | 10.00 | 10.00 | 10.00 | M/s SOM Engineering Works
137.00 | Supply of suitable size Mechanical seal for following capacity water pump
138.00 | for 1 hp pump
139.00 | a) First Year | 2.00 | Each |  | 2400.00 | 4800.00 | 500.00 | 1000.00 | 585.00 | 1170.00 | 2.00 | 4.00 | 4.00 | M/s SOM Engineering Works
140.00 | b) Second Year | 2.00 | Each |  | 2500.00 | 5000.00 | 500.00 | 1000.00 | 630.00 | 1260.00 | 2.00 | 4.00 | 4.00 | M/s SOM Engineering Works
141.00 | for 2 hp pump
142.00 | a) First Year | 2.00 | Each |  | 2600.00 | 5200.00 | 600.00 | 1200.00 | 650.00 | 1300.00 | 3.00 | 6.00 | 6.00 | M/s SOM Engineering Works
143.00 | b) Second Year | 2.00 | Each |  | 2800.00 | 5600.00 | 600.00 | 1200.00 | 656.00 | 1312.00 | 3.00 | 6.00 | 6.00 | M/s SOM Engineering Works
144.00 | for 3 hp pump
145.00 | a) First Year | 2.00 | Each |  | 3000.00 | 6000.00 | 1000.00 | 2000.00 | 1560.00 | 3120.00 | 4.00 | 8.00 | 8.00 | M/s SOM Engineering Works
146.00 | b) Second Year | 2.00 | Each |  | 3200.00 | 6400.00 | 1000.00 | 2000.00 | 1575.00 | 3150.00 | 4.00 | 8.00 | 8.00 | M/s SOM Engineering Works
147.00 | for 5.5 hp pump
148.00 | a) First Year | 2.00 | Each |  | 3200.00 | 6400.00 | 1200.00 | 2400.00 | 1560.00 | 3120.00 | 5.00 | 10.00 | 10.00 | M/s SOM Engineering Works
149.00 | b) Second Year | 2.00 | Each |  | 3500.00 | 7000.00 | 1200.00 | 2400.00 | 1575.00 | 3150.00 | 5.00 | 10.00 | 10.00 | M/s SOM Engineering Works
150.00 | for 7.5 hp pump
151.00 | a) First Year | 4.00 | Each |  | 3500.00 | 14000.00 | 1500.00 | 6000.00 | 1820.00 | 7280.00 | 5.00 | 20.00 | 20.00 | M/s SOM Engineering Works
152.00 | b) Second Year | 4.00 | Each |  | 3800.00 | 15200.00 | 1500.00 | 6000.00 | 1838.00 | 7352.00 | 5.00 | 20.00 | 20.00 | M/s SOM Engineering Works
153.00 | for 10 hp pump
154.00 | a) First Year | 2.00 | Each |  | 3500.00 | 7000.00 | 2000.00 | 4000.00 | 1950.00 | 3900.00 | 5.00 | 10.00 | 10.00 | M/s SOM Engineering Works
155.00 | b) Second Year | 2.00 | Each |  | 4000.00 | 8000.00 | 2000.00 | 4000.00 | 1969.00 | 3938.00 | 5.00 | 10.00 | 10.00 | M/s SOM Engineering Works
156.00 | for 13 hp pump
157.00 | a) First Year | 2.00 | Each |  | 4000.00 | 8000.00 | 2500.00 | 5000.00 | 2340.00 | 4680.00 | 7.00 | 14.00 | 14.00 | M/s SOM Engineering Works
158.00 | b) Second Year | 2.00 | Each |  | 4500.00 | 9000.00 | 2500.00 | 5000.00 | 2364.00 | 4728.00 | 7.00 | 14.00 | 14.00 | M/s SOM Engineering Works
159.00 | for 20 hp pump
160.00 | a) First Year | 2.00 | Each |  | 4500.00 | 9000.00 | 3000.00 | 6000.00 | 2860.00 | 5720.00 | 10.00 | 20.00 | 20.00 | M/s SOM Engineering Works
161.00 | b) Second Year | 2.00 | Each |  | 4800.00 | 9600.00 | 3000.00 | 6000.00 | 2888.00 | 5776.00 | 10.00 | 20.00 | 20.00 | M/s SOM Engineering Works
162.00 | Supply of suitable size Bush for following capacity water pump
163.00 | for 1 hp pump
164.00 | a) First Year | 1.00 | Each |  | 800.00 | 800.00 | 200.00 | 200.00 | 455.00 | 455.00 | 2.00 | 2.00 | 2.00 | M/s SOM Engineering Works
165.00 | b) Second Year | 1.00 | Each |  | 900.00 | 900.00 | 200.00 | 200.00 | 460.00 | 460.00 | 2.00 | 2.00 | 2.00 | M/s SOM Engineering Works
166.00 | for 2 hp pump
167.00 | a) First Year | 2.00 | Each |  | 1000.00 | 2000.00 | 300.00 | 600.00 | 1560.00 | 3120.00 | 3.00 | 6.00 | 6.00 | M/s SOM Engineering Works
168.00 | b) Second Year | 2.00 | Each |  | 1200.00 | 2400.00 | 300.00 | 600.00 | 1576.00 | 3152.00 | 3.00 | 6.00 | 6.00 | M/s SOM Engineering Works
169.00 | for 3 hp pump
170.00 | a) First Year | 1.00 | Each |  | 1200.00 | 1200.00 | 500.00 | 500.00 | 1625.00 | 1625.00 | 4.00 | 4.00 | 4.00 | M/s SOM Engineering Works
171.00 | b) Second Year | 1.00 | Each |  | 1400.00 | 1400.00 | 500.00 | 500.00 | 1642.00 | 1642.00 | 4.00 | 4.00 | 4.00 | M/s SOM Engineering Works
172.00 | for 5.5 hp pump
173.00 | a) First Year | 2.00 | Each |  | 1600.00 | 3200.00 | 650.00 | 1300.00 | 1690.00 | 3380.00 | 5.00 | 10.00 | 10.00 | M/s SOM Engineering Works
174.00 | b) Second Year | 2.00 | Each |  | 1800.00 | 3600.00 | 650.00 | 1300.00 | 1706.00 | 3412.00 | 5.00 | 10.00 | 10.00 | M/s SOM Engineering Works
175.00 | for 7.5 hp pump
176.00 | a) First Year | 2.00 | Each |  | 2000.00 | 4000.00 | 900.00 | 1800.00 | 1765.00 | 3530.00 | 5.00 | 10.00 | 10.00 | M/s SOM Engineering Works
177.00 | b) Second Year | 2.00 | Each |  | 2200.00 | 4400.00 | 900.00 | 1800.00 | 1773.00 | 3546.00 | 5.00 | 10.00 | 10.00 | M/s SOM Engineering Works
178.00 | for 10 hp pump
179.00 | a) First Year | 2.00 | Each |  | 2500.00 | 5000.00 | 1100.00 | 2200.00 | 2340.00 | 4680.00 | 5.00 | 10.00 | 10.00 | M/s SOM Engineering Works
180.00 | b) Second Year | 2.00 | Each |  | 2600.00 | 5200.00 | 1100.00 | 2200.00 | 2364.00 | 4728.00 | 5.00 | 10.00 | 10.00 | M/s SOM Engineering Works
181.00 | for 13 hp pump
182.00 | a) First Year | 2.00 | Each |  | 2600.00 | 5200.00 | 1500.00 | 3000.00 | 2405.00 | 4810.00 | 7.00 | 14.00 | 14.00 | M/s SOM Engineering Works
183.00 | b) Second Year | 2.00 | Each |  | 2700.00 | 5400.00 | 1500.00 | 3000.00 | 2429.00 | 4858.00 | 7.00 | 14.00 | 14.00 | M/s SOM Engineering Works
184.00 | for 20 hp pump
185.00 | a) First Year | 1.00 | Each |  | 2800.00 | 2800.00 | 2500.00 | 2500.00 | 2600.00 | 2600.00 | 10.00 | 10.00 | 10.00 | M/s SOM Engineering Works
186.00 | b) Second Year | 1.00 | Each |  | 3000.00 | 3000.00 | 2500.00 | 2500.00 | 2626.00 | 2626.00 | 10.00 | 10.00 | 10.00 | M/s SOM Engineering Works
187.00 | Supply of suitable size Coupling for following capacity water pump
188.00 | for 1 hp pump
189.00 | a) First Year | 1.00 | Each |  | 800.00 | 800.00 | 650.00 | 650.00 | 780.00 | 780.00 | 2.00 | 2.00 | 2.00 | M/s SOM Engineering Works
190.00 | b) Second Year | 1.00 | Each |  | 900.00 | 900.00 | 650.00 | 650.00 | 788.00 | 788.00 | 2.00 | 2.00 | 2.00 | M/s SOM Engineering Works
191.00 | for 2 hp pump
192.00 | a) First Year | 1.00 | Each |  | 800.00 | 800.00 | 850.00 | 850.00 | 910.00 | 910.00 | 3.00 | 3.00 | 3.00 | M/s SOM Engineering Works
193.00 | b) Second Year | 1.00 | Each |  | 900.00 | 900.00 | 850.00 | 850.00 | 919.00 | 919.00 | 3.00 | 3.00 | 3.00 | M/s SOM Engineering Works
194.00 | for 3 hp pump
195.00 | a) First Year | 1.00 | Each |  | 1000.00 | 1000.00 | 1500.00 | 1500.00 | 1170.00 | 1170.00 | 4.00 | 4.00 | 4.00 | M/s SOM Engineering Works
196.00 | b) Second Year | 1.00 | Each |  | 1200.00 | 1200.00 | 1500.00 | 1500.00 | 1181.00 | 1181.00 | 4.00 | 4.00 | 4.00 | M/s SOM Engineering Works
197.00 | for 5.5 hp pump
198.00 | a) First Year | 1.00 | Each |  | 1200.00 | 1200.00 | 2000.00 | 2000.00 | 1560.00 | 1560.00 | 5.00 | 5.00 | 5.00 | M/s SOM Engineering Works
199.00 | b) Second Year | 1.00 | Each |  | 1400.00 | 1400.00 | 2000.00 | 2000.00 | 1576.00 | 1576.00 | 5.00 | 5.00 | 5.00 | M/s SOM Engineering Works
200.00 | for 7.5 hp pump
201.00 | a) First Year | 1.00 | Each |  | 1600.00 | 1600.00 | 2500.00 | 2500.00 | 2860.00 | 2860.00 | 5.00 | 5.00 | 5.00 | M/s SOM Engineering Works
202.00 | b) Second Year | 1.00 | Each |  | 1800.00 | 1800.00 | 2500.00 | 2500.00 | 2888.00 | 2888.00 | 5.00 | 5.00 | 5.00 | M/s SOM Engineering Works
203.00 | for 10 hp pump
204.00 | a) First Year | 1.00 | Each |  | 1600.00 | 1600.00 | 3000.00 | 3000.00 | 3120.00 | 3120.00 | 5.00 | 5.00 | 5.00 | M/s SOM Engineering Works
205.00 | b) Second Year | 1.00 | Each |  | 1800.00 | 1800.00 | 3000.00 | 3000.00 | 3151.00 | 3151.00 | 5.00 | 5.00 | 5.00 | M/s SOM Engineering Works
206.00 | for 13 hp pump
207.00 | a) First Year | 1.00 | Each |  | 1800.00 | 1800.00 | 3500.00 | 3500.00 | 3900.00 | 3900.00 | 7.00 | 7.00 | 7.00 | M/s SOM Engineering Works
208.00 | b) Second Year | 1.00 | Each |  | 2000.00 | 2000.00 | 3500.00 | 3500.00 | 3939.00 | 3939.00 | 7.00 | 7.00 | 7.00 | M/s SOM Engineering Works
209.00 | for 20 hp pump
210.00 | a) First Year | 1.00 | Each |  | 2000.00 | 2000.00 | 4000.00 | 4000.00 | 5200.00 | 5200.00 | 10.00 | 10.00 | 10.00 | M/s SOM Engineering Works
211.00 | b) Second Year | 1.00 | Each |  | 2000.00 | 2000.00 | 4000.00 | 4000.00 | 5257.00 | 5257.00 | 10.00 | 10.00 | 10.00 | M/s SOM Engineering Works
212.00 | Supply of suitable size oil seal for following capacity water pump
213.00 | for 5.5 hp pump
214.00 | a) First Year | 2.00 | Each |  | 600.00 | 1200.00 | 500.00 | 1000.00 | 10000.00 | 20000.00 | 50.00 | 100.00 | 100.00 | M/s SOM Engineering Works
215.00 | b) Second Year | 2.00 | Each |  | 700.00 | 1400.00 | 600.00 | 1200.00 | 10200.00 | 20400.00 | 50.00 | 100.00 | 100.00 | M/s SOM Engineering Works
216.00 | for 13 hp pump
217.00 | a) First Year | 2.00 | Each |  | 800.00 | 1600.00 | 2500.00 | 5000.00 | 13650.00 | 27300.00 | 50.00 | 100.00 | 100.00 | M/s SOM Engineering Works
218.00 | b) Second Year | 2.00 | Each |  | 1000.00 | 2000.00 | 2500.00 | 5000.00 | 13786.00 | 27572.00 | 50.00 | 100.00 | 100.00 | M/s SOM Engineering Works
219.00 | Supply of suitable size moisture sensor for following capacity water pump
220.00 | for 1 hp pump
221.00 | a) First Year | 1.00 | Each |  | 800.00 | 800.00 | 500.00 | 500.00 | 10000.00 | 10000.00 | 10.00 | 10.00 | 10.00 | M/s SOM Engineering Works
222.00 | b) Second Year | 1.00 | Each |  | 800.00 | 800.00 | 500.00 | 500.00 | 10100.00 | 10100.00 | 10.00 | 10.00 | 10.00 | M/s SOM Engineering Works
223.00 | for 5.5 hp pump
224.00 | a) First Year | 1.00 | Each |  | 800.00 | 800.00 | 1500.00 | 1500.00 | 11100.00 | 11100.00 | 10.00 | 10.00 | 10.00 | M/s SOM Engineering Works
225.00 | b) Second Year | 1.00 | Each |  | 1000.00 | 1000.00 | 1500.00 | 1500.00 | 11200.00 | 11200.00 | 10.00 | 10.00 | 10.00 | M/s SOM Engineering Works
226.00 | for 13 hp pump
227.00 | a) First Year | 1.00 | Each |  | 1800.00 | 1800.00 | 2500.00 | 2500.00 | 13000.00 | 13000.00 | 10.00 | 10.00 | 10.00 | M/s SOM Engineering Works
228.00 | b) Second Year | 1.00 | Each |  | 2000.00 | 2000.00 | 2500.00 | 2500.00 | 13130.00 | 13130.00 | 10.00 | 10.00 | 10.00 | M/s SOM Engineering Works
229.00 | SH-VII : Renovation work
230.00 | SEWAGE TREATMENT PLANT - 750 KLD
231.00 | Renovation of sewage treatment plant based on MBBR process with sewage handling capacity 750 KLD X 2 SET. The STP as water retaining structures, with necessary chemical dosing as required by the available design. All the equipment, piping, pumps, air blowers and electrical panel to be housed in the STP pump room in the position of existing equipments including changing of M.S. puddle flange (Galvanised), inlet, outlet, overflow, vent, moving ladders & railing etc. The cost will also include any consequential civil work including making foundations/renovating existing foundation etc. for the structure, pumps, blowers etc. including all necessary accessories complete as required in compliance to the SCC & GCC and as per direction and complete satisfaction of the Engineer in Charge.
232.00 | Available specification are as follows (Sewage from toilets, kitchen waste water).
233.00 | Daily average flow : 750 M3/Day
234.00 | PH : 6.5 - 8.5
235.00 | BOD : 300 mg/l
236.00 | S. Solids : <150 Mg/l
237.00 | COD : 500 mg/l
238.00 | Oil & Grease : <20 mg/L
239.00 | Sewage discharge standard after Tertiary treatment :-
240.00 | PH : 6.0 - 8.0
241.00 | BOD : Less than 5 mg/l
242.00 | S. Solids : Less than 20 mg/l
243.00 | COD : Less than 30 mg/l
244.00 | Oil & Grease : Less than 10 mg/l
245.00 | The existing STP shall consist of following units but not limited to these unit as may be required by the manufacturer's design. MS PVC coated rungs in all tanks & Platform for maintenance etc. complete as required.
246.00 | ELECTRO MECHANICAL UNITS
247.00 | Providing & fixing of S.S. bar screens of size 1800mm x 3565mm having provision for manual lifting arrangement etc. complete as required. | 2.00 | Job |  | 30000.00 | 60000.00 | 250000.00 | 500000.00 | 75800.00 | 151600.00 | 378750.00 | 757500.00 | 60000.00 | Vindhya Enviro Group
248.00 | Providing & fixing S.S. coarse screens of size 1800mm x 3565mm having provision for manual lifting arrangement etc. complete as required. | 2.00 | Job |  | 30000.00 | 60000.00 | 250000.00 | 500000.00 | 65600.00 | 131200.00 | 232300.00 | 464600.00 | 60000.00 | Vindhya Enviro Group
249.00 | EQUALIZED WASTE WATER TRANSFER PUMPS : Providing & fixing fully submersible sewage handling type pump for raw sewage transfer from equalization tank to aeration tank. The pump shall have complete CI construction, TEFC induction motor including pressure gauge, lifting arrangement for the pump, all necessary piping, valves, level controller, probes, cable etc. including control panel and other accessories complete as required, Solid handling shall be 10-12 mm complete as required Capacity : 50 M3/hr @ Discharge Head 15 M head each. Quantity: 2 nos. (1W+1S) | 2.00 | Set |  | 150000.00 | 300000.00 | 200000.00 | 400000.00 | 750000.00 | 1500000.00 | 80800.00 | 161600.00 | 161600.00 | M/s SOM Engineering Works
250.00 | Dismantling of Raw Sewage Pump motor set with panel and other accessories including lifting, cutting, grinding, breaking etc. complete as required. Quantity: 2 nos. (1W+1S) | 2.00 | Set |  | 10000.00 | 20000.00 | 10000.00 | 20000.00 | 10000.00 | 20000.00 | 45450.00 | 90900.00 | 20000.00 | Vindhya Enviro Group, GLOBAL TECH SERVICES, KAKOLIL TRADE AGENCIES
251.00 | SLUDGE RECIRCULATION PUMP : Providing and fixing Centrifugal type Sludge disposal pump for the disposal of sludge to tanker or to sludge dry beds. The pumps shall have CI casing, cast iron Impeller & SS shaft & sleeve with mechanical rotary shaft mechanical seal connected by a flexible tier type coupling to TEFC induction motor mounted on a common channel base-plate with coupling guard, 150 mm dia pressure gauge with GM isolation cock, suitable vibration eliminator pads of approved design. Motor to be suitable for including all necessary piping, valves and other accessories and concrete foundation complete as required. Capacity: Flow 30.0 m3/hr & 20 mtr Head Quantity: 2 (1W+1S) | 2.00 | Set |  | 120000.00 | 240000.00 | 200000.00 | 400000.00 | 400000.00 | 800000.00 | 127535.00 | 255070.00 | 240000.00 | Vindhya Enviro Group
252.00 | Dismantling of Sludge Recirculation Pump motor set with panel and other accessories including lifting, cutting, grinding, breaking etc. complete as required. Quantity: 2 (1W+1S) | 2.00 | Nos |  | 5000.00 | 10000.00 | 10000.00 | 20000.00 | 5000.00 | 10000.00 | 50.00 | 100.00 | 100.00 | M/s SOM Engineering Works
253.00 | AIR DISPERSION SYSTEM Providing and fixing Twin Lobe Air Blowers driven through “V” belt or directly coupled through flexible coupling to a TEFC motor of suitable HP suitable for 415 ± 10% volts, 3 phase, 50 cycles A.C supply including pressure gauge, valve complete etc. as required. Capacity : as required full capacity 930 m3/hr, Pressure 0.37kg/cm2, Head 4-5 M | 4.00 | Nos. |  | 500000.00 | 2000000.00 | 350000.00 | 1400000.00 | 650000.00 | 2600000.00 | 45450.00 | 181800.00 | 181800.00 | M/s SOM Engineering Works
254.00 | Providing and fixing of non clog type air dispersion system capable of handling 3-5 cfm of air with oxygen transfer efficiency of 3-4% per/meter water depth. Fine air bubble jet diffuser with silicon EPDM seat minimum number of diffusers to be provided as per following specification. Type of Diffusers are as follows: Coarse Bubble (In Equalization Tank & Sludge Holding Tank) Fine Bubble Diffusers (In MBBR Tanks) | 2.00 | Lot |  | 40000.00 | 80000.00 | 350000.00 | 700000.00 | 150000.00 | 300000.00 | 262600.00 | 525200.00 | 80000.00 | Vindhya Enviro Group
255.00 | Dismantling of Air Dispersion Systems with pipe and other accessories including lifting, cutting, grinding, breaking etc. complete as required. | 2.00 | Lot |  | 10000.00 | 20000.00 | 20000.00 | 40000.00 | 25000.00 | 50000.00 | 55550.00 | 111100.00 | 20000.00 | Vindhya Enviro Group
256.00 | Dismantling of Air Blower Systems with motor and other accessories including lifting, cutting, grinding, breaking etc. complete as required. | 4.00 | Nos |  | 10000.00 | 40000.00 | 10000.00 | 40000.00 | 25000.00 | 100000.00 | 55550.00 | 222200.00 | 40000.00 | Vindhya Enviro Group, GLOBAL TECH SERVICES
257.00 | FILTER/SOFTENER FEED PUMPS : Providing and fixing Horizontal centrifugal pumps for filtration. The pumps shall be made of CI casing, bronze Impeller, SS shaft & sleeve, Mechanical Seal are connected to a TEFC induction motor mounted on a common channel base frame with coupling guard, 150 mm dia pressure gauge with GM isolation cock, suitable vibration eliminator pads of approved design. Motor to be suitable for 400/440 V, 3 Phase, 50 cycles AC power supply, including all necessary piping, valves and other accessories and concrete foundation complete as required. Capacity 50 M3/Hr.@ 35M head Quantity- 3 nos. (2W+1S) each sets | 2.00 | Set |  | 200000.00 | 400000.00 | 200000.00 | 400000.00 | 600000.00 | 1200000.00 | 163614.00 | 327228.00 | 327228.00 | M/s SOM Engineering Works
258.00 | Dismantling of Filter/Softener Feed Pump Motor set and other accessories including lifting, cutting, grinding, breaking etc. complete as required. Quantity- 3 nos. (2W+1S) each sets | 2.00 | Set |  | 12000.00 | 24000.00 | 10000.00 | 20000.00 | 5000.00 | 10000.00 | 50.00 | 100.00 | 100.00 | M/s SOM Engineering Works
259.00 | MULTIGRADE SAND FILTER : Supply, installation, testing & commissioning of vertical self supporting Pressure Sand Filter (INDION MGF) fabricated from MSEP as per IS : 2825, ASME code, complete with pressure gauges at inlet & outlet, sample cock, 5 Valve Battery, face piping with valves and all accessories, with initial charge of filter media for Dual media filter with multi grade quartz sand , lining inside with Epoxy Paint testing and commissioning complete as required including civil foundation as required. Capacity : 50 M3/hr Dia in mm : 1800 HOS in mm : 1875 Shell Thickness in mm : 6 Dish Thickness in mm : 8 Filtration rate : 20 M3/M2/hr Max. operating pressure : 3.5 kg/cm2 Test pressure : 5.5 Kg/Sq.cm Frontal Piping in mm :150 Filtering Media Quantity in KGS : 4000 Media Depth in mm : 915 | 4.00 | Set |  | 700000.00 | 2800000.00 | 600000.00 | 2400000.00 | 1058400.00 | 4233600.00 | 808000.00 | 3232000.00 | 2400000.00 | GLOBAL TECH SERVICES
260.00 | Dismantling of PSF Filters with other accessories and including lifting, cutting, grinding, breaking etc. complete as required. | 4.00 | Set |  | 20000.00 | 80000.00 | 25000.00 | 100000.00 | 25000.00 | 100000.00 | 101000.00 | 404000.00 | 80000.00 | Vindhya Enviro Group
261.00 | ACTIVATED CARBON FILTER : Supply, installation, testing & commissioning of vertical self supporting Activated Carbon Filter fabricated from MSEP as per IS : 2825, ASMI code, complete with pressure gauges at inlet & outlet, sample cock, 5 Valve Battery, face piping with valves and all accessories, with initial charge of filter media for Activated Carbon filter with lining inside with Epoxy Paint testing and commissioning complete as required. Capacity : 50 M3/hr Dia in mm : 2000 HOS in mm : 1875 Shell Thickness in mm : 6 Dish Thickness in mm : 8 Filtration rate : 16 M3/M2/hr Max. operating pressure : 3.5 kg/cm2 Test pressure : 5.5 Kg/Sq.cm Frontal Piping in mm : 100 Media Quantity in m3 : 2.54 Media Depth in mm : 1000 | 4.00 | Set |  | 800000.00 | 3200000.00 | 620000.00 | 2480000.00 | 853650.00 | 3414600.00 | 909000.00 | 3636000.00 | 2480000.00 | GLOBAL TECH SERVICES
262.00 | Dismantling of ACF Tank with other accessories and including lifting, cutting, grinding, breaking etc. complete as required | 4.00 | Set |  | 20000.00 | 80000.00 | 25000.00 | 100000.00 | 25000.00 | 100000.00 | 101000.00 | 404000.00 | 80000.00 | Vindhya Enviro Group
263.00 | SOFTNER FILTER : Supply, installation, testing & commissioning of vertical self supporting Softener Filter fabricated from MSEP with HDPE make Brine Tank as per IS : 2825, ASMI code, complete with pressure gauges at inlet & outlet, sample cock, 5 Valve Battery, face piping with valves and all accessories, with initial charge of filter media for Softener Filter with lining inside with Epoxy Paint testing and commissioning complete as required. Capacity : 50 M3/hr with total output 500 m3 Dia in mm : 2000 HOS in mm : 2500 Shell Thickness in mm : 6 Dish Thickness in mm : 8 Output between regeneration (TH considered 500mg/ltr)- 500 cum Max. operating pressure : 3.5 kg/cm2 Test pressure : 5.5 Kg/Sq.cm Frontal Piping in mm :100 Resin Quantity in KGS : 4700 Resin Name : 225 NA Media Depth in mm :1000 Regeneration tank Dimension -2000X900 MM MOC Tank -HDPE | 2.00 | Set |  | 750000.00 | 1500000.00 | 1500000.00 | 3000000.00 | 3150000.00 | 6300000.00 | 2424000.00 | 4848000.00 | 1500000.00 | Vindhya Enviro Group
264.00 | Dismantling of Softener Filter with Brine tank with other accessories and including lifting, cutting, grinding, breaking etc. complete as required | 2.00 | Set |  | 25000.00 | 50000.00 | 25000.00 | 50000.00 | 25000.00 | 50000.00 | 202000.00 | 404000.00 | 50000.00 | Vindhya Enviro Group, GLOBAL TECH SERVICES, KAKOLIL TRADE AGENCIES
265.00 | ALL PIPING Providing and fixing of all piping (as described below) and isolation control valves, non return valves etc. for making the system complete as required.
266.00 | SS304 make Pipe - For all submerged waste water piping (As per the direction of EIC) (Approx qty.-100 mtr.) | 2.00 | Lot |  | 50000.00 | 100000.00 | 400000.00 | 800000.00 | 675000.00 | 1350000.00 | 72720.00 | 145440.00 | 100000.00 | Vindhya Enviro Group
267.00 | MS CLASS C - For all exposed air piping (As per the direction of EIC) (Approx qty.-100 mtr.) | 2.00 | Lot |  | 30000.00 | 60000.00 | 500000.00 | 1000000.00 | 350000.00 | 700000.00 | 87264.00 | 174528.00 | 60000.00 | Vindhya Enviro Group
268.00 | UPVC piping (Sch 80) - For all Liquid Piping (As per the direction of EIC) including PVC air grid for EQT (Approx qty.-100 mtr.) | 2.00 | Lot |  | 40000.00 | 80000.00 | 200000.00 | 400000.00 | 250000.00 | 500000.00 | 70700.00 | 141400.00 | 80000.00 | Vindhya Enviro Group
269.00 | Dismantling of All Piping including lifting, cutting, grinding, breaking etc. complete as required | 2.00 | Lot |  | 10000.00 | 20000.00 | 50000.00 | 100000.00 | 25000.00 | 50000.00 | 50.00 | 100.00 | 100.00 | M/s SOM Engineering Works
270.00 | MBBR Media Supply, installation, testing and commissioning of MBBR hexagonal cylindrical media. The media shall be enough for proper functioning of STP. [MBBR System to be in two reactors] The surface area should be minimum 450 m2/m3 | 2.00 | Lot |  | 70000.00 | 140000.00 | 200000.00 | 400000.00 | 574000.00 | 1148000.00 | 681750.00 | 1363500.00 | 140000.00 | Vindhya Enviro Group
271.00 | Tube Deck Media Supply, installation, testing and commissioning of PVC tube deck settling media to be installed in Tube Settler Tank along with retainer plates and suitable sludge removal arrangement either by pumps or any other suitable arrangement. Capacities, length, width, depth, of the media shall be enough for proper functioning of STP. | 2.00 | Lot |  | 60000.00 | 120000.00 | 200000.00 | 400000.00 | 353276.00 | 706552.00 | 95950.00 | 191900.00 | 120000.00 | Vindhya Enviro Group
272.00 | Dismantling of MBBR MEDIA and diffuser with other accessories and including lifting, cutting, grinding, breaking etc. complete as required | 2.00 | Lot |  | 8000.00 | 16000.00 | 15000.00 | 30000.00 | 50000.00 | 100000.00 | 50.00 | 100.00 | 100.00 | M/s SOM Engineering Works
273.00 | Supply, installation, testing and commissioning of LAMELLA settling media to be installed in Settler Tank along with retainer plates and suitable sludge removal arrangement either by pumps or any other suitable arrangement. Capacities, length, width, depth, of the media shall be enough for proper functioning of STP. | 2.00 | Lot |  | 100000.00 | 200000.00 | 200000.00 | 400000.00 | 649656.00 | 1299312.00 | 5050.00 | 10100.00 | 10100.00 | M/s SOM Engineering Works
274.00 | Centrifuge Feed Pump-Positive displacement type Screw pumps Capacity: 3 m3/hr Head:40-45 mtr Head Quantity-2 Nos(1W+1S) MOC-CI | 2.00 | set |  | 200000.00 | 400000.00 | 140000.00 | 280000.00 | 175000.00 | 350000.00 | 40400.00 | 80800.00 | 80800.00 | M/s SOM Engineering Works
275.00 | Dismantling of Centrifuge Feed Pump with other accessories and including lifting, cutting, grinding, breaking etc. complete as required | 2.00 | set |  | 8000.00 | 16000.00 | 7000.00 | 14000.00 | 5000.00 | 10000.00 | 50.00 | 100.00 | 100.00 | M/s SOM Engineering Works
276.00 | BASKET CENTRIFUGE Providing & Fixing Basket Type Centrifuge having basket dia of 36" and capacity 2 Cum/Hr with suitable motor complete as required. | 1.00 | Set |  | 600000.00 | 600000.00 | 500000.00 | 500000.00 | 829500.00 | 829500.00 | 696900.00 | 696900.00 | 500000.00 | GLOBAL TECH SERVICES
277.00 | Dismantling of Basket Centrifuge with other accessories and including lifting, cutting, grinding, breaking etc. complete as required | 1.00 | Set |  | 10000.00 | 10000.00 | 10000.00 | 10000.00 | 25000.00 | 25000.00 | 50.00 | 50.00 | 50.00 | M/s SOM Engineering Works
278.00 | Supply, installation, testing & commissioning of Hydrualic FILTER PRESS 36"x36" size plate 18 nos. with other accessories complete as required. | 1.00 | Set |  | 1000000.00 | 1000000.00 | 600000.00 | 600000.00 | 525938.00 | 525938.00 | 5050.00 | 5050.00 | 5050.00 | M/s SOM Engineering Works
279.00 | Dismantling of Clarifier motor with mechanical scrapper and gear box with other accessories and including lifting, cutting, grinding, breaking etc. complete as required | 2.00 | Set |  | 20000.00 | 40000.00 | 20000.00 | 40000.00 | 25000.00 | 50000.00 | 50.00 | 100.00 | 100.00 | M/s SOM Engineering Works
280.00 | ULTRA VIOLET SYSTEM DOMESTIC TERMINAL FLUSHING
281.00 | Supply, installation, testing & commissioning of Ultraviolet system with intensity monitor and control panel etc. complete as required. Capacity:30 m3/hr MOC-SS 316 | 1.00 | Nos |  | 500000.00 | 500000.00 | 400000.00 | 400000.00 | 850000.00 | 850000.00 | 142301.00 | 142301.00 | 142301.00 | M/s SOM Engineering Works
282.00 | Dismantling of Ultra Violet System with other accessories for domestic terminal flushing and including lifting, cutting, grinding, breaking etc. complete as required | 2.00 | Nos |  | 10000.00 | 20000.00 | 5000.00 | 10000.00 | 10000.00 | 20000.00 | 50.00 | 100.00 | 100.00 | M/s SOM Engineering Works
283.00 | ULTRA VIOLET SYSTEM INTERNATIONAL SUPPLY
284.00 | Supply, installation, testing & commissioning of Ultraviolet system with intensity monitor and control panel etc. complete as required. Capacity:6 m3/hr MOC-SS 316 | 1.00 | Nos |  | 400000.00 | 400000.00 | 300000.00 | 300000.00 | 325000.00 | 325000.00 | 56070.00 | 56070.00 | 56070.00 | M/s SOM Engineering Works
285.00 | Dismantling of Ultra Violet System with other accessories for international supply and including lifting, cutting, grinding, breaking etc. complete as required | 2.00 | Nos |  | 10000.00 | 20000.00 | 5000.00 | 10000.00 | 10000.00 | 20000.00 | 50.00 | 100.00 | 100.00 | M/s SOM Engineering Works
286.00 | Supply & installation, testing and commissioning of chlorine dosing system (for sewage treatment plant) consisting of one HDPE tank of 200 litres capacity with a positive displacement diaphragm dosing pump having variable flow rate of 0-12 lph @4kg/sqcm. The motor shall be suitable for operation at 240 V/Single phase/50 Hz. Supply. The pump shall be supplied complete with necessary polypropylene piping, valves, strainers, low level switch and injection fittings etc. complete as required | 2.00 | Set |  | 200000.00 | 400000.00 | 70000.00 | 140000.00 | 300000.00 | 600000.00 | 30300.00 | 60600.00 | 60600.00 | M/s SOM Engineering Works
287.00 | Dismantling of Chlorine Dosing Systems with other accessories and including lifting, cutting, grinding, breaking etc. complete as required | 2.00 | Set |  | 5000.00 | 10000.00 | 3000.00 | 6000.00 | 5000.00 | 10000.00 | 50.00 | 100.00 | 100.00 | M/s SOM Engineering Works
288.00 | ELECTRICAL EQUIPMENT
289.00 | ELECTRICAL PANEL Necessary Modification in MCC Panel along with changes of electrical component with necessary from control, power wiring, cooling fan, VFD necessary modification with RS 485 port for monitoring of basic parameters including Epoxy painting etc. complete as required and complete and as per direction and complete satisfaction of the Engineer in Charge. | 2.00 | Job |  | 300000.00 | 600000.00 | 450000.00 | 900000.00 | 300000.00 | 600000.00 | 98980.00 | 197960.00 | 197960.00 | M/s SOM Engineering Works
290.00 | ELECTRICAL WIRING Supply & installation of Electrical Cable, Cable Trays, Earthing Strip, Earthing Wire etc complete as required to make the old system running. | 1.00 | Job |  | 100000.00 | 100000.00 | 1000000.00 | 1000000.00 | 150000.00 | 150000.00 | 98980.00 | 98980.00 | 98980.00 | M/s SOM Engineering Works
291.00 | ONLINE MONITORING SYSTEMS Overall Size-3000X400X150 mm Mounting: Wall/Panel Supply:12 V DC Enclosure:ABS Weatherproof IP 65 Display:20*4 Graphic Display Inputs: 6 Switch Inputs Inbuilt Sensor For TDS,TSS,BOD,COD,TURBIDITY,PH,CHLORINE Outputs: Sampling Valves(Potential Free C,No) Alarm(Potential Free C,No) | 1.00 | set |  | 2000000.00 | 2000000.00 | 1700000.00 | 1700000.00 | 969500.00 | 969500.00 | 808000.00 | 808000.00 | 808000.00 | M/s SOM Engineering Works
292.00 | DOMESTIC FLUSHING SUPPLY Supply, installation testing & commissioning 2 nos Vertical multistage inline pump (SS 304 Impeller & chamber) with 7.5 kw IE3 efficiency motor, advance control panel with 2 VFD & MODBUS for BMS, Common Base fram,CED coated MS Suction & Discharge Manifold, Valves, Pressure Transmitter, Pressure Gauge & 300 LTR PN 10 Pressure tank etc. complete as required. Capacity-27m3/hr Head-60mtr Quantity-2 Nos (1W+1S) | 2.00 | Set |  | 205000.00 | 410000.00 | 1000000.00 | 2000000.00 | 375000.00 | 750000.00 | 898900.00 | 1797800.00 | 410000.00 | Vindhya Enviro Group
293.00 | Dismantling of Domestic flushing Supply with panel and other accessories including lifting, cutting, grinding, breaking etc. complete as required. | 2.00 | Set |  | 10000.00 | 20000.00 | 30000.00 | 60000.00 | 5000.00 | 10000.00 | 50.00 | 100.00 | 100.00 | M/s SOM Engineering Works
294.00 | INTERNATIONAL FLUSHING SYSTEM
295.00 | Supply, installation testing & commissioning 2 nos Vertical multistage inline pump (SS 304 Impeller & chamber) with 2.2 kw IE3 efficiency motor, advance control panel with 2 VFD & MODBUS for BMS ,Common Base fram,CED coated MS Suction & Discharge Manifold, Valves, Pressure Transmitter, Pressure Gauge & 300 LTR PN 10 Pressure tank etc. complete as required. Capacity-3.9m3/hr Head-80mtr Quantity-2 Nos(1W+1S) | 1.00 | Set |  | 200000.00 | 200000.00 | 600000.00 | 600000.00 | 475000.00 | 475000.00 | 555500.00 | 555500.00 | 200000.00 | Vindhya Enviro Group
296.00 | Dismantling of International Flushing Systems with panel and other accessories including lifting, cutting, grinding, breaking etc. complete as required. | 1.00 | Set |  | 8000.00 | 8000.00 | 30000.00 | 30000.00 | 20000.00 | 20000.00 | 50.00 | 50.00 | 50.00 | M/s SOM Engineering Works
297.00 | GARDENING WATER SUPPLY SYSTEMS Supply, installation testing & commissioning 2 nos Vertical multistage inline pump (SS 304 Impeller & chamber) with 2.2 kw IE3 efficiency motor, advance control panel with 2 VFD & MODBUS for BMS ,Common Base fram,CED coated MS Suction & Discharge Manifold, Valves, Pressure Transmitter & Pressure Gauge & 300 LTR PN 10 Pressure tank etc. complete as required. Capacity-3.9m3/hr Head-80mtr Quantity-2 Nos(1W+1S) with 1 nos panel each set | 1.00 | Set |  | 230000.00 | 230000.00 | 600000.00 | 600000.00 | 475000.00 | 475000.00 | 555500.00 | 555500.00 | 230000.00 | Vindhya Enviro Group
298.00 | Dismantling of Gardening Water Supply Systems with panel and other accessories including lifting, cutting, grinding, breaking etc. complete as required. | 1.00 | Set |  | 10000.00 | 10000.00 | 30000.00 | 30000.00 | 20000.00 | 20000.00 | 50.00 | 50.00 | 50.00 | M/s SOM Engineering Works
299.00 | SOFT WATER SUPPLY SYSTEMS
300.00 | Supply, installation testing & commissioning 2 nos Vertical multistage inline pump (SS 304 Impeller & chamber) with 15 kw IE3 efficiency motor, advance control panel with 2 VFD & MODBUS for BMS ,Common Base fram,CED coated MS Suction & Discharge Manifold, Valves, Pressure Transmitter, Pressure Gauge & 450 LTR PN 10 Pressure tank etc. complete as required. Capacity-64.8m3/hr Head-54mtr Quantity-2 Nos(1W+1S) | 2.00 | Set |  | 250000.00 | 500000.00 | 1000000.00 | 2000000.00 | 475000.00 | 950000.00 | 1196850.00 | 2393700.00 | 500000.00 | Vindhya Enviro Group
301.00 | Dismantling of Soft Water Supply Systems with panel and other accessories including lifting, cutting, grinding, breaking etc. complete as required. | 2.00 | Set |  | 10000.00 | 20000.00 | 30000.00 | 60000.00 | 20000.00 | 40000.00 | 50.00 | 100.00 | 100.00 | M/s SOM Engineering Works
302.00 | De Watering (Drainage) Pump for STP
303.00 | Supply of Monoblock dry motor submersible pumps with non clog free flow open impeller suitable for operation on single phase,50Hz 230+/-5 volts AC supply including oil chamber, guide wire for lifting & lowering of pump, Lifting Chain etc. including all necessary accessories complete as required in compliance to the SCC & GCC and as per direction and complete satisfaction of the Engineer in charge. Capacity-12m3/hr Head-12mtr Quantity-2 Nos(1W+1S) | 2.00 | Set |  | 200000.00 | 400000.00 | 250000.00 | 500000.00 | 575000.00 | 1150000.00 | 61456.00 | 122912.00 | 122912.00 | M/s SOM Engineering Works
304.00 | Dismantling of De Watering (Drainage) Pump with panel and other accessories including lifting, cutting, grinding, breaking etc. complete as required. | 2.00 | Set |  | 5000.00 | 10000.00 | 10000.00 | 20000.00 | 5000.00 | 10000.00 | 50.00 | 100.00 | 100.00 | M/s SOM Engineering Works
305.00 | Supply, installation, testing & commissioning of online digital Flow meter with recording & monitoring device and other necessary equipment as required of INLET & OUTLET of STP plant having suitable up to 200 mm dia pipe. | 4.00 | Nos |  | 150000.00 | 600000.00 | 200000.00 | 800000.00 | 325000.00 | 1300000.00 | 63613.00 | 254452.00 | 254452.00 | M/s SOM Engineering Works
306.00 | Dismantling of online digital Flow meter INLET & OUTLET of STP plant with other accessories including lifting, cutting, grinding, breaking etc. complete as required. | 4.00 | Nos |  | 5000.00 | 20000.00 | 5000.00 | 20000.00 | 5000.00 | 20000.00 | 50.00 | 200.00 | 200.00 | M/s SOM Engineering Works
307.00 | Supplying, fabrication & installation of 24SWG GI exhaust air duct with necessary accessories complete as required | 250.00 | Sqmt. |  | 1200.00 | 300000.00 | 800.00 | 200000.00 | 500.00 | 125000.00 | 303.00 | 75750.00 | 75750.00 | M/s SOM Engineering Works
308.00 | Supply, installation, testing commissioning of Interconnecting Pipework-Mild steel with epoxy paint 1239 Class B with other accessories complete as required. | 35.00 | RM |  | 800.00 | 28000.00 | 900.00 | 31500.00 | 200.00 | 7000.00 | 550.00 | 19250.00 | 7000.00 | KAKOLIL TRADE AGENCIES
| Total in Figures |  |  |  |  | 38023500.00 |  | 45294330.00 |  | 48938482.00 |  | 38306669.00
Lowest Amount Quoted BY: Vindhya Enviro Group(38023500.00)

## BOQ Summary
BOQ Summary Details Tender Title: R and M Other Electrical Works at NSCBI Airport, Kolkata SH Operation and Day to Day Maintenance of Sewage Treatment Plant (STP) and Carpark sewage sump pumps i/c renovation works at NSCBI Airport, Kolkata. Tender ID: 2024_AAI_214197_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Vindhya Enviro Group (BID ID -775667) | 38023500.00 | L1
| 2 | M/s SOM Engineering Works (BID ID -776205) | 38306669.00 | L2
| 3 | GLOBAL TECH SERVICES (BID ID -784466) | 45294330.00 | L3
| 4 | KAKOLIL TRADE AGENCIES (BID ID -787159) | 48938482.00 | L4