## BoQ1
Government eProcurement System Created By: Nabam Ajay Created Date/Time: 20-Feb-2025 01:11 PM Tender Title: CONSTRUCTION OF PERIMETER ROAD, DRAIN AND SITE DEVELOPMENT, LANDSCAPING INCLUDING ASSOCIATED ELECTRICAL WORKS ON THE 06 ACRES (APPROX.) LAND POSSESSED FROM FOREST DEPT. OF GOVT OF ASSAM (2nd Call) Tender ID: 2024_AAI_214491_2
Tender Inviting Authority: SM (E-C), Donyi Polo Airport, Itanagar
Name of Work:CONSTRUCTION OF PERIMETER ROAD, DRAIN AND SITE DEVELOPMENT, LANDSCAPING INCLUDING ASSOCIATED ELECTRICAL WORKS ON THE 06 ACRES (APPROX.) LAND POSSESSED FROM FOREST DEPT. OF GOVT OF ASSAM (2nd Call)
Contract No: 2024_AAI_214491_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/S RINYA YANGFO COSTRUCTION (GSTN-12BWTPD7014B1Z0) BID ID -810850 |  | M/s Zeliezhu and Sons (GSTN-NA) BID ID -810971 |  | M/s Anjali Enterprise (GSTN-NA) BID ID -810232
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | CIVIL WORKS Construction of subgrade and earthen shoulders with approved material obtained from borrow pits with all lifts & leads, transporting to site, spreading, grading to required slope and compacted to meet requirement of table No. 300-2 | 25453.10 | cum | 1.25 | 350.00 | 8908585.00 | 445.00 | 11326629.50 | 303.00 | 7712289.30 | 7712289.30 | M/s Anjali Enterprise
2.00 | Clearing jungle including uprooting of rank vegetation, grass, brush wood, trees and saplings of girth up to 30 cm measured at a height of 1 m above ground level and removal of rubbish up to a distance of 50 m outside the periphery of the area cleared. | 24276.00 | sqm | 2.25 | 3.00 | 72828.00 | 102.00 | 2476152.00 | 6.00 | 145656.00 | 72828.00 | M/S RINYA YANGFO COSTRUCTION
3.00 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level :1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 6.88 | cum | 3.25 | 10105.00 | 69522.40 | 8000.00 | 55040.00 | 8300.00 | 57104.00 | 55040.00 | M/s Zeliezhu and Sons
4.00 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement :1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 1.92 | cum | 4.25 | 10800.00 | 20736.00 | 8000.00 | 15360.00 | 8900.00 | 17088.00 | 15360.00 | M/s Zeliezhu and Sons
5.00 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 1.44 | cum | 5.25 | 11500.00 | 16560.00 | 8000.00 | 11520.00 | 8900.00 | 12816.00 | 11520.00 | M/s Zeliezhu and Sons
6.00 | Centering and shuttering including strutting, propping etc. and removal of form for:Foundations, footings, bases of columns, etc. for mass concrete (a)Foundations, footings, bases of columns, etc. for mass concrete | 1.20 | sqm | 6.25 | 390.00 | 468.00 | 300.00 | 360.00 | 430.00 | 516.00 | 360.00 | M/s Zeliezhu and Sons
7.00 | Centering and shuttering including strutting, propping etc. and removal of form for:Foundations, footings, bases of columns, etc. for mass concrete(b)Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. | 38.40 | sqm | 7.25 | 840.00 | 32256.00 | 300.00 | 11520.00 | 725.00 | 27840.00 | 11520.00 | M/s Zeliezhu and Sons
8.00 | Centering and shuttering including strutting, propping etc. and removal of form for:Foundations, footings, bases of columns, etc. for mass concrete(c)Suspended floors, roofs, landings, balconies and access platform | 28.80 | sqm | 8.25 | 390.00 | 11232.00 | 300.00 | 8640.00 | 740.00 | 21312.00 | 8640.00 | M/s Zeliezhu and Sons
9.00 | Steel reinforcement for R.C.C. work including straightening, cutting,bending, placing in position and binding all complete upto plinth level. i) Thermo-Mechanically Treated bars of grade Fe-500D or more. | 791.20 | kg | 9.25 | 107.00 | 84658.40 | 100.00 | 79120.00 | 122.00 | 96526.40 | 79120.00 | M/s Zeliezhu and Sons
10.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. i)Thermo-Mechanically Treated bars of grade Fe-500D or more. | 386.40 | kg | 10.25 | 107.00 | 41344.80 | 100.00 | 38640.00 | 122.00 | 47140.80 | 38640.00 | M/s Zeliezhu and Sons
11.00 | 6 mm cement plaster of mix :1:3 (1 cement : 3 fine sand) | 30.00 | sqm | 11.25 | 300.00 | 9000.00 | 300.00 | 9000.00 | 460.00 | 13800.00 | 9000.00 | M/S RINYA YANGFO COSTRUCTION, M/s Zeliezhu and Sons
12.00 | 15 mm cement plaster on rough side of single or half brick wall of mix:1:4 (1 cement: 4 coarse sand) | 28.80 | sqm | 12.25 | 390.00 | 11232.00 | 350.00 | 10080.00 | 570.00 | 16416.00 | 10080.00 | M/s Zeliezhu and Sons
13.00 | 12 mm cement plaster of mix :1:4 (1 cement: 4 coarse sand) | 28.80 | sqm | 13.25 | 450.00 | 12960.00 | 400.00 | 11520.00 | 510.00 | 14688.00 | 11520.00 | M/s Zeliezhu and Sons
14.00 | Construction of granular sub-base by providing close graded Material conforming to specifications, mixing in a mechanical mix plant at OMC, carriage of mixed material by tippers to work site, for all leads & lifts, spreading in uniform layers of specified thickness with motor grader on prepared surface and compacting with vibratory power roller to achieve the desired density, complete as per specifications and directions of Engineer-in-Charge.With material conforming to Grade-II (size range 53 mm to 0.075 mm ) having CBR Value-25 | 265.63 | cum | 14.25 | 2900.00 | 770327.00 | 3000.00 | 796890.00 | 3030.00 | 804858.90 | 770327.00 | M/S RINYA YANGFO COSTRUCTION
15.00 | Construction of dry lean cement concrete sub base over a prepared sub-grade with coarse and fine aggregate conforming to IS:383, the size of coarse aggregate not exceeding 25 mm, aggregate cement ratio not to exceed 15:1, aggregate gradation after blending to be as per specifications, cement content not to be less than 150 Kg/cum, optimum moisture content to be determined during trial length construction, concrete strength not to be less than 10 Mpa at 7 days, mixed in a batching plant, transported to site, for all leads & lifts, laid with a mechanical paver, compacting with 8-10 tonne vibratory roller, finishing and curing etc. complete as per direction of Engineerin-charge. | 148.75 | cum | 15.25 | 4100.00 | 609875.00 | 5500.00 | 818125.00 | 4000.00 | 595000.00 | 595000.00 | M/s Anjali Enterprise
16.00 | Providing and laying design mix cement concrete of M-35 grade, in roads/taxi tracks/ runways, using cement content as per design mix, using coarse sand and graded stone aggregate of 40 mm nominal size in appropriate proportions as per approved & specified design criteria, providing dowel bars with sleeve/ tie bars wherever required, laying at site, spreading and compacting mechanically by using needle and surface vibrators, levelling to required slope/ camber, finishing with required texture, including steel form work with sturdy M.S. channel sections, curing, making provision for contraction/ expansion, construction & longitudinal joints (10 mm wide x 50 mm deep) by groove cutting machine, providing and filling joints with approved joint filler and sealants, complete all as per direction of Engineerin- charge (Item of joint fillers, sealants, dowel bars with sleeve/ tie bars to be paid separately). Note:- Cement content considered in M-35 is @ 360 kg/cum. Excess/ less cement used as per design mix is payable/ recoverable separately. a) Cement concrete prepared with batch mixing machine | 297.50 | CUM | 16.25 | 11000.00 | 3272500.00 | 11500.00 | 3421250.00 | 9400.00 | 2796500.00 | 2796500.00 | M/s Anjali Enterprise
17.00 | Providing and fixing pre-moulded joint filler in expansion joints of RCC roads / CC pavements after making the joints dust free with high pressure air jet cleaners, all complete as per direction of the Engineer-in-Charge. (Pre-moulded joint fillers shall be made of bitumen hot sealing compound impregnated fibre board having impregnation more than 35%, conforming to IS:1838 for fibre board and IS: 1834 for hot sealing bitumen compound grade A.) | 875.00 | per cm depth per cm width per metre length | 17.25 | 10.00 | 8750.00 | 350.00 | 306250.00 | 50.00 | 43750.00 | 8750.00 | M/S RINYA YANGFO COSTRUCTION
18.00 | Providing and filling in position rubberized bitumen hot sealing compound for sealing of expansion joints in roads / pavements all complete as per direction of the Engineer-in-Charge. a)Providing and filling in position rubberized bitumen hot sealing compound for sealing of expansion joints in roads / pavements all complete as per direction of the Engineer-in-Charge. | 385.00 | per cm depth per cm width per metre length | 18.25 | 10.00 | 3850.00 | 240.00 | 92400.00 | 50.00 | 19250.00 | 3850.00 | M/S RINYA YANGFO COSTRUCTION
19.00 | Providing and fixing concertina coil fencing with punched tape concertina coil 600 mm dia 10 metre openable length ( total length 90 m), having 50 nos rounds per 6 metre length, upto 3 m height of wall with existing angle iron ‘Y’ shaped placed 2.4m or 3.00 m apart and with 9 horizontal R.B.T. reinforced barbed wire, stud tied with G.I. staples and G.I. clips to retain horizontal, including necessary bolts or G.I. barbed wire tied to angle iron, all complete as per direction of Engineer-in-charge, with reinforced barbed tape(R.B.T.) / Spring core (2.5 mm thick) wire of high tensile strength of 165 kg/ sq. mm with tape (0.52 mm thick) and weight 43.478 gm/ metre (cost of M.S. angle, C.C. blocks shall be paid separately) | 20.00 | metre | 19.25 | 450.00 | 9000.00 | 950.00 | 19000.00 | 300.00 | 6000.00 | 6000.00 | M/s Anjali Enterprise
20.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5m, as directed by Engineer-in-charge. | 1093.10 | cum | 20.25 | 170.00 | 185827.00 | 180.00 | 196758.00 | 220.00 | 240482.00 | 185827.00 | M/S RINYA YANGFO COSTRUCTION
21.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 316.20 | cum | 21.25 | 8000.00 | 2529600.00 | 6500.00 | 2055300.00 | 8100.00 | 2561220.00 | 2055300.00 | M/s Zeliezhu and Sons
22.00 | Neat Cement punning | 2065.50 | Sqm | 22.25 | 45.00 | 92947.50 | 120.00 | 247860.00 | 65.00 | 134257.50 | 92947.50 | M/S RINYA YANGFO COSTRUCTION
23.00 | Structural steel work in single section, fixed with or without connecting plate, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 200.00 | kg | 23.25 | 120.00 | 24000.00 | 190.00 | 38000.00 | 120.00 | 24000.00 | 24000.00 | M/s Anjali Enterprise, M/S RINYA YANGFO COSTRUCTION
24.00 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 135.00 | Cum | 24.25 | 2600.00 | 351000.00 | 70.00 | 9450.00 | 1650.00 | 222750.00 | 9450.00 | M/s Zeliezhu and Sons
25.00 | Extra for cutting reinforcement bars manually/ by mechanical means in R.C.C. or R.B. work (Payment shall be made on the cross sectional area of R.C.C. or R.B. work) as per direction of Engineerin- charge. | 54.00 | Sqm | 25.25 | 940.00 | 50760.00 | 65.00 | 3510.00 | 1100.00 | 59400.00 | 3510.00 | M/s Zeliezhu and Sons
26.00 | Demolishing CC block work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge.In cement mortar | 281.25 | Cum | 26.25 | 1500.00 | 421875.00 | 6.00 | 1687.50 | 1400.00 | 393750.00 | 1687.50 | M/s Zeliezhu and Sons
27.00 | Dismantling steel work in single sections including dismembering and stacking within 50 metres lead in:Channels, angles, tees and flats | 540.00 | Kgs | 27.25 | 5.00 | 2700.00 | 25.00 | 13500.00 | 30.00 | 16200.00 | 2700.00 | M/S RINYA YANGFO COSTRUCTION
28.00 | Dismantling barbed wire or flexible wire rope in fencing including making rolls and stacking within 50 metres lead. | 500.00 | Kgs | 28.25 | 35.00 | 17500.00 | 10.00 | 5000.00 | 25.00 | 12500.00 | 5000.00 | M/s Zeliezhu and Sons
29.00 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | 416.25 | Cum | 29.25 | 200.00 | 83250.00 | 150.00 | 62437.50 | 270.00 | 112387.50 | 62437.50 | M/s Zeliezhu and Sons
30.00 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade: i) New work (Two or more coats applied @ 1.43 ltr/10 sqm over and including priming coat of exterior primer applied @ 0.90 litre/10 sqm) | 50.00 | Sqm | 30.25 | 160.00 | 8000.00 | 150.00 | 7500.00 | 161.00 | 8050.00 | 7500.00 | M/s Zeliezhu and Sons
31.00 | Grassing with ' Doobs' Grass (Grassing with 'Doobs' grass including watering and maintenance of the lawn for 30 days or more till the grass forms a thick lawn free from weeds and fit for moving including supplying good earth if needed):- In rows 15 cm apart in either direction | 18368.59 | Sqm | 31.25 | 31.00 | 569426.29 | 60.00 | 1102115.40 | 75.00 | 1377644.25 | 569426.29 | M/S RINYA YANGFO COSTRUCTION
32.00 | ELECTRICAL WORKS Supply of following size ISI marked XLPE insulated, PVC sheathed aluminium conductor armoured power cable of 1.1KV grade confirming to IS 7098 with upto date amendments etc as required. 4CX10 Sq mm. | 500.00 | Metre | 32.25 | 600.00 | 300000.00 | 180.00 | 90000.00 | 435.00 | 217500.00 | 90000.00 | M/s Zeliezhu and Sons
33.00 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS16098 (Part 2) : 2013 complete with fitting and cutting, jointing etc. in the existing trench complete as required.50 mm dia ( OD-50mm & ID-38 mm nominal) | 500.00 | Metre | 33.25 | 300.00 | 150000.00 | 350.00 | 175000.00 | 135.00 | 67500.00 | 67500.00 | M/s Anjali Enterprise
34.00 | Laying of one number PVC insulated and PVC sheathed/ XLPE power cable of 1.1 KV grade of following size in th existing RCC/ HUME/ METAL/DWC pipe as required.Upto 35 sq. Mm | 500.00 | Metre | 34.25 | 57.00 | 28500.00 | 300.00 | 150000.00 | 65.00 | 32500.00 | 28500.00 | M/S RINYA YANGFO COSTRUCTION
35.00 | Excavation for cable trenches in soft soil, depth upto 1.2 m (75 cm depth) including dressing of sides lift upto 1.5 m, including getting out the excavated soil, refilling with sand and or good soil after laying of cable/ pipe etc in layers of 20 cm, ramming, watering and disposal of surplus excavated soil as directed, within a lead of 50 meters. | 131.25 | Cu Mtr | 35.25 | 654.00 | 85837.50 | 300.00 | 39375.00 | 280.00 | 36750.00 | 36750.00 | M/s Anjali Enterprise
36.00 | Earthing with G.I. earth pipe 4.5 meter long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required. | 3.00 | Each | 36.25 | 6855.00 | 20565.00 | 5000.00 | 15000.00 | 18100.00 | 54300.00 | 15000.00 | M/s Zeliezhu and Sons
37.00 | Providing and laying earth connection from earth electrode with 6 SWG dia G.I. Wire in 15 mm dia G.I. pipe from earth electrode including connection with G.I. thimble excavation and re-filling as required. | 6.00 | Metre | 37.25 | 287.00 | 1722.00 | 600.00 | 3600.00 | 480.00 | 2880.00 | 1722.00 | M/S RINYA YANGFO COSTRUCTION
38.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing along with existing surface /recessed conduit /submain wiring/ cable as required. | 500.00 | Metre | 38.25 | 42.00 | 21000.00 | 650.00 | 325000.00 | 43.00 | 21500.00 | 21000.00 | M/S RINYA YANGFO COSTRUCTION
39.00 | Dismantling of existing 3 Mtr. long street light pole along with bracket , LED Light and other electrical components like MCB , flexible cable , Connector etc. after proper disconnection of input power supply and shifting to the store/new location of installation as per the instruction of Engineeer in charge. | 17.00 | Nos | 39.25 | 2500.00 | 42500.00 | 3000.00 | 51000.00 | 2000.00 | 34000.00 | 34000.00 | M/s Anjali Enterprise
40.00 | Dismantling of existing 5 Mtr. long street light pole along with bracket , LED Light and other electrical components like MCB , flexible cable , Connector etc. after proper disconnection of input power supply and shifting to the store/new location of installation as per the instruction of Engineeer in charge. | 3.00 | Nos | 40.25 | 2500.00 | 7500.00 | 3000.00 | 9000.00 | 4800.00 | 14400.00 | 7500.00 | M/S RINYA YANGFO COSTRUCTION
41.00 | Installation , testing and commissioning of the dismantled 3 Mtr. long single bracket LED Light pole on the new foundation along with fixing of all electrical components like MCB , flexible cable , Connectors and necessary termination of cable using suitable lugs,making all electrical connections complete as required. includingBuilding of casting PCC foundation of minimum grade 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20mm nominal size) suitable for 3 Mtr. height straight octagonal street light pole with single bracket. All accessories viz. anchor plate & foundation bolts matching with the existing pole base plate , 50 mm ( OD) dia HDPE (for loop in & loop out cable from ground upto Junction Box of pole ) to be installed properly. Necessary excavation & refilling of foundation pit complete as required and as per site conditions. | 17.00 | Nos | 41.25 | 25000.00 | 425000.00 | 3000.00 | 51000.00 | 4850.00 | 82450.00 | 51000.00 | M/s Zeliezhu and Sons
42.00 | Installation , testing and commissioning of the dismantled 5 Mtr. long single bracket LED Light pole on the new foundation along with fixing of all electrical components like MCB , flexible cable , Connectors and necessary termination of cable using suitable lugs,making all electrical connections complete as required. includingBuilding of casting PCC foundation of minimum grade 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20mm nominal size) suitable for 5 Mtr. height straight octagonal street light pole with single bracket. All accessories viz. anchor plate & foundation bolts matching with the existing pole base plate , 50 mm ( OD) dia HDPE (for loop in & loop out cable from ground upto Junction Box of pole ) to be installed properly. Necessary excavation & refilling of foundation pit complete as required and as per site conditions. | 3.00 | Nos | 42.25 | 35000.00 | 105000.00 | 5000.00 | 15000.00 | 7700.00 | 23100.00 | 15000.00 | M/s Zeliezhu and Sons
| Total in Figures |  |  |  |  | 19490194.89 |  | 24174589.90 |  | 18198072.65
Lowest Amount Quoted BY: M/s Anjali Enterprise(18198072.65)

## BOQ Summary
BOQ Summary Details Tender Title: CONSTRUCTION OF PERIMETER ROAD, DRAIN AND SITE DEVELOPMENT, LANDSCAPING INCLUDING ASSOCIATED ELECTRICAL WORKS ON THE 06 ACRES (APPROX.) LAND POSSESSED FROM FOREST DEPT. OF GOVT OF ASSAM (2nd Call) Tender ID: 2024_AAI_214491_2
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s Anjali Enterprise (BID ID -810232) | 18198072.65 | L1
| 2 | M/S RINYA YANGFO COSTRUCTION (BID ID -810850) | 19490194.89 | L2
| 3 | M/s Zeliezhu and Sons (BID ID -810971) | 24174589.90 | L3