## BoQ1
Government eProcurement System Created By: TANSUKH TANSUKH Created Date/Time: 18-Dec-2024 01:11 PM Tender Title: SITC of Tyre Killers, Electro hydraulic Bollards and Boom Barriers at Kishangarh Airport, Ajmer. Tender ID: 2024_AAI_214869_1
Tender Inviting Authority: Asstt. Gen. Manager (Engg-E), Kishangarh Airport, Ajmer-305801
Name of Work: SITC of Tyre Killers, Electro-hydraulic Bollards and Boom Barriers at Kishangarh Airport, Ajmer.
Contract No: 2022_AAI_214869_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Neptune Automatic Pvt. Ltd. (GSTN-09AAACF9142P2Z2) BID ID -778576 |  | Brosis International (GSTN-03AKGPM8732K1ZY) BID ID -781603 |  | S Aditya Impex Pvt Ltd (GSTN-06AAECS4255N1Z0) BID ID -781740 |  | FORTUNA CONTROL AND AUTOMATIONS PVT LTD (GSTN-NA) BID ID -776410 |  | Swaraj Secutech Pvt Ltd (GSTN-NA) BID ID -781589
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, Installation, Testing and Commissioning of Electro Mechanical boom barrier system with boom made of SS/ Aluminium with high quality reflective strips having 4.0 meter length suitable to work on 230V(1-Phase) /415V(3-Phase) +/- 5%, 50Hz AC supply with 100% duty cycle consisting of driver cum control unit in dust and water resistant housing of IP 65 protection with provision of manual operation in case of power failure, fixed support bar, control circuits, limit switch adjustment, push button, signalling light safe beam photo electric sensor, loop detectors, flashing lights, Control Panel,remote control, cables including all accessories, laying of remote/ control (if required) cables in suitable HDPE/ DWC/ GI Pipes (upto 30 Meter), connections,interconnections, civil foundation work including excavation of existing PQC/ Bitumen road (at required depth as per site conditions) and making good after installation etc complete as per manufacturer recommendation or as directed by Engineer-In-charge. | 4.00 | Job | 100.00 | 58200.00 | 232800.00 | 75000.00 | 300000.00 | 85000.00 | 340000.00 | 75000.00 | 300000.00 | 76000.00 | 304000.00 | 232800.00 | Neptune Automatic Pvt. Ltd.
2.00 | Supply, installation, testing & commissioning of High impact resistance Crash rated electro hydraulic bollard system made out of mild/stainless steel comprising of 6 (Six) Number of bollards in each set suitable to work on Three/Single phase 415/ 230 Volts +/-5%, 50Hz AC supply, consisting of inbuilt hydraulic power unit, PLC based, logic circuit, sensors, loop detectors, push button, driver cum control unit in dust and water resistant housing of IP67 protection, control panel, including switching operation in local and remote location (within 30 mtr) complete as required including all major/minor civil works (excavation of PQC/bitumen road of required depth as per site conditions) and making good after installation, and supplying and laying of HDPE/ DWC/ GI pipes and control cables (upto 30Mtr) comprising of following items and features, all accordance to manufacturer recommendation as specified in technical specifications. i)Height- Minimum-800 mm ii) Bollard diameter- Minimum 275 mm iii) Impact load - Minimum 40 KN iv)Operation time - 5 to 8 sec. max v) Frequency of operation- Minimum 200 full cycles/hr. vi) Manual operations- Integrated hand pump vii) Safety interlock detector viii) Sump drain pump- Single phase Self priming pump ix) Illuminating (LED) unit on top of bollard. x) Control panel- UP/down/stop/middle stop for each position operation & maintenance switch. xi) Operating temp rang- 0 to +55 °C and capable of meeting the weather conditions of Kishangarh Airport (rajasthan). | 1.00 | Job | 100.00 | 2084000.00 | 2084000.00 | 1950000.00 | 1950000.00 | 2400000.00 | 2400000.00 | 2940000.00 | 2940000.00 | 1800000.00 | 1800000.00 | 1800000.00 | Swaraj Secutech Pvt Ltd
3.00 | Supply, Installation, Testing and Commissioning of High impact resistance Electro Hydraulic tyre killer of 6 Mtr. Length with Mild/Stainless Galavanised Steel spikes of minimum dimension 450X10 mm (length x thickness) at an angle of 60°and gap between the spikes measured from the centre of the spikes shall be between 100 mm to 200 mm suitable to work on Three/ Single phase 415/230 Volts +/-5%, 50 Hz AC supply consisting of Tyre killer operating on hydraulic power system with operation time between 2 to 3 second made up of heavy duty tampered steel spikes for destroying tyres suspension and axle of a vehicle able to bear axle load of minimum 25 tons of a moving vehicle and shall be capable of performing at least 200 full cycles per hour and also having manual operation through hand pump in case of power failure,stop/go traffic light, PLC based, single control panel for controlling section, including control switching operation in remote location (within 30 Mtr), logic circuit, dust and water resistant housing of IP66 protection with all safety and sensors, loop detectors, push buttons, earthing, civil foundation including excavation of existing PQC/Bitumen road (at required depth as per site conditions) and making good after installation of tyre killers including provision of sump pump of suitable rating to drain accumulated water complete as required and supplying and laying of suitable size HDPE/ DWC/ GI pipes and control cables (upto 30 Mtr), hydraulic system etc as required for complete functioning of tyre killers as per manufacturer recommendation and as specified in technical specifications. | 1.00 | Job | 100.00 | 484000.00 | 484000.00 | 545000.00 | 545000.00 | 700000.00 | 700000.00 | 1200000.00 | 1200000.00 | 515000.00 | 515000.00 | 484000.00 | Neptune Automatic Pvt. Ltd.
4.00 | Design, Fabrication, Supply, installation, testing and commissioning of vermin proof, dust proof, front operated, cubicle type, floor mounted, double door, outdoor LT feeder panel made out of 2 mm thick CRCA sheet duly rust inhibited, powder coated paint, fully compartmentalized complete with double hinged front door with lockable arrangement etc. including necessary iron channel stand of size 50X50X5, depth of leg 3 feet (minimum), CC all around of the panel upto 1 Meter, control wiring, with mechanical interlocking, etc. and having following accessories. INCOMER 2 Nos. 200A 4P MCCB (Ics=Icu=50 KA) with rotary operating mechanism including terminal extension. Each Incomer shall have one set of the following items: Digital Multifunction Meter, suitable for measure Volatge, Current, Energy, frequency, power factor etc.with CT ratio programmable and auto ranging along with suitable range CTs. 1 Set of Indication Lamps, LED type, R,Y,B and MCCB 'ON', and 'OFF' lamps with protection MCBs. BUS COUPLER 1 Nos. 200A 4P MCCB (Ics=Icu=50 KA) with rotary operating mechanism including terminal extension. Bus coupler shall have indication 'ON', and 'OFF' lamps with protection MCBs. BUS BAR 1 Set of 250A TPN Busbars of aluminium alloy. OUTGOING 04 Nos. 63 A TPN MCCB (Ics=Icu=30 KA) with thermal magnetic release. 02 Nos. 32 A TPN MCCB (Ics=Icu=30 KA) with thermal magnetic release. 6 Sets (1 Set for each outgoing) LED type 'ON' and 'OFF' Indication Lamps with protection MCBs. | 2.00 | Job | 100.00 | 340000.00 | 680000.00 | 410000.00 | 820000.00 | 450000.00 | 900000.00 | 300000.00 | 600000.00 | 192000.00 | 384000.00 | 384000.00 | Swaraj Secutech Pvt Ltd
5.00 | Design, Fabrication, Supply, installation, testing and commissioning of vermin proof, dust proof, front operated, cubicle type, floor mounted, double door, outdoor LT feeder panel made out of 2 mm thick CRCA sheet duly rust inhibited, powder coated paint, fully compartmentalized complete with double hinged front door with lockable arrangement etc. including necessary iron channel stand of size 50X50X5, depth of leg 3 feet (minimum), CC all around of the panel upto 1 Meter, control wiring, with mechanical interlocking, etc. and having following accessories. INCOMER 2 Nos. 200A 4P MCCB (Ics=Icu=50 KA) with rotary operating mechanism including terminal extension. Each Incomer shall have one set of the following items: Digital Multifunction Meter, suitable for measure Volatge, Current, Energy, frequency, power factor etc.with CT ratio programmable and auto ranging along with suitable range CTs. 1 Set of Indication Lamps, LED type, R,Y,B and MCCB 'ON', and 'OFF' lamps with protection MCBs. BUS COUPLER 1 Nos. 200A 4P MCCB (Ics=Icu=50 KA) with rotary operating mechanism including terminal extension. Bus coupler shall have indication 'ON', and 'OFF' lamps with protection MCBs. BUS BAR 1 Set of 250A TPN Busbars of aluminium alloy. OUTGOING 02 Nos. 125 A TPN MCCB (Ics=Icu=30 KA) with thermal magnetic release. 02 Nos. 63 A TPN MCCB (Ics=Icu=30 KA) with thermal magnetic release. 4 Sets (1 Set for each outgoing) LED type 'ON' and 'OFF' Indication Lamps with protection MCBs. | 1.00 | Job | 100.00 | 372000.00 | 372000.00 | 385000.00 | 385000.00 | 425000.00 | 425000.00 | 280000.00 | 280000.00 | 192000.00 | 192000.00 | 192000.00 | Swaraj Secutech Pvt Ltd
6.00 | "Supply of 3.5C x 150 Sq.mm size 1.1 KV grade, XLPE insulated and PVC sheathed, FRLS at outer sheath, Aluminium conductor armoured power cable conforming to IS: 7098(Part-1) 1988 with up to date amendments etc. complete as required. | 243.00 | Mtr | 100.00 | 730.00 | 177390.00 | 1900.00 | 461700.00 | 850.00 | 206550.00 | 1150.00 | 279450.00 | 755.00 | 183465.00 | 177390.00 | Neptune Automatic Pvt. Ltd.
7.00 | Supply of 3.5C x 240 Sq.mm size 1.1 KV grade, XLPE insulated and PVC sheathed, FRLS at outer sheath, Aluminium conductor armoured power cable conforming to IS: 7098(Part-1) 1988 with up to date amendments etc. complete as required. | 668.00 | Mtr | 100.00 | 1160.00 | 774880.00 | 2100.00 | 1402800.00 | 1350.00 | 901800.00 | 1870.00 | 1249160.00 | 1220.00 | 814960.00 | 774880.00 | Neptune Automatic Pvt. Ltd.
8.00 | Supply of 4C x 6 Sqmm, 1.1 KV grade, UNAMOURED, PVC insulated/ PVC sheated Copper conductor multi stranded flexible cable confirming to IS: 694 amended upto date. | 158.00 | Mtr | 100.00 | 259.00 | 40922.00 | 700.00 | 110600.00 | 310.00 | 48980.00 | 386.00 | 60988.00 | 251.00 | 39658.00 | 39658.00 | Swaraj Secutech Pvt Ltd
9.00 | Supply of 4C x 25 Sqmm, 1.1 KV grade, Armoured,XLPE insulated, PVC sheated, Aluminium conductor cable confirming to IS: 7098 (Part -1) 1988 amended upto date. | 84.00 | Mtr | 100.00 | 183.00 | 15372.00 | 1500.00 | 126000.00 | 210.00 | 17640.00 | 290.00 | 24360.00 | 195.00 | 16380.00 | 15372.00 | Neptune Automatic Pvt. Ltd.
10.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade size of above 185 Sqmm and up to 400 Sqmm cable in the existing RCC/ HUME/ STONEWARE/ METAL/ HDPE/DWC pipe as required. | 668.00 | Mtr | 100.00 | 173.00 | 115564.00 | 3300.00 | 2204400.00 | 150.00 | 100200.00 | 268.00 | 179024.00 | 300.00 | 200400.00 | 100200.00 | S Aditya Impex Pvt Ltd
11.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade size of above 95 Sqmm and up to 185 Sqmm cable in the existing RCC/ HUME/ STONEWARE/ METAL/ HDPE/DWC pipe as required. | 243.00 | Mtr | 100.00 | 143.00 | 34749.00 | 2800.00 | 680400.00 | 120.00 | 29160.00 | 150.00 | 36450.00 | 300.00 | 72900.00 | 29160.00 | S Aditya Impex Pvt Ltd
12.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of Upto 35 sq. mm size in the existing RCC/ HUME/ METAL/DWCHDPE pipe as required. | 200.00 | Mtr | 100.00 | 144.00 | 28800.00 | 1600.00 | 320000.00 | 100.00 | 20000.00 | 75.00 | 15000.00 | 450.00 | 90000.00 | 15000.00 | FORTUNA CONTROL AND AUTOMATIONS PVT LTD
13.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade Upto 35 sq. mm (clamped with 1mm thick saddle) on wall surface as required. | 30.00 | Mtr | 100.00 | 230.00 | 6900.00 | 2300.00 | 69000.00 | 100.00 | 3000.00 | 105.00 | 3150.00 | 650.00 | 19500.00 | 3000.00 | S Aditya Impex Pvt Ltd
14.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for size of 3.5 x 240 Sqmm of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | 1.00 | Set | 100.00 | 17000.00 | 17000.00 | 3000.00 | 3000.00 | 6000.00 | 6000.00 | 9800.00 | 9800.00 | 6500.00 | 6500.00 | 3000.00 | Brosis International
15.00 | Supplying and making end termination with brass compression gland and aluminium lugs for 3.5 C x 240 sq.mm size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 kV grade as required. | 6.00 | Set | 100.00 | 9960.00 | 59760.00 | 10000.00 | 60000.00 | 3000.00 | 18000.00 | 750.00 | 4500.00 | 850.00 | 5100.00 | 4500.00 | FORTUNA CONTROL AND AUTOMATIONS PVT LTD
16.00 | Supplying and making end termination with brass compression gland and aluminium lugs for 3.5 C x 150 sq.mm size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 kV grade as required. | 8.00 | Set | 100.00 | 7680.00 | 61440.00 | 11000.00 | 88000.00 | 2800.00 | 22400.00 | 550.00 | 4400.00 | 850.00 | 6800.00 | 4400.00 | FORTUNA CONTROL AND AUTOMATIONS PVT LTD
17.00 | Supplying and making end termination with brass compression gland and aluminium lugs for 4C x 25 sq.mm size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 kV grade as required. | 4.00 | Set | 100.00 | 5520.00 | 22080.00 | 3000.00 | 12000.00 | 2500.00 | 10000.00 | 120.00 | 480.00 | 850.00 | 3400.00 | 480.00 | FORTUNA CONTROL AND AUTOMATIONS PVT LTD
18.00 | Supplying and making end termination with brass compression gland and aluminium lugs for 4C x 6 sq.mm size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 kV grade as required. | 8.00 | Set | 100.00 | 5040.00 | 40320.00 | 1900.00 | 15200.00 | 2200.00 | 17600.00 | 120.00 | 960.00 | 650.00 | 5200.00 | 960.00 | FORTUNA CONTROL AND AUTOMATIONS PVT LTD
19.00 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 16205, Part 24 complete with fitting and cutting, jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc. , complete as required. 63 mm dia (OD-63 mm & ID-51 mm nominal) | 210.00 | Mtr | 100.00 | 492.00 | 103320.00 | 90.00 | 18900.00 | 200.00 | 42000.00 | 120.00 | 25200.00 | 350.00 | 73500.00 | 18900.00 | Brosis International
20.00 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 16205, Part 24 complete with fitting and cutting, jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc. , complete as required. 160 mm dia (OD-160 mm & ID-135 mm nominal) | 607.00 | Mtr | 100.00 | 552.00 | 335064.00 | 190.00 | 115330.00 | 300.00 | 182100.00 | 350.00 | 212450.00 | 350.00 | 212450.00 | 115330.00 | Brosis International
21.00 | Supply of 110 mm high density polyethylene HDPE pipe (PE- 80, PN-6) as per IS - 4984 with up to date amendment along with accessories like socket, bend, couplers etc. complete as required. | 300.00 | Mtr | 100.00 | 144.00 | 43200.00 | 130.00 | 39000.00 | 450.00 | 135000.00 | 250.00 | 75000.00 | 426.80 | 128040.00 | 39000.00 | Brosis International
22.00 | Laying of HDPE pipe (PE- 80, PN-6) of size 110 mm (OD) in suitable depth by trencheless horizontal directional drilling (HDD) method by deploying HDD machines with necessary arrangements complete as required as per the site requirements. (Excluding the cost of 110 mm HDPE Pipe) | 300.00 | Mtr | 100.00 | 480.00 | 144000.00 | 100.00 | 30000.00 | 1000.00 | 300000.00 | 1100.00 | 330000.00 | 300.00 | 90000.00 | 30000.00 | Brosis International
23.00 | Providing and fixing 4 pole, 250 Amp, 36 KA capacity MCCB in existing cubicle LT panel including drilling holes in cubicle panel, making connections, etc. complete as required. | 2.00 | Job | 100.00 | 13800.00 | 27600.00 | 62000.00 | 124000.00 | 4000.00 | 8000.00 | 19500.00 | 39000.00 | 13500.00 | 27000.00 | 8000.00 | S Aditya Impex Pvt Ltd
24.00 | Demolishing cement concrete / bituminous road / brick wall by manually / mechanical means including disposal of material within 50 meters lead as per direction of Engineer - in - charge. | 1.50 | Cum | 100.00 | 5000.00 | 7500.00 | 15000.00 | 22500.00 | 4000.00 | 6000.00 | 1500.00 | 2250.00 | 3000.00 | 4500.00 | 2250.00 | FORTUNA CONTROL AND AUTOMATIONS PVT LTD
25.00 | Providing and laying in position cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) in Hard surface/ Cement Concrete surface / Bituminous surface as required. | 1.50 | Cum | 100.00 | 20000.00 | 30000.00 | 25000.00 | 37500.00 | 10000.00 | 15000.00 | 15000.00 | 22500.00 | 4500.00 | 6750.00 | 6750.00 | Swaraj Secutech Pvt Ltd
26.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required. | 3.00 | Job | 100.00 | 17400.00 | 52200.00 | 30000.00 | 90000.00 | 25000.00 | 75000.00 | 10500.00 | 31500.00 | 22000.00 | 66000.00 | 31500.00 | FORTUNA CONTROL AND AUTOMATIONS PVT LTD
27.00 | Providing and laying earth connection from earth electrode with 6 SWG dia G.I. Wire in 15 mm dia G.I. pipe from earth electrode including connection with G.I. thimble excavation and re-filling as required. | 45.00 | Mtr | 100.00 | 1560.00 | 70200.00 | 1800.00 | 81000.00 | 250.00 | 11250.00 | 490.00 | 22050.00 | 80.00 | 3600.00 | 3600.00 | Swaraj Secutech Pvt Ltd
28.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing as required. | 15.00 | Mtr | 100.00 | 600.00 | 9000.00 | 2000.00 | 30000.00 | 100.00 | 1500.00 | 150.00 | 2250.00 | 65.00 | 975.00 | 975.00 | Swaraj Secutech Pvt Ltd
29.00 | Supply & Fixing of 4- Pole aluminium bus bars of 600 Amps. Capacity (minimum) in the existing Panel with heat shrinkable coloured sleeves and i/c. DMC / SMC bus bars supports at required intervals complete for cross section, size supports and their spacing etc. complete as per site requirement. | 5.00 | Mtr | 100.00 | 720.00 | 3600.00 | 10000.00 | 50000.00 | 2000.00 | 10000.00 | 45000.00 | 225000.00 | 18000.00 | 90000.00 | 3600.00 | Neptune Automatic Pvt. Ltd.
30.00 | Supply and fixing of outdoor type cable termination box of size 600 mm x 500 mm x 350 mm deep, made of 2.0 mm thick CRCA sheet, aluminium bus-bar of 250 Amps rating alongwith 40X40X5 mm M.S angle stand, depth of leg 3 feet (minimum), CC all around of the panel upto 0.5 Meter etc. and having following arrangements:- INCOMER 1 Nos. 200A 4P MCCB (Ics=Icu=50 KA) and 1 Set of Indication Lamps, LED type, R,Y,B. OUTGOING 1 Nos. 200A 4P MCCB (Ics=Icu=50 KA) and 1 Set of Indication Lamps, LED type, R,Y,B. | 2.00 | Job | 100.00 | 100000.00 | 200000.00 | 78000.00 | 156000.00 | 140000.00 | 280000.00 | 125000.00 | 250000.00 | 33000.00 | 66000.00 | 66000.00 | Swaraj Secutech Pvt Ltd
31.00 | All inclusive comprehensive maintenance of Four years after defect liability period (DLP) of one year from OEM / authorised service dealer for Electro Mechanical boom barrier system having 4.0 meter length including all accessories complete, quarterly servicing including unlimited no. of breakdown calls as & when required.
31.10 | First Year after DLP. | 4.00 | Job/ year | 100.00 | 5000.00 | 20000.00 | 7500.00 | 30000.00 | 10000.00 | 40000.00 | 10000.00 | 40000.00 | 18240.00 | 72960.00 | 20000.00 | Neptune Automatic Pvt. Ltd.
31.20 | Second Year after DLP. | 4.00 | Job/ year | 100.00 | 5500.00 | 22000.00 | 9000.00 | 36000.00 | 12000.00 | 48000.00 | 12000.00 | 48000.00 | 21280.00 | 85120.00 | 22000.00 | Neptune Automatic Pvt. Ltd.
31.30 | Third Year after DLP. | 4.00 | Job/ year | 100.00 | 6000.00 | 24000.00 | 10500.00 | 42000.00 | 14000.00 | 56000.00 | 14000.00 | 56000.00 | 24320.00 | 97280.00 | 24000.00 | Neptune Automatic Pvt. Ltd.
31.40 | Fourth Year after DLP. | 4.00 | Job/ year | 100.00 | 6500.00 | 26000.00 | 11250.00 | 45000.00 | 16000.00 | 64000.00 | 15000.00 | 60000.00 | 24320.00 | 97280.00 | 26000.00 | Neptune Automatic Pvt. Ltd.
32.00 | All inclusive comprehensive maintenance of Four years after defect liability period (DLP) of one year from OEM / authorised service dealer for High impact resistance Crash rated electro hydraulic bollard system made out of mild/stainless steel comprising of 6 (Six) Number of bollards including all accessories complete, quarterly servicing including unlimited no. of breakdown calls as & when required.
32.10 | First Year after DLP. | 1.00 | Job/ year | 100.00 | 100000.00 | 100000.00 | 195000.00 | 195000.00 | 120000.00 | 120000.00 | 300000.00 | 300000.00 | 108000.00 | 108000.00 | 100000.00 | Neptune Automatic Pvt. Ltd.
32.20 | Second Year after DLP. | 1.00 | Job/ year | 100.00 | 110000.00 | 110000.00 | 230000.00 | 230000.00 | 140000.00 | 140000.00 | 320000.00 | 320000.00 | 117000.00 | 117000.00 | 110000.00 | Neptune Automatic Pvt. Ltd.
32.30 | Third Year after DLP. | 1.00 | Job/ year | 100.00 | 121000.00 | 121000.00 | 250000.00 | 250000.00 | 160000.00 | 160000.00 | 350000.00 | 350000.00 | 126000.00 | 126000.00 | 121000.00 | Neptune Automatic Pvt. Ltd.
32.40 | Fourth Year after DLP. | 1.00 | Job/ year | 100.00 | 133000.00 | 133000.00 | 270000.00 | 270000.00 | 180000.00 | 180000.00 | 380000.00 | 380000.00 | 135000.00 | 135000.00 | 133000.00 | Neptune Automatic Pvt. Ltd.
33.00 | All inclusive comprehensive maintenance of Four years after defect liability period (DLP) of one year from OEM / authorised service dealer for High impact resistance Electro Hydraulic tyre killer of 6 Mtr. Length including all accessories complete, quarterly servicing including unlimited no. of breakdown calls as & when required.
33.10 | First Year after DLP. | 1.00 | Job/ year | 100.00 | 21700.00 | 21700.00 | 52500.00 | 52500.00 | 45000.00 | 45000.00 | 120000.00 | 120000.00 | 30900.00 | 30900.00 | 21700.00 | Neptune Automatic Pvt. Ltd.
33.20 | Second Year after DLP. | 1.00 | Job/ year | 100.00 | 24000.00 | 24000.00 | 63000.00 | 63000.00 | 55000.00 | 55000.00 | 150000.00 | 150000.00 | 33475.00 | 33475.00 | 24000.00 | Neptune Automatic Pvt. Ltd.
33.30 | Third Year after DLP. | 1.00 | Job/ year | 100.00 | 26000.00 | 26000.00 | 73500.00 | 73500.00 | 65000.00 | 65000.00 | 180000.00 | 180000.00 | 36050.00 | 36050.00 | 26000.00 | Neptune Automatic Pvt. Ltd.
33.40 | Fourth Year after DLP. | 1.00 | Job/ year | 100.00 | 29000.00 | 29000.00 | 76000.00 | 76000.00 | 75000.00 | 75000.00 | 220000.00 | 220000.00 | 38625.00 | 38625.00 | 29000.00 | Neptune Automatic Pvt. Ltd.
| Total in Figures |  |  |  |  | 6930361.00 |  | 11710330.00 |  | 8280180.00 |  | 10648922.00 |  | 6405768.00
Lowest Amount Quoted BY: Swaraj Secutech Pvt Ltd(6405768.00)

## BOQ Summary
BOQ Summary Details Tender Title: SITC of Tyre Killers, Electro hydraulic Bollards and Boom Barriers at Kishangarh Airport, Ajmer. Tender ID: 2024_AAI_214869_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Swaraj Secutech Pvt Ltd (BID ID -781589) | 6405768.00 | L1
| 2 | Neptune Automatic Pvt. Ltd. (BID ID -778576) | 6930361.00 | L2
| 3 | S Aditya Impex Pvt Ltd (BID ID -781740) | 8280180.00 | L3
| 4 | FORTUNA CONTROL AND AUTOMATIONS PVT LTD (BID ID -776410) | 10648922.00 | L4
| 5 | Brosis International (BID ID -781603) | 11710330.00 | L5