## BoQ1
Government eProcurement System Created By: JANARDHAN SWAMY SADULA Created Date/Time: 17-Dec-2024 11:46 AM Tender Title: RM of Ground Light Facilities at Chennai Airport During the Year 2024 2025. SH Procurement of Spares for GLF Installations Tender ID: 2024_AAI_214908_1
Tender Inviting Authority: SM(E-E)-I
Name of Work: R&M of Ground Light Facilities at Chennai Airport during the year 2024-25. SH: Procurement of Spares for GLF Installations.
Contract No: 2024_AAI_214908_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | AMA Private Limited (GSTN-27AAACA1016F1ZE) BID ID -783038 |  | CREATIVE TRADING CO (GSTN-07AMEPK8023F1Z9) BID ID -784029 |  | vardhman Airport solutions pvt. Ltd. (GSTN-NA) BID ID -784000
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 200W 6.6A Bi-pin Halogen lamps for Runway Edge light fixture. (Cat No. 64386 Osram or Equivalent) as required. | 600.00 | Nos |  | 495.00 | 297000.00 | 545.00 | 327000.00 | 405.00 | 243000.00 | 243000.00 | vardhman Airport solutions pvt. Ltd.
2.00 | Supply of 200W 6.6A Halogen lamps with PK-30d base and male connector. (Cat No. 64382 Osram or Equivalent) as required. | 500.00 | Nos |  | 1300.00 | 650000.00 | 980.00 | 490000.00 | 1000.00 | 500000.00 | 490000.00 | CREATIVE TRADING CO
3.00 | Supply of 200W 6.6 A Halogen Lamps with in-built holder with PK-30d base, female connector (Make: Osram Cat no. 64382 HLX-A 200W-15 6.6A PK30d or Equivalent) as required. | 50.00 | Nos |  | 1350.00 | 67500.00 | 980.00 | 49000.00 | 1025.00 | 51250.00 | 49000.00 | CREATIVE TRADING CO
4.00 | Supply of 200W 6.6A Bi-pin Halogen lamps for Runway edge light fixture. (Cat No. 58750 Osram or Equivalent) as required. | 50.00 | Nos |  | 1095.00 | 54750.00 | 800.00 | 40000.00 | 965.00 | 48250.00 | 40000.00 | CREATIVE TRADING CO
5.00 | Supply of 105W 6.6A Prefocus dichroic coated reflector lamps suitable for inset type light fixtures (Cat No. 64339A of Osram or Equivalent) as required. | 600.00 | Nos |  | 1150.00 | 690000.00 | 1060.00 | 636000.00 | 1050.00 | 630000.00 | 630000.00 | vardhman Airport solutions pvt. Ltd.
6.00 | Supply of 100W 6.6A Halogen lamps with PK-30d base and male connector. (Cat No. 64342 Osram or Equivalent) as required. | 100.00 | Nos |  | 1300.00 | 130000.00 | 980.00 | 98000.00 | 1000.00 | 100000.00 | 98000.00 | CREATIVE TRADING CO
7.00 | Supply of 48W 6.6A Prefocus dichroic coated reflector lamps suitable for inset type Runway TDZ and Runway Centreline light fixtures (Cat No. 64337B of Osram or Equivalent) as required. | 500.00 | Nos |  | 850.00 | 425000.00 | 945.00 | 472500.00 | 1000.00 | 500000.00 | 425000.00 | AMA Private Limited
8.00 | Supply of 48W 6.6A Prefocus dichroic coated reflector lamps suitable for inset type Rapid Exit Taxiway Indicator light fixtures (Cat No. 64337A of Osram or Equivalent) as required. | 100.00 | Nos |  | 950.00 | 95000.00 | 945.00 | 94500.00 | 1000.00 | 100000.00 | 94500.00 | CREATIVE TRADING CO
9.00 | Supply of AMA Make Bi-pin Lamp holder for 200 W 6.6 A Halogen lamp as required. | 600.00 | Nos |  | 430.00 | 258000.00 | 400.00 | 240000.00 | 490.00 | 294000.00 | 240000.00 | CREATIVE TRADING CO
10.00 | Supply of 200W 20/6.6 A 5000 Volts 50 Hz AC Isolating Transformer, series type, encapsuled in polyster resin, finally moulded in neoprene type rubber with primary and secondary leads, confirming to latest specifications as required suitable for airfield lighting applications etc. as required. | 150.00 | Nos |  | 4750.00 | 712500.00 | 3800.00 | 570000.00 | 4100.00 | 615000.00 | 570000.00 | CREATIVE TRADING CO
11.00 | Supply of 10W 6.6/6.6 A 5000 Volts 50 Hz AC Isolating Transformer, series type, encapsuled in polyster resin, finally moulded in neoprene type rubber with primary and secondary leads, confirming to latest specifications as required suitable for airfield lighting applications etc. as required. | 300.00 | Nos |  | 2600.00 | 780000.00 | 2100.00 | 630000.00 | 2400.00 | 720000.00 | 630000.00 | CREATIVE TRADING CO
12.00 | Supply of Secondary lead 2C x 4 mm2 made out of stranded annealed tinned copper conductor EPR insulated, PCP sheathed, unshield type 1.1 KV grade conforming IS 9968-I- 1980 as required with plug and socket of 1m length. | 150.00 | Nos |  | 650.00 | 97500.00 | 590.00 | 88500.00 | 400.00 | 60000.00 | 60000.00 | vardhman Airport solutions pvt. Ltd.
13.00 | Supply of 0.5m Secondary lead with male connector suitable for Runway HIRL/Taxiway MIRL Elevated type fixtures. | 50.00 | Nos |  | 475.00 | 23750.00 | 300.00 | 15000.00 | 300.00 | 15000.00 | 15000.00 | vardhman Airport solutions pvt. Ltd., CREATIVE TRADING CO
14.00 | Supply of Connector kit suitable for use in the 5KV grade 1 x 6 mm2 size AFL copper conductor cable. | 300.00 | Nos |  | 375.00 | 112500.00 | 350.00 | 105000.00 | 420.00 | 126000.00 | 105000.00 | CREATIVE TRADING CO
15.00 | Supply of Connector kit suitable for use in the 5KV grade 1 x 16 mm2 size AFL copper conductor cable. | 500.00 | Nos |  | 375.00 | 187500.00 | 350.00 | 175000.00 | 420.00 | 210000.00 | 175000.00 | CREATIVE TRADING CO
16.00 | Supply of EPR self-amalgamating HT rubber tape having water proof, moisture proof, corrosion and chemical resistive features suitable for 5KV grade AFL cables. Size 25mm x0.76mmx9.1M. (Stanvac Plysafe W963). | 100.00 | Nos |  | 650.00 | 65000.00 | 1000.00 | 100000.00 | 300.00 | 30000.00 | 30000.00 | vardhman Airport solutions pvt. Ltd.
17.00 | Supply of Elevated type Bi-directional High Intensity Runway Edge Light fitting suitable for use with 200W Halogen lamp consists of Halogen Lamp, Lens supporting mechanism, lens clamp mechanism, Central column assembly, Breakable Coupling, two pin secondary Connecting Lead, Base Plate with 6 Nos. M-10 SS bolts with spring and plate washers, Rubber gasket with all other accessories and meeting ICAO/ FAA specification complete as required and as specified : (Lens - Clear/Clear). | 50.00 | Nos |  | 6000.00 | 300000.00 | 7000.00 | 350000.00 | 6800.00 | 340000.00 | 300000.00 | AMA Private Limited
18.00 | Supply of Elevated type Bi-directional High Intensity Runway Edge Light fitting suitable for use with 200W Halogen lamp consists of Halogen Lamp, Lens supporting mechanism, lens clamp mechanism, Central column assembly, Breakable Coupling, two pin secondary Connecting Lead, Base Plate with 6 Nos. M-10 SS bolts with spring and plate washers, Rubber gasket with all other accessories and meeting ICAO/ FAA specification complete as required and as specified : (Lens - Clear/Amber). | 25.00 | Nos |  | 6000.00 | 150000.00 | 7000.00 | 175000.00 | 7250.00 | 181250.00 | 150000.00 | AMA Private Limited
19.00 | Supply of Elevated type Uni-directional High Intensity Runway End Light fitting suitable for use with 200W Halogen lamp consists of Halogen Lamp, Lens supporting mechanism, Central column assembly, Breakable Coupling, two pin secondary Connecting Lead, Base plate with 6 Nos. M-10 SS bolts with spring and plate washers, Rubber gasket and all other accessories and meeting ICAO/ FAA specification complete as required and as specified: (Lens - Red). | 15.00 | Nos |  | 7200.00 | 108000.00 | 8000.00 | 120000.00 | 8000.00 | 120000.00 | 108000.00 | AMA Private Limited
20.00 | Supply of Elevated type Uni-directional High Intensity Threshold Light fitting suitable for use with 200W Halogen lamp consists of Halogen Lamp, Lens supporting mechanism, Central column assembly, Breakable Coupling, two pin secondary Connecting Lead, Base plate with 6 Nos. M-10 SS bolts with spring and plate washers, Rubber gasket and all other accessories and meeting ICAO/ FAA specification complete as required and as specified: (Lens - Green). | 15.00 | Nos |  | 7200.00 | 108000.00 | 8000.00 | 120000.00 | 8500.00 | 127500.00 | 108000.00 | AMA Private Limited
21.00 | Supply of Elevated Omni directional LED Type Medium Intensity Taxiway Edge Light Fittings consists of LED, Lens supporting mechanism, lens clamp mechanism, Omni directional Blue lens, Driver Unit, Central column assembly, Breakable Coupling, two pin secondary Connecting Lead etc. with all other accessories and meeting ICAO / FAA specifications. | 100.00 | Nos |  | 3850.00 | 385000.00 | 5000.00 | 500000.00 | 3400.00 | 340000.00 | 340000.00 | vardhman Airport solutions pvt. Ltd.
22.00 | Supply of Elevated High intensity Runway Guard Lights, consists of two Halogen type light fixtures, having flash rate of 45-50 flashes per min., black visors, vertically and horizontally adjustable, frangible support, two pin secondary Connecting Lead, Base Plate, Rubber gasket etc. and all other accessories and meeting ICAO/FAA specifications. | 10.00 | Nos |  | 297921.05 | 2979210.50 | 165000.00 | 1650000.00 | 75000.00 | 750000.00 | 750000.00 | vardhman Airport solutions pvt. Ltd.
23.00 | Supply of Inset type High intensity Bi -directional Runway Edge light fitting (Clear / Clear) complete with bottom box / Shallow base and all accessories including 2x 105W halogen lamps, lens / filter, reflector with all other accessories and meeting ICAO / FAA specifications complete as required and as specified. | 10.00 | Nos |  | 95529.64 | 955296.40 | 64000.00 | 640000.00 | 50000.00 | 500000.00 | 500000.00 | vardhman Airport solutions pvt. Ltd.
24.00 | Supply of Inset type High intensity Bi -directional Runway Edge light fitting (Clear / Amber) complete with bottom box / Shallow base and all accessories including 2x 105W halogen lamps, lens / filter, reflector with all other accessories and meeting ICAO / FAA specifications complete as required and as specified. | 10.00 | Nos |  | 91674.61 | 916746.10 | 64000.00 | 640000.00 | 52000.00 | 520000.00 | 520000.00 | vardhman Airport solutions pvt. Ltd.
25.00 | Supply of 1x48W, inset type uni-directional, TDZ light fittings, complete with prism assembly, optical assembly (lens/filter, reflectors etc.), "O" ring seal, pressure relief test plug, 6.6A halogen lamp, filters, die-cast aluminium inner body & outer cover and other accessories complete etc. as required meeting the requirement of latest ICAO Annex 14, FAA compliant and as specifications of Aerodrome Design Manual Part - IV (Visual Aids) latest edition. (without shallow base) (Make: ADB Safegate). | 12.00 | Nos |  | 36084.98 | 433019.76 | 42000.00 | 504000.00 | 40000.00 | 480000.00 | 433019.76 | AMA Private Limited
26.00 | Supply of 2x48W, inset type Bi-directional (Clear/Clear), Centerline Light fitting, complete with prism assembly, optical assembly (lens/filter, reflectors etc.), "O" ring seal, pressure relief test plug, 6.6A halogen lamp, filters, die-cast aluminium inner body & outer cover and other accessories complete etc. as required meeting the requirement of latest ICAO Annex 14, FAA compliant and specifications of Aerodrome Design Manual Part - IV (Visual Aids) latest edition. (without shallow base) (Make: ADB Safegate). | 20.00 | Nos |  | 38823.84 | 776476.80 | 45500.00 | 910000.00 | 42000.00 | 840000.00 | 776476.80 | AMA Private Limited
27.00 | Supply of 2x48W, inset type Bi-directional (Clear/Red), Centerline Light fitting, complete with prism assembly, optical assembly (lens/filter, reflectors etc), "O" ring seal, pressure relief test plug, 6.6A halogen lamp, filters, die-cast aluminium inner body & outer cover and other accessories complete etc., as required meeting the requirement of latest ICAO Annex 14, FAA compliant and as specifications of Aerodrome Design Manual Part - IV (Visual Aids) latest edition. (without shallow base) (Make: ADB Safegate). | 10.00 | Nos |  | 42926.91 | 429269.10 | 50000.00 | 500000.00 | 47500.00 | 475000.00 | 429269.10 | AMA Private Limited
28.00 | Supply of Full Thread SS 304 Hex Bolt with spring washer, Size: M10x25 for HIRL /MIRL fittings. | 3000.00 | Nos |  | 55.00 | 165000.00 | 20.00 | 60000.00 | 13.00 | 39000.00 | 39000.00 | vardhman Airport solutions pvt. Ltd.
29.00 | Supply of high speed semiconductor type HRC fuse, 63A, 690V. (Eaton/Bussman make FE 62a). | 10.00 | Nos |  | 2200.00 | 22000.00 | 500.00 | 5000.00 | 440.00 | 4400.00 | 4400.00 | vardhman Airport solutions pvt. Ltd.
30.00 | Supply of high speed semiconductor type HRC fuse, 100A, 690V. (Eaton/Bussman make 100FEa). | 10.00 | Nos |  | 1850.00 | 18500.00 | 600.00 | 6000.00 | 580.00 | 5800.00 | 5800.00 | vardhman Airport solutions pvt. Ltd.
31.00 | Supply of HRC fuse 4 A Siemens BS88 6: 1988 415 AC 80 KA. | 20.00 | Nos |  | 1100.00 | 22000.00 | 500.00 | 10000.00 | 80.00 | 1600.00 | 1600.00 | vardhman Airport solutions pvt. Ltd.
32.00 | Supply of HRC fuse 32 A Siemens 3NA1 001 500 V. | 15.00 | Nos |  | 1500.00 | 22500.00 | 400.00 | 6000.00 | 280.00 | 4200.00 | 4200.00 | vardhman Airport solutions pvt. Ltd.
33.00 | Supply of HRC fuse 32 A Siemens 3NA3 812-7Y,NH00 32 A, 500 V. | 15.00 | Nos |  | 1500.00 | 22500.00 | 400.00 | 6000.00 | 280.00 | 4200.00 | 4200.00 | vardhman Airport solutions pvt. Ltd.
34.00 | Supply of HRC fuse, 50A Siemens 3NA7 820-ORC, NH000 50 A, 500 V. | 30.00 | Nos |  | 1500.00 | 45000.00 | 400.00 | 12000.00 | 300.00 | 9000.00 | 9000.00 | vardhman Airport solutions pvt. Ltd.
35.00 | Supply of HRC fuse, 63A Siemens 3NA3 822-7Y,NH00 63 A , 500 V. | 5.00 | Nos |  | 1650.00 | 8250.00 | 500.00 | 2500.00 | 330.00 | 1650.00 | 1650.00 | vardhman Airport solutions pvt. Ltd.
36.00 | Supply of HRC fuse, 100A Siemens 3NA3 830-7Y, NH00 100A, 500 V. | 30.00 | Nos |  | 1850.00 | 55500.00 | 750.00 | 22500.00 | 360.00 | 10800.00 | 10800.00 | vardhman Airport solutions pvt. Ltd.
37.00 | Supply of HRC fuse, 160A Siemens NH00 160 A, 3NA3 836 7Y 500 V. | 5.00 | Nos |  | 2200.00 | 11000.00 | 950.00 | 4750.00 | 460.00 | 2300.00 | 2300.00 | vardhman Airport solutions pvt. Ltd.
38.00 | Supply of driver unit of AMA make Taxiway MIRL LED fittings i/c LED, Heating filament etc. complete as required. | 150.00 | Nos |  | 1600.00 | 240000.00 | 2000.00 | 300000.00 | 2000.00 | 300000.00 | 240000.00 | AMA Private Limited
39.00 | Supply of driver unit of VARDHAMAN make Taxiway MIRL LED fittings i/c LED, Heating filament etc. complete as required. | 20.00 | Nos |  | 4250.00 | 85000.00 | 2200.00 | 44000.00 | 3000.00 | 60000.00 | 44000.00 | CREATIVE TRADING CO
40.00 | Supply of Base Plate gasket for Elevated type High Intensity Runway Edge Light Fittings. Make AMA. | 1000.00 | Nos |  | 175.00 | 175000.00 | 250.00 | 250000.00 | 250.00 | 250000.00 | 175000.00 | AMA Private Limited
41.00 | Supply of AMA Make 360 degree Outer Clear lens for Runway Fitting. | 200.00 | Nos |  | 2700.00 | 540000.00 | 2800.00 | 560000.00 | 3200.00 | 640000.00 | 540000.00 | AMA Private Limited
42.00 | Supply of AMA Make 360 degree Inner Clear lens for Runway Fitting. | 200.00 | Nos |  | 2700.00 | 540000.00 | 2800.00 | 560000.00 | 3200.00 | 640000.00 | 540000.00 | AMA Private Limited
43.00 | Supply of AMA Make 180 degree Filter for Runway Fitting - Clear. | 100.00 | Nos |  | 2450.00 | 245000.00 | 2500.00 | 250000.00 | 2650.00 | 265000.00 | 245000.00 | AMA Private Limited
44.00 | Supply of AMA Make 180 degree Filter for Runway Fitting - Red. | 50.00 | Nos |  | 2450.00 | 122500.00 | 2500.00 | 125000.00 | 2650.00 | 132500.00 | 122500.00 | AMA Private Limited
45.00 | Supply of AMA Make 180 degree Filter for Runway Fitting - Yellow. | 50.00 | Nos |  | 2450.00 | 122500.00 | 2500.00 | 125000.00 | 2650.00 | 132500.00 | 122500.00 | AMA Private Limited
46.00 | Supply of Vardhman Make 360 degree Outer Clear lens for Runway Fitting. | 20.00 | Nos |  | 4975.00 | 99500.00 | 3000.00 | 60000.00 | 2750.00 | 55000.00 | 55000.00 | vardhman Airport solutions pvt. Ltd.
47.00 | Supply of Vardhman Make inner Clear lens for Runway Fitting - Clear | 20.00 | Nos |  | 3975.00 | 79500.00 | 2500.00 | 50000.00 | 2200.00 | 44000.00 | 44000.00 | vardhman Airport solutions pvt. Ltd.
48.00 | Supply of Vardhman Make inner Clear lens for Runway Fitting - Amber | 10.00 | Nos |  | 4400.00 | 44000.00 | 2500.00 | 25000.00 | 2450.00 | 24500.00 | 24500.00 | vardhman Airport solutions pvt. Ltd.
49.00 | Supply of Vardhman Make red spreader for Runway end light | 15.00 | Nos |  | 7450.00 | 111750.00 | 5500.00 | 82500.00 | 4100.00 | 61500.00 | 61500.00 | vardhman Airport solutions pvt. Ltd.
50.00 | Supply of Breakable coupling of AMA Make for Runway Edge lights. | 50.00 | Nos |  | 425.00 | 21250.00 | 500.00 | 25000.00 | 460.00 | 23000.00 | 21250.00 | AMA Private Limited
51.00 | Supply of Breakable coupling of AMA Make for Taxiway Edge lights. | 200.00 | Nos |  | 425.00 | 85000.00 | 500.00 | 100000.00 | 460.00 | 92000.00 | 85000.00 | AMA Private Limited
52.00 | Supply of Breakable coupling of Vardhaman Make for Runway Edge lights. | 20.00 | Nos |  | 2675.00 | 53500.00 | 500.00 | 10000.00 | 1490.00 | 29800.00 | 10000.00 | CREATIVE TRADING CO
53.00 | Supply of Breakable coupling of Vardhaman Make for Taxiway Edge lights. | 20.00 | Nos |  | 2675.00 | 53500.00 | 500.00 | 10000.00 | 1490.00 | 29800.00 | 10000.00 | CREATIVE TRADING CO
54.00 | Supply of Base plate with out gasket for AMA Make fittings. | 300.00 | Nos |  | 750.00 | 225000.00 | 1000.00 | 300000.00 | 820.00 | 246000.00 | 225000.00 | AMA Private Limited
55.00 | Supply of AMA Make 360 degrees Blue lens for Taxiway fitting. | 150.00 | Nos |  | 1800.00 | 270000.00 | 2000.00 | 300000.00 | 2200.00 | 330000.00 | 270000.00 | AMA Private Limited
56.00 | Supply of Vardhman Make 360 degree Blue lens for Taxiway fitting. | 20.00 | Nos |  | 3525.00 | 70500.00 | 2000.00 | 40000.00 | 2000.00 | 40000.00 | 40000.00 | vardhman Airport solutions pvt. Ltd., CREATIVE TRADING CO
57.00 | Supply of Spares of ADB Safe gate, High Intensity Bi Directional Inset Light (8") Centreline fittings. MAKE ADB SAFE GATE
57.01 | a) PRISM -Part No . SP.010559 (10 pcs per set) | 5.00 | Set |  | 37974.25 | 189871.25 | 44000.00 | 220000.00 | 42000.00 | 210000.00 | 189871.25 | AMA Private Limited
57.02 | b) Terminal block assembly with fixing hardware and with cutout. Part No. 1411.21.000 | 100.00 | Nos |  | 4365.02 | 436502.00 | 5000.00 | 500000.00 | 4850.00 | 485000.00 | 436502.00 | AMA Private Limited
57.03 | c) Connecting wire. Part No. SP.010411 (10 pcs per set) | 5.00 | Set |  | 3597.72 | 17988.60 | 4500.00 | 22500.00 | 4000.00 | 20000.00 | 17988.60 | AMA Private Limited
57.04 | d) Red absorption filter. SP.010585 (10 pcs per set) | 5.00 | Set |  | 15765.52 | 78827.60 | 18000.00 | 90000.00 | 17540.00 | 87700.00 | 78827.60 | AMA Private Limited
57.05 | e) Filter spring. Part No. SP.4071.50.160 (10 pcs per set) | 5.00 | Set |  | 2451.41 | 12257.05 | 2800.00 | 14000.00 | 2700.00 | 13500.00 | 12257.05 | AMA Private Limited
58.00 | Supply of Spares of ADB Safe Gate, High Intensity Bi Directional Inset Light (12") Runway Edgelight fittings. MAKE ADB SAFE GATE
58.01 | a) Screw 3/8 ". Part No. 7200.13.806 | 100.00 | Nos |  | 147.20 | 14720.00 | 200.00 | 20000.00 | 165.00 | 16500.00 | 14720.00 | AMA Private Limited
58.02 | b) St.Steel Lock Washer M 10 Part No. 7284.10.470 | 100.00 | Nos |  | 33.61 | 3361.00 | 50.00 | 5000.00 | 35.00 | 3500.00 | 3361.00 | AMA Private Limited
58.03 | c) Prism Clear Part No. SP.010565 (10 pcs) | 1.00 | Set |  | 37805.03 | 37805.03 | 45000.00 | 45000.00 | 42000.00 | 42000.00 | 37805.03 | AMA Private Limited
58.04 | d) Prism Yellow Part No. SP.010569 (10 pcs) | 1.00 | Set |  | 95573.69 | 95573.69 | 110000.00 | 110000.00 | 106000.00 | 106000.00 | 95573.69 | AMA Private Limited
59.00 | Supply of Spares of Youyang, High Intensity Bi Directional Runway Edge Inset Light (12") Make Youyang
59.01 | a) Bolt Stainless steel (M5-10) Part No. 324-342 A | 100.00 | Nos |  | 20.00 | 2000.00 | 60.00 | 6000.00 | 165.00 | 16500.00 | 2000.00 | AMA Private Limited
59.02 | b) Lamp holder Assembly Part No. 911-049C | 50.00 | Nos |  | 200.00 | 10000.00 | 1200.00 | 60000.00 | 280.00 | 14000.00 | 10000.00 | AMA Private Limited
59.03 | c) Terminal Block Assembly PSS (25.4.25.4) Part No 911-384A | 50.00 | Nos |  | 200.00 | 10000.00 | 1000.00 | 50000.00 | 4850.00 | 242500.00 | 10000.00 | AMA Private Limited
59.04 | d) O Ring. Part No 151-067A | 30.00 | Nos |  | 500.00 | 15000.00 | 1200.00 | 36000.00 | 550.00 | 16500.00 | 15000.00 | AMA Private Limited
59.05 | e) Lamp fixed ring Aluminum Die Casting. Part No. 131-438A | 50.00 | Nos |  | 1000.00 | 50000.00 | 450.00 | 22500.00 | 2700.00 | 135000.00 | 22500.00 | CREATIVE TRADING CO
60.00 | Supply of Porcelain connector with brass screws for AMA make Edge Light fittings | 500.00 | Nos |  | 75.00 | 37500.00 | 50.00 | 25000.00 | 110.00 | 55000.00 | 25000.00 | CREATIVE TRADING CO
61.00 | Supply of Two pole plug suitable for Inset type Edge Light, TDZ, Centreline fittings | 100.00 | Nos |  | 1125.00 | 112500.00 | 350.00 | 35000.00 | 300.00 | 30000.00 | 30000.00 | vardhman Airport solutions pvt. Ltd.
62.00 | Supply of LED type Omni directional portable obstruction light units for use in Airfield having input supply of 230 V AC supply and capable to switch over to battery operation in case of failure of electric supply with 16 hours of battery backup with full brightness and the intensity of light shall be as per ICAO Annex-14 | 10.00 | Nos |  | 13500.00 | 135000.00 | 5500.00 | 55000.00 | 14000.00 | 140000.00 | 55000.00 | CREATIVE TRADING CO
63.00 | Supply of Elevated Omni directional LED type medium intensity obstruction light fittings, consisting of LED, lens supporting mechanism, Lens clamp mechanism, Omni directional Red lens, driver unit, Central column assembly, Breakable coupling, two pin secondary connecting lead, with base plate etc., with all other accessories and meeting ICAO/FAA specifications | 20.00 | Nos |  | 3900.00 | 78000.00 | 5000.00 | 100000.00 | 3200.00 | 64000.00 | 64000.00 | vardhman Airport solutions pvt. Ltd.
64.00 | Supply of SEKONIC MAKE Photographic 1o Spot meter (Model No: L-858D-U) | 1.00 | Nos |  | 130000.00 | 130000.00 | 110000.00 | 110000.00 | 52000.00 | 52000.00 | 52000.00 | vardhman Airport solutions pvt. Ltd.
65.00 | Supply of 1.1KV grade 1C 95 Sq.mm. unarmoured copper conductor XLPE insulated and PVC sheathed cable conforming to IS - 7098 (Part - I) 1988 respectively with upto date amendments. | 100.00 | Mtr. |  | 950.00 | 95000.00 | 1300.00 | 130000.00 | 700.00 | 70000.00 | 70000.00 | vardhman Airport solutions pvt. Ltd.
66.00 | Supply of 1.1KV grade 1C 50 Sq.mm. unarmoured copper conductor XLPE insulated and PVC sheathed cable conforming to IS - 7098 (Part - I) 1988 respectively with upto date amendments. | 100.00 | Mtr. |  | 715.00 | 71500.00 | 700.00 | 70000.00 | 370.00 | 37000.00 | 37000.00 | vardhman Airport solutions pvt. Ltd.
67.00 | Supply of 1.1KV grade 1C 35 Sq.mm. unarmoured copper conductor XLPE insulated and PVC sheathed cable conforming to IS - 7098 (Part - I) 1988 respectively with upto date amendments. | 100.00 | Mtr. |  | 500.00 | 50000.00 | 500.00 | 50000.00 | 260.00 | 26000.00 | 26000.00 | vardhman Airport solutions pvt. Ltd.
68.00 | Supply of Copper lugs for a size of 95 Sq. mm, XLPE insulated copper conductor cable. | 50.00 | Nos. |  | 95.00 | 4750.00 | 100.00 | 5000.00 | 73.00 | 3650.00 | 3650.00 | vardhman Airport solutions pvt. Ltd.
69.00 | Supply of Copper lugs for a size of 50 Sq. mm, XLPE insulated copper conductor cable. | 100.00 | Nos. |  | 45.00 | 4500.00 | 40.00 | 4000.00 | 30.00 | 3000.00 | 3000.00 | vardhman Airport solutions pvt. Ltd.
70.00 | Supply of Copper lugs for a size of 35 Sq. mm, XLPE insulated copper conductor cable. | 50.00 | Nos. |  | 35.00 | 1750.00 | 35.00 | 1750.00 | 33.00 | 1650.00 | 1650.00 | vardhman Airport solutions pvt. Ltd.
71.00 | Supply of 2 x 25 mm2 6.6 KV grade (UE) XLPE insulated and PVC sheathed Armoured Aluminium conductor cable without screening conforming to IS - 7098 (Part - II) 2011 as amended upto date and meeting AAI specifications as required | 1000.00 | Mtr. |  | 320.00 | 320000.00 | 260.00 | 260000.00 | 300.00 | 300000.00 | 260000.00 | CREATIVE TRADING CO
72.00 | Supply of secondary lead made out of 2C x 4 sq.mm multi stranded annealed tinned copper conductor EPR insulated, PCP sheathed, unshielded type, 1.1KV grade conforming to IS- 9968(Part-I) 1988 as amended upto date etc., complete as required | 1000.00 | Mtr. |  | 165.00 | 165000.00 | 160.00 | 160000.00 | 160.00 | 160000.00 | 160000.00 | vardhman Airport solutions pvt. Ltd., CREATIVE TRADING CO
| Total in Figures |  |  |  |  | 17942174.88 |  | 15797500.00 |  | 14745800.00
Lowest Amount Quoted BY: vardhman Airport solutions pvt. Ltd.(14745800.00)

## BOQ Summary
BOQ Summary Details Tender Title: RM of Ground Light Facilities at Chennai Airport During the Year 2024 2025. SH Procurement of Spares for GLF Installations Tender ID: 2024_AAI_214908_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | vardhman Airport solutions pvt. Ltd. (BID ID -784000) | 14745800.00 | L1
| 2 | CREATIVE TRADING CO (BID ID -784029) | 15797500.00 | L2
| 3 | AMA Private Limited (BID ID -783038) | 17942174.88 | L3