## BoQ1
Government eProcurement System Created By: BINDU KRISHNAN Created Date/Time: 23-Jan-2025 03:12 PM Tender Title: Providing Online Continuous Effluent Monitoring system (OCEMS) for 1050KLD STP at Trichy International Airport Tender ID: 2024_AAI_214984_1
Tender Inviting Authority: Senior Manager (Engg-E)
Name of Work: Providing Online Continuous Effluent Monitoring system (OCEMS) for 1050KLD STP at Trichy International Airport.
Contract No: AAI/TRY/ENGG(E)/CW-05/2024-25 Tender ID: 2024_AAI_214984
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Analyser Instrument Co Pvt Ltd (GSTN-08AACCA7730N1ZE) BID ID -779537 |  | Aaxis Nano technologies Pvt. Ltd. (GSTN-09AALCA6200A1Z7) BID ID -781413 |  | Hydrotech Paryavaran India Pvt. Ltd. (GSTN-03AAACH4106R1ZN) BID ID -789003 |  | Walsons Services Private Limited (GSTN-NA) BID ID -789939 |  | ENDISTRIYEL MESUR TECHNOLOGIES PVT.LTD (GSTN-NA) BID ID -783009
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, Installation, Testing and Commissioning of Online Continuous Effluent Monitoring System for 1050KLD STP which is capable of analysing & measuring pH, TSS, COD, BOD of the treated water along with features to transmit raw and validated data to central server of TNPCB/CPCB complete etc., as required as per TNPCB/CPCB norms. | 1.00 | Each |  | 1500000.00 | 1500000.00 | 1150000.00 | 1150000.00 | 1750000.00 | 1750000.00 | 940500.00 | 940500.00 | 1500000.00 | 1500000.00 | 940500.00 | Walsons Services Private Limited
2.00 | Supply, Installation, Testing & Commissioning of Indoor IP PTZ Dome Camera with image Sensor - 1/2.8" or better – CMOS, Resolution of 1920 x 1080 Full HD at 25/30 FPS or better, Optical Zoom of 20x or better, Lens - auto iris, 4.7 mm to 94 mm or better, Video Stream of Dual H.264 or better video stream – both the streams individually configurable for different resolution & FPS up to the maximum, Min. Illumination of B/W - 0.1 Lux @ 30IRE or better; Colour: 0.6 Lux @30IRE or better; Day/Night operation with IR cut filter, Presets of 250 or more pre-defined positions, Privacy masking zones of 4 or better, PTZ functions of Pan - 360 deg continues; Tilt of 0-90 deg auto flip, Manual tilt speed of 0.5 deg/sec to 90 deg/sec, Manual Pan speed of 0.5 deg/sec to 90 deg/sec, Preset tilt speed of 0.5 deg/sec to 90 deg/sec, Preset Pan speed of 0.5 deg/sec to 300 deg/sec, Auto -Focus, Electronic shutter, Iris control & white balance, Wide Dynamic Range (WDR) of 70 dB or better, S/N Ratio >= 50 dB, Auxiliary inputs & Outputs – minimum of 1 alarm input & 1 relay output, Termination Box, Integrated RJ 45 and power connector should be provided with each camera, Vandal proof enclosure, Mounting Type suitable for False Ceiling / Surface / Recessed with necessary mounting support / brackets and fixing accessories, including necessary wiring for providing power supply complete with all accessories etc., as required. | 1.00 | Job |  | 100000.00 | 100000.00 | 155000.00 | 155000.00 | 120000.00 | 120000.00 | 128700.00 | 128700.00 | 250000.00 | 250000.00 | 100000.00 | Analyser Instrument Co Pvt Ltd
3.00 | Supply, Installation, Testing & Commissioning of Office Personal Computer (PC) with the following features: Type: all-in-one with height adjustable display Processor: i9, 13th Gen processor or better No. of cores in CPU: 24 nominal Windows: 11/professional RAM size: 64 GB DDR5 RAM or better SSD: 512 GB or better HDD: 1 TB or better Graphics: 4 GB (dedicated/integrated) nominal Keyboard: wireless keyboard Mouse: wireless mouse Display size: 23.8 inch nominal or better Connectivity: suitable for Wifi, Bluetooth, Ethernet Ports: USB 2 & 3, HDMI Webcam with speakers Warranty: as per OEM standard Job also includes providing internet connectivity through SIM based/hardwire as per the site requirement for transmitting the STP data to TNPCB/CPCB for a period of 5 years during AMC complete with all necessary accessories & wiring etc., as required. | 1.00 | Job |  | 250000.00 | 250000.00 | 95000.00 | 95000.00 | 1534000.00 | 1534000.00 | 178200.00 | 178200.00 | 350000.00 | 350000.00 | 95000.00 | Aaxis Nano technologies Pvt. Ltd.
4.00 | Supply and laying of armoured single mode 6 core OFC cable for conforming to ITU-T G G52 and IEC - 60794 with up to date amendments etc., for transmitting the camera feed at STP to existing outdoor CCTV server rack near driver canteen including all necessary accessories etc., complete as required. | 200.00 | Mtrs |  | 200.00 | 40000.00 | 150.00 | 30000.00 | 1000.00 | 200000.00 | 188.10 | 37620.00 | 170.00 | 34000.00 | 30000.00 | Aaxis Nano technologies Pvt. Ltd.
5.00 | Supply and laying of armoured CAT-6 UTP cable in DWC pipe including termination on either end for PTZ camera including all accessories etc., complete as required. | 200.00 | Mtrs |  | 200.00 | 40000.00 | 200.00 | 40000.00 | 1000.00 | 200000.00 | 99.00 | 19800.00 | 145.00 | 29000.00 | 19800.00 | Walsons Services Private Limited
6.00 | Supplying and laying of 63mm dia (OD-63 mm & ID-51 mm nominal) DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 16205 (Part 24) complete with fitting and cutting, jointing etc. Direct in ground (1 mtr below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. | 200.00 | Mtrs |  | 300.00 | 60000.00 | 110.00 | 22000.00 | 1000.00 | 200000.00 | 237.60 | 47520.00 | 350.00 | 70000.00 | 22000.00 | Aaxis Nano technologies Pvt. Ltd.
7.00 | Annual Maintenance contract (AMC) of Online Continous Effluent Monitoring System for 1050KLD STP which is capable of analysing & measuring pH, TSS, COD, BOD of the treated water along with features to transmit raw and validated data to central server, TNPCB/PCC and to CPCB. (After completion of One Year Defects Liability Period)
7.01 | 1st Year | 1.00 | Year |  | 70000.00 | 70000.00 | 85000.00 | 85000.00 | 160000.00 | 160000.00 | 35000.00 | 35000.00 | 146800.00 | 146800.00 | 35000.00 | Walsons Services Private Limited
7.02 | 2nd Year | 1.00 | Year |  | 80000.00 | 80000.00 | 85000.00 | 85000.00 | 160000.00 | 160000.00 | 35000.00 | 35000.00 | 152200.00 | 152200.00 | 35000.00 | Walsons Services Private Limited
7.03 | 3rd Year | 1.00 | Year |  | 90000.00 | 90000.00 | 85000.00 | 85000.00 | 180000.00 | 180000.00 | 35000.00 | 35000.00 | 156400.00 | 156400.00 | 35000.00 | Walsons Services Private Limited
7.04 | 4th Year | 1.00 | Year |  | 100000.00 | 100000.00 | 85000.00 | 85000.00 | 180000.00 | 180000.00 | 35000.00 | 35000.00 | 157600.00 | 157600.00 | 35000.00 | Walsons Services Private Limited
7.05 | 5th Year | 1.00 | Year |  | 110000.00 | 110000.00 | 85000.00 | 85000.00 | 200000.00 | 200000.00 | 35000.00 | 35000.00 | 166000.00 | 166000.00 | 35000.00 | Walsons Services Private Limited
| Total in Figures |  |  |  |  | 2440000.00 |  | 1917000.00 |  | 4884000.00 |  | 1527340.00 |  | 3012000.00
Lowest Amount Quoted BY: Walsons Services Private Limited(1527340.00)

## BOQ Summary
BOQ Summary Details Tender Title: Providing Online Continuous Effluent Monitoring system (OCEMS) for 1050KLD STP at Trichy International Airport Tender ID: 2024_AAI_214984_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Walsons Services Private Limited (BID ID -789939) | 1527340.00 | L1
| 2 | Aaxis Nano technologies Pvt. Ltd. (BID ID -781413) | 1917000.00 | L2
| 3 | Analyser Instrument Co Pvt Ltd (BID ID -779537) | 2440000.00 | L3
| 4 | ENDISTRIYEL MESUR TECHNOLOGIES PVT.LTD (BID ID -783009) | 3012000.00 | L4
| 5 | Hydrotech Paryavaran India Pvt. Ltd. (BID ID -789003) | 4884000.00 | L5