## BoQ1
Government eProcurement System Created By: Dadan Singh Created Date/Time: 21-Jan-2025 05:59 PM Tender Title: Replacement of Street Lights, Bollard Lights in front of NITB at R.B. Airport, Bhopal Tender ID: 2024_AAI_215526_1
Tender Inviting Authority: AGM(E-E), AAI, R.B. Airport, Bhopal
Name of Work: Replacement of Street Lights, Bollard Lights in front of NITB at R. B. Airport, Bhopal
Contract No: AAI/BPL/ENGG(E)/NIT-11/2024-25
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | R S ELECTRICALS (GSTN-09AALFR7080G1ZS) BID ID -792890 |  | DOSHI ELECTRIC ENGG. CO. (GSTN-24AAEFD3355K1ZI) BID ID -792064 |  | Instapower Ltd (GSTN-05AAACI9712L1ZG) BID ID -792462 |  | ENERGYGREEN TECHNOPOWER PVT LTD (GSTN-23AAECE7344J1ZM) BID ID -792536 |  | Manish Electricals (GSTN-23ABLPM9012E1ZW) BID ID -792911 |  | M R ELECTRICALS (GSTN-27AARPV8927A1Z5) BID ID -792968 |  | ORIENT ELECTRIC LIMITED (GSTN-NA) BID ID -793461 |  | SYNERGY LIGHTING SOLUTIONS (GSTN-NA) BID ID -792071 |  | MANKHA ELECTROTECH PRIVATE LIMITED (GSTN-NA) BID ID -794939 |  | BATRA ENGINEERS (GSTN-NA) BID ID -789172 |  | Variant Infratech Private Limited (GSTN-NA) BID ID -792648
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of LED Street Light Luminiare made of Die cast aluminium housing in one piece with minimum System efficacy 135 lm/watt, operating voltage 140 to 270 Volt, System lumen output ≥ 27500 lumens with luminaire system efficacy ≥ 135lm/W, 50 Hz AC power supply, CCT / Color 5700K, IP 65 / 66 protection, IK - 10 with 10 KV SPD, SDCM < 5, Lens & optical cover - Polycarbonate window with minimum 50000 burning hours of LED Light at L70B, PF > 0.95, CRI - 70, THD < 10% (at full load), in-built surge protection - 4 KV, driver should be minimum have High voltage / low voltage cut off, EMI / EMC compliance as per EN55015 / CISPR15 with BIS of Driver and luminaire and LM-79 from NABL cirtified lab and LM-80, with 5 year warranty certificate complete etc as required. Make Phillips, item code - BRP505 LED280 or equivalent as approved by Engineer-In-Charge. | 165.00 | Each |  | 9200.00 | 1518000.00 | 8050.00 | 1328250.00 | 7500.00 | 1237500.00 | 8450.00 | 1394250.00 | 8500.00 | 1402500.00 | 7877.00 | 1299705.00 | 5331.00 | 879615.00 | 5900.00 | 973500.00 | 12300.00 | 2029500.00 | 9500.00 | 1567500.00 | 6785.00 | 1119525.00 | 879615.00 | ORIENT ELECTRIC LIMITED
2.00 | Supply of LED Highbay light (Round) with minimum System efficacy 150 lm/watt body should have Pressure Die cast aluminium body wide beam Angle, operating voltage 140 to 270 Volt, System lumen output ≥ 25200 lumens with luminaire system efficacy ≥ 150lm/W, operating temp. 0 - 45 Degree C with long life 50000 Burning hour with 6KV Surge Protection, CISPR 15, High voltage / Low voltage cut off, IEC 61000 - 3 - 2, Current Ripple of <10%, IK08, CCT / Color 5700K, IP 65 / 66 protection, polycarbonate cover provides strong protection under harsh conditions, EMC/EMI Compliance, THD< 10 % ensures efficient power distribution system. Eyebolt Mounting ensure ease of installation. high / low cut off, SDCM <5% with BIS of Driver and luminaire and LM-79 from NABL cirtified lab and LM-80, with 5 year warranty certificate Make: Philips -BY6712P LED250S 5700 WB H PSU or equivalent as approved by Engineer-In-Charge. | 40.00 | Each |  | 11500.00 | 460000.00 | 10350.00 | 414000.00 | 8500.00 | 340000.00 | 9100.00 | 364000.00 | 9500.00 | 380000.00 | 12530.00 | 501200.00 | 5547.00 | 221880.00 | 5000.00 | 200000.00 | 10500.00 | 420000.00 | 11500.00 | 460000.00 | 5900.00 | 236000.00 | 200000.00 | SYNERGY LIGHTING SOLUTIONS
3.00 | Supply of LED Highbay light (Round) with minimum System efficacy 150 lm/watt body should have Pressure Die cast aluminium body wide beam Angle, operating voltage 140 to 270 Volt, System lumen output ≥ 30000 lumens with luminaire system efficacy ≥ 150lm/W, operating temp. 0 - 45 Degree C with long life 50000 Burning hour with 6KV Surge Protection, CISPR 15, High voltage / Low voltage cut off 440 V, Current Ripple of <10%, IK08, CCT / Color 5700K, IP 65 / 66 protection, polycarbonate cover provides strong protection under harsh conditions, EMC/EMI Compliance, THD< 10 % ensures efficient power distribution system. Eyebolt Mounting ensure ease of installation. high / low cut off, SDCM <5% with BIS of Driver and luminaire and LM-79 from NABL certified lab and LM-80 with 5 year warranty certificate Make: Philips -BY6712P LED300S 5700 WB H PSU or equivalent as approved by Engineer-In-Charge. | 30.00 | Each |  | 14300.00 | 429000.00 | 12880.00 | 386400.00 | 8500.00 | 255000.00 | 10400.00 | 312000.00 | 10500.00 | 315000.00 | 12190.00 | 365700.00 | 5547.00 | 166410.00 | 6500.00 | 195000.00 | 11400.00 | 342000.00 | 19500.00 | 585000.00 | 6726.00 | 201780.00 | 166410.00 | ORIENT ELECTRIC LIMITED
4.00 | Supply of 3 Meter height self-lit rectangular pole having minimum lumen output of 4500lumens, system efficacy of 100lm/W, and wattage not exceeding 45W, CCT of 3000K, SDCM<5, CRI>70. Housing made of Aluminum with aesthetically designed Jali at the top potion of the pole for emitting light. IP65 protection and minimum IK07 protection against mechanical impact. Operating voltage range of 120-277VAC, 50Hz. Power factor>0.9, THD< 10%, Life 50000 hrs L70 at 35°C. BIS Certified Mandatory. BIS certificate of the luminaire should be submitted before supply. Phillips Elite Model / NRI / LT / Shredder or equivalent as approved by Engineer-In-Charge. | 98.00 | Each |  | 51500.00 | 5047000.00 | 45700.00 | 4478600.00 | 35000.00 | 3430000.00 | 54600.00 | 5350800.00 | 33000.00 | 3234000.00 | 42550.00 | 4169900.00 | 33285.00 | 3261930.00 | 37500.00 | 3675000.00 | 48300.00 | 4733400.00 | 35600.00 | 3488800.00 | 28910.00 | 2833180.00 | 2833180.00 | Variant Infratech Private Limited
5.00 | Supply & Installation of LED strip light of 3000K, IP 66 / 68, IK06 CB and CE certified sealed with anti-UV polyurethane along with accessories such as driver, mounting clips, connectors, etc. as required for straight or curved coves and recessed applications with housing of Extruded silicone, wattage not exceeding 45W to 50W/ 5 M with lumen output of not less than 4000lm / 5 M. Luminaire has a choice of beam angles of 120° degree. Fixture should run on input voltage of 12 / 24VDC. Luminaire should be BIS certified luminaire and driver along with LM79 report from NABL accredited LAB. Make: Philips, Model: BGC301 800LM 3000K L5000 or equivalent as approved by Engineer-In-Charge. | 1000.00 | Meter |  | 3200.00 | 3200000.00 | 2730.00 | 2730000.00 | 2200.00 | 2200000.00 | 2860.00 | 2860000.00 | 1900.00 | 1900000.00 | 1840.00 | 1840000.00 | 1152.00 | 1152000.00 | 1400.00 | 1400000.00 | 1410.00 | 1410000.00 | 480.00 | 480000.00 | 1711.00 | 1711000.00 | 480000.00 | BATRA ENGINEERS
6.00 | Installation, testing and commissioning of pre-wired, 200 watt LED street light fitting with providing & fixing of 0.50 Meter Long Single arm on existing street light pole complete etc as required. | 165.00 | Each |  | 200.00 | 33000.00 | 500.00 | 82500.00 | 3000.00 | 495000.00 | 1950.00 | 321750.00 | 600.00 | 99000.00 | 1265.00 | 208725.00 | 1657.00 | 273405.00 | 200.00 | 33000.00 | 330.00 | 54450.00 | 250.00 | 41250.00 | 1180.00 | 194700.00 | 33000.00 | SYNERGY LIGHTING SOLUTIONS, R S ELECTRICALS
7.00 | Installation, testing and commissioning of pre-wired, 140 - 200 watt LED highbay fitting with clamps on existing NITB high height ceiling / canopy complete etc as required. | 70.00 | Each |  | 200.00 | 14000.00 | 1000.00 | 70000.00 | 3500.00 | 245000.00 | 3900.00 | 273000.00 | 400.00 | 28000.00 | 805.00 | 56350.00 | 720.00 | 50400.00 | 300.00 | 21000.00 | 240.00 | 16800.00 | 350.00 | 24500.00 | 1180.00 | 82600.00 | 14000.00 | R S ELECTRICALS
8.00 | Erection of Bollard Light Pole of 03 meter height in cement concrete 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 40 mm nominal size) RCC foundation of size 0.60 X 0.60 X 1.00 Metre deep with proper size of foundation bolts including excavation, refilling and fixing of bollard light etc. as required. (Including foundation civil work) including excavation & refilling, including positioning of template & foundation bolts (supplied with pole to match with pole base plate) complete as required. | 98.00 | Each |  | 2000.00 | 196000.00 | 4000.00 | 392000.00 | 4500.00 | 441000.00 | 6500.00 | 637000.00 | 4000.00 | 392000.00 | 5750.00 | 563500.00 | 5187.00 | 508326.00 | 1000.00 | 98000.00 | 2400.00 | 235200.00 | 3500.00 | 343000.00 | 17700.00 | 1734600.00 | 98000.00 | SYNERGY LIGHTING SOLUTIONS
| Total in Figures |  |  |  |  | 10897000.00 |  | 9881750.00 |  | 8643500.00 |  | 11512800.00 |  | 7750500.00 |  | 9005080.00 |  | 6513966.00 |  | 6595500.00 |  | 9241350.00 |  | 6990050.00 |  | 8113385.00
Lowest Amount Quoted BY: ORIENT ELECTRIC LIMITED(6513966.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of Street Lights, Bollard Lights in front of NITB at R.B. Airport, Bhopal Tender ID: 2024_AAI_215526_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ORIENT ELECTRIC LIMITED (BID ID -793461) | 6513966.00 | L1
| 2 | SYNERGY LIGHTING SOLUTIONS (BID ID -792071) | 6595500.00 | L2
| 3 | BATRA ENGINEERS (BID ID -789172) | 6990050.00 | L3
| 4 | Manish Electricals (BID ID -792911) | 7750500.00 | L4
| 5 | Variant Infratech Private Limited (BID ID -792648) | 8113385.00 | L5
| 6 | Instapower Ltd (BID ID -792462) | 8643500.00 | L6
| 7 | M R ELECTRICALS (BID ID -792968) | 9005080.00 | L7
| 8 | MANKHA ELECTROTECH PRIVATE LIMITED (BID ID -794939) | 9241350.00 | L8
| 9 | DOSHI ELECTRIC ENGG. CO. (BID ID -792064) | 9881750.00 | L9
| 10 | R S ELECTRICALS (BID ID -792890) | 10897000.00 | L10
| 11 | ENERGYGREEN TECHNOPOWER PVT LTD (BID ID -792536) | 11512800.00 | L11