## BoQ1
Government eProcurement System Created By: Atul Semwal Created Date/Time: 10-Dec-2024 12:26 PM Tender Title: Miscellaneous Unforeseen works at LBSI Airport, Varanasi during year 2024-25 Tender ID: 2024_AAI_216312_1
Tender Inviting Authority: Airports Authority of India
Name of Work:Miscellaneous Unforeseen works at LBSI Airport, Varanasi during year 2024-25
Contract No: 2024_AAI_216312_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | VINOD B GUPTA (GSTN-24AJWPG4222H1Z8) BID ID -778081 |  | Fermium Constructions LLP (GSTN-06AADFF1864C1ZU) BID ID -778732
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
.10 | Civil Works
1.00 | Dismantling of Sanitary fixtures & fittings including WC, Urinals, Wash Basins etc. including stacking of useful materials near the site and disposal of unserviceable materials within 50 metres lead. | 29.00 | Each |  | 153.00 | 4437.00 | 150.00 | 4350.00 | 4350.00 | Fermium Constructions LLP
2.00 | Dismantling of toilet fixtures of type including stacking of useful materials at store and disposal of unserviceable material to dumping ground as shown by EIC all complete | 284.00 | Each |  | 63.00 | 17892.00 | 60.00 | 17040.00 | 17040.00 | Fermium Constructions LLP
3.00 | Dismantling or taking out fixed mirror in toilet including disposal of unserviceable surplus material and stacking of serviceable material at sutaible place as direction and satisfaction by Engineer-in-charge. | 110.00 | Sqm |  | 74.50 | 8195.00 | 72.00 | 7920.00 | 7920.00 | Fermium Constructions LLP
4.00 | Dismantling stone slab/tiles flooring laid in cement mortar including stacking of serviceable material and disposal of unserviceable material within 50 metres lead. | 47.35 | Sqm |  | 263.10 | 12457.79 | 253.00 | 11979.55 | 11979.55 | Fermium Constructions LLP
5.00 | Demolishing cement concrete including disposal of material within 50 metres lead: 1:3:6 or richer mix | 10.00 | Cum |  | 1575.00 | 15750.00 | 1500.00 | 15000.00 | 15000.00 | Fermium Constructions LLP
6.00 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | 15.00 | Cum |  | 153.00 | 2295.00 | 150.00 | 2250.00 | 2250.00 | Fermium Constructions LLP
7.00 | Supplying and filling in plinth with sand/stone girt under floors, including watering, ramming, consolidating and dressing complete. | 10.00 | Cum |  | 2118.90 | 21189.00 | 2018.00 | 20180.00 | 20180.00 | Fermium Constructions LLP
8.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : a) 1:2:4 (1 cement : 2 coarse sand (zone-III): 4 graded stone aggregate 20 mm nominal size). | 10.00 | Cum |  | 5175.00 | 51750.00 | 5000.00 | 50000.00 | 50000.00 | Fermium Constructions LLP
9.00 | Providing and fixing stainless steel ( Grade 304) Trolly fender / railing made of Hollow tubes, channels, plates etc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners , stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-incharge, (for payment purpose only weight of stainless steel members shall be considered excluding fixing accessories such as nuts, bolts,fasteners etc.). | 60.00 | Kg |  | 624.00 | 37440.00 | 600.00 | 36000.00 | 36000.00 | Fermium Constructions LLP
10.00 | Providing and laying in floors anti skid homogenous premium quality vitrified tiles with water absorption less than 0.08% and conforming to IS:15622 of approved Belgium Grey NITCO/Marbonite -Ash Grey/Porselano – Dew Grey JOHNSON/ Fresco Azul RAK CERAMICS brand/ manufacturer, of size 600 x 600 mm in combination as per approved drawing without warpage of approved make and colour shades laid with cement based high polymer modified quick set tiles adhesive (Water based) conferming to IS : 15477 over 20 mm bed of cement mortar 1:4 (1 cement : 4 coarse sand) including grouting the joints of thickness 3 mm with solid epoxy grout of PIDILITE / LATICRETE / BAL ENDURA / FERROUS CRETE or approved equivalent of desired shade etc. complete and as per pattern specified in approved drawings and specifications complete as per directions of Engineer-in-charge. | 47.00 | Sqm |  | 1428.00 | 67116.00 | 1400.00 | 65800.00 | 65800.00 | Fermium Constructions LLP
11.00 | Providing and fixing Ist (premium) quality high gloss ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size 300 x 600 mm as approved by Engineer-in-Charge and as per approved drawing including 30% highlighter of individual toilet, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) including 50% mixing with cement based high polymer modified quick set tile adhesive (water based) conforming to IS: 15477 including grouting the joints with Epoxy tile Sealant with matching texture and colour etc all complete as per satisfaction of E.I.C. | 63.00 | Sqm |  | 1109.85 | 69920.55 | 1057.00 | 66591.00 | 66591.00 | Fermium Constructions LLP
12.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias, floors, wall and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. Granite stone slab/ciltured /engineered/artificial slab of colour black, Cherry/Ruby red/P-white/Pure white Area of slab over 0.50 sqm | 37.00 | Sqm |  | 3933.00 | 145521.00 | 3800.00 | 140600.00 | 140600.00 | Fermium Constructions LLP
13.00 | Providing & Fixing decorative high pressure laminated sheet of plain / wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality. | 18.00 | Sqm |  | 735.00 | 13230.00 | 700.00 | 12600.00 | 12600.00 | Fermium Constructions LLP
14.00 | Providing and fixing of 6mm thick annealed Saint Gobain Planilaque Evolution (premium GRIHA rated lacquered glass from Saint-Gobain) or of approved equivalent, fixed with SGG PlaniFIX (compatible neutral core silicon / double sided tape) on a perfectly leveled 12mm thick water proof marine plywood / MDF / Mineral fibre board which is mounted on the RCC wall/any other structure. Lacquered glass must be made industrially (via curtain coating process); opaque (if viewed against a support wall), coated with PU lacquer ; color consistency (measured by Minolta spectrophotometer CM5081); highly durable (passes PERSOZ hardness test for minimum 220 oscillatios); humid resistant (conforms to BS EN 1036 1999); environmentally friendly (no lead, no arsenic, no copper, noformaldehyde); appropriate recycled content (12% post industrial / 6% post consumer); compressive strenght (1000 MPa) & tensile strenght (40 MPa),same as float glass as per the detailed drawings and as approved by Engineer In Charge. | 21.60 | Sqm |  | 6300.00 | 136080.00 | 6000.00 | 129600.00 | 129600.00 | Fermium Constructions LLP
15.00 | Providing & fixing C.P. hand spray with lever control (health faucet) of MODEL NO- ALD-CHR-587 (JAQUAR)/MODEL NO -F160110CP (HINDWARE)/MODEL NO - FB030103(CERA) and flexible hose 1 m long connection with C.P. holder for hand spray complete in all respects as per direction of Engineer-Incharge. | 114.00 | Each |  | 1326.00 | 151164.00 | 1300.00 | 148200.00 | 148200.00 | Fermium Constructions LLP
16.00 | Supply C.P. hand spray with lever control (health faucet) of MODEL NO- ALD-CHR-587 (JAQUAR)/MODEL NO -F160110CP (HINDWARE)/MODEL NO - FB030103(CERA) and flexible hose 1 m long connection with C.P. holder for hand spray complete in all respects as per direction of Engineer-Incharge. | 6.00 | Each |  | 1391.25 | 8347.50 | 1325.00 | 7950.00 | 7950.00 | Fermium Constructions LLP
17.00 | Supply C.P. Bib cock ( push type) of MODEL NO- PRS-CHR-031 (JAQUAR)/MODEL NO -F310014CP (HINDWARE)/MODEL NO - F9020101 (CERA) of approved quality conforming to IS standards and weighing not less than 690 gms. all respects as per direction of Engineer-Incharge. | 114.00 | Each |  | 1872.00 | 213408.00 | 1800.00 | 205200.00 | 205200.00 | Fermium Constructions LLP
18.00 | Providing, fabricating and fixing panels of aluminium composite panel cladding in required shape in colour of approved shades made out of 4mm thick aluminium composite panel material consisting of 3mm thick FR class "O' grade mineral core sandwiched between two Aluminium sheets (each 0.5mm thick). The aluminium composite panel cladding sheet shall be coil coated, with Kynar 500 based PVDF / Lumiflon based fluoropolymer resin coating of approved colour and shade on face # 1 and polymer (Service) coating on face # 2 as specified using stainless steel screws, nuts, bolts, washers, cleats, weather silicone sealant, backer rods etc. complete as per instructions of Engineering In Charge. (Base frame work for ACP cladding is payable under the relevant aluminium item). ACP for Round pillar. | 99.00 | Sqm |  | 4200.00 | 415800.00 | 4000.00 | 396000.00 | 396000.00 | Fermium Constructions LLP
19.00 | Supply of recessed liquid soap dispenser of MODEL NO- ACN-CHR-1137N (JAQUAR)/MODEL NO - F5001111FG (CERA) as per satisfaction and direction of Engineer-Incharge. | 59.00 | Each |  | 2173.50 | 128236.50 | 2100.00 | 123900.00 | 123900.00 | Fermium Constructions LLP
20.00 | Providing & fixing recessed liquid soap dispenser of MODEL NO- ACN-CHR-1137N (JAQUAR)/MODEL NO - F5001111FG (CERA) as per satisfaction and direction of Engineer-Incharge. | 59.00 | Each |  | 2520.00 | 148680.00 | 2400.00 | 141600.00 | 141600.00 | Fermium Constructions LLP
21.00 | Supply of stainless steel jumbo roll toilet tissue dispenser of MODEL NO- AXP-CHR-35753 PS (JAQUAR)/MODEL NO -FBB0003CP (HINDWARE)/MODEL NO - F5013110CH (CERA) with stainless steel roller complete with accessories ,including cutting and making good the walls and floors wherever required as per direction of Engineer-Incharge. | 46.00 | Each |  | 728.00 | 33488.00 | 700.00 | 32200.00 | 32200.00 | Fermium Constructions LLP
22.00 | Providing & fixing stainless steel jumbo roll toilet tissue dispenser of MODEL NO- AXP-CHR-35753 PS (JAQUAR)/MODEL NO -FBB0003CP (HINDWARE)/MODEL NO - F5013110CH (CERA) with stainless steel roller complete with accessories ,including cutting and making good the walls and floors wherever required as per direction of Engineer-Incharge. | 114.00 | Each |  | 840.00 | 95760.00 | 800.00 | 91200.00 | 91200.00 | Fermium Constructions LLP
23.00 | Providing and fixing water closet squatting pan (Indian type W.C. Asian Pan Ultra White of MODEL NO - 20143 (HINDWARE)/MODEL NO - S3010109 (CERA) with 100 mm sand cast Iron P or S trap, with all fittings and fixtures complete,with flush valve approved including brass / SS screws and washer complete including cutting, making good the walls, floors, slab wherever required as per direction of Engineer-Incharge. | 26.00 | Each |  | 3060.00 | 79560.00 | 3000.00 | 78000.00 | 78000.00 | Fermium Constructions LLP
24.00 | Providing & fixing Off white vitreous china flat back urinal with automatic flushing systems American Standard CP-6507.322.04\Concept 1.9 L Urinal HE2,KHOLER 16321T-M-0 PATIO TOUCHLESS, ROCA RS35945E000 EURET ,Hindware Q257630210 or approved equivalent) comprising of all plumbing, electronic and electrical items. CP brass flush pipe with CP brass elbow, CP brass spreader, CP wall flange, infrared photo cells, eyes electrically operated solenoid valve, step down transformer / equipment and any other item required to provide satisfactory functioning including necessary wall cutting / chasing and making good, as required for urinal flushing complete as mentioned above as per direction of Engineer-Incharge. | 5.00 | Each |  | 24960.00 | 124800.00 | 24000.00 | 120000.00 | 120000.00 | Fermium Constructions LLP
25.00 | Providing & fixing the sensor of vitreous china flat back urinal , ROCA RS35945E000 EURET comprising of all plumbing, electronic and electrical items., infrared photo cells, eyes electrically operated solenoid valve, step down transformer / equipment and any other item required to provide satisfactory functioning as required for urinal flushing complete as mentioned above as per direction of Engineer-Incharge. | 30.00 | Each |  | 5589.00 | 167670.00 | 5400.00 | 162000.00 | 162000.00 | Fermium Constructions LLP
26.00 | Providing and fixing beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | 124.00 | Sqm |  | 1785.00 | 221340.00 | 1700.00 | 210800.00 | 210800.00 | Fermium Constructions LLP
27.00 | Providing and fixing of laminated and glossy pictures on minimum 3mm+ 3mm (sandwich type) acrylic sheet for interior design work depicting local art work for Airport toilet and VIP lounge fixing on required surface with adhesive all complete as per satisfaction of EIC. | 10.00 | Sqm |  | 5796.00 | 57960.00 | 5600.00 | 56000.00 | 56000.00 | Fermium Constructions LLP
28.00 | Providing and fixing SS 304 grade Gutterman corner angle of size 25x25x2mm to be fixed on adjoining corner of glass to glass or tiles to tiles or glass to tiles with stainless adhesive / high grade silicon. The installation shall be to the satisfaction / approval of Engineer-in-charge. | 96.00 | Mtr |  | 420.25 | 40344.00 | 412.00 | 39552.00 | 39552.00 | Fermium Constructions LLP
29.00 | Providing and placing decorative artificial imported plastic foliage, branches and other parts of plants, without flowers or flower buds and flower buds of a kind suitable for bouquets or for ornamental purposes, dried, dyed, bleached, impregnated or otherwise prepared decorative plants of premium quality with decorative basket as per approval of EIC representative. The sample kept in the office of the Engineer-In-Charge, the supplied item must be resemble with the sample. All work completed as per satisfaction of Engineer-In-Charge. (a) Tiger Lilly-Cat No:KHO75 of height 5Ft (From pot base to top most part) | 2.00 | Each |  | 6760.00 | 13520.00 | 6500.00 | 13000.00 | 13000.00 | Fermium Constructions LLP
30.00 | Providing and placing decorative artificial imported plastic foliage, branches and other parts of plants, without flowers or flower buds and flower buds of a kind suitable for bouquets or for ornamental purposes, dried, dyed, bleached, impregnated or otherwise prepared decorative plants of premium quality with decorative basket as per approval of EIC representative. The sample kept in the office of the Engineer-In-Charge, the supplied item must be resemble with the sample. All work completed as per satisfaction of Engineer-In-Charge. (b) Lemon Plant-Cat No:KHO58 of height 4.9Ft (From pot base to top most part) | 2.00 | Each |  | 6720.00 | 13440.00 | 6400.00 | 12800.00 | 12800.00 | Fermium Constructions LLP
31.00 | Providing and placing decorative artificial imported plastic foliage, branches and other parts of plants, without flowers or flower buds and flower buds of a kind suitable for bouquets or for ornamental purposes, dried, dyed, bleached, impregnated or otherwise prepared decorative plants of premium quality with decorative basket as per approval of EIC representative. The sample kept in the office of the Engineer-In-Charge, the supplied item must be resemble with the sample. All work completed as per satisfaction of Engineer-In-Charge. (c) Bottle Palm-Cat No:KHO77 of height 5.5Ft (From pot base to top most part) | 2.00 | Each |  | 5049.00 | 10098.00 | 4950.00 | 9900.00 | 9900.00 | Fermium Constructions LLP
32.00 | Providing and placing decorative artificial imported plastic foliage, branches and other parts of plants, without flowers or flower buds and flower buds of a kind suitable for bouquets or for ornamental purposes, dried, dyed, bleached, impregnated or otherwise prepared decorative plants of premium quality with decorative basket as per approval of EIC representative. The sample kept in the office of the Engineer-In-Charge, the supplied item must be resemble with the sample. All work completed as per satisfaction of Engineer-In-Charge. (d) Croton-Cat No:KHO42 of height 4Ft (From pot base to top most part) | 2.00 | Each |  | 4725.00 | 9450.00 | 4500.00 | 9000.00 | 9000.00 | Fermium Constructions LLP
33.00 | Providing and placing decorative artificial imported plastic foliage, branches and other parts of plants, without flowers or flower buds and flower buds of a kind suitable for bouquets or for ornamental purposes, dried, dyed, bleached, impregnated or otherwise prepared decorative plants of premium quality with decorative basket as per approval of EIC representative. The sample kept in the office of the Engineer-In-Charge, the supplied item must be resemble with the sample. All work completed as per satisfaction of Engineer-In-Charge. (e) Banana Tree-Cat No:KHO87 of height 4.50Ft (From pot base to top most part) | 2.00 | Each |  | 4368.00 | 8736.00 | 4200.00 | 8400.00 | 8400.00 | Fermium Constructions LLP
34.00 | Providing and placing decorative artificial imported plastic foliage, branches and other parts of plants, without flowers or flower buds and flower buds of a kind suitable for bouquets or for ornamental purposes, dried, dyed, bleached, impregnated or otherwise prepared decorative plants of premium quality with decorative basket as per approval of EIC representative. The sample kept in the office of the Engineer-In-Charge, the supplied item must be resemble with the sample. All work completed as per satisfaction of Engineer-In-Charge. (f) Areca Palm-Cat No:KHO98 of height 4Ft (From pot base to top most part) | 2.00 | Each |  | 1552.50 | 3105.00 | 1500.00 | 3000.00 | 3000.00 | Fermium Constructions LLP
35.00 | Providing and placing decorative artificial imported plastic foliage, branches and other parts of plants, without flowers or flower buds and flower buds of a kind suitable for bouquets or for ornamental purposes, dried, dyed, bleached, impregnated or otherwise prepared decorative plants of premium quality with decorative basket as per approval of EIC representative. The sample kept in the office of the Engineer-In-Charge, the supplied item must be resemble with the sample. All work completed as per satisfaction of Engineer-In-Charge. (a) Big size plants | 50.00 | Each |  | 520.00 | 26000.00 | 500.00 | 25000.00 | 25000.00 | Fermium Constructions LLP
36.00 | Providing and placing decorative artificial imported plastic foliage, branches and other parts of plants, without flowers or flower buds and flower buds of a kind suitable for bouquets or for ornamental purposes, dried, dyed, bleached, impregnated or otherwise prepared decorative plants of premium quality with decorative basket as per approval of EIC representative. The sample kept in the office of the Engineer-In-Charge, the supplied item must be resemble with the sample. All work completed as per satisfaction of Engineer-In-Charge. (b) Medium size plants | 50.00 | Each |  | 402.90 | 20145.00 | 395.00 | 19750.00 | 19750.00 | Fermium Constructions LLP
37.00 | Providing and placing decorative artificial imported plastic foliage, branches and other parts of plants, without flowers or flower buds and flower buds of a kind suitable for bouquets or for ornamental purposes, dried, dyed, bleached, impregnated or otherwise prepared decorative plants of premium quality with decorative basket as per approval of EIC representative. The sample kept in the office of the Engineer-In-Charge, the supplied item must be resemble with the sample. All work completed as per satisfaction of Engineer-In-Charge. (c) Small size plants | 50.00 | Each |  | 315.00 | 15750.00 | 300.00 | 15000.00 | 15000.00 | Fermium Constructions LLP
38.00 | Providing and placing decorative live plants with pots to form colourful collage with increase view at designated place consisting of plants ficus lyrata-4'-20Nos, Golden philodendron-1'--70Nos, Money plant bushi-6"-100Nos, Poinsettia plant (Red)-1.5'-100Nos, Poinsettia plant (White)-1.5'-50Nos, Fern plant-2'-2Nos, Red syngonium-6"-40Nos, Red lilly-6"-40Nos, Dwarf bamboo plants-2.5'-5Nos, Heliconia plants-2.5'-5Nos. Plants will be kept on wtite colour pots of size 6"-200Nos, 12"-200Nos, 2'-30Nos and golden pot of size-2'-2Nos. All work completed as' per satisfaction of Engineer-In-Charge. | 1.00 | Job |  | 132000.00 | 132000.00 | 120000.00 | 120000.00 | 120000.00 | Fermium Constructions LLP
39.00 | Credit item for taking away SS/CP Brass fittings for water supply like taps, stop cock, angle cock, etc and the like received from damages / dismantling. The material so received shall be the property of Contractor after dismantling duly weighed/ measured before removing from the site in the presence of Engineer-in-charge or his authorised representative all complete. | 15.00 | Kg |  | 238.00 | -3570.00 | 238.00 | -3570.00 | -3570.00 | VINOD B GUPTA, Fermium Constructions LLP
40.00 | Credit item for taking away PVC soap dispensor / any pvc accessories etc and the like received from damages / dismantling. The material so received shall be the property of Contractor after dismantling duly weighed/ measured before removing from the site in the presence of Engineer-in-charge or his authorised representative all complete. | 24.00 | Each |  | 60.00 | -1440.00 | 62.00 | -1488.00 | -1488.00 | Fermium Constructions LLP
| Total in Figures |  |  |  |  | 2737065.33 |  | 2623304.55
Lowest Amount Quoted BY: Fermium Constructions LLP(2623304.55)

## BOQ Summary
BOQ Summary Details Tender Title: Miscellaneous Unforeseen works at LBSI Airport, Varanasi during year 2024-25 Tender ID: 2024_AAI_216312_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Fermium Constructions LLP (BID ID -778732) | 2623304.55 | L1
| 2 | VINOD B GUPTA (BID ID -778081) | 2737065.33 | L2