## BoQ1
Government eProcurement System Created By: Prabhash Baleshwar Created Date/Time: 08-Jan-2025 01:22 PM Tender Title: Replacement of halogen lamp runway edge light fitting by LED fitting and Replacement of elevated type Apron Edge light by inset light in GSE of apron including associated works at Maharana Pratap Airport, Udaipur. Tender ID: 2024_AAI_216378_1
Tender Inviting Authority: SM (Engg.-Elect.), AAI, M.P. Airport, Udaipur
Name of Work: Replacement of halogen lamp runway edge light fitting by LED fitting and Replacement of elevated type Apron Edge light by inset light in GSE of apron including associated works at Maharana Pratap Airport, Udaipur.
Contract No: AAI/UDR/ENGG(E)/2024-25/RUNWAY
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Sai Avionics (GSTN-07ADHFS8725N1ZC) BID ID -796939 |  | Balaji Engineering (GSTN-33ADGPV2628A1ZV) BID ID -798019 |  | Manish Electricals (GSTN-23ABLPM9012E1ZW) BID ID -798036 |  | vardhman Airport solutions pvt. Ltd. (GSTN-NA) BID ID -796649 |  | JCC ENGINEERS PRIVATE LIMITED (GSTN-NA) BID ID -797616
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of LED Bi-directional (White/White or White/Yellow or Red/Yellow) elevated type high intensity Runway Edge light fitting with 05 years warranty for aviation visual aids requirements complete with clear outer glass cover, gasket, LED module, suitable electronic driver, lens array, locking ring, plug, breakable coupling, central column assembly, two pin secondary lead, component of circular guide, base plate, bolts and all other standard accessories complete and fixture suitable for operate on 6.6 amps as per ICAO and conforming to technical specifications. | 185.00 | Each | 0.00 | 29003.00 | 5365555.00 | 50000.00 | 9250000.00 | 68000.00 | 12580000.00 | 30000.00 | 5550000.00 | 30000.00 | 5550000.00 | 5365555.00 | Sai Avionics
2.00 | Supply of electronic driver with 05 years warranty suitable for above fittings specified at item No. 01 | 39.00 | Each | 0.00 | 10000.00 | 390000.00 | 10000.00 | 390000.00 | 25000.00 | 975000.00 | 7000.00 | 273000.00 | 10000.00 | 390000.00 | 273000.00 | vardhman Airport solutions pvt. Ltd.
3.00 | Supply of LED module with 05 years warranty suitable for above fittings specified at item No. 01 | 39.00 | Each | 0.00 | 3500.00 | 136500.00 | 10000.00 | 390000.00 | 25000.00 | 975000.00 | 3000.00 | 117000.00 | 5000.00 | 195000.00 | 117000.00 | vardhman Airport solutions pvt. Ltd.
4.00 | Supply of LED Bi-directional (White/White or White/Yellow or Red/Yellow) inset type high intensity Runway Edge light fitting with 05 years warranty, incl. supply with shallow base for aviation visual aids requirements complete with dome, LED module and its support, reflector, prism assembly, optical assembly, 'O' ring seal (internal and external), valve for watertightness test, hardware, lower cover, suitable electronic driver, plug, gasket, bolts, component of circular guide and all other standard accessories complete and fixture suitable for operate on 6.6 amps as per ICAO and conforming to technical specifications. | 38.00 | Each | 0.00 | 60000.00 | 2280000.00 | 70000.00 | 2660000.00 | 69000.00 | 2622000.00 | 50000.00 | 1900000.00 | 50000.00 | 1900000.00 | 1900000.00 | vardhman Airport solutions pvt. Ltd., JCC ENGINEERS PRIVATE LIMITED
5.00 | Supply of electronic driver with 05 years warranty suitable for above fittings specified at item No. 04 | 9.00 | Each | 0.00 | 10000.00 | 90000.00 | 10000.00 | 90000.00 | 25000.00 | 225000.00 | 15000.00 | 135000.00 | 10000.00 | 90000.00 | 90000.00 | Sai Avionics, JCC ENGINEERS PRIVATE LIMITED, Balaji Engineering
6.00 | Supply of LED module with 05 years warranty suitable for above fittings specified at item No. 04 | 9.00 | Each | 0.00 | 3500.00 | 31500.00 | 10000.00 | 90000.00 | 25000.00 | 225000.00 | 6000.00 | 54000.00 | 5000.00 | 45000.00 | 31500.00 | Sai Avionics
7.00 | Supply of LED Uni-directional (red) elevated type high intensity runway end light fitting with 05 years warranty for aviation visual aids requirements complete with clear outer glass cover, gasket, LED module, suitable electronic driver, lens array, locking ring, plug, breakable coupling, central column assembly, two pin secondary lead, base plate, bolts and all other standard accessories complete and fixture suitable for operate on 6.6 amps as per ICAO and conforming to technical specifications. | 39.00 | Each | 0.00 | 28000.00 | 1092000.00 | 50000.00 | 1950000.00 | 35000.00 | 1365000.00 | 30000.00 | 1170000.00 | 30000.00 | 1170000.00 | 1092000.00 | Sai Avionics
8.00 | Supply of electronic driver with 05 years warranty suitable for above fittings specified at item No. 07 | 8.00 | Each | 0.00 | 10000.00 | 80000.00 | 10000.00 | 80000.00 | 20000.00 | 160000.00 | 7000.00 | 56000.00 | 10000.00 | 80000.00 | 56000.00 | vardhman Airport solutions pvt. Ltd.
9.00 | Supply of LED module with 05 years warranty suitable for above fittings specified at item No. 07 | 8.00 | Each | 0.00 | 2200.00 | 17600.00 | 10000.00 | 80000.00 | 20000.00 | 160000.00 | 3000.00 | 24000.00 | 5000.00 | 40000.00 | 17600.00 | Sai Avionics
10.00 | Supply of LED Uni-directional (green) inset type high intensity threshold light fitting with 05 years warranty, incl. supply with shallow base for aviation visual aids requirements complete with dome, LED module and its support, reflector, prism assembly, optical assembly, 'O' ring seal (internal and external), valve for watertightness test, hardware, lower cover, suitable electronic driver, plug, gasket, bolts and all other standard accessories complete and fixture suitable for operate on 6.6 amps as per ICAO and conforming to technical specifications. | 58.00 | Each | 0.00 | 50000.00 | 2900000.00 | 50000.00 | 2900000.00 | 70000.00 | 4060000.00 | 60000.00 | 3480000.00 | 45000.00 | 2610000.00 | 2610000.00 | JCC ENGINEERS PRIVATE LIMITED
11.00 | Supply of electronic driver with 05 years warranty suitable for above fittings specified at item No. 10 | 13.00 | Each | 0.00 | 10000.00 | 130000.00 | 10000.00 | 130000.00 | 27000.00 | 351000.00 | 15000.00 | 195000.00 | 10000.00 | 130000.00 | 130000.00 | Sai Avionics, JCC ENGINEERS PRIVATE LIMITED, Balaji Engineering
12.00 | Supply of LED module with 05 years warranty suitable for above fittings specified at item No. 10 | 13.00 | Each | 0.00 | 2200.00 | 28600.00 | 10000.00 | 130000.00 | 27000.00 | 351000.00 | 6000.00 | 78000.00 | 5000.00 | 65000.00 | 28600.00 | Sai Avionics
13.00 | Supply of LED omni directional inset type 8 inch dia Medium intensity blue taxiway edge light fitting with 05 years warranty, incl. supply with shallow base for aviation visual aids requirements complete with dome, LED module and its support, reflector, lens, optical assembly, 'O' ring seal (lens holder, dome, lower cover), valve for watertightness test, hardware, lower cover, suitable electronic driver, plug, gasket, bolts and all other standard accessories complete and fixture suitable for operate on 6.6 amps as per ICAO and conforming to technical specifications. | 55.00 | Each | 0.00 | 32000.00 | 1760000.00 | 50000.00 | 2750000.00 | 60000.00 | 3300000.00 | 32000.00 | 1760000.00 | 20000.00 | 1100000.00 | 1100000.00 | JCC ENGINEERS PRIVATE LIMITED
14.00 | Supply of electronic driver with 05 years warranty suitable for above fittings specified at item No. 13 | 14.00 | Each | 0.00 | 10000.00 | 140000.00 | 10000.00 | 140000.00 | 20000.00 | 280000.00 | 10000.00 | 140000.00 | 5000.00 | 70000.00 | 70000.00 | JCC ENGINEERS PRIVATE LIMITED
15.00 | Supply of LED module with 05 years warranty suitable for above fittings specified at item No. 13 | 14.00 | Each | 0.00 | 2200.00 | 30800.00 | 10000.00 | 140000.00 | 25000.00 | 350000.00 | 3800.00 | 53200.00 | 2000.00 | 28000.00 | 28000.00 | JCC ENGINEERS PRIVATE LIMITED
16.00 | Supply of top assembly of LED omni directional inset type 8 inch dia Medium intensity blue taxiway edge light fitting with 05 years warranty for aviation visual aids requirements complete with dome, LED module and its support, reflector, lens, optical assembly, 'O' ring seal (lens holder, dome, lower cover), valve for watertightness test, hardware, lower cover, suitable electronic driver, plug, gasket and all other standard accessories complete and fixture suitable for operate on 6.6 amps as per ICAO and conforming to technical specifications. | 5.00 | Each | 0.00 | 25000.00 | 125000.00 | 50000.00 | 250000.00 | 4500.00 | 22500.00 | 28000.00 | 140000.00 | 18000.00 | 90000.00 | 22500.00 | Manish Electricals
17.00 | Supply of a pair of unidirectional, alternate flashing, elevated type LED runway guard light fitting with 05 years warranty, fitting shall be on common central assembly and complete with LED module and accessories, optic lens, power converter, visor, two pin secondary lead, central column assembly, breakable coupling, base plate, rings, gaskets, bolts etc. The fixture shall be suitable for use at taxiway-runway intersection for day-night operation and operate on 230 V, 50 Hz single phase AC power supply and all other standard accessories as required conforming to ICAO and conforming to technical specifications. | 4.00 | Each | 0.00 | 125000.00 | 500000.00 | 175000.00 | 700000.00 | 290000.00 | 1160000.00 | 140000.00 | 560000.00 | 100000.00 | 400000.00 | 400000.00 | JCC ENGINEERS PRIVATE LIMITED
18.00 | Supply of 100 mm size dia. Medium 'B' Class GI Pipe as per IS 1239 part 1 along with all accessories like socket, bend, couplers etc. complete as required. | 120.00 | Meter | 0.00 | 1000.00 | 120000.00 | 1000.00 | 120000.00 | 1400.00 | 168000.00 | 1000.00 | 120000.00 | 1000.00 | 120000.00 | 120000.00 | vardhman Airport solutions pvt. Ltd., Sai Avionics, JCC ENGINEERS PRIVATE LIMITED, Balaji Engineering
19.00 | Design, Manufacturing, Supply, Installation, Testing and Commissioning of indoor, natural air cooled, microprocessor based thyristor controlled constant current regulator with 20 KW output power at 6.6 amps., suitable for use on 415 V, 50 Hz two phase input AC supply and having 15 KW and 10 KW taping, 5 steps output current variation, local and remote control operation, over current, over voltage and earth fault protections, digital ammeter for output current, digital voltmeter for input voltage, earth leakage meter, positive back indication, terminations of input & output cables, earth connection from existing earth and all other standard accessories required as per ICAO and conforming to technical specifications. | 3.00 | Each | 0.00 | 600000.00 | 1800000.00 | 450000.00 | 1350000.00 | 440000.00 | 1320000.00 | 375000.00 | 1125000.00 | 1200000.00 | 3600000.00 | 1125000.00 | vardhman Airport solutions pvt. Ltd.
20.00 | Supply of 63 mm dia (OD-63 mm & ID-51 mm nominal) size DWC HDPE pipe along with all accessories like socket, bend, couplers, seal rings etc. conforming to IS 16205 : Part 24 complete as required. | 21300.00 | Meter | 0.00 | 90.00 | 1917000.00 | 100.00 | 2130000.00 | 70.00 | 1491000.00 | 80.00 | 1704000.00 | 200.00 | 4260000.00 | 1491000.00 | Manish Electricals
21.00 | Supply of 1 core 6 sqmm, 5 KV grade, copper conductor, PVC insulated, PVC sheathed under ground airport lighting cable with anti -rodent and anti -termite treatment generally confirming to IS: 1554 Part-II 1981 with upto date amendment etc. and conforming to technical specifications complete as required at site. | 15500.00 | Meter | 0.00 | 160.00 | 2480000.00 | 125.00 | 1937500.00 | 95.00 | 1472500.00 | 110.00 | 1705000.00 | 200.00 | 3100000.00 | 1472500.00 | Manish Electricals
22.00 | Supply of 2 core 4 sqmm 600 V grade, copper conductor, EPR insulated, PCP sheathed, underground secondary cable complete and conforming to technical specifications complete as required at site. | 9000.00 | Meter | 0.00 | 200.00 | 1800000.00 | 150.00 | 1350000.00 | 180.00 | 1620000.00 | 185.00 | 1665000.00 | 220.00 | 1980000.00 | 1350000.00 | Balaji Engineering
23.00 | Supply of 3.5 core 25 sqmm, 1.1 KV grade, XLPE insulated, PVC sheathed, aluminum conductor, armoured LT power cable confirming to IS : 7098(Part 1) -1988 with upto date amendment etc. and conforming to technical specifications complete as required at site. | 2370.00 | Meter | 0.00 | 300.00 | 711000.00 | 250.00 | 592500.00 | 225.00 | 533250.00 | 210.00 | 497700.00 | 350.00 | 829500.00 | 497700.00 | vardhman Airport solutions pvt. Ltd.
24.00 | Supply of 15 Watt, 6.6/6.6 Amps, 5 KV grade, 50 Hz, series Isolating Transformer encapsulated in polyester resin, finally moulded in neoprene type rubber with primary and secondary connectors etc and all other standard accessories required as per ICAO and conforming to technical specifications. | 142.00 | Each | 0.00 | 3000.00 | 426000.00 | 3000.00 | 426000.00 | 2900.00 | 411800.00 | 2700.00 | 383400.00 | 3000.00 | 426000.00 | 383400.00 | vardhman Airport solutions pvt. Ltd.
25.00 | Supply of 65 wattage, 6.6/6.6 Amps, 5 KV grade, 50 Hz, series Isolating Transformer encapsulated in polyester resin, finally moulded in neoprene type rubber with primary and secondary connectors etc and all other standard accessories required as per ICAO and conforming to technical specifications. | 262.00 | Each | 0.00 | 4600.00 | 1205200.00 | 4500.00 | 1179000.00 | 4500.00 | 1179000.00 | 3800.00 | 995600.00 | 5000.00 | 1310000.00 | 995600.00 | vardhman Airport solutions pvt. Ltd.
26.00 | Supply of 150 wattage, 6.6/6.6 Amps, 5 KV grade, 50 Hz, series Isolating Transformer encapsulated in polyester resin, finally moulded in neoprene type rubber with primary and secondary connectors etc and all other standard accessories required as per ICAO and conforming to technical specifications. | 38.00 | Each | 0.00 | 5000.00 | 190000.00 | 5000.00 | 190000.00 | 4800.00 | 182400.00 | 4200.00 | 159600.00 | 5500.00 | 209000.00 | 159600.00 | vardhman Airport solutions pvt. Ltd.
27.00 | Supply of alignment tool suitable for supplied elevated Runway edge light fitting against item no. 01. | 1.00 | Each | 0.00 | 25000.00 | 25000.00 | 75000.00 | 75000.00 | 75000.00 | 75000.00 | 50000.00 | 50000.00 | 10000.00 | 10000.00 | 10000.00 | JCC ENGINEERS PRIVATE LIMITED
28.00 | Supply of alignment tool suitable for elevated Runway end light fitting against item no. 07. | 1.00 | Each | 0.00 | 25000.00 | 25000.00 | 75000.00 | 75000.00 | 97500.00 | 97500.00 | 50000.00 | 50000.00 | 10000.00 | 10000.00 | 10000.00 | JCC ENGINEERS PRIVATE LIMITED
29.00 | Supply of Cast iron Isolating Transformer housing box, water tight round type with suitable rubber gasket, metal container of outside dia 330 mm, height 450 mm made of 10 mm thick cast iron moulding all round, except the top surface, which is 15 mm thick cast iron moulding suitable to receive a light fitting base plate/cover plate on the top and having three/two/one nos holes as per site requirement on the periphery centre, 75 mm above bottom surface suitable to receive 63 mm DWC HDPE pipes including as required. The box should have two SS earth bolts of M10 x 40 mm tapped inside near the hole (4" away from the hole centre) and having a drain hole at the bottom suitably tapped to receive 15 mm dia., 'B' class GI pipe and having clear opening of 220 mm at the top surface and 6 Nos. M10 tapped hole having centre to center distance of 260 mm alongwith bolts and conforming to technical specifications and complete as required at site. | 394.00 | Each | 0.00 | 6000.00 | 2364000.00 | 6000.00 | 2364000.00 | 5500.00 | 2167000.00 | 5000.00 | 1970000.00 | 7500.00 | 2955000.00 | 1970000.00 | vardhman Airport solutions pvt. Ltd.
30.00 | Supply of Cast iron collar box of 330 mm dia, 200 mm deep, made of 10 mm thick cast iron moulding all round, except the top surface, which is 15 mm thick having 6 Nos. M10 tapped hole with centre to center distance of 260 mm along with suitable rubber gasket. The box should have 25 mm 1 no. hole 50 mm below from the top surface, two nos. SS earth bolts of M10 x 40 mm tapped inside and having one drain hole at the bottom suitably tapped to receive 1 no. 15 mm dia, 'B' class GI pipe and conforming to technical specifications and complete as required at site. | 323.00 | Each | 0.00 | 4000.00 | 1292000.00 | 450.00 | 145350.00 | 3700.00 | 1195100.00 | 3200.00 | 1033600.00 | 5000.00 | 1615000.00 | 145350.00 | Balaji Engineering
31.00 | Supply of 5 KV grade plug & receptacle (Essna Connector) of type I class B connector & suitable for field attachment with 5 KV grade PVC insulated and PVC sheathed single core 6 sqmm copper conductor cable as etc complete as required and conforming to FAA advisory circular 150/5345-26 E or as amended. | 442.00 | Each | 0.00 | 800.00 | 353600.00 | 450.00 | 198900.00 | 440.00 | 194480.00 | 500.00 | 221000.00 | 800.00 | 353600.00 | 194480.00 | Manish Electricals
32.00 | Supply of 600 V grade plug & receptacle (Essna Connector) of type II class B connector & suitable for field attachment with 600 V grade PVC insulated and PVC sheathed 2 core 4 sqmm copper conductor cable etc complete as required and conforming to FAA advisory circular 150/5345-26 E or as amended. | 156.00 | Each | 0.00 | 800.00 | 124800.00 | 450.00 | 70200.00 | 440.00 | 68640.00 | 500.00 | 78000.00 | 1000.00 | 156000.00 | 68640.00 | Manish Electricals
33.00 | Supply of single core 4 sqmm 1100 V grade, copper conductor, PVC insulated flexible cable for earthing as required and conforming to technical specifications. | 9000.00 | Meter | 0.00 | 100.00 | 900000.00 | 50.00 | 450000.00 | 48.00 | 432000.00 | 25.00 | 225000.00 | 75.00 | 675000.00 | 225000.00 | vardhman Airport solutions pvt. Ltd.
34.00 | Supply of 4 core 4 sqmm size PVC / XLPE insulated & PVC sheathed 1.1 KV Grade flexible copper conductor cable confirming to IS 694 specifications with upto date amendment as required and conforming to technical specifications. | 100.00 | Meter | 0.00 | 200.00 | 20000.00 | 200.00 | 20000.00 | 215.00 | 21500.00 | 70.00 | 7000.00 | 200.00 | 20000.00 | 7000.00 | vardhman Airport solutions pvt. Ltd.
35.00 | Supply, installation, testing and commissioning of thermoplastic, weather proof, IP 66, loop in loop out cable junction box including provision of 6 A, 10 kA, C series SP MCB, din rail, terminal block etc. suitable for termination of 3.5 C 25 sqmm cable. Mounting the junction box on frangible mounting pole with overall mounting height not more than 1100 mm including supply and installation of pole, breakable coupling and base plate along with gasket on existing CI housing box, conforming to technical specifications and complete as required at site. | 4.00 | Each | 0.00 | 20000.00 | 80000.00 | 5000.00 | 20000.00 | 2500.00 | 10000.00 | 4500.00 | 18000.00 | 5000.00 | 20000.00 | 10000.00 | Manish Electricals
36.00 | Kerfs cutting with machine in runway /taxiway of concrete/ bituminous surface of suitable depth and width for 01 no. secondary cable along with 01 no. earth wire, laying of cable, earth wire and refilling the same by suitable sealing material etc. conforming to technical specifications and complete as required at site. | 4400.00 | Meter | 0.00 | 300.00 | 1320000.00 | 300.00 | 1320000.00 | 580.00 | 2552000.00 | 350.00 | 1540000.00 | 200.00 | 880000.00 | 880000.00 | JCC ENGINEERS PRIVATE LIMITED
37.00 | Kerfs cutting with machine in runway /taxiway of concrete/ bituminous surface of suitable depth and width for 02/03 nos. secondary cable along with individual earth wire/ 4 core 4 sqmm power cable, laying of cables, earth wires and refilling the same by suitable sealing material etc. conforming to technical specifications and complete as required at site. | 380.00 | Meter | 0.00 | 350.00 | 133000.00 | 300.00 | 114000.00 | 900.00 | 342000.00 | 400.00 | 152000.00 | 250.00 | 95000.00 | 95000.00 | JCC ENGINEERS PRIVATE LIMITED
38.00 | Installation, testing and commissioning of top assembly of inset type runway edge/threshold on existing shallow base including installation of isolating transformer, crimping/jointing of secondary plug & receptacles, connections, earthing etc. and includes supply of all materials excluding fixture, secondary lead, isolating transformer and plug & receptacles, conforming to technical specifications and complete as required at site. | 86.00 | Each | 0.00 | 200.00 | 17200.00 | 7500.00 | 645000.00 | 7000.00 | 602000.00 | 50.00 | 4300.00 | 200.00 | 17200.00 | 4300.00 | vardhman Airport solutions pvt. Ltd.
39.00 | Installation, testing and commissioning of top assembly of inset type taxiway edge light fitting on existing shallow base including installation of isolating transformer, crimping/jointing of plug & receptacles, connections, earthing etc. and includes supply of all materials excluding fixture, secondary lead, isolating transformer and plug & receptacles, conforming to technical specifications and complete as required at site. | 55.00 | Each | 0.00 | 200.00 | 11000.00 | 7500.00 | 412500.00 | 1000.00 | 55000.00 | 50.00 | 2750.00 | 100.00 | 5500.00 | 2750.00 | vardhman Airport solutions pvt. Ltd.
40.00 | Installation, testing and commissioning of LED Elevated type High Intensity Runway edge/end Light fitting on the existing transformer housing box including installation of isolating transformer, crimping/jointing of secondary plug & receptacles, laying of secondary leads, connections, earthing etc. and includes supply of all materials excluding fixture, secondary lead, isolating transformer and plug & receptacles, conforming to technical specifications and complete as required at site. | 186.00 | Each | 0.00 | 200.00 | 37200.00 | 300.00 | 55800.00 | 300.00 | 55800.00 | 100.00 | 18600.00 | 100.00 | 18600.00 | 18600.00 | vardhman Airport solutions pvt. Ltd., JCC ENGINEERS PRIVATE LIMITED
41.00 | Installation, testing and commissioning of runway guard light fitting on the existing CI housing box including, connections, termination of cable at fitting and junction box, earthing etc., conforming to technical specifications and complete as required at site. | 4.00 | Each | 0.00 | 1000.00 | 4000.00 | 2500.00 | 10000.00 | 5000.00 | 20000.00 | 500.00 | 2000.00 | 100.00 | 400.00 | 400.00 | JCC ENGINEERS PRIVATE LIMITED
42.00 | Laying of existing 100 mm size dia. Medium 'B' Class GI Pipe in concrete/bitumen, upto the depth of 500 mm for cable crossing/ laying by cutting the bitumen/ concrete of suitable size for laying the pipe, including GI pipe threading, cutting, jointing of pipe & filling the gaps with bitumen mix/concrete and making good the surface matching with original finish etc. as per the instruction of Engineer-in-charge, conforming to technical specifications and complete as required at site. | 120.00 | Meter | 0.00 | 400.00 | 48000.00 | 1000.00 | 120000.00 | 450.00 | 54000.00 | 250.00 | 30000.00 | 100.00 | 12000.00 | 12000.00 | JCC ENGINEERS PRIVATE LIMITED
43.00 | Laying of existing DWC HDPE pipe size upto 63 mm dia. along with all accessories like socket, bend, couplers, seal rings etc. complete with fitting and cutting, jointing etc. direct in ground (upto 75 cm below ground level as per site) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., conforming to technical specifications and complete as required at site. | 19300.00 | Meter | 0.00 | 40.00 | 772000.00 | 50.00 | 965000.00 | 120.00 | 2316000.00 | 60.00 | 1158000.00 | 30.00 | 579000.00 | 579000.00 | JCC ENGINEERS PRIVATE LIMITED
44.00 | Laying one number 5 KV grade Airfield lighting cable of size single core 6 /16 Sqmm. in the existing RCC/ HUME/ STONEWARE/ METAL/ HDPE pipe, conforming to technical specifications and complete as required at site. | 14000.00 | Meter | 0.00 | 10.00 | 140000.00 | 20.00 | 280000.00 | 20.00 | 280000.00 | 15.00 | 210000.00 | 5.00 | 70000.00 | 70000.00 | JCC ENGINEERS PRIVATE LIMITED
45.00 | Laying one number 5 KV grade Airfield lighting cable of size single core 6 /16 Sqmm. in the existing masonry duct, conforming to technical specifications and complete as required at site. | 120.00 | Meter | 0.00 | 15.00 | 1800.00 | 20.00 | 2400.00 | 20.00 | 2400.00 | 15.00 | 1800.00 | 5.00 | 600.00 | 600.00 | JCC ENGINEERS PRIVATE LIMITED
46.00 | Laying of one number 600 V grade copper conductor EPR insulated, PCP sheathed of size 2 core 4 Sqmm. in the existing RCC/ HUME/ STONEWARE/ METAL/ HDPE pipe, conforming to technical specifications and complete as required at site. | 3500.00 | Meter | 0.00 | 15.00 | 52500.00 | 20.00 | 70000.00 | 20.00 | 70000.00 | 15.00 | 52500.00 | 5.00 | 17500.00 | 17500.00 | JCC ENGINEERS PRIVATE LIMITED
47.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of size upto 35 sqmm in the existing RCC/ HUME/ METAL/HDPE pipe, conforming to technical specifications and complete as required at site. | 2100.00 | Meter | 0.00 | 15.00 | 31500.00 | 10.00 | 21000.00 | 20.00 | 42000.00 | 15.00 | 31500.00 | 5.00 | 10500.00 | 10500.00 | JCC ENGINEERS PRIVATE LIMITED
48.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of upto 35 sqmm size in the existing masonry open duct, conforming to technical specifications and complete as required at site. | 60.00 | Meter | 0.00 | 15.00 | 900.00 | 10.00 | 600.00 | 20.00 | 1200.00 | 15.00 | 900.00 | 5.00 | 300.00 | 300.00 | JCC ENGINEERS PRIVATE LIMITED
49.00 | Installation of 12 inch dia. shallow base suitable of runway edge/ threshold inset type light fitting as per site including core cutting, aligning and setting, fixing the shallow base with sealing material of dobefil and hardener etc. and supply of all materials except shallow base, conforming to technical specifications and complete as required at site. | 86.00 | Each | 0.00 | 4000.00 | 344000.00 | 5000.00 | 430000.00 | 7500.00 | 645000.00 | 5000.00 | 430000.00 | 2000.00 | 172000.00 | 172000.00 | JCC ENGINEERS PRIVATE LIMITED
50.00 | Installation of 8 inch dia shallow base suitable of taxiway edge inset type light fitting as per site including core cutting, aligning and setting, fixing the shallow base with sealing material of dobefil and hardener etc. and supply of all materials except shallow base, conforming to technical specifications and complete as required at site. | 55.00 | Each | 0.00 | 4000.00 | 220000.00 | 5000.00 | 275000.00 | 6500.00 | 357500.00 | 4500.00 | 247500.00 | 1000.00 | 55000.00 | 55000.00 | JCC ENGINEERS PRIVATE LIMITED
51.00 | Installation of Cast iron isolating transfer housing box of size 330 mm dia. and 450 mm deep as per drawing including excavation of surface, cement concrete all round, providing 300 mm long 15 mm dia 'B' class GI pipe in the bottom surface for drainage of water, cutting & threading of pipe, adjustment of housing with thedolite etc, refilling the side surface, sloping and making good the same as original, conforming to technical specifications and complete as required at site. | 338.00 | Each | 0.00 | 1100.00 | 371800.00 | 2000.00 | 676000.00 | 2500.00 | 845000.00 | 2500.00 | 845000.00 | 500.00 | 169000.00 | 169000.00 | JCC ENGINEERS PRIVATE LIMITED
52.00 | Installation of existing cast iron collar box of 330 mm dia. and 200 mm deep including core cutting, aligning and setting, fixing the box with sealing material of dobefil and hardener etc. and providing 1 nos. 250 mm long 15 mm dia 'B' class GI pipe in the bottom surface for drainage of water, cutting & threading of pipe, adjustment of housing box with thedolite etc, including supply of all materials except CI collar box, conforming to technical specifications and complete as required at site. | 321.00 | Each | 0.00 | 1500.00 | 481500.00 | 500.00 | 160500.00 | 2300.00 | 738300.00 | 4000.00 | 1284000.00 | 200.00 | 64200.00 | 64200.00 | JCC ENGINEERS PRIVATE LIMITED
53.00 | Making connection of 5 KV grade, 6 Sq.mm Copper conductor cable with plug & receptacle (but excluding cost of plug & receptacles) including filling the gap with water sealed material applying HT and PVC insulation tape etc., conforming to technical specifications and complete as required at site. | 401.00 | Each | 0.00 | 100.00 | 40100.00 | 100.00 | 40100.00 | 250.00 | 100250.00 | 100.00 | 40100.00 | 50.00 | 20050.00 | 20050.00 | JCC ENGINEERS PRIVATE LIMITED
54.00 | Supplying and making end termination with Brass compression gland and aluminium lugs for 3.5 C 25 sqmm size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade, conforming to technical specifications and complete as required at site. | 4.00 | Each | 0.00 | 2000.00 | 8000.00 | 300.00 | 1200.00 | 500.00 | 2000.00 | 250.00 | 1000.00 | 50.00 | 200.00 | 200.00 | JCC ENGINEERS PRIVATE LIMITED
55.00 | Supplying and making end termination with PVC gland and aluminium lugs for 3.5 C 25 sqmm size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade, conforming to technical specifications and complete as required at site. | 4.00 | Each | 0.00 | 2000.00 | 8000.00 | 300.00 | 1200.00 | 1000.00 | 4000.00 | 250.00 | 1000.00 | 50.00 | 200.00 | 200.00 | JCC ENGINEERS PRIVATE LIMITED
56.00 | Supply and fixing of 330 mm dia. 10 mm thickness MS round cover plate having 6 Nos. M10 tapped hole with centre to center distance of 260 mm and M-10 SS Hardware (Set of 6) on existing CI housing /collar box, conforming to technical specifications and complete as required at site. | 355.00 | Each | 0.00 | 600.00 | 213000.00 | 500.00 | 177500.00 | 1500.00 | 532500.00 | 1000.00 | 355000.00 | 1000.00 | 355000.00 | 177500.00 | Balaji Engineering
57.00 | Earthing with GI earth pipe 4.5 m long and 40mm dia, accessories and providing masonary enclosure with cover plate on the top having locking arrangement and watering pipe, complete with charcoal and salt etc., conforming to technical specifications and complete as required at site. | 46.00 | Each | 0.00 | 6000.00 | 276000.00 | 5000.00 | 230000.00 | 7500.00 | 345000.00 | 9000.00 | 414000.00 | 5000.00 | 230000.00 | 230000.00 | JCC ENGINEERS PRIVATE LIMITED, Balaji Engineering
58.00 | Providing and laying earth connection from earth electrode with 6 SWG dia G.I. Wire in 15 mm dia G.I. pipe upto depth of 0.50 metre below ground level from earth electrode including connection with G.I. thimble excavation and re-filling, conforming to technical specifications and complete as required at site. | 230.00 | Meter | 0.00 | 250.00 | 57500.00 | 150.00 | 34500.00 | 240.00 | 55200.00 | 450.00 | 103500.00 | 150.00 | 34500.00 | 34500.00 | JCC ENGINEERS PRIVATE LIMITED, Balaji Engineering
59.00 | Providing & Laying 6 SWG GI wire in the trench / pipe / duct along with the existing cable as required for continuous earthing all, conforming to technical specifications and complete as required at site. | 16370.00 | Meter | 0.00 | 15.00 | 245550.00 | 20.00 | 327400.00 | 28.00 | 458360.00 | 25.00 | 409250.00 | 15.00 | 245550.00 | 245550.00 | Sai Avionics, JCC ENGINEERS PRIVATE LIMITED
60.00 | Careful dismantling of elevated/ inset type runway/ threshold cum end/ end light fittings including isolating transformer etc. and depositing to AAI store complete as required. | 386.00 | Each | 0.00 | 100.00 | 38600.00 | 50.00 | 19300.00 | 200.00 | 77200.00 | 200.00 | 77200.00 | 10.00 | 3860.00 | 3860.00 | JCC ENGINEERS PRIVATE LIMITED
61.00 | Careful dismantling of elevated taxiway type edge fittings including disconnection from circuit and shifting & hand over the fitting at AAI store etc. complete as required. | 154.00 | Each | 0.00 | 100.00 | 15400.00 | 50.00 | 7700.00 | 200.00 | 30800.00 | 100.00 | 15400.00 | 10.00 | 1540.00 | 1540.00 | JCC ENGINEERS PRIVATE LIMITED
62.00 | Carrying out the field surveys as per following: i) for installation of LED runway light fittings including edge, threshold and end lights as per ICAO / DGCA CAR. ii) after installation of fittings, survey of complete Airfield Ground Lighting facilities viz. visual aids, cable layout, earthings etc. as per site including mapping and depicting of visual ground aids, underground facilities etc. complete as required as per instruction of Engineer-in-charge. This job includes surveys as many times as required with total station/DGPS and other required instruments to complete above i) and ii). The Final layout indicating coordinates shall be submitted as one free size legible colour print copy with frame and hanging arrangement, one hard colour copy for office file, one copy in PDF and one soft copy in AutoCAD, conforming to technical specifications and complete as required at site. | 1.00 | Job | 0.00 | 50002.00 | 50002.00 | 50000.00 | 50000.00 | 260000.00 | 260000.00 | 100000.00 | 100000.00 | 100055.00 | 100055.00 | 50000.00 | Balaji Engineering
63.00 | Supplying and laying of 50 mm size dia. Medium 'B' Class GI Pipe as per IS 1239 part 1 along with all accessories like socket, bend, couplers etc. complete with fitting and cutting, jointing etc. through kerfs cutting with machine on apron /taxiway of concrete surface of suitable depth and width and refilling the same with concrete mix and making good the surface matching with original finish etc., conforming to technical specifications and complete as required at site. | 250.00 | Meter | 0.00 | 500.00 | 125000.00 | 450.00 | 112500.00 | 775.00 | 193750.00 | 500.00 | 125000.00 | 400.00 | 100000.00 | 100000.00 | JCC ENGINEERS PRIVATE LIMITED
| Total in Figures |  |  |  |  | 35994707.00 |  | 41372650.00 |  | 52837930.00 |  | 35345400.00 |  | 38859855.00
Lowest Amount Quoted BY: vardhman Airport solutions pvt. Ltd.(35345400.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of halogen lamp runway edge light fitting by LED fitting and Replacement of elevated type Apron Edge light by inset light in GSE of apron including associated works at Maharana Pratap Airport, Udaipur. Tender ID: 2024_AAI_216378_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | vardhman Airport solutions pvt. Ltd. (BID ID -796649) | 35345400.00 | L1
| 2 | Sai Avionics (BID ID -796939) | 35994707.00 | L2
| 3 | JCC ENGINEERS PRIVATE LIMITED (BID ID -797616) | 38859855.00 | L3
| 4 | Balaji Engineering (BID ID -798019) | 41372650.00 | L4
| 5 | Manish Electricals (BID ID -798036) | 52837930.00 | L5