## BoQ1
Government eProcurement System Created By: Pramod Soni Created Date/Time: 24-Feb-2025 12:09 PM Tender Title: Provision of Energy Efficient water supply pumps at NIATAM Gondia Tender ID: 2024_AAI_216571_1
Tender Inviting Authority: Assistant General Manager(Engg.-E), AAI, Gondia
Name of Work: Provision of Energy Efficient water supply pumps at NIATAM Gondia.
Contract No: 2024_AAI_216571_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | GK ELECTRICALS AND ENGINEERS (GSTN-27CEZPK9541R1Z3) BID ID -802624 |  | surbhi association (GSTN-23AGKPD2522N1ZK) BID ID -802790 |  | OM JYOTI ENGINEERING ENTERPRISES (GSTN-NA) BID ID -804753
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SITC of 5 HP, IE4 Centrifugal Monoset Pump suitable for 3 Phase, 415 Volt, 2990RPM, having Suction x Delivery size- 60x 50 MM, Head Range- 25 to 36 Meters, Discharge Range- 8.5 to 5.8 LPS, i/c fixing of suitable NRV, water shutoff Valve, base foundation work, foot valve, complete etc as required,as per tender doccument. | 4.00 | Set |  | 38000.00 | 152000.00 | 42000.00 | 168000.00 | 44500.00 | 178000.00 | 152000.00 | GK ELECTRICALS AND ENGINEERS
2.00 | SITC of Control Panel with VFD, with single Phase Preventer with DOL Starter suitable for 3 phase, 415 volts, IE4, 5 HP Centrifugal Monoset Pump, complete etc as required. | 4.00 | Set |  | 19800.00 | 79200.00 | 9500.00 | 38000.00 | 63500.00 | 254000.00 | 38000.00 | surbhi association
3.00 | SITC of Monobloc Pump, KDI-225++, 2 HP, Three Phase, 415 Volts, Size 50mm X 40mm,suitable for 3 phase,415 volt, 2840 RPM, Head Range- 8 to 25 Meters, Discharge Range- 5.4 to 2.7 LPS, as per tender doccument. | 4.00 | Set |  | 18000.00 | 72000.00 | 19000.00 | 76000.00 | 21500.00 | 86000.00 | 72000.00 | GK ELECTRICALS AND ENGINEERS
4.00 | SITC of 3 HP, IE4 Bore well Submersible Pump, 30 Stage, Water Filled, Three Phase, 415 Volt, 2880 RPM, Delivery size- 32 MM, Head Range- 24 to 207 Meters, Discharge Range- 66 to 15 LPS,as per tender doccument. | 10.00 | Set |  | 34880.00 | 348800.00 | 27000.00 | 270000.00 | 28500.00 | 285000.00 | 270000.00 | surbhi association
5.00 | Supply of Nylon Rope (10mm) for lifting & lowering of submersible motor pump. | 660.00 | Meter |  | 18.00 | 11880.00 | 20.00 | 13200.00 | 25.00 | 16500.00 | 11880.00 | GK ELECTRICALS AND ENGINEERS
6.00 | Supply of following sizes Flat Three Core PVC Insulated & PVC Sheathed Industrial Cable for Submersible Pump Motors for working voltage 1.1 KV grade & as per IS: 694, complete etc as required. 3 core 4 Sqmm | 1200.00 | Meter |  | 148.00 | 177600.00 | 143.00 | 171600.00 | 148.00 | 177600.00 | 171600.00 | surbhi association
7.00 | Supply & fixing of PE-100, PN-10 HDPE pipe having outer diameter 50 mm, thikness 3.7 to 4.2 along with all connector for 3 HP Bore well Submersible Pump complete etc as required. | 600.00 | Meter |  | 78.00 | 46800.00 | 110.00 | 66000.00 | 124.00 | 74400.00 | 46800.00 | GK ELECTRICALS AND ENGINEERS
| Total in Figures |  |  |  |  | 888280.00 |  | 802800.00 |  | 1071500.00
Lowest Amount Quoted BY: surbhi association(802800.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Energy Efficient water supply pumps at NIATAM Gondia Tender ID: 2024_AAI_216571_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | surbhi association (BID ID -802790) | 802800.00 | L1
| 2 | GK ELECTRICALS AND ENGINEERS (BID ID -802624) | 888280.00 | L2
| 3 | OM JYOTI ENGINEERING ENTERPRISES (BID ID -804753) | 1071500.00 | L3