## BoQ1
Government eProcurement System Created By: BUSIREDDY SUDHAKAR REDDY Created Date/Time: 09-Jan-2025 04:19 PM Tender Title: Replacement of DVOR at Begumpet Airport SH Provision of Fire suppression system for NAV AIDS Tender ID: 2024_AAI_216635_1
Tender Inviting Authority: The Asst.General Manager(Engg-E), AAI, Begumpet Airport.
Name of Work : Replacement of DVOR at Begumpet Airport SH : Provision of Fire suppression system for NAV-AIDS.
Contract No: 2024_AAI_216635_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | CENTRE TAP ENGINEERING (GSTN-24AGPPP8172K1ZP) BID ID -786415 |  | Nexus Fire And Security Systems (GSTN-07AAKFN7125K1ZY) BID ID -787605 |  | PYROGUARD ENGINEERS PRIVATE LIMITED (GSTN-07AACCP9466E1Z7) BID ID -789155 |  | Vimal Fire Controls private Limited (GSTN-24AAACV9204C1ZR) BID ID -791160
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | GAS SUPPRESION SYSTEM Design, supply, installation, testing and commissioning of CCOE Approved Seamless Novec 1230/FK-5-1-12 Cylinder and PESO approved Valve Assembly, OEM Factory filled with Novec 1230/FK-5-1-12 Suppression Liquid , pressurised, approved system flow calculation. Kit complete with Solenoid, manual actuators, Pressure Gauge, Discharge hoses and connectors to complete the system, Including UL Listed Nozzles, Sch 40, ASTM A106 Gr B Piping as required, Cylinder strap, Warning Signs, etc. complete as per direction of Engineer In charge as required. Bidder has to take actual dimension of site and design accordingly complying to NFPA standards.
1.01 | Minimum 40 Ltr capacity Cylinder/Valve Assembly with pressure gauge etc. complete as required. | 3.00 | Each |  | 90000.00 | 270000.00 | 91750.00 | 275250.00 | 88610.00 | 265830.00 | 90000.00 | 270000.00 | 265830.00 | PYROGUARD ENGINEERS PRIVATE LIMITED
1.02 | NOVEC 1230 / FK-5-1-12 agent | 120.00 | Kg |  | 3000.00 | 360000.00 | 1805.00 | 216600.00 | 1750.00 | 210000.00 | 1710.00 | 205200.00 | 205200.00 | Vimal Fire Controls private Limited
1.03 | Various items/accessories for complete system/Master Cylinder like Solenoid Actuator Assy 24V DC, Manual Actuator, Discharge Hoses of suitable size | 3.00 | Set |  | 50000.00 | 150000.00 | 36500.00 | 109500.00 | 34170.00 | 102510.00 | 36000.00 | 108000.00 | 102510.00 | PYROGUARD ENGINEERS PRIVATE LIMITED
1.04 | Discharge Nozzles | 6.00 | Each |  | 5000.00 | 30000.00 | 2850.00 | 17100.00 | 5500.00 | 33000.00 | 8100.00 | 48600.00 | 17100.00 | Nexus Fire And Security Systems
1.05 | Cylinder Strap | 3.00 | Set |  | 3000.00 | 9000.00 | 2070.00 | 6210.00 | 2150.00 | 6450.00 | 1800.00 | 5400.00 | 5400.00 | Vimal Fire Controls private Limited
1.06 | Warning sign stickers like " When alarm Sounds….", "Keep door closed……", "Operation of Manual……". | 3.00 | Set |  | 1000.00 | 3000.00 | 1450.00 | 4350.00 | 6600.00 | 19800.00 | 1800.00 | 5400.00 | 3000.00 | CENTRE TAP ENGINEERING
1.07 | MS Seamless pipe network as per ASTM A 106 Gr. B Sch 40 and as per the approved system flow calculation | 3.00 | Lot |  | 20000.00 | 60000.00 | 35000.00 | 105000.00 | 16000.00 | 48000.00 | 22500.00 | 67500.00 | 48000.00 | PYROGUARD ENGINEERS PRIVATE LIMITED
2.00 | GAS RELEASE PANEL SITC of Gas Release Panel, Conventional Horn, detectors, Manual release switch, Abort switch UL Listed i/c integration of the same with Gas Suprression system etc. complete as per direction of Engineer In charge as required.
2.01 | Conventional FDA panel with Gas release along with batteries i/c integration with the suppression system | 3.00 | Each |  | 25000.00 | 75000.00 | 12075.00 | 36225.00 | 26390.00 | 79170.00 | 27000.00 | 81000.00 | 36225.00 | Nexus Fire And Security Systems
2.02 | Smoke Detector with base | 4.00 | Each |  | 2000.00 | 8000.00 | 1150.00 | 4600.00 | 910.00 | 3640.00 | 2430.00 | 9720.00 | 3640.00 | PYROGUARD ENGINEERS PRIVATE LIMITED
2.03 | Heat Detector with base | 4.00 | Each |  | 2000.00 | 8000.00 | 1150.00 | 4600.00 | 760.00 | 3040.00 | 2430.00 | 9720.00 | 3040.00 | PYROGUARD ENGINEERS PRIVATE LIMITED
2.04 | Manual abort switch | 3.00 | Each |  | 3000.00 | 9000.00 | 1032.00 | 3096.00 | 4190.00 | 12570.00 | 2700.00 | 8100.00 | 3096.00 | Nexus Fire And Security Systems
2.05 | Manual release switch | 3.00 | Each |  | 3000.00 | 9000.00 | 1032.00 | 3096.00 | 4190.00 | 12570.00 | 2700.00 | 8100.00 | 3096.00 | Nexus Fire And Security Systems
2.06 | Horn strobe | 3.00 | Each |  | 1500.00 | 4500.00 | 1350.00 | 4050.00 | 3960.00 | 11880.00 | 4500.00 | 13500.00 | 4050.00 | Nexus Fire And Security Systems
2.07 | 2C X 1.5 Sq.mm armoured fire system cable | 90.00 | Mtr |  | 150.00 | 13500.00 | 96.00 | 8640.00 | 120.00 | 10800.00 | 135.00 | 12150.00 | 8640.00 | Nexus Fire And Security Systems
| Total in Figures |  |  |  |  | 1009000.00 |  | 798317.00 |  | 819260.00 |  | 852390.00
Lowest Amount Quoted BY: Nexus Fire And Security Systems(798317.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of DVOR at Begumpet Airport SH Provision of Fire suppression system for NAV AIDS Tender ID: 2024_AAI_216635_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Nexus Fire And Security Systems (BID ID -787605) | 798317.00 | L1
| 2 | PYROGUARD ENGINEERS PRIVATE LIMITED (BID ID -789155) | 819260.00 | L2
| 3 | Vimal Fire Controls private Limited (BID ID -791160) | 852390.00 | L3
| 4 | CENTRE TAP ENGINEERING (BID ID -786415) | 1009000.00 | L4