## BoQ1
Government eProcurement System Created By: Kamlesh Suryawanshi Created Date/Time: 30-Dec-2024 12:27 PM Tender Title: Renovation and Refurbishment of offices of HR, Finance and Engineering in Engineering Complex at DBAI Airport, Nagpur (Civil and Electrical works). Tender ID: 2024_AAI_216729_1
Tender Inviting Authority: Senior Manager (E-C), AAI, DBAI Airport, Nagpur-05.
Name of Work: “Renovation and Refurbishment of offices of HR, Finance and Engineering in Engineering Complex at DBAI Airport, Nagpur (Civil and Electrical works)”.
Contract No: 2024_AAI_216729_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | prime constructions (GSTN-27AABFP2480L1Z1) BID ID -789475 |  | Classicon Projects India Pvt. Ltd. (GSTN-NA) BID ID -785935
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH : CIVIL WORKS
1.01 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and for all lift, as directed by Engineer-in-charge. All kinds of soil | 419.00 | Cum |  | 300.00 | 125700.00 | 200.00 | 83800.00 | 83800.00 | Classicon Projects India Pvt. Ltd.
2.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and for all lift. | 107.00 | Cum |  | 80.00 | 8560.00 | 150.00 | 16050.00 | 8560.00 | prime constructions
3.00 | Extra for every additional lift of 1.5 m or part thereof in excavation banking excavated or stacked materials: All kinds of soil | 11.00 | Cum |  | 20.00 | 220.00 | 100.00 | 1100.00 | 220.00 | prime constructions
4.00 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | 30.00 | Cum |  | 2400.00 | 72000.00 | 3500.00 | 105000.00 | 72000.00 | prime constructions
5.00 | Clearing jungle including uprooting of rank vegetation, grass, brush wood, trees and saplings of girth up to 30 cm measured at a height of 1 m above ground level and removal of rubbish up to a distance of 50 m outside the periphery of the area cleared. | 1000.00 | Sqm |  | 10.00 | 10000.00 | 20.00 | 20000.00 | 10000.00 | prime constructions
6.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-Ill) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 116.47 | Cum |  | 4400.00 | 512468.00 | 5200.00 | 605644.00 | 512468.00 | prime constructions
7.00 | Providing and laying damp-proof course 40 mm thick with cement concrete 1:2:4 (1 cement : 2 coarse sand (zone-lll) derived from natural sources : 4 graded stone aggregate 12.5 mm nominal size derived from natural sources) | 13.11 | Sqm |  | 200.00 | 2622.00 | 500.00 | 6555.00 | 2622.00 | prime constructions
8.00 | Extra for providing and mixing water proofing material in cement concrete work in doses by weight of cement as per manufacturer’s specification. | 352.00 | Per 50 kg cement |  | 80.00 | 28160.00 | 80.00 | 28160.00 | 28160.00 | Classicon Projects India Pvt. Ltd., prime constructions
9.00 | Making plinth protection 50 mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand (zone-lll) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75 mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | 38.34 | Sqm |  | 400.00 | 15336.00 | 700.00 | 26838.00 | 15336.00 | prime constructions
10.00 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 45.00 | Cum |  | 6800.00 | 306000.00 | 7500.00 | 337500.00 | 306000.00 | prime constructions
11.00 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement : 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 14.00 | Cum |  | 6800.00 | 95200.00 | 8000.00 | 112000.00 | 95200.00 | prime constructions
12.00 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 44.00 | Cum |  | 6800.00 | 299200.00 | 8000.00 | 352000.00 | 299200.00 | prime constructions
13.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Foundations, footings, bases of columns, etc. for mass concrete | 77.00 | Sqm |  | 460.00 | 35420.00 | 400.00 | 30800.00 | 30800.00 | Classicon Projects India Pvt. Ltd.
14.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Suspended floors, roofs, landings, balconies and access platform | 150.00 | Sqm |  | 460.00 | 69000.00 | 800.00 | 120000.00 | 69000.00 | prime constructions
15.00 | Centering and shuttering including strutting, propping etc. and removal of form for :Lintels, beams, plinth beams, girders, bressumers and cantilevers | 134.00 | Sqm |  | 460.00 | 61640.00 | 800.00 | 107200.00 | 61640.00 | prime constructions
16.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Columns, Pillars, Piers, Abutments, Posts and Struts | 434.00 | Sqm |  | 460.00 | 199640.00 | 800.00 | 347200.00 | 199640.00 | prime constructions
17.00 | Edges of slabs and breaks in floors and walls: Under 20 cm wide | 91.00 | metre |  | 100.00 | 9100.00 | 200.00 | 18200.00 | 9100.00 | prime constructions
18.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level.: Thermo-Mechanically Treated bars of grade Fe-500D or more | 6750.00 | Kg |  | 87.00 | 587250.00 | 90.00 | 607500.00 | 587250.00 | prime constructions
19.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level.: Thermo-Mechanically Treated bars of grade Fe-500D or more | 8700.00 | Kg |  | 87.00 | 756900.00 | 92.00 | 800400.00 | 756900.00 | prime constructions
20.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:6 (1 cement : 6 coarse sand) | 151.06 | Cum |  | 6800.00 | 1027208.00 | 6800.00 | 1027208.00 | 1027208.00 | Classicon Projects India Pvt. Ltd., prime constructions
21.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. Cement mortar 1:4 (1 cement :4 coarse sand) | 100.00 | Sqm |  | 880.00 | 88000.00 | 1100.00 | 110000.00 | 88000.00 | prime constructions
22.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing of edges to give high gloss finish etc. complete at all levels.: Granite stone slab of colour black, Cherry/Ruby red: Area of slab upto 0.50 sqm | .43 | Sqm |  | 4500.00 | 1935.00 | 5500.00 | 2365.00 | 1935.00 | prime constructions
23.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing of edges to give high gloss finish etc. complete at all levels.: Granite stone slab of colour black, Cherry/Ruby red: Area of slab over 0.50 sqm | 90.59 | Sqm |  | 4500.00 | 407655.00 | 4000.00 | 362360.00 | 362360.00 | Classicon Projects India Pvt. Ltd.
24.00 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge.: Granite Work | 38.57 | Metre |  | 300.00 | 11571.00 | 150.00 | 5785.50 | 5785.50 | Classicon Projects India Pvt. Ltd.
25.00 | Extra for providing opening of required size & shape for wash basin/ kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. | 5.00 | Each |  | 500.00 | 2500.00 | 300.00 | 1500.00 | 1500.00 | Classicon Projects India Pvt. Ltd.
26.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 195.89 | Sqm |  | 900.00 | 176301.00 | 1300.00 | 254657.00 | 176301.00 | prime constructions
27.00 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lugs or dash fastener shall be paid for separately).: Second class teak wood | .38 | Cum |  | 100000.00 | 38000.00 | 125000.00 | 47500.00 | 38000.00 | prime constructions
28.00 | Providing and fixing panelled or panelled and glazed shutters for doors, windows and clerestory windows, fixing with butt hinges of required size with necessary screws, excluding panelling which will be paid for separately, all complete as per direction of Engineer-in-charge. (Note:- Butt hinges and necessary screws shall be paid separately): Second class teak wood: 30 mm thick shutters | 75.96 | Sqm |  | 3200.00 | 243072.00 | 4000.00 | 303840.00 | 243072.00 | prime constructions
29.00 | Providing and fixing panelling or panelling and glazing in panelled or panelled and glazed shutters for doors, windows and clerestory windows (Area of opening for panel inserts excluding portion inside grooves or rebates to be measured). Panelling for panelled or panelled and glazed shutters 25 mm to 40 mm thick : Float glass pane: 4 mm thick glass pane (weight not less than 10kg/sqm) | 75.96 | Sqm |  | 800.00 | 60768.00 | 1000.00 | 75960.00 | 60768.00 | prime constructions
30.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: 30 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 25.20 | Sqm |  | 2200.00 | 55440.00 | 2800.00 | 70560.00 | 55440.00 | prime constructions
31.00 | Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. including priming coat with approved steel primer all complete.: Fixed to openings /wooden frames with rawl plugs screws etc. | 630.00 | Kg |  | 140.00 | 88200.00 | 130.00 | 81900.00 | 81900.00 | Classicon Projects India Pvt. Ltd.
32.00 | Providing and fixing fly proof galvanized M.S. wire gauge to windows and clerestory windows using wire gauge with average width of aperture 1.4 mm in both directions with wire of dia 0.63 mm all complete.: With 2nd class teak wood beading 62X19 mm | 75.96 | sqm |  | 1100.00 | 83556.00 | 1200.00 | 91152.00 | 83556.00 | prime constructions
33.00 | Providing and fixing aluminium extruded section body tubular type universal hydraulic door closer (having brand logo with ISi, IS : 3564, embossed on the body, door weight upto 36 kg to 80 kg and door width from 701 mm to 1000 mm), with double speed adjustment with necessary accessories and screws etc. complete. | 19.00 | Each |  | 1200.00 | 22800.00 | 1000.00 | 19000.00 | 19000.00 | Classicon Projects India Pvt. Ltd.
34.00 | Providing and fixing aluminium sliding door bolts, ISI marked anodised anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : 250x16 mm | 38.00 | Each |  | 350.00 | 13300.00 | 300.00 | 11400.00 | 11400.00 | Classicon Projects India Pvt. Ltd.
35.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete :: 200x10 mm | 19.00 | Each |  | 80.00 | 1520.00 | 175.00 | 3325.00 | 1520.00 | prime constructions
36.00 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : 125 mm | 38.00 | Each |  | 80.00 | 3040.00 | 100.00 | 3800.00 | 3040.00 | prime constructions
37.00 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete.: Twin rubber stopper | 19.00 | Each |  | 80.00 | 1520.00 | 125.00 | 2375.00 | 1520.00 | prime constructions
38.00 | Structural steel work in single section, fixed with or without connecting plate, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 303.00 | Kg |  | 120.00 | 36360.00 | 100.00 | 30300.00 | 30300.00 | Classicon Projects India Pvt. Ltd.
39.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete.: Hot finished welded type tubes | 4102.06 | Kg |  | 140.00 | 574288.40 | 120.00 | 492247.20 | 492247.20 | Classicon Projects India Pvt. Ltd.
40.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required.: In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | 150.00 | Kg |  | 120.00 | 18000.00 | 100.00 | 15000.00 | 15000.00 | Classicon Projects India Pvt. Ltd.
41.00 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer), of 1st quality conforming to IS : 15622, of approved make, in all colours, shades, except White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick bed of cement mortar 1:4 (1 Cement : 4 Coarse sand), including pointing the joints with white cement and matching pigments etc., complete. | 44.82 | Sqm |  | 900.00 | 40338.00 | 1200.00 | 53784.00 | 40338.00 | prime constructions
42.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete. Size of Tile 600x600 mm | 157.50 | Sqm |  | 1400.00 | 220500.00 | 1500.00 | 236250.00 | 220500.00 | prime constructions
43.00 | Providing & fixing on wall face unplasticised -Rigid PVC rain water pipes conforming to IS ; 13592 Type A included jointing with seal ring conforning to IS ; 5382 leaving 10 mm gap for thermal expansion.: 110 mm diameter | 54.00 | Metre |  | 360.00 | 19440.00 | 250.00 | 13500.00 | 13500.00 | Classicon Projects India Pvt. Ltd.
44.00 | Providing, fixing on wall face unplasticised - PVC moulded fittings /accessories for unplasticised - Rigid PVC rain water pipes conforming to IS ; 13592 Type A including jointing with seal ring conforming to IS ; 5382 leaving 10 mm gap for thermal expansion.: Coupler-110mm diameter | 20.00 | Each |  | 100.00 | 2000.00 | 150.00 | 3000.00 | 2000.00 | prime constructions
45.00 | Providing, fixing on wall face unplasticised - PVC moulded fittings /accessories for unplasticised - Rigid PVC rain water pipes conforming to IS ; 13592 Type A including jointing with seal ring conforming to IS ; 5382 leaving 10 mm gap for thermal expansion.: 110 mm bend | 15.00 | Each |  | 100.00 | 1500.00 | 200.00 | 3000.00 | 1500.00 | prime constructions
46.00 | Providing, fixing on wall face unplasticised - PVC moulded fittings /accessories for unplasticised - Rigid PVC rain water pipes conforming to IS ; 13592 Type A including jointing with seal ring conforming to IS ; 5382 leaving 10 mm gap for thermal expansion.: 110 mm Shoe | 12.00 | Each |  | 100.00 | 1200.00 | 225.00 | 2700.00 | 1200.00 | prime constructions
47.00 | Providing & fixing unplasticised - PVC pipe clips of approved design to unplasticised - PVC rain water pipes by means of 50x50x50mm hard wood plugs, screwed with .M.S. screws of required length including cutting brick work and fixing in cement mortar 1:4(1cement : 4 coarse sand) and making good the wall etc. complete.: 110mm dia | 30.00 | Each |  | 50.00 | 1500.00 | 300.00 | 9000.00 | 1500.00 | prime constructions
48.00 | Providing and fixing to the inlet mouth of rain water pipe cast iron grating 15cm diameter and weighting not less than 440 grams. | 8.00 | Each |  | 50.00 | 400.00 | 100.00 | 800.00 | 400.00 | prime constructions
49.00 | 12 mm cement plaster of mix : 1:4 (1 cement: 4 fine sand) | 428.00 | Sqm |  | 350.00 | 149800.00 | 330.00 | 141240.00 | 141240.00 | Classicon Projects India Pvt. Ltd.
50.00 | 15 mm cement plaster on the rough side of single or half brick wall of mix : 1:4 (1 cement: 4 fine sand | 766.00 | Sqm |  | 350.00 | 268100.00 | 350.00 | 268100.00 | 268100.00 | Classicon Projects India Pvt. Ltd., prime constructions
51.00 | Providing and applying plaster of paris putty of 2 mm thickness over plastered surface to prepare the surface even and smooth complete. | 1263.00 | Sqm |  | 90.00 | 113670.00 | 100.00 | 126300.00 | 113670.00 | prime constructions
52.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work | 450.00 | Sqm |  | 100.00 | 45000.00 | 160.00 | 72000.00 | 45000.00 | prime constructions
53.00 | Wall painting with acrylic emulsion paint, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre, of approved brand and manufacture, including applying additional coats wherever required, to achieve even shade and colour.: Two coats | 932.00 | Sqm |  | 100.00 | 93200.00 | 160.00 | 149120.00 | 93200.00 | prime constructions
54.00 | Wall painting with premium acrylic emulsion paint of interior grade, having VOC (Volatile Organic Compound ) content less than 50grams/ litre of approved brand and manufacture, including applying additional coats wherever required to achieve even shade and colour Two coats | 926.00 | Sqm |  | 100.00 | 92600.00 | 160.00 | 148160.00 | 92600.00 | prime constructions
55.00 | Removing white or colour wash by scrapping and sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete | 858.00 | Sqm |  | 3.00 | 2574.00 | 40.00 | 34320.00 | 2574.00 | prime constructions
56.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : Old work (Two or more coat applied @ 1.67 ltr/ 10 sqm) on existing cement paint surface | 1130.00 | Sqm |  | 100.00 | 113000.00 | 120.00 | 135600.00 | 113000.00 | prime constructions
57.00 | Dismantling W.C. Pan of all sizes including disposal of dismantled materials i/c malba all complete as per directions of Engineer-in- Charge. | 3.00 | Each |  | 100.00 | 300.00 | 300.00 | 900.00 | 300.00 | prime constructions
58.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 20.00 | Cum |  | 1200.00 | 24000.00 | 1500.00 | 30000.00 | 24000.00 | prime constructions
59.00 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 22.80 | Cum |  | 1200.00 | 27360.00 | 2000.00 | 45600.00 | 27360.00 | prime constructions
60.00 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | 40.00 | Cum |  | 380.00 | 15200.00 | 700.00 | 28000.00 | 15200.00 | prime constructions
61.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. In cement mortar | 30.00 | Cum |  | 1200.00 | 36000.00 | 1000.00 | 30000.00 | 30000.00 | Classicon Projects India Pvt. Ltd.
62.00 | Dismantling steel work in built up sections in angles, tees, flats and channels including all gusset plates, bolts, nuts, cutting rivets, welding etc. including dismembering and stacking within 50 metres lead. | 4715.70 | Sqm |  | 5.00 | 23578.50 | 8.00 | 37725.60 | 23578.50 | prime constructions
63.00 | Dismantling roofing including ridges, hips, valleys and gutters etc., and stacking the material within 50 metres lead of: G.S. Sheet | 100.00 | Sqm |  | 50.00 | 5000.00 | 25.00 | 2500.00 | 2500.00 | Classicon Projects India Pvt. Ltd.
64.00 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | 176.38 | Sqm |  | 50.00 | 8819.00 | 80.00 | 14110.40 | 8819.00 | prime constructions
65.00 | Cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 40 mm nominal size) in pavements, laid to required slope and camber in panels as required including consolidation finishing and tamping complete. | 7.50 | Cum |  | 6000.00 | 45000.00 | 7000.00 | 52500.00 | 45000.00 | prime constructions
66.00 | Providing and laying at or near ground level factory made kerb stone of M-25 grade cement concrete in position to the required line, level and curvature, jointed with cement mortar 1:3 (1 cement: 3 coarse sand), including making joints with or without grooves (thickness of joints except at sharp curve shall not to more than 5mm), including making drainage opening wherever required complete etc. as per direction of Engineer-in-charge (length of finished kerb edging shall be measured for payment). (Precast C.C. kerb stone shall be approved by Engineer-in-charge). | 16.88 | Cum |  | 7500.00 | 126600.00 | 10500.00 | 177240.00 | 126600.00 | prime constructions
67.00 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests | 2.00 | Each |  | 6000.00 | 12000.00 | 5000.00 | 10000.00 | 10000.00 | Classicon Projects India Pvt. Ltd.
68.00 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : W.C. pan with ISI marked white solid plastic seat and lid | 3.00 | Each |  | 6000.00 | 18000.00 | 5000.00 | 15000.00 | 15000.00 | Classicon Projects India Pvt. Ltd.
69.00 | Providing and fixing white vitreous china flat back half stall urinal of size 580x380x350 mm with white PVC automatic flushing cistern, with fittings, standard size C.P. brass flush pipe, spreaders with unions and clamps (all in C.P. brass) with waste fitting as per IS : 2556, C.I. trap with outlet grating and other couplings in C.P. brass, including painting of fittings and cutting and making good the walls and floors wherever required : Single half stall urinal with 5 litre P.V.C. automatic flushing cistern | 4.00 | each |  | 9000.00 | 36000.00 | 8000.00 | 32000.00 | 32000.00 | Classicon Projects India Pvt. Ltd.
70.00 | Providing and fixing wash basin with CI brackets,15mm brass pillar taps,32mm CP brass waste of standard pattern, including painting of fittings and brackets,cutting and making good the walls wherever required.: White vitreous china wash basin size 630 mm x 450 mm with single 15mm CP brass pillar tap. | 5.00 | Each |  | 3200.00 | 16000.00 | 4000.00 | 20000.00 | 16000.00 | prime constructions
71.00 | Providing and fixing Stainless Steel A ISI 304 (18/8) kitchen sink as per IS:13983 with C.I. brackets and stainless steel plug 40 mm, including painting of fittings and brackets, cutting and making good the walls wherever required : Kitchen sink with drain board: 510x1040 mm bowl depth 178 mm | 1.00 | each |  | 5500.00 | 5500.00 | 8000.00 | 8000.00 | 5500.00 | prime constructions
72.00 | Providing and fixing P.V.C waste pipe for sink or wash basin including P.V.C waste fitting complete: Flexible pipe: 40 mm dia | 3.00 | Each |  | 100.00 | 300.00 | 100.00 | 300.00 | 300.00 | Classicon Projects India Pvt. Ltd., prime constructions
73.00 | Providing and fixing 600x450mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | 3.00 | Each |  | 1200.00 | 3600.00 | 1750.00 | 5250.00 | 3600.00 | prime constructions
74.00 | Providing and fixing soil, waste and vent pipes: 100 mm dia Sand cast iron S&S pipe as per IS: 1729 | 20.00 | Metre |  | 900.00 | 18000.00 | 1500.00 | 30000.00 | 18000.00 | prime constructions
75.00 | Providing and fixing M.S. holder-bat clamps of approved design to Sand Cast iron/cast iron (spun) pipe embedded in and including cement concrete blocks 10x10x10 cm of 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), including cost of cutting holes and making good the walls etc. :For 100 mm dia pipe | 8.00 | Each |  | 100.00 | 800.00 | 400.00 | 3200.00 | 800.00 | prime constructions
76.00 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete.: 100 mm dia Sand cast iron S&S as per IS - 1729 | 8.00 | Each |  | 300.00 | 2400.00 | 650.00 | 5200.00 | 2400.00 | prime constructions
77.00 | Providing and fixing plain bend of required degree.:100 mm dia Sand cast iron S&S as per IS - 1729 | 8.00 | Each |  | 300.00 | 2400.00 | 550.00 | 4400.00 | 2400.00 | prime constructions
78.00 | Providing and fixing heel rest sanitary bend: 100 mm dia Sand cast iron S&S as per IS - 1729 | 8.00 | Each |  | 300.00 | 2400.00 | 650.00 | 5200.00 | 2400.00 | prime constructions
79.00 | Providing and fixing double equal junction of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete : 100x100x100x100 mm Sand cast iron S&S as per IS - 1729 | 8.00 | Each |  | 500.00 | 4000.00 | 1300.00 | 10400.00 | 4000.00 | prime constructions
80.00 | Providing and fixing single equal plain junction of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete.: 100x100x100 mm Sand cast iron S&S as per IS - 1729 | 8.00 | Each |  | 500.00 | 4000.00 | 850.00 | 6800.00 | 4000.00 | prime constructions
81.00 | Providing and fixing terminal guard : 100 mm Sand cast iron S&S as per IS - 1729 | 8.00 | Each |  | 300.00 | 2400.00 | 500.00 | 4000.00 | 2400.00 | prime constructions
82.00 | Providing and fixing collar : 100 mm Sand cast iron S&S as per IS - 1729 | 8.00 | Each |  | 300.00 | 2400.00 | 500.00 | 4000.00 | 2400.00 | prime constructions
83.00 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter : 100 mm | 10.00 | Each |  | 300.00 | 3000.00 | 800.00 | 8000.00 | 3000.00 | prime constructions
84.00 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : 100 mm inlet and 100 mm outlet Sand cast iron S&S as per IS: 1729 | 10.00 | Each |  | 800.00 | 8000.00 | 2000.00 | 20000.00 | 8000.00 | prime constructions
85.00 | providing & fixing PTMT towel rail complete with brackets fixed to wooden cleats with cp brass screws with concealed fittings arrangement of approved quality and colour.: 450 mm long towel rail with total length of 495 mm. 78 mm wide and effective height of 88 mm, weighting not less than 170 gms. | 2.00 | Each |  | 200.00 | 400.00 | 700.00 | 1400.00 | 400.00 | prime constructions
86.00 | Providing and fixing Chlorinate Polyvinyl Chloride (CPVC) pipes having thermal stability for hot & cold water supply including all (CPVC) plain & brass threaded fittings including fixing the pipe with clamps at 1.00 m spacing. This including jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of engineer in charge.: Internal Work - Exposed on Wall: 20 mm nominal outer dia pipes. | 40.00 | Metre |  | 250.00 | 10000.00 | 400.00 | 16000.00 | 10000.00 | prime constructions
87.00 | Providing and fixing Chlorinate Polyvinyl Chloride (CPVC) pipes having thermal stability for hot & cold water supply including all (CPVC) plain & brass threaded fittings including fixing the pipe with clamps at 1.00 m spacing. This including jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of engineer in charge.: Internal Work - Exposed on Wall: 25 mm nominal outer dia pipes. | 35.00 | Metre |  | 300.00 | 10500.00 | 475.00 | 16625.00 | 10500.00 | prime constructions
88.00 | Providing and fixing Chlorinate Polyvinyl Chloride (CPVC) pipes having thermal stability for hot & cold water supply including all (CPVC) plain & brass threaded fittings including fixing the pipe with clamps at 1.00 m spacing. This including jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of engineer in charge.: Internal Work - Exposed on Wall: 32 mm nominal outer dia pipes. | 35.00 | Metre |  | 400.00 | 14000.00 | 550.00 | 19250.00 | 14000.00 | prime constructions
89.00 | Providing and fixing Chlorinate Polyvinyl Chloride (CPVC) pipes having thermal stability for hot & cold water supply including all (CPVC) plain & brass threaded fittings including fixing the pipe with clamps at 1.00 m spacing. This including jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of engineer in charge.: Internal Work - Exposed on Wall: 40 mm nominal outer dia pipes. | 17.00 | Metre |  | 500.00 | 8500.00 | 675.00 | 11475.00 | 8500.00 | prime constructions
90.00 | Providing and fixing Chlorinate Polyvinyl Chloride (CPVC) pipes having thermal stability for hot & cold water supply including all (CPVC) plain & brass threaded fittings including fixing the pipe with clamps at 1.00 m spacing. This including jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of engineer in charge.: Internal Work - Exposed on Wall: 50 mm nominal outer dia pipes. | 12.50 | Metre |  | 700.00 | 8750.00 | 750.00 | 9375.00 | 8750.00 | prime constructions
91.00 | Providing and fixing Chlorinate Polyvinyl Chloride (CPVC) pipes having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings i/c fixing the pipe with clamps at 1.00 m spacing. This including jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the the same including testing of joints complete as per direction of engineer in charge: Concealed work including cutting chases and making good the walls etc: 20 mm nominal outer dia pipes | 7.00 | Metre |  | 350.00 | 2450.00 | 450.00 | 3150.00 | 2450.00 | prime constructions
92.00 | Providing and fixing Chlorinate Polyvinyl Chloride (CPVC) pipes having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings i/c fixing the pipe with clamps at 1.00 m spacing. This including jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the the same including testing of joints complete as per direction of engineer in charge: Concealed work including cutting chases and making good the walls etc: 25 mm nominal outer dia pipes. | 7.00 | Metre |  | 400.00 | 2800.00 | 525.00 | 3675.00 | 2800.00 | prime constructions
93.00 | Providing and fixing Chlorinate Polyvinyl Chloride (CPVC) pipes having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings i/c fixing the pipe with clamps at 1.00 m spacing. This including jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the the same including testing of joints complete as per direction of engineer in charge: Concealed work including cutting chases and making good the walls etc: 32 mm nominal outer dia pipes. | 25.00 | Metre |  | 500.00 | 12500.00 | 600.00 | 15000.00 | 12500.00 | prime constructions
94.00 | Providing and fixing brass stop cock of approved quality complete.: 15 mm nominal bore | 10.00 | Each |  | 600.00 | 6000.00 | 700.00 | 7000.00 | 6000.00 | prime constructions
95.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end): 25 mm dia nominal bore | 6.00 | Each |  | 600.00 | 3600.00 | 1000.00 | 6000.00 | 3600.00 | prime constructions
96.00 | Providing and fixing C.P. brass shower rose with 15 or 20 mm inlet : 150 mm diameter | 1.00 | Each |  | 500.00 | 500.00 | 300.00 | 300.00 | 300.00 | Classicon Projects India Pvt. Ltd.
97.00 | Providing and placing on terrace (at all floor levels) Polyethylene water storage tank ISI : 12701 marked with cover and suitable locking arrangement amd making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 10000.00 | Litre |  | 8.00 | 80000.00 | 11.00 | 110000.00 | 80000.00 | prime constructions
98.00 | Providing and fixing unplasticised P.V.C connection pipe with PTMT Nuts coller and bush of approved quality and colour.: 15mm nominal bore with 45cm length | 6.00 | Each |  | 100.00 | 600.00 | 200.00 | 1200.00 | 600.00 | prime constructions
99.00 | Providing and laying cement concrete 1:5:10 (1 cement: 5 coarse sand: 10 graded stone aggregate 40 mm nominal size) all-round SW including bed concrete as per standard design.: 100mm diameter | 25.00 | Metre |  | 400.00 | 10000.00 | 1000.00 | 25000.00 | 10000.00 | prime constructions
100.00 | Providing and fixing square mouth SW gully trap class SP-1 complete with CI grating brick masonry chamber and water tight CI cover with frame of 300 x 300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg. as per standard design.: 180x150mm size P type: with common burnt clay F.P.S. (non modular) bricks of class designation 3.5 | 10.00 | Each |  | 1200.00 | 12000.00 | 2500.00 | 25000.00 | 12000.00 | prime constructions
101.00 | Providing and laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete : 300 mm dia. R.C.C. pipe | 14.00 | Metre |  | 800.00 | 11200.00 | 1500.00 | 21000.00 | 11200.00 | prime constructions
102.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : Powder coated aluminium (minimum thickness of powder coating 50 micron) | 100.00 | Kg |  | 500.00 | 50000.00 | 600.00 | 60000.00 | 50000.00 | prime constructions
103.00 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) Powder coated aluminium (minimum thickness of powder coating 50 micron) Powder coated aluminium (minimum thickness of powder coating 50 micron) | 100.00 | Kg |  | 500.00 | 50000.00 | 600.00 | 60000.00 | 50000.00 | prime constructions
104.00 | Providing and fixing 12mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineer-in-charge. Pre-laminated particle board with decorative lamination on both sides. | 30.00 | Sqm |  | 900.00 | 27000.00 | 1400.00 | 42000.00 | 27000.00 | prime constructions
105.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of Engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5.50 mm thickness | 51.00 | Sqm |  | 1200.00 | 61200.00 | 1200.00 | 61200.00 | 61200.00 | Classicon Projects India Pvt. Ltd., prime constructions
106.00 | Providing and fixing double action hydraulic floor spring of approved brand and manufacture conforming to IS : 6315, having brand logo embossed on the body / plate with double spring mechanism and door weight upto 125 kg., for doors, including cost of cutting floors , embedding in floors as required and making good the same matching to the existing floor finishing and cover plates with brass pivot and single piece M.S. sheet outer box with slide plate etc. complete as per the direction of Engineer-in-charge. With stainless steel cover plate minimum 1.25 mm thickness. | 15.00 | Each |  | 2400.00 | 36000.00 | 5000.00 | 75000.00 | 36000.00 | prime constructions
107.00 | Filling the gap in between aluminium frame & adjacent RCC/ Brick/ Stone work by providing weather silicon sealant over backer rod of approved quality as per architectural drawings and direction of Engineer-in-charge complete. Upto 5mm depth and 5 mm width | 15.00 | Sqm |  | 50.00 | 750.00 | 700.00 | 10500.00 | 750.00 | prime constructions
108.00 | Providing and fixing aluminium tubular handle bar 32 mm outer dia, 3.0 mm thick & 2100 mm long with SS screws etc .complete as per direction of Engineer-in-Charge. Powder coated minimum thickness 50 micron aluminium tubular handle bar | 15.00 | Each |  | 500.00 | 7500.00 | 800.00 | 12000.00 | 7500.00 | prime constructions
109.00 | Providing and fixing anodised aluminium grill (anodised transparent or dyed to required shade according to IS: 1868 with minimum anodic coating of grade AC 15) of approved design/pattern, with approved standard section and fixed to the existing window frame with C.P. brass/ stainless steel screws @ 200 mm centre to centre, including cutting the grill to proper opening size for fixing and operation of handles and fixing approved anodised aluminium standard section around the opening, all complete as per requirement and direction of Engineer-in-charge. (Only weight of grill to be measured for payment). | 50.00 | Kg |  | 500.00 | 25000.00 | 800.00 | 40000.00 | 25000.00 | prime constructions
110.00 | Providing and fixing 12 mm thick frameless toughened glass door shutter of approved brand and manufacture, including providing and fixing top & bottom pivot & spring type fixing arrangement and making necessary holes etc. for fixing required door fittings, all complete as per direction of Engineer-in-charge (Door handle, lock and stopper etc.to be paid separately). | 40.00 | Sqm |  | 6000.00 | 240000.00 | 9000.00 | 360000.00 | 240000.00 | prime constructions
111.00 | Providing and laying integral cement based water proofing treatment including preparation of surface as required for treatment of roofs, balconies, terraces etc consisting of following operations: (a) Applying a slurry coat of neat cement using 2.75 kg/sqm of cement admixed with water proofing compound conforming to IS. 2645 and approved by Engineer-in-charge over the RCC slab including adjoining walls upto 300 mm height including cleaning the surface before treatment. (b) Laying brick bats with mortar using broken bricks/brick bats 25 mm to 115 mm size with 50% of cement mortar 1:5 (1 cement : 5 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge over 20 mm thick layer of cement mortar of mix 1:5 (1 cement :5 coarse sand ) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge to required slope and treating similarly the adjoining walls upto 300 mm height including rounding of junctions of walls and slabs. (c) After two days of proper curing applying a second coat of cement slurry using 2.75 kg/ sqm of cement admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge. (d) Finishing the surface with 20 mm thick jointless cement mortar of mix 1:4 (1 cement :4 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge including laying glass fibre cloth of approved quality in top layer of plaster and finally finishing the surface with trowel with neat cement slurry and making pattern of 300x300 mm square 3 mm deep. (e) The whole terrace so finished shall be flooded with water for a minimum period of two weeks for curing and for final test.“All above operations to be done in order and as directed and specified by the Engineer-in-Charge : With average thickness of 120 mm and minimum thickness at khurra as 65 mm. | 77.12 | Sqm |  | 1300.00 | 100256.00 | 2000.00 | 154240.00 | 100256.00 | prime constructions
112.00 | Design and preparation of detailed working drawings for proposed renovation of interiors and exterior facade of various buildings in engineering complex and site developments along with the 3 d views for proposed developments by the Architect. The local architect from Nagpur with experience more than 10 years and with a valid registration with council of architecture is to be appointed taking approval from the engineer in charge. The appointed architect will supply required working drawings and will visit the site from time to time to supervise the execution of the proposed works and will certify the quality of works as per directed by the Engineer-In-Charge. | 1.00 | Job |  | 240000.00 | 240000.00 | 250000.00 | 250000.00 | 240000.00 | prime constructions
113.00 | Providing and fixing false ceiling with 7.5 mm thick PVC plain panel board ceiling of approved quality in aluminium frame work with necessary screws etc all complete as per directed by the Engineer-In-Charge. | 704.52 | Sqm |  | 2000.00 | 1409040.00 | 1300.00 | 915876.00 | 915876.00 | Classicon Projects India Pvt. Ltd.
114.00 | Carriage of excavated earth by mechanical transport including loading, unloading and stacking for lead upto 1 Kms complete as per directed by the Engineer-In-Charge. | 150.00 | cum |  | 380.00 | 57000.00 | 160.00 | 24000.00 | 24000.00 | Classicon Projects India Pvt. Ltd.
115.00 | Providing and fixing stainless steel ( Grade 304) railing made of Hollow tubes, channels, plates etc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners , stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-incharge, (for payment purpose only weight of stainless steel members shall be considered excluding fixing accessories such as nuts, bolts, fasteners etc.). | 250.00 | Kg |  | 630.00 | 157500.00 | 600.00 | 150000.00 | 150000.00 | Classicon Projects India Pvt. Ltd.
116.00 | Providing & fixing PVC multichember profiled wall panelling sheet at all heights protruding from wall 50mm to 75mm or more or less as per site requirement including providing & fixing of framework made of special section, power pressed from M.S. sheets and galvanised with zinc coating and consisting of angle cleat of size 25mm wide x 0.6mm thick with appropriate flanges at 600mm c/c. one flange fixed to the wall with necessary fixtures using screws or dash fastener or nut bolts of required. size other flange of angle cleat fixed to the main trapezoidal sheet section of thickness not less than 0.4 mm with top 35mm and bottom expand upto 65mm spaced at 600 mm c/c.The perimeter edge of PVC profiled sheet / tiles shall covered by extruded PVC same colour cornner bedding fixing with screws or with appropriate fixtures. The PVC multichember hollow section of size 250mm x 6mm overall thick percisely engineered "Rib and Flute" or "Tongue and Groove" joint with concealed screws fixed on structure in such a way that no framework elements is visible from out sides as per manufacture’s specification. Nothing extra payable for any extra fixtures or fitting material required for maintainig true line and level.The cost of making opening for light fittings, grills, diffusers, cut outs made with frame of perimeter channels suitably fixed, all complete as per satisfaction and direction of the Engineer in charge. | 581.00 | Sqm |  | 2000.00 | 1162000.00 | 1300.00 | 755300.00 | 755300.00 | Classicon Projects India Pvt. Ltd.
117.00 | Providing and laying factory made chamfered edge Cement Concrete paver blocks in footpath, parks, lawns, drive ways or light traffic parking etc, of required strength, thickness & size/ shape, made by table vibratory method using PU mould, laid in required colour & pattern over 50mm thick compacted bed of M sand, compacting and proper embedding/laying of inter locking paver blocks into the M sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with M sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand. complete all as per direction of Engineer-in-Charge. 60mm thick cement concrete paver block of M-35 grade with approved colour, design & pattern. | 532.00 | Sqm |  | 840.00 | 446880.00 | 850.00 | 452200.00 | 446880.00 | prime constructions
118.00 | Fixing available precoated galvanised iron profile sheets by using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 200.00 | Sqm |  | 400.00 | 80000.00 | 130.00 | 26000.00 | 26000.00 | Classicon Projects India Pvt. Ltd.
119.00 | Providing & Fixing in position with Table made up of 1. Top Panel in 25mm thick. Prelam Partical Board Matt Finished with pvc edge binding machine pressed from all sides. 2. Modesty (Full Height Modesty) in 18mm thick. Prelam Partical Board Matt Finished with pvc edge binding machine pressed from all sides. 3. Base Support CRCA Pipe frame 25x75x1.6mm Powder Coated. including neccessary Hardware etc. as per approved shade & colour. Cabin Type-A Table_(Width 1950mm x Height 750mm x Depth 900mm) | 3.00 | Each |  | 17000.00 | 51000.00 | 15000.00 | 45000.00 | 45000.00 | Classicon Projects India Pvt. Ltd.
120.00 | Providing & Fixing in position with Credenza made up of 1. Top Panel in 25mm thick. Prelam Partical BoardMatt Finished with pvc edge binding machine pressed from all sides. 2. Shutter , Carcase & Drawer Facia in 18mm thick. Prelam Partical Board Matt Finished with pvc edge binding machine pressed from all sides. 3. Carcase Back & Drawer Bottom in 9mm thick. Prelam Partical Board Matt Finished. including neccessary Hardware Regular Handle , Drawer Lock , Regular Non-Soft Closed Hinges & Regular Non-Soft Closed Telescopic Rail etc. complete as per approved shade & colour. Side Credenza (3 Top Drawers & 3 Base Shutter)_(Width 1200 x Height 750 x Depth 430+20) | 4.00 | Each |  | 10000.00 | 40000.00 | 15000.00 | 60000.00 | 40000.00 | prime constructions
121.00 | Providing & Fixing in position with Table made up of 1. Top Panel in 25mm thick. Prelam Partical Board Matt Finished with pvc edge binding machine pressed from all sides. 2. Modesty (Full Height Modesty) in 18mm thick. Prelam Partical Board Matt Finished with pvc edge binding machine pressed from all sides. 3. Base Support CRCA Pipe frame 25x75x1.6mm Powder Coated. including neccessary Hardware etc. as per approved shade & colour. Workstation Type-B & C Table_(Width 2100mm x Height 750mm x Depth 900mm) | 4.00 | Each |  | 17000.00 | 68000.00 | 25000.00 | 100000.00 | 68000.00 | prime constructions
122.00 | Providing & Fixing in position with Credenza made up of 1. Top Panel in 25mm thick. Prelam Partical Board Matt Finished with pvc edge binding machine pressed from all sides. 2. Shutter , Carcase & Drawer Facia in 18mm thick. Prelam Partical Board Matt Finished with pvc edge binding machine pressed from all sides. 3. Carcase Back & Drawer Bottom in 9mm thick. Prelam Partical Board Matt Finished. including neccessary Hardware Regular Handle , Drawer Lock , Regular Non-Soft Closed Hinges & Regular Non-Soft Closed Telescopic Rail etc. complete as per approved shade & colour. Side Credenza (2 Top Drawers & 2 Base Shutter)_(Width 820 x Height 750 x Depth 430+20) | 4.00 | Each |  | 8000.00 | 32000.00 | 12000.00 | 48000.00 | 32000.00 | prime constructions
123.00 | Providing & Fixing in position with pedestal made up of 1. Top Panel in 18mm thick. Prelam Partical Board Matt Finished with pvc edge binding machine pressed from all sides. 2. Drawer Facia & Carcase in 18mm thick. Prelam Partical Board Matt Finished with pvc edge binding machine pressed from all sides. 3. Carcase Back & Drawer Bottom in 9mm thick. Prelam Partical Board Matt Finished. including neccessary Regular Handle , Multidrawer Lock , Regular Non-Soft ClosedTelescopic Rail etc. complete as per approved shade & colour. 3 Drawer Pedestal_(w400xh670xd430+20) | 14.00 | Each |  | 6000.00 | 84000.00 | 9000.00 | 126000.00 | 84000.00 | prime constructions
124.00 | Base Shelf Unit (2 Shutter , Internal Shelf 1)_(Width 858 x Height 750 x Depth 580+20) Providing & Fixing in position with Base Shelf Unit made up of 1. Top Panel in 25mm thick. Prelam Partical Board Matt Finished with pvc edge binding machine pressed from all sides. 2. Shutter & Carcase in 18mm thick. Prelam Partical Board Matt Finished with pvc edge binding machine pressed from all sides. 3. Carcase Back in 9mm thick. Prelam Partical Board Matt Finished. Including neccessary Hardware Regular Handle , Regular Non-Soft Closed Hinges etc. complete as per approved shade & colour. | 3.00 | Each |  | 6000.00 | 18000.00 | 12000.00 | 36000.00 | 18000.00 | prime constructions
125.00 | Wall Cabinet (2 Shutter , Internal Shelf 1)_(Width 936 x Height 750 x Depth 350+20) Providing & Fixing in position with Wall Cabinet made up of 1. Shutter & Carcase in 18mm thick. Prelam Partical Board Matt Finished with pvc edge binding machine pressed from all sides. 2. Carcase Back in 9mm thick. Prelam Partical Board Matt Finished. Including neccessary Hardware Regular Bottom Profile for Handle Purpose , Regular Non-Soft Closed Hinges etc. complete as per approved shade & colour. | 22.00 | Each |  | 6000.00 | 132000.00 | 13000.00 | 286000.00 | 132000.00 | prime constructions
126.00 | Tall Shelf Unit (4 Shutter , Internal Shelf 5)_(Width 806 x Height 2100 x Depth 580+20) Providing & Fixing in position with Tall Shelf Unit made up of 1. Shutter & Carcase in 18mm thick. Prelam Partical Board Matt Finished with pvc edge binding machine pressed from all sides. 2. Carcase Back in 9mm thick. Prelam Partical Board Matt Finished. Including neccessary Hardware Regular Handle , Regular Non-Soft Closed Hinges etc. complete as per approved shade & colour. | 6.00 | Each |  | 17000.00 | 102000.00 | 28000.00 | 168000.00 | 102000.00 | prime constructions
127.00 | Providing and fixing Signage no.I (Main Gate) MS frame (18 gauge) mounted with 3mm ACP panelling (Any Colour) with 3 mm Acrylic letters 2" deep (any Colour) Letters and logo will have LED lights (ADS LED by Samsung with water proof water supply) inside.The test matter will be "Airports Authority of India" in English and Marathi/Hindi along with the "AAI logo". Each English Letter will be 16 inch in height.(Total 24 English Letters).Each Marathi/Hindi Letters height will be 22.5 inch (including Kanna matra) Logo height will be 36 inch at Engineering complex including Scaffolding and other materials all complete as per requirement and direction of Engineer-in-charge. | 1.00 | Job |  | 100000.00 | 100000.00 | 325000.00 | 325000.00 | 100000.00 | prime constructions
128.00 | Providing and fixing Signage no.III (Waiting room at New HR Building) MS frame (18 gauge) mounted with 3mm ACP panelling (Any Colour) with 3 mm Acrylic letters 2" deep (any Colour) Letters and logo will not have LED lights .The test matter will be "Airports Authority of India" in English and Marathi/Hindi along with the "AAI logo". Each English Letter will be 10 inch in height.(Total 24 English Letters).Each Marathi/Hindi Letters height will be 16 inch (including Kanna matra) Logo height will be 24 inch at Engineering complex including Scaffolding and other materials all complete as per requirement and direction of Engineer-in-charge. | 1.00 | Job |  | 30000.00 | 30000.00 | 250000.00 | 250000.00 | 30000.00 | prime constructions
129.00 | Providing and fixing Signage no.II (Finance Section Building) Flat Acrylic Letters 12 mm deep/thick (any colour) directly mounted on wall ( Any Colour). Letters and logo will not have LED lights inside.The test matter will be "Airports Authority of India" in English and Marathi/Hindi along with the "AAI logo". Each English Letter will be 6 inch in height.(Total 24 English Letters).Each Marathi/Hindi Letters height will be 8.5 inch (including Kanna matra) Logo height will be 14.5 inch at Engineering complex including Scaffolding and other materials all complete as per requirement and direction of Engineer-in-charge. | 1.00 | Job |  | 30000.00 | 30000.00 | 200000.00 | 200000.00 | 30000.00 | prime constructions
130.00 | Dismantling the G.I. chain link fabric fencing by removing the necessary nuts, bolts, and washers, along with the angle truss of the required width, having mesh sizes of 50x50 mm with 3 mm diameter wire mesh (along a length of 210 meters) and angle size of 50x50x5 mm, completing the work as per the direction of the Engineer-in-charge. | 1.00 | Job |  | 25000.00 | 25000.00 | 20000.00 | 20000.00 | 20000.00 | Classicon Projects India Pvt. Ltd.
131.00 | Credit items value for old fencing wire mesh (Size 50x50 mm with 3 mm diameter) and angles (50x50x5 mm & 40x40x5mm) @50/Kg.completing the work as per the direction of the Engineer-in-charge. | 2270.20 | Kg |  | 10.00 | -22702.00 | 10.00 | -22702.00 | -22702.00 | Classicon Projects India Pvt. Ltd., prime constructions
132.00 | Providing and fixing C.P. brass two way bib cock (Kerovit,Cera and Hindware) of approved quality conforming to IS standards complete as per direction of Engineering in charege 15mm bominal bore | 13.00 | Each |  | 1200.00 | 15600.00 | 1300.00 | 16900.00 | 15600.00 | prime constructions
133.00 | Preparation and submission of detailed analysis, Structural design and drawings of proposed New HR offices at Engg Complex. All drawings & designs to be submitted in 3 sets along with soft copy.Visit of consultant during each stage & as and when desired by EIC at the time of execution of work. | 157.50 | Sqm |  | 500.00 | 78750.00 | 1250.00 | 196875.00 | 78750.00 | prime constructions
134.00 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+ 0.05 %) total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineerin- charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 220.00 | Sqm |  | 600.00 | 132000.00 | 600.00 | 132000.00 | 132000.00 | Classicon Projects India Pvt. Ltd., prime constructions
135.00 | SH : ELECTRICAL WORKS
135.10 | Wiring for light point / fan point / exhaust fan point / call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc. as required. | 168.00 | Point |  | 1140.00 | 191520.00 | 1000.00 | 168000.00 | 168000.00 | Classicon Projects India Pvt. Ltd.
136.00 | Wiring for group controlled (looped) light point / fan point / exhaust fan point / call bell point (without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface / recessed PVC conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc. as required. | 63.00 | Point |  | 740.00 | 46620.00 | 600.00 | 37800.00 | 37800.00 | Classicon Projects India Pvt. Ltd.
137.00 | Wiring for circuit / submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required.
137.10 | 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire. | 681.00 | Mtr. |  | 270.00 | 183870.00 | 260.00 | 177060.00 | 177060.00 | Classicon Projects India Pvt. Ltd.
137.20 | 2 X 4 sq. mm + 1 X 4 sq. mm earth wire. | 867.00 | Mtr. |  | 310.00 | 268770.00 | 325.00 | 281775.00 | 268770.00 | prime constructions
138.00 | Supplying and fixing following modular switch / socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.
138.10 | 5/6 A switch. | 50.00 | Each |  | 70.00 | 3500.00 | 200.00 | 10000.00 | 3500.00 | prime constructions
138.20 | 3 pin 5/6 A socket outlet. | 50.00 | Each |  | 120.00 | 6000.00 | 400.00 | 20000.00 | 6000.00 | prime constructions
139.00 | Supplying and fixing two module stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required. | 24.00 | Each |  | 340.00 | 8160.00 | 500.00 | 12000.00 | 8160.00 | prime constructions
140.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 15/16 amps modular socket outlet and 15/16 amps modular switch, connection etc. as required. | 76.00 | Each |  | 440.00 | 33440.00 | 1200.00 | 91200.00 | 33440.00 | prime constructions
141.00 | Supplying and fixing 20 amps, 240 volts, SPN industrial type, socket outlet, with 2 pole and earth, metal enclosed plug top alongwith 20 amps “C” curve, SP, MCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket outlet and complete with connections, testing and commissioning etc. as required. | 22.00 | Each |  | 1220.00 | 26840.00 | 2500.00 | 55000.00 | 26840.00 | prime constructions
142.00 | Supplying and drawing following pair 0.5 mm dia FRLS PVC insulated annealed copper conductor, unarmored telephone cable in the existing surface / recessed steel / PVC conduit as required.
142.10 | 2 Pair | 645.00 | Metre |  | 33.00 | 21285.00 | 60.00 | 38700.00 | 21285.00 | prime constructions
143.00 | Supplying and drawing of UTP 4 pair CAT 6 unarmoured LAN Cable in the existing surface / recessed Steel / PVC conduit as required.
143.10 | 1 run of Cable | 205.00 | Metre |  | 44.00 | 9020.00 | 70.00 | 14350.00 | 9020.00 | prime constructions
143.20 | 2 run of Cable | 245.00 | Metre |  | 72.00 | 17640.00 | 100.00 | 24500.00 | 17640.00 | prime constructions
143.30 | 3 run of Cable | 195.00 | Metre |  | 110.00 | 21450.00 | 130.00 | 25350.00 | 21450.00 | prime constructions
144.00 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface / recess including cutting the wall and making good the same in case of recessed conduit as required.
144.10 | 25 mm | 340.00 | Metre |  | 105.00 | 35700.00 | 75.00 | 25500.00 | 25500.00 | Classicon Projects India Pvt. Ltd.
145.00 | Supplying and fixing Telephone socket outlet (RJ 11 Socket Outlet) alongwith 1 / 2 module metal box, 1 module modular base & cover plate in recess / on surface including connections etc. as required. | 37.00 | Each |  | 200.00 | 7400.00 | 700.00 | 25900.00 | 7400.00 | prime constructions
146.00 | Supplying and fixing Computer Jack RJ 45 (Cat 6), 1 Module, alongwith 1/2 module metal box, 1 module modular base & cover plate in recess / on surface including connections etc. as required. | 36.00 | Each |  | 450.00 | 16200.00 | 1000.00 | 36000.00 | 16200.00 | prime constructions
147.00 | Supplying & Fixing Krone Connection box (IP 42 suitable for 10 pair RC Cable made out of 14 SWG MS Junction box with 10 pair incoming & 10 Pair outgoing) with Krone type disconnection module (Krone Connector) suitable for electronic exchange with proper locking arrangement etc. complete as required. | 1.00 | Job |  | 2500.00 | 2500.00 | 2000.00 | 2000.00 | 2000.00 | Classicon Projects India Pvt. Ltd.
148.00 | Supplying and fixing following way, horizontal / verticle type, three pole and neutral, sheet steel, MCB distribution board, 415 volts, on surface / recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator)
148.10 | For 4 way (4 + 12), Double door TPN MCBDB | 1.00 | Each |  | 7300.00 | 7300.00 | 5000.00 | 5000.00 | 5000.00 | Classicon Projects India Pvt. Ltd.
148.20 | For 6 way (4 + 18), Double door TPN MCBDB | 1.00 | Each |  | 9300.00 | 9300.00 | 6500.00 | 6500.00 | 6500.00 | Classicon Projects India Pvt. Ltd.
148.30 | For 8 way (8 + 24), Double door TPN MCBDB | 3.00 | Each |  | 11000.00 | 33000.00 | 8000.00 | 24000.00 | 24000.00 | Classicon Projects India Pvt. Ltd.
149.00 | Supplying and fixing following rating, 240/415 volts, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.
149.10 | 6 A to 32 A ratings, SP MCB. | 92.00 | Each |  | 175.00 | 16100.00 | 200.00 | 18400.00 | 16100.00 | prime constructions
149.20 | 40 A ratings, FP MCB. | 2.00 | Each |  | 1650.00 | 3300.00 | 2200.00 | 4400.00 | 3300.00 | prime constructions
149.30 | 63 A ratings, FP MCB. | 3.00 | Each |  | 2000.00 | 6000.00 | 2200.00 | 6600.00 | 6000.00 | prime constructions
150.00 | Supply of size 48" (1200 mm) Ceiling fan suitable for operating on 230V AC supply etc. as required. | 24.00 | Each |  | 2200.00 | 52800.00 | 2500.00 | 60000.00 | 52800.00 | prime constructions
151.00 | Installation, testing and commissioning of ceiling fan, including wiring the down rods of standard length (upto 30 cm) with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable etc. complete as required. | 24.00 | Each |  | 150.00 | 3600.00 | 500.00 | 12000.00 | 3600.00 | prime constructions
152.00 | Supply of 250 mm light duty Exhaust Fan with suitable louvers / shutters complete with frame operating on 230V AC etc. complete as required (Havells make Ventil Air DX Super White model FHVVEDXWHT10 or equivalent). | 14.00 | Each |  | 2500.00 | 35000.00 | 1500.00 | 21000.00 | 21000.00 | Classicon Projects India Pvt. Ltd.
153.00 | Installation of exhaust fan in the existing opening, including making good the damage, connection, testing, commissioning etc. complete as required. (Upto 450 mm sweep). | 14.00 | Each |  | 150.00 | 2100.00 | 300.00 | 4200.00 | 2100.00 | prime constructions
154.00 | Supply of 600mm x 600mm recess mounted LED fixture with high efficiency polymethyl methacrylate (PMMA) diffuser, complete with driver and accessories having luminaire efficacy not less than 100 Lumens / watt, suitable for indoor applications and as per technical specifications etc. as required. (Crompton Polaris Nio-I/II LCTLRNE-36-FO-CDL / Bajaj BZRSQL 36L LED GX WH or equvivalent) | 20.00 | Each |  | 2100.00 | 42000.00 | 1400.00 | 28000.00 | 28000.00 | Classicon Projects India Pvt. Ltd.
155.00 | Supply of recessed mounted 18 W LED round cool day light (CDL) panel light fixture made of aluminium die cast, i/c. necessary electronic driver, diffuser, LED lamp with minimum 100 lumen/watt efficiency suitable to operate on 230V AC power supply etc. as per specifications complete as required. (Havells LHEBADP7IZ1W018 / Bajaj BGSLO Sleek Recess RD 18W WH LED or equvivalent) | 97.00 | Each |  | 1230.00 | 119310.00 | 1400.00 | 135800.00 | 119310.00 | prime constructions
156.00 | Supply of 20 Watt Batten type LED tube light fitting having double side connection i/c. necessary electronic driver suitable to operate on 230V AC power supply as per specifications complete as required. (Crompton, Bright Linea CCS-100-20-65-HL2-DP-NWH / Bajaj BCLAB 20W LED P or equvivalent). | 20.00 | Each |  | 450.00 | 9000.00 | 1200.00 | 24000.00 | 9000.00 | prime constructions
157.00 | Supply of 45 watt LED street light fitting made of aluminium die cast, system efficacy not less than 110 lumens per watt, weatherproof gasket for lamp, control gear accessories, suitable for mounting on existing bracket, electronic driver and accessories complete as per specifications etc. as required. (Crompton Wanderer plus Ref. TRP-417-45-57-SL-LM-NBK / Bajaj ENXT P 54L WH PO PC SD MT or equvivalent) | 4.00 | Each |  | 2500.00 | 10000.00 | 2000.00 | 8000.00 | 8000.00 | Classicon Projects India Pvt. Ltd.
158.00 | Supply of 200 Watt Flood LED Light fixture having minimum 110 lumen/watt output with powder coated pressure die-cast aluminium housing with toughened glass, high power LED's with IP 66 protection, weatherproof gasket for lamp and control gear accessories as per technical specifications etc. as required. (Crompton, Pluto Neo Aura TFS-507-200-57-NL-SL-GL-NSG / PRAZE F 240L WH NB-A5 TG SD or equvivalent) | 5.00 | Each |  | 6800.00 | 34000.00 | 7000.00 | 35000.00 | 34000.00 | prime constructions
159.00 | Supply of 40 watt suspended standalone luminaire i/c. aluminium die-cast housing with mounting arrangement on ceiling, driver and accessories having luminaire efficacy not less than 100 Lumens / watt, suitable for indoor applications and as per technical specifications etc. as required. (Bajaj BPCS 40W LED WH 4F or equvivalent). | 15.00 | Each |  | 3400.00 | 51000.00 | 4500.00 | 67500.00 | 51000.00 | prime constructions
160.00 | SITC of 24 watt LED Profile / Strip light along with aluminium housing & capping, size 17 X 8 mm, 12 V 2A driver & accessories complete as required. (Havells Flex. Neo LED Strip 24 W 5 M or equvivalent) | 20.00 | Metre |  | 3400.00 | 68000.00 | 500.00 | 10000.00 | 10000.00 | Classicon Projects India Pvt. Ltd.
161.00 | Installation, testing and commissioning of pre-wired, LED fitting / fluorescent fitting / compact fluorescent fitting of all types, complete with all accessories and tube etc. directly on ceiling/ wall, including connection with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | 152.00 | Each |  | 150.00 | 22800.00 | 250.00 | 38000.00 | 22800.00 | prime constructions
162.00 | Supply of 400 mm size Wall Mounting Fan suitable to operate on 230V, 50 Hz, AC supply with all accessaires etc. complte as required. | 10.00 | Each |  | 2400.00 | 24000.00 | 2700.00 | 27000.00 | 24000.00 | prime constructions
163.00 | Installation, testing and commissioning of wall mounted fan, including mounting arrangement with all accessaires etc. complte as required. | 10.00 | Each |  | 100.00 | 1000.00 | 500.00 | 5000.00 | 1000.00 | prime constructions
164.00 | Supplying and fixing of 32 mm dia X 2.00 metres long G.I. pipe (medium class) bracket for mounting of LED/ fluorescent / HPMV / HPSV street light fitting on pole including bending the pipe to the required shape, 2 nos 40 mm X 3 mm flat iron clamps with nuts, bolts and washer, painting the flat iron with primer and finish paint etc. as required. | 4.00 | Each |  | 1000.00 | 4000.00 | 2000.00 | 8000.00 | 4000.00 | prime constructions
165.00 | Supply & fixing of IP 66 weather proof loop in / loop out cable junction box suitable for outdoor installation, made out of thermoplastic polycarbonate (Make: Hensel CAT No. KF1616G (155 x 210 x 92 mm) or similar) with D-rail mounted terminals suitable for cable of size 10-16 Sqmm, with knockouts for cable entry, locking arrangement, 01 no earth terminal complete in all respect including fixing on wall / pole with suitable 2 mm thick GI clamps and nuts-bolts etc. complete as required. | 6.00 | Each |  | 2400.00 | 14400.00 | 8000.00 | 48000.00 | 14400.00 | prime constructions
166.00 | Installation, Testing and Commissioning of 30/45 W LED fitting on existing pole bracket / wall bracket including providing 3C x 1.5 sqmm PVC insulated copper conductor flexible cable of suitable length, connections etc. complete as required. | 4.00 | Job |  | 200.00 | 800.00 | 200.00 | 800.00 | 800.00 | Classicon Projects India Pvt. Ltd., prime constructions
167.00 | Supply of following size XLPE/PVC insulated, PVC innersheathed, copper conductor armoured power cable of 1.1 KV grade as per IS 7098 (Part 1) 1988 with up to date amendments of approved make & as per technical specifications etc. complete as required.
167.10 | 3 core X 2.5 sq.mm. | 150.00 | Metre |  | 120.00 | 18000.00 | 140.00 | 21000.00 | 18000.00 | prime constructions
168.00 | Supply of following size XLPE/PVC insulated, PVC innersheathed, aluminium conductor armoured power cable of 1.1 KV grade as per IS 7098 (Part 1) 1988 with up to date amendments of approved make & as per technical specifications etc. complete as required.
168.10 | 3.5 core X 70 sq.mm. | 30.00 | Metre |  | 480.00 | 14400.00 | 500.00 | 15000.00 | 14400.00 | prime constructions
168.20 | 4 core X 25 sq.mm. | 130.00 | Metre |  | 210.00 | 27300.00 | 250.00 | 32500.00 | 27300.00 | prime constructions
169.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade size up-to 35 sq.mm. in the existing RCC/HUME/Metal/DWC/GI pipe as required. | 200.00 | Metre |  | 30.00 | 6000.00 | 40.00 | 8000.00 | 6000.00 | prime constructions
170.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of size above 35 sq.mm. and upto 95 sq.mm. in the existing RCC/HUME/Metal/DWC/GI pipe as required. | 20.00 | Metre |  | 50.00 | 1000.00 | 70.00 | 1400.00 | 1000.00 | prime constructions
171.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade up-to 35 sq.mm. size clamped with 1 mm thick saddle on wall surface etc. complete as required. | 80.00 | Metre |  | 40.00 | 3200.00 | 60.00 | 4800.00 | 3200.00 | prime constructions
172.00 | Supplying and making end termination with brass compression gland and copper lugs for following size of PVC insulated and PVC sheathed / XLPE Copper conductor cable of 1.1 KV grade etc. complete as required.
172.10 | 3 core X 2.5 sq.mm. | 12.00 | Set |  | 200.00 | 2400.00 | 500.00 | 6000.00 | 2400.00 | prime constructions
173.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE Aluminium conductor cable of 1.1 KV grade etc. complete as required.
173.10 | 3.5 core X 95 sq.mm. | 2.00 | Set |  | 500.00 | 1000.00 | 700.00 | 1400.00 | 1000.00 | prime constructions
173.20 | 3.5 core X 120 sq.mm. | 3.00 | Set |  | 650.00 | 1950.00 | 800.00 | 2400.00 | 1950.00 | prime constructions
173.30 | 4 core X 25 sq.mm. | 6.00 | Set |  | 300.00 | 1800.00 | 600.00 | 3600.00 | 1800.00 | prime constructions
174.00 | Supply of 50 mm size (OD-50 mm & ID-38 mm nominal) DWC HDPE pipe ISI marked along with all accessories like couplers etc. complete as required. | 200.00 | Metre |  | 93.00 | 18600.00 | 250.00 | 50000.00 | 18600.00 | prime constructions
175.00 | Laying of 50 mm DWC HDPE pipe complete with fitting and cutting, jointing etc. direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. | 200.00 | Metre |  | 98.00 | 19600.00 | 200.00 | 40000.00 | 19600.00 | prime constructions
176.00 | Providing, laying and fixing 100 mm dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching (75 cm deep) and re-filling etc. as required. | 24.00 | Metre |  | 1350.00 | 32400.00 | 2200.00 | 52800.00 | 32400.00 | prime constructions
177.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia, B class including accessories, and providing masonry enclosure with cover plate having locking arrangement with charcoal/coke and salt etc. complete as required. | 1.00 | Set |  | 7500.00 | 7500.00 | 10000.00 | 10000.00 | 7500.00 | prime constructions
178.00 | Providing and laying earth connection from earth electrode with 6 SWG dia G.I. Wire in 15 mm dia B class G.I. pipe from earth electrode including connection with G.I. thimble excavation and re-filling etc. complete as required. | 10.00 | Metre |  | 230.00 | 2300.00 | 300.00 | 3000.00 | 2300.00 | prime constructions
179.00 | Earthing with G.I. earth plate 600 mm X 600 mm X 6 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and GI watering pipe, B class of 2.7 metre long etc. (with charcoal/ coke and salt ) as required. | 1.00 | Set |  | 7500.00 | 7500.00 | 5000.00 | 5000.00 | 5000.00 | Classicon Projects India Pvt. Ltd.
180.00 | Providing and fixing 25 mm X 5 mm GI strip in 40 mm dia B class G.I. pipe from earth electrode including connection with G.I. nut, bolt, spring, washer excavation and re-filling etc. as required. | 20.00 | Metre |  | 600.00 | 12000.00 | 700.00 | 14000.00 | 12000.00 | prime constructions
181.00 | Providing & fixing of 25 mm X 5 mm GI strip on surface or in recess for connections etc. as required. | 5.00 | Metre |  | 180.00 | 900.00 | 250.00 | 1250.00 | 900.00 | prime constructions
182.00 | Design, Fabrication, Supply, Installation, Testing and Commissioning of cubicle type, IP-65 outdoor LT panel - floor mounting, free standing, suitable for 415V+/-10%, 3 Phase, 4 wire, 50 Hz AC supply system, fabricated in compartmentalized modular design from CRCA sheet steel of 1.6 mm thick for frame work and covers, 3 mm thick for gland plates i/c cleaning & finishing complete with 7 tank process for powder coating in approved shade, TPN Aluminium bus bars of high conductivity, SMC / DMC bus bar supports, with short circuit withstand capacity of 50 KA for 1 sec, bottom base channel of MS section not less than 100 mm x 75 mm x 5 mm thick, entire panel shall have a common Al. earth bus bar of suitable size at the rear end with 2 Nos. earth stud, solid / flexible connections from main bus bar to switchgears and from switchgear output to cable termination in cable alley with required size of Copper conductors / Aluminium bus bars and control wiring with 2.5 sqmm PVC insulated copper conductor cable (FRLS), cable alleys, cable gland plates in two half, complete with all accessories, interconnection, interlocking, earthing i/c providing following switchgears / accessories as per specifications. The panel shall be mounted on MS angle stand to be grouted in 1:2:4 concrete of 100 X 100 X 300 mm depth, providing & laying in position cement concrete (PCC) of specified grade around the panel (PCC Size 1Mtr X 1 Mtr X 0.25 Mtr) (1:2:4) (1 cement: 2 coarse sand: 4 graded stone aggregate 40mm nominal size) etc. as per technical specifications as required. A) Incomers & Bus coupler: i) 250 Amps, 36 kA, Four Pole MCCB (Ics = 100% Icu), with O/L and S/C Fault Protection with Adjustable Thermal and Adjustable Magnetic Releases + Ammeter with in-built selector switch, class-1 accuracy & suitable range of cast resin CTs (03 Nos) including connections etc. as required. - 3 Sets. (Incomer - 2 Nos. & Bus-Coupler - 1 No.)
182.10 | ii) Intelligent Digital Multi Function Meter to read V, A, kVA, KW, kVAR, PF, Hz, THD and individual order harmonics up to 31st Order etc. with communication facility (RS-485 port), CL-1.0, LED display with 03 Nos of CTs, 100/5, 1 VA, Class 1.0 and control circuit wiring with 2 Amps MCBs for controlling and protection. - 2 Sets. iii) 3 Phase 4 Wire kWh meter, CT op base mounting, class accuracy 0.5 sec. with suitable range of cast resin CTs (03 Nos) including connections of class 1.0 - 2 Sets. iv) R, Y, B Phase indicating lamps, LED type, with 2 Amp MCB for protection. - 2 Sets. v) 1 Set of Indication Lamps, LED type for MCCB 'ON' , 'OFF', 'TRIP' with 02 Amps MCB for protection - 3 Sets. vi) Auxiliary contacts / contactors, auxiliary relays, shunt trip etc... for positive interlocking of the incomer MCCBs and bus coupler MCCB as required. - 1 Set. B) Main Busbars: TPN, high conductivity Aluminium main bus bars of minimum of 500 Amps. capacity with heat shrinkable coloured sleeves and i/c DMC / SMC bus bars cross section supports & their spacing etc... For withstanding fault level of 50 kA capacity for 1 sec. - 1 Set C) Outgoings: i) 63 Aamps, 10 kA, Four Pole, 'C Curve' MCB. - 12 Nos. ii) 40 Aamps, 10 kA, Four Pole, 'C Curve' MCB. - 4 Nos. | 1.00 | Job |  | 340000.00 | 340000.00 | 350000.00 | 350000.00 | 340000.00 | prime constructions
183.00 | Supply of Inverter type, 5 Star rating, 1.5 TR split air conditioner having rotary / scroll type compressor, 100% copper condenser, with cordless remote control, refrigerant type R-32, suitable for operation on 230 V AC, 50 Hz, 1-Ph power supply etc. complete as per technical specifications as reqd. | 8.00 | Each |  | 4000.00 | 32000.00 | 43000.00 | 344000.00 | 32000.00 | prime constructions
184.00 | Supply of Inverter type, 5 Star rating, 2.0 TR split air conditioner having rotary / scroll type compressor, 100% copper condenser, with cordless remote control, refrigerant type R-32, suitable for operation on 230 V AC, 50 Hz, 1-Ph power supply etc. complete as per technical specifications as required. | 10.00 | Each |  | 58000.00 | 580000.00 | 55000.00 | 550000.00 | 550000.00 | Classicon Projects India Pvt. Ltd.
185.00 | Installation, testing & commissioning of 1.5/2 TR split air conditioner by fixing indoor unit on wall/ceiling/structure and outdoor unit on wall/stand including providing & fixing suitable size duly painted / powder coated M.S. / G.I. equal angle base frame (ODU Stand), providing and fixing suction/discharge refrigerant copper piping with elastomeric nitrile rubber insulation (Up to 4 Mtrs), control cabling (Up to 4 Mtrs) from indoor to outdoor unit, fasteners, charging of refrigerant gas i/c minor civil works and all accessories etc. complete as required. | 18.00 | Each |  | 1800.00 | 32400.00 | 5000.00 | 90000.00 | 32400.00 | prime constructions
186.00 | Supply & fixing (Over and above 4 Mtrs included in Item No: 183 & 184) of suction/ discharge refrigerant copper piping for 1.5/2 TR split AC insulated elastomeric nitrile rubber between indoor and outdoor units with suitable size of clamp / MS hanger / MS support / MS angle as per site requirement and as per technical specificaions as required. | 60.00 | Mtr. |  | 1000.00 | 60000.00 | 1000.00 | 60000.00 | 60000.00 | Classicon Projects India Pvt. Ltd., prime constructions
187.00 | Supply & fixing 25 mm dia. UPVC drain pipe including cutting, jointing with solvent compound etc. complete as required. | 50.00 | Mtr. |  | 100.00 | 5000.00 | 200.00 | 10000.00 | 5000.00 | prime constructions
188.00 | Supply of 4 C x 2.5 Sq. mm PVC insulated, PVC sheathed unarmored multi stranded copper cable as per IS : 694 etc. as required. | 100.00 | Mtr. |  | 150.00 | 15000.00 | 150.00 | 15000.00 | 15000.00 | Classicon Projects India Pvt. Ltd., prime constructions
189.00 | Dismantling of existing split air conditioners of 1.5 TR / 2.0 TR capacity & shifting the complete unit up to AAI's store or as directed by Engineer-in-charge. | 8.00 | Job |  | 500.00 | 4000.00 | 1000.00 | 8000.00 | 4000.00 | prime constructions
190.00 | Dismantling of existing tower / mega split air conditioners of 2.5/3.0/3.5 TR capacity & shifting the complete unit up to AAI's store or as directed by Engineer-in-charge. | 4.00 | Job |  | 500.00 | 2000.00 | 1500.00 | 6000.00 | 2000.00 | prime constructions
191.00 | Re-Installation, testing & commissioning of existing 1.0 / 1.5 / 2.0 TR split air conditioner by fixing indoor unit on wall / ceiling / structure and outdoor unit on floor / wall / stand including dehydration, providing charging of suitable refrigerant gas with leak testing, connections etc. complete as required. | 8.00 | Job |  | 1800.00 | 14400.00 | 2000.00 | 16000.00 | 14400.00 | prime constructions
192.00 | Re-Installation, testing & commissioning of existing 2.5 / 3.0 / 3.5 TR tower / mega split air conditioner by fixing indoor unit on wall / ceiling / structure and outdoor unit on floor / wall / stand including dehydration, providing charging of suitable refrigerant gas with leak testing, connections etc. complete as required. | 3.00 | Job |  | 2500.00 | 7500.00 | 2500.00 | 7500.00 | 7500.00 | Classicon Projects India Pvt. Ltd., prime constructions
193.00 | Supply, installation, testing & commissioning of Water cooler with in-built RO+UF purifier technology & having water storage tank capacity 20 Litres, purification capacity up-to 40 LPH, along with filter cartridges & RO Membrane of suitable rating, compressor with R134A refrigerant including all accessories, fittings etc. as required for installation & connection with existing water source point etc. complete as required. (Make: Kent, Model - Perk or similar) | 1.00 | Job |  | 8000.00 | 8000.00 | 50000.00 | 50000.00 | 8000.00 | prime constructions
| Total in Figures |  |  |  |  | 15773778.90 |  | 17893205.70
Lowest Amount Quoted BY: prime constructions(15773778.90)

## BOQ Summary
BOQ Summary Details Tender Title: Renovation and Refurbishment of offices of HR, Finance and Engineering in Engineering Complex at DBAI Airport, Nagpur (Civil and Electrical works). Tender ID: 2024_AAI_216729_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | prime constructions (BID ID -789475) | 15773778.90 | L1
| 2 | Classicon Projects India Pvt. Ltd. (BID ID -785935) | 17893205.70 | L2