## BoQ1
Government eProcurement System Created By: VIVEK KUMAR SINGH Created Date/Time: 26-Dec-2024 03:37 PM Tender Title: Day to Day maintenance of Existing E and M installation at JPNI Airport Patna Tender ID: 2024_AAI_216809_1
Tender Inviting Authority: Airports Authority of India, JPNI Airport Patna
Name of Work: Day to Day maintenance of Existing E&M installation at JPNI Airport, Patna (For the year 2024-2025).
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/S COOL CONTROL (GSTN-10ALLPK6251D1ZJ) BID ID -792165 |  | ANIL KUMAR (GSTN-NA) BID ID -793255
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Rewinding of the following with Cu-winding wires of required size including less for dismantled copper wire i/c transportation etc. as required (Dismantle cu-wire need not to return).
1.10 | Ceiling fans (Upto 1400mm Sweep) | 100.00 | Job |  | 655.00 | 65500.00 | 650.00 | 65000.00 | 65000.00 | ANIL KUMAR
1.20 | Exhaust fans (Upto 300 mm Sweep) | 10.00 | Job |  | 640.00 | 6400.00 | 600.00 | 6000.00 | 6000.00 | ANIL KUMAR
1.30 | Replacement of bearings(2nos.)/bushes for above fans | 40.00 | Job |  | 180.00 | 7200.00 | 150.00 | 6000.00 | 6000.00 | ANIL KUMAR
2.00 | Replacement of PCB KIT and repairing for BLDC Ceiling fan as and when required. | 100.00 | Job |  | 605.00 | 60500.00 | 650.00 | 65000.00 | 60500.00 | M/S COOL CONTROL
3.00 | Rewinding of burnt motor of submersible pump motor set capacity upto 3 HP of single/three phase with suitable size of Cu-winding wires including sealing of pump motor with sealant material, testing i/c transportation etc. as required. (Burnt Cu Wire need not to return) | 2.00 | Job |  | 7100.00 | 14200.00 | 5900.00 | 11800.00 | 11800.00 | ANIL KUMAR
4.00 | Rewinding of burnt motor of submersible pump motor set size 12.5/15HP with suitable size of Cu-winding wires including sealing of pump motor with sealant material, testing i/c transportation etc. complete as required. (Burnt Cu Wire need not to return). | 2.00 | Job |  | 13200.00 | 26400.00 | 12400.00 | 24800.00 | 24800.00 | ANIL KUMAR
5.00 | Supply of 12 volt 180 Ampere hour capacity lead acid heavy duty battery without initial charging as reqd.(Make: Exide Xpress Model:-XP-1800 or equivalent approved) | 10.00 | Each |  | 14200.00 | 142000.00 | 12400.00 | 124000.00 | 124000.00 | ANIL KUMAR
6.00 | Supply of 12 volt 80 Ampere hour capacity lead acid heavy duty battery without initial charging as reqd.(Make: Exide Xpress Model:-XP-800 or equivalent approved) | 2.00 | Each |  | 5100.00 | 10200.00 | 5400.00 | 10800.00 | 10200.00 | M/S COOL CONTROL
7.00 | Dismantling,Lifting,repairing and lowering capacity upto 3 H.P. submersible pump motor set i/c column pipe,cable, ,jointing of submersible cable and sealing of pump motor with sealant material, testing commissioning including arranging of tripod stand, chain pulley block etc.complete as required. | 4.00 | Job |  | 3800.00 | 15200.00 | 3400.00 | 13600.00 | 13600.00 | ANIL KUMAR
8.00 | Dismantling,Lifting, repairing and lowering of capacity upto 15 H.P. submersible pump motor set i/c column pipe,cable, jointing of submersible cable and making connection,testing commissioning including arranging of tripod stand, chain pulley block etc.complete as required. | 2.00 | Job |  | 7050.00 | 14100.00 | 6900.00 | 13800.00 | 13800.00 | ANIL KUMAR
9.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FR PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FR PVC insulated copper conductor single core cable etc as required. Group B | 25.00 | Point |  | 945.00 | 23625.00 | 1000.00 | 25000.00 | 23625.00 | M/S COOL CONTROL
10.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required
10.10 | 2 X 1.5 sq. mm + 1 X 1.5 sq. mm earth wire | 100.00 | Mtr |  | 135.00 | 13500.00 | 100.00 | 10000.00 | 10000.00 | ANIL KUMAR
10.20 | 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 100.00 | Mtr |  | 205.00 | 20500.00 | 125.00 | 12500.00 | 12500.00 | ANIL KUMAR
10.30 | 4 X 2.5 sq. mm + 2 X 2.5 sq. mm earth wire | 200.00 | Mtr |  | 215.00 | 43000.00 | 130.00 | 26000.00 | 26000.00 | ANIL KUMAR
10.40 | 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | 100.00 | Mtr |  | 265.00 | 26500.00 | 200.00 | 20000.00 | 20000.00 | ANIL KUMAR
10.50 | 4 X 4 sq. mm + 2 X 4 sq. mm earth wire | 150.00 | Mtr |  | 440.00 | 66000.00 | 400.00 | 60000.00 | 60000.00 | ANIL KUMAR
10.60 | 2 X 6 sq. mm + 1 X 6 sq. mm earth wire | 50.00 | Mtr |  | 365.00 | 18250.00 | 300.00 | 15000.00 | 15000.00 | ANIL KUMAR
11.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed PVC conduit as required.
11.10 | 3 x 1.5 sq. mm | 100.00 | Mtr |  | 65.00 | 6500.00 | 90.00 | 9000.00 | 6500.00 | M/S COOL CONTROL
11.20 | 3 x 2.5 sq. mm | 200.00 | Mtr |  | 135.00 | 27000.00 | 125.00 | 25000.00 | 25000.00 | ANIL KUMAR
11.30 | 3 x 4 sq. mm | 200.00 | Mtr |  | 195.00 | 39000.00 | 175.00 | 35000.00 | 35000.00 | ANIL KUMAR
12.00 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required.
12.10 | 20 mm | 100.00 | Mtr |  | 135.00 | 13500.00 | 125.00 | 12500.00 | 12500.00 | ANIL KUMAR
12.20 | 25 mm | 100.00 | Mtr |  | 165.00 | 16500.00 | 160.00 | 16000.00 | 16000.00 | ANIL KUMAR
13.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.
13.10 | 10 amps switch | 60.00 | Each |  | 85.00 | 5100.00 | 90.00 | 5400.00 | 5100.00 | M/S COOL CONTROL
13.20 | 15/16 amp switch | 50.00 | Each |  | 159.00 | 7950.00 | 150.00 | 7500.00 | 7500.00 | ANIL KUMAR
13.30 | 3 pin 5/6 amp socket outlet | 60.00 | Each |  | 230.00 | 13800.00 | 210.00 | 12600.00 | 12600.00 | ANIL KUMAR
13.40 | 6 pin 15/16 amp socket outlet | 50.00 | Each |  | 245.00 | 12250.00 | 230.00 | 11500.00 | 11500.00 | ANIL KUMAR
14.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc as required.
14.10 | 3 Module (100mmX75mm) | 40.00 | Each |  | 405.00 | 16200.00 | 400.00 | 16000.00 | 16000.00 | ANIL KUMAR
14.20 | 6 Module (200mmX75mm) | 70.00 | Each |  | 570.00 | 39900.00 | 600.00 | 42000.00 | 39900.00 | M/S COOL CONTROL
15.00 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator)
15.10 | 12 way, Double door | 5.00 | Each |  | 1850.00 | 9250.00 | 2000.00 | 10000.00 | 9250.00 | M/S COOL CONTROL
16.00 | Supplying and fixing following way, vertical type three pole and neutral, sheet steel, MCB distribution board, 415 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator)
16.10 | 4 way (4 + 12), Double door | 5.00 | Each |  | 3210.00 | 16050.00 | 3100.00 | 15500.00 | 15500.00 | ANIL KUMAR
16.20 | 8 way (4 + 24), Double door | 5.00 | Each |  | 4995.00 | 24975.00 | 5100.00 | 25500.00 | 24975.00 | M/S COOL CONTROL
17.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.
17.10 | 70 sq. mm | 2.00 | Each |  | 2150.00 | 4300.00 | 2000.00 | 4000.00 | 4000.00 | ANIL KUMAR
17.20 | 120 sq. mm | 2.00 | Each |  | 2430.00 | 4860.00 | 2400.00 | 4800.00 | 4800.00 | ANIL KUMAR
17.30 | 185 sq.mm | 2.00 | Each |  | 2910.00 | 5820.00 | 3000.00 | 6000.00 | 5820.00 | M/S COOL CONTROL
17.40 | 240 sq. mm | 2.00 | Each |  | 3750.00 | 7500.00 | 3400.00 | 6800.00 | 6800.00 | ANIL KUMAR
18.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.
18.10 | 3.5C X 35 sq. mm (32mm) | 2.00 | Each |  | 310.00 | 620.00 | 250.00 | 500.00 | 500.00 | ANIL KUMAR
18.20 | 3.5C X 70 sq. mm (35mm) | 2.00 | Each |  | 350.00 | 700.00 | 300.00 | 600.00 | 600.00 | ANIL KUMAR
18.30 | 3.5CX 95 sq. mm (38mm) | 2.00 | Each |  | 430.00 | 860.00 | 400.00 | 800.00 | 800.00 | ANIL KUMAR
18.40 | 3.5C X 120 sq. mm (45mm) | 2.00 | Each |  | 450.00 | 900.00 | 400.00 | 800.00 | 800.00 | ANIL KUMAR
18.50 | 3.5C X 185 sq. mm (57mm) | 2.00 | Each |  | 670.00 | 1340.00 | 600.00 | 1200.00 | 1200.00 | ANIL KUMAR
18.60 | 3.5C X 240 sq. mm (62mm) | 2.00 | Each |  | 740.00 | 1480.00 | 700.00 | 1400.00 | 1400.00 | ANIL KUMAR
19.00 | Servicing of existing all type desert water cooler including supply of new suitable khash, repairing/replacement of water pump, repairing/rewinding of motor, repairing for water leakage, cleaning, painting of inside & outside surface by metal enamel paint etc. complete as required.
19.10 | Supply of Khash | 75.00 | Job |  | 130.00 | 9750.00 | 150.00 | 11250.00 | 9750.00 | M/S COOL CONTROL
19.20 | Supply of Water Pump | 54.00 | Job |  | 190.00 | 10260.00 | 200.00 | 10800.00 | 10260.00 | M/S COOL CONTROL
19.30 | Repairing/Rewinding of Motor | 40.00 | Job |  | 1230.00 | 49200.00 | 1000.00 | 40000.00 | 40000.00 | ANIL KUMAR
19.40 | Inside & Outside surface of Metal enemal paint. | 10.00 | Ltr |  | 480.00 | 4800.00 | 400.00 | 4000.00 | 4000.00 | ANIL KUMAR
20.00 | Replacement of belimo make 40mm existing Motorised butterfly valve with on/off actutator,installed in water pipe line, with feedback switch ,IP67 Suitable to works on 230V ,50Hz etc, complete as and when required at site conditions. (Model :D640N+GRC230G-5+S1A) or equivalent | 5.00 | Job |  | 18580.00 | 92900.00 | 19000.00 | 95000.00 | 92900.00 | M/S COOL CONTROL
21.00 | Replacement of floating switch in existing water tank at residencial quarters, etc complete as and when required. | 13.00 | Job |  | 695.00 | 9035.00 | 600.00 | 7800.00 | 7800.00 | ANIL KUMAR
22.00 | SITC of 20 Watt LED tube light housing made of engineering plastic with environmental friendly, high energy efficent LEDs & opal diffusar with input AC Connection,IP 20 with system efficacy of 100 lm/w etc complete.(As and when required) | 250.00 | Each |  | 215.00 | 53750.00 | 200.00 | 50000.00 | 50000.00 | ANIL KUMAR
23.00 | Earthing with GI earth plate 600 mm X 600 mm X 6 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal/ coke and salt as required. | 6.00 | Set |  | 5950.00 | 35700.00 | 6400.00 | 38400.00 | 35700.00 | M/S COOL CONTROL
24.00 | Providing and fixing 25 mm X 5 mm GI strip in 40 mm dia medium G.I. pipe from earth electrode including connection with brass nut, bolt, spring, washer excavation and re-filling etc. as required. | 30.00 | Mtrs |  | 795.00 | 23850.00 | 700.00 | 21000.00 | 21000.00 | ANIL KUMAR
25.00 | Providing and fixing 25 mm X 5 mm GI strip on surface or in recess for connections etc. as required. | 25.00 | Mtrs |  | 45.00 | 1125.00 | 40.00 | 1000.00 | 1000.00 | ANIL KUMAR
26.00 | Earthing with copper earth plate 600 mm X 600 mm X 3 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal/ coke and salt as required. | 2.00 | set |  | 6550.00 | 13100.00 | 6000.00 | 12000.00 | 12000.00 | ANIL KUMAR
27.00 | Providing and fixing 25 mm X 5 mm G.I. strip in 40 mm dia G.I. pipe from earth electrode including connection with G.I. nut, bolt, spring, washer excavation and re-filling etc. as required. | 10.00 | Mtr |  | 1270.00 | 12700.00 | 1000.00 | 10000.00 | 10000.00 | ANIL KUMAR
28.00 | Providing and fixing 25 mm X 5 mm copper strip on surface or in recess with fixing hardware, connections etc. as required. | 10.00 | Mtr |  | 995.00 | 9950.00 | 800.00 | 8000.00 | 8000.00 | ANIL KUMAR
29.00 | Computerised electrocut alphabet letter of following height with radium reflective glow in red/yellow/blue colour to visible in day & night and suitable to adhesive on the existing surface of street light,electrical panels etc. complete as required.
29.10 | 1.0" height | 8000.00 | Per Letter |  | 7.00 | 56000.00 | 11.00 | 88000.00 | 56000.00 | M/S COOL CONTROL
29.20 | 1.5" height | 7000.00 | Per Letter |  | 9.00 | 63000.00 | 11.00 | 77000.00 | 63000.00 | M/S COOL CONTROL
30.00 | Rubbing,cleaning & spray painting of feeder pillars/ electrical Panels/Ac duct etc with two coat of high gloss synthetic enamel paint of smoke grey (IS 692) or any other colour as approved by Engineer-in-charge etc. complete as required. | 393.00 | Sqmtr |  | 235.00 | 92355.00 | 250.00 | 98250.00 | 92355.00 | M/S COOL CONTROL
31.00 | Supplying and making indoor cable end termination with heat shrinkable jointing kit complete with all accessories including lugs suitable for following size of 3 Core,XLPE aluminium conductor cable of 11 KV grade as required. 300 sq. mm | 1.00 | Set |  | 13870.00 | 13870.00 | 13000.00 | 13000.00 | 13000.00 | ANIL KUMAR
32.00 | Supplying and making outdoor cable end termination with heat shrinkable jointing kit complete with all accessories including lugs suitable for following size of 3 core,XLPE aluminium conductor cable of 11 KV grade as required.300 sq. mm | 1.00 | Set |  | 18795.00 | 18795.00 | 18000.00 | 18000.00 | 18000.00 | ANIL KUMAR
33.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 11 KV grade of following size in the existing RCC/ HUME/ METAL/HDPE pipe as required. Above 25sq. mm and upto 300 sq. mm | 350.00 | Mtr |  | 95.00 | 33250.00 | 80.00 | 28000.00 | 28000.00 | ANIL KUMAR
34.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 11 KV grade of following size in the existing masonry open duct as required. Above 25sq. mm and upto 300 sq. mm | 50.00 | Mtr |  | 95.00 | 4750.00 | 80.00 | 4000.00 | 4000.00 | ANIL KUMAR
35.00 | Excavation for cable/pipe trenching/chamber/foundation etc as per site requirement of depth upto 1.2 m in soft soil including refilling,dressing of sides and ramming of bottoms,getting out the excavated soil and disposal of surplus excavated soil as directed ,etc complete as required. | 100.00 | Cum |  | 340.00 | 34000.00 | 250.00 | 25000.00 | 25000.00 | ANIL KUMAR
36.00 | Laying of one number PVC insulated and PVC sheathed/XLPE power cable of 1.1 kV grade of following size in the existing RCC/GI/HUME/METAL/HDPE pipe etc. as required. (A) up to 300 sq mm | 400.00 | Mtr |  | 34.00 | 13600.00 | 25.00 | 10000.00 | 10000.00 | ANIL KUMAR
37.00 | Providing brick work (in width 225 mm or more) with F.P.S. bricks of class designation 7.5 in cement mortar 1:4 (1 cement : 4 coarse sand) at all levels. | 2.00 | Cum |  | 2500.00 | 5000.00 | 2000.00 | 4000.00 | 4000.00 | ANIL KUMAR
| Total in Figures |  |  |  |  | 1510170.00 |  | 1454200.00
Lowest Amount Quoted BY: ANIL KUMAR(1454200.00)

## BOQ Summary
BOQ Summary Details Tender Title: Day to Day maintenance of Existing E and M installation at JPNI Airport Patna Tender ID: 2024_AAI_216809_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ANIL KUMAR (BID ID -793255) | 1454200.00 | L1
| 2 | M/S COOL CONTROL (BID ID -792165) | 1510170.00 | L2