## BoQ1
Government eProcurement System Created By: Bidyut Roy Created Date/Time: 21-Jan-2025 05:31 PM Tender Title: Provision of Fire Supression System for CNS/ATM facilities at Kolhapur Airport Tender ID: 2024_AAI_217248_1
Tender Inviting Authority: Asst. GENERAL MANAGER (ENGG-ELECT), AIRPORTS AUTHORITY OF INDIA, KOLHAPUR AIRPORT, KOLHAPUR.
Name of Work : Provision of Fire Suppression System for CNS/ATM facilities at Kolhapur Airport.
Contract No: 2024 _AAI_217248_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | CENTRE TAP ENGINEERING (GSTN-24AGPPP8172K1ZP) BID ID -792663 |  | Nexus Fire And Security Systems (GSTN-07AAKFN7125K1ZY) BID ID -792791 |  | advent electric technologies pvt. ltd. (GSTN-07AAJCA2055K1ZN) BID ID -780679 |  | PYROGUARD ENGINEERS PRIVATE LIMITED (GSTN-07AACCP9466E1Z7) BID ID -793243 |  | Vasu Infosec Pvt Ltd (GSTN-27AABCV6080D1ZE) BID ID -794287 |  | RAPID CITY SALES AND SERVICES (GSTN-NA) BID ID -793278 |  | Kalpataru Industries (GSTN-NA) BID ID -791557
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Design, Supply, Installation, Testing & Commissioning of Clean Agent Gas Flooding System for following areas, complete using Gas Agent as per NFPA 2001. Supply of Cylinder UL listed/FM/VDS/LPCB/CCOE(PESO) Approved, complete with valve assembly and arrangement for supervisory switch connection for monitoring cylinder pressure. A pressure gauge with a safety burst disc,electronic control head/Solenoid, pressure operated control, head, flexible hose, strap, NRV and safety cap. Gas-Quantity would be as per the design volume and as per the necessary codal specifications UL Certifications. Clean agent shall be of FK-5-1-12 Gas flooding System with all cylinders, gas, manifold, Master Cylinder Accessories for above including Electrical Control Head, Discharge Hoseand Gas discharge Warning sign, Nozzles including providing, installing, testing and commissioning of Gas Release Panel complete with timer, battery backup, Gas Release/Gas Abort Switch etc. complete system as required. item also includes Fire alarm system for crosszoning and supply & laying of Fire survival cable, detector & panels. Note: The Individual system will be provided in specified areas only. The contractor will design the system as per NFPA 2001. The contractor will get the design approved by AAI before execution. Statutory Approvals will be taken from concerned authorities. The piping design and pressure calculations using manufacturer design software for a given dimension of room duly approved by manufacturer/distributors shall be submitted prior to starting of the works. (Area, Volume mentioned here are approx. values and given for indicative purpose, agency has to design for actual measurments at site and as per drawings) (Individual system) - Equipment room , GF, DVOR Building Surface area:- 21.25 Sqmtr (Approx.) Total volume:- 72.25 cubic mtr. (Approx.) | 1.00 | Job |  | 468500.00 | 468500.00 | 346428.00 | 346428.00 | 496000.00 | 496000.00 | 390230.00 | 390230.00 | 419580.00 | 419580.00 | 631000.00 | 631000.00 | 319934.00 | 319934.00 | 319934.00 | Kalpataru Industries
2.00 | Design, Supply, Installation, Testing & Commissioning of Clean Agent Gas Flooding System for following areas, complete using Gas Agent as per NFPA 2001. Supply of Cylinder UL listed/FM/VDS/LPCB/CCOE(PESO) Approved, complete with valve assembly and arrangement for supervisory switch connection for monitoring cylinder pressure. A pressure gauge with a safety burst disc,electronic control head/Solenoid, pressure operated control, head, flexible hose, strap, NRV and safety cap. Gas-Quantity would be as per the design volume and as per the necessary codal specifications UL Certifications. Clean agent shall be of FK-5-1-12 Gas flooding System with all cylinders, gas, manifold, Master Cylinder Accessories for above including Electrical Control Head, Discharge Hoseand Gas discharge Warning sign, Nozzles including providing, installing, testing and commissioning of Gas Release Panel complete with timer, battery backup, Gas Release/Gas Abort Switch etc. complete system as required. item also includes Fire alarm system for crosszoning and supply & laying of Fire survival cable, detector & panels. Note: The Individual system will be provided in specified areas only. The contractor will design the system as per NFPA 2001. The contractor will get the design approved by AAI before execution. Statutory Approvals will be taken from concerned authorities. The piping design and pressure calculations using manufacturer design software for a given dimension of room duly approved by manufacturer/distributors shall be submitted prior to starting of the works. (Area, Volume mentioned here are approx. values and given for indicative purpose, agency has to design for actual measurments at site and as per drawings) (Individual system) - Battery room , GF, DVOR Building Surface area:-8.5 Sqmtr (Approx.) Total volume:- 28.75 cubic mtr (Approx.) | 1.00 | Job |  | 333500.00 | 333500.00 | 255444.00 | 255444.00 | 342000.00 | 342000.00 | 311900.00 | 311900.00 | 359220.00 | 359220.00 | 392300.00 | 392300.00 | 244118.00 | 244118.00 | 244118.00 | Kalpataru Industries
3.00 | Design, Supply, Installation, Testing & Commissioning of Clean Agent Gas Flooding System for following areas, complete using Gas Agent as per NFPA 2001. Supply of Cylinder UL listed/FM/VDS/LPCB/CCOE(PESO) Approved, complete with valve assembly and arrangement for supervisory switch connection for monitoring cylinder pressure. A pressure gauge with a safety burst disc,electronic control head/Solenoid, pressure operated control, head, flexible hose, strap, NRV and safety cap. Gas-Quantity would be as per the design volume and as per the necessary codal specifications UL Certifications. Clean agent shall be of FK-5-1-12 Gas flooding System with all cylinders, gas, manifold, Master Cylinder Accessories for above including Electrical Control Head, Discharge Hoseand Gas discharge Warning sign, Nozzles including providing, installing, testing and commissioning of Gas Release Panel complete with timer, battery backup, Gas Release/Gas Abort Switch etc. complete system as required. item also includes Fire alarm system for crosszoning and supply & laying of Fire survival cable, detector & panels. Note: The Individual system will be provided in specified areas only. The contractor will design the system as per NFPA 2001. The contractor will get the design approved by AAI before execution. Statutory Approvals will be taken from concerned authorities. The piping design and pressure calculations using manufacturer design software for a given dimension of room duly approved by manufacturer/distributors shall be submitted prior to starting of the works. (Area, Volume mentioned here are approx. values and given for indicative purpose, agency has to design for actual measurments at site and as per drawings) (Individual system) - CCTV Equipment room, GF, ATC Building Surface area:-16.5 Sqmtr (Approx) Total volume:- 57.75 cubic mtr (Approx.) | 1.00 | Job |  | 433500.00 | 433500.00 | 334468.00 | 334468.00 | 381000.00 | 381000.00 | 361220.00 | 361220.00 | 390480.00 | 390480.00 | 415770.00 | 415770.00 | 286454.00 | 286454.00 | 286454.00 | Kalpataru Industries
4.00 | Design, Supply, Installation, Testing & Commissioning of Clean Agent Gas Flooding System for following areas, complete using Gas Agent as per NFPA 2001. Supply of Cylinder UL listed/FM/VDS/LPCB/CCOE(PESO) Approved, complete with valve assembly and arrangement for supervisory switch connection for monitoring cylinder pressure. A pressure gauge with a safety burst disc,electronic control head/Solenoid, pressure operated control, head, flexible hose, strap, NRV and safety cap. Gas-Quantity would be as per the design volume and as per the necessary codal specifications UL Certifications. Clean agent shall be of FK-5-1-12 Gas flooding System with all cylinders, gas, manifold, Master Cylinder Accessories for above including Electrical Control Head, Discharge Hoseand Gas discharge Warning sign, Nozzles including providing, installing, testing and commissioning of Gas Release Panel complete with timer, battery backup, Gas Release/Gas Abort Switch etc. complete system as required. item also includes Fire alarm system for crosszoning and supply & laying of Fire survival cable, detector & panels. Note: The Individual system will be provided in specified areas only. The contractor will design the system as per NFPA 2001. The contractor will get the design approved by AAI before execution. Statutory Approvals will be taken from concerned authorities. The piping design and pressure calculations using manufacturer design software for a given dimension of room duly approved by manufacturer/distributors shall be submitted prior to starting of the works. (Area, Volume mentioned here are approx. values and given for indicative purpose, agency has to design for actual measurments at site and as per drawings) (Individual system) - Battery room, FF, ATC Building Surface area:-13.5 (Approx.) Total volume:- 47.60 cubic mtr (Approx.) | 1.00 | Job |  | 409000.00 | 409000.00 | 278196.00 | 278196.00 | 368500.00 | 368500.00 | 348430.00 | 348430.00 | 379260.00 | 379260.00 | 179300.00 | 179300.00 | 269390.00 | 269390.00 | 179300.00 | RAPID CITY SALES AND SERVICES
5.00 | Design, Supply, Installation, Testing & Commissioning of Clean Agent Gas Flooding System for following areas, complete using Gas Agent as per NFPA 2001. Supply of Cylinder UL listed/FM/VDS/LPCB/CCOE(PESO) Approved, complete with valve assembly and arrangement for supervisory switch connection for monitoring cylinder pressure. A pressure gauge with a safety burst disc,electronic control head/Solenoid, pressure operated control, head, flexible hose, strap, NRV and safety cap. Gas-Quantity would be as per the design volume and as per the necessary codal specifications UL Certifications. Clean agent shall be of FK-5-1-12 Gas flooding System with all cylinders, gas, manifold, Master Cylinder Accessories for above including Electrical Control Head, Discharge Hoseand Gas discharge Warning sign, Nozzles including providing, installing, testing and commissioning of Gas Release Panel complete with timer, battery backup, Gas Release/Gas Abort Switch etc. complete system as required. item also includes Fire alarm system for crosszoning and supply & laying of Fire survival cable, detector & panels. Note: The Individual system will be provided in specified areas only. The contractor will design the system as per NFPA 2001. The contractor will get the design approved by AAI before execution. Statutory Approvals will be taken from concerned authorities. The piping design and pressure calculations using manufacturer design software for a given dimension of room duly approved by manufacturer/distributors shall be submitted prior to starting of the works. (Area, Volume mentioned here are approx. values and given for indicative purpose, agency has to design for actual measurments at site and as per drawings) (Individual system) - UPS Room, FF, ATC Building Surface area:-12 Sqmtr. (Approx.) Total volume:- 42.00 cubic mtr (Approx.) | 1.00 | Job |  | 365000.00 | 365000.00 | 272508.00 | 272508.00 | 360000.00 | 360000.00 | 340890.00 | 340890.00 | 371100.00 | 371100.00 | 460550.00 | 460550.00 | 261614.00 | 261614.00 | 261614.00 | Kalpataru Industries
6.00 | Design, Supply, Installation, Testing & Commissioning of Clean Agent Gas Flooding System for following areas, complete using Gas Agent as per NFPA 2001. Supply of Cylinder UL listed/FM/VDS/LPCB/CCOE(PESO) Approved, complete with valve assembly and arrangement for supervisory switch connection for monitoring cylinder pressure. A pressure gauge with a safety burst disc,electronic control head/Solenoid, pressure operated control, head, flexible hose, strap, NRV and safety cap. Gas-Quantity would be as per the design volume and as per the necessary codal specifications UL Certifications. Clean agent shall be of FK-5-1-12 Gas flooding System with all cylinders, gas, manifold, Master Cylinder Accessories for above including Electrical Control Head, Discharge Hoseand Gas discharge Warning sign, Nozzles including providing, installing, testing and commissioning of Gas Release Panel complete with timer, battery backup, Gas Release/Gas Abort Switch etc. complete system as required. item also includes Fire alarm system for crosszoning and supply & laying of Fire survival cable, detector & panels. Note: The Individual system will be provided in specified areas only. The contractor will design the system as per NFPA 2001. The contractor will get the design approved by AAI before execution. Statutory Approvals will be taken from concerned authorities. The piping design and pressure calculations using manufacturer design software for a given dimension of room duly approved by manufacturer/distributors shall be submitted prior to starting of the works. (Area, Volume mentioned here are approx. values and given for indicative purpose, agency has to design for actual measurments at site and as per drawings) (Individual system) - Equipment room, FF, ATC Building Surface area:-53.5 Sqmtr (Approx.) Total volume:-186.5 cubic mtr (Approx.) | 1.00 | Job |  | 802000.00 | 802000.00 | 576532.00 | 576532.00 | 543000.00 | 543000.00 | 580330.00 | 580330.00 | 565080.00 | 565080.00 | 1141550.00 | 1141550.00 | 587590.00 | 587590.00 | 543000.00 | advent electric technologies pvt. ltd.
7.00 | Design, Supply, Installation, Testing & Commissioning of Clean Agent Gas Flooding System for following areas, complete using Gas Agent as per NFPA 2001. Supply of Cylinder UL listed/FM/VDS/LPCB/CCOE(PESO) Approved, complete with valve assembly and arrangement for supervisory switch connection for monitoring cylinder pressure. A pressure gauge with a safety burst disc,electronic control head/Solenoid, pressure operated control, head, flexible hose, strap, NRV and safety cap. Gas-Quantity would be as per the design volume and as per the necessary codal specifications UL Certifications. Clean agent shall be of FK-5-1-12 Gas flooding System with all cylinders, gas, manifold, Master Cylinder Accessories for above including Electrical Control Head, Discharge Hoseand Gas discharge Warning sign, Nozzles including providing, installing, testing and commissioning of Gas Release Panel complete with timer, battery backup, Gas Release/Gas Abort Switch etc. complete system as required. item also includes Fire alarm system for crosszoning and supply & laying of Fire survival cable, detector & panels. Note: The Individual system will be provided in specified areas only. The contractor will design the system as per NFPA 2001. The contractor will get the design approved by AAI before execution. Statutory Approvals will be taken from concerned authorities. The piping design and pressure calculations using manufacturer design software for a given dimension of room duly approved by manufacturer/distributors shall be submitted prior to starting of the works. (Area, Volume mentioned here are approx. values and given for indicative purpose, agency has to design for actual measurments at site and as per drawings) Providing, Fixing,Testing and commissioning ISI marked portable type fire extinguishers of 6 Kg capacity ABC Dry Powder type as per IS‐ 15683 complete as per specification and fixed / install as per site condition, as required. | 10.00 | EACH |  | 3500.00 | 35000.00 | 2300.00 | 23000.00 | 3200.00 | 32000.00 | 3390.00 | 33900.00 | 2400.00 | 24000.00 | 1820.00 | 18200.00 | 1870.00 | 18700.00 | 18200.00 | RAPID CITY SALES AND SERVICES
8.00 | Design, Supply, Installation, Testing & Commissioning of Clean Agent Gas Flooding System for following areas, complete using Gas Agent as per NFPA 2001. Supply of Cylinder UL listed/FM/VDS/LPCB/CCOE(PESO) Approved, complete with valve assembly and arrangement for supervisory switch connection for monitoring cylinder pressure. A pressure gauge with a safety burst disc,electronic control head/Solenoid, pressure operated control, head, flexible hose, strap, NRV and safety cap. Gas-Quantity would be as per the design volume and as per the necessary codal specifications UL Certifications. Clean agent shall be of FK-5-1-12 Gas flooding System with all cylinders, gas, manifold, Master Cylinder Accessories for above including Electrical Control Head, Discharge Hoseand Gas discharge Warning sign, Nozzles including providing, installing, testing and commissioning of Gas Release Panel complete with timer, battery backup, Gas Release/Gas Abort Switch etc. complete system as required. item also includes Fire alarm system for crosszoning and supply & laying of Fire survival cable, detector & panels. Note: The Individual system will be provided in specified areas only. The contractor will design the system as per NFPA 2001. The contractor will get the design approved by AAI before execution. Statutory Approvals will be taken from concerned authorities. The piping design and pressure calculations using manufacturer design software for a given dimension of room duly approved by manufacturer/distributors shall be submitted prior to starting of the works. (Area, Volume mentioned here are approx. values and given for indicative purpose, agency has to design for actual measurments at site and as per drawings) Providing, Fixing,Testing and commissioning ISI marked portable type fire extinguishers of CO2 type 4.5 kg capacity as per IS‐ 15683 complete as perspecification and fixed / install as per site condition, as required. | 10.00 | EACH |  | 6500.00 | 65000.00 | 4800.00 | 48000.00 | 6000.00 | 60000.00 | 5760.00 | 57600.00 | 6900.00 | 69000.00 | 4900.00 | 49000.00 | 4120.00 | 41200.00 | 41200.00 | Kalpataru Industries
| Total in Figures |  |  |  |  | 2911500.00 |  | 2134576.00 |  | 2582500.00 |  | 2424500.00 |  | 2577720.00 |  | 3287670.00 |  | 2029000.00
Lowest Amount Quoted BY: Kalpataru Industries(2029000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Fire Supression System for CNS/ATM facilities at Kolhapur Airport Tender ID: 2024_AAI_217248_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Kalpataru Industries (BID ID -791557) | 2029000.00 | L1
| 2 | Nexus Fire And Security Systems (BID ID -792791) | 2134576.00 | L2
| 3 | PYROGUARD ENGINEERS PRIVATE LIMITED (BID ID -793243) | 2424500.00 | L3
| 4 | Vasu Infosec Pvt Ltd (BID ID -794287) | 2577720.00 | L4
| 5 | advent electric technologies pvt. ltd. (BID ID -780679) | 2582500.00 | L5
| 6 | CENTRE TAP ENGINEERING (BID ID -792663) | 2911500.00 | L6
| 7 | RAPID CITY SALES AND SERVICES (BID ID -793278) | 3287670.00 | L7