## BoQ1
Government eProcurement System Created By: Arun Raj N Created Date/Time: 30-Dec-2024 01:28 PM Tender Title: Miscellaneous Electrical Works for new technical block and terminal building at Tuticorin Airport Tender ID: 2024_AAI_217488_1
Tender Inviting Authority: AGM (E-E), Airports Authority of India, Tuticorin Airport.
Name of Work: Miscellenious Electrical Works for new technical block and terminal bulding at Tuticorin Airport
Contract No: 2024_AAI_217488_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SARASWAT ENGINEERING SERVICES (GSTN-27AAZFS6239C1ZO) BID ID -789441 |  | Aditya Techno Products Private Limited (GSTN-09AAGCA0910L1ZS) BID ID -790337 |  | Awasthi Electric Works (GSTN-09ABAPA1866D1Z5) BID ID -790534 |  | Prime Electriks and Machinery Services (GSTN-NA) BID ID -790181
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Percentage above or below on the rates of electrical DSR-2022 (CPWD) items worth totalling 1500000/- for execution of items on requirement basis. The rates quoted shall be without GST. (The payment will be made after deducting GST from DSR rate and adding labour cess of 1%). (Rate to be paid = (DSR rate/1.2127 x R)+labour cess @1% ie, if the quoted rate is 1.25 then R = 1.25 and if quoted rate is 0.75, R=0.75 | 1500000.00 | Job | 100.00 | 1.68 | 2098787.83 | 1.46 | 1823946.57 | 1.05 | 1311742.39 | 1.50 | 1873917.70 | 1311742.39 | Awasthi Electric Works
2.00 | Supply, Installation, Testing and Commissioning of outdoor type totally enclosed MV LT panel, degree of enclosure protection shall be IP 55 as per IS 13947 ([part-I), with front and back openable arrangement completely made up of i/c internal partitions of 14 SWG CRCA sheet steel, i/c cleaning & finishing complete with 7 tank process for powder coating in approved shade, dust tight, vermin proof totally enclosed, cubicle type floor mounting, free standing including providing and fixing of extensible type 200 A Aluminium bus bar with all accessories suitable for operation at 415V, 3 phase, 4 wire, 50 Hz, A.C power supply system complete with all accessories, interconnection with solid Aluminium strip neutral links, earthing, painting, grouting, providing cable entry provision, cable chamber control wiring with 1.5 sq.mm PVC insulated FRLS copper conductor single core multistrand cables, cable gland plates, danger notice plates etc. as required and mounted with the following switch gears as per technical specification required and comprising the following : INCOMER 200 A, 25 kA, 4P MCCB with Microprocessor based releases as incomer with R,Y,B,ON,OFF, Trip indication lamps, resin cast CT's with 3 phase multifunction meter with RS 485 (for V, A, kWH, kW, PF, Hz, kVA & THD - L&T WL 5010 or equivalent)- 2 sets as incomer suitable for terminating incomers of 3.5 core 300 sq.mm with suitable spreader links. OUTGOINGS a) 100 A, 25KA, 4P MCCB with microprocessor based releases with resin cast CTs, digital Ammeter, ON, OFF, Trip indication lamps as outgoing - 4 set as outgoing. b) 63 A, 25KA, 4P MCCB with microprocessor based releases with resin cast CTs, digital Ammeter, ON, OFF, Trip indication lamps as outgoing - 4 sets as outgoing. c) SPARE compartments suitable from MCCB rating of maximum 100 Amps - 2 nos. | 1.00 | No | 10.00 | 578933.00 | 578933.00 | 175000.00 | 175000.00 | 480000.00 | 480000.00 | 288000.00 | 288000.00 | 175000.00 | Aditya Techno Products Private Limited
3.00 | Supply of 1200 mm BLDC ceiling fan of sweep energy efficient, with double ball bearing, standard down rod and other standard accessories etc without regulator suitable for operation on 230 V 50 Hz AC supply etc complete as required. | 5.00 | Each | 10.00 | 4418.40 | 22092.00 | 3200.00 | 16000.00 | 2070.00 | 10350.00 | 2950.00 | 14750.00 | 10350.00 | Awasthi Electric Works
4.00 | Supplying and laying of 63mm dia HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc.direct in ground (120 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc. , complete as required. | 100.00 | Metre | 10.00 | 420.00 | 42000.00 | 90.00 | 9000.00 | 390.00 | 39000.00 | 135.00 | 13500.00 | 9000.00 | Aditya Techno Products Private Limited
5.00 | Supply of recess mounting type 25W, 2'x2' LED type luminaire fixtures with white colour LED suitable to operate 230V, 50Hz AC supply (Make: Philips, Model: RC360B LED30S-6500 V1 L60W60 PSU OD or equivalent as in approved make list) | 10.00 | Nos | 10.00 | 2285.00 | 22850.00 | 1700.00 | 17000.00 | 1450.00 | 14500.00 | 6600.00 | 66000.00 | 14500.00 | Awasthi Electric Works
6.00 | Supply of 18W/20W LED , 5700-6500K, (4 ft.) with LED lamp & batten for LED tube made of extruded aluminium/ poly carbonate housing with integrated electronic driver suitable for operation on 220V, 50 Hz AC supply etc. as per specification complete as required. | 10.00 | Nos | 10.00 | 441.00 | 4410.00 | 500.00 | 5000.00 | 275.00 | 2750.00 | 535.00 | 5350.00 | 2750.00 | Awasthi Electric Works
7.00 | Supply of 36W,Street light luminaire fixtures with white colour LED suitable to operate 230V, 50Hz AC supply (Make: Philips, Model: BRP331 LED36 CW R5N PC PSU S1 V1 or equivalent as in approved make list) | 10.00 | Nos | 10.00 | 1951.00 | 19510.00 | 1700.00 | 17000.00 | 1425.00 | 14250.00 | 4230.00 | 42300.00 | 14250.00 | Awasthi Electric Works
8.00 | Supply of 100W,Outdoor Flood light luminaire fixtures with white colour LED suitable to operate 230V, 50Hz AC supply (Make: Philips, Model: BVP192 LED091 CW HO NB FG A1 PSU GR or equivalent as in approved make list) | 5.00 | Nos | 10.00 | 4342.00 | 21710.00 | 3000.00 | 15000.00 | 3425.00 | 17125.00 | 3650.00 | 18250.00 | 15000.00 | Aditya Techno Products Private Limited
9.00 | Supply of High bay LED type luminaire fixtures with white colour LED suitable to operate 230V, 50Hz AC supply (Make: Philips, Model: BY515P LED200S 5700 NB equivalent as in approved make list) | 10.00 | Each | 10.00 | 6923.00 | 69230.00 | 9248.00 | 92480.00 | 6980.00 | 69800.00 | 6600.00 | 66000.00 | 66000.00 | Prime Electriks and Machinery Services
10.00 | SITC of submersible dewatering pump of Grundfos KP 150/200W or equivalent make with stainless steel body, float , Head 71/36, Discharge 14000LPH, Head: 9m, wiring with submersible cable, if any required complete. | 2.00 | Job | 10.00 | 40750.00 | 81500.00 | 25000.00 | 50000.00 | 35500.00 | 71000.00 | 33000.00 | 66000.00 | 50000.00 | Aditya Techno Products Private Limited
12.00 | Supply of following size of XLPE insulated PVC sheathed Aluminium conductor armoured power cable of 1.1 KV grade conforming to IS-7098 Part-I amended upto date etc. complete as required - 4Cx 16 sqmm | 500.00 | m | 10.00 | 176.00 | 88000.00 | 275.00 | 137500.00 | 150.00 | 75000.00 | 303.00 | 151500.00 | 75000.00 | Awasthi Electric Works
13.00 | Supply of following size of XLPE insulated PVC sheathed Aluminium conductor armoured power cable of 1.1 KV grade conforming to IS-7098 Part-I amended upto date etc. complete as required - 3.5Cx 25 sqmm | 500.00 | m | 10.00 | 330.00 | 165000.00 | 325.00 | 162500.00 | 180.00 | 90000.00 | 424.00 | 212000.00 | 90000.00 | Awasthi Electric Works
14.00 | Supply of following size of XLPE insulated PVC sheathed Aluminium conductor armoured power cable of 1.1 KV grade conforming to IS-7098 Part-I amended upto date etc. complete as required - 3.5Cx 50 sqmm | 1500.00 | m | 10.00 | 348.00 | 522000.00 | 455.00 | 682500.00 | 290.00 | 435000.00 | 565.00 | 847500.00 | 435000.00 | Awasthi Electric Works
15.00 | Supply of following size of XLPE insulated PVC sheathed Aluminium conductor armoured power cable of 1.1 KV grade conforming to IS-7098 Part-I amended upto date etc. complete as required - 3.5Cx 150 sqmm | 350.00 | m | 10.00 | 820.00 | 287000.00 | 1167.00 | 408450.00 | 735.00 | 257250.00 | 1150.00 | 402500.00 | 257250.00 | Awasthi Electric Works
16.00 | Supply and fixing of solar street light fitting with solar panel & GI pole structure with System includes 30w,LED luminaire, 100AH lithium ferrous phopshate battery, 120wp poly crystalline panel, luminaire arm, module mounting structure, 6m Tubular pole etc. complete as required. | 5.00 | Job | 10.00 | 65063.00 | 325315.00 | 24997.00 | 124985.00 | 49000.00 | 245000.00 | 42000.00 | 210000.00 | 124985.00 | Aditya Techno Products Private Limited
17.00 | SITC of high wall mounted inverter type split air-conditioning units having capacity of 1.5 TR with 5 Star rating suitable for operation on 230V, 50Hz, AC supply, complete with of non-ductable indoor unit with remote control and outdoor unit having copper condenser coil with aluminium fins, refrigerant piping of 5mtr length and suitable size, interconnecting cabling, drain piping, etc, providing raised platform / MS stand for outdoor units etc complete as required. | 5.00 | Job | 10.00 | 60823.00 | 304115.00 | 35000.00 | 175000.00 | 37000.00 | 185000.00 | 36500.00 | 182500.00 | 175000.00 | Aditya Techno Products Private Limited
18.00 | Supply and fixing of automatic electronic 4 KVA voltage stabilizer suitable for 1.5TR Split air conditioners having an input range of 170-270V with high/low voltage cut off, intelligent timer etc complete as required. | 5.00 | Job | 10.00 | 11585.00 | 57925.00 | 3500.00 | 17500.00 | 4200.00 | 21000.00 | 1850.00 | 9250.00 | 9250.00 | Prime Electriks and Machinery Services
19.00 | Providing and installation refrigerant piping of 1/2 inch size and 1/4 " size, interconnecting cable of 2.5 sqmm copper conductor, PVC drain piping etc. as per site requirement for installation of split AC complete. (item will be executed if above 5 m length of piping is required for installation) | 50.00 | Metre | 10.00 | 2693.00 | 134650.00 | 670.00 | 33500.00 | 1650.00 | 82500.00 | 690.00 | 34500.00 | 33500.00 | Aditya Techno Products Private Limited
20.00 | SITC of smart high definition LED TV of 32 inch ( make LG model :32LQ570BPSA/ Samsung model T4340 or equivalent) as in approved make list model, with remote and with accessories complte as required. | 5.00 | Each | 10.00 | 19441.00 | 97205.00 | 12500.00 | 62500.00 | 16500.00 | 82500.00 | 24000.00 | 120000.00 | 62500.00 | Aditya Techno Products Private Limited
21.00 | SITC of smart high definition LED TV of 43 inch (108 cm) (make LG model :32LQ570BPSA/ Samsung model UA43DUE76AKLXL ) or equivalent as in approved make list model, with remote and with accessories complte as required. | 4.00 | Each | 10.00 | 37041.00 | 148164.00 | 21000.00 | 84000.00 | 34500.00 | 138000.00 | 33000.00 | 132000.00 | 84000.00 | Aditya Techno Products Private Limited
22.00 | SITC of smart Ultra high definition LED TV of 55 inch (139 cm) (make LG model :55UQ7550PSF/ Samsung model UA55DUE76AKLXL or equivalent) as in approved make list model, with remote and with accessories complete as required. | 1.00 | Each | 10.00 | 48349.00 | 48349.00 | 32000.00 | 32000.00 | 48500.00 | 48500.00 | 42000.00 | 42000.00 | 32000.00 | Aditya Techno Products Private Limited
23.00 | SITC of smart Ultra high definition LED TV of 65 inch (164 cm) (make LG model :65UR7500PSC/ Samsung model UA65DU7000KLXL or equivalent) as in approved make list model, with remote and with accessories complete as required. | 1.00 | Each | 10.00 | 71327.00 | 71327.00 | 55001.00 | 55001.00 | 68900.00 | 68900.00 | 54000.00 | 54000.00 | 54000.00 | Prime Electriks and Machinery Services
24.00 | SITC of open well submersible pump of Wilo make WPO Raptor 50H/1-220-50-2 or equivalent make with a discharge of 1100 LPM delivery head of min 12 m, suitable for 230V, 50 Hz, ac supply, including providing 65 mm dia delivery pipe of atleast 6 m height with supports, DOL starter, wiring with submnersible cable etc. complete as required.. | 2.00 | Each | 10.00 | 64512.00 | 129024.00 | 26700.00 | 53400.00 | 18000.00 | 36000.00 | 33000.00 | 66000.00 | 36000.00 | Awasthi Electric Works
| Total in Figures |  |  |  |  | 5339096.83 |  | 4249262.57 |  | 3795167.39 |  | 4917817.70
Lowest Amount Quoted BY: Awasthi Electric Works(3795167.39)

## BOQ Summary
BOQ Summary Details Tender Title: Miscellaneous Electrical Works for new technical block and terminal building at Tuticorin Airport Tender ID: 2024_AAI_217488_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Awasthi Electric Works (BID ID -790534) | 3795167.39 | L1
| 2 | Aditya Techno Products Private Limited (BID ID -790337) | 4249262.57 | L2
| 3 | Prime Electriks and Machinery Services (BID ID -790181) | 4917817.70 | L3
| 4 | SARASWAT ENGINEERING SERVICES (BID ID -789441) | 5339096.83 | L4