## BoQ1
Government eProcurement System Created By: DEVENDRA GOSWAMI Created Date/Time: 15-Jan-2025 03:41 PM Tender Title: Provision of LT Power Supply from New ATS Power House to NAV-AIDS at S.V. Airport, Raipur. Tender ID: 2024_AAI_217570_1
Tender Inviting Authority: Asst. Gen. Manager (E-E), Airports Authority of India, S.V. Airport, Raipur
Name of Work: Provision of LT Power Supply from New ATS Power House to NAV-AIDS at S.V. Airport, Raipur.
Contract No: 2024_AAI_217570_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SARASWAT ENGINEERING SERVICES (GSTN-27AAZFS6239C1ZO) BID ID -789973 |  | Manish Electricals (GSTN-23ABLPM9012E1ZW) BID ID -798027 |  | Awasthi Electric Works (GSTN-09ABAPA1866D1Z5) BID ID -802558 |  | POOJA BUILDCON CONSTRUCTION (GSTN-06AAWFP9068M1Z4) BID ID -802559 |  | REWINDER TECHNO ELECTRICALS (GSTN-18AAFFR7457K1ZL) BID ID -802631 |  | Aditya Techno Products Private Limited (GSTN-09AAGCA0910L1ZS) BID ID -802650 |  | Techno Electricals (GSTN-24AAGFT9086M1ZG) BID ID -802725 |  | Ascent Electrification Engineers (GSTN-24AAOFA2574R1ZU) BID ID -802795 |  | Virtus Techno (GSTN-NA) BID ID -802718 |  | VEDANT CORPORATION (GSTN-NA) BID ID -802267 |  | Shiva Enterprises (GSTN-NA) BID ID -802229 |  | SAURABH ENTERPRISES (GSTN-NA) BID ID -793486 |  | Shreejikrupa Project Limited (GSTN-NA) BID ID -802675
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | H1 Amount | H1 Vendor
1.00 | Supplying & Laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. (Make :-As per AAI preferred make list)
2.00 | (a) 120 mm dia (OD-120 mm & ID-103 mm nominal) | 7100.00 | Meter | 307.00 | 247.00 | 1753700.00 | 270.00 | 1917000.00 | 295.00 | 2094500.00 | 250.00 | 1775000.00 | 320.00 | 2272000.00 | 220.00 | 1562000.00 | 333.00 | 2364300.00 | 151.00 | 1072100.00 | 400.00 | 2840000.00 | 512.00 | 3635200.00 | 245.00 | 1739500.00 | 150.00 | 1065000.00 | 224.00 | 1590400.00 | 3635200.00 | VEDANT CORPORATION
3.00 | Supply of following sizes Aluminium Armoured conductor XLPE insulated, PVC tape inner sheathed Cable for working voltage 1.1 KV grade & as per IS: 7098 (Part- I ) 1988 with up to date ammendments, complete etc as required.(Make :-As per AAI preferred make list)
4.00 | (a) 3.5C X 150 sq. mm | 7750.00 | Meter | 1399.00 | 755.00 | 5851250.00 | 690.00 | 5347500.00 | 730.00 | 5657500.00 | 750.00 | 5812500.00 | 850.00 | 6587500.00 | 795.00 | 6161250.00 | 783.00 | 6068250.00 | 971.00 | 7525250.00 | 733.96 | 5688190.00 | 795.00 | 6161250.00 | 720.00 | 5580000.00 | 720.00 | 5580000.00 | 885.00 | 6858750.00 | 7525250.00 | Ascent Electrification Engineers
5.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ DWC HDPE/METAL pipe as required.
6.00 | (a) Above 95 sq. mm and upto 185 sq. mm | 7056.00 | Meter | 64.00 | 36.00 | 254016.00 | 30.00 | 211680.00 | 100.00 | 705600.00 | 45.00 | 317520.00 | 5.00 | 35280.00 | 24.00 | 169344.00 | 127.00 | 896112.00 | 2.00 | 14112.00 | 137.50 | 970200.00 | 120.00 | 846720.00 | 175.00 | 1234800.00 | 10.00 | 70560.00 | 142.00 | 1001952.00 | 1234800.00 | Shiva Enterprises
7.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required.
8.00 | (a) Above 95 sq. mm and upto 185 sq. mm | 1418.00 | Meter | 53.00 | 36.00 | 51048.00 | 50.00 | 70900.00 | 80.00 | 113440.00 | 65.00 | 92170.00 | 5.00 | 7090.00 | 20.00 | 28360.00 | 125.00 | 177250.00 | 2.00 | 2836.00 | 137.50 | 194975.00 | 108.00 | 153144.00 | 105.00 | 148890.00 | 10.00 | 14180.00 | 116.00 | 164488.00 | 194975.00 | Virtus Techno
9.00 | Excavation of the cable trenches in hard rock not exceeding 1.5 metres in width, and lift upto 1.5 metres, including getting out the excavated soil and disposal of excavated soil as directed within a lead of 50 metres. | 20.00 | Cum | 1013.00 | 2374.00 | 47480.00 | 1800.00 | 36000.00 | 600.00 | 12000.00 | 2000.00 | 40000.00 | 100.00 | 2000.00 | 950.00 | 19000.00 | 2500.00 | 50000.00 | 1500.00 | 30000.00 | 7800.00 | 156000.00 | 2400.00 | 48000.00 | 5000.00 | 100000.00 | 100.00 | 2000.00 | 153.00 | 3060.00 | 156000.00 | Virtus Techno
10.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.
11.00 | (a) 3.5C X 150 sq. mm | 13.00 | Set | 581.00 | 1141.00 | 14833.00 | 1000.00 | 13000.00 | 800.00 | 10400.00 | 25000.00 | 325000.00 | 100.00 | 1300.00 | 650.00 | 8450.00 | 2000.00 | 26000.00 | 1500.00 | 19500.00 | 4375.00 | 56875.00 | 2484.00 | 32292.00 | 1850.00 | 24050.00 | 600.00 | 7800.00 | 2949.00 | 38337.00 | 325000.00 | POOJA BUILDCON CONSTRUCTION
12.00 | Supply, Installation, Testing and Commissioning of IP65 Mi combinable type Bus BarsJB with 250 amps Allu. bus bars, should be made of high quality Polycarbonate PC-GFS (totally insulated class II ) (shock proof, rust free, corrosion free, acid and chemical resistant, fire retardant, having high impact, made of halogen and silica free recyclable material),UV resistant, having high grade gasket made of Polyurethane, should withstand glow wire test at 960˚C, should be flame retardant,materials suitable for outdoor application and the enclosure should have pre-moulded knock out for cable entry on side walls and enclosure should have PC hinged option. For cable entry from bottom part a de-touchable type PC flange should be fitted with plain wall. The plain wall of flange can be drilled as per cable size. Lid screws should be made of polyamide spring loaded half turn type and to open a triangular key or tool will be required. Inside enclosure should have lot of self-threaded holes so that mounting plate/bus bars can be mounted easily. Degree of Protection : IP 65 Busbar rating: 250 A (RYBN: 40 X 06) MM AL Dimensions : 500 [L] x 985 [H] x 610 [D] mm Given Cable Size : 3.5C X 150 Sq.mm AL. Cable (Loop In / Loop Out) Mounting Type : Outdoor / Floor Mounting ( FRP Angled Frame) | 5.00 | Job | 100748.00 | 63280.00 | 316400.00 | 30000.00 | 150000.00 | 60000.00 | 300000.00 | 135000.00 | 675000.00 | 50000.00 | 250000.00 | 10879.00 | 54395.00 | 47000.00 | 235000.00 | 10500.00 | 52500.00 | 56250.63 | 281253.15 | 100080.00 | 500400.00 | 65000.00 | 325000.00 | 6647.40 | 33237.00 | 89052.00 | 445260.00 | 675000.00 | POOJA BUILDCON CONSTRUCTION
13.00 | Supply and Laying of HDPE pipe of 100 mm dia by Horizontal Directional Drilling (HDD) method in soft soil including preparing & setting up plant & machinery including jointing reamming and pulling of HDPE pipe 1.2 mtr below the ground as per technical specification and site condition etc as required as per direction of E-I-C. | 100.00 | Meter | 800.00 | 1994.00 | 199400.00 | 1800.00 | 180000.00 | 1050.00 | 105000.00 | 3500.00 | 350000.00 | 280.00 | 28000.00 | 832.00 | 83200.00 | 3842.00 | 384200.00 | 2000.00 | 200000.00 | 2062.50 | 206250.00 | 4260.00 | 426000.00 | 1192.60 | 119260.00 | 50.00 | 5000.00 | 6428.00 | 642800.00 | 642800.00 | Shreejikrupa Project Limited
| Total in Figures |  |  |  |  | 8488127.00 |  | 7926080.00 |  | 8998440.00 |  | 9387190.00 |  | 9183170.00 |  | 8085999.00 |  | 10201112.00 |  | 8916298.00 |  | 10393743.15 |  | 11803006.00 |  | 9271500.00 |  | 6777777.00 |  | 10745047.00
Highest Amount Quoted BY: VEDANT CORPORATION(11803006.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of LT Power Supply from New ATS Power House to NAV-AIDS at S.V. Airport, Raipur. Tender ID: 2024_AAI_217570_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | VEDANT CORPORATION (BID ID -802267) | 11803006.00 | H1
| 2 | Shreejikrupa Project Limited (BID ID -802675) | 10745047.00 | H2
| 3 | Virtus Techno (BID ID -802718) | 10393743.15 | H3
| 4 | Techno Electricals (BID ID -802725) | 10201112.00 | H4
| 5 | POOJA BUILDCON CONSTRUCTION (BID ID -802559) | 9387190.00 | H5
| 6 | Shiva Enterprises (BID ID -802229) | 9271500.00 | H6
| 7 | REWINDER TECHNO ELECTRICALS (BID ID -802631) | 9183170.00 | H7
| 8 | Awasthi Electric Works (BID ID -802558) | 8998440.00 | H8
| 9 | Ascent Electrification Engineers (BID ID -802795) | 8916298.00 | H9
| 10 | SARASWAT ENGINEERING SERVICES (BID ID -789973) | 8488127.00 | H10
| 11 | Aditya Techno Products Private Limited (BID ID -802650) | 8085999.00 | H11
| 12 | Manish Electricals (BID ID -798027) | 7926080.00 | H12
| 13 | SAURABH ENTERPRISES (BID ID -793486) | 6777777.00 | H13