## BoQ1
Government eProcurement System Created By: Prabhash Baleshwar Created Date/Time: 03-Jan-2025 11:17 AM Tender Title: Installation of new stand alone MSSR Building at Maharana Pratap Airport, Udaipur. SH SITC of passenger elevator Tender ID: 2024_AAI_217810_1
Tender Inviting Authority: SM (Engg.-Elect.), AAI, M.P. Airport, Udaipur
Name of Work: Installation of new stand alone MSSR Building at Maharana Pratap Airport, Udaipur. SH: SITC of passenger elevator.
Contract No: AAI/UDR/ENGG(E)/2024-25/MSSR/ELEVATOR
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | OMEGA ELEVATORS (GSTN-24ADFPD4986L1Z9) BID ID -795856 |  | ORBIS ELEVATOR CO LTD (GSTN-NA) BID ID -783213
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Part A- SITC of Lift Supply, installation, testing & commissioning of Machine Room Less electric traction type Lifts atleast 8 Passengers ,(minimum 544 KG capacity) (G+4) level , 5 Stops, 5 Opening and entrance at front side on all the serving floors on same side suitable for shaft size of 2000mm x 2000mm,automatic centre opening Stainless Steel 304 Hairline finish door,car enclosure provided with Stainless Steel 304 Hairline Finish panel on sides and with travel height of 25.5 mtrs(approx) suitable for operation | 1.00 | Job | 0.00 | 1464000.00 | 1464000.00 | 1169000.00 | 1169000.00 | 1169000.00 | ORBIS ELEVATOR CO LTD
1.10 | on 415 V, 3 phase, 50 Hz AC supply, having AC Variable Voltage and Variable Frequency type traction control, minimum speed of 1 Mtr/sec, electromagnetic brake system, simplex mode operations, operating panel with luminous buttons, overload warning indicator, battery operated alarm bell, LED type emergency light, intercom suitable for hook up to AAI’s EPABX, infrared ray sensing door protection for full height, reverse phase relay on controller, fireman’s switch at ground floor, digital car positions indicator in car and at all positions indicator in car and at all floors with UP/DOWN direction, light fixtures, ventilation fan, etc complete with all accessories including Automatic Rescue Device (ARD) and Manual Rescue Devie (MRD) in the event of power failure, provision of installation of CCTV etc., complete as required with two years of Defect Liability Period(DLP). The traction motor of machine room less Lift shall be of gearless type and placed inside the Lift hoist way.
2.00 | Part B- AICMC of Lift Annual Comprehensive Maintenance Contract for complete 8 passanger capacity machine room less traction type passanger elevators including all electrical/mechanical equipment, safety control installed under this contract above item no. 1 i/c carrying out monthly servicing and complete maintenance of all components as per OEM standards by providing trained service engineer with all tools and plant i/c attending all breakdown repairs complete as per instructions of Engineer-in-Charge as required (During DLP COST for maintenance to be included in SITC cost).
2.10 | For 1st year (After DLP of 02 years) | 1.00 | Job | 0.00 | 73200.00 | 58106.16 | 58400.00 | 46357.92 | 46357.92 | ORBIS ELEVATOR CO LTD
2.20 | For 2nd year | 1.00 | Job | 0.00 | 76800.00 | 56448.00 | 61900.00 | 45496.50 | 45496.50 | ORBIS ELEVATOR CO LTD
2.30 | For 3rd year | 1.00 | Job | 0.00 | 80700.00 | 54924.42 | 65600.00 | 44647.36 | 44647.36 | ORBIS ELEVATOR CO LTD
2.40 | For 4th year | 1.00 | Job | 0.00 | 84700.00 | 53377.94 | 69600.00 | 43861.92 | 43861.92 | ORBIS ELEVATOR CO LTD
2.50 | For 5th year | 1.00 | Job | 0.00 | 89000.00 | 51931.50 | 73800.00 | 43062.30 | 43062.30 | ORBIS ELEVATOR CO LTD
| Total in Figures |  |  |  |  | 1738788.02 |  | 1392426.00
Lowest Amount Quoted BY: ORBIS ELEVATOR CO LTD(1392426.00)

## BOQ Summary
BOQ Summary Details Tender Title: Installation of new stand alone MSSR Building at Maharana Pratap Airport, Udaipur. SH SITC of passenger elevator Tender ID: 2024_AAI_217810_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ORBIS ELEVATOR CO LTD (BID ID -783213) | 1392426.00 | L1
| 2 | OMEGA ELEVATORS (BID ID -795856) | 1738788.02 | L2