## BoQ1
Government eProcurement System Created By: Debdeep Dutta Created Date/Time: 17-Jan-2025 10:47 AM Tender Title: Modification of existing Fire Fighting system, Fire Alarm Detection System and augmentation / re-orientation of water supply system at Cooch Behar Airport. Tender ID: 2024_AAI_218042_1
Tender Inviting Authority: AGM(E-E)
Name of Work: Modification of existing Fire Fighting system, Fire Alarm Detection System and augmentation / re-orientation of water supply system at Cooch Behar Airport.
Contract No: 2024_AAI_218042_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Globe Detective Agency Pvt. Ltd. (GSTN-19AAACG1108N1ZN) BID ID -795172 |  | Awasthi Electric Works (GSTN-09ABAPA1866D1Z5) BID ID -798526 |  | FAIRDEAL ASSOCIATES (GSTN-NA) BID ID -795240
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | A. FIRE FIGHTING SYSTEM
1.01 | A. REPAIR, MAINTENANCE CHANGE OF DAMAGE SPARES OF EXISTING FIRE HYDRANT, PUMP HOUSE & FIRST AID FIRE FIGHTING SYSTEM.
1.02 | Supply & replacement of Damage Fire Hydrant Valve by new one and made it serviceable with all washers etc. as required Inside & Outside the Terminal Building. | 4.00 | Nos | 5875.00 | 4600.00 | 18400.00 | 5200.00 | 20800.00 | 4800.00 | 19200.00 | 18400.00 | Globe Detective Agency Pvt. Ltd.
2.00 | Servicing of Fire Hydrant Valve with Changing of all Washers etc.as required Inside & Outside the Terminal Building. | 3.00 | Nos | 833.00 | 287.50 | 862.50 | 5200.00 | 15600.00 | 650.00 | 1950.00 | 862.50 | Globe Detective Agency Pvt. Ltd.
3.00 | Supply & replacement of damaged External Fire Hose Box by New one with all reqired fixing items. | 2.00 | Nos | 5133.00 | 3680.00 | 7360.00 | 4600.00 | 9200.00 | 5200.00 | 10400.00 | 7360.00 | Globe Detective Agency Pvt. Ltd.
4.00 | Supply & Replacement of damaged 15 Mtrs RRL Hose by new one for External Hose Boxes. | 4.00 | Nos | 4050.00 | 3507.50 | 14030.00 | 4300.00 | 17200.00 | 4800.00 | 19200.00 | 14030.00 | Globe Detective Agency Pvt. Ltd.
5.00 | Supply & replacement of damaged 30 Mtrs 25 mm Hose Pipe with all require fittings & 1.5 mtr. to 2 Mtrs long Connecting Hose for Hose Reel Drum inside Terminal Building. | 5.00 | Set | 3525.00 | 4197.50 | 20987.50 | 5400.00 | 27000.00 | 5500.00 | 27500.00 | 20987.50 | Globe Detective Agency Pvt. Ltd.
6.00 | Hose Reel Drum to be Serviced & made Operational. | 5.00 | Set | 825.00 | 345.00 | 1725.00 | 1950.00 | 9750.00 | 3000.00 | 15000.00 | 1725.00 | Globe Detective Agency Pvt. Ltd.
7.00 | Supply & replacement of 25 mm GM Gate Valve for Swing Hose Reel. | 2.00 | Nos | 2000.00 | 1702.00 | 3404.00 | 2925.00 | 5850.00 | 1300.00 | 2600.00 | 2600.00 | FAIRDEAL ASSOCIATES
8.00 | External Stand Post Pipes to be Painted. | 2.00 | Nos | 160.00 | 345.00 | 690.00 | 1950.00 | 3900.00 | 350.00 | 700.00 | 690.00 | Globe Detective Agency Pvt. Ltd.
9.00 | One No Electrical Main Pump, One No Electrical Jockey Pump, and One No Diesel Engine Stand By Pump to be Serviced with Change of Gland Packing and all required servicing activities as required etc. | 3.00 | Nos | 12800.00 | 34500.00 | 103500.00 | 16250.00 | 48750.00 | 8334.00 | 25002.00 | 25002.00 | FAIRDEAL ASSOCIATES
10.00 | Pressure Gauges to be Replaced with SS Glycerin Filed Gauges.100 mm size ( 0- 20 kg/cm2) | 4.00 | Nos | 2675.00 | 1840.00 | 7360.00 | 4200.00 | 16800.00 | 3100.00 | 12400.00 | 7360.00 | Globe Detective Agency Pvt. Ltd.
11.00 | Supply & replacement of all Pressure Switches by new one. | 3.00 | Nos | 3200.00 | 4025.00 | 12075.00 | 4600.00 | 13800.00 | 1700.00 | 5100.00 | 5100.00 | FAIRDEAL ASSOCIATES
12.00 | The Electrical Fire Pumps Panel to be Modified as Auto Manual System and the Entire Fire Hydrant System to be Kept in Auto Mode with installation of all reqred fittings and wirings. | 1.00 | Job | 13100.00 | 48300.00 | 48300.00 | 43900.00 | 43900.00 | 16000.00 | 16000.00 | 16000.00 | FAIRDEAL ASSOCIATES
13.00 | All Portable Existing Fire Extinguishers to be Refilled and water based Fire Extinguishers to be Replaced with ABC-6 Kgs Capacity type Fire Extinguishers
13.01 | Refilling of Co2 type Fire Extinguisher of Capacity-4.5 Kgs. | 19.00 | Nos | 1375.00 | 1092.50 | 20757.50 | 2600.00 | 49400.00 | 2500.00 | 47500.00 | 20757.50 | Globe Detective Agency Pvt. Ltd.
14.00 | Refilling of DCP type Fire Extinguisher of Capacity-5 Kgs. | 2.00 | Nos | 983.00 | 1437.50 | 2875.00 | 1700.00 | 3400.00 | 2400.00 | 4800.00 | 2875.00 | Globe Detective Agency Pvt. Ltd.
15.00 | Supply & Installation of New Fire Extinguisher CO2 Type 4.5kgs capacity ISI Marked. | 6.00 | Nos | 6017.00 | 5002.50 | 30015.00 | 6000.00 | 36000.00 | 5300.00 | 31800.00 | 30015.00 | Globe Detective Agency Pvt. Ltd.
16.00 | Supply & Installation of New Fire Extinguisher CO2 Type 2 kgs capacity ISI Marked. | 2.00 | Nos | 5067.00 | 3731.75 | 7463.50 | 4800.00 | 9600.00 | 3500.00 | 7000.00 | 7000.00 | FAIRDEAL ASSOCIATES
17.00 | B. NEW INSTALLATION SITC of New External Stand Post Hydrant with allied accessories to be erected both side of the Terminal Bulding in the city side including all required civil work and excavation. | 2.00 | Nos | 24850.00 | 6325.00 | 12650.00 | 10800.00 | 21600.00 | 5500.00 | 11000.00 | 11000.00 | FAIRDEAL ASSOCIATES
18.00 | SITC of 150 mm Pipe (H) New Pipe Lines to be Erected for the Said Work of new hydrant installation including all required civil work and excavation. | 96.00 | Mtrs | 2883.00 | 2294.25 | 220248.00 | 2200.00 | 211200.00 | 3050.00 | 292800.00 | 211200.00 | Awasthi Electric Works
19.00 | SITC of Beam Detector in the Terminal building and dismantling of old exsisting Smoke Detectors fitted in the Maximum Height (Roof Top) in the Open Lounge Area. | 6.00 | Nos | 43700.00 | 24955.00 | 149730.00 | 30000.00 | 180000.00 | 31000.00 | 186000.00 | 149730.00 | Globe Detective Agency Pvt. Ltd.
20.00 | SITC of new Four Loop Addressable UL listed Fire Alarm Panel with auto Dialer & all required acessories. | 1.00 | Nos | 73500.00 | 174800.00 | 174800.00 | 105000.00 | 105000.00 | 232000.00 | 232000.00 | 105000.00 | Awasthi Electric Works
21.00 | SITC of Multi Criteria Detectors as per Fire Panel Make & System to be installed in the different rooms/office/toilets etc. area in the Terminal Building. | 68.00 | Nos | 2525.00 | 2543.80 | 172978.40 | 2000.00 | 136000.00 | 2550.00 | 173400.00 | 136000.00 | Awasthi Electric Works
22.00 | SITC of Addressable MCP in the Terminal Building. | 16.00 | Nos | 4800.00 | 5692.50 | 91080.00 | 3300.00 | 52800.00 | 2500.00 | 40000.00 | 40000.00 | FAIRDEAL ASSOCIATES
23.00 | SITC of Hooter in the Terminal Building. | 16.00 | Nos | 4200.00 | 1610.00 | 25760.00 | 4000.00 | 64000.00 | 4900.00 | 78400.00 | 25760.00 | Globe Detective Agency Pvt. Ltd.
24.00 | SITC of Control Module in the Terminal Building. | 12.00 | Nos | 3533.00 | 4646.00 | 55752.00 | 3450.00 | 41400.00 | 4500.00 | 54000.00 | 41400.00 | Awasthi Electric Works
25.00 | Supply and laying of Electrical armoured FRLS cable 2 core x 1.5 sq mm in the Terminal Building. | 1000.00 | Mtrs | 127.00 | 112.70 | 112700.00 | 140.00 | 140000.00 | 88.00 | 88000.00 | 88000.00 | FAIRDEAL ASSOCIATES
26.00 | Existing armoured cable dismentaling & Rewiring as per requirement with commissioning of new FAD system. | 1.00 | Job | 45667.00 | 8050.00 | 8050.00 | 12500.00 | 12500.00 | 6000.00 | 6000.00 | 6000.00 | FAIRDEAL ASSOCIATES
27.00 | SITC of Conventional Type Fire Alarm Panel 2 zone capacity with battery back up. | 1.00 | No | 5500.00 | 9136.75 | 9136.75 | 18000.00 | 18000.00 | 6200.00 | 6200.00 | 6200.00 | FAIRDEAL ASSOCIATES
28.00 | SITC of Conventional Smoke Detector with base. | 8.00 | No | 1707.00 | 1001.65 | 8013.20 | 1150.00 | 9200.00 | 1150.00 | 9200.00 | 8013.20 | Globe Detective Agency Pvt. Ltd.
29.00 | SITC of Conventional Manual Call Point. | 2.00 | No | 1367.00 | 708.40 | 1416.80 | 1850.00 | 3700.00 | 550.00 | 1100.00 | 1100.00 | FAIRDEAL ASSOCIATES
30.00 | SITC of Convential Hooter. | 1.00 | No | 1233.00 | 1682.45 | 1682.45 | 2700.00 | 2700.00 | 900.00 | 900.00 | 900.00 | FAIRDEAL ASSOCIATES
31.00 | Supply & laying Electrical armoured FRLS cable 2 core x 1.5 sq mm. | 100.00 | Mtr | 126.00 | 112.70 | 11270.00 | 150.00 | 15000.00 | 88.00 | 8800.00 | 8800.00 | FAIRDEAL ASSOCIATES
32.00 | B. WATER TRANSFER SYSTEM SITC of Horizontal type 3 HP/2.2KW 3PH, 415 Volt, 50 Hz Monoblock Pump Motor Set having discharging capacity 240 LPM on 28 mtrs head. Suction /delivery size: 65mm/50mm. The pump motor set will be fitted on suitable sizes M.S. angle iton frame complete with M.S. Nut Bolts etc. as required. | 2.00 | Set | 39094.00 | 51750.00 | 103500.00 | 57000.00 | 114000.00 | 42080.00 | 84160.00 | 84160.00 | FAIRDEAL ASSOCIATES
33.00 | SITC of 3 HP, 3 PH DOL starter complete with M.S. angle iron frame, suitable for operation of aove pump-motor sets at site. | 2.00 | Set | 4439.00 | 17250.00 | 34500.00 | 11000.00 | 22000.00 | 4400.00 | 8800.00 | 8800.00 | FAIRDEAL ASSOCIATES
34.00 | Supply & laying of 4 core 16 sqmm, A/Armoured Cable on wall/surface incl. sadling for necessary connection of above pump motor sets. | 30.00 | Mtr. | 516.00 | 287.50 | 8625.00 | 170.00 | 5100.00 | 360.00 | 10800.00 | 5100.00 | Awasthi Electric Works
35.00 | SITC of gland for above cable. | 4.00 | No. | 173.00 | 230.00 | 920.00 | 210.00 | 840.00 | 250.00 | 1000.00 | 840.00 | Awasthi Electric Works
36.00 | Supply & laying of 6 SWG G.I. Earth wire with both end socket. | 8.00 | Mtr. | 97.00 | 59.80 | 478.40 | 30.00 | 240.00 | 98.00 | 784.00 | 240.00 | Awasthi Electric Works
37.00 | Dismantling of the exitting Unserviceable suction/delivery GI Pipe line at site as required. | 2.00 | Job | 5283.00 | 3450.00 | 6900.00 | 7000.00 | 14000.00 | 6000.00 | 12000.00 | 6900.00 | Globe Detective Agency Pvt. Ltd.
38.00 | Supply & installation of GI Pipe of following dia as per site reqiorement;
38.10 | 65mm dia. (for suction) | 8.00 | Mtr. | 778.00 | 906.20 | 7249.60 | 610.00 | 4880.00 | 1100.00 | 8800.00 | 4880.00 | Awasthi Electric Works
38.20 | 50mm dia (for delivery) | 9.00 | Mtr. | 617.00 | 724.50 | 6520.50 | 480.00 | 4320.00 | 975.00 | 8775.00 | 4320.00 | Awasthi Electric Works
39.00 | Supply & installation of G.I. fittings as follows-
39.10 | 65 mm X 6" Niple | 6.00 | No. | 144.00 | 246.10 | 1476.60 | 450.00 | 2700.00 | 650.00 | 3900.00 | 1476.60 | Globe Detective Agency Pvt. Ltd.
39.20 | 50 mm X 6" Niple | 10.00 | No. | 132.00 | 195.50 | 1955.00 | 400.00 | 4000.00 | 490.00 | 4900.00 | 1955.00 | Globe Detective Agency Pvt. Ltd.
39.30 | 50 mm X 4" Niple | 12.00 | No. | 120.00 | 166.75 | 2001.00 | 390.00 | 4680.00 | 370.00 | 4440.00 | 2001.00 | Globe Detective Agency Pvt. Ltd.
39.40 | 65 mm Elbow | 2.00 | No. | 393.00 | 131.10 | 262.20 | 365.00 | 730.00 | 410.00 | 820.00 | 262.20 | Globe Detective Agency Pvt. Ltd.
39.50 | 50 mm Elbow | 8.00 | No. | 260.00 | 74.75 | 598.00 | 350.00 | 2800.00 | 240.00 | 1920.00 | 598.00 | Globe Detective Agency Pvt. Ltd.
39.60 | 65 mm Union | 2.00 | No. | 557.00 | 201.25 | 402.50 | 845.00 | 1690.00 | 760.00 | 1520.00 | 402.50 | Globe Detective Agency Pvt. Ltd.
39.70 | 50 mm Union | 4.00 | No. | 475.00 | 161.00 | 644.00 | 715.00 | 2860.00 | 460.00 | 1840.00 | 644.00 | Globe Detective Agency Pvt. Ltd.
39.80 | 65 mm Tee | 2.00 | No. | 465.00 | 632.50 | 1265.00 | 585.00 | 1170.00 | 490.00 | 980.00 | 980.00 | FAIRDEAL ASSOCIATES
39.90 | 50 mm Tee | 3.00 | No. | 412.00 | 517.50 | 1552.50 | 520.00 | 1560.00 | 330.00 | 990.00 | 990.00 | FAIRDEAL ASSOCIATES
40.00 | Supply & installation of Gun Metal valves as follows-
40.10 | 65 mm (V) check valve | 2.00 | No. | 5150.00 | 5779.90 | 11559.80 | 12200.00 | 24400.00 | 3950.00 | 7900.00 | 7900.00 | FAIRDEAL ASSOCIATES
40.20 | 50 mm (V) check valve | 6.00 | No. | 4500.00 | 4373.45 | 26240.70 | 8000.00 | 48000.00 | 3100.00 | 18600.00 | 18600.00 | FAIRDEAL ASSOCIATES
40.30 | 50 mm Fullway valve | 2.00 | No. | 5150.00 | 4375.75 | 8751.50 | 9500.00 | 19000.00 | 3150.00 | 6300.00 | 6300.00 | FAIRDEAL ASSOCIATES
41.00 | Supply & laying 32 mm dia PVC pipe for cable protection. | 12.00 | Mtr. | 111.00 | 63.25 | 759.00 | 190.00 | 2280.00 | 150.00 | 1800.00 | 759.00 | Globe Detective Agency Pvt. Ltd.
42.00 | Cutting of C.C. floor for making hole by machinery arrangement for 65 mm dia suction pipe in the sump. | 1.00 | Job | 1187.00 | 5750.00 | 5750.00 | 8000.00 | 8000.00 | 8000.00 | 8000.00 | 5750.00 | Globe Detective Agency Pvt. Ltd.
43.00 | Painting of the existing pipe lines (Suction/delivery ) with anticorrosive enamel paints over 2 coats of red oxide as per the instruction of the E.I.C. at site. | 1.00 | Job | 1497.00 | 5750.00 | 5750.00 | 5000.00 | 5000.00 | 6000.00 | 6000.00 | 5000.00 | Awasthi Electric Works
| Total in Figures |  |  |  |  | 1592733.90 |  | 1638300.00 |  | 1638981.00
Lowest Amount Quoted BY: Globe Detective Agency Pvt. Ltd.(1592733.90)

## BOQ Summary
BOQ Summary Details Tender Title: Modification of existing Fire Fighting system, Fire Alarm Detection System and augmentation / re-orientation of water supply system at Cooch Behar Airport. Tender ID: 2024_AAI_218042_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Globe Detective Agency Pvt. Ltd. (BID ID -795172) | 1592733.90 | L1
| 2 | Awasthi Electric Works (BID ID -798526) | 1638300.00 | L2
| 3 | FAIRDEAL ASSOCIATES (BID ID -795240) | 1638981.00 | L3