## BoQ1
Government eProcurement System Created By: Pawan Pardhi Created Date/Time: 30-Jan-2025 06:18 PM Tender Title: Provision of parking shed for rubber removal machine near MT pool and rooms at 1st floor of fire station i/c toilet renovation at C.A. Vadodara. Tender ID: 2024_AAI_218922_1
Tender Inviting Authority: Assistant General Mangar (Engg. -Civil)
Name of Work: Provision of parking shed for rubber removal machine near MT pool and rooms at 1st floor of fire station i/c toilet renovation at C.A. Vadodara.
Contract No: 2024_AAI_218922_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | VINOD B GUPTA (GSTN-24AJWPG4222H1Z8) BID ID -809946 |  | Om Construction (GSTN-24AIIPP4526E2ZD) BID ID -810140
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. In cement mortar | 25.00 | Cum |  | 200.00 | 5000.00 | 800.00 | 20000.00 | 5000.00 | VINOD B GUPTA
2.00 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead : For thickness of tiles 10 mm to 25 mm | 245.00 | Sqm |  | 100.00 | 24500.00 | 80.00 | 19600.00 | 19600.00 | Om Construction
3.00 | Dismantling stone slab flooring laid in cement mortar including stacking of serviceable material and disposal of unserviceable material within 50 metres lead. | 98.00 | Sqm |  | 120.00 | 11760.00 | 80.00 | 7840.00 | 7840.00 | Om Construction
4.00 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | 5.00 | Cum |  | 300.00 | 1500.00 | 1250.00 | 6250.00 | 1500.00 | VINOD B GUPTA
5.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. Nominal concrete 1:3:6 or richer mix (including equivalent design mix) | 3.60 | Cum |  | 300.00 | 1080.00 | 800.00 | 2880.00 | 1080.00 | VINOD B GUPTA
6.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) | 3.00 | Cum |  | 250.00 | 750.00 | 800.00 | 2400.00 | 750.00 | VINOD B GUPTA
7.00 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : Of area 3 sq. metres and below | 10.00 | Each |  | 300.00 | 3000.00 | 260.00 | 2600.00 | 2600.00 | Om Construction
8.00 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | 8.00 | Sqm |  | 250.00 | 2000.00 | 26.00 | 208.00 | 208.00 | Om Construction
9.00 | Dismantling of WC & flushing cistern/Washbin / Urinal and its associated Plumbing fixture such as Bib Cock/Angle Cock of all types (C.I./PVC/Vitrious China/Brass/GI) including its pipe and other Fiting all including and stacking of useful materials near the site and disposal of unserviceable materials within 50 metres lead. | 24.00 | Each |  | 200.00 | 4800.00 | 80.00 | 1920.00 | 1920.00 | Om Construction
10.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, for all lift, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. All kinds of soil. | 193.00 | Cum |  | 200.00 | 38600.00 | 260.00 | 50180.00 | 38600.00 | VINOD B GUPTA
11.00 | Extra for every additional lift of 1.5 m or part thereof in excavation / banking excavated or stacked materials. All kinds of soil | 40.00 | Cum |  | 150.00 | 6000.00 | 260.00 | 10400.00 | 6000.00 | VINOD B GUPTA
12.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 and for all lift. | 204.00 | Cum |  | 150.00 | 30600.00 | 80.00 | 16320.00 | 16320.00 | Om Construction
13.00 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | 51.00 | Cum |  | 1500.00 | 76500.00 | 1700.00 | 86700.00 | 76500.00 | VINOD B GUPTA
14.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources). | 31.00 | Cum |  | 6000.00 | 186000.00 | 5030.00 | 155930.00 | 155930.00 | Om Construction
15.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Foundations, footings, bases of columns, etc. for mass concrete | 144.00 | Sqm |  | 350.00 | 50400.00 | 170.00 | 24480.00 | 24480.00 | Om Construction
16.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc | 48.00 | Sqm |  | 350.00 | 16800.00 | 260.00 | 12480.00 | 12480.00 | Om Construction
17.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Columns, Pillars, Piers, Abutments, Posts and Struts | 154.00 | Sqm |  | 350.00 | 53900.00 | 260.00 | 40040.00 | 40040.00 | Om Construction
18.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Lintels, beams, plinth beams, girders, bressumers and cantilevers | 127.00 | Sqm |  | 350.00 | 44450.00 | 260.00 | 33020.00 | 33020.00 | Om Construction
19.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Suspended floors, roofs, landings, balconies and access platform | 200.00 | Sqm |  | 350.00 | 70000.00 | 260.00 | 52000.00 | 52000.00 | Om Construction
20.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Edges of slabs and breaks in floors and walls. Under 20 cm wide | 92.00 | Mtr |  | 350.00 | 32200.00 | 80.00 | 7360.00 | 7360.00 | Om Construction
21.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Edges of slabs and breaks in floors and walls. Above 20 cm wide | 56.00 | Sqm |  | 350.00 | 19600.00 | 80.00 | 4480.00 | 4480.00 | Om Construction
22.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. All works upto plinth level Concrete of M25 grade with minimum cement content of 330 kg /cum | 80.00 | cum |  | 8000.00 | 640000.00 | 8000.00 | 640000.00 | 640000.00 | VINOD B GUPTA, Om Construction
23.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement All works above plinth level upto floor V level Concrete of M25 grade with minimum cement content of 330 kg /cum | 59.00 | cum |  | 8000.00 | 472000.00 | 8450.00 | 498550.00 | 472000.00 | VINOD B GUPTA
24.00 | Add for using extra cement in the items of design mix over and above the specified cement content therein. | 42.00 | Qtl |  | 800.00 | 33600.00 | 620.00 | 26040.00 | 26040.00 | Om Construction
25.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 6000.00 | Kg |  | 85.00 | 510000.00 | 80.00 | 480000.00 | 480000.00 | Om Construction
26.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 5900.00 | Kg |  | 85.00 | 501500.00 | 89.00 | 525100.00 | 501500.00 | VINOD B GUPTA
27.00 | Brick work with clay flyash F.P.S. (non modular) brick of class designation 5 in foundation and plinth in: Cement mortar 1:4 (1 cement : 4 coarse sand) | 18.00 | Cum |  | 6000.00 | 108000.00 | 6200.00 | 111600.00 | 108000.00 | VINOD B GUPTA
28.00 | Brick work with clay flyash F.P.S. (non modular) brick of class designation 5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:4 (1 cement : 4 coarse sand) | 56.00 | Cum |  | 6000.00 | 336000.00 | 7100.00 | 397600.00 | 336000.00 | VINOD B GUPTA
29.00 | Kota stone slab flooring over 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab, including rubbing and polishing complete with base of cement mortar 1 : 4 (1 cement : 4 coarse sand) : 25 mm thick | 18.00 | Sqm |  | 1000.00 | 18000.00 | 980.00 | 17640.00 | 17640.00 | Om Construction
30.00 | Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily. Glazed Vitrified tiles Matt/Antiskid finish : Size of Tile 600 x 600 mm | 240.00 | Sqm |  | 1300.00 | 312000.00 | 1160.00 | 278400.00 | 278400.00 | Om Construction
31.00 | 12 mm cement plaster of mix : 1:4 (1 cement: 4 coarse sand) | 508.00 | Sqm |  | 300.00 | 152400.00 | 350.00 | 177800.00 | 152400.00 | VINOD B GUPTA
32.00 | 15 mm cement plaster on rough side of single or half brick wall of mix: 1:4 (1 cement: 4 coarse sand) | 377.00 | Sqm |  | 350.00 | 131950.00 | 350.00 | 131950.00 | 131950.00 | VINOD B GUPTA, Om Construction
33.00 | 6 mm cement plaster of mix : 1:3 (1 cement : 3 fine sand) | 317.00 | Sqm |  | 250.00 | 79250.00 | 350.00 | 110950.00 | 79250.00 | VINOD B GUPTA
34.00 | Providing and fixing 1st quality ceramic glazed floor tiles conforming to IS : 15622 (thickness to be specified by the manufacturer ) of approved make in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge in skirting, risers of steps and dados over 12 mm thick bed of cement Mortar 1:3 (1 cement: 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm including pointing in white cement mixed with pigment of matching shade complete. | 201.00 | Sqm |  | 1350.00 | 271350.00 | 890.00 | 178890.00 | 178890.00 | Om Construction
35.00 | Applying priming coats with primer of approved brand and manufacture, having low VOC (Volatile Organic Compound ) content With water thinnable cement primer on wall surface having VOC content less than 50 grams/ litre | 471.00 | Sqm |  | 60.00 | 28260.00 | 80.00 | 37680.00 | 28260.00 | VINOD B GUPTA
36.00 | Wall painting with acrylic emulsion paint, having VOC (Volatile Organic Compound) content less than 50 grams/ litre, of approved brand and manufacture, including applying additional coats wherever required, to achieve even shade and colour Two coats | 863.00 | Sqm |  | 120.00 | 103560.00 | 125.00 | 107875.00 | 103560.00 | VINOD B GUPTA
37.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 0.90 litre/10 sqm) | 545.00 | Sqm |  | 120.00 | 65400.00 | 125.00 | 68125.00 | 65400.00 | VINOD B GUPTA
38.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing of edges to give high gloss finish etc. complete at all levels. Granite stone slab of colour black, Cherry/Ruby red Area of slab upto 0.50 sqm | 28.00 | Sqm |  | 3500.00 | 98000.00 | 3050.00 | 85400.00 | 85400.00 | Om Construction
39.00 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lugs or dash fastener shall be paid for separately). Second class teak wood | .25 | cum |  | 120000.00 | 30000.00 | 125000.00 | 31250.00 | 30000.00 | VINOD B GUPTA
40.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) decorative type, core of block board construction with frame of 1st class hard wood and well matched teak 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 30 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 21.00 | Sqm |  | 1000.00 | 21000.00 | 3500.00 | 73500.00 | 21000.00 | VINOD B GUPTA
41.00 | Extra for providing lipping with 2nd class teak wood battens 25 mm minimum depth on all edges of flush door shutters (over all area of door shutter to be measured). | 26.00 | Sqm |  | 500.00 | 13000.00 | 350.00 | 9100.00 | 9100.00 | Om Construction
42.00 | Providing and Fixing factory made uPVC door frame, made of uPVC exturded sections, of size 65 mm x 55 mm with wall thickness 2.0 mm (± 0.2 mm), corners of the door frame to be mitred cut and jointed with plastic brackets and stainless steel screws, reinforcing hinge side vertical of the frames with PVC profile of Size 28 mm x 30 mm having wall thickness 2 mm (±0.2 mm), including providing & fixing 3 nos of 125 mm long stainless steel hinges to the frame, fixing the frame with jamb with required number & size of anchor dash fastners, all complete as per manufacturer’s specification and direction of Engineer-in-charge. | 52.00 | Mtr |  | 2000.00 | 104000.00 | 260.00 | 13520.00 | 13520.00 | Om Construction
43.00 | Providing and fixing 37 mm thick factory made PVC door shutter, styles and rails made of PVC hollow section of size 100 mm x 37 mm with wall thickness 2 mm (± 0.2 mm), with inbuilt bead on one side, styles and rails mitered cut and joint at the corners by means of 2 nos of plastic brackets of size 75 mm x 220 mm at each corner and stainless steel screws, reinforcing the hinge side of style by inserting PVC profile of size 28 mm x 30 mm, with wall thickness 2 mm ( ± 0.2 mm). Lockrail of size 100 mm x 37 mm, wall thickness 2 mm (+ 0.2 mm) will be fixed to the vertical styles. Providing with PVC snapfit beads and panel of size 100 mm x 20 mm, and inserting 2 nos tie bar of 6 mm dia and fastening with nuts and washers complete, all as per manufacturer’s specification and direction of Engineer-in-charge. | 20.00 | Sqm |  | 2000.00 | 40000.00 | 2600.00 | 52000.00 | 40000.00 | VINOD B GUPTA
44.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion :Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 125.00 | Kg |  | 600.00 | 75000.00 | 440.00 | 55000.00 | 55000.00 | Om Construction
45.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 80.00 | Kg |  | 600.00 | 48000.00 | 440.00 | 35200.00 | 35200.00 | Om Construction
46.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge. (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | 17.00 | Sqm |  | 2000.00 | 34000.00 | 1250.00 | 21250.00 | 21250.00 | Om Construction
47.00 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | 9.00 | Each |  | 1200.00 | 10800.00 | 1700.00 | 15300.00 | 10800.00 | VINOD B GUPTA
48.00 | Providing and fixing aluminium round shape handle of outer dia 100 mm with SS screws etc. complete as per direction of Engineer-in-charge Anodized (AC 15 ) aluminium | 38.00 | Each |  | 300.00 | 11400.00 | 260.00 | 9880.00 | 9880.00 | Om Construction
49.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete :200x10 mm | 22.00 | Each |  | 250.00 | 5500.00 | 80.00 | 1760.00 | 1760.00 | Om Construction
50.00 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. Twin rubber stopper | 19.00 | Each |  | 200.00 | 3800.00 | 80.00 | 1520.00 | 1520.00 | Om Construction
51.00 | Providing and fixing water closet squatting pan (Indian type W.C.pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests | 2.00 | Each |  | 5000.00 | 10000.00 | 3500.00 | 7000.00 | 7000.00 | Om Construction
52.00 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : W.C. pan with ISI marked white solid plastic seat and lid | 6.00 | Each |  | 15000.00 | 90000.00 | 5300.00 | 31800.00 | 31800.00 | Om Construction
53.00 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: White Vitreous China Wash basin size 630x450 mm with a pair of 15 mm C.P. brass pillar taps | 6.00 | Each |  | 1500.00 | 9000.00 | 4400.00 | 26400.00 | 9000.00 | VINOD B GUPTA
54.00 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : 15 mm nominal bore | 12.00 | Each |  | 1200.00 | 14400.00 | 980.00 | 11760.00 | 11760.00 | Om Construction
55.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 15 mm nominal bore | 16.00 | Each |  | 1000.00 | 16000.00 | 980.00 | 15680.00 | 15680.00 | Om Construction
56.00 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 1000.00 | Lit |  | 9.00 | 9000.00 | 12.50 | 12500.00 | 9000.00 | VINOD B GUPTA
57.00 | Providing and fixing white vitreous china flat back or wall corner type lipped front urinal basin of 430x260x350 mm and 340x410x265 mm sizes respectively with automatic flushing cistern with standard flush pipe and C.P. brass spreaders with brass unions and G.I clamps complete, including painting of fittings and brackets, cutting and making good the walls and floors wherever required : One urinal basin with 5 litre white P.V.C. automatic flushing cistern | 8.00 | Each |  | 15000.00 | 120000.00 | 3500.00 | 28000.00 | 28000.00 | Om Construction
58.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings and fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 32 mm nominal dia Pipes | 10.00 | Mtr |  | 500.00 | 5000.00 | 530.00 | 5300.00 | 5000.00 | VINOD B GUPTA
59.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings and fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 25 mm nominal dia Pipes | 40.00 | Mtr |  | 350.00 | 14000.00 | 440.00 | 17600.00 | 14000.00 | VINOD B GUPTA
60.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings and fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 15 mm nominal dia Pipes | 30.00 | Mtr |  | 300.00 | 9000.00 | 350.00 | 10500.00 | 9000.00 | VINOD B GUPTA
61.00 | Providing and fixing soil, waste and vent pipes including cost for bends, union, junction, tee, Floor/nahani trap etc. complete - UPVC pipes of Astral,Supreme,Finolex Make of pressure rating SCH80 or Equivalent 75 mm Dia This includes jointing of pipes & fittings with solvent cement and the cost of cutting chases and making good the same wherever required including testing of joints all complete and as per direction of Engineer-In charge. | 12.00 | Mtr |  | 1500.00 | 18000.00 | 350.00 | 4200.00 | 4200.00 | Om Construction
62.00 | Providing and fixing soil, waste and vent pipes including cost for bends, union, junction, tee, Floor/nahani trap etc. complete - UPVC pipes of Astral,Supreme,Finolex Make of pressure rating SCH80 or Equivalent -160mm Dia.This includes jointing of pipes & fittings with solvent cement and the cost of cutting chases and making good the same wherever required including testing of joints all complete and as per direction of Engineer-In charge. | 50.00 | Mtr |  | 1500.00 | 75000.00 | 530.00 | 26500.00 | 26500.00 | Om Construction
63.00 | Providing and fixing soil, waste and vent pipes including cost for bends, union, junction, tee, Floor/nahani trap etc. complete - UPVC pipes of Astral,Supreme,Finolex Make of pressure rating SCH80 or Equivalent-110 mm Dia. This includes jointing of pipes & fittings with solvent cement and the cost of cutting chases and making good the same wherever required including testing of joints all complete and as per direction of Engineer-In charge. | 40.00 | Mtr |  | 1500.00 | 60000.00 | 440.00 | 17600.00 | 17600.00 | Om Construction
64.00 | Providing and fixing P.V.C waste pipe for sink or washbasin including P.V.C waste fitting complete Flexible 32mm Dia | 6.00 | Each |  | 500.00 | 3000.00 | 125.00 | 750.00 | 750.00 | Om Construction
65.00 | Providing and fixing PTMT grating of approved quality and colour :Rectangular type with openable circular lid 150 mm nominal size square 100 mm diameter of the inner hinged round grating | 16.00 | Each |  | 500.00 | 8000.00 | 125.00 | 2000.00 | 2000.00 | Om Construction
66.00 | Providing and fixing mirror of superior glass (of approved quality) and of required shape and size with plastic moulded frame of approved make and shade with 6 mm thick hard board backing :Rectangular shape 1500x450 mm | 2.00 | Each |  | 2000.00 | 4000.00 | 2600.00 | 5200.00 | 4000.00 | VINOD B GUPTA
67.00 | Providing and fixing uplasticised PVC connection pipe with brass unions :45 cm length 15 mm nominal bore | 6.00 | Each |  | 350.00 | 2100.00 | 125.00 | 750.00 | 750.00 | Om Construction
68.00 | Providing and fixing C.P. brass shower rose with 15 or 20 mm inlet :150 mm diameter | 1.00 | Each |  | 1500.00 | 1500.00 | 800.00 | 800.00 | 800.00 | Om Construction
69.00 | Providing and fixing 8 mm dia C.P. / S.S. Jet with flexible tube upto 1 metre long with S.S. triangular plate to Eureopean type W.C. of quality and make as approved by Engineer - in - charge. | 6.00 | Each |  | 1000.00 | 6000.00 | 1700.00 | 10200.00 | 6000.00 | VINOD B GUPTA
70.00 | Providing and fixing health faucet (Hand shower) with 1.20 to 1.50 mtr flexible Tube (Stainless Steel ) of quality and make as approved by Engineer - in - charge. | 8.00 | Each |  | 1500.00 | 12000.00 | 1700.00 | 13600.00 | 12000.00 | VINOD B GUPTA
71.00 | Constructing masonry Chamber 30x30x50 cm inside, in brick work in cement mortar 1:4 (1 cement :4 coarse sand) for stop cock, with C. I. surface box 100x100 x75 mm (inside) with hinged cover fixed in reinforced cement concrete slab 1:1.5:3 mix (1 cement : 1.5 coarse sand : 3 graded stone aggregate 20 mm nominal size), including necessary excavation, foundation concrete 1:5:10 ( 1 cement : 5 fine sand : 10 graded stone aggregate 40mm nominal size ) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12mm thick, finished with a floating coat of neat cement complete as per standard design : With common burnt clay F.P.S.(non modular) bricks of class designation 5.00 . | 4.00 | Each |  | 3000.00 | 12000.00 | 1250.00 | 5000.00 | 5000.00 | Om Construction
72.00 | Making soak pit 2.5 m diameter 3.0 metre deep with 45 x 45 cm dry brick honey comb shaft with bricks and S.W. drain pipe 100 mm diameter, 1.8 m long complete as per standard design. With common burnt clay F.P.S. (non modular) bricks of class designation 5.00 . | 2.00 | Each |  | 75000.00 | 150000.00 | 23750.00 | 47500.00 | 47500.00 | Om Construction
73.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. Hot finished welded type tubes | 1284.00 | Kg |  | 130.00 | 166920.00 | 125.00 | 160500.00 | 160500.00 | Om Construction
74.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 3435.00 | Kg |  | 130.00 | 446550.00 | 116.00 | 398460.00 | 398460.00 | Om Construction
75.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work | 178.00 | Sqm |  | 120.00 | 21360.00 | 125.00 | 22250.00 | 21360.00 | VINOD B GUPTA
76.00 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-Charge) of total coated thickness 0.50mm (base metal of minimum 0.45mm thickness with total coating thickness of 0.05mm) with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineer-in-charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 270.00 | Sqm |  | 600.00 | 162000.00 | 620.00 | 167400.00 | 162000.00 | VINOD B GUPTA
77.00 | Providing and laying factory made chamfered edge Cement Concrete paver blocks in footpath, parks, lawns, drive ways or light traffic parking etc, of required strength, thickness & size/ shape, made by table vibratory method using PU mould, laid in required colour & pattern over 50mm thick compacted bed of sand, compacting and proper embedding/laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand. complete all as per direction of Engineer-in-Charge. 60mm thick cement concrete paver block of M-35 grade with approved colour, design & pattern. | 20.00 | Sqm |  | 1250.00 | 25000.00 | 800.00 | 16000.00 | 16000.00 | Om Construction
78.00 | Providing, laying and making kerb channel 30 cm wide and 50 mm thick with cement concrete 1:3:6 (1 cement: 3 coarse sand:6 graded stone aggregate 20 mm nominal size) over 75mm bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including finishing the top smooth etc. complete and as per direction of Engineer?in-charge. | 6.00 | Sqm |  | 1500.00 | 9000.00 | 800.00 | 4800.00 | 4800.00 | Om Construction
79.00 | Providing and laying at or near ground level factory made kerb stone of M-25 grade cement concrete in position to the required line, level and curvature, jointed with cement mortar 1:3 (1 cement: 3 coarse sand), including making joints with or without grooves (thickness of joints except at sharp curve shall not to more than 5mm), including making drainage opening wherever required complete etc. as per direction of Engineer-in-charge (length of finished kerb edging shall be measured to calculate volume for payment). (Precast C.C. kerb stone shall be approved by Engineer-in-charge). | 1.00 | cum |  | 10000.00 | 10000.00 | 12500.00 | 12500.00 | 10000.00 | VINOD B GUPTA
80.00 | Providing and placing in position 100 mm thick factory made machine batched & machine mixed Precast RCC Rectangular Covers on drains of footpath of various sizes, of M-25 grade cement concrete for RCC work, including cost of centering, shuttering, reinforcement of 8 mm dia TMT bars of Fe 500 grade @ maximum 100mm c/c on both ways , neat cement punning on finished surface, properly encased on all edges with 1.6 mm thick , 100 mm wide MS sheet duly painted over priming coat , reinforcement to be welded at edges with MS sheet and providing 2 Nos. 12 mm dia bar for hooks etc i/c cost of cartage, all leads & lift, handling at site etc. all complete as per direction of Engineer-in-Charge. | 9.00 | Sqm |  | 3000.00 | 27000.00 | 890.00 | 8010.00 | 8010.00 | Om Construction
81.00 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation leveling & dressing & finishing the top smooth. | 45.00 | Sqm |  | 1200.00 | 54000.00 | 503.00 | 22635.00 | 22635.00 | Om Construction
82.00 | Brick edging 7cm wide 11.4 cm deep to plinth protection with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 including grouting with cement mortar 1:4 (1 cement : 4 fine sand). | 66.00 | Mtr |  | 500.00 | 33000.00 | 80.00 | 5280.00 | 5280.00 | Om Construction
83.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings. This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge : External work 25 mm nominal outer dia. Pipes. | 70.00 | Mtr |  | 500.00 | 35000.00 | 440.00 | 30800.00 | 30800.00 | Om Construction
84.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. : Internal work - Exposed on wall 25 mm nominal outer dia .Pipes. | 30.00 | Mtr |  | 600.00 | 18000.00 | 350.00 | 10500.00 | 10500.00 | Om Construction
85.00 | Providing and fixing ball valve (brass) of approved quality, High or low pressure, with plastic floats complete : 25 mm nominal bore | 2.00 | Each |  | 1500.00 | 3000.00 | 350.00 | 700.00 | 700.00 | Om Construction
86.00 | Providing and fixing CPVC Ball valve of 25 mm nominal bore all complete as per direction of Engineer in Charge. | 4.00 | Each |  | 1000.00 | 4000.00 | 800.00 | 3200.00 | 3200.00 | Om Construction
87.00 | Providing, laying and jointing glazed stoneware pipes class SP-1 with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc.complete :150 mm diameter | 120.00 | Mtr |  | 600.00 | 72000.00 | 503.00 | 60360.00 | 60360.00 | Om Construction
88.00 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) all-round S.W. pipes including bed concrete as per standard design : 150 mm diameter S.W. pipe | 120.00 | Mtr |  | 150.00 | 18000.00 | 602.00 | 72240.00 | 18000.00 | VINOD B GUPTA
89.00 | Extra for providing and fixing wind ties of 40 x 6 mm flat iron section. | 144.00 | Meter |  | 500.00 | 72000.00 | 80.00 | 11520.00 | 11520.00 | Om Construction
| Total in Figures |  |  |  |  | 6762040.00 |  | 6057763.00
Lowest Amount Quoted BY: Om Construction(6057763.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of parking shed for rubber removal machine near MT pool and rooms at 1st floor of fire station i/c toilet renovation at C.A. Vadodara. Tender ID: 2024_AAI_218922_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Om Construction (BID ID -810140) | 6057763.00 | L1
| 2 | VINOD B GUPTA (BID ID -809946) | 6762040.00 | L2