## BoQ1
Government eProcurement System Created By: Vinod Kumar Pandey Created Date/Time: 11-Feb-2025 05:17 PM Tender Title: Construction of Security Watch Towers at Azamgarh Airport Tender ID: 2024_AAI_219218_2
Tender Inviting Authority: Airports Authority of India
Name of Work:Construction of Security Watch Towers at Azamgarh Airport
Contract No: 2024_AAI_219218_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Rahul Constructions (GSTN-06AAFFR4603K1Z8) BID ID -809358 |  | MACLARGE INFRA ENGINEERING (GSTN-NA) BID ID -808840
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
.10 | Civil Works
1.00 | Earth work in surface excavation not exceeding 30 cm in depth but exceeding 1.5 m in width as well as 10 sqm on plan including getting out and disposal of excavated earth upto 50 m and lift upto 1.5 m, as directed by Engineer-in- Charge: All kinds of soil | 50.00 | cum |  | 99.00 | 4950.00 | 500.00 | 25000.00 | 4950.00 | Rahul Constructions
2.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-incharge. All kinds of soil | 65.00 | cum |  | 99.00 | 6435.00 | 480.00 | 31200.00 | 6435.00 | Rahul Constructions
3.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan) including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. All kinds of soil | 25.00 | cum |  | 99.00 | 2475.00 | 480.00 | 12000.00 | 2475.00 | Rahul Constructions
4.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | 140.00 | cum |  | 99.00 | 13860.00 | 480.00 | 67200.00 | 13860.00 | Rahul Constructions
5.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 35.00 | cum |  | 4899.00 | 171465.00 | 4300.00 | 150500.00 | 150500.00 | MACLARGE INFRA ENGINEERING
6.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 35.00 | cum |  | 5499.00 | 192465.00 | 4400.00 | 154000.00 | 154000.00 | MACLARGE INFRA ENGINEERING
7.00 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 20.00 | cum |  | 6399.00 | 127980.00 | 4300.00 | 86000.00 | 86000.00 | MACLARGE INFRA ENGINEERING
8.00 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement : 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 5.00 | cum |  | 6599.00 | 32995.00 | 4500.00 | 22500.00 | 22500.00 | MACLARGE INFRA ENGINEERING
9.00 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 45.00 | cum |  | 6599.00 | 296955.00 | 4500.00 | 202500.00 | 202500.00 | MACLARGE INFRA ENGINEERING
10.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:6 (1 cement : 6 coarse sand) | 25.00 | cum |  | 4899.00 | 122475.00 | 15000.00 | 375000.00 | 122475.00 | Rahul Constructions
11.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:6 (1 cement : 6 coarse sand) | 5.00 | cum |  | 5199.00 | 25995.00 | 5000.00 | 25000.00 | 25000.00 | MACLARGE INFRA ENGINEERING
12.00 | Centering and shuttering including strutting, propping etc. and removal of form for Foundations, footings, bases of columns, etc. for mass concrete | 55.00 | sqm |  | 199.00 | 10945.00 | 170.00 | 9350.00 | 9350.00 | MACLARGE INFRA ENGINEERING
13.00 | Centering and shuttering including strutting, propping etc. and removal of form for Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. | 20.00 | sqm |  | 299.00 | 5980.00 | 170.00 | 3400.00 | 3400.00 | MACLARGE INFRA ENGINEERING
14.00 | Centering and shuttering including strutting, propping etc. and removal of form for Suspended floors, roofs, landings, balconies and access platform | 45.00 | sqm |  | 399.00 | 17955.00 | 160.00 | 7200.00 | 7200.00 | MACLARGE INFRA ENGINEERING
15.00 | Centering and shuttering including strutting, propping etc. and removal of form for Lintels, beams, plinth beams, girders, bressumers and cantilevers | 105.00 | sqm |  | 299.00 | 31395.00 | 170.00 | 17850.00 | 17850.00 | MACLARGE INFRA ENGINEERING
16.00 | Centering and shuttering including strutting, propping etc. and removal of form for Columns, Pillars, Piers, Abutments, Posts and Struts | 75.00 | sqm |  | 399.00 | 29925.00 | 180.00 | 13500.00 | 13500.00 | MACLARGE INFRA ENGINEERING
17.00 | Centering and shuttering including strutting, propping etc. and removal of form for Small lintels not exceeding 1.5 m clear span, moulding as in cornices, window sills, string courses, bands, copings, bed plates, anchor blocks and the like | 35.00 | sqm |  | 199.00 | 6965.00 | 170.00 | 5950.00 | 5950.00 | MACLARGE INFRA ENGINEERING
18.00 | Centering and shuttering including strutting, propping etc. and removal of form for Edges of slabs and breaks in floors and walls Under 20 cm wide | 495.00 | m |  | 99.00 | 49005.00 | 170.00 | 84150.00 | 49005.00 | Rahul Constructions
19.00 | Centering and shuttering including strutting, propping etc. and removal of form for Extra for shuttering in circular work (20% of respective centering and shuttering items) | 10.00 | sqm |  | 29.00 | 290.00 | 180.00 | 1800.00 | 290.00 | Rahul Constructions
20.00 | 12 mm cement plaster of mix :1:6 (1 cement: 6 fine sand) | 265.00 | sqm |  | 199.00 | 52735.00 | 60.00 | 15900.00 | 15900.00 | MACLARGE INFRA ENGINEERING
21.00 | 15 mm cement plaster on the rough side of single or half brick wall of mix : 1:6 (1 cement: 6 fine sand) | 90.00 | sqm |  | 229.00 | 20610.00 | 70.00 | 6300.00 | 6300.00 | MACLARGE INFRA ENGINEERING
22.00 | 6 mm cement plaster of mix : 1:3 (1 cement : 3 fine sand) | 45.00 | sqm |  | 200.00 | 9000.00 | 70.00 | 3150.00 | 3150.00 | MACLARGE INFRA ENGINEERING
23.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 2030.00 | kg |  | 69.00 | 140070.00 | 68.00 | 138040.00 | 138040.00 | MACLARGE INFRA ENGINEERING
24.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 4025.00 | kg |  | 75.00 | 301875.00 | 70.00 | 281750.00 | 281750.00 | MACLARGE INFRA ENGINEERING
25.00 | Finishing walls with Acrylic Smooth exterior paint of required shade. New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | 275.00 | sqm |  | 90.00 | 24750.00 | 250.00 | 68750.00 | 24750.00 | Rahul Constructions
26.00 | Wall painting with acrylic emulsion paint, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre, of approved brand and manufacture, including applying additional coats wherever required, to achieve even shade and colour. | 150.00 | sqm |  | 99.00 | 14850.00 | 210.00 | 31500.00 | 14850.00 | Rahul Constructions
27.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/neoprene gasket etc. Aluminium sections shall be smooth, rust free,straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 250.00 | kg |  | 399.00 | 99750.00 | 380.00 | 95000.00 | 95000.00 | MACLARGE INFRA ENGINEERING
28.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/neoprene gasket etc. Aluminium sections shall be smooth, rust free,straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately). Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 490.00 | kg |  | 410.00 | 200900.00 | 410.00 | 200900.00 | 200900.00 | MACLARGE INFRA ENGINEERING, Rahul Constructions
29.00 | Providing and fixing anodised aluminium grill (anodised transparent or dyed to required shade according to IS: 1868 with minimum anodic coating of grade AC 15) of approved design/pattern, with approved standard section and fixed to the existing window frame with C.P. brass/ stainless steel screws @ 200 mm centre to centre, including cutting the grill to proper opening size for fixing and operation of handles and fixing approved anodised aluminium standard section around the opening, all complete as per requirement and direction of Engineer-in-charge. (Only weight of grill to be measured for payment). | 25.00 | kg |  | 399.00 | 9975.00 | 410.00 | 10250.00 | 9975.00 | Rahul Constructions
30.00 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineerin-charge. Pre-laminated particle board with decorative lamination on both sides | 5.00 | sqm |  | 749.00 | 3745.00 | 380.00 | 1900.00 | 1900.00 | MACLARGE INFRA ENGINEERING
31.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | 35.00 | sqm |  | 849.00 | 29715.00 | 5000.00 | 175000.00 | 29715.00 | Rahul Constructions
32.00 | Providing and fixing double action hydraulic floor spring of approved brand and manufacture conforming to IS : 6315, having brand logo embossed on the body / plate with double spring mechanism and door weight upto 125 kg, for doors, including cost of cutting floors, embedding in floors as required and making good the same matching to the existing floor finishing and cover plates with brass pivot and single piece M.S. sheet outer box with slide plate etc. complete as per the direction of Engineer-in-charge. With stainless steel cover plate minimum 1.25 mm thickness | 5.00 | each |  | 1499.00 | 7495.00 | 5000.00 | 25000.00 | 7495.00 | Rahul Constructions
33.00 | Filling the gap in between aluminium frame & adjacent RCC/ Brick/Stone work by providing weather silicon sealant over backer rod of approved quality as per architectural drawings and direction of Engineer-in-charge complete. Upto 5mm depth and 5 mm width | 120.00 | mtr |  | 69.00 | 8280.00 | 80.00 | 9600.00 | 8280.00 | Rahul Constructions
34.00 | Providing & fixing fly proof wire gauze to windows, clerestory windows & doors with M.S. Flat 15x3 mm and nuts & bolts complete. Stainless steel (grade 304) wire gauze of 0.5 mm dia wire and 1.4 mm aperture on both sides | 35.00 | sqm |  | 900.00 | 31500.00 | 310.00 | 10850.00 | 10850.00 | MACLARGE INFRA ENGINEERING
35.00 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : 300x16 mm | 5.00 | each |  | 250.00 | 1250.00 | 280.00 | 1400.00 | 1250.00 | Rahul Constructions
36.00 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : 125 mm | 10.00 | each |  | 48.40 | 484.00 | 310.00 | 3100.00 | 484.00 | Rahul Constructions
37.00 | Progiding and fixing of fire retardant water proof frangible Hut (wall and roof 50 mm thick with both side FRP Sheet 2 mm) of size 1.8 m x1.8m x 2.1m having one door of size 1.8 m x 0.9 m made of PUF panel and aluminium windows 4 nos. each of size 0.9 m x 0.9 m and panel comprising of PUF foam of density 40±2 kg/cum. The cost of the item include complete preparation of foundation, drawings, Hut Design and details (drawings and design) getting vetted from IIT/NIT and submission for complying under (ICAO NORMS ICAO AERODROME DESIGN MANUAL ( DOC.NO. 9157 PART -6 FRANGIBLE), submission of fragiblity certification from the manufacturer, transportation, erection, fabrication, installation and commissioning at site complete as per direction and satisfaction of the Engineer-in-charge. | 5.00 | each |  | 215999.00 | 1079995.00 | 25000.00 | 125000.00 | 125000.00 | MACLARGE INFRA ENGINEERING
38.00 | Providing and fixing Aluminum Wall Supporting Single Ladder with sides made out of Aluminum channel shape section of size 88 x 25mm, steps made out of 1 Pcs. aluminum step edging of size 112mm on front side, Rubber Pad Fitted Top & Bottom End, with both sides railing, total vertical height of 2.59 m (approximately) from ground level, complete using tread and riser of standard sizes as per Indian Standards, installation and commissioning as per direction and satisfaction of the Engineer-in-charge | 5.00 | each |  | 1400.00 | 7000.00 | 10000.00 | 50000.00 | 7000.00 | Rahul Constructions
39.00 | Supplying, Installation, Testing and Commissioning of Hand Pump including boring for each hand pump of dia 150 mm for a depth of approx. 60 m, providing PVC casing pipe of dia about 100mm with bottom slotted pipe for a depth of about 6 m and with plain pupe for a depth of about 30 m, India Mark hand pump with GI pipe of dia about 32 mm and suction road below it complete with other associated accessories and development works of borewell as per complete satisfaction of the Engineer-in-charge | 5.00 | each |  | 48000.00 | 240000.00 | 75000.00 | 375000.00 | 240000.00 | Rahul Constructions
40.00 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete. 40 mm thick with 20 mm nominal size stone aggregate | 65.00 | sqm |  | 399.00 | 25935.00 | 4500.00 | 292500.00 | 25935.00 | Rahul Constructions
41.00 | Cement plaster skirting up to 30 cm height, with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement. 18 mm thick | 20.00 | sqm |  | 399.00 | 7980.00 | 70.00 | 1400.00 | 1400.00 | MACLARGE INFRA ENGINEERING
42.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, Single socketed pipes. 75 mm diameter | 50.00 | mtr |  | 199.00 | 9950.00 | 280.00 | 14000.00 | 9950.00 | Rahul Constructions
43.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Coupler 75mm | 30.00 | each |  | 79.00 | 2370.00 | 210.00 | 6300.00 | 2370.00 | Rahul Constructions
44.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Single tee with door 75x75x75mm | 5.00 | each |  | 129.00 | 645.00 | 250.00 | 1250.00 | 645.00 | Rahul Constructions
45.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Bend 87.5° 75mm bend | 10.00 | each |  | 79.00 | 790.00 | 280.00 | 2800.00 | 790.00 | Rahul Constructions
46.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Shoe (Plain) 75mm shoe | 5.00 | each |  | 69.00 | 345.00 | 340.00 | 1700.00 | 345.00 | Rahul Constructions
47.00 | Providing and fixing unplasticised -PVC pipe clips of approved design to unplasticised - PVC rain water pipes by means of 50x50x50 mm hard wood plugs, screwed with M.S. screws of required length, including cutting brick work and fixing in cement mortar 1:4 (1 cement : 4 coarse sand) and making good the wall etc. complete. 75 mm | 25.00 | each |  | 249.00 | 6225.00 | 310.00 | 7750.00 | 6225.00 | Rahul Constructions
48.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. External work 25 mm nominal dia Pipes | 50.00 | mtr |  | 279.00 | 13950.00 | 280.00 | 14000.00 | 13950.00 | Rahul Constructions
49.00 | Dismantling steel work in built up sections in angles, tees, flats and channels including all gusset plates, bolts, nuts, cutting rivets, welding etc. including dismembering and stacking within 50 metres lead. | 18500.00 | kg |  | 3.00 | 55500.00 | 10.00 | 185000.00 | 55500.00 | Rahul Constructions
50.00 | Dismantling roofing including ridges, hips, valleys and gutters etc., and stacking the material within 50 metres lead of: G.S. Sheet | 75.00 | sqm |  | 120.00 | 9000.00 | 310.00 | 23250.00 | 9000.00 | Rahul Constructions
51.00 | Supplying and installation of 1 seater Modular Toilet of size 1.22 m x 1.22 m sides/walls and roofs made of sandwich panels of 0.6 mm thick Galvanized steel, with 38 mm high density EPS (Expanded Polystyrene) insulation inside it, with steel doors, ventilation (Louvers), foundation, 1000 litre Bio-Digestor and all standard sanitary fittings, 2000 litres overhead water tank, complete including structure cost, transportation, civil, sanitary fittings, tiles, electrical works, installation, etc and of color as decided by the Engineer-in-charge. | 5.00 | each |  | 158600.00 | 793000.00 | 55000.00 | 275000.00 | 275000.00 | MACLARGE INFRA ENGINEERING
52.00 | Deduct for taking away of steel work in frames, shutters, trusses, channels, beams, Tee, angles, bolts, washers,G.S sheet etc. and the like received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/ measured before removing from the site in the presence of Engineer-in-charge or his authorised representative all complete. [the rate (minus) multiple by executed quantity and derived amount shall be deducted from firm's bill amount] | 19145.00 | kg |  | 15.00 | -287175.00 | 7.00 | -134015.00 | -287175.00 | Rahul Constructions
53.00 | Providing and lowering of single phase submersible pump set with minimum 1 HP motor (water filled type) and suitable stage pump (As per approved make) suitable for discharging water at sufficiently good yield (At least 30 ltr per minutes) suitable for approximate head of 70-75 mtr including supplying and fixing of PVC coated wire rope for pump support and safety, control panel/starter suitable for relevant motor, 3 core 1.5 sq.mm. flat subermsible cable, 40 mm outer dia ISI HDPE pipe (min 8kg/sq.cm., PE-63) conforming to IS 4984:2016 complete including supplying fixing and lowering, commissioning and testing of all above items as per complete satisfaction and direction of EIC. | 5.00 | each |  | 28999.00 | 144995.00 | 75000.00 | 375000.00 | 144995.00 | Rahul Constructions
| Total in Figures |  |  |  |  | 4217999.00 |  | 3988425.00
Lowest Amount Quoted BY: MACLARGE INFRA ENGINEERING(3988425.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of Security Watch Towers at Azamgarh Airport Tender ID: 2024_AAI_219218_2
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | MACLARGE INFRA ENGINEERING (BID ID -808840) | 3988425.00 | L1
| 2 | Rahul Constructions (BID ID -809358) | 4217999.00 | L2