## BoQ1
Government eProcurement System Created By: Jayant kumar Patel Created Date/Time: 03-Mar-2025 03:43 PM Tender Title: Provision of 40kVA UPS for New Terminal Building along with AICMC at Khajuraho Airport. Tender ID: 2024_AAI_219320_1
Tender Inviting Authority: Asstt. Gen. Manager(Engg.-Elect), AAI, RHQ-NR, New Delhi
Name of Work:Provision of 40kVA UPS for New Terminal Building alongwith AICMC at Khajuraho Airport.
Contract No: AAI/RHQ/NR/E-E/KHAJ/NIT3/24-25
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Prostarm Info Systems Ltd(Prostar Micronova Power Systems Pvt Ltd) (GSTN-27AAECP6991N1ZK) BID ID -802814 |  | SUN POWER CONVERSION PVT LTD (GSTN-09AAICS9074K1ZL) BID ID -808085 |  | Manish Electricals (GSTN-23ABLPM9012E1ZW) BID ID -809049
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I : Supply Part
1.01 | Supply, Installation, Testing & Commissioning (SITC) of 40KVA online UPS, 3 Phase input, 3 Phase output, PWM IGBT based online double conversion type with inbuilt isolation transformer suitable to Terminal Building emergency Lighting System with 100% unbalanced load at output at full load condition with standard features like 100% rated static bypass, maintenance bypass facilities active input power factor correction, phase sequence corrector,sine wave output, compatibility of generator supply, user friendly LCD display and having provision of upgrading UPS to run in load sharing mode in future, battery management features integrated with main UPS controller, operating condition 415 ±10%, 3 phase 50 Hz AC supply and as per the enclosed technical specifications complete as required. (Defect Liability period Shall be 02 years) | 2.00 | Each | 1.00 | 350000.00 | 700000.00 | 444000.00 | 888000.00 | 479808.00 | 959616.00 | 700000.00 | Prostarm Info Systems Ltd(Prostar Micronova Power Systems Pvt Ltd)
1.02 | Supply, Installation, Testing & Commissioning (SITC) of individual battery bank Set for each 40KVA UPS, 12 Volt & sufficient VAH (as per approved design / calculation) rating for minimum 30 minute backup from each UPS i/c suitable rating battery circuit breakers, interconnection between the batteries, between battery bank and UPS, glanding & termination along with battery rack etc. cabling by copper conductor. | 2.00 | JOB | 1.00 | 200000.00 | 400000.00 | 245000.00 | 490000.00 | 268000.00 | 536000.00 | 400000.00 | Prostarm Info Systems Ltd(Prostar Micronova Power Systems Pvt Ltd)
2.00 | SH-II : AICMC Part All Inclusive Comprehensive Maintenance Contract of 40 KVA UPS for Five years after defect Liability Period of 02 years including preventive and breakdown maintenance from OEM/authorized service dealer of OEM complete as required and as per special conditions of contract. (Battery Bank will not included in the CAMC)
2.01 | 1st year after Defect Liability Period (3.5 % of SITC cost of UPS (BOQ Item No.01) ) | 2.00 | JOB | 1.00 | 12250.00 | 24500.00 | 15540.00 | 31080.00 | 16793.28 | 33586.56 | 24500.00 | Prostarm Info Systems Ltd(Prostar Micronova Power Systems Pvt Ltd)
2.02 | 2nd year after Defect Liability Period ( 5 % escalation on first year cost ) | 2.00 | JOB | 1.00 | 12862.50 | 25725.00 | 16317.00 | 32634.00 | 17632.94 | 35265.88 | 25725.00 | Prostarm Info Systems Ltd(Prostar Micronova Power Systems Pvt Ltd)
2.03 | 3rd year after Defect Liability Period (5 % escalation on second year cost | 2.00 | JOB | 1.00 | 13505.63 | 27011.26 | 17132.85 | 34265.70 | 18514.59 | 37029.18 | 27011.26 | Prostarm Info Systems Ltd(Prostar Micronova Power Systems Pvt Ltd)
2.04 | 4th year after Defect Liability Period (5 % escalation on Third year cost | 2.00 | JOB | 1.00 | 14180.91 | 28361.82 | 17989.49 | 35978.98 | 19440.32 | 38880.64 | 28361.82 | Prostarm Info Systems Ltd(Prostar Micronova Power Systems Pvt Ltd)
2.05 | 5th year after Defect Liability Period (5 % escalation on Fourth year cost | 2.00 | JOB | 1.00 | 14889.96 | 29779.92 | 18888.96 | 37777.92 | 20412.34 | 40824.68 | 29779.92 | Prostarm Info Systems Ltd(Prostar Micronova Power Systems Pvt Ltd)
| Total in Figures |  |  |  |  | 1235378.00 |  | 1549736.60 |  | 1681202.94
Lowest Amount Quoted BY: Prostarm Info Systems Ltd(Prostar Micronova Power Systems Pvt Ltd)(1235378.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of 40kVA UPS for New Terminal Building along with AICMC at Khajuraho Airport. Tender ID: 2024_AAI_219320_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Prostarm Info Systems Ltd(Prostar Micronova Power Systems Pvt Ltd) (BID ID -802814) | 1235378.00 | L1
| 2 | SUN POWER CONVERSION PVT LTD (BID ID -808085) | 1549736.60 | L2
| 3 | Manish Electricals (BID ID -809049) | 1681202.94 | L3