## BoQ1
Government eProcurement System Created By: PARAPPIL GOPAL GOPALAKRISHNAN Created Date/Time: 17-Jan-2025 03:34 PM Tender Title: Construction of Emergency Medical Centre at Coimbatore International Airport Tender ID: 2024_AAI_219381_1
Tender Inviting Authority: Asst. Gen. Manager (Engg-civil) - I, AAI, Coimbatore International Airport
Name of Work: Construction of Emergency Medical Centre at Coimbatore International Airport
Contract No: 41/2024-25/AGM(E-C)/CBE
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | spkconstructionss (GSTN-33ABTFS1968H1ZN) BID ID -802127 |  | SUMAN FABRICATORS AND CONTRACTORS (GSTN-30ALDPP2860M1Z2) BID ID -802764 |  | Nabalok Das (GSTN-NA) BID ID -802276
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. -All kinds of soil. | 79.41 | cum | 100.00 | 160.00 | 12705.60 | 450.00 | 35734.50 | 120.00 | 9529.20 | 9529.20 | Nabalok Das
2.00 | Earth work in surface excavation not exceeding 30 cm in depth but exceeding 1.5 m in width as well as 10 sqm on plan including getting out and disposal of excavated earth upto 50 m and lift up to 1.5 m, as directed by Engineer-in-Charge: - All kinds of soil. | 60.00 | cum | 100.00 | 116.00 | 6960.00 | 250.00 | 15000.00 | 120.00 | 7200.00 | 6960.00 | spkconstructionss
3.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:1½:3 (1 Cement: 1½ coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 46.85 | Cum | 100.00 | 7450.00 | 349032.50 | 8450.00 | 395882.50 | 7800.00 | 365430.00 | 349032.50 | spkconstructionss
4.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 25.91 | cum | 100.00 | 6000.00 | 155460.00 | 5200.00 | 134732.00 | 5900.00 | 152869.00 | 134732.00 | SUMAN FABRICATORS AND CONTRACTORS
5.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources : 10 graded stone aggregate 40 mm nominal size derived from natural sources) | 33.17 | Cum | 100.00 | 5700.00 | 189069.00 | 4550.00 | 150923.50 | 5000.00 | 165850.00 | 150923.50 | SUMAN FABRICATORS AND CONTRACTORS
6.00 | Centering and shuttering including strutting, propping etc. and removal of form for Foundations, footings, bases of columns, etc. for mass concrete | 38.01 | sqm | 100.00 | 350.00 | 13303.50 | 420.00 | 15964.20 | 300.00 | 11403.00 | 11403.00 | Nabalok Das
7.00 | Centering and shuttering including strutting, propping etc. and removal of form for Columns, Pillars, Piers, Abutments, Posts and Struts | 193.80 | sqm | 100.00 | 860.00 | 166668.00 | 590.00 | 114342.00 | 370.00 | 71706.00 | 71706.00 | Nabalok Das
8.00 | Random rubble masonry with hard stone in foundation and plinth including levelling up with cement concrete 1:6:12 (1 cement : 6 coarse sand : 12 graded stone aggregate 20mm nominal size) upto plinth level with : Cement mortar 1:6 (1 cement : 6 coarse sand). | 24.97 | cum | 100.00 | 6525.00 | 162929.25 | 4500.00 | 112365.00 | 6000.00 | 149820.00 | 112365.00 | SUMAN FABRICATORS AND CONTRACTORS
9.00 | Centering and shuttering including strutting, propping etc. and removal of form for Lintels, beams, plinth beams, girders, bressumers and cantilevers | 130.71 | sqm | 100.00 | 660.00 | 86268.60 | 550.00 | 71890.50 | 495.00 | 64701.45 | 64701.45 | Nabalok Das
10.00 | Centering and shuttering including strutting, propping etc. and removal of form for Small lintels not exceeding 1.5 m clear span, moulding as in cornices, window sills, string courses, bands, copings, bed plates, anchor blocks and the like | 48.02 | sqm | 100.00 | 350.00 | 16807.00 | 650.00 | 31213.00 | 450.00 | 21609.00 | 16807.00 | spkconstructionss
11.00 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 23.38 | cum | 100.00 | 8000.00 | 187040.00 | 8450.00 | 197561.00 | 7800.00 | 182364.00 | 182364.00 | Nabalok Das
12.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 2338.00 | kg | 100.00 | 96.00 | 224448.00 | 98.00 | 229124.00 | 69.00 | 161322.00 | 161322.00 | Nabalok Das
13.00 | Providing and laying damp-proof course 50mm thick with cement concrete 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20mm nominal size derived from natural sources). | 37.47 | sqm | 100.00 | 440.00 | 16486.80 | 2100.00 | 78687.00 | 6500.00 | 243555.00 | 16486.80 | spkconstructionss
14.00 | Supplying and filling of moorum (including royalty), also including ramming and watering of the earth in layers not exceeding 20 cm in trenches, plinth, sides of foundation etc., complete. | 55.36 | cum | 100.00 | 1785.00 | 98817.60 | 700.00 | 38752.00 | 700.00 | 38752.00 | 38752.00 | Nabalok Das, SUMAN FABRICATORS AND CONTRACTORS
15.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift up to 1.5 m. | 77.58 | cum | 100.00 | 175.00 | 13576.50 | 75.00 | 5818.50 | 100.00 | 7758.00 | 5818.50 | SUMAN FABRICATORS AND CONTRACTORS
16.00 | Supplying and filling in plinth with msand under floors, including watering, ramming, consolidating and dressing complete. | 40.39 | cum | 100.00 | 1500.00 | 60585.00 | 2450.00 | 98955.50 | 1800.00 | 72702.00 | 60585.00 | spkconstructionss
17.00 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | 43.04 | sqm | 100.00 | 670.00 | 28836.80 | 1450.00 | 62408.00 | 900.00 | 38736.00 | 28836.80 | spkconstructionss
18.00 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 57.98 | cum | 100.00 | 10200.00 | 591396.00 | 11500.00 | 666770.00 | 7800.00 | 452244.00 | 452244.00 | Nabalok Das
19.00 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement : 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 8.99 | cum | 100.00 | 9690.00 | 87113.10 | 11500.00 | 103385.00 | 7900.00 | 71021.00 | 71021.00 | Nabalok Das
20.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 6697.00 | kg | 100.00 | 96.00 | 642912.00 | 102.00 | 683094.00 | 69.00 | 462093.00 | 462093.00 | Nabalok Das
21.00 | Providing and laying Autoclaved Aerated concrete (AAC) blocks masonry with 150mm/230mm/300 mm thick with Grade-I AAC blocks of density 551 to 650 kg/ cum conforming to IS: 2185 (Part 3) in super structure above plinth level up to floor V level with RCC band at sill level and lintel level with approved block laying polymer modified adhesive mortar all complete as per direction of Engineer-in-Charge. (The payment of RCC band and reinforcement shall be made for seperately). | 70.21 | cum | 100.00 | 7440.00 | 522362.40 | 7800.00 | 547638.00 | 8900.00 | 624869.00 | 522362.40 | spkconstructionss
22.00 | Providing and laying Autoclaved Aerated concrete (AAC) blocks masonry 100 mm/ 125 mm thick with Grade-I AAC blocks of density 551 to 650 kg/ cum conforming to IS: 2185 (Part 3) in super structure above plinth level up to floor V level in cement mortar 1:4 (1 cement : 4 coarse sand). The rate includes providing and placing in position 2 Nos 6 mm dia M.S. bars at every third course of masonry work. | 26.52 | cum | 100.00 | 9103.00 | 241411.56 | 7800.00 | 206856.00 | 8000.00 | 212160.00 | 206856.00 | SUMAN FABRICATORS AND CONTRACTORS
23.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Weather shade, Chajjas, corbels etc., including edges | 3.64 | sqm | 100.00 | 849.00 | 3090.36 | 650.00 | 2366.00 | 600.00 | 2184.00 | 2184.00 | Nabalok Das
24.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size,approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. : Granite stone slab colour black, Cherry/Ruby red : Area of slab over 0.50 sqm | 3.64 | sqm | 100.00 | 4585.00 | 16689.40 | 4800.00 | 17472.00 | 5000.00 | 18200.00 | 16689.40 | spkconstructionss
25.00 | Centering and shuttering including strutting, propping etc. and removal of form for Suspended floors, roofs, landings, balconies and access platform | 286.89 | sqm | 100.00 | 700.00 | 200823.00 | 480.00 | 137707.20 | 430.00 | 123362.70 | 123362.70 | Nabalok Das
26.00 | 12 mm cement plaster of mix : 1:6 (1 cement: 6 coarse sand) | 718.70 | sqm | 100.00 | 350.00 | 251545.00 | 350.00 | 251545.00 | 275.00 | 197642.50 | 197642.50 | Nabalok Das
27.00 | 6 mm cement plaster of mix : 1:3 (1 cement : 3 fine sand) | 291.38 | sqm | 100.00 | 300.00 | 87414.00 | 300.00 | 87414.00 | 285.00 | 83043.30 | 83043.30 | Nabalok Das
28.00 | 15 mm cement plaster on rough side of single or half brick wall of mix: 1:6 (1 cement: 6 coarse sand) | 454.72 | sqm | 100.00 | 385.00 | 175067.20 | 390.00 | 177340.80 | 286.00 | 130049.92 | 130049.92 | Nabalok Das
29.00 | Providing and applying integral crystalline slurry of hydrophilic in nature for waterproofing treatment to the RCC structures like retaining walls of the basement, water tanks, roof slabs, podiums, reservior, sewage & water treatment plant, tunnels / subway and bridge deck etc., prepared by mixing in the ratio of 5 : 2 (5 parts integral crystalline slurry : 2 parts water) for vertical surfaces and 3 : 1 (3 parts integral crystalline slurry : 1 part water) for horizontal surfaces and applying the same from negative (internal) side with the help of synthetic fiber brush. The material shall meet the requirements as specified in ACI-212-3R-2010 i.e by reducing permeability of concrete by more than 90% compared with control concrete as per DIN 1048 and resistant to 16 bar hydrostatic pressure on negative side. The crystalline slurry shall be capable of self-healing of cracks up to a width of 0.50 mm. The work shall be carried out all complete as per specification and the direction of the engineer-in-charge. The product performance shall carry guarantee for 10 years against any leakage. - For horizontal surface one coat @1.10 kg per sqm. | 291.38 | Sqm | 100.00 | 400.00 | 116552.00 | 480.00 | 139862.40 | 300.00 | 87414.00 | 87414.00 | Nabalok Das
30.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 408.37 | sqm | 100.00 | 75.00 | 30627.75 | 185.00 | 75548.45 | 160.00 | 65339.20 | 30627.75 | spkconstructionss
31.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | 497.25 | sqm | 100.00 | 144.00 | 71604.00 | 155.00 | 77073.75 | 120.00 | 59670.00 | 59670.00 | Nabalok Das
32.00 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gram/litre, of approved manufacturer and of required shade and colour all complete to achieve even shade and colour : 13.41.1 New work (two or more coats) over and including water thinnable priming coat with cement primer having VOC content less than 50 gram/litre | 408.37 | sqm | 100.00 | 166.00 | 67789.42 | 180.00 | 73506.60 | 70.00 | 28585.90 | 28585.90 | Nabalok Das
33.00 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. Size of Tile 600x600 mm | 226.84 | sqm | 100.00 | 1300.00 | 294892.00 | 1400.00 | 317576.00 | 1275.00 | 289221.00 | 289221.00 | Nabalok Das
34.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete. Size of Tile 600x600 mm | 9.79 | sqm | 100.00 | 1300.00 | 12727.00 | 1400.00 | 13706.00 | 1275.00 | 12482.25 | 12482.25 | Nabalok Das
35.00 | Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily. - Glazed Vitrified tiles Matt/Antiskid finish of size Size of Tile 600 x 600 mm | 52.88 | sqm | 100.00 | 1300.00 | 68744.00 | 1650.00 | 87252.00 | 1275.00 | 67422.00 | 67422.00 | Nabalok Das
36.00 | Providing and fixing 1st quality ceramic glazed floor tiles conforming to IS : 15622 (thickness to be specified by the manufacturer ) of approved make in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge in skirting, risers of steps and dados over 12 mm thick bed of cement Mortar 1:3 (1cement: 3 coarse sand) and jointing with grey cement slurry @ 3.3kgper sqm including pointing the joints with white cement mixed with pigment of matching shade complete. | 148.86 | sqm | 100.00 | 1000.00 | 148860.00 | 1350.00 | 200961.00 | 1275.00 | 189796.50 | 148860.00 | spkconstructionss
37.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 20 mm nominal dia Pipes | 43.70 | metre | 100.00 | 300.00 | 13110.00 | 350.00 | 15295.00 | 390.00 | 17043.00 | 13110.00 | spkconstructionss
38.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. External work : 32 mm nominal dia Pipes | 24.00 | metre | 100.00 | 391.00 | 9384.00 | 360.00 | 8640.00 | 430.00 | 10320.00 | 8640.00 | SUMAN FABRICATORS AND CONTRACTORS
39.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. External work : 50 mm nominal outer dia. Pipes. | 90.00 | metre | 100.00 | 650.00 | 58500.00 | 380.00 | 34200.00 | 500.00 | 45000.00 | 34200.00 | SUMAN FABRICATORS AND CONTRACTORS
40.00 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests | 2.00 | each | 100.00 | 6050.00 | 12100.00 | 6500.00 | 13000.00 | 8000.00 | 16000.00 | 12100.00 | spkconstructionss
41.00 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : W.C. pan with ISI marked white solid plastic seat and lid | 7.00 | each | 100.00 | 5800.00 | 40600.00 | 7500.00 | 52500.00 | 8000.00 | 56000.00 | 40600.00 | spkconstructionss
42.00 | Providing and fixing C.P. brass health faucet with 1m flexible hose & wall hook complete as per the direction of EIC. | 9.00 | each | 100.00 | 1400.00 | 12600.00 | 1400.00 | 12600.00 | 1000.00 | 9000.00 | 9000.00 | Nabalok Das
43.00 | Providing and fixing toilet paper holder : C.P. brass | 7.00 | each | 100.00 | 312.00 | 2184.00 | 950.00 | 6650.00 | 1000.00 | 7000.00 | 2184.00 | spkconstructionss
44.00 | Providing and fixing white vitreous china flat back or wall corner type lipped front urinal basin of 430x260x350 mm or 340x410x265 mm sizes respectively. | 3.00 | each | 100.00 | 3000.00 | 9000.00 | 1800.00 | 5400.00 | 5000.00 | 15000.00 | 5400.00 | SUMAN FABRICATORS AND CONTRACTORS
45.00 | Providing and fixing stone slab with table rubbed, edges rounded and polished, of size 75x50 cm deep and 1.8 cm thick, fixed in urinal partitions by cutting a chase of appropriate width with chase cutter and embedding the stone in the chase with epoxy grout or with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 6 mm nominal size) as per direction of Engineer-in-charge and finished smooth. Granite Stone of approved shade | .75 | sqm | 100.00 | 3125.00 | 2343.75 | 5000.00 | 3750.00 | 20000.00 | 15000.00 | 2343.75 | spkconstructionss
46.00 | Providing and fixing PTMT urinal cock of approved quality and colour. 15 mm nominal bore, 80 mm long, 42 mm high and 30mm wide with BSP female threads weighing not less than 48 gms | 3.00 | each | 100.00 | 625.00 | 1875.00 | 150.00 | 450.00 | 4000.00 | 12000.00 | 450.00 | SUMAN FABRICATORS AND CONTRACTORS
47.00 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: White Vitreous China Wash basin size 630x450 mm with a single 15 mm C.P. brass pillar tap | 9.00 | each | 100.00 | 4010.00 | 36090.00 | 3500.00 | 31500.00 | 4000.00 | 36000.00 | 31500.00 | SUMAN FABRICATORS AND CONTRACTORS
48.00 | Providing and fixing unplasticised P.V.C. connection pipe with PTMT Nuts, collar and bush of approved quality and colour. 15 mm nominal bore with 30cm length | 21.00 | each | 100.00 | 225.00 | 4725.00 | 100.00 | 2100.00 | 300.00 | 6300.00 | 2100.00 | SUMAN FABRICATORS AND CONTRACTORS
49.00 | Providing and fixing brass bib cock of approved quality : 15 mm nominal bore | 13.00 | each | 100.00 | 670.00 | 8710.00 | 850.00 | 11050.00 | 2600.00 | 33800.00 | 8710.00 | spkconstructionss
50.00 | Providing and fixing C.P. brass shower rose with 15 or 20 mm inlet : 100 mm diameter | 4.00 | each | 100.00 | 1700.00 | 6800.00 | 650.00 | 2600.00 | 1500.00 | 6000.00 | 2600.00 | SUMAN FABRICATORS AND CONTRACTORS
51.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 : 15mm nominal bore | 27.00 | each | 100.00 | 980.00 | 26460.00 | 650.00 | 17550.00 | 1500.00 | 40500.00 | 17550.00 | SUMAN FABRICATORS AND CONTRACTORS
52.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) decorative type, core of block board construction with frame of 1st class hard wood and well matched teak 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws. | 2.45 | sqm | 100.00 | 8030.00 | 19673.50 | 2800.00 | 6860.00 | 4000.00 | 9800.00 | 6860.00 | SUMAN FABRICATORS AND CONTRACTORS
53.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass/ stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion : Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 73.83 | Kg | 100.00 | 450.00 | 33223.50 | 510.00 | 37653.30 | 520.00 | 38391.60 | 33223.50 | spkconstructionss
54.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass/ stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately). : Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 68.00 | Kg | 100.00 | 540.00 | 36720.00 | 550.00 | 37400.00 | 559.00 | 38012.00 | 36720.00 | spkconstructionss
55.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item) : With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | 5.25 | sqm | 100.00 | 1340.00 | 7035.00 | 1650.00 | 8662.50 | 100.00 | 525.00 | 525.00 | Nabalok Das
56.00 | Providing and fixing 12mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS:12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineer-in-charge. : Pre-laminated particle board with decorative lamination on both sides. | 10.96 | sqm | 100.00 | 1690.00 | 18522.40 | 950.00 | 10412.00 | 760.00 | 8329.60 | 8329.60 | Nabalok Das
57.00 | Providing and fixing aluminium handles ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade with necessary screws etc. complete : 125 mm | 18.00 | each | 100.00 | 98.00 | 1764.00 | 150.00 | 2700.00 | 300.00 | 5400.00 | 1764.00 | spkconstructionss
58.00 | Providing and fixing aluminium tower bolts ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade with necessary screws etc. complete : 200x10 mm | 14.00 | each | 100.00 | 133.00 | 1862.00 | 150.00 | 2100.00 | 200.00 | 2800.00 | 1862.00 | spkconstructionss
59.00 | Providing and fixing aluminium extruded section body tubular type universal hydraulic door closer (having brand logo with ISi, IS : 3564, embossed on the body, door weight upto 36 kg to 80 kg and door width from 701 mm to 1000 mm), with double speed adjustment with necessaryaccessories and screws etc. complete. | 8.00 | each | 100.00 | 1740.00 | 13920.00 | 2200.00 | 17600.00 | 1500.00 | 12000.00 | 12000.00 | Nabalok Das
60.00 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. Twin rubber stopper | 9.00 | each | 100.00 | 133.00 | 1197.00 | 125.00 | 1125.00 | 200.00 | 1800.00 | 1125.00 | SUMAN FABRICATORS AND CONTRACTORS
61.00 | Providing and fixing bright finished 100 mm mortice lock with 6 levers without pair of handles of approved quality for aluminium door, with necessary screws etc complete as per direction of Engineer-in-charge. | 7.00 | each | 100.00 | 175.00 | 1225.00 | 800.00 | 5600.00 | 800.00 | 5600.00 | 1225.00 | spkconstructionss
62.00 | Providing and Fixing factory made uPVC door frame, made of uPVC exturded sections, of size 65 mm x 55 mm with wall thickness 2.0 mm (± 0.2 mm), corners of the door frame to be mitred cut and jointed with plastic brackets and stainless steel screws, reinforcing hinge side vertical of the frames with PVC profile of Size 28 mm x 30 mm having wall thickness 2 mm (±0.2 mm), including providing & fixing 3 nos of 125 mm long stainless steel hinges to the frame, fixing the frame with jamb with required number & size of anchor dash fastners, all complete as per manufacturer's specification and direction of Engineer-in-charge | 54.45 | meter | 100.00 | 660.00 | 35937.00 | 750.00 | 40837.50 | 2700.00 | 147015.00 | 35937.00 | spkconstructionss
63.00 | Providing and fixing 37 mm thick factory made PVC door shutter, styles and rails made of PVC hollow section of size 100 mm x 37 mm with wall thickness 2 mm (± 0.2 mm), with inbuilt bead on one side, styles and rails mitered cut and joint at the corners by means of 2 nos of plastic brackets of size 75 mm x 220 mm at each corner and stainless steel screws, reinforcing the hinge side of style by inserting PVC profile of size 28 mm x 30 mm, with wall thickness 2 mm ( ± 0.2 mm). Lockrail of size 100 mm x 37 mm, wall thickness 2 mm (+ 0.2 mm) will be fixed to the vertical styles. Providing with PVC snapfit beads and panel of size 100 mm x 20 mm, and inserting 2 nos tie bar of 6 mm dia and fastening with nuts and washers complete, all as per manufacturer's specification and direction of Engineer-in-charge. | 17.33 | sqm | 100.00 | 4010.00 | 69493.30 | 5500.00 | 95315.00 | 2200.00 | 38126.00 | 38126.00 | Nabalok Das
64.00 | Providing and fixing PTMT Tower Bolts with 12 mm one piece rod inside and necessary screws etc., complete. : 152x42x18 mm weighing not less than 60 gms | 22.00 | each | 100.00 | 175.00 | 3850.00 | 150.00 | 3300.00 | 200.00 | 4400.00 | 3300.00 | SUMAN FABRICATORS AND CONTRACTORS
65.00 | Providing and fixing factory made uPVC glazed/wire mesh windows/doors comprising of lead free uPVC multi-chambered frame, sash and mullion/coupler (where ever required) extruded profiles having minimum wall thickness of 1.70 mm for Series R1 and R2 profiles and 2.10 mm for Series R3 and R4 profiles conforming to EN: 12608 in any shape, colour and design duly reinforced with galvanized mild steel section made of required shape & size as per CPWD Specification, uPVC extruded glazing beads, interlocks and Inline sash adaptor (where ever required) of appropriate dimension, EPDM gasket, hardware, SS 304 grade fasteners of minimum 8 mm dia with countersunk head, comprising of matching polyamide PA6 grade sleeve for fixing frame to finished wall as per IS 1367 : Part 1 to 14, plastic packers, plastic caps and necessary stainless steel screws etc. Profile of frame, sash & mullion (if required) shall be mitred cut and fusion welded/mechanically jointed duly sealed at all corners, including drilling of holes for fixing hardware and drainage of water etc. After fixing frame the gap between frame and adjacent finished wall shall be filled with weather proof silicon sealant over backer rod pf approved size and quality, all complete as per approved drawing conforming to CPWD specification & direction of Engineer-in-Charge. Section of steel reinforcement and cross sections of uPVC profiles to be as per design approved by Engineer-in-Charge. Wire mesh / Glazing of plain/ toughened/ laminated/ double glass unit with / without high performance coatings as per design requirements and conforming to IS: 3548 & IS:16231 shall be paid separately. Note:- Structural design proof checked from a Government Engineering Institute, to be provided by the manufacturer for: (i) Sites with basic wind speed > 45 m/sec as per IS 875 - Part 3 (ii) Sites with structure height more than 20m for all wind speeds. Ventilator Casement window single panel with or without fixed panel with S S. 304 friction hinges as per size and weight of sash, single point locking zinc alloy (zamak) powder coated handles. : Using R1 series with frame (33mm & above ) x (35mm & above) & sash /mullion (33mm & above) x (50 mm & above). (Height upto 0.90 meter). | 6.12 | sqm | 100.00 | 8500.00 | 52020.00 | 10500.00 | 64260.00 | 3000.00 | 18360.00 | 18360.00 | Nabalok Das
66.00 | Providing and fixing factory made uPVC glazed/wire mesh windows/doors comprising of lead free uPVC multi-chambered frame, sash and mullion/coupler (where ever required) extruded profiles having minimum wall thickness of 1.70 mm for Series R1 and R2 profiles and 2.10 mm for Series R3 and R4 profiles conforming to EN: 12608 in any shape, colour and design duly reinforced with galvanized mild steel section made of required shape & size as per CPWD Specification, uPVC extruded glazing beads, interlocks and Inline sash adaptor (where ever required) of appropriate dimension, EPDM gasket, hardware, SS 304 grade fasteners of minimum 8 mm dia with countersunk head, comprising of matching polyamide PA6 grade sleeve for fixing frame to finished wall as per IS 1367 : Part 1 to 14, plastic packers, plastic caps and necessary stainless steel screws etc. Profile of frame, sash & mullion (if required) shall be mitred cut and fusion welded/mechanically jointed duly sealed at all corners, including drilling of holes for fixing hardware and drainage of water etc. After fixing frame the gap between frame and adjacent finished wall shall be filled with weather proof silicon sealant over backer rod pf approved size and quality, all complete as per approved drawing conforming to CPWD specification & direction of Engineer-in-Charge. Section of steel reinforcement and cross sections of uPVC profiles to be as per design approved by Engineer-in-Charge. Wire mesh / Glazing of plain/ toughened/ laminated/ double glass unit with / without high performance coatings as per design requirements and conforming to IS: 3548 & IS:16231 shall be paid separately. Note:- Structural design proof checked from a Government Engineering Institute, to be provided by the manufacturer for: (i) Sites with basic wind speed > 45 m/sec as per IS 875 - Part 3 (ii) Sites with structure height more than 20m for all wind speeds. Casement window single panel with S.S. 304 friction hinges as per size and weight of sash, multi-point locking system, zinc alloy (zamak) powder coated handles. : Using R3 series with frame (55mm & above ) x (45mm & above) & sash (55mm & above) x (65mm & above). (Height upto 1.8 meter) | 17.10 | sqm | 100.00 | 8600.00 | 147060.00 | 15500.00 | 265050.00 | 3200.00 | 54720.00 | 54720.00 | Nabalok Das
67.00 | Providing and fixing factory made uPVC glazed/wire mesh windows/doors comprising of lead free uPVC multi-chambered frame, sash and mullion/coupler (where ever required) extruded profiles having minimum wall thickness of 1.70 mm for Series R1 and R2 profiles and 2.10 mm for Series R3 and R4 profiles conforming to EN: 12608 in any shape, colour and design duly reinforced with galvanized mild steel section made of required shape & size as per CPWD Specification, uPVC extruded glazing beads, interlocks and Inline sash adaptor (where ever required) of appropriate dimension, EPDM gasket, hardware, SS 304 grade fasteners of minimum 8 mm dia with countersunk head, comprising of matching polyamide PA6 grade sleeve for fixing frame to finished wall as per IS 1367 : Part 1 to 14, plastic packers, plastic caps and necessary stainless steel screws etc. Profile of frame, sash & mullion (if required) shall be mitred cut and fusion welded/mechanically jointed duly sealed at all corners, including drilling of holes for fixing hardware and drainage of water etc. After fixing frame the gap between frame and adjacent finished wall shall be filled with weather proof silicon sealant over backer rod pf approved size and quality, all complete as per approved drawing conforming to CPWD specification & direction of Engineer-in-Charge. Section of steel reinforcement and cross sections of uPVC profiles to be as per design approved by Engineer-in-Charge. Wire mesh / Glazing of plain/ toughened/ laminated/ double glass unit with / without high performance coatings as per design requirements and conforming to IS: 3548 & IS:16231 shall be paid separately. Note:- Structural design proof checked from a Government Engineering Institute, to be provided by the manufacturer for: (i) Sites with basic wind speed > 45 m/sec as per IS 875 - Part 3 (ii) Sites with structure height more than 20m for all wind speeds. Casement window double panels with fixed mullion with S.S. 304 friction hinges as per size and weight of sash, multi-point locking system, zinc alloy (zamak) powder coated handles. : Using R3 series with frame (55mm & above ) x (45mm & above) & sash (55mm & above) x (65mm & above) & mullion (55mm & above) x (65mm & above). (Height upto 1.8 meter). | 2.70 | sqm | 100.00 | 8400.00 | 22680.00 | 16000.00 | 43200.00 | 3200.00 | 8640.00 | 8640.00 | Nabalok Das
68.00 | Constructing brick masonry chamber for underground C.I. inspection chamber and bends with bricks in cement mortar 1:4 (1 cement : 4 coarse sand) C.I. cover with frame (light duty) 455x610 mm internal dimensions, total weight of cover with frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg), R.C.C. top slab with 1:1.5:3 mix (1 cement : 1.5 fine sand : 3 graded stone aggregate 20 mm nominal size), foundation concrete 1:5:10 (1 cement : 5 fine sand : 10 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand), finished smooth with a floating coat of neat cement on walls and bed concrete etc. complete as per standard design : Inside dimensions 500x700 mm and 45 cm deep for pipe line with one or two inlets : With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 3.00 | each | 100.00 | 7200.00 | 21600.00 | 12000.00 | 36000.00 | 12000.00 | 36000.00 | 21600.00 | spkconstructionss
69.00 | Providing and laying unplasticised PVC( 10 kgf/cm2) in sewer line, vent pipe conforming to IS 13592 type B . as per standards as directed by EIC with required adhesive special etc. complete as per the direction of Engineer-in-charge.The rate is inclusive of cutting, finishing etc., with required slope as per the direction of Engineer-in-charge : 110mm dia | 110.00 | meter | 100.00 | 400.00 | 44000.00 | 1100.00 | 121000.00 | 400.00 | 44000.00 | 44000.00 | spkconstructionss, Nabalok Das
70.00 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement and making necessary channels for the drain etc. complete : For pipes 100 to 250 mm diameter | 1.00 | each | 100.00 | 720.00 | 720.00 | 2000.00 | 2000.00 | 10000.00 | 10000.00 | 720.00 | spkconstructionss
71.00 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 10000.00 | per litre | 100.00 | 9.00 | 90000.00 | 10.00 | 100000.00 | 13.00 | 130000.00 | 90000.00 | spkconstructionss
72.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. : Hot finished welded type tubes. | 2001.27 | Kg | 100.00 | 173.00 | 346219.71 | 112.00 | 224142.24 | 135.00 | 270171.45 | 224142.24 | SUMAN FABRICATORS AND CONTRACTORS
73.00 | Structural steel work in single section, fixed with or without connecting plate,including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete | 17.72 | Kg | 100.00 | 104.00 | 1842.88 | 85.00 | 1506.20 | 120.00 | 2126.40 | 1506.20 | SUMAN FABRICATORS AND CONTRACTORS
74.00 | Providing and fixing Black HDPE Nylon turf safety net of thickness 2.5mm around the vertical posts as per requirement including fastening/tying with posts etc. complete as per direction of Engineer-in-Charge. | 454.23 | Sqm | 100.00 | 250.00 | 113557.50 | 850.00 | 386095.50 | 135.00 | 61321.05 | 61321.05 | Nabalok Das
75.00 | Wiring for light point/ fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface/recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. Group C | 35.00 | Each | 100.00 | 1100.00 | 38500.00 | 1500.00 | 52500.00 | 1300.00 | 45500.00 | 38500.00 | spkconstructionss
76.00 | Wiring for twin control point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface/recessed medium class PVC conduit, 2 way modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. Group C | 1.00 | Each | 100.00 | 1200.00 | 1200.00 | 2500.00 | 2500.00 | 1500.00 | 1500.00 | 1200.00 | spkconstructionss
77.00 | Wiring for light/ power plug with 4X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/recessed medium class PVC conduit along with 2 Nos. 4 sq.mm FRLS PVC insulated copper conductor single core cable for loop earthing as required | 240.00 | Meter | 100.00 | 450.00 | 108000.00 | 575.00 | 138000.00 | 775.00 | 186000.00 | 108000.00 | spkconstructionss
78.00 | Wiring for circuit/ submain/power plug wiring along with earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire. | 450.00 | Meter | 100.00 | 250.00 | 112500.00 | 230.00 | 103500.00 | 650.00 | 292500.00 | 103500.00 | SUMAN FABRICATORS AND CONTRACTORS
79.00 | Wiring for circuit/ submain/power plug wiring along with earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. 2 X 4 sq. mm + 1 X 4 sq. mm earth wire. | 400.00 | Meter | 100.00 | 300.00 | 120000.00 | 330.00 | 132000.00 | 680.00 | 272000.00 | 120000.00 | spkconstructionss
80.00 | Wiring for group controlled (looped) light point/fan point/ call bell point ( without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed PVC conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc as required | 35.00 | Each | 100.00 | 1200.00 | 42000.00 | 1050.00 | 36750.00 | 1300.00 | 45500.00 | 36750.00 | SUMAN FABRICATORS AND CONTRACTORS
81.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc as required. 1 or 2 Module (75mmX75mm) | 5.00 | Each | 100.00 | 250.00 | 1250.00 | 350.00 | 1750.00 | 250.00 | 1250.00 | 1250.00 | spkconstructionss, Nabalok Das
82.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc as required. 3 Module (100mmX75mm) | 14.00 | Each | 100.00 | 300.00 | 4200.00 | 450.00 | 6300.00 | 350.00 | 4900.00 | 4200.00 | spkconstructionss
83.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc as required. 4 Module (125mmX75mm) | 10.00 | Each | 100.00 | 300.00 | 3000.00 | 550.00 | 5500.00 | 500.00 | 5000.00 | 3000.00 | spkconstructionss
84.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc as required. 6 Module (200X75 mm) | 6.00 | Each | 100.00 | 350.00 | 2100.00 | 600.00 | 3600.00 | 500.00 | 3000.00 | 2100.00 | spkconstructionss
85.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc as required. 8 Module (125mmX125mm) | 5.00 | Each | 100.00 | 400.00 | 2000.00 | 650.00 | 3250.00 | 600.00 | 3000.00 | 2000.00 | spkconstructionss
86.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc as required. 12 Module (200mmX150mm) | 15.00 | Each | 100.00 | 500.00 | 7500.00 | 700.00 | 10500.00 | 800.00 | 12000.00 | 7500.00 | spkconstructionss
87.00 | Supplying and fixing following modular switch/ socket on the existing modular plate and switch box / DLP U-PVC Trunking including connections but excluding modular plate etc. as required. 5/6 amps switch | 90.00 | Each | 100.00 | 100.00 | 9000.00 | 75.00 | 6750.00 | 250.00 | 22500.00 | 6750.00 | SUMAN FABRICATORS AND CONTRACTORS
88.00 | Supplying and fixing following modular switch/ socket on the existing modular plate and switch box / DLP U-PVC Trunking including connections but excluding modular plate etc. as required. 5/6 Amp Two way modular switch | 1.00 | Each | 100.00 | 130.00 | 130.00 | 150.00 | 150.00 | 1000.00 | 1000.00 | 130.00 | spkconstructionss
89.00 | Supplying and fixing following modular switch/ socket on the existing modular plate and switch box / DLP U-PVC Trunking including connections but excluding modular plate etc. as required. 15/16 amp switch | 6.00 | Each | 100.00 | 130.00 | 780.00 | 195.00 | 1170.00 | 500.00 | 3000.00 | 780.00 | spkconstructionss
90.00 | Supplying and fixing following modular switch/ socket on the existing modular plate and switch box / DLP U-PVC Trunking including connections but excluding modular plate etc. as required. 3 pin 5/6 amp socket outlet | 40.00 | Each | 100.00 | 120.00 | 4800.00 | 175.00 | 7000.00 | 250.00 | 10000.00 | 4800.00 | spkconstructionss
91.00 | Supplying and fixing following modular switch/ socket on the existing modular plate and switch box / DLP U-PVC Trunking including connections but excluding modular plate etc. as required. 6 pin 15/16 amp socket outlet | 6.00 | Each | 100.00 | 180.00 | 1080.00 | 250.00 | 1500.00 | 500.00 | 3000.00 | 1080.00 | spkconstructionss
92.00 | Supplying and fixing following modular switch/ socket on the existing modular plate and switch box / DLP U-PVC Trunking including connections but excluding modular plate etc. as required. Telephone Socket out let | 2.00 | Each | 100.00 | 150.00 | 300.00 | 95.00 | 190.00 | 250.00 | 500.00 | 190.00 | SUMAN FABRICATORS AND CONTRACTORS
93.00 | Supplying and fixing following modular switch/ socket on the existing modular plate and switch box / DLP U-PVC Trunking including connections but excluding modular plate etc. as required. TV antena socket out let | 1.00 | Each | 100.00 | 150.00 | 150.00 | 105.00 | 105.00 | 500.00 | 500.00 | 105.00 | SUMAN FABRICATORS AND CONTRACTORS
94.00 | Supplying and fixing following modular switch/ socket on the existing modular plate and switch box / DLP U-PVC Trunking including connections but excluding modular plate etc. as required. Bell Push | 1.00 | Each | 100.00 | 100.00 | 100.00 | 155.00 | 155.00 | 500.00 | 500.00 | 100.00 | spkconstructionss
95.00 | Supplying and fixing following modular switch/ socket on the existing modular plate and switch box / DLP U-PVC Trunking including connections but excluding modular plate etc. as required. Computer Jack/RJ-45 Jack With Cat 6 | 4.00 | Each | 100.00 | 150.00 | 600.00 | 800.00 | 3200.00 | 500.00 | 2000.00 | 600.00 | spkconstructionss
96.00 | Supplying and fixing one module stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required. | 14.00 | Each | 100.00 | 600.00 | 8400.00 | 350.00 | 4900.00 | 300.00 | 4200.00 | 4200.00 | Nabalok Das
97.00 | Supplying and fixing modular blanking plate on the existing modular plate & switch box excluding modular plate as required. | 140.00 | Each | 100.00 | 40.00 | 5600.00 | 15.00 | 2100.00 | 50.00 | 7000.00 | 2100.00 | SUMAN FABRICATORS AND CONTRACTORS
98.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 amps modular socket outlet and 5/6 amps modular switch, connection etc. as required. | 6.00 | Each | 100.00 | 400.00 | 2400.00 | 650.00 | 3900.00 | 500.00 | 3000.00 | 2400.00 | spkconstructionss
99.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 amps modular socket outlet and 15/16 amps modular switch, connection etc. as required. | 5.00 | Each | 100.00 | 500.00 | 2500.00 | 1150.00 | 5750.00 | 500.00 | 2500.00 | 2500.00 | spkconstructionss, Nabalok Das
100.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providng and fixing 2 nos. 3 pin 5/6 amps modular socket outlets and 2 nos 5/6 amps modular switches, connection etc. as required. (For light plugs to be used in non residential buildings). | 2.00 | Each | 100.00 | 600.00 | 1200.00 | 650.00 | 1300.00 | 1000.00 | 2000.00 | 1200.00 | spkconstructionss
101.00 | Supplying and fixing of horizontal type three pole and neutral, sheet steel, PPI MCB distribution board, 415 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, cable end box, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) - 4 way (8+6+12), Double door | 2.00 | Each | 100.00 | 16000.00 | 32000.00 | 4200.00 | 8400.00 | 7000.00 | 14000.00 | 8400.00 | SUMAN FABRICATORS AND CONTRACTORS
102.00 | Supplying and fixing of single pole and neutral, sheet steel, MCB distribution board, 240 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, cable end box, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) - 12 way (2+10), Double door | 1.00 | Each | 100.00 | 3000.00 | 3000.00 | 2800.00 | 2800.00 | 5000.00 | 5000.00 | 2800.00 | SUMAN FABRICATORS AND CONTRACTORS
103.00 | Supplying and fixing of following rating/pole, 240/415 volts, "C" curve, 10kA, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. 6-32A Single pole | 12.00 | Each | 100.00 | 300.00 | 3600.00 | 350.00 | 4200.00 | 500.00 | 6000.00 | 3600.00 | spkconstructionss
104.00 | Supplying and fixing of following rating/pole, 240/415 volts, "C" curve, 10kA, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. 6-32A Double pole | 10.00 | Each | 100.00 | 600.00 | 6000.00 | 700.00 | 7000.00 | 1500.00 | 15000.00 | 6000.00 | spkconstructionss
105.00 | Supplying and fixing of following rating/pole, 240/415 volts, "C" curve, 10kA, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. 6-32A Four pole | 6.00 | Each | 100.00 | 1300.00 | 7800.00 | 1400.00 | 8400.00 | 2500.00 | 15000.00 | 7800.00 | spkconstructionss
106.00 | Supplying and fixing of following rating/pole, 240/415 volts, "C" curve, 10kA, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. 63A FP | 6.00 | Each | 100.00 | 1500.00 | 9000.00 | 1500.00 | 9000.00 | 3000.00 | 18000.00 | 9000.00 | spkconstructionss, SUMAN FABRICATORS AND CONTRACTORS
107.00 | Supplying and fixing of following double pole, 240/415 volts, isolator in the existing MCB DB complete with connections, testing and commissioning etc. as required. 40A DP | 2.00 | Each | 100.00 | 600.00 | 1200.00 | 950.00 | 1900.00 | 2000.00 | 4000.00 | 1200.00 | spkconstructionss
108.00 | Supplying and fixing of following double pole, 240/415 volts, isolator in the existing MCB DB complete with connections, testing and commissioning etc. as required. 40A FP | 2.00 | Each | 100.00 | 1000.00 | 2000.00 | 450.00 | 900.00 | 900.00 | 1800.00 | 900.00 | SUMAN FABRICATORS AND CONTRACTORS
109.00 | Supplying and fixing of fololiwng 240/415 volts, residual current circuit breaker (RCCB) in the existing MCB DB complete with connections, testing and commissioning etc. as required. 16/25A, DP (Single pole and neutral), 30mA | 10.00 | Each | 100.00 | 2000.00 | 20000.00 | 2450.00 | 24500.00 | 4500.00 | 45000.00 | 20000.00 | spkconstructionss
110.00 | Supplying and fixing of fololiwng 240/415 volts, residual current circuit breaker (RCCB) in the existing MCB DB complete with connections, testing and commissioning etc. as required. 40A, FP, 100mA | 6.00 | Each | 100.00 | 3000.00 | 18000.00 | 3200.00 | 19200.00 | 6000.00 | 36000.00 | 18000.00 | spkconstructionss
111.00 | Supplying and fixing single pole blanking plate in the existing MCB DB complete etc. as required. | 25.00 | Each | 100.00 | 20.00 | 500.00 | 15.00 | 375.00 | 50.00 | 1250.00 | 375.00 | SUMAN FABRICATORS AND CONTRACTORS
112.00 | Supplying and fixing DP sheet steel enclosure on surface/ recess along with 6- 32amps 240 volts “C” curve DP MCB complete with connections, testing and commissioning etc. as required. | 2.00 | Each | 100.00 | 1100.00 | 2200.00 | 650.00 | 1300.00 | 2000.00 | 4000.00 | 1300.00 | SUMAN FABRICATORS AND CONTRACTORS
113.00 | Supplying and fixing FP sheet steel enclosure on surface/ recess along with 6-32 Amps 415 volts “C” curve FP MCB complete with connections, testing and commissioning etc. as required. | 2.00 | Each | 100.00 | 1500.00 | 3000.00 | 1300.00 | 2600.00 | 4000.00 | 8000.00 | 2600.00 | SUMAN FABRICATORS AND CONTRACTORS
114.00 | Design, supply, installation ,testing and commissioning of 8 KVA Online UPS of Double Conversion UPS system with vector controlled IGBT technology with built-in Static and Manual Bypass Switches and Galvanic Isolation Transformer with MS/GI base frame. The incoming & outgoing supplies shall be suitable of 415V, 3 phase,4-wire, 50Hz supply. The UPS shall provide 30 minutes battery backup at full load using Sealed Lead Acid Maintenance Free batteries with powder coated MS/GI battery Racks , battery to battery inter-links, providing and laying of Battery to UPS cable of required size for each UPS including all other wiring , cabling, etc. as required and complete in all respects including all labour and material as per the relevant standards and technical specifications of tender and as per the directions of Engineer In-charge. | 1.00 | Each | 100.00 | 600000.00 | 600000.00 | 450000.00 | 450000.00 | 210000.00 | 210000.00 | 210000.00 | Nabalok Das
115.00 | Supplying and drawing following pair 0.5 mm dia FRLS PVC insulated annealed copper conductor, unarmored telephone cable in the existing surface/ recessed steel/ PVC conduit as required. 2 pair | 100.00 | Meter | 100.00 | 40.00 | 4000.00 | 42.00 | 4200.00 | 150.00 | 15000.00 | 4000.00 | spkconstructionss
116.00 | Supplying and drawing following pair 0.5 mm dia FRLS PVC insulated annealed copper conductor, unarmored telephone cable in the existing surface/ recessed steel/ PVC conduit as required. 4 pair | 100.00 | Meter | 100.00 | 60.00 | 6000.00 | 62.00 | 6200.00 | 150.00 | 15000.00 | 6000.00 | spkconstructionss
117.00 | Supplying and drawing co-axial TV cable RG-6 grade, 0.7 mm solid copper conductor PE insulated, shielded with fine tinned copper braid and protected with PVC sheath in the existing surface/ recessed steel/ PVC conduit as required. | 70.00 | Meter | 100.00 | 50.00 | 3500.00 | 52.00 | 3640.00 | 150.00 | 10500.00 | 3500.00 | spkconstructionss
118.00 | Supplying and drawing of UTP 4 Pair CAT 6 LAN Cable in the existing surface/recessed steel/ PVC conduits as required. 1 run of cable | 100.00 | Meter | 100.00 | 50.00 | 5000.00 | 35.00 | 3500.00 | 150.00 | 15000.00 | 3500.00 | SUMAN FABRICATORS AND CONTRACTORS
119.00 | Supplying and drawing of UTP 4 Pair CAT 6 LAN Cable in the existing surface/recessed steel/ PVC conduits as required. 2 run of cable | 100.00 | Meter | 100.00 | 100.00 | 10000.00 | 62.00 | 6200.00 | 150.00 | 15000.00 | 6200.00 | SUMAN FABRICATORS AND CONTRACTORS
120.00 | Supply of 20 W, 1200 mm length, 5000K, indoor surface mounted LED batten made up of Extruded aluminium/ CRCA/Standard alloy housing, integrated electronic driver along with other accessories and suitable for use on 230 volts, 50 Hz, single phase, A.C. supply | 44.00 | Each | 100.00 | 800.00 | 35200.00 | 1200.00 | 52800.00 | 1420.00 | 62480.00 | 35200.00 | spkconstructionss
121.00 | Supply of Ceiling fan, Energy Efficient BLDC type 5 star rated without regulator, suitable for operation on 220V, 50 HZ, single phase AC Supply with double ball bearing, motor, blades, MS downrod, canopy, capacitor etc.including all accessories as required. -1200mm (48") sweep | 15.00 | Each | 100.00 | 3200.00 | 48000.00 | 2600.00 | 39000.00 | 4350.00 | 65250.00 | 39000.00 | SUMAN FABRICATORS AND CONTRACTORS
122.00 | Supply of 300mm dia, 900 RPM heavy duty exhaust fan complete suitable for operation on 220V, 50Hz, single Phase AC Supply with all accessories such as, motor, blade, Bird screen, capacitor etc. including all fixing accessories as required & as per enclosed specification. | 15.00 | Each | 100.00 | 6000.00 | 90000.00 | 2300.00 | 34500.00 | 3500.00 | 52500.00 | 34500.00 | SUMAN FABRICATORS AND CONTRACTORS
123.00 | Supply of LED street light with high pressure die - cast aluminium housing with weather proof gasket , heat resistant toughned glass with IP-66, Class-1 protection and CCT of 5700K-6500K and system lumen of 10000 lm, luminaire efficacy of not less than 110Lumen/ per watt, Power factor of > 0.95 and voltage range of 140- 270V, 50Hz AC, current THD < 10% & surge protection of > 5kV to be provided with a provision for side entry mounting for 38mm OD pipe bracket. ( Similar to Philips model BRP062 LED 84 CW SLC S1 PSU or approved equivalent.) | 11.00 | Each | 100.00 | 4300.00 | 47300.00 | 12500.00 | 137500.00 | 10000.00 | 110000.00 | 47300.00 | spkconstructionss
124.00 | Installation, testing and commissioning of pre-wired, LED Fittings / fluorescent fitting / compact fluorescent fitting of all types, complete with all accessories and tube etc. directly on ceiling / wall / false ceiling , including connection with 1.5 sq. mm PVC insulated, copper conductor, three core cable and earthing etc. as required. | 45.00 | Each | 100.00 | 100.00 | 4500.00 | 210.00 | 9450.00 | 300.00 | 13500.00 | 4500.00 | spkconstructionss
125.00 | Installation, testing and commissioning of ceiling fan, including wiring the down rods of standard length (upto 30 cm) with 1.5 sq. mm PVC insulated, copper conductor, three core cable etc. as required. | 15.00 | Each | 100.00 | 200.00 | 3000.00 | 220.00 | 3300.00 | 300.00 | 4500.00 | 3000.00 | spkconstructionss
126.00 | Installation of exhaust fan in the existing opening, including making good the damage, connection, testing, commissioning etc. as required including connection with 1.5 sq. mm PVC insulated, copper conductor, three core cable and earthing etc. as required. - Upto 450 mm sweep | 15.00 | Each | 100.00 | 300.00 | 4500.00 | 450.00 | 6750.00 | 300.00 | 4500.00 | 4500.00 | spkconstructionss, Nabalok Das
127.00 | Numbering of ceiling fan/ exhaust fan/ fluorescent fittings as required. | 90.00 | Each | 100.00 | 30.00 | 2700.00 | 150.00 | 13500.00 | 100.00 | 9000.00 | 2700.00 | spkconstructionss
128.00 | Providing and Fixing in position of vertical storage type Electrical Water heaters (energy efficient 5 star rated) with copper container, insulation, and stove enameled M.S. jacket, thermostatically controlled immersion heater, with pilot lamp, 15/20mm dia inlet with non return valve and 15/20mm dia outlet including making connections complete in all respects. (wall mounted with suitable M.S. bolts and nuts)- Capacity 25 Ltrs. | 2.00 | Each | 100.00 | 13000.00 | 26000.00 | 15500.00 | 31000.00 | 15000.00 | 30000.00 | 26000.00 | spkconstructionss
129.00 | Supply, Installation, Testing And Commissioning of fully automatic stainless steel sensor operated hand dryers with safety thermal cut-off , operated on Single Phase 230 +/- 10 V, 50 HZ power supply etc. complete as required. | 4.00 | Each | 100.00 | 3500.00 | 14000.00 | 15000.00 | 60000.00 | 12500.00 | 50000.00 | 14000.00 | spkconstructionss
130.00 | Supply and installation of Water cooler of capacity 80 lt storage, 40ltrs per hour cooling capacity self contained storage type drinking water cooler suitable for operation on 230 v +/- 10 %, 50 Hz, single phase A.C. supply. Water Cooler with stainless Steel Storage Tank, All the four sides panel fitted with Stainless steel sheet (SS 304), with inbuilt RO,UV, 2LPM and 6 stage purification unit fitted with suitable Compressors and with 02 faucets (normal and cold) etc. complete as requied. | 1.00 | Each | 100.00 | 50000.00 | 50000.00 | 230000.00 | 230000.00 | 130000.00 | 130000.00 | 50000.00 | spkconstructionss
131.00 | Supply of 1.5TR/5200 Kw.hr or above inverter Type Split Type Air Conditioners (with 5 star rating from BEE) with Hermetically Sealed Rotary/ Scroll Compressors, Operating on Refrigerant R32 or equivalent eco friendly refrigerant gas suitable for wall mounting suitable for operation on 230 V, 50 Hz. Single Phase, AC Supply with copper condenser tubes capable of performing: Dehumidifying, Air Circulating, Filtering with standard length of copper refrigerant pipes, thermal insulation, interconnecting PVC Copper power cable, UPVC Drain pipe, LCD cordless remote etc. complete as required. | 1.00 | Each | 100.00 | 52000.00 | 52000.00 | 39000.00 | 39000.00 | 50000.00 | 50000.00 | 39000.00 | SUMAN FABRICATORS AND CONTRACTORS
132.00 | Installation, testing and Commissioning of 1.5 TR Air conditioning unit including civil work such as drilling for hole, painting, finish with the same and interconnection of refrigerant pipelines, copper Pipe Insulation and control cables comprising including first charge of refrigerant etc. complete as required. | 1.00 | Each | 100.00 | 3000.00 | 3000.00 | 2000.00 | 2000.00 | 2000.00 | 2000.00 | 2000.00 | Nabalok Das, SUMAN FABRICATORS AND CONTRACTORS
133.00 | Design, manufacturer and supply of 8 mtrs. Long OCTAGONAL continuously tapered galvanised street light pole with single arm of GI pipe bracket of 1000 mm long (each length) for installation of LED luminaire fabricated out of 3 mm MS plate, in single section, suitable for installation on a precast foundation i/c. supply of 4 nos. of foundation bolt & anchor plate, rigid flange plate welded with the base of pole for fixing on foundation bolts complete as reqd. for structural stability as specified, weather proof and vandal resistance door of height not less than 300 mm flush with the exterior surface containing a terminal plate of 4 mm thick backlite sheet with 4 way, 63 Amp epoxy connector & insulated caps for loop in loop out cable terminations suitable for upto three numbers 4 core,10 / 16 Sq.mm cables & 6A, DP MCB for each fixture connections, earthing bolts for continuous earth connections complete as required & as specified: The pole Top & Bottom outer dia shall not be less than 70mm & 150mm respectively. | 4.00 | Each | 100.00 | 11000.00 | 44000.00 | 12300.00 | 49200.00 | 22000.00 | 88000.00 | 44000.00 | spkconstructionss
134.00 | Installation, testing and commissioning of 8 Mtr. long GI pole, bracket and LED street light fitting with all accessories including casting of cement concrete foundation of M-25 grade as per approved foundation drawing suitable for the pole metioned below including excavation of pit of required size, allignment of anchor plate, foundation bolts (supplied with pole to match with pole base plate),i/c providing and fixing of HDPE pipe of size 50 mm OD as per IS 14930 part -II in the foundation pit for loop-in-loop-out cables to the pole complete as required and as specified. Pole with single Arm. | 4.00 | Each | 100.00 | 2000.00 | 8000.00 | 5500.00 | 22000.00 | 3000.00 | 12000.00 | 8000.00 | spkconstructionss
135.00 | Supplying of following sizes of 1.1 KV grade, XLPE insulated, Aluminium conductor armoured Power Cable conforming to IS 7098 Part-I with up to date amendments complete as required as per specifications. 3.5 core, 50 sq.mm | 200.00 | Meter | 100.00 | 390.00 | 78000.00 | 595.00 | 119000.00 | 290.00 | 58000.00 | 58000.00 | Nabalok Das
136.00 | Supplying of following sizes of 1.1 KV grade, XLPE insulated, Aluminium conductor armoured Power Cable conforming to IS 7098 Part-I with up to date amendments complete as required as per specifications. 4 core, 16 sq.mm | 400.00 | Meter | 100.00 | 190.00 | 76000.00 | 395.00 | 158000.00 | 380.00 | 152000.00 | 76000.00 | spkconstructionss
137.00 | Laying and fixing of one PVC insulated and PVC sheathed/XLPE power cable of 1.1 KV grade of following size on wall surface as required. 50 Sq.mm | 200.00 | Metre | 100.00 | 35.00 | 7000.00 | 180.00 | 36000.00 | 120.00 | 24000.00 | 7000.00 | spkconstructionss
138.00 | Laying and fixing of one PVC insulated and PVC sheathed/XLPE power cable of 1.1 KV grade of following size on wall surface as required. Upto 35 sq. mm (clamped with 1mm thick saddle) | 400.00 | Meter | 100.00 | 50.00 | 20000.00 | 155.00 | 62000.00 | 100.00 | 40000.00 | 20000.00 | spkconstructionss
139.00 | Supplying and making end termination with brass compression gland and aluminium lugs and aluminium lugs for following size of PVC insulated and PVC sheathed/ XLPE aluminium conductor cable 1.1 KV grade as required. 3.5C 50 sq. mm (35 mm) | 4.00 | Each | 100.00 | 600.00 | 2400.00 | 795.00 | 3180.00 | 400.00 | 1600.00 | 1600.00 | Nabalok Das
140.00 | Supplying and making end termination with brass compression gland and aluminium lugs and aluminium lugs for following size of PVC insulated and PVC sheathed/ XLPE aluminium conductor cable 1.1 KV grade as required. 4C 16 sq. mm (28 mm) | 10.00 | Each | 100.00 | 300.00 | 3000.00 | 440.00 | 4400.00 | 400.00 | 4000.00 | 3000.00 | spkconstructionss
141.00 | Design, manufacture , supply , installation, testing and commissioning of Feeder Pillar Outdoor Type made of 2 mm thick CRCA sheet, legs , double doors & partitions complete with, moulded case circuit breakers, meters, indicating lamps etc., insulated bus bars with heat shrinkable PVC sleeve in suitable bus bar chambers, interconnection,bus bar shrouds at joints, wiring, name plate, danger plate, earth bus etc. & comprising of compartments with hinged door for each feeder & its accessories, cable alley with hinged doors, bus chamber with bolted door etc. The feeder pillar shall be dust & vermin proof construction with rubber gasket and powder coated . The feeder pillar shall be completely modular and compartmentalised with Form 4B Seperation. The feeder pillar shall be free standing and installed on suitable foundation . a) 160A, 25 kA, 4P MCCB with Thermal Magnetic release for SC, OC & EF releases as incomer with R,Y,B,ON, OFF, Trip indication lamps, resin cast CT's with multifuction meter -1 set as incomer b) 63A, 10 kA, 4P MCCB - 2 Nos. as outgoing c) 32A, 10 kA, 4P MCCB - 4 Nos. as outgoing d) spare compartments for future outgoing - 2 Nos. without switchgears. b. Street light control with 1 No. 32A, 4P, 10kA MCCB with 1 No. astonomical timer and 20A TP/4P contactor with Auto/manual switch - 1 No. 200A , 25kA, 4 Pole, Al. Busbar insulated with heat shrinkable sleeves and shall be colour coded. The neutral busbar shall be 100% rated. | 1.00 | Each | 100.00 | 200000.00 | 200000.00 | 225000.00 | 225000.00 | 190000.00 | 190000.00 | 190000.00 | Nabalok Das
142.00 | Earthing with G.I. earth pipe 4.5 meter long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required. | 5.00 | Job | 100.00 | 7000.00 | 35000.00 | 5500.00 | 27500.00 | 9600.00 | 48000.00 | 27500.00 | SUMAN FABRICATORS AND CONTRACTORS
143.00 | Supplying and laying 25 mm X 5 mm G.I strip at 0.50 Meter below ground as strip earth electrode, including connection/ terminating with G.I. nut, bolt, spring, washer etc. as required. (Jointing shall be done by overlapping and with 2 sets of G.I. nut bolt & spring washer spaced at 50mm) | 25.00 | Meter | 100.00 | 230.00 | 5750.00 | 175.00 | 4375.00 | 300.00 | 7500.00 | 4375.00 | SUMAN FABRICATORS AND CONTRACTORS
144.00 | Providing and fixing 25 mm X 5 mm G.I. strip in 40 mm dia G.I. pipe from earth electrode including connection with G.I. nut, bolt, spring, washer excavation and re-filling etc. as required. | 25.00 | Meter | 100.00 | 450.00 | 11250.00 | 890.00 | 22250.00 | 600.00 | 15000.00 | 11250.00 | spkconstructionss
145.00 | Providing and fixing 25 mm X 5 mm G.I. strip on surface or in recess for connections etc. as required. | 250.00 | Meter | 100.00 | 200.00 | 50000.00 | 240.00 | 60000.00 | 90.00 | 22500.00 | 22500.00 | Nabalok Das
146.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing as required | 400.00 | Meter | 100.00 | 20.00 | 8000.00 | 120.00 | 48000.00 | 60.00 | 24000.00 | 8000.00 | spkconstructionss
| Total in Figures |  |  |  |  | 8893908.88 |  | 9984871.64 |  | 8872338.02
Lowest Amount Quoted BY: Nabalok Das(8872338.02)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of Emergency Medical Centre at Coimbatore International Airport Tender ID: 2024_AAI_219381_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Nabalok Das (BID ID -802276) | 8872338.02 | L1
| 2 | spkconstructionss (BID ID -802127) | 8893908.88 | L2
| 3 | SUMAN FABRICATORS AND CONTRACTORS (BID ID -802764) | 9984871.64 | L3