## BoQ1
Government eProcurement System Created By: Mukesh Meena Created Date/Time: 14-Feb-2025 03:53 PM Tender Title: Replacement of UPS at ATC Sky Tower, C.S.M.I. Airport, Mumbai Tender ID: 2024_AAI_220080_1
Tender Inviting Authority: Senior Manager (Engg.-Elect.), ATS Complex, Mumbai.
Name of Work: "Replacement of UPS at ATC Sky tower, C.S.M.I.Airport, Mumbai”
Contract No: MUM/ATS/ENGG-E/eNIT-05/2024-25
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | PACARD POWER PVT. LTD. (GSTN-24AAFCP7542Q2ZT) BID ID -797873 |  | POWER ONE MICRO SYSTEMS PVT LTD (GSTN-29AABCP6384L1ZS) BID ID -806732 |  | Network Techlab India Pvt Ltd (GSTN-NA) BID ID -795109
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I :S.I.T.C. and Dismantling of UPS
2.00 | Supply, installation, testing and commissioning of 60 KVA, 415 V, 3 phase (in & out), 50 Hz. online UPS System to provide backup for minimum 30 minutes with specifications as per the technical data sheet in the tender document including 1 year warranty. Make of the UPS shall be as per the Preferred make list of AAI in the tender document. | 2.00 | Job |  | 884046.00 | 1768092.00 | 500000.00 | 1000000.00 | 730950.00 | 1461900.00 | 1000000.00 | POWER ONE MICRO SYSTEMS PVT LTD
3.00 | Supply, installation, testing and commissioning of the Battery Bank of consisting of 40 nos., 100 Ah (or equivalent configuration for 30 mins. back-up suitable for UPS in item no. 1 at full load as per O.E.M. recommendation), SMF type Batteries, with 2 years warranty along with all connections, interconnection as required as per the site requirement. The Battery bank including rack is to be supplied and installed in multiple layer storage of the battery bank. Make of the battery shall be as per the Preferred make list of AAI in the tender document. | 2.00 | Job |  | 491111.00 | 982222.00 | 500000.00 | 1000000.00 | 315000.00 | 630000.00 | 630000.00 | Network Techlab India Pvt Ltd
4.00 | Dismantling of the existing 2 x 60 KVA UPS system alonwith Battery bank and its accessories from the site, by carefully removing all connection / interconnection/ cable termination for future use and without disturbing Operations at ATC Sky Tower, Mumbai. The dismantling of the UPS has to be carried out in close coordination with AAI so that existing operations are not disturbed. | 1.00 | Job |  | 25000.00 | 25000.00 | 40000.00 | 40000.00 | 30000.00 | 30000.00 | 25000.00 | PACARD POWER PVT. LTD.
5.00 | Transportation of the dismantled UPS from ATC Sky Tower to ATS Complex, Mumbai approximately 4.5 kms. including Properly Loading and Unloading of the 2 x 60 KVA UPS system along with battery bank and its accessories. | 1.00 | Job |  | 10000.00 | 10000.00 | 60000.00 | 60000.00 | 20000.00 | 20000.00 | 10000.00 | PACARD POWER PVT. LTD.
6.00 | SH-II: All inclusive Comprehensive Maintenance Contract (A.I.C.M.C.) after DLP of 01 (One) Year
7.00 | All inclusive comprehensive maintenance contract for the 2 x 60 KVA UPS system
8.00 | (a) 1st Year after DLP | 1.00 | Job/Year |  | 88404.60 | 88404.60 | 50000.00 | 50000.00 | 73095.00 | 73095.00 | 50000.00 | POWER ONE MICRO SYSTEMS PVT LTD
9.00 | (b) 2nd Year after DLP | 1.00 | Job/Year |  | 92824.83 | 92824.83 | 52500.00 | 52500.00 | 76749.75 | 76749.75 | 52500.00 | POWER ONE MICRO SYSTEMS PVT LTD
10.00 | (c) 3rd Year after DLP | 1.00 | Job/Year |  | 97466.07 | 97466.07 | 55125.00 | 55125.00 | 80587.24 | 80587.24 | 55125.00 | POWER ONE MICRO SYSTEMS PVT LTD
11.00 | (d) 4th Year after DLP | 1.00 | Job/Year |  | 102339.37 | 102339.37 | 57881.25 | 57881.25 | 84616.60 | 84616.60 | 57881.25 | POWER ONE MICRO SYSTEMS PVT LTD
12.00 | (e) 5th Year after DLP | 1.00 | Job/Year |  | 107456.34 | 107456.34 | 60775.31 | 60775.31 | 88847.43 | 88847.43 | 60775.31 | POWER ONE MICRO SYSTEMS PVT LTD
| Total in Figures |  |  |  |  | 3273805.21 |  | 2376281.56 |  | 2545796.02
Lowest Amount Quoted BY: POWER ONE MICRO SYSTEMS PVT LTD(2376281.56)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of UPS at ATC Sky Tower, C.S.M.I. Airport, Mumbai Tender ID: 2024_AAI_220080_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | POWER ONE MICRO SYSTEMS PVT LTD (BID ID -806732) | 2376281.56 | L1
| 2 | Network Techlab India Pvt Ltd (BID ID -795109) | 2545796.02 | L2
| 3 | PACARD POWER PVT. LTD. (BID ID -797873) | 3273805.21 | L3