## BoQ1
Government eProcurement System Created By: Shobhit Krishna Created Date/Time: 04-Feb-2025 05:54 PM Tender Title: Misc. civil maintenance works in Terminal Building and operational area at Maharana Pratap Airport, Udaipur Tender ID: 2024_AAI_220315_1
Tender Inviting Authority: Asstt. Gen. Manager(Engg.-Civil), AAI, M.P. Airport, Udaipur
Name of Work: Misc. civil maintenance works in Terminal Building and operational area at Maharana Pratap Airport, Udaipur
Contract No: AAI/UDR/AGM(E-C)/W-151/24-25/
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | RAJKUMAR AGRWAL (GSTN-23AAYPA8214G2ZQ) BID ID -807741 |  | Dajraj Soni (GSTN-24AAJPD3204C1ZL) BID ID -812465 |  | Lok Shail Enterprises (GSTN-08ACXPK9891L1ZA) BID ID -812833 |  | BALVIR SINGH AND SONS (GSTN-NA) BID ID -810564
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Excavating, supplying and filling of local earth (including royalty) by mechanical transport upto a lead of 5km also including ramming and watering of the earth in available layers not exceeding 20 cm in trenches, plinth, sides of foundation etc. complete. | 2049.00 | cum | 0.00 | 350.00 | 717150.00 | 300.00 | 614700.00 | 127.00 | 260223.00 | 605.00 | 1239645.00 | 260223.00 | Lok Shail Enterprises
2.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 Cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 64.00 | cum | 0.00 | 6000.00 | 384000.00 | 4200.00 | 268800.00 | 4500.00 | 288000.00 | 6357.00 | 406848.00 | 268800.00 | Dajraj Soni
3.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources | 10.00 | cum | 0.00 | 5200.00 | 52000.00 | 4000.00 | 40000.00 | 4350.00 | 43500.00 | 5775.00 | 57750.00 | 40000.00 | Dajraj Soni
4.00 | Centering and shuttering including strutting, propping etc. and removal of form for Foundations, footings, bases of columns, etc. for mass concrete | 30.00 | Sqm | 0.00 | 500.00 | 15000.00 | 392.00 | 11760.00 | 300.00 | 9000.00 | 305.00 | 9150.00 | 9000.00 | Lok Shail Enterprises
5.00 | Brick work with fire bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:4 (1 cement : 4 coarse sand) | 5.00 | cum | 0.00 | 6800.00 | 34000.00 | 4800.00 | 24000.00 | 5000.00 | 25000.00 | 15075.00 | 75375.00 | 24000.00 | Dajraj Soni
6.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:4 (1 cement : 4 coarse sand) | 5.00 | Cum | 0.00 | 6800.00 | 34000.00 | 5500.00 | 27500.00 | 5000.00 | 25000.00 | 7657.00 | 38285.00 | 25000.00 | Lok Shail Enterprises
7.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. Granite stone slab colour black, Cherry/Ruby red Area of slab over 0.50 sqm. | 10.00 | Sqm | 0.00 | 2300.00 | 23000.00 | 3200.00 | 32000.00 | 2200.00 | 22000.00 | 4575.00 | 45750.00 | 22000.00 | Lok Shail Enterprises
8.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) decorative type, core of block board construction with frame of 1st class hard wood and well matched teak 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws. | 14.00 | Sqm | 0.00 | 1900.00 | 26600.00 | 1901.00 | 26614.00 | 1800.00 | 25200.00 | 2775.00 | 38850.00 | 25200.00 | Lok Shail Enterprises
9.00 | Providing & Fixing decorative high pressure laminated sheet of plain / wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality. 1.0 mm thick | 27.00 | Sqm | 0.00 | 1000.00 | 27000.00 | 897.00 | 24219.00 | 900.00 | 24300.00 | 757.00 | 20439.00 | 20439.00 | BALVIR SINGH AND SONS
10.00 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with pigments matching tile front etc., complete. Size of Tile 600x600 mm. | 80.00 | sqm | 0.00 | 1100.00 | 88000.00 | 940.00 | 75200.00 | 1000.00 | 80000.00 | 1307.00 | 104560.00 | 75200.00 | Dajraj Soni
11.00 | Providing and laying flamed finish Granite stone flooring in required design and patterns, in linear as well as curvilinear portions of the building all complete as per the architectural drawings with 18 mm thick stone slab over 20 mm (average) thick base of cement mortar 1:4 (1 cement : 4 coarse sand) laid and jointed with cement slurry and pointing with white cement slurry admixed with pigment of matching shade including rubbing, curing and polishing etc. all complete as specified and as directed by the Engineer-in-Charge : Flamed finish granite stone slab Jet Black, Cherry Red, Elite Brown, Cat Eye or equivalent | 20.00 | Sqm | 0.00 | 2800.00 | 56000.00 | 2201.00 | 44020.00 | 2250.00 | 45000.00 | 3575.00 | 71500.00 | 44020.00 | Dajraj Soni
12.00 | Providing and laying Polished Granite stone flooring in required design and patterns, in linear as well as curvilinear portions of the building all complete as per the architectural drawings with 18 mm thick stone slab over 20 mm (average) thick base of cement mortar 1:4 (1 cement : 4 coarse sand) laid and jointed with cement slurry and pointing with white cement slurry admixed with pigment of matching shade including rubbing, curing and polishing etc. all complete as specified and as directed by the Engineer-in-Charge. Polished Granite stone slab colour of Black, Cherry/Ruby Red or equivalent | 80.00 | Sqm | 0.00 | 2200.00 | 176000.00 | 2501.00 | 200080.00 | 2250.00 | 180000.00 | 4257.00 | 340560.00 | 176000.00 | RAJKUMAR AGRWAL
13.00 | Providing 10 mm thick plaster of Paris (gypsum anhydrous) ceiling up to a height of 5 m above floor level, over first class kail wood strips 25x6 mm with 10 mm gap in between and reinforced with rabbit wire mesh fixed to wooden frame (frame work to be paid separately): Flat surfaces | 88.00 | sqm | 0.00 | 990.00 | 87120.00 | 900.00 | 79200.00 | 900.00 | 79200.00 | 1557.00 | 137016.00 | 79200.00 | Dajraj Soni, Lok Shail Enterprises
14.00 | Providing and fixing for drainage system unplasticised Rigid PVC SWR Pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, including all fittings & fixtures. including fixing the pipe with clamps at 1.00 m spacing. complete as per direction of Engineer in Charge. (i) Single socketed pipes 75 mm diameter | 120.00 | Metre | 0.00 | 190.00 | 22800.00 | 110.00 | 13200.00 | 100.00 | 12000.00 | 175.00 | 21000.00 | 12000.00 | Lok Shail Enterprises
15.00 | Providing and fixing for drainage system unplasticised Rigid PVC SWR Pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, including all fittings & fixtures. including fixing the pipe with clamps at 1.00 m spacing. complete as per direction of Engineer in Charge. (i) Single socketed pipes 110 mm diameter | 120.00 | Metre | 0.00 | 280.00 | 33600.00 | 151.00 | 18120.00 | 350.00 | 42000.00 | 295.00 | 35400.00 | 18120.00 | Dajraj Soni
16.00 | 12 mm cement plaster of mix : 1:6 (1 cement: 6 fine sand). | 378.00 | Sqm | 0.00 | 250.00 | 94500.00 | 204.00 | 77112.00 | 250.00 | 94500.00 | 295.00 | 111510.00 | 77112.00 | Dajraj Soni
17.00 | 15 mm cement plaster on the rough side of single or half brick wall of mix : 1:6 (1 cement: 6 fine sand) | 50.00 | Sqm | 0.00 | 270.00 | 13500.00 | 234.00 | 11700.00 | 300.00 | 15000.00 | 345.00 | 17250.00 | 11700.00 | Dajraj Soni
18.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work | 100.00 | Sqm | 0.00 | 100.00 | 10000.00 | 90.00 | 9000.00 | 100.00 | 10000.00 | 175.00 | 17500.00 | 9000.00 | Dajraj Soni
19.00 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade:New work (Two or more coats applied @ 1.43 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm | 50.00 | Sqm | 0.00 | 150.00 | 7500.00 | 90.00 | 4500.00 | 80.00 | 4000.00 | 157.00 | 7850.00 | 4000.00 | Lok Shail Enterprises
20.00 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 5.00 | Cum | 0.00 | 1500.00 | 7500.00 | 1700.00 | 8500.00 | 1000.00 | 5000.00 | 2775.00 | 13875.00 | 5000.00 | Lok Shail Enterprises
21.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. In cement mortar | 8.00 | Cum | 0.00 | 200.00 | 1600.00 | 1200.00 | 9600.00 | 500.00 | 4000.00 | 1575.00 | 12600.00 | 1600.00 | RAJKUMAR AGRWAL
22.00 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : Of area 3 sq. metres and below. | 8.00 | Each | 0.00 | 200.00 | 1600.00 | 122.00 | 976.00 | 200.00 | 1600.00 | 325.00 | 2600.00 | 976.00 | Dajraj Soni
23.00 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. For thickness of tiles 10 mm to 25 mm. | 88.00 | Sqm | 0.00 | 100.00 | 8800.00 | 50.00 | 4400.00 | 50.00 | 4400.00 | 57.00 | 5016.00 | 4400.00 | Dajraj Soni, Lok Shail Enterprises
24.00 | Dismantling stone slab flooring laid in cement mortar including stacking of serviceable material and disposal of unserviceable material within 50 metres lead. | 100.00 | Sqm | 0.00 | 100.00 | 10000.00 | 150.00 | 15000.00 | 100.00 | 10000.00 | 185.00 | 18500.00 | 10000.00 | RAJKUMAR AGRWAL, Lok Shail Enterprises
25.00 | Dismantling of flushing cistern of all types (C.I./PVC/Vitrious China) including stacking of useful materials near the site and disposal of unserviceable materials within 50 metres lead. | 17.00 | Each | 0.00 | 200.00 | 3400.00 | 50.00 | 850.00 | 200.00 | 3400.00 | 105.00 | 1785.00 | 850.00 | Dajraj Soni
26.00 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | 90.00 | Sqm | 0.00 | 50.00 | 4500.00 | 40.00 | 3600.00 | 50.00 | 4500.00 | 35.00 | 3150.00 | 3150.00 | BALVIR SINGH AND SONS
27.00 | Construction of granular sub-base by providing close graded Material conforming to specifications, mixing in a mechanical mix plant at OMC, carriage of mixed material by tippers to work site, for all leads & lifts, spreading in uniform layers of specified thickness with motor grader on prepared surface and compacting with vibratory power roller to achieve the desired density, complete as per specifications and directions of Engineer-in-Charge. With material conforming to Grade-II (size range 53 mm to 0.075 mm ) having CBR Value-25 | 43.00 | cum | 0.00 | 1500.00 | 64500.00 | 1600.00 | 68800.00 | 2000.00 | 86000.00 | 2275.00 | 97825.00 | 64500.00 | RAJKUMAR AGRWAL
28.00 | Providing and fixing toilet paper holder : C.P. brass | 17.00 | Each | 0.00 | 800.00 | 13600.00 | 690.00 | 11730.00 | 600.00 | 10200.00 | 675.00 | 11475.00 | 10200.00 | Lok Shail Enterprises
29.00 | Cutting chases in brick masonry walls for following diameter sand cast iron/centrifugally cast (spun) iron pipes and making good the same with cement concrete 1:3:6 ( 1 cement : 3 coarse sand :6 graded stone aggregate 12.5 mm nominal size), including necessary plaster and pointing in cement mortar 1:4 (1 cement : 4 coarse sand) : 75 mm dia | 100.00 | Mtr | 0.00 | 100.00 | 10000.00 | 450.00 | 45000.00 | 100.00 | 10000.00 | 345.00 | 34500.00 | 10000.00 | RAJKUMAR AGRWAL, Lok Shail Enterprises
30.00 | Providing and fixing CP Brass 32mm size Bottle Trap of approved quality & make and as per the direction of Engineer-in-charge. | 17.00 | Each | 0.00 | 800.00 | 13600.00 | 901.00 | 15317.00 | 1500.00 | 25500.00 | 805.00 | 13685.00 | 13600.00 | RAJKUMAR AGRWAL
31.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. 15 mm nominal outer dia Pipes. | 110.00 | Mtr. | 0.00 | 160.00 | 17600.00 | 90.00 | 9900.00 | 200.00 | 22000.00 | 235.00 | 25850.00 | 9900.00 | Dajraj Soni
32.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall 20 mm nominal dia Pipes | 110.00 | meter | 0.00 | 190.00 | 20900.00 | 110.00 | 12100.00 | 250.00 | 27500.00 | 275.00 | 30250.00 | 12100.00 | Dajraj Soni
33.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. 25 mm nominal outer dia Pipes. | 110.00 | Mtr. | 0.00 | 230.00 | 25300.00 | 140.00 | 15400.00 | 350.00 | 38500.00 | 345.00 | 37950.00 | 15400.00 | Dajraj Soni
34.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. 32 mm nominal outer dia Pipes. | 110.00 | Mtr. | 0.00 | 280.00 | 30800.00 | 165.00 | 18150.00 | 350.00 | 38500.00 | 435.00 | 47850.00 | 18150.00 | Dajraj Soni
35.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall 40 mm nominal dia Pipes | 110.00 | meter | 0.00 | 380.00 | 41800.00 | 250.00 | 27500.00 | 450.00 | 49500.00 | 575.00 | 63250.00 | 27500.00 | Dajraj Soni
36.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. 50 mm nominal outer dia Pipes. | 60.00 | Mtr. | 0.00 | 680.00 | 40800.00 | 441.00 | 26460.00 | 500.00 | 30000.00 | 735.00 | 44100.00 | 26460.00 | Dajraj Soni
37.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. 80 mm nominal dia Pipes | 40.00 | Mtr. | 0.00 | 1800.00 | 72000.00 | 1200.00 | 48000.00 | 600.00 | 24000.00 | 1475.00 | 59000.00 | 24000.00 | Lok Shail Enterprises
38.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : Powder coated aluminium (minimum thickness of powder coating 50 micron) | 98.00 | kg | 0.00 | 550.00 | 53900.00 | 451.00 | 44198.00 | 450.00 | 44100.00 | 525.00 | 51450.00 | 44100.00 | Lok Shail Enterprises
39.00 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : 15 mm nominal bore. Make : Jaquar KUP-35037PM bib cock with wall flange or equivalent as per the direction of EIC. | 20.00 | Each | 0.00 | 1200.00 | 24000.00 | 2000.00 | 40000.00 | 2000.00 | 40000.00 | 1575.00 | 31500.00 | 24000.00 | RAJKUMAR AGRWAL
40.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 15mm nominal bore. Make : Jaquar KWP-350353 PM, angle valve stop cock with wall flange or equivalent as per the direction of EIC. | 37.00 | Each | 0.00 | 1500.00 | 55500.00 | 1450.00 | 53650.00 | 1500.00 | 55500.00 | 1485.00 | 54945.00 | 53650.00 | Dajraj Soni
41.00 | Providing & fixing chrome plated brass battery based infrared sensor operated pillar cock, having foam flow technology. Make : Jaquar SNR-35017 PMPIC kubix prime toll body sensor faucet wash basin with pre mixed water supply kit (Battery operated) or equivalent as per the direction of EIC. | 17.00 | Each | 0.00 | 8000.00 | 136000.00 | 12001.00 | 204017.00 | 10000.00 | 170000.00 | 13005.00 | 221085.00 | 136000.00 | RAJKUMAR AGRWAL
42.00 | Providing and fixing white vitreous china under counter wash basin with fixing accessories including making all connections. Make : Jaquar FLS-WHT-5701 size 560x430x195 mm, shape oval or Make : Roca Berna model RS327871461 of size 560x420 mm or equivalent as per the direction of EIC. | 17.00 | Each | 0.00 | 3000.00 | 51000.00 | 3200.00 | 54400.00 | 3000.00 | 51000.00 | 3507.00 | 59619.00 | 51000.00 | RAJKUMAR AGRWAL, Lok Shail Enterprises
43.00 | Providing and fixing white vitreous china extended wall mounting water closet of approved shape including providing & fixing white single piece slim concealed cistern with wall mounting frame of flushing capacity 3 litre/ 6 litre (adjustable to 4 litre/ 8 litres), including seat cover, and cistern fittings, nuts, bolts and gasket etc complete. Make : Jaquar CNS-WHT-963UFSM, rimless wall hang WC with UF soft close slim seat cover, Hinges, accessories set, size 380x515x360 mm along with Jaguar JCS-WHT-2400WS, Single piece slim concealed cistern with wall mounting frame, installation kit and "s-type" drain pipe connection set or Make : Roca , Rim less Gap round wall hung WC of model RS3460NL000 with US soft close slim seat cover, Hinges, accessories set, of Model RA801D12003 or equivalent as per the direction of EIC. | 15.00 | Each | 0.00 | 15000.00 | 225000.00 | 12501.00 | 187515.00 | 15000.00 | 225000.00 | 15075.00 | 226125.00 | 187515.00 | Dajraj Soni
44.00 | Providing and fixing hand shower (health faucet) with 1m long flex tube in crome finish & wall hook etc. all complete as per direction of Engineer in charge. (Make Jaquar - ALD-565 or equivalent) | 17.00 | Each | 0.00 | 2000.00 | 34000.00 | 1111.00 | 18887.00 | 1000.00 | 17000.00 | 1275.00 | 21675.00 | 17000.00 | Lok Shail Enterprises
45.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by the manufacturer), with water absorption less than 0.08% and conforming to IS: 15622, of approved brand & manufacturer, in all colours and shade, in skirting, riser of steps, walls, etc. laid with cement based high polymer modified quick set tile Grey, polymer modified adhesive (water based) conforming to IS: 15477, in average 6 mm thickness complete as per the direction of EIC. Size of Tile 600x1200 mm. | 378.00 | sqm | 0.00 | 1300.00 | 491400.00 | 891.00 | 336798.00 | 1000.00 | 378000.00 | 1975.00 | 746550.00 | 336798.00 | Dajraj Soni
46.00 | Providing & fixing CP Brass Robe hook (Make Jaguar AQN - 7791) or equivalent complete as per direction of Engineer-In-Charge. | 17.00 | Each | 0.00 | 500.00 | 8500.00 | 950.00 | 16150.00 | 700.00 | 11900.00 | 1395.00 | 23715.00 | 8500.00 | RAJKUMAR AGRWAL
47.00 | Providing and fixing white vitreous china battery based infrared sensor operated urinal having pre & post flushing with water (250 ml & 500 ml consumption), having water inlet from back side, including fixing to wall with suitable brackets all as per manufacturers specification and direction of Engineer-in-charge. (including the cost of sensor). Urinal Make : Jaquar, URS-WHT-13255 Urinal without senser with fixing accessories set of size 480x300x740 mm Urinal Make : Roca Model no. RS35960B000, without senser with fixing accessories set. Sensor make : Jaquar SNR-51097, sensor flushing valve for urinal with complete kit (battery operated) Sensor make : Sentronic-R electronic urinal flush valve concealed box dimensions : 110x110x92 front plate dimension : 120x120, trim sentronic-R panel chrome model No. RT5A8202AON, or equivalent as per the direction of EIC. | 14.00 | Each | 0.00 | 18000.00 | 252000.00 | 10200.00 | 142800.00 | 16500.00 | 231000.00 | 12075.00 | 169050.00 | 142800.00 | Dajraj Soni
48.00 | Providing and fixing Liquid Soap dispenser of following make Make : Jaquar soap dispenser-push button SDR-WHT-DJ0010F, capacity 0.80 ltr., Material ABS, finish : white, or equivalent as per the direction of EIC. | 12.00 | Each | 0.00 | 1200.00 | 14400.00 | 1101.00 | 13212.00 | 1000.00 | 12000.00 | 1325.00 | 15900.00 | 12000.00 | Lok Shail Enterprises
49.00 | Providing & fixing wall mounted paper towel dispenser of make - Jaguar PTD-SAP-DT0106CS or equivalent, with all necessary fitting and fixture complete as per direction of Engineer-In-Charge | 8.00 | Each | 0.00 | 4500.00 | 36000.00 | 5551.00 | 44408.00 | 5000.00 | 40000.00 | 7015.00 | 56120.00 | 36000.00 | RAJKUMAR AGRWAL
50.00 | Providing and fixing as per manufacturers' instructions, 600 mm long Wall mountable Grab Bars made of stainless steel with nylon coating of Make Euronics NGR1 or equivalent complete all as specified and directed by Engg-in-Charge | 4.00 | Each | 0.00 | 2300.00 | 9200.00 | 1111.00 | 4444.00 | 1000.00 | 4000.00 | 1235.00 | 4940.00 | 4000.00 | Lok Shail Enterprises
51.00 | Providing and fixing as per manufacturers' instructions, L- Shaped Wall mountable Grab Rails of size 750x400 mm made of stainless steel with nylon coating of Make Euronics NGR 04 or equivalent complete all as specified and directed by Engg-in-Charge | 4.00 | Each | 0.00 | 3600.00 | 14400.00 | 4441.00 | 17764.00 | 2000.00 | 8000.00 | 1675.00 | 6700.00 | 6700.00 | BALVIR SINGH AND SONS
52.00 | Providing and fixing as per manufacturers' instructions, Swing type U Shaped Wall mountable Grab Bar 600 mm long made of stainless steel with nylon coating of Make Euronics NGR S02 or equivalent complete all as specified and directed by Engg-in-Charge | 2.00 | Each | 0.00 | 11000.00 | 22000.00 | 8451.00 | 16902.00 | 4000.00 | 8000.00 | 4757.00 | 9514.00 | 8000.00 | Lok Shail Enterprises
53.00 | Providing and fixing Urinal partition/ Urinal Modesty panels (Make - Merino or equivalent) made of high pressure laminated compact sheet having size 1200mm x 500mm and panel thickness 12mm fixed with SS 304 PA-6 made brackets & fixtures all complete as per direction of EIC. | 10.00 | Each | 0.00 | 3800.00 | 38000.00 | 4701.00 | 47010.00 | 5000.00 | 50000.00 | 2975.00 | 29750.00 | 29750.00 | BALVIR SINGH AND SONS
54.00 | Providing and fixing toilet cubicles of required size (height = 2100 mm) Made from solid grade compact high pressure laminate as per IS:2046 manufactured under high specific pressure > 5 MPa and temperature 120°C with bunch of kraft papers, impregnated with thermosetting phenolic resin and decorative papers made of cellulose fiber, impregnated with thermosetting melamine resin which provides superior scratch, abrasion, heat, chemical, impact, graffiti and moisture resistance along with anti-bacterial properties. Panels have a black core that when machined, presents a distinctive black edge. DOORS All doors will be of single colour and made of 18 mm thick Merino HPL compact panel. The doors will have chamfered edges. Each door will be supported by 3 stainless steel made hinges affixed to the pilasters. Stainless steel coat hook and stainless steel door knob are provided with each door. All the doors will be routed at the vertical ends and the rubber sponge lining will be incorporated at the routed ends. PILASTERS All pilasters will be made of 18 mm thick Merino HPL compact panel with chamfered edge and completed with stainless steel made lock set (comprises of thumb-turn and occupancy indicator). Pilasters will be anchored to the floor using steel made L brackets and box-up fixtures are used for covering the floor anchored mechanism. All pilasters will be routed at their vertical ends to facilitate closure of doors. DIVIDERS All intermediate partitions or dividers will be made of 18 mm thick Merino HPL compact laminate panels. They are affixed with stainless steel made U-channel at their ends for ultimate stability of the system. Design no. as specified by Arch./Engr. in suede finish. Size of panels to be as per drawing HARDWARE AND ACCESSORIES No head frame structure, all panels to be aligned to the top • Corner joinery section made from stainless steel grade 304. Surface finish to be brush type. A thin plastic film pasted for surface protection. Size to be 40 mm x 16mm x 0.8 mm • Wall joinery section with hamming profile made from stainless steel grade 304. Surface finish to be brush type. A thin plastic film pasted for surface protection. Size to be 21 mm X 22 mm X 0.8 mm • Fixed front panel to be anchored to floor with L Bracket of SS 316 and covered with SS 316 grade box type plate from all directions with 100 mm clear height from ground. Surface finish to be matt type • Spring loaded butt hinges made from stainless steel grade 304. Surface finish to be matt type. Covers to be lacquer coated • Coat hook with rubber stopper made from stainless steel grade 304. Surface finish to be lacquer type • Round Door knob diameter 30 mm with grooves for better hand grip made from stainless steel grade 304. Surface finish to be lacquer type • Rotating thumb-turn locking system with privacy indicator made from stainless steel grade 304. Surface finish to be lacquer type • Stainless steel grade 304 screws • Anti-rotation nylon polyamide grade 6- expandable wall plug. | 17.00 | Each | 0.00 | 30000.00 | 510000.00 | 39001.00 | 663017.00 | 42500.00 | 722500.00 | 57075.00 | 970275.00 | 510000.00 | RAJKUMAR AGRWAL
55.00 | Providing and fixing white vitreous china over counter wash basin with fixing accessories including making all connections. Make : Jaquar JDS-WHT-25909 size 495x395x150mm , shape Rectangular as per the direction of EIC. | 17.00 | Each | 0.00 | 2000.00 | 34000.00 | 2851.00 | 48467.00 | 5000.00 | 85000.00 | 4375.00 | 74375.00 | 34000.00 | RAJKUMAR AGRWAL
56.00 | Providing and fixing Waste Coupling 32mm size full thread with 80mm height (Make Jaquar , Code - ALD 705 or equivalent) for wash basin, of approved quality and colour, as per the direction of EIC. | 17.00 | Each | 0.00 | 300.00 | 5100.00 | 541.00 | 9197.00 | 600.00 | 10200.00 | 675.00 | 11475.00 | 5100.00 | RAJKUMAR AGRWAL
57.00 | Providing and fixing SS Grating/Drainer (Make Viking Code - 41335 or equivalent) of approved quality and colour. Circular type 100 mm nominal dia | 42.00 | Each | 0.00 | 150.00 | 6300.00 | 51.00 | 2142.00 | 100.00 | 4200.00 | 115.00 | 4830.00 | 2142.00 | Dajraj Soni
58.00 | Providing and fixing beveled edge mirror with internal peripherial light system of circular size with 0.9 m diameter, made of superior glass of thickness 6 mm (of approved quality) including all fixtures and fittings etc. complete as per the direction of EIC. | 17.00 | Each | 0.00 | 3800.00 | 64600.00 | 8441.00 | 143497.00 | 5000.00 | 85000.00 | 2875.00 | 48875.00 | 48875.00 | BALVIR SINGH AND SONS
59.00 | Providing and fixing Lock body 10" on plate with Lever Handle with knob (Make - Dorset, Code - KAI or equivalent), of approved quality and colour, as per the direction of EIC. | 2.00 | Each | 0.00 | 2000.00 | 4000.00 | 4411.00 | 8822.00 | 2000.00 | 4000.00 | 3275.00 | 6550.00 | 4000.00 | RAJKUMAR AGRWAL, Lok Shail Enterprises
60.00 | Providing and fixing Dust Bins - Surface Mounted Washroom Panel/S. Steel (2 in 1,Paper Dispenser / Waste Receptacle, Make - Euronics, Model - KPD2E - Surface Mount or equivalent), etc. complete as per the design & direction of EIC. | 8.00 | Each | 0.00 | 35500.00 | 284000.00 | 38001.00 | 304008.00 | 35000.00 | 280000.00 | 32075.00 | 256600.00 | 256600.00 | BALVIR SINGH AND SONS
61.00 | Providing and fixing SS 450 mm long door handles (each pair) of make Cuba or equivalent with necessary screws etc. complete as per the design & direction of EIC. | 8.00 | Each | 0.00 | 3800.00 | 30400.00 | 3991.00 | 31928.00 | 1500.00 | 12000.00 | 1875.00 | 15000.00 | 12000.00 | Lok Shail Enterprises
62.00 | Providing and fixing white vitreous china table top wash basin for PH Toilets with fixing accessories including making all connections. Make : Jaquar JDS-WHT-25801 , shape Rectangular as per the direction of EIC. | 2.00 | Each | 0.00 | 3000.00 | 6000.00 | 2881.00 | 5762.00 | 4000.00 | 8000.00 | 4095.00 | 8190.00 | 5762.00 | Dajraj Soni
63.00 | Extra for providing opening of required size & shape for wash basin/kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/ stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc.complete. | 17.00 | Each | 0.00 | 800.00 | 13600.00 | 491.00 | 8347.00 | 500.00 | 8500.00 | 735.00 | 12495.00 | 8347.00 | Dajraj Soni
64.00 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge. Granite work | 24.00 | mtr | 0.00 | 450.00 | 10800.00 | 191.00 | 4584.00 | 100.00 | 2400.00 | 335.00 | 8040.00 | 2400.00 | Lok Shail Enterprises
65.00 | Supplying of packed Elastomeric concrete compund (Flex-O-Patch of choksey chemicals/Delpatch of D.S Brown or equivalent approved make) at site. The one pack of 10 kg Elastomeric concrete shall consist of 3 kg hardner 1.5 kg base & 5.5 kg of sand & fibre powder. As per satisfaction & direction of Engineer-incharge | 560.00 | kg | 0.00 | 460.00 | 257600.00 | 511.00 | 286160.00 | 400.00 | 224000.00 | 495.00 | 277200.00 | 224000.00 | Lok Shail Enterprises
66.00 | Supplying of primer of Choksey make or equivalent of approved make for Flexopatch Elastomeric concrete compund at site. As per satisfaction & direction of Engineer-incharge | 12.00 | litre | 0.00 | 600.00 | 7200.00 | 341.00 | 4092.00 | 200.00 | 2400.00 | 385.00 | 4620.00 | 2400.00 | Lok Shail Enterprises
67.00 | Repairing of damaged portion of rigid pavement with Elastomeric concrete compound (Flex-O-Patch of Choksey chemicals/ Delpatch of D.S Brown or equivalent) after marking, cutting, chipping the pavement up to required size by using mechanical chippers, side locking on the vertical face, cleaning the prepared area by sand blasting with medium grit sand, masking and pouring the compound, finishing & texturing complete as per manufacturer specifications and the direction of EIC with required machines & tools. (Note: The rate quoted shall be exclusive of cost of material) | 560.00 | kg | 0.00 | 160.00 | 89600.00 | 221.00 | 123760.00 | 72.00 | 40320.00 | 35.00 | 19600.00 | 19600.00 | BALVIR SINGH AND SONS
68.00 | Cleaning of existing expansion joints and providing & filing with polysulphide joint sealing compound (confirming to grade BS:5212- 1990 or IS 11433-1995) of Dr. Fixit or equivalent including painting the side of slab with approved primer (Primer RDL-942 or equivalent) and filling the groove 25 mm or more in width as per actual joint width status at site x 45mm deep ( inculding of backer rod depth) including inserting the back up rod of Supreme or equivalent aproved make of appropriate dia (minimum 30mm or more as per actual joint width status at site) of approved make to receive the specified sealing compound, providing and applying bond breaking tape on top edges of joint to prevent accidental spillage of sealant on top surface and to give a neat finish to the sealant has been applied and tooled, all complete as per specification and direction of EIC. (Note: The rate quoted shall be inclusive of cost of Primer RDL-942 & sealing compound) | 500.00 | meter | 0.00 | 400.00 | 200000.00 | 221.00 | 110500.00 | 172.00 | 86000.00 | 265.00 | 132500.00 | 86000.00 | Lok Shail Enterprises
69.00 | Cleaning of existing dummy/construction joints and providing & filing with polysulphide joint sealing compound (confirming to grade BS:5212- 1990 or IS 11433-1995) of Dr. Fixit or equivalent including painting the side of slab with approved primer (Primer RDL-942 or equivalent) and filling the groove 10 mm or more in width as per actual joint width status at site x 25mm deep ( inculding of backer rod depth) including inserting the back up rod of Supreme or equivalent aproved make of appropriate dia (minimum 12mm or more as per actual joint width status at site) of approved make to receive the specified sealing compound, providing and applying bond breaking tape on top edges of joint to prevent accidental spillage of sealant on top surface and to give a neat finish to the sealant has been applied and tooled, all complete as per specification and direction of EIC. (Note: The rate quoted shall be inclusive of cost of Primer RDL-942 & sealing compound) | 2250.00 | meter | 0.00 | 200.00 | 450000.00 | 61.00 | 137250.00 | 72.00 | 162000.00 | 105.00 | 236250.00 | 137250.00 | Dajraj Soni
70.00 | Supply of SW-CRETE T-02 or equivalent high performance thin layer rapid repair compound. Material should be self flowing having compressive strength after 2 hours. 20 MPA after 01 day - 30 MPA after 28 days 50 MPA. Pull strength after 28 days - 1.0 MPA (Minimum) expansion rate 0.10% (Maximum) curing time should be 2 hours to accept traffic as per specifications and Direction of Engineer-in-Charge. | 1650.00 | KG | 0.00 | 100.00 | 165000.00 | 131.00 | 216150.00 | 80.00 | 132000.00 | 155.00 | 255750.00 | 132000.00 | Lok Shail Enterprises
71.00 | Laying of SW-CRETE T-02 or equivalent high performance thin layer rapid repair compound. Material should be self-flowing having compressive strength 2 hrs.-20MPA, 1 day - 30 MPA, 28 days - 50MPA, pull strength after - 28 days-2.0 MPA, (minimum) Expansion Rate-0.1% (maximum) . Rate inclusive of milling the old surface area for required depth and matching with the existing profile, cleaning with compressed air, high pressure water jet cleaning, mixing of SW-CRETE -T02 in machine, pouring, finishing, texturing,curing all complete to accept traffic within 2 hrs. as per specifications and directions of Engineer-in-Charge. (Note: The rate quoted shall be exclusive of cost of SW CRETE- T02 material) | 1650.00 | kg | 0.00 | 15.00 | 24750.00 | 13.00 | 21450.00 | 20.00 | 33000.00 | 25.00 | 41250.00 | 21450.00 | Dajraj Soni
72.00 | Supply of SW-CRETE T-01 or equivalent high performance fast setting repair compound for full depth, distress and other distress in pavement concrete with graded aggregates. Material should be self-flowing having compressive strength 4 hrs.-20MPA, 1 day - 40 MPA, 28 days - 50MPA, pull strength after - 28 days-2.0 MPA, (minimum) Expansion Rate-0.1% (maximum) should accept traffic within Three hours as per specifications and directions of Engineer-in-Charge | 700.00 | kg | 0.00 | 80.00 | 56000.00 | 131.00 | 91700.00 | 80.00 | 56000.00 | 145.00 | 101500.00 | 56000.00 | RAJKUMAR AGRWAL, Lok Shail Enterprises
73.00 | Laying of SW-CRETE T-01 or equivalent high performance fast setting repair compound for full depth, distress and other distress in pavement concrete with graded aggregates. Material should be self-flowing having compressive strength 4 hrs.-20MPA, 1 day - 40 MPA, 28 days - 50MPA, pull strength after - 28 days-2.0 MPA, (minimum) Expansion Rate-0.1% (maximum) . Rate inclusive of marking, cutting the old concrete, chiseling for required width & depth, compressed air cleaning, high pressure air/ water jet cleaning, mixing of Swcrete-T01 with aggregates 20mm & 10mm in machine, pouring, finishing texturing cutting the joints, etc. all complete to accept traffic in 3 hrs. after pouring as per specifications and directions of Engineer-in-Charge. Note: a) Rate Excluding material cost for SW CRETE- T01 B) Rate Includes the material aggregate cost for graded aggregates of 10mm ( and below) and 20mm. | 700.00 | kg | 0.00 | 15.00 | 10500.00 | 31.00 | 21700.00 | 20.00 | 14000.00 | 35.00 | 24500.00 | 10500.00 | RAJKUMAR AGRWAL
| Total in Figures |  |  |  |  | 5984820.00 |  | 5427696.00 |  | 4995543.00 |  | 7558012.00
Lowest Amount Quoted BY: Lok Shail Enterprises(4995543.00)

## BOQ Summary
BOQ Summary Details Tender Title: Misc. civil maintenance works in Terminal Building and operational area at Maharana Pratap Airport, Udaipur Tender ID: 2024_AAI_220315_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Lok Shail Enterprises (BID ID -812833) | 4995543.00 | L1
| 2 | Dajraj Soni (BID ID -812465) | 5427696.00 | L2
| 3 | RAJKUMAR AGRWAL (BID ID -807741) | 5984820.00 | L3
| 4 | BALVIR SINGH AND SONS (BID ID -810564) | 7558012.00 | L4