## BoQ1
Government eProcurement System Created By: Pramod Soni Created Date/Time: 12-Mar-2025 03:23 PM Tender Title: Supply, installation, testing and commissioning of 1 Ton Split ACs for NIATAM Hostels at AAI Gondia. Tender ID: 2024_AAI_220316_1
Tender Inviting Authority: Assistant General Manager(Engg.-E), AAI, Gondia
Name of Work: Supply, installation, testing & commissioning of 1 Ton Split ACs for NIATAM Hostels at AAI Gondia.
Contract No: 2024_AAI_220316_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M K ENTERPRISES (GSTN-27AMDPK7085L1ZJ) BID ID -808283 |  | Prakash Refrigeration (GSTN-27BPFPS2435Q1Z8) BID ID -808592 |  | VL SERVICES (GSTN-NA) BID ID -795461
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, Installation, testing & Commissioning of 1 Ton Inverter Split Air Conditioner, which meets the all particular of 5 star rated, power supply 230V,50 HZ single phase operated,lesser running current, minimum noise level, 88 segment(white) panel display, flap LCD remote control ,auto air swing(up & down),auto air swing(left right), speed setting, auto restarts,sleep mode,on timer, off timer. Including connection of refrigerant piping, copper cabling, insulation around refrigerant pipe, providing drain line and allied works upto 3 meter or as provided by OEM, including powder coated stand, as per standard Engineering practice, complete etc. as required. | 90.00 | Job |  | 28800.00 | 2592000.00 | 29500.00 | 2655000.00 | 31500.00 | 2835000.00 | 2592000.00 | M K ENTERPRISES
2.00 | SITC of Voltage Stablizer, 230V, 50hz, suitable for single phase AC operation, having, Intelligent Time Delay System (for the compressor proper balancing time during frequent power failures). Low & High Voltage Cut-off Protection (to Protect connected equipment from potentially dangerous voltages) Latest IC Technology (to Assures reliable protection), Built In Thermal Overload Protection (to Protects the stabilizer and compressors during high temperature burnout) complete etc. as required. | 90.00 | Job |  | 1800.00 | 162000.00 | 2855.00 | 256950.00 | 1250.00 | 112500.00 | 112500.00 | VL SERVICES
3.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in, cement mortar 1:6 (1 cement : 6 coarse sand) | 10.00 | Cum |  | 5000.00 | 50000.00 | 3250.00 | 32500.00 | 6500.00 | 65000.00 | 32500.00 | Prakash Refrigeration
4.00 | Cement plaster in fine sand : 12mm cement plaster of mix 1:6 1:6 (1 cement : 6 fine sand) | 5.00 | Sqm |  | 5000.00 | 25000.00 | 490.00 | 2450.00 | 1250.00 | 6250.00 | 2450.00 | Prakash Refrigeration
5.00 | Dismantling steel work in built up area sections in angles, tees, flats and channels including all gusset plates, bolts, nuts, cutting rivets, welding etc, including dismembering and stacking within 50 meters lead. (For dismatling 69 nos. of air-washer units on roof top) @200kg per unit | 13800.00 | Kg |  | 6.00 | 82800.00 | 21.00 | 289800.00 | 12.00 | 165600.00 | 82800.00 | M K ENTERPRISES
6.00 | Hiring of crane to stack the dismantled material in item no. 5 from roof top up to the designated place within premises. | 2.00 | Days |  | 15000.00 | 30000.00 | 12000.00 | 24000.00 | 25000.00 | 50000.00 | 24000.00 | Prakash Refrigeration
| Total in Figures |  |  |  |  | 2941800.00 |  | 3260700.00 |  | 3234350.00
Lowest Amount Quoted BY: M K ENTERPRISES(2941800.00)

## BOQ Summary
BOQ Summary Details Tender Title: Supply, installation, testing and commissioning of 1 Ton Split ACs for NIATAM Hostels at AAI Gondia. Tender ID: 2024_AAI_220316_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M K ENTERPRISES (BID ID -808283) | 2941800.00 | L1
| 2 | VL SERVICES (BID ID -795461) | 3234350.00 | L2
| 3 | Prakash Refrigeration (BID ID -808592) | 3260700.00 | L3