## BoQ1
Government eProcurement System Created By: Bidyut Roy Created Date/Time: 24-Mar-2025 12:51 PM Tender Title: Provision of Perimeter lighting at Kolhapur Airport Tender ID: 2024_AAI_220386_1
Tender Inviting Authority: Asst. GENERAL MANAGER (ENGG-ELECT), AIRPORTS AUTHORITY OF INDIA, KOLHAPUR AIRPORT, KOLHAPUR.
Name of Work : Provision of Perimeter lighting at Kolhapur Airport (Phase-I).
Contract No: 2024 _AAI_220386_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Shri Laxminarayan Construction (GSTN-27AKIPR6504J1ZT) BID ID -828126 |  | Instapower Ltd (GSTN-05AAACI9712L1ZG) BID ID -828276 |  | candela engineering corporation (GSTN-32AAIFC0435H1ZY) BID ID -828376 |  | SARASWAT ENGINEERING SERVICES (GSTN-27AAZFS6239C1ZO) BID ID -828607 |  | Bondre and Associates (GSTN-NA) BID ID -828221 |  | SUNSHINE POWER LINES (GSTN-NA) BID ID -828590 |  | Ekveera Electrical Works & Services (GSTN-NA) BID ID -828211 |  | SAURABH ENTERPRISES (GSTN-NA) BID ID -828227 |  | Variant Infratech Private Limited (GSTN-NA) BID ID -827503
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 6 mtr height hot dip galvanised octagonal poles with 130 mm bottom (A/F) and 70 mm top (A/F) made of 3mm thick HT sheet along with base plate of size 200mm X 200mm X 12mm thick welded to bottom of the pole having lockable Terminal box, gasket along with 4 Nos. TS-600 foundation bolts including template, providing bakelite sheet with stud type 32 A heavy duty 4 pole connector, DIN Rail for mounting of MCB in the terminal box etc. complete as required. | 82.00 | Each |  | 9000.00 | 738000.00 | 9656.00 | 791792.00 | 13350.00 | 1094700.00 | 9427.00 | 773014.00 | 8900.00 | 729800.00 | 8000.00 | 656000.00 | 11610.00 | 952020.00 | 8000.00 | 656000.00 | 7965.00 | 653130.00 | 653130.00 | Variant Infratech Private Limited
2.00 | Supplying and fixing of 1 metre long bracket with 300 mm long ERW pipe suitable to fix on 70 mm top (A/F) Octogonal pole and mounting 45 W LED street light fitting including welded cap, stiffner, nuts & bolts (3 Nos, M10 E.R.W.) and washer etc. complete as required. Single Arm | 76.00 | Each |  | 1400.00 | 106400.00 | 3541.00 | 269116.00 | 1300.00 | 98800.00 | 1215.00 | 92340.00 | 986.00 | 74936.00 | 1200.00 | 91200.00 | 1800.00 | 136800.00 | 1000.00 | 76000.00 | 590.00 | 44840.00 | 44840.00 | Variant Infratech Private Limited
3.00 | Supplying and fixing of 1 metre long bracket with 300 mm long ERW pipe suitable to fix on 70 mm top (A/F) Octogonal pole and mounting 45 W LED street light fitting including welded cap, stiffner, nuts & bolts (3 Nos, M10 E.R.W.) and washer etc. complete as required. Double Arm | 6.00 | Each |  | 1800.00 | 10800.00 | 3623.00 | 21738.00 | 1672.00 | 10032.00 | 1339.00 | 8034.00 | 1441.00 | 8646.00 | 1800.00 | 10800.00 | 2300.00 | 13800.00 | 1500.00 | 9000.00 | 1711.00 | 10266.00 | 8034.00 | SARASWAT ENGINEERING SERVICES
4.00 | Supply of 45 W LED type Street Light Luminaire with control gear, made of pressure die cast aluminium housing with heat resistant toughened flat glass/polycarbonate cover and minimum IP 65 protection, suitable for operation in 140-270 V, 50 HZ AC supply and confirming to the specification specified in the tender document with all accessories etc. complete as required. | 82.00 | Each |  | 1650.00 | 135300.00 | 1353.00 | 110946.00 | 2900.00 | 237800.00 | 1599.00 | 131118.00 | 1750.00 | 143500.00 | 1400.00 | 114800.00 | 4500.00 | 369000.00 | 3500.00 | 287000.00 | 1180.00 | 96760.00 | 96760.00 | Variant Infratech Private Limited
5.00 | Supply of indoor surface mounting 10 W (nominal capacity), 600 mm length LED light fitting, complete with LED tube rod, accessories etc and suitable for use on 230 volts, 50 Hz, single phase, A.C. supply complete as required. | 6.00 | Each |  | 420.00 | 2520.00 | 1722.00 | 10332.00 | 258.00 | 1548.00 | 306.00 | 1836.00 | 299.00 | 1794.00 | 330.00 | 1980.00 | 340.00 | 2040.00 | 350.00 | 2100.00 | 195.00 | 1170.00 | 1170.00 | Variant Infratech Private Limited
6.00 | Supply of surface mounting 10 W (nominal capacity), IP 65, Bulkhead LED light fitting, complete with accessories suitable for use on 230 volts, 50 Hz, single phase, A.C. supply complete as required. | 6.00 | Each |  | 1500.00 | 9000.00 | 1107.00 | 6642.00 | 965.00 | 5790.00 | 912.00 | 5472.00 | 467.00 | 2802.00 | 1180.00 | 7080.00 | 750.00 | 4500.00 | 850.00 | 5100.00 | 637.00 | 3822.00 | 2802.00 | Bondre and Associates
7.00 | Supply of 300 mm sweep wall fan having Aerodynamically designed, Balanced Blade, suitable for use on 230 volts, 50 Hz, single phase, A.C. supply etc. complete as required. | 3.00 | Each |  | 2000.00 | 6000.00 | 2829.00 | 8487.00 | 3215.00 | 9645.00 | 2348.00 | 7044.00 | 2933.00 | 8799.00 | 1500.00 | 4500.00 | 2700.00 | 8100.00 | 2000.00 | 6000.00 | 2950.00 | 8850.00 | 4500.00 | SUNSHINE POWER LINES
8.00 | Supplying and fixing DP sheet steel enclosure on surface/ recess complete as required. | 3.00 | Each |  | 900.00 | 2700.00 | 596.00 | 1788.00 | 1929.00 | 5787.00 | 1296.00 | 3888.00 | 818.00 | 2454.00 | 650.00 | 1950.00 | 1800.00 | 5400.00 | 1000.00 | 3000.00 | 5310.00 | 15930.00 | 1788.00 | Instapower Ltd
9.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with piano type switch, phenolic laminated sheet, suitable size M.S. box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc. as required. (a) Group C | 18.00 | Point |  | 1500.00 | 27000.00 | 1190.00 | 21420.00 | 1929.00 | 34722.00 | 1327.00 | 23886.00 | 1284.00 | 23112.00 | 900.00 | 16200.00 | 850.00 | 15300.00 | 1250.00 | 22500.00 | 5900.00 | 106200.00 | 15300.00 | Ekveera Electrical Works & Services
10.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. (a) 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 60.00 | Mtr |  | 275.00 | 16500.00 | 107.00 | 6420.00 | 260.00 | 15600.00 | 115.00 | 6900.00 | 350.00 | 21000.00 | 210.00 | 12600.00 | 160.00 | 9600.00 | 150.00 | 9000.00 | 89.00 | 5340.00 | 5340.00 | Variant Infratech Private Limited
11.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required. | 6.00 | Each |  | 1000.00 | 6000.00 | 930.00 | 5580.00 | 901.00 | 5406.00 | 1031.00 | 6186.00 | 1038.00 | 6228.00 | 800.00 | 4800.00 | 1600.00 | 9600.00 | 500.00 | 3000.00 | 590.00 | 3540.00 | 3000.00 | SAURABH ENTERPRISES
12.00 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. (a) Double pole | 85.00 | Each |  | 1100.00 | 93500.00 | 742.00 | 63070.00 | 800.00 | 68000.00 | 599.00 | 50915.00 | 337.00 | 28645.00 | 875.00 | 74375.00 | 630.00 | 53550.00 | 550.00 | 46750.00 | 354.00 | 30090.00 | 28645.00 | Bondre and Associates
13.00 | Erection of 6 mtr. height street light pole of above S.No.1 including making suitable cement concrete foundation, excavation and refilling etc. complete as required as per OEM approved design. | 82.00 | Job |  | 2000.00 | 164000.00 | 6610.00 | 542020.00 | 6000.00 | 492000.00 | 7946.00 | 651572.00 | 6450.00 | 528900.00 | 2900.00 | 237800.00 | 6100.00 | 500200.00 | 3500.00 | 287000.00 | 9350.00 | 766700.00 | 164000.00 | Shri Laxminarayan Construction
14.00 | Installation, testing and commissioning of street light fixtures on existing street light pole of height not more than 6 mtr. complete with providing and laying of 3 x 1.5 sqmm PVC insulated flexible copper contuctor cable from terminal box to fitting, connections etc. as required. | 82.00 | Each |  | 750.00 | 61500.00 | 975.00 | 79950.00 | 794.00 | 65108.00 | 606.00 | 49692.00 | 523.00 | 42886.00 | 550.00 | 45100.00 | 590.00 | 48380.00 | 700.00 | 57400.00 | 100.00 | 8200.00 | 8200.00 | Variant Infratech Private Limited
15.00 | Installation, testing and commissioning of wall bracket /ceiling fittings of all sizes and shapes containing upto two GLS/CFL/ LED lamps per fitting/wall fan, complete with all accessories including connections etc. as required. | 15.00 | Each |  | 100.00 | 1500.00 | 390.00 | 5850.00 | 258.00 | 3870.00 | 331.00 | 4965.00 | 454.00 | 6810.00 | 90.00 | 1350.00 | 950.00 | 14250.00 | 100.00 | 1500.00 | 1180.00 | 17700.00 | 1350.00 | SUNSHINE POWER LINES
16.00 | PTTA PANEL Design, manufacture, supply, installation, testing and commissioning of outdoor compartmentalized type Panel 50 kA short circuit breaking capacity, having panel of suitable size, bus bars with SMC/DMC supports, made of 14 SWG CRCA sheet steel, totally enclosed, IP-65, free standing, floor / wall mounting, powder coated painting, suitable to the existing space, operation on 3 phase and neutral, 415V, 50 Hz AC system with bus bars, G.I flat Earth strip on both side , Removable gland plates at bottom with suitable size of predrilled holes for cables, cable interconnections, wiring, earthing, rotary handles & spreader links to all MCCBs, powder coated painting etc. with following items and installation on suitable channels /elevated concrete foundation as per site requirement etc. complete as required. INCOMER (i) MCCB of 125 Amps, 35 kA, 4 pole, microprocessor based release with Rotary operating mechanism, shunt trip, auxiliary contact etc. - 02 Nos (ii) Indication Lamps, LED type, R.Y.B and breaker 'ON', 'OFF', 'TRIP' lamps- 02 Sets (iii) Digital Mulit functional meter suitable range for 3 phase, 4 wire with LED display and selector switch along with MCB of suitable ratings- 02 Sets,for 3 phase 4 wire with LED display and selector switch and cast resin CT ratio programmable and auto ranging along with 3 numbers of class 1.0, 15 VA suitable range CTs -02 Sets (iv) Electrical and mechanical interlocking arrangment between above 02 nos. incomers so that supply to busbar to be fed by only 01 incomer at a time. BUSBAR One set of 250 Amp TPN aluminium bus bars of 35 KA capacity OUTGOING (i) 03 Nos. FP, 63 A, 35 kA MCCB with extended terminal with real time timer of suitable rating, contactors and direct rotary handle etc as required (ii) 01 No. FP, 125 A, 35 kA MCCB with extended terminal & direct rotary handle etc as required (iiI) 02 Nos. FP MCB 32 Amps, directly connected to bus bar in separate compartment | 3.00 | Job |  | 240000.00 | 720000.00 | 166400.00 | 499200.00 | 262000.00 | 786000.00 | 340908.00 | 1022724.00 | 200000.00 | 600000.00 | 293500.00 | 880500.00 | 75000.00 | 225000.00 | 22289.00 | 66867.00 | 354000.00 | 1062000.00 | 66867.00 | SAURABH ENTERPRISES
17.00 | Supply of following sizes of XLPE insulated and PVC sheatheel XLPE aluminnum conductor armoured cable of 1.1KV grade conforming to IS 7098 (Part-I) with up to date amendments as required. 4 X 16 Sq.mm | 460.00 | Mtr |  | 180.00 | 82800.00 | 141.00 | 64860.00 | 140.00 | 64400.00 | 130.00 | 59800.00 | 169.00 | 77740.00 | 185.00 | 85100.00 | 149.00 | 68540.00 | 225.00 | 103500.00 | 118.00 | 54280.00 | 54280.00 | Variant Infratech Private Limited
18.00 | Supply of following sizes of XLPE insulated and PVC sheatheel XLPE aluminnum conductor armoured cable of 1.1KV grade conforming to IS 7098 (Part-I) with up to date amendments as required. 4 X 25 Sq.mm | 2419.00 | Mtr |  | 250.00 | 604750.00 | 185.00 | 447515.00 | 200.00 | 483800.00 | 148.00 | 358012.00 | 205.00 | 495895.00 | 220.00 | 532180.00 | 207.00 | 500733.00 | 310.00 | 749890.00 | 171.00 | 413649.00 | 358012.00 | SARASWAT ENGINEERING SERVICES
19.00 | Supply of following sizes of XLPE insulated and PVC sheatheel XLPE aluminnum conductor armoured cable of 1.1KV grade conforming to IS 7098 (Part-I) with up to date amendments as required. 3.5 x 240 Sq.mm | 1600.00 | Mtr |  | 1300.00 | 2080000.00 | 1132.00 | 1811200.00 | 1330.00 | 2128000.00 | 1155.00 | 1848000.00 | 1650.00 | 2640000.00 | 1200.00 | 1920000.00 | 1180.00 | 1888000.00 | 1350.00 | 2160000.00 | 1121.00 | 1793600.00 | 1793600.00 | Variant Infratech Private Limited
20.00 | Supply of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II etc. , complete as required 90 mm dia (OD-90 mm & ID-76 mm nominal) | 1528.00 | Mtr |  | 90.00 | 137520.00 | 80.00 | 122240.00 | 140.00 | 213920.00 | 103.00 | 157384.00 | 130.00 | 198640.00 | 75.00 | 114600.00 | 136.00 | 207808.00 | 135.00 | 206280.00 | 236.00 | 360608.00 | 114600.00 | SUNSHINE POWER LINES
21.00 | Supply of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II etc. , complete as required 50 mm dia (OD -50mm & ID 40 mm nominal) | 2606.00 | Mtr |  | 30.00 | 78180.00 | 34.00 | 88604.00 | 75.00 | 195450.00 | 56.00 | 145936.00 | 58.00 | 151148.00 | 40.00 | 104240.00 | 75.00 | 195450.00 | 85.00 | 221510.00 | 72.00 | 187632.00 | 78180.00 | Shri Laxminarayan Construction
22.00 | Providing, laying and fixing following dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching (75 cm deep) and re-filling etc as required 100 mm dia. | 42.00 | Mtr |  | 1150.00 | 48300.00 | 459.00 | 19278.00 | 1410.00 | 59220.00 | 2094.00 | 87948.00 | 2297.00 | 96474.00 | 1300.00 | 54600.00 | 630.00 | 26460.00 | 1000.00 | 42000.00 | 1121.00 | 47082.00 | 19278.00 | Instapower Ltd
23.00 | Providing, laying and fixing following dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching (75 cm deep) and re-filling etc as required 50 mm dia. | 30.00 | Mtr |  | 750.00 | 22500.00 | 950.00 | 28500.00 | 690.00 | 20700.00 | 1071.00 | 32130.00 | 1571.00 | 47130.00 | 600.00 | 18000.00 | 540.00 | 16200.00 | 500.00 | 15000.00 | 1298.00 | 38940.00 | 15000.00 | SAURABH ENTERPRISES
24.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required. Above 185 sq. mm and upto 400 sq. mm | 30.00 | Mtr |  | 100.00 | 3000.00 | 117.00 | 3510.00 | 97.00 | 2910.00 | 74.00 | 2220.00 | 286.00 | 8580.00 | 75.00 | 2250.00 | 140.00 | 4200.00 | 50.00 | 1500.00 | 236.00 | 7080.00 | 1500.00 | SAURABH ENTERPRISES
25.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL / HDPE pipe as required. Upto 35 sq. mm | 2666.00 | Mtr |  | 20.00 | 53320.00 | 46.00 | 122636.00 | 45.00 | 119970.00 | 29.00 | 77314.00 | 52.00 | 138632.00 | 30.00 | 79980.00 | 60.00 | 159960.00 | 25.00 | 66650.00 | 59.00 | 157294.00 | 53320.00 | Shri Laxminarayan Construction
26.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL / HDPE pipe as required. Above 185 sq. mm and upto 400 sq. mm | 1570.00 | Mtr |  | 90.00 | 141300.00 | 117.00 | 183690.00 | 97.00 | 152290.00 | 74.00 | 116180.00 | 195.00 | 306150.00 | 80.00 | 125600.00 | 140.00 | 219800.00 | 50.00 | 78500.00 | 236.00 | 370520.00 | 78500.00 | SAURABH ENTERPRISES
27.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. Upto 35 sq. mm (clamped with 1mm thick saddle) | 60.00 | Mtr |  | 40.00 | 2400.00 | 39.00 | 2340.00 | 161.00 | 9660.00 | 40.00 | 2400.00 | 52.00 | 3120.00 | 37.00 | 2220.00 | 150.00 | 9000.00 | 50.00 | 3000.00 | 59.00 | 3540.00 | 2220.00 | SUNSHINE POWER LINES
28.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed/ XLPE aluminium conductor cable of 1.1 KV grade as required. 4 X 16 sq. mm (28mm) | 6.00 | Set |  | 400.00 | 2400.00 | 252.00 | 1512.00 | 322.00 | 1932.00 | 417.00 | 2502.00 | 467.00 | 2802.00 | 330.00 | 1980.00 | 450.00 | 2700.00 | 300.00 | 1800.00 | 649.00 | 3894.00 | 1512.00 | Instapower Ltd
29.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed/ XLPE aluminium conductor cable of 1.1 KV grade as required. 4 X 25 sq. mm (28mm) | 6.00 | Set |  | 500.00 | 3000.00 | 252.00 | 1512.00 | 450.00 | 2700.00 | 417.00 | 2502.00 | 519.00 | 3114.00 | 520.00 | 3120.00 | 576.00 | 3456.00 | 300.00 | 1800.00 | 531.00 | 3186.00 | 1512.00 | Instapower Ltd
30.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed/ XLPE aluminium conductor cable of 1.1 KV grade as required. 4 X 25 sq. mm (Excluding Gland) | 158.00 | Set |  | 120.00 | 18960.00 | 252.00 | 39816.00 | 300.00 | 47400.00 | 76.00 | 12008.00 | 402.00 | 63516.00 | 120.00 | 18960.00 | 180.00 | 28440.00 | 200.00 | 31600.00 | 531.00 | 83898.00 | 12008.00 | SARASWAT ENGINEERING SERVICES
31.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed/ XLPE aluminium conductor cable of 1.1 KV grade as required. 3.5 X 240 sq. mm (62mm) | 5.00 | Set |  | 2500.00 | 12500.00 | 1600.00 | 8000.00 | 772.00 | 3860.00 | 1674.00 | 8370.00 | 1227.00 | 6135.00 | 2500.00 | 12500.00 | 950.00 | 4750.00 | 700.00 | 3500.00 | 1180.00 | 5900.00 | 3500.00 | SAURABH ENTERPRISES
32.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3.5 X 240 sq. mm | 3.00 | Set |  | 6900.00 | 20700.00 | 9400.00 | 28200.00 | 3857.00 | 11571.00 | 4665.00 | 13995.00 | 9086.00 | 27258.00 | 7070.00 | 21210.00 | 6300.00 | 18900.00 | 3000.00 | 9000.00 | 5900.00 | 17700.00 | 9000.00 | SAURABH ENTERPRISES
33.00 | Laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting,jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. 90 mm dia (OD-90 mm & ID-76 mm nominal) | 1528.00 | Mtr |  | 75.00 | 114600.00 | 72.00 | 110016.00 | 150.00 | 229200.00 | 191.00 | 291848.00 | 180.00 | 275040.00 | 90.00 | 137520.00 | 160.00 | 244480.00 | 135.00 | 206280.00 | 153.00 | 233784.00 | 110016.00 | Instapower Ltd
34.00 | Laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting,jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. 50 mm dia (OD -50mm & ID 40 mm nominal) | 2606.00 | Mtr |  | 75.00 | 195450.00 | 42.00 | 109452.00 | 140.00 | 364840.00 | 185.00 | 482110.00 | 150.00 | 390900.00 | 75.00 | 195450.00 | 150.00 | 390900.00 | 115.00 | 299690.00 | 153.00 | 398718.00 | 109452.00 | Instapower Ltd
35.00 | Earthing with G.I. earth plate 600 mm X 600 mm X 6 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 meter long etc. with charcoal/ coke and salt as required. | 6.00 | Each |  | 5000.00 | 30000.00 | 9570.00 | 57420.00 | 9643.00 | 57858.00 | 10982.00 | 65892.00 | 10384.00 | 62304.00 | 5000.00 | 30000.00 | 9500.00 | 57000.00 | 10000.00 | 60000.00 | 4130.00 | 24780.00 | 24780.00 | Variant Infratech Private Limited
36.00 | Providing and fixing 25 mm X 5 mm G.I. strip in 40 mm dia G.I. pipe from earth electrode including connection with G.I. nut, bolt, spring, washer excavation and re-filling etc. as required. | 30.00 | Mtr |  | 650.00 | 19500.00 | 402.00 | 12060.00 | 624.00 | 18720.00 | 730.00 | 21900.00 | 532.00 | 15960.00 | 510.00 | 15300.00 | 250.00 | 7500.00 | 450.00 | 13500.00 | 3068.00 | 92040.00 | 7500.00 | Ekveera Electrical Works & Services
37.00 | Providing and fixing 25 mm X 5 mm G.I. strip on surface or in recess for connections etc. as required. | 30.00 | Mtr |  | 180.00 | 5400.00 | 173.00 | 5190.00 | 189.00 | 5670.00 | 180.00 | 5400.00 | 266.00 | 7980.00 | 120.00 | 3600.00 | 180.00 | 5400.00 | 120.00 | 3600.00 | 295.00 | 8850.00 | 3600.00 | SAURABH ENTERPRISES, SUNSHINE POWER LINES
38.00 | Providing and fixing 8 SWG dia G.I. wire on surface or in recess for loop earthing along with existing surface/ recessed conduit/ submain wiring/ cable as required. | 2879.00 | Mtr |  | 25.00 | 71975.00 | 18.00 | 51822.00 | 21.00 | 60459.00 | 29.00 | 83491.00 | 30.00 | 86370.00 | 21.00 | 60459.00 | 15.00 | 43185.00 | 20.00 | 57580.00 | 24.00 | 69096.00 | 43185.00 | Ekveera Electrical Works & Services
39.00 | Supplying and making cable route marker with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size ) of size 60 cm X 60 cm at the bottom and 50 cm X 50 cm at the top with a thickness of 10cm including inscription duly engraved as required | 32.00 | Each |  | 275.00 | 8800.00 | 381.00 | 12192.00 | 1929.00 | 61728.00 | 1487.00 | 47584.00 | 1687.00 | 53984.00 | 220.00 | 7040.00 | 900.00 | 28800.00 | 800.00 | 25600.00 | 7670.00 | 245440.00 | 7040.00 | SUNSHINE POWER LINES
40.00 | Excavation for cable trenches in soft soil, depth upto 1.2 m including dressing of sides lift upto 1.5 m, including getting out the excavated soil, refilling with sand and or good soil after laying of cable/ pipe etc in layers of 20 cm, ramming, watering and disposal of surplus excavated soil as directed, within a lead of 50 metres. | 20.00 | Cum |  | 400.00 | 8000.00 | 1121.00 | 22420.00 | 258.00 | 5160.00 | 661.00 | 13220.00 | 1947.00 | 38940.00 | 400.00 | 8000.00 | 650.00 | 13000.00 | 500.00 | 10000.00 | 4130.00 | 82600.00 | 5160.00 | candela engineering corporation
41.00 | Excavation of the cable trenches in hard rock not exceeding 1.5 metres in width, and lift upto 1.5 metres, including getting out the excavated soil and disposal of excavated soil as directed within a lead of 50 metres. | 40.00 | Cum |  | 800.00 | 32000.00 | 1500.00 | 60000.00 | 1929.00 | 77160.00 | 882.00 | 35280.00 | 3894.00 | 155760.00 | 800.00 | 32000.00 | 630.00 | 25200.00 | 500.00 | 20000.00 | 4130.00 | 165200.00 | 20000.00 | SAURABH ENTERPRISES
42.00 | Providing and laying in position reinforced cement concrete 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size) in etc. as required (excluding reinforcement). | 5.00 | Cum |  | 3500.00 | 17500.00 | 7540.00 | 37700.00 | 3857.00 | 19285.00 | 11021.00 | 55105.00 | 9086.00 | 45430.00 | 3500.00 | 17500.00 | 7200.00 | 36000.00 | 6000.00 | 30000.00 | 6844.00 | 34220.00 | 17500.00 | Shri Laxminarayan Construction, SUNSHINE POWER LINES
43.00 | Excavating, supplying and filling of local earth (including royalty) by mechanical transport upto a lead of 5km also including ramming and watering of the earth in layers not exceeding 20 cm in trenches, plinth, sides of foundation etc. complete. | 20.00 | Cum |  | 400.00 | 8000.00 | 6600.00 | 132000.00 | 1900.00 | 38000.00 | 5511.00 | 110220.00 | 7788.00 | 155760.00 | 500.00 | 10000.00 | 4500.00 | 90000.00 | 2000.10 | 40002.00 | 6844.00 | 136880.00 | 8000.00 | Shri Laxminarayan Construction
| Total in Figures |  |  |  |  | 5923575.00 |  | 6028036.00 |  | 7390671.00 |  | 6978337.00 |  | 7785074.00 |  | 5774444.00 |  | 6663402.00 |  | 5999999.00 |  | 7874949.00
Lowest Amount Quoted BY: SUNSHINE POWER LINES(5774444.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Perimeter lighting at Kolhapur Airport Tender ID: 2024_AAI_220386_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SUNSHINE POWER LINES (BID ID -828590) | 5774444.00 | L1
| 2 | Shri Laxminarayan Construction (BID ID -828126) | 5923575.00 | L2
| 3 | SAURABH ENTERPRISES (BID ID -828227) | 5999999.00 | L3
| 4 | Instapower Ltd (BID ID -828276) | 6028036.00 | L4
| 5 | Ekveera Electrical Works & Services (BID ID -828211) | 6663402.00 | L5
| 6 | SARASWAT ENGINEERING SERVICES (BID ID -828607) | 6978337.00 | L6
| 7 | candela engineering corporation (BID ID -828376) | 7390671.00 | L7
| 8 | Bondre and Associates (BID ID -828221) | 7785074.00 | L8
| 9 | Variant Infratech Private Limited (BID ID -827503) | 7874949.00 | L9