## BoQ1
Government eProcurement System Created By: Shridhar Gupta Created Date/Time: 08-Jan-2025 05:20 PM Tender Title: SH- SITC of Chilled Water Hydronic Cassette Units. Tender ID: 2024_AAI_220825_1
Tender Inviting Authority: AGM (Engg-Elect), AAI, Patna Airport, Patna.
Name of Work: Construction of New Domestic Terminal Building and Other Structures (Phase I & II) at Patna Airport. Sub-Head : SITC of Chilled Water Hydronic Cassette Units.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Tirupati Balaji Refrigeration and Electricals (GSTN-20AAFCT7915H1ZG) BID ID -797520 |  | VOLTAS LIMITED (GSTN-NA) BID ID -802454
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, Installation, testing and commissioning of 2 TR, 800 CFM Chilled water hydronic 4 way cassette units complete in all respect as required, comprising of Fan, fan casing, BLDC 3 speed fan motor, cooling coil of Cu, built in condensate water pump, casing, insulated drain pan, float switch, controller including a factory prepared valve station comprising of ball valve with strainer for inlet connection and ball valve without strainer and motorized 2 way valve for outlet connection etc., suitable for 220 V, 50 Hz, AC supply, as per specifications as per attached make list.
1.10 | 2.0 TR | 90.00 | Nos. | 385.00 | 45125.00 | 4061250.00 | 63611.00 | 5724990.00 | 4061250.00 | Tirupati Balaji Refrigeration and Electricals
| Total in Figures |  |  |  |  | 4061250.00 |  | 5724990.00
Lowest Amount Quoted BY: Tirupati Balaji Refrigeration and Electricals(4061250.00)

## BOQ Summary
BOQ Summary Details Tender Title: SH- SITC of Chilled Water Hydronic Cassette Units. Tender ID: 2024_AAI_220825_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Tirupati Balaji Refrigeration and Electricals (BID ID -797520) | 4061250.00 | L1
| 2 | VOLTAS LIMITED (BID ID -802454) | 5724990.00 | L2