## BoQ1
Government eProcurement System Created By: Ajay Sahu Created Date/Time: 23-Jan-2025 04:44 PM Tender Title: Construction of Dog Kennel (for 4 Nos. Dogs) at Jabalpur Airport, Jabalpur Tender ID: 2024_AAI_221151_1
Tender Inviting Authority: AGM (E-C), Airports Authority of India, Jabalpur Airport, Jabalpur
Name of Work : Construction of Dog Kennel (for 4 Nos. Dogs) at Jabalpur Airport.
Tender ID - 2024_AAI_221151_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M K S ENGINEERING CO PVT LTD (GSTN-23AADCM1192R1Z5) BID ID -807991 |  | Cupid Enterprises (GSTN-23AAIFC2788B1ZP) BID ID -808783
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and for all lift, as directed by Engineer-in-charge. All kinds of soil | 1484.00 | Cum | 0.00 | 170.00 | 252280.00 | 100.00 | 148400.00 | 148400.00 | Cupid Enterprises
2.00 | Extra for every additional lift of 1.5 m or part thereof in excavation banking excavated or stacked materials: All kinds of soil | 200.00 | Cum | 0.00 | 60.00 | 12000.00 | 100.00 | 20000.00 | 12000.00 | M K S ENGINEERING CO PVT LTD
3.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in-charge. Ordinary rock | 173.00 | Cum | 0.00 | 360.00 | 62280.00 | 130.00 | 22490.00 | 22490.00 | Cupid Enterprises
4.00 | Extra for every additional lift of 1.5 m or part thereof in excavation banking excavated or stacked materials: Ordinary Rock | 97.00 | Cum | 0.00 | 60.00 | 5820.00 | 140.00 | 13580.00 | 5820.00 | M K S ENGINEERING CO PVT LTD
5.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, for all lift, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. All kinds of soil. | 180.50 | Cum | 0.00 | 170.00 | 30685.00 | 140.00 | 25270.00 | 25270.00 | Cupid Enterprises
6.00 | Excavation work by mechanical means (Hydraulic excavator)/ manual means in foundation trenches or drains (not exceeding 1.5m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soils as directed, within a lead of 50 m. Ordinary rock | 40.00 | Cum | 0.00 | 360.00 | 14400.00 | 140.00 | 5600.00 | 5600.00 | Cupid Enterprises
7.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and for all lift. | 498.00 | Cum | 0.00 | 100.00 | 49800.00 | 180.00 | 89640.00 | 49800.00 | M K S ENGINEERING CO PVT LTD
8.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas within AAI Premises (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and filling avaliable earth obtained for subgrade, embankment, depressions as instructed and in layers not exceeding 20 cm (loose) in depth (or any thickness as approved by the Engineer-in-Charge in case vibratory roller / soil compactor is used) including breaking clods, watering, consolidating each layer with power road roller 8 -10 tonnes weight or vibratory roller / soil compactor of adequate capacity under optimum moisture content condition to give at least 95% of the maximum laboratory dry density (modified Proctor density) as per IS : 2720 (part VIII) complete including leveling, fine dressing to the required grade, camber and slope complete as per MORTH specifications and as directed by the Engineer-in-Charge with all leads and lifts. (The item includes cost of excavation, carriage of avaliable earth upto work site for all leads and lifts and compaction . Payment shall be made for compacted quantity only | 755.00 | Cum | 0.00 | 190.00 | 143450.00 | 250.00 | 188750.00 | 143450.00 | M K S ENGINEERING CO PVT LTD
9.00 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | 61.00 | Cum | 0.00 | 1700.00 | 103700.00 | 1300.00 | 79300.00 | 79300.00 | Cupid Enterprises
10.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Foundations, footings, bases of columns, etc. for mass concrete | 239.00 | Sqm | 0.00 | 240.00 | 57360.00 | 200.00 | 47800.00 | 47800.00 | Cupid Enterprises
11.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Suspended floors, roofs, landings, balconies and access platform | 222.00 | Sqm | 0.00 | 240.00 | 53280.00 | 200.00 | 44400.00 | 44400.00 | Cupid Enterprises
12.00 | Centering and shuttering including strutting, propping etc. and removal of form for :Lintels, beams, plinth beams, girders, bressumers and cantilevers | 514.00 | Sqm | 0.00 | 240.00 | 123360.00 | 200.00 | 102800.00 | 102800.00 | Cupid Enterprises
13.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Columns, Pillars, Piers, Abutments, Posts and Struts | 375.00 | Sqm | 0.00 | 280.00 | 105000.00 | 200.00 | 75000.00 | 75000.00 | Cupid Enterprises
14.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Stairs, (excluding landings) except spiral-staircases | 43.00 | Sqm | 0.00 | 280.00 | 12040.00 | 200.00 | 8600.00 | 8600.00 | Cupid Enterprises
15.00 | Edges of slabs and breaks in floors and walls: Under 20 cm wide | 211.00 | metre | 0.00 | 100.00 | 21100.00 | 100.00 | 21100.00 | 21100.00 | M K S ENGINEERING CO PVT LTD, Cupid Enterprises
16.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-Ill) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 210.00 | Cum | 0.00 | 3200.00 | 672000.00 | 4500.00 | 945000.00 | 672000.00 | M K S ENGINEERING CO PVT LTD
17.00 | Providing and laying damp-proof course 40 mm thick with cement concrete 1:2:4 (1 cement : 2 coarse sand (zone-lll) derived from natural sources : 4 graded stone aggregate 12.5 mm nominal size derived from natural sources) | 38.93 | Sqm | 0.00 | 242.00 | 9421.06 | 4500.00 | 175185.00 | 9421.06 | M K S ENGINEERING CO PVT LTD
18.00 | Extra for providing and mixing water proofing material in cement concrete work in doses by weight of cement as per manufacturer’s specification. | 576.00 | Per 50 kg cement | 0.00 | 300.00 | 172800.00 | 40.00 | 23040.00 | 23040.00 | Cupid Enterprises
19.00 | Making plinth protection 50 mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand (zone-lll) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75 mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | 59.28 | Sqm | 0.00 | 380.00 | 22526.40 | 400.00 | 23712.00 | 22526.40 | M K S ENGINEERING CO PVT LTD
20.00 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 156.00 | Cum | 0.00 | 5000.00 | 780000.00 | 6000.00 | 936000.00 | 780000.00 | M K S ENGINEERING CO PVT LTD
21.00 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement : 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 22.00 | Cum | 0.00 | 5000.00 | 110000.00 | 6000.00 | 132000.00 | 110000.00 | M K S ENGINEERING CO PVT LTD
22.00 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 72.00 | Cum | 0.00 | 5000.00 | 360000.00 | 5500.00 | 396000.00 | 360000.00 | M K S ENGINEERING CO PVT LTD
23.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level.: Thermo-Mechanically Treated bars of grade Fe-500D or more | 23400.00 | Kg | 0.00 | 72.00 | 1684800.00 | 80.00 | 1872000.00 | 1684800.00 | M K S ENGINEERING CO PVT LTD
24.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level.: Thermo-Mechanically Treated bars of grade Fe-500D or more | 14100.00 | Kg | 0.00 | 72.00 | 1015200.00 | 80.00 | 1128000.00 | 1015200.00 | M K S ENGINEERING CO PVT LTD
25.00 | Brick work with local available size bricks of class designation 3.5 in foundation and plinth in: Cement mortar 1:6 (1 Cement : 6 Coarse sand) | 156.00 | Cum | 0.00 | 4200.00 | 655200.00 | 4500.00 | 702000.00 | 655200.00 | M K S ENGINEERING CO PVT LTD
26.00 | Brick work with local available size bricks of class designation 3.5 in superstructure above plinth level upto floor V level in all shapes and sizes in: Cement mortar 1:6 (1 cement : 6 coarse sand) | 83.66 | Cum | 0.00 | 4200.00 | 351372.00 | 4500.00 | 376470.00 | 351372.00 | M K S ENGINEERING CO PVT LTD
27.00 | Providing and laying integral cement based water proofing treatment including preparation of surface as required for treatment of roofs, balconies, terraces etc consisting of following operations: (a) Applying a slurry coat of neat cement using 2.75 kg/sqm of cement admixed with water proofing compound conforming to IS. 2645 and approved by Engineer-in-charge over the RCC slab including adjoining walls upto 300 mm height including cleaning the surface before treatment. (b) Laying brick bats with mortar using broken bricks/brick bats 25 mm to 115 mm size with 50% of cement mortar 1:5 (1 cement : 5 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge over 20 mm thick layer of cement mortar of mix 1:5 (1 cement :5 coarse sand ) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge to required slope and treating similarly the adjoining walls upto 300 mm height including rounding of junctions of walls and slabs. (c) After two days of proper curing applying a second coat of cement slurry using 2.75 kg/ sqm of cement admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge. (d) Finishing the surface with 20 mm thick jointless cement mortar of mix 1:4 (1 cement :4 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge including laying glass fibre cloth of approved quality in top layer of plaster and finally finishing the surface with trowel with neat cement slurry and making pattern of 300x300 mm square 3 mm deep. (e) The whole terrace so finished shall be flooded with water for a minimum period of two weeks for curing and for final test.“All above operations to be done in order and as directed and specified by the Engineer-in-Charge : With average thickness of 120 mm and minimum thickness at khurra as 65 mm. | 121.39 | Sqm | 0.00 | 300.00 | 36417.00 | 620.00 | 75261.80 | 36417.00 | M K S ENGINEERING CO PVT LTD
28.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing of edges to give high gloss finish etc. complete at all levels.: Granite stone slab of colour black, Cherry/Ruby red: Area of slab upto 0.50 sqm | 1.43 | Sqm | 0.00 | 2800.00 | 4004.00 | 2300.00 | 3289.00 | 3289.00 | Cupid Enterprises
29.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing of edges to give high gloss finish etc. complete at all levels.: Granite stone slab of colour black, Cherry/Ruby red: Area of slab over 0.50 sqm | 5.80 | Sqm | 0.00 | 2800.00 | 16240.00 | 2300.00 | 13340.00 | 13340.00 | Cupid Enterprises
30.00 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge.: Granite Work | 9.67 | Metre | 0.00 | 200.00 | 1934.00 | 180.00 | 1740.60 | 1740.60 | Cupid Enterprises
31.00 | Extra for providing opening of required size & shape for wash basin/ kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. | 5.00 | Each | 0.00 | 5500.00 | 27500.00 | 410.00 | 2050.00 | 2050.00 | Cupid Enterprises
32.00 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lugs or dash fastener shall be paid for separately).: Second class teak wood | 1.66 | Cum | 0.00 | 140000.00 | 232400.00 | 100000.00 | 166000.00 | 166000.00 | Cupid Enterprises
33.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: 30 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 65.52 | Sqm | 0.00 | 3200.00 | 209664.00 | 1400.00 | 91728.00 | 91728.00 | Cupid Enterprises
34.00 | Providing and fixing panelled or panelled and glazed shutters for doors, windows and clerestory windows, fixing with butt hinges of required size with necessary screws, excluding panelling which will be paid for separately, all complete as per direction of Engineer-in-charge. (Note:- Butt hinges and necessary screws shall be paid separately): Second class teak wood: 30 mm thick shutters | 29.69 | Sqm | 0.00 | 3100.00 | 92039.00 | 3500.00 | 103915.00 | 92039.00 | M K S ENGINEERING CO PVT LTD
35.00 | Providing and fixing panelling or panelling and glazing in panelled or panelled and glazed shutters for doors, windows and clerestory windows (Area of opening for panel inserts excluding portion inside grooves or rebates to be measured). Panelling for panelled or panelled and glazed shutters 25 mm to 40 mm thick : Float glass pane: 4 mm thick glass pane (weight not less than 10kg/sqm) | 29.69 | Sqm | 0.00 | 2900.00 | 86101.00 | 600.00 | 17814.00 | 17814.00 | Cupid Enterprises
36.00 | Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. including priming coat with approved steel primer all complete.: Fixed to openings /wooden frames with rawl plugs screws etc. | 1360.00 | Kg | 0.00 | 100.00 | 136000.00 | 90.00 | 122400.00 | 122400.00 | Cupid Enterprises
37.00 | Providing and fixing fly proof galvanized M.S. wire gauge to windows and clerestory windows using wire gauge with average width of aperture 1.4 mm in both directions with wire of dia 0.63 mm all complete.: With 2nd class teak wood beading 62X19 mm | 30.77 | sqm | 0.00 | 2800.00 | 86156.00 | 650.00 | 20000.50 | 20000.50 | Cupid Enterprises
38.00 | Providing and fixing aluminium extruded section body tubular type universal hydraulic door closer (having brand logo with ISi, IS : 3564, embossed on the body, door weight upto 36 kg to 80 kg and door width from 701 mm to 1000 mm), with double speed adjustment with necessary accessories and screws etc. complete. | 26.00 | Each | 0.00 | 1600.00 | 41600.00 | 1100.00 | 28600.00 | 28600.00 | Cupid Enterprises
39.00 | Providing and fixing aluminium sliding door bolts, ISI marked anodised anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : 250x16 mm | 26.00 | Each | 0.00 | 350.00 | 9100.00 | 250.00 | 6500.00 | 6500.00 | Cupid Enterprises
40.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete :: 200x10 mm | 39.00 | Each | 0.00 | 170.00 | 6630.00 | 200.00 | 7800.00 | 6630.00 | M K S ENGINEERING CO PVT LTD
41.00 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : 125 mm | 65.00 | Each | 0.00 | 100.00 | 6500.00 | 80.00 | 5200.00 | 5200.00 | Cupid Enterprises
42.00 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete.: Twin rubber stopper | 26.00 | Each | 0.00 | 100.00 | 2600.00 | 60.00 | 1560.00 | 1560.00 | Cupid Enterprises
43.00 | Structural steel work in single section, fixed with or without connecting plate, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 302.00 | Kg | 0.00 | 100.00 | 30200.00 | 100.00 | 30200.00 | 30200.00 | M K S ENGINEERING CO PVT LTD, Cupid Enterprises
44.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete.: Hot finished welded type tubes | 1157.70 | Kg | 0.00 | 100.00 | 115770.00 | 110.00 | 127347.00 | 115770.00 | M K S ENGINEERING CO PVT LTD
45.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required.: In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | 615.00 | Kg | 0.00 | 100.00 | 61500.00 | 90.00 | 55350.00 | 55350.00 | Cupid Enterprises
46.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 66.48 | Sqm | 0.00 | 850.00 | 56508.00 | 950.00 | 63156.00 | 56508.00 | M K S ENGINEERING CO PVT LTD
47.00 | Kota stone slab flooring over 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab, including rubbing and polishing complete with base of cement mortar 1 : 4 (1 cement : 4 coarse sand) : 25 mm thick | 150.29 | sqm | 0.00 | 800.00 | 120232.00 | 1300.00 | 195377.00 | 120232.00 | M K S ENGINEERING CO PVT LTD
48.00 | Kota stone slabs 20 mm thick in risers of steps, skirting, dado and pillars laid on 12 mm (average) thick cement mortar 1:3 (1 cement: 3 coarse sand) and jointed with grey cement slurry mixed with pigment to match the shade of the slabs, including rubbing and polishing complete. | 28.24 | sqm | 0.00 | 800.00 | 22592.00 | 1500.00 | 42360.00 | 22592.00 | M K S ENGINEERING CO PVT LTD
49.00 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer), of 1st quality conforming to IS : 15622, of approved make, in all colours, shades, except White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick bed of cement mortar 1:4 (1 Cement : 4 Coarse sand), including pointing the joints with white cement and matching pigments etc., complete. | 17.16 | Sqm | 0.00 | 850.00 | 14586.00 | 950.00 | 16302.00 | 14586.00 | M K S ENGINEERING CO PVT LTD
50.00 | 12 mm cement plaster of mix : 1:4 (1 cement: 4 fine sand) | 1053.00 | Sqm | 0.00 | 200.00 | 210600.00 | 190.00 | 200070.00 | 200070.00 | Cupid Enterprises
51.00 | 15 mm cement plaster on the rough side of single or half brick wall of mix : 1:4 (1 cement: 4 fine sand | 318.00 | Sqm | 0.00 | 200.00 | 63600.00 | 210.00 | 66780.00 | 63600.00 | M K S ENGINEERING CO PVT LTD
52.00 | Providing and applying plaster of paris putty of 2 mm thickness over plastered surface to prepare the surface even and smooth complete. | 1371.00 | Sqm | 0.00 | 100.00 | 137100.00 | 80.00 | 109680.00 | 109680.00 | Cupid Enterprises
53.00 | Wall painting with acrylic emulsion paint, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre, of approved brand and manufacture, including applying additional coats wherever required, to achieve even shade and colour.: Two coats | 464.00 | Sqm | 0.00 | 50.00 | 23200.00 | 90.00 | 41760.00 | 23200.00 | M K S ENGINEERING CO PVT LTD
54.00 | Wall painting with premium acrylic emulsion paint of interior grade, having VOC (Volatile organic compound ) content less than 50 grams/litre of approved brand and manufacture, including applying additional coats wherever required to achieve even shade and colour: Two coats | 931.00 | Sqm | 0.00 | 45.00 | 41895.00 | 90.00 | 83790.00 | 41895.00 | M K S ENGINEERING CO PVT LTD
55.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work | 270.00 | Sqm | 0.00 | 45.00 | 12150.00 | 90.00 | 24300.00 | 12150.00 | M K S ENGINEERING CO PVT LTD
56.00 | Cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 40 mm nominal size) in pavements, laid to required slope and camber in panels as required including consolidation finishing and tamping complete. | 47.50 | Cum | 0.00 | 4400.00 | 209000.00 | 4800.00 | 228000.00 | 209000.00 | M K S ENGINEERING CO PVT LTD
57.00 | Providing and laying factory made chamfered edge Cement Concrete paver blocks in footpath, parks, lawns, drive ways or light traffic parking etc, of required strength, thickness & size/ shape, made by table vibratory method using PU mould, laid in required colour & pattern over 50mm thick compacted bed of M sand, compacting and proper embedding/laying of inter locking paver blocks into the M sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with M sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand. complete all as per direction of Engineer-in-Charge. 60mm thick cement concrete paver block of M-35 grade with approved colour, design & pattern. | 664.00 | Sqm | 0.00 | 550.00 | 365200.00 | 750.00 | 498000.00 | 365200.00 | M K S ENGINEERING CO PVT LTD
58.00 | Fixing available precoated galvanised iron profile sheets by using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 150.00 | Sqm | 0.00 | 1100.00 | 165000.00 | 700.00 | 105000.00 | 105000.00 | Cupid Enterprises
59.00 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests | 1.00 | Each | 0.00 | 4500.00 | 4500.00 | 5000.00 | 5000.00 | 4500.00 | M K S ENGINEERING CO PVT LTD
60.00 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : W.C. pan with ISI marked white solid plastic seat and lid | 1.00 | Each | 0.00 | 5000.00 | 5000.00 | 5000.00 | 5000.00 | 5000.00 | M K S ENGINEERING CO PVT LTD, Cupid Enterprises
61.00 | Providing and fixing white vitreous china flat back half stall urinal of size 580x380x350 mm with white PVC automatic flushing cistern, with fittings, standard size C.P. brass flush pipe, spreaders with unions and clamps (all in C.P. brass) with waste fitting as per IS : 2556, C.I. trap with outlet grating and other couplings in C.P. brass, including painting of fittings and cutting and making good the walls and floors wherever required : Single half stall urinal with 5 litre P.V.C. automatic flushing cistern | 3.00 | each | 0.00 | 4000.00 | 12000.00 | 4000.00 | 12000.00 | 12000.00 | M K S ENGINEERING CO PVT LTD, Cupid Enterprises
62.00 | Providing and fixing wash basin with CI brackets,15mm brass pillar taps,32mm CP brass waste of standard pattern, including painting of fittings and brackets,cutting and making good the walls wherever required.: White vitreous china wash basin size 630 mm x 450 mm with single 15mm CP brass pillar tap. | 2.00 | Each | 0.00 | 4000.00 | 8000.00 | 2500.00 | 5000.00 | 5000.00 | Cupid Enterprises
63.00 | Providing and fixing Stainless Steel A ISI 304 (18/8) kitchen sink as per IS:13983 with C.I. brackets and stainless steel plug 40 mm, including painting of fittings and brackets, cutting and making good the walls wherever required : Kitchen sink with drain board: 510x1040 mm bowl depth 178 mm | 1.00 | each | 0.00 | 4000.00 | 4000.00 | 5000.00 | 5000.00 | 4000.00 | M K S ENGINEERING CO PVT LTD
64.00 | Providing and fixing P.V.C waste pipe for sink or wash basin including P.V.C waste fitting complete: Flexible pipe: 40 mm dia | 3.00 | Each | 0.00 | 200.00 | 600.00 | 100.00 | 300.00 | 300.00 | Cupid Enterprises
65.00 | Providing and fixing 600x450mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | 2.00 | Each | 0.00 | 2000.00 | 4000.00 | 950.00 | 1900.00 | 1900.00 | Cupid Enterprises
66.00 | providing & fixing PTMT towel rail complete with brackets fixed to wooden cleats with cp brass screws with concealed fittings arrangement of approved quality and colour.: 450 mm long towel rail with total length of 495 mm. 78 mm wide and effective height of 88 mm, weighting not less than 170 gms. | 1.00 | Each | 0.00 | 1600.00 | 1600.00 | 200.00 | 200.00 | 200.00 | Cupid Enterprises
67.00 | Providing and fixing C.P. brass shower rose with 15 or 20 mm inlet : 150 mm diameter | 1.00 | Each | 0.00 | 1200.00 | 1200.00 | 450.00 | 450.00 | 450.00 | Cupid Enterprises
68.00 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : 15 mm nominal bore | 7.00 | Each | 0.00 | 1200.00 | 8400.00 | 700.00 | 4900.00 | 4900.00 | Cupid Enterprises
69.00 | Providing and fixing Chlorinate Polyvinyl Chloride (CPVC) pipes having thermal stability for hot & cold water supply including all (CPVC) plain & brass threaded fittings including fixing the pipe with clamps at 1.00 m spacing. This including jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of engineer in charge.: Internal Work - Exposed on Wall: 20 mm nominal outer dia pipes. | 40.00 | Metre | 0.00 | 150.00 | 6000.00 | 200.00 | 8000.00 | 6000.00 | M K S ENGINEERING CO PVT LTD
70.00 | Providing and fixing Chlorinate Polyvinyl Chloride (CPVC) pipes having thermal stability for hot & cold water supply including all (CPVC) plain & brass threaded fittings including fixing the pipe with clamps at 1.00 m spacing. This including jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of engineer in charge.: Internal Work - Exposed on Wall: 25 mm nominal outer dia pipes. | 56.00 | Metre | 0.00 | 200.00 | 11200.00 | 200.00 | 11200.00 | 11200.00 | M K S ENGINEERING CO PVT LTD, Cupid Enterprises
71.00 | Providing and fixing Chlorinate Polyvinyl Chloride (CPVC) pipes having thermal stability for hot & cold water supply including all (CPVC) plain & brass threaded fittings including fixing the pipe with clamps at 1.00 m spacing. This including jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of engineer in charge.: Internal Work - Exposed on Wall: 32 mm nominal outer dia pipes. | 50.00 | Metre | 0.00 | 300.00 | 15000.00 | 300.00 | 15000.00 | 15000.00 | M K S ENGINEERING CO PVT LTD, Cupid Enterprises
72.00 | Providing and fixing Chlorinate Polyvinyl Chloride (CPVC) pipes having thermal stability for hot & cold water supply including all (CPVC) plain & brass threaded fittings including fixing the pipe with clamps at 1.00 m spacing. This including jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of engineer in charge.: Internal Work - Exposed on Wall: 40 mm nominal outer dia pipes. | 160.00 | Metre | 0.00 | 300.00 | 48000.00 | 350.00 | 56000.00 | 48000.00 | M K S ENGINEERING CO PVT LTD
73.00 | Providing and fixing Chlorinate Polyvinyl Chloride (CPVC) pipes having thermal stability for hot & cold water supply including all (CPVC) plain & brass threaded fittings including fixing the pipe with clamps at 1.00 m spacing. This including jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of engineer in charge.: Internal Work - Exposed on Wall: 50 mm nominal outer dia pipes. | 160.00 | Metre | 0.00 | 300.00 | 48000.00 | 450.00 | 72000.00 | 48000.00 | M K S ENGINEERING CO PVT LTD
74.00 | Providing and fixing Chlorinate Polyvinyl Chloride (CPVC) pipes having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings i/c fixing the pipe with clamps at 1.00 m spacing. This including jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the the same including testing of joints complete as per direction of engineer in charge: Concealed work including cutting chases and making good the walls etc: 20 mm nominal outer dia pipes | 28.00 | Metre | 0.00 | 180.00 | 5040.00 | 200.00 | 5600.00 | 5040.00 | M K S ENGINEERING CO PVT LTD
75.00 | Providing and fixing Chlorinate Polyvinyl Chloride (CPVC) pipes having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings i/c fixing the pipe with clamps at 1.00 m spacing. This including jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the the same including testing of joints complete as per direction of engineer in charge: Concealed work including cutting chases and making good the walls etc: 25 mm nominal outer dia pipes. | 56.00 | Metre | 0.00 | 200.00 | 11200.00 | 200.00 | 11200.00 | 11200.00 | M K S ENGINEERING CO PVT LTD, Cupid Enterprises
76.00 | Providing and fixing Chlorinate Polyvinyl Chloride (CPVC) pipes having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings i/c fixing the pipe with clamps at 1.00 m spacing. This including jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the the same including testing of joints complete as per direction of engineer in charge: Concealed work including cutting chases and making good the walls etc: 32 mm nominal outer dia pipes. | 50.00 | Metre | 0.00 | 200.00 | 10000.00 | 300.00 | 15000.00 | 10000.00 | M K S ENGINEERING CO PVT LTD
77.00 | Providing and fixing brass stop cock of approved quality complete.: 15 mm nominal bore | 6.00 | Each | 0.00 | 900.00 | 5400.00 | 600.00 | 3600.00 | 3600.00 | Cupid Enterprises
78.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end): 25 mm dia nominal bore | 6.00 | Each | 0.00 | 1250.00 | 7500.00 | 700.00 | 4200.00 | 4200.00 | Cupid Enterprises
79.00 | Providing and placing on terrace (at all floor levels) Polyethylene water storage tank ISI : 12701 marked with cover and suitable locking arrangement amd making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 5000.00 | Litre | 0.00 | 8.00 | 40000.00 | 7.00 | 35000.00 | 35000.00 | Cupid Enterprises
80.00 | Providing and fixing unplasticised P.V.C connection pipe with PTMT Nuts coller and bush of approved quality and colour.: 15mm nominal bore with 45cm length | 6.00 | Each | 0.00 | 200.00 | 1200.00 | 65.00 | 390.00 | 390.00 | Cupid Enterprises
81.00 | Providing & fixing on wall face unplasticised -Rigid PVC rain water pipes conforming to IS ; 13592 Type A included jointing with seal ring conforning to IS ; 5382 leaving 10 mm gap for thermal expansion.: 110 mm diameter | 54.00 | Metre | 0.00 | 210.00 | 11340.00 | 210.00 | 11340.00 | 11340.00 | M K S ENGINEERING CO PVT LTD, Cupid Enterprises
82.00 | Providing, fixing on wall face unplasticised - PVC moulded fittings /accessories for unplasticised - Rigid PVC rain water pipes conforming to IS ; 13592 Type A including jointing with seal ring conforming to IS ; 5382 leaving 10 mm gap for thermal expansion.: Coupler-110mm diameter | 20.00 | Each | 0.00 | 350.00 | 7000.00 | 170.00 | 3400.00 | 3400.00 | Cupid Enterprises
83.00 | Providing, fixing on wall face unplasticised - PVC moulded fittings /accessories for unplasticised - Rigid PVC rain water pipes conforming to IS ; 13592 Type A including jointing with seal ring conforming to IS ; 5382 leaving 10 mm gap for thermal expansion.: 110 mm bend | 15.00 | Each | 0.00 | 300.00 | 4500.00 | 260.00 | 3900.00 | 3900.00 | Cupid Enterprises
84.00 | Providing, fixing on wall face unplasticised - PVC moulded fittings /accessories for unplasticised - Rigid PVC rain water pipes conforming to IS ; 13592 Type A including jointing with seal ring conforming to IS ; 5382 leaving 10 mm gap for thermal expansion.: 110 mm Shoe | 12.00 | Each | 0.00 | 250.00 | 3000.00 | 260.00 | 3120.00 | 3000.00 | M K S ENGINEERING CO PVT LTD
85.00 | Providing & fixing unplasticised - PVC pipe clips of approved design to unplasticised - PVC rain water pipes by means of 50x50x50mm hard wood plugs, screwed with .M.S. screws of required length including cutting brick work and fixing in cement mortar 1:4(1cement : 4 coarse sand) and making good the wall etc. complete.: 110mm dia | 30.00 | Each | 0.00 | 250.00 | 7500.00 | 200.00 | 6000.00 | 6000.00 | Cupid Enterprises
86.00 | Providing and fixing to the inlet mouth of rain water pipe cast iron grating 15cm diameter and weighting not less than 440 grams. | 8.00 | Each | 0.00 | 150.00 | 1200.00 | 100.00 | 800.00 | 800.00 | Cupid Enterprises
87.00 | Providing and fixing soil, waste and vent pipes: 100 mm dia Sand cast iron S&S pipe as per IS: 1729 | 180.00 | Metre | 0.00 | 1200.00 | 216000.00 | 1000.00 | 180000.00 | 180000.00 | Cupid Enterprises
88.00 | Providing and fixing M.S. holder-bat clamps of approved design to Sand Cast iron/cast iron (spun) pipe embedded in and including cement concrete blocks 10x10x10 cm of 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), including cost of cutting holes and making good the walls etc. :For 100 mm dia pipe | 20.00 | Each | 0.00 | 800.00 | 16000.00 | 450.00 | 9000.00 | 9000.00 | Cupid Enterprises
89.00 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete.: 100 mm dia Sand cast iron S&S as per IS - 1729 | 20.00 | Each | 0.00 | 1000.00 | 20000.00 | 450.00 | 9000.00 | 9000.00 | Cupid Enterprises
90.00 | Providing and fixing plain bend of required degree.:100 mm dia Sand cast iron S&S as per IS - 1729 | 20.00 | Each | 0.00 | 1000.00 | 20000.00 | 450.00 | 9000.00 | 9000.00 | Cupid Enterprises
91.00 | Providing and fixing heel rest sanitary bend: 100 mm dia Sand cast iron S&S as per IS - 1729 | 20.00 | Each | 0.00 | 900.00 | 18000.00 | 450.00 | 9000.00 | 9000.00 | Cupid Enterprises
92.00 | Providing and fixing double equal junction of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete : 100x100x100x100 mm Sand cast iron S&S as per IS - 1729 | 20.00 | Each | 0.00 | 2000.00 | 40000.00 | 600.00 | 12000.00 | 12000.00 | Cupid Enterprises
93.00 | Providing and fixing single equal plain junction of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete.: 100x100x100 mm Sand cast iron S&S as per IS - 1729 | 20.00 | Each | 0.00 | 1800.00 | 36000.00 | 500.00 | 10000.00 | 10000.00 | Cupid Enterprises
94.00 | Providing and fixing terminal guard : 100 mm Sand cast iron S&S as per IS - 1729 | 20.00 | Each | 0.00 | 1200.00 | 24000.00 | 400.00 | 8000.00 | 8000.00 | Cupid Enterprises
95.00 | Providing and fixing collar : 100 mm Sand cast iron S&S as per IS - 1729 | 20.00 | Each | 0.00 | 1200.00 | 24000.00 | 300.00 | 6000.00 | 6000.00 | Cupid Enterprises
96.00 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter : 100 mm | 200.00 | Each | 0.00 | 900.00 | 180000.00 | 255.00 | 51000.00 | 51000.00 | Cupid Enterprises
97.00 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : 100 mm inlet and 100 mm outlet Sand cast iron S&S as per IS: 1729 | 20.00 | Each | 0.00 | 1850.00 | 37000.00 | 1000.00 | 20000.00 | 20000.00 | Cupid Enterprises
98.00 | Providing and laying cement concrete 1:5:10 (1 cement: 5 coarse sand: 10 graded stone aggregate 40 mm nominal size) all-round SW including bed concrete as per standard design.: 100mm diameter | 120.00 | Metre | 0.00 | 290.00 | 34800.00 | 700.00 | 84000.00 | 34800.00 | M K S ENGINEERING CO PVT LTD
99.00 | Providing and fixing square mouth SW gully trap class SP-1 complete with CI grating brick masonry chamber and water tight CI cover with frame of 300 x 300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg. as per standard design.: 180x150mm size P type: with common burnt clay F.P.S. (non modular) bricks of class designation 3.5 | 10.00 | Each | 0.00 | 2500.00 | 25000.00 | 2000.00 | 20000.00 | 20000.00 | Cupid Enterprises
100.00 | Providing and laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete : 300 mm dia. R.C.C. pipe | 14.00 | Metre | 0.00 | 600.00 | 8400.00 | 1500.00 | 21000.00 | 8400.00 | M K S ENGINEERING CO PVT LTD
101.00 | Preparing & providing Structural Design and Drawings of Structural Elements (as per relevant IS codes) like RCC box culvert and any other elements for the proposed Construction of RCC box culvert for covering the existing drain at operational area of airport as per Layouts/Plans/Drawings provided by AAI after investigating the existing location. The contractor shall submit 3 sets of structural design and drawings to the Engineer-in-Charge for vetting from any government engineering college . The fee / charges for vetting shall be paid by the contractor. In case any clarification / modification in design/drawing is required during vetting or during the course of execution of work, it shall be got done by the contractor through the consultant for which nothing extra shall be paid. After vetting/approval of structural design & drawing, 3 (three) sets of good for construction drawings showing all relevant details duly signed by the consultant shall be submitted to the Engineer-in-Charge. Rate quoted by contractor shall be for complete job including structural design, drawings, vetting charges, site visits by consultant, modifications, submission of required nos. of copies of reports. Nothing extra shall be payable over and above the quoted rate. | 1.00 | JOB | 0.00 | 100000.00 | 100000.00 | 60000.00 | 60000.00 | 60000.00 | Cupid Enterprises
102.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FR PVC insulated copper conductor single core cable etc as required.(Group C) | 67.00 | Point | 0.00 | 1400.00 | 93800.00 | 500.00 | 33500.00 | 33500.00 | Cupid Enterprises
103.00 | Wiring for twin control light point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface /recessed steel conduit, 2 way modular switch, modular plate,suitable GI box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc. as required | 4.00 | Point | 0.00 | 1650.00 | 6600.00 | 800.00 | 3200.00 | 3200.00 | Cupid Enterprises
104.00 | Wiring for light/ power plug with 2X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/recessed steel conduit alongwith 1 No. 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 61.00 | Mtr | 0.00 | 350.00 | 21350.00 | 100.00 | 6100.00 | 6100.00 | Cupid Enterprises
105.00 | Wiring for light/ power plug with 4X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/recessed steel conduit alongwith 2 Nos. 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 125.00 | Mtr | 0.00 | 460.00 | 57500.00 | 200.00 | 25000.00 | 25000.00 | Cupid Enterprises
106.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required (2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire) | 80.00 | Mtr | 0.00 | 250.00 | 20000.00 | 100.00 | 8000.00 | 8000.00 | Cupid Enterprises
107.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required (4X 2.5sq. mm + 2X2.5 sq. mm earth wire) | 82.00 | Mtr | 0.00 | 480.00 | 39360.00 | 100.00 | 8200.00 | 8200.00 | Cupid Enterprises
108.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. (5/6 amps switch) | 23.00 | Each | 0.00 | 45.00 | 1035.00 | 100.00 | 2300.00 | 1035.00 | M K S ENGINEERING CO PVT LTD
109.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. (3 pin 5/6 amp socket outlet) | 23.00 | Each | 0.00 | 50.00 | 1150.00 | 150.00 | 3450.00 | 1150.00 | M K S ENGINEERING CO PVT LTD
110.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. (15/16 amp switch) | 19.00 | Each | 0.00 | 140.00 | 2660.00 | 300.00 | 5700.00 | 2660.00 | M K S ENGINEERING CO PVT LTD
111.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. (6 pin 15/16 amp socket outlet) | 19.00 | Each | 0.00 | 140.00 | 2660.00 | 200.00 | 3800.00 | 2660.00 | M K S ENGINEERING CO PVT LTD
112.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc as required. (3 Module) | 19.00 | Each | 0.00 | 80.00 | 1520.00 | 100.00 | 1900.00 | 1520.00 | M K S ENGINEERING CO PVT LTD
113.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc as required. (6 Module) | 5.00 | Each | 0.00 | 150.00 | 750.00 | 170.00 | 850.00 | 750.00 | M K S ENGINEERING CO PVT LTD
114.00 | Supplying and drawing following pair 0.4. mm dia FRLS PVC insulated annealed copper conductor, unarmored telephone cable in the existing surface/ recessed steel/ PVC conduit as required. (4 Pair ) | 200.00 | Mtr | 0.00 | 35.00 | 7000.00 | 50.00 | 10000.00 | 7000.00 | M K S ENGINEERING CO PVT LTD
115.00 | Supplying and fixing 20 A, 240 V, SPN Industrial type socket outlet, with 2 pole and earth, metal enclosed plug top alongwith 20 A "C" curve, SP, MCB, in sheet steelenclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | 7.00 | Each | 0.00 | 850.00 | 5950.00 | 1000.00 | 7000.00 | 5950.00 | M K S ENGINEERING CO PVT LTD
116.00 | Supply of LED street light of maximum rated capacity of 70 watt with minimum lumen output 7700 lumens made of pressor die cast aluminum housing with polycarbonate modular secondary lens optics including all accessories like electronic gear / driver with LED as light source suitable to operate on 140-270 V, 50 Hz AC supply complete as per technical specification etc. as required. | 9.00 | Each | 0.00 | 5500.00 | 49500.00 | 1500.00 | 13500.00 | 13500.00 | Cupid Enterprises
117.00 | Supply of 20 watt Engineering plastic batten with white acrylic cover sleek design and high efficiency for wall and surface suitable for 140-270 V, 50 Hz AC supply complete as per technical specification etc. as required. | 45.00 | Each | 0.00 | 550.00 | 24750.00 | 450.00 | 20250.00 | 20250.00 | Cupid Enterprises
118.00 | Supplying and fixing of 32 mm dia X Approx 60 cm long G.I. pipe (medium class) bracket for mounting of LED street light fitting on wall / pole including bending the pipe to the required shape, 2 nos 40 mm X 3 mm flat iron clamps with nuts bolts and washer, painting the flat iron with primer and finish paint etc. as required. | 9.00 | Each | 0.00 | 500.00 | 4500.00 | 1000.00 | 9000.00 | 4500.00 | M K S ENGINEERING CO PVT LTD
119.00 | Installation, testing and commissioning of pre-wired, LED Recess, Surface Mounted etc of above fixtures with all accessories including nut bolt washer and hanging/fixing arrangements if required directly on existing in False ceiling / wall / surface/ cieling as including connection as per site requirement | 54.00 | Each | 0.00 | 225.00 | 12150.00 | 160.00 | 8640.00 | 8640.00 | Cupid Enterprises
120.00 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing alongwith cable end box etc. as required. (But without MCB/RCCB/Isolator). 8 way (8 + 24), Double door | 2.00 | Each | 0.00 | 6000.00 | 12000.00 | 260.00 | 520.00 | 520.00 | Cupid Enterprises
121.00 | Supplying and fixing following rating, four pole, (three phase and neutral), 415 volts, residual current circuit breaker (RCCB), having a sensitivity current 30 mA in the existing MCB DB complete with connections, testing and commissioning etc. as required.. (i) 63 Amp | 2.00 | No. | 0.00 | 1850.00 | 3700.00 | 1500.00 | 3000.00 | 3000.00 | Cupid Enterprises
122.00 | Supply and fixing following rating four pole 415 volts, isolator in the existing MCB DB complete with Connections, testing and commissioning etc.as requried. (i) 63 Amp | 2.00 | No. | 0.00 | 1350.00 | 2700.00 | 1500.00 | 3000.00 | 2700.00 | M K S ENGINEERING CO PVT LTD
123.00 | Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. (i) Single pole , 6 amps to 32 amps | 48.00 | No. | 0.00 | 160.00 | 7680.00 | 180.00 | 8640.00 | 7680.00 | M K S ENGINEERING CO PVT LTD
124.00 | Supplying and fixing of following sizes of steel conduit along with the accessories in surface / recess including cutting the wall and making good the same in case of recessed conduit etc as required as per specification. (For Telephone Cable) (25mm dia conduit pipe) | 150.00 | Mtr | 0.00 | 220.00 | 33000.00 | 50.00 | 7500.00 | 7500.00 | Cupid Enterprises
125.00 | Supply of 300 mm Sweep 1400RPM heavy duty exhasut fan suitable for operation on single phase 230 Volt +/-10 Volt, 50 Hz, Single Phase, AC Power supply including lauvers complete as required | 2.00 | Each | 0.00 | 2200.00 | 4400.00 | 2000.00 | 4000.00 | 4000.00 | Cupid Enterprises
126.00 | Supply of 1200 mm sweep, energy saving ceiling fans (with BLDC motor) suitable for 230 V, 50 Hz power supply with 30 cm down rod and other accessories, canopies but without regulator etc as required. | 13.00 | Each | 0.00 | 1850.00 | 24050.00 | 2000.00 | 26000.00 | 24050.00 | M K S ENGINEERING CO PVT LTD
127.00 | Installation, testing and commissioning of ceiling fan, including wiring the down rods of standard length (upto 30 cm) with 1.5sq. m FRLS PVC insulated, copper conductor, single core cable etc. as required. | 13.00 | Each | 0.00 | 150.00 | 1950.00 | 160.00 | 2080.00 | 1950.00 | M K S ENGINEERING CO PVT LTD
128.00 | Supplying and fixing extra down rod of 10 cm length G.I. pipe, 15 mm dia, heavy gauge including painting etc. as required. (Note : More than 5 cm length shall be rounded to the nearest 10 cm and 5 cm or less shall be ignored) | 13.00 | Each | 0.00 | 118.00 | 1534.00 | 120.00 | 1560.00 | 1534.00 | M K S ENGINEERING CO PVT LTD
129.00 | Installation of exhaust fan upto 450 mm in the existing opening, including, making the hole to suit the size of fan, making good the damage, connection, testing, commissioning etc. as required. | 2.00 | Each | 0.00 | 450.00 | 900.00 | 170.00 | 340.00 | 340.00 | Cupid Enterprises
130.00 | Extra for fixing the louvers/ shutters complete with frame for a exhaust fan of all sizes. | 2.00 | Each | 0.00 | 150.00 | 300.00 | 450.00 | 900.00 | 300.00 | M K S ENGINEERING CO PVT LTD
131.00 | Numbering of ceiling fan/ exhaust fan/ Light fittings as required. | 69.00 | Each | 0.00 | 30.00 | 2070.00 | 100.00 | 6900.00 | 2070.00 | M K S ENGINEERING CO PVT LTD
132.00 | Supply of following size 1.1 KV grade XLPE /PVC insulated, PVC sheathed, armoured Aluminium conductor conforming to is 7098(part 1) amended upto date. (i)3.5 X 35 Sq.mm | 500.00 | Mtr | 0.00 | 280.00 | 140000.00 | 230.00 | 115000.00 | 115000.00 | Cupid Enterprises
133.00 | Laying of one number XLPE/PVC insulated PVC sheathed aluminium/copper conductor armoured power cable of 1.1 KV grade of following sizes in theexisting RCC/HUME/ STONEW / METAL PIPE/HDPE as requried. (i) up to 35 Sqmm | 400.00 | Mtr | 0.00 | 80.00 | 32000.00 | 50.00 | 20000.00 | 20000.00 | Cupid Enterprises
134.00 | Supply of 50 mm outer dia PE-80 HDPE Pipe suitable to lay in underground as per IS:4984/95 duly ISI marked . Should withstand minimum pressure of 6 Kgf/cm2. | 400.00 | Mtr | 0.00 | 110.00 | 44000.00 | 150.00 | 60000.00 | 44000.00 | M K S ENGINEERING CO PVT LTD
135.00 | Laying of HDPE/MS Pipe direct in underground at depth of upto 75 cm below ground level including excavation and refilling of soil/concrete and refilling it as required at site. | 400.00 | Mtr | 0.00 | 230.00 | 92000.00 | 100.00 | 40000.00 | 40000.00 | Cupid Enterprises
136.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required Upto 35 sq. mm (clamped with 1mm thick saddle) | 100.00 | Mtr | 0.00 | 50.00 | 5000.00 | 50.00 | 5000.00 | 5000.00 | M K S ENGINEERING CO PVT LTD, Cupid Enterprises
137.00 | Providing & fixing of 6 SWG GI wire on surface or in the recess for loop earth. | 40.00 | Mtr | 0.00 | 50.00 | 2000.00 | 50.00 | 2000.00 | 2000.00 | M K S ENGINEERING CO PVT LTD, Cupid Enterprises
138.00 | Supplying and making end termination with brass compression gland and aluminum lugs for following size of XLPE/PVC installed PVC sheathed aluminum conductor electric cable of 1.1 kv grade as required. 3.5C x 35 sq.mm. | 4.00 | Set | 0.00 | 150.00 | 600.00 | 500.00 | 2000.00 | 600.00 | M K S ENGINEERING CO PVT LTD
139.00 | Supply of 2000 watt fan room heater powder coated iron, steel grill with heat setting 600 to 2000w, over heat protection make bajaj model majesty RX7 complete as required. | 4.00 | Each | 0.00 | 3500.00 | 14000.00 | 2200.00 | 8800.00 | 8800.00 | Cupid Enterprises
140.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. (but with charcoal/ coke and salt ) as required. | 2.00 | Each | 0.00 | 7500.00 | 15000.00 | 5100.00 | 10200.00 | 10200.00 | Cupid Enterprises
141.00 | Supply of 4C x 6 sq.mm size, multi stranded copper conductor, XLPE insulated PVC Innersheathed unarrmoured flexible cable 650/1100 V grade cable as specified in particular specification and as required. | 100.00 | Mtr | 0.00 | 550.00 | 55000.00 | 250.00 | 25000.00 | 25000.00 | Cupid Enterprises
142.00 | Supply of (BEE 5 Star) 1.5 TR high wall type split Inverter Air Conditioner unit with rotary compressor operating on refrigerant R-32/Non CFC & Copper condensor coil of outdoor unit & having cordless LCD remote,auto restart operation with copper refrigerant gas pipeline insulated with nitrile/polythene foam i/c electrical cable of suitable size copper conductor from indoor to outdoor unit ( both upto 3 mtr) i/c standard drain pipe,MS base frame / platform duly epoxy painted for outdoor units for operation on 230V , 50 Hz single phase AC supply and capable of performing such standard function like cooling, dehumidifying,air circulating, filtering etc complete as required. | 7.00 | Each | 0.00 | 45000.00 | 315000.00 | 40000.00 | 280000.00 | 280000.00 | Cupid Enterprises
143.00 | Supply Installation, Testing & commissioning of 5 KVA automatic voltage stabilizer for given output voltage of single phase 230+/- 10%, AC supply for the input single phase supply voltage range of 170 V to 270 V, single phase, 50 Hz, AC supply. | 7.00 | Each | 0.00 | 3000.00 | 21000.00 | 2500.00 | 17500.00 | 17500.00 | Cupid Enterprises
144.00 | Supplying & installation of 25 mm dia PVC hard Drain pipe complete with all accessories and fittings etc as required. | 80.00 | Mtr | 0.00 | 50.00 | 4000.00 | 60.00 | 4800.00 | 4000.00 | M K S ENGINEERING CO PVT LTD
145.00 | Installation, Testing & Commissioning of up to 1.5 TR capacity split Air-Conditioners comprising of wal / floor mounting type indoor evaporator unit , outdoor condensor unit and fixing of refrigerant piping with insulation, suitable size power cable between indoor and outdoor unit (upto length of 3 metre) and including initial charging of refrigerant gas etc as required. | 7.00 | Each | 0.00 | 2000.00 | 14000.00 | 1500.00 | 10500.00 | 10500.00 | Cupid Enterprises
146.00 | Suply & fixing of Extra copper piping( beyond 3.0 meter) between the indoor and outdoor units with insulation, gas charging etc. complete as required. | 50.00 | Mtr | 0.00 | 750.00 | 37500.00 | 200.00 | 10000.00 | 10000.00 | Cupid Enterprises
147.00 | Fabrication, Supply, Installation, Testing and Commissioning of cubicle type, IP-42, indoor LT panel as per IS 8623-Part-1, wall mounted as desired at site, suitable for 415V+/-10%, 3 Phase, 4 wire, 50 Hz AC supply system, fabricated in compartmentalized modular design from CRCA sheet steel of minimum 1.6 mm thick for frame work and covers, 3 mm thick for gland plates ,TPN Aluminium alloy bus bars of high conductivity with short circuit withstand capacity of 35 KA for 1 sec, entire panel shall have a common Al. earth bus bar of suitable size, at the rear end with 2 Nos. earth stud, solid / flexible connections from main bus bar to switchgears and from switchgear output to cable termination in cable alley with required size of Copper conductors / Aluminium bus bars and control wiring with 2.5 sqmm copper conductor cable (FRLS), complete with all accessories, interconnection, earthing i/c providing following switchgears / accessories complete as required. A) Incomers & Bus coupler: (a) (c) 125 A, 25 kA, Four Pole MCCB (Ics = 100% Icu) with Adjustable Thermal and Adjustable Magnetic Releases, O/L and S/C Fault Protection (Incomer - 2 Nos.) b) Intelligent Digital Multi Function Meter to read V, A, kVA, KW, kVAR, PF, Hz, THD, communication facility (RS-485 port), CL-1.0, LED display with 03 Nos of CTs, 125/5, 5 VA, Class 1.0 and control circuit wiring with 2 Amps MCBs for controlling and protection. - 2 Sets. c) R, Y, B Phase indicating lamps, LED type, with 2 Amp MCB for protection. - 3 Sets. d) 1 Set of Indication Lamps, LED type for MCCB 'ON' , 'OFF', 'TRIP' with 02 Amps MCB for protection - 2 Sets. Manual Changeover switch 125A - 01 no. B) Main Busbars: TPN, high conductivity Aluminium, both sides extensible type main bus bars of minimum 150 Amps. capacity with heat shrinkable coloured sleeves and i/c DMC / SMC bus bar cross section supports & their spacing etc. for withstanding fault level of 35 kA capacity for 1 sec. - 1 Set C) Outgoings (a) 63 A, 4 pole MCB.- 4 nos. NOTE: a) All MCCBs shall be provided with ON, OFF & TRIP indication lamps (LED type) with 2 Amp SP MCB for protection. b) All MCCBs shall be provided with rotary operating handle and spreader terminals. | 1.00 | Job | 0.00 | 65000.00 | 65000.00 | 80000.00 | 80000.00 | 65000.00 | M K S ENGINEERING CO PVT LTD
| Total in Figures |  |  |  |  | 11918091.46 |  | 11895937.90
Lowest Amount Quoted BY: Cupid Enterprises(11895937.90)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of Dog Kennel (for 4 Nos. Dogs) at Jabalpur Airport, Jabalpur Tender ID: 2024_AAI_221151_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Cupid Enterprises (BID ID -808783) | 11895937.90 | L1
| 2 | M K S ENGINEERING CO PVT LTD (BID ID -807991) | 11918091.46 | L2