## BoQ1
Government eProcurement System Created By: Gajraj Singh Bhati Created Date/Time: 09-Jan-2025 04:06 PM Tender Title: Replacement of existing battery for 2 x 120 KVA UPS system at Dimapur Airport Tender ID: 2024_AAI_221339_1
Tender Inviting Authority: Asst. General Manager Engg.- E, Airports Authority of India, Dimapur Airport.
Name of Work:- “Replacement of existing battery for 2 x 120 KVA UPS system at Dimapur Airport”
e-Tender ID.: 2024_AAI_221339_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SUN POWER CONVERSION PVT LTD (GSTN-09AAICS9074K1ZL) BID ID -801660 |  | Awasthi Electric Works (GSTN-09ABAPA1866D1Z5) BID ID -803873 |  | MS BHARAT ELECTRICALS (GSTN-NA) BID ID -801598
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply and replacement of VRLA 100 Ah, 12 V SMF battery along with complete initial Battery Charging, i/c interconnections between batteries for formation of battery bank suitable for online UPS application etc. as required (Make - EXIDE, Model No. - EP 100-12 or equivalent). (Note:- The Dismentalled materials handed over to AAI store as per site location at Dimapur Airport) | 100.00 | Each | 0.00 | 8000.00 | 800000.00 | 8200.00 | 820000.00 | 7989.10 | 798910.00 | 798910.00 | MS BHARAT ELECTRICALS
| Total in Figures |  |  |  |  | 800000.00 |  | 820000.00 |  | 798910.00
Lowest Amount Quoted BY: MS BHARAT ELECTRICALS(798910.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of existing battery for 2 x 120 KVA UPS system at Dimapur Airport Tender ID: 2024_AAI_221339_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | MS BHARAT ELECTRICALS (BID ID -801598) | 798910.00 | L1
| 2 | SUN POWER CONVERSION PVT LTD (BID ID -801660) | 800000.00 | L2
| 3 | Awasthi Electric Works (BID ID -803873) | 820000.00 | L3