## BoQ1
Government eProcurement System Created By: Amitabh Ranjan Created Date/Time: 28-Jan-2025 05:12 PM Tender Title: Provision of Tensile Fabric Canopy in Pickup and drop Lane City Side at SGRDJ International Airport Amritsar. SH Electrical Works Tender ID: 2024_AAI_221542_1
Tender Inviting Authority: <AGM Engg (Elect), Airports Authority of India, Sri Guru Ram Dass Jee, International Airport, Amritsar - 143101>
Name of Work: <Provision of Tensile Fabric Canopy in Pickup and drop Lane City Side at SGRDJ International Airport Amritsar. SH: Electrical Works..>
Contract No: <AAI/ASR/ENGG-ELECT/eNIT-12/2024-25>
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Manish Electricals (GSTN-23ABLPM9012E1ZW) BID ID -809290 |  | JCC ENGINEERS PRIVATE LIMITED (GSTN-NA) BID ID -808987
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of surface mounting 70 watt LED based highbay lighting luminaire suitable for canopy with high impact resistant, corrosion resistant, easy to install and IP 65 ingress protection, come equipped with pressure die cast aluminium well glass complete with all accessories .(Make-As per AAI approved make list) | 60.00 | Each |  | 6200.00 | 372000.00 | 5000.00 | 300000.00 | 300000.00 | JCC ENGINEERS PRIVATE LIMITED
2.00 | Installation, testing and commissioning of pre-wired, LED light fixture / fluoresscent fitting / compact fluorescent fitting of all types, with all accessories and tube etc. directly on ceiling / wall / in false ceiling / truss including connection with 3x1.5 sq.mm FR PVC insulated, flexible copper conductor cable and earthing etc. as required. | 60.00 | Each |  | 700.00 | 42000.00 | 500.00 | 30000.00 | 30000.00 | JCC ENGINEERS PRIVATE LIMITED
3.00 | Supply of 4c x 10 sqmm size XLPE insulated Aluminium conductor, armoured underground power cable of 1.1 KV grade, confirming to IS 7098 (Part - I) with upto date ammendment. | 300.00 | Metre |  | 290.00 | 87000.00 | 250.00 | 75000.00 | 75000.00 | JCC ENGINEERS PRIVATE LIMITED
4.00 | Supplying and fixing 6-32 Amp Single pole rating, 240 volts, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing cable junction box complete with connections, testing and commissioning etc. as required. | 28.00 | Each |  | 300.00 | 8400.00 | 250.00 | 7000.00 | 7000.00 | JCC ENGINEERS PRIVATE LIMITED
5.00 | Supply and fixing of pre fabricated weather proof thermoplastic cable junction box of size (200mm x 160 mm x 98mm ) made out of polycarbonate material (Electical grade ) with IP-65/66 protection complete with hinges and locking arrangement with 4 nos epoxy mounting on suitable frame and with provision for cable entries for 2 Nos (4 x 10 sq.mm) L.T armoured cable etc. , fixing of the box to be made on existing Pole by suitable size nut bolts and washer with mounting arrangement for 1 no SPMCB i/c supplying & fixing of 1 no. 2 pole connector strip for tapping of supply for LED fixture i/c interconnections etc. as required.(Make-Hensel) | 26.00 | Each |  | 4800.00 | 124800.00 | 4000.00 | 104000.00 | 104000.00 | JCC ENGINEERS PRIVATE LIMITED
6.00 | Supplying and drawing 3 x 1.5 sq. mm sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. | 320.00 | Metre |  | 110.00 | 35200.00 | 106.00 | 33920.00 | 33920.00 | JCC ENGINEERS PRIVATE LIMITED
7.00 | Supplying and fixing of 25 mm sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required. | 320.00 | Metre |  | 70.00 | 22400.00 | 50.00 | 16000.00 | 16000.00 | JCC ENGINEERS PRIVATE LIMITED
| Total in Figures |  |  |  |  | 691800.00 |  | 565920.00
Lowest Amount Quoted BY: JCC ENGINEERS PRIVATE LIMITED(565920.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Tensile Fabric Canopy in Pickup and drop Lane City Side at SGRDJ International Airport Amritsar. SH Electrical Works Tender ID: 2024_AAI_221542_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | JCC ENGINEERS PRIVATE LIMITED (BID ID -808987) | 565920.00 | L1
| 2 | Manish Electricals (BID ID -809290) | 691800.00 | L2