## BoQ1
Government eProcurement System Created By: VIVEK KUMAR SINGH Created Date/Time: 03-Feb-2025 01:08 PM Tender Title: Provision of Lighting and Associated Electrical Wiring works for Shade of DG Set MT Workshop Technical Building Parking at JPNI Airport Patna Tender ID: 2024_AAI_221561_1
Tender Inviting Authority: Airports Authority of India, JPNI Airport Patna
Name of Work: Provision of Lighting and Associated Electrical Wiring works for Shade of DG Set, MT Workshop & Technical Building Parking at JPNI Airport, Patna.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/S COOL CONTROL (GSTN-10ALLPK6251D1ZJ) BID ID -811060 |  | PATLIPUTRA REFRIGERATION AND ELECTRICAL WORKS (GSTN-10ABIPH3537L1ZU) BID ID -811277 |  | ANIL ELECTRICALS & CONTRACTORS (GSTN-NA) BID ID -810964
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL pipe as required.
1.10 | Upto 35 sq. mm | 370.00 | Mtr |  | 40.00 | 14800.00 | 18.00 | 6660.00 | 125.00 | 46250.00 | 6660.00 | PATLIPUTRA REFRIGERATION AND ELECTRICAL WORKS
2.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface/metal structure i.e. metal pipe etc. as required.
2.10 | Upto 35 sq. mm (clamped with 1mm thick saddle) | 50.00 | Mtr |  | 55.00 | 2750.00 | 35.00 | 1750.00 | 100.00 | 5000.00 | 1750.00 | PATLIPUTRA REFRIGERATION AND ELECTRICAL WORKS
3.00 | Supply and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 kV grade as required.
3.10 | 3.5C x 35 Sq.mm | 8.00 | Set |  | 350.00 | 2800.00 | 234.00 | 1872.00 | 4500.00 | 36000.00 | 1872.00 | PATLIPUTRA REFRIGERATION AND ELECTRICAL WORKS
4.00 | Supply and drawing 3 x1.5 sqmm size of FRLSH PVC insulated copper conductor, single core cable in the suitable size GI Flexible conduit pipe on MS Pipe/Structre surface etc complete as required. | 15.00 | Mtr |  | 420.00 | 6300.00 | 350.00 | 5250.00 | 100.00 | 1500.00 | 1500.00 | ANIL ELECTRICALS & CONTRACTORS
5.00 | Supply and fixing of 4 way (4 + 12), Double door on surface mounting, vertical type, 415 volts, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 100 amps tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCB's (but without MCB's and incomer ) including provide suitable MS support ,welding works and necessary arrangement on existing MS Pipe/Structre surface to hold the DB etc complete as required. | 4.00 | Each |  | 8550.00 | 34200.00 | 7500.00 | 30000.00 | 1000.00 | 4000.00 | 4000.00 | ANIL ELECTRICALS & CONTRACTORS
6.00 | Supply and fixing 5 amps to 32 amps rating,10 KA, 240 volts, “C” curve, miniature circuit breaker suitable for inductive load of Single pole in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 48.00 | Each |  | 360.00 | 17280.00 | 330.00 | 15840.00 | 215.00 | 10320.00 | 10320.00 | ANIL ELECTRICALS & CONTRACTORS
7.00 | Supply and fixing 63 amps,TPN,10 KA, 415 volts, “C” curve, miniature circuit breaker suitable for inductive load in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 4.00 | Each |  | 2830.00 | 11320.00 | 2500.00 | 10000.00 | 4500.00 | 18000.00 | 10000.00 | PATLIPUTRA REFRIGERATION AND ELECTRICAL WORKS
8.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in medium class Steel conduit & fixing on existing MS Pipe/Structre surface etc complete as required.
8.10 | 2 X 1.5 sq. mm + 1 X 1.5 sq. mm earth wire | 200.00 | Mtr |  | 390.00 | 78000.00 | 330.00 | 66000.00 | 100.00 | 20000.00 | 20000.00 | ANIL ELECTRICALS & CONTRACTORS
8.20 | 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 250.00 | Mtr |  | 430.00 | 107500.00 | 350.00 | 87500.00 | 120.00 | 30000.00 | 30000.00 | ANIL ELECTRICALS & CONTRACTORS
8.30 | 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | 100.00 | Mtr |  | 500.00 | 50000.00 | 410.00 | 41000.00 | 200.00 | 20000.00 | 20000.00 | ANIL ELECTRICALS & CONTRACTORS
8.40 | 4 X 2.5 sq. mm + 2 X 2.5 sq. mm earth wire | 50.00 | Mtr |  | 650.00 | 32500.00 | 410.00 | 20500.00 | 250.00 | 12500.00 | 12500.00 | ANIL ELECTRICALS & CONTRACTORS
8.50 | 4 X 4 sq. mm + 2 X 4 sq. mm earth wire | 50.00 | Mtr |  | 800.00 | 40000.00 | 600.00 | 30000.00 | 350.00 | 17500.00 | 17500.00 | ANIL ELECTRICALS & CONTRACTORS
9.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches & fixing on existing MS Pipe/Structre surface with suitable support etc complete as required.
9.10 | 3 Module (100 mmX75 mm) | 12.00 | Each |  | 290.00 | 3480.00 | 280.00 | 3360.00 | 150.00 | 1800.00 | 1800.00 | ANIL ELECTRICALS & CONTRACTORS
9.20 | 6 Module (200mmX75mm) | 10.00 | Each |  | 350.00 | 3500.00 | 340.00 | 3400.00 | 250.00 | 2500.00 | 2500.00 | ANIL ELECTRICALS & CONTRACTORS
9.30 | 12 Module (200mmX150mm) | 8.00 | Each |  | 550.00 | 4400.00 | 500.00 | 4000.00 | 350.00 | 2800.00 | 2800.00 | ANIL ELECTRICALS & CONTRACTORS
10.00 | Supply and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.
10.10 | 5/6 amp Switch | 60.00 | Each |  | 75.00 | 4500.00 | 50.00 | 3000.00 | 45.00 | 2700.00 | 2700.00 | ANIL ELECTRICALS & CONTRACTORS
10.20 | 6 pin 5/6 amp Socket outlet | 10.00 | Each |  | 100.00 | 1000.00 | 102.00 | 1020.00 | 55.00 | 550.00 | 550.00 | ANIL ELECTRICALS & CONTRACTORS
10.30 | 15/16 amps Switch | 12.00 | Each |  | 75.00 | 900.00 | 90.00 | 1080.00 | 90.00 | 1080.00 | 900.00 | M/S COOL CONTROL
10.40 | 6 pin 15/6 amp Socket outlet | 5.00 | Each |  | 100.00 | 500.00 | 150.00 | 750.00 | 60.00 | 300.00 | 300.00 | ANIL ELECTRICALS & CONTRACTORS
11.00 | Supply and fixing 3 pin, 5 amp ceiling rose on the existing & fixing on existing MS Pipe/Structre surface including connection etc as required. | 74.00 | Each |  | 65.00 | 4810.00 | 80.00 | 5920.00 | 50.00 | 3700.00 | 3700.00 | ANIL ELECTRICALS & CONTRACTORS
12.00 | Supply of 1 X 80 Watt LED Bay light outdoor type ceiling mounted round type light fixtures with die cast PDC aluminium housing ,cool day white light,With direct modular IP lens, potted driver, 10KV SPD ,IP 66 and with minimum system efficacy of 120 lm/w, with giving a complete full glow including all accessories as per specification etc complete as required. | 12.00 | Each |  | 9150.00 | 109800.00 | 8500.00 | 102000.00 | 4500.00 | 54000.00 | 54000.00 | ANIL ELECTRICALS & CONTRACTORS
13.00 | Installation,testing and commissioning of 1x80 Watt LED light fittings with all accessories on existing MS Pipe/Structre with suitable support,clamping & required arrangement i/c welding works and connections with 1.5 sq.mm 'PVC FRLS insulated, copper conductor, single core cable etc. complete as required as mentioned in item no.12 | 12.00 | Each |  | 250.00 | 3000.00 | 250.00 | 3000.00 | 1300.00 | 15600.00 | 3000.00 | M/S COOL CONTROL, PATLIPUTRA REFRIGERATION AND ELECTRICAL WORKS
14.00 | Supply of 40 Watt LED well glass, ceiling mounted round type light fixtures with powder coated Aluminium pressure die cast housing ,cool day white light, etc with suitable LED driver including all accessories as per specification etc, with efficacy of 120 lm/w, complete as required. (Make Halonix, Model: HLWG-01-40-CW-R-CR or Equivalent). | 60.00 | Each |  | 3150.00 | 189000.00 | 4000.00 | 240000.00 | 2500.00 | 150000.00 | 150000.00 | ANIL ELECTRICALS & CONTRACTORS
15.00 | Installation,testing and commissioning of 40 Watt LED light fittings with all accessories on existing MS Pipe/Structre with suitable support,clamping & required arrangement i/c welding works and connections with 1.5 sq.mm 'PVC FRLS insulated, copper conductor, single core cable etc. complete as required as mentioned in item no.14. | 60.00 | Each |  | 180.00 | 10800.00 | 185.00 | 11100.00 | 800.00 | 48000.00 | 10800.00 | M/S COOL CONTROL
16.00 | Supply of wall mounted Air Circulator Wall fan of size 450mm Sweep,Minimum Air Delivery 150CMM,1440 RPM, suitable for operation on 230 V, 50Hz, A/C supply as required. Model:Turbo Force,Make:Havells or equivalent. | 7.00 | Each |  | 12500.00 | 87500.00 | 12000.00 | 84000.00 | 3000.00 | 21000.00 | 21000.00 | ANIL ELECTRICALS & CONTRACTORS
17.00 | Installation, testing and commissioning of Air Circulator Wall fan on existing MS Pipe/Structre and provide the suitable MS support to fix & hold the fan with necessary arrangement & welding works and wiring with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable etc. complete as requited as mentioned in item no.15. | 7.00 | Each |  | 300.00 | 2100.00 | 295.00 | 2065.00 | 1000.00 | 7000.00 | 2065.00 | PATLIPUTRA REFRIGERATION AND ELECTRICAL WORKS
18.00 | Laying of 50mm outer dia. HDPE pipe in the existing trench/masonary open duct including coupling, splicing,jointing of pipe etc complete as required. | 250.00 | Mtr |  | 30.00 | 7500.00 | 20.00 | 5000.00 | 100.00 | 25000.00 | 5000.00 | PATLIPUTRA REFRIGERATION AND ELECTRICAL WORKS
19.00 | Excavation & refilling for trench in soft soil depth upto 1.2 M including dressing of sides and disposal of surplus excavated soil as directed, within a lead of 50 metres. | 120.00 | Cum |  | 150.00 | 18000.00 | 130.00 | 15600.00 | 150.00 | 18000.00 | 15600.00 | PATLIPUTRA REFRIGERATION AND ELECTRICAL WORKS
20.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required. | 2.00 | Each |  | 6000.00 | 12000.00 | 5000.00 | 10000.00 | 4500.00 | 9000.00 | 9000.00 | ANIL ELECTRICALS & CONTRACTORS
21.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing as required. | 200.00 | Mtr |  | 35.00 | 7000.00 | 30.00 | 6000.00 | 40.00 | 8000.00 | 6000.00 | PATLIPUTRA REFRIGERATION AND ELECTRICAL WORKS
22.00 | Providing and laying earth connection from earth electrode with 6 SWG dia G.I. wire in 15 dia G.I. Pipe from earth electrode including connection with G.I. thimble excavation and re-filling as required. | 20.00 | Mtr |  | 225.00 | 4500.00 | 200.00 | 4000.00 | 350.00 | 7000.00 | 4000.00 | PATLIPUTRA REFRIGERATION AND ELECTRICAL WORKS
| Total in Figures |  |  |  |  | 871740.00 |  | 821667.00 |  | 599100.00
Lowest Amount Quoted BY: ANIL ELECTRICALS & CONTRACTORS(599100.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Lighting and Associated Electrical Wiring works for Shade of DG Set MT Workshop Technical Building Parking at JPNI Airport Patna Tender ID: 2024_AAI_221561_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ANIL ELECTRICALS & CONTRACTORS (BID ID -810964) | 599100.00 | L1
| 2 | PATLIPUTRA REFRIGERATION AND ELECTRICAL WORKS (BID ID -811277) | 821667.00 | L2
| 3 | M/S COOL CONTROL (BID ID -811060) | 871740.00 | L3