## BoQ1
Government eProcurement System Created By: HAFEEF M.T Created Date/Time: 05-Feb-2025 03:07 PM Tender Title: Renovation Facelift of DTB Arrival and Minor Beautification Work at Terminal Building of Calicut International Airport Tender ID: 2024_AAI_221913_1
Tender Inviting Authority: <Sr. Manager [Engg-C], O/o HOD [Civil], Engineering Wing, AAI, Calicut Intl. Airport-673647>
Name of Work: <Renovation/Facelift of DTB Arrival and Minor Beautification Work at Terminal Building of Calicut International Airport>
Contract No: <2024_AAI_221913>
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | YASEES ASSOCIATES (GSTN-32ADRPY2271K2ZY) BID ID -810504 |  | Intex Space Solutions Private Limited (GSTN-33AABCI6589E2ZH) BID ID -809693 |  | TATI CONSTRUCTION PVT LTD (GSTN-32AACCT8307Q1ZZ) BID ID -810896
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Carriage of materials By Mechanical Transport including loading,unloading and stacking Lime, moorum, building rubbish to a lead of 1 km | 190.00 | cum |  | 150.00 | 28500.00 | 1200.00 | 228000.00 | 350.00 | 66500.00 | 28500.00 | YASEES ASSOCIATES
2.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:3:6 (1 Cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) | 70.00 | cum |  | 6750.00 | 472500.00 | 5000.00 | 350000.00 | 6300.00 | 441000.00 | 350000.00 | Intex Space Solutions Private Limited
3.00 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 5.00 | cum |  | 9500.00 | 47500.00 | 7500.00 | 37500.00 | 9500.00 | 47500.00 | 37500.00 | Intex Space Solutions Private Limited
4.00 | Centering and shuttering including strutting, propping etc. and removal of form for Suspended floors, roofs, landings, balconies and access platform | 60.00 | sqm |  | 500.00 | 30000.00 | 400.00 | 24000.00 | 600.00 | 36000.00 | 24000.00 | Intex Space Solutions Private Limited
5.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 375.00 | Kg |  | 90.00 | 33750.00 | 80.00 | 30000.00 | 95.00 | 35625.00 | 30000.00 | Intex Space Solutions Private Limited
6.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:6 (1 cement : 6 coarse sand) | 2.00 | cum |  | 9000.00 | 18000.00 | 7000.00 | 14000.00 | 10000.00 | 20000.00 | 14000.00 | Intex Space Solutions Private Limited
7.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing of edges to give high gloss finish etc. complete at all levels. Granite stone slab of colour black, Cherry/Ruby red Area of slab over 0.50 sqm | 20.00 | sqm |  | 3400.00 | 68000.00 | 4800.00 | 96000.00 | 2800.00 | 56000.00 | 56000.00 | TATI CONSTRUCTION PVT LTD
8.00 | Extra for providing opening of required size & shape for wash basin/ kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/ stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. | 25.00 | each |  | 500.00 | 12500.00 | 500.00 | 12500.00 | 800.00 | 20000.00 | 12500.00 | Intex Space Solutions Private Limited, YASEES ASSOCIATES
9.00 | Providing and fixing ISI marked, IS : 1341, M.S. heavy weight bright finished butt hinges with necessary screws etc. complete : 100x58x1.90 mm | 10.00 | each |  | 45.00 | 450.00 | 800.00 | 8000.00 | 250.00 | 2500.00 | 450.00 | YASEES ASSOCIATES
10.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 300x10 mm | 20.00 | each |  | 130.00 | 2600.00 | 180.00 | 3600.00 | 180.00 | 3600.00 | 2600.00 | YASEES ASSOCIATES
11.00 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : 125 mm | 20.00 | each |  | 65.00 | 1300.00 | 66.00 | 1320.00 | 100.00 | 2000.00 | 1300.00 | YASEES ASSOCIATES
12.00 | Providing and fixing bright finished 100 mm mortice lock with 6 levers without pair of handles of approved quality for aluminium door, with necessary screws etc complete as per direction of Engineer- in-charge. | 10.00 | each |  | 850.00 | 8500.00 | 850.00 | 8500.00 | 2000.00 | 20000.00 | 8500.00 | Intex Space Solutions Private Limited, YASEES ASSOCIATES
13.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 500.00 | kg |  | 110.00 | 55000.00 | 150.00 | 75000.00 | 155.00 | 77500.00 | 55000.00 | YASEES ASSOCIATES
14.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. Hot finished welded type tubes | 500.00 | kg |  | 110.00 | 55000.00 | 180.00 | 90000.00 | 155.00 | 77500.00 | 55000.00 | YASEES ASSOCIATES
15.00 | Providing and fixing stainless steel ( Grade 304) railing made of Hollow tubes, channels, plates etc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners , stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-in-charge, (for payment purpose only weight of stainless steel members shall be considered excluding fixing accessories such as nuts, bolts, fasteners etc.). | 500.00 | kg |  | 450.00 | 225000.00 | 400.00 | 200000.00 | 550.00 | 275000.00 | 200000.00 | Intex Space Solutions Private Limited
16.00 | Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily. Glazed Vitrified tiles Matt/Antiskid finish of size Size of Tile 600 x 1200 mm | 140.00 | sqm |  | 1200.00 | 168000.00 | 1900.00 | 266000.00 | 1500.00 | 210000.00 | 168000.00 | YASEES ASSOCIATES
17.00 | Providing and fixing false ceiling at all height including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50mm long with 6mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre, shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450 mm centre, with 25mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer’s specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with : 12.5 mm thick tapered edge gypsum moisture resistant board | 370.00 | sqm |  | 950.00 | 351500.00 | 800.00 | 296000.00 | 1350.00 | 499500.00 | 296000.00 | Intex Space Solutions Private Limited
18.00 | Providing and fixing tiled false ceiling of specified materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections ( galvanized @ 120 grams/ sqm, both side inclusive) consisting of main “T” runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross “T” of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main “T” at 600 mm center to center to form a grid of 1200x600 mm and secondary cross “T” of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/making, opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc. Main “T” runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer-in-charge. GI Metal Ceiling Lay in perforated Tegular edge global white colour tiles of size 595x595 mm and 0.5 mm thick with 8 mm drop; made of GI sheet having galvanizing of 100 gms/ sqm (both sides inclusive) and 20% perforation area with 1.8 mm dia holes and having NRC (Noise Reduction Coefficient ) of 0.5, electro statically polyester powder coated of thickness 60 microns (minimum), including factory painted after bending and perforation, and backed with a black Glass fiber acoustical fleece. | 1090.00 | sqm |  | 1800.00 | 1962000.00 | 2100.00 | 2289000.00 | 2050.00 | 2234500.00 | 1962000.00 | YASEES ASSOCIATES
19.00 | 12 mm cement plaster of mix : 1:6 (1 cement: 6 fine sand) | 200.00 | sqm |  | 225.00 | 45000.00 | 450.00 | 90000.00 | 330.00 | 66000.00 | 45000.00 | YASEES ASSOCIATES
20.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 450.00 | sqm |  | 85.00 | 38250.00 | 200.00 | 90000.00 | 130.00 | 58500.00 | 38250.00 | YASEES ASSOCIATES
21.00 | Wall painting with acrylic emulsion paint, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre, of approved brand and manufacture, including applying additional coats wherever required, to achieve even shade and colour Two coats | 63660.00 | sqm |  | 78.00 | 4965480.00 | 97.00 | 6175020.00 | 90.00 | 5729400.00 | 4965480.00 | YASEES ASSOCIATES
22.00 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping,sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | 2700.00 | sqm |  | 15.00 | 40500.00 | 40.00 | 108000.00 | 160.00 | 432000.00 | 40500.00 | YASEES ASSOCIATES
23.00 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : One or more coats on old work | 470.00 | sqm |  | 90.00 | 42300.00 | 200.00 | 94000.00 | 180.00 | 84600.00 | 42300.00 | YASEES ASSOCIATES
24.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : Old work (Two or more coat applied @ 1.67 ltr/ 10 sqm) on existing cement paint surface | 4270.00 | sqm |  | 83.00 | 354410.00 | 105.00 | 448350.00 | 150.00 | 640500.00 | 354410.00 | YASEES ASSOCIATES
25.00 | Repair to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sqm and under, including cutting the patch in proper shape, raking out joints and preparing plastering the wall surface with white cement based polymer modified self curing mortar, including disposal of rubbish, all complete as per the direction of Engineer-In-Charge. | 50.00 | sqm |  | 450.00 | 22500.00 | 2100.00 | 105000.00 | 800.00 | 40000.00 | 22500.00 | YASEES ASSOCIATES
26.00 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 2.00 | cum |  | 3000.00 | 6000.00 | 2800.00 | 5600.00 | 3000.00 | 6000.00 | 5600.00 | Intex Space Solutions Private Limited
27.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. In cement mortar | 20.00 | cum |  | 500.00 | 10000.00 | 1700.00 | 34000.00 | 2000.00 | 40000.00 | 10000.00 | YASEES ASSOCIATES
28.00 | Dismantling stone slab flooring laid in cement mortar including stacking of serviceable material and disposal of unserviceable material within 50 metres lead. | 35.00 | sqm |  | 150.00 | 5250.00 | 250.00 | 8750.00 | 150.00 | 5250.00 | 5250.00 | YASEES ASSOCIATES, TATI CONSTRUCTION PVT LTD
29.00 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer?in-charge | 2020.00 | sqm |  | 25.00 | 50500.00 | 150.00 | 303000.00 | 100.00 | 202000.00 | 50500.00 | YASEES ASSOCIATES
30.00 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests | 3.00 | each |  | 4475.00 | 13425.00 | 5500.00 | 16500.00 | 5800.00 | 17400.00 | 13425.00 | YASEES ASSOCIATES
31.00 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: White Vitreous China Flat back wash basin size 550x 400 mm with single 15 mm C.P. brass pillar tap | 6.00 | each |  | 2300.00 | 13800.00 | 3200.00 | 19200.00 | 5500.00 | 33000.00 | 13800.00 | YASEES ASSOCIATES
32.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings and fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 15 mm nominal dia Pipes | 400.00 | metre |  | 150.00 | 60000.00 | 200.00 | 80000.00 | 400.00 | 160000.00 | 60000.00 | YASEES ASSOCIATES
33.00 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. 15 mm nominal bore | 50.00 | each |  | 900.00 | 45000.00 | 1500.00 | 75000.00 | 1200.00 | 60000.00 | 45000.00 | YASEES ASSOCIATES
34.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 15 mm nominal bore | 65.00 | each |  | 550.00 | 35750.00 | 565.00 | 36725.00 | 1000.00 | 65000.00 | 35750.00 | YASEES ASSOCIATES
35.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion Anodised aluminium(anodised transparent or dyed to required shadeacoording to IS:1868, minimum anodic coating of grade AC 15) | 1750.00 | Kg |  | 375.00 | 656250.00 | 330.00 | 577500.00 | 600.00 | 1050000.00 | 577500.00 | Intex Space Solutions Private Limited
36.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion Powder coated aluminium (minimum thickness of powder coating 50 micron) | 500.00 | kg |  | 400.00 | 200000.00 | 340.00 | 170000.00 | 650.00 | 325000.00 | 170000.00 | Intex Space Solutions Private Limited
37.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) Powder coated aluminium (minimum thickness of powder coating 50 micron) Powder coated aluminium (minimum thickness of powder coating 50 micron) | 750.00 | kg |  | 400.00 | 300000.00 | 350.00 | 262500.00 | 600.00 | 450000.00 | 262500.00 | Intex Space Solutions Private Limited
38.00 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineer-in-charge. Pre-laminated particle board with decorative lamination on both sides | 20.00 | sqm |  | 900.00 | 18000.00 | 1400.00 | 28000.00 | 1000.00 | 20000.00 | 18000.00 | YASEES ASSOCIATES
39.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | 20.00 | sqm |  | 1000.00 | 20000.00 | 2300.00 | 46000.00 | 1200.00 | 24000.00 | 20000.00 | YASEES ASSOCIATES
40.00 | Providing and fixing aluminium round shape handle of outer dia 100 mm with SS screws etc. complete as per direction of Engineer-in-charge Anodized (AC 15 ) aluminium | 10.00 | each |  | 107.90 | 1079.00 | 700.00 | 7000.00 | 2500.00 | 25000.00 | 1079.00 | YASEES ASSOCIATES
41.00 | Providing and laying water proofing treatment in sunken portion of WCs, bathroom etc., by applying cement slurry mixed with water proofing cement compound consisting of applying : (a) First layer of slurry of cement @ 0.488 kg/sqm mixed with water proofing cement compound @ 0.253 kg/ sqm. This layer will be allowed to air cure for 4 hours. (b) Second layer of slurry of cement @ 0.242 kg/sqm mixed with water proofing cement compound @ 0.126 kg/sqm. This layer will be allowed to air cure for 4 hours followed with water curing for 48 hours. The rate includes preparation of surface, treatment and sealing of all joints, corners, junctions of pipes and masonry with polymer mixed slurry | 470.00 | sqm |  | 425.00 | 199750.00 | 500.00 | 235000.00 | 380.00 | 178600.00 | 178600.00 | TATI CONSTRUCTION PVT LTD
42.00 | Providing and Fixing WPC Profile sheet of approved make in required colour and design for the wall,partitions,door etc. as per the direciton of Engineer-in-charge | 350.00 | sqm |  | 1400.00 | 490000.00 | 1100.00 | 385000.00 | 950.00 | 332500.00 | 332500.00 | TATI CONSTRUCTION PVT LTD
43.00 | Dismantling of existing EWC,IWC,URINALS,Wash basins including stacking of useful materials near the site and disposal of unserviceable materials within 50 metres lead | 65.00 | each |  | 75.00 | 4875.00 | 250.00 | 16250.00 | 500.00 | 32500.00 | 4875.00 | YASEES ASSOCIATES
44.00 | Dismantling of existing Mirror,Towel rad, bib cock,pillar cock,angle valve, health faucet,towel rod,soap dispenser etc including stacking of useful materials near the site and disposal of unserviceable materials within 50 metres lead | 130.00 | each |  | 75.00 | 9750.00 | 120.00 | 15600.00 | 150.00 | 19500.00 | 9750.00 | YASEES ASSOCIATES
45.00 | Providing and fixing PVC pipes (10kg/cm2) confirming to IS complete with all fttings in sewer line, vent pipes, the rate inclusive of cutting, finishing etc with required slope complete as per the direction of EIC. 110 mm | 200.00 | metre |  | 600.00 | 120000.00 | 220.00 | 44000.00 | 950.00 | 190000.00 | 44000.00 | Intex Space Solutions Private Limited
46.00 | Providing and fixing PVC pipes (10kg/cm2) confirming to IS complete with all fttings in sewer line, vent pipes, the rate inclusive of cutting, finishing etc with required slope complete as per the direction of EIC. 50 mm | 200.00 | metre |  | 200.00 | 40000.00 | 185.00 | 37000.00 | 650.00 | 130000.00 | 37000.00 | Intex Space Solutions Private Limited
47.00 | Providing and applying waterproofing treatment using two component acrylic polymer modified elastomeric waterproofing compound fosroc brush bond or approved equivalent including application of the second coat of brush bond as soon as the first coat has reached touch dry state, cutting 'v' groove along the construction joint/wall-floor joints and filling the same & other honey combed areas with polymer modified mortar all complete as per the manufactures spacifications and the direction of engineer in charge. | 1090.00 | sqm |  | 625.00 | 681250.00 | 350.00 | 381500.00 | 430.00 | 468700.00 | 381500.00 | Intex Space Solutions Private Limited
48.00 | Dismantling ACP cladding without damaging existing column/wall etc and stacking the serviceable material within 150 m lead, complete as directed by the enginee in charge | 90.00 | sqm |  | 50.00 | 4500.00 | 250.00 | 22500.00 | 60.00 | 5400.00 | 4500.00 | YASEES ASSOCIATES
49.00 | Providing and fixing in position 4mm thick Wooden Aluminium composite panels(ACP) in external face, column, and any other location in required profiles as per direction of Engineering in charge. Approved make confirming to ASTM standard/ specification core sandwitched between two skins of 0.5mm thick to have overall thickness of 4mm with exterior coating of PVDF paint. The item includes straight/ slope curvilinear profiles and shapes including all accessories and incidental works. This item also includes application of approved silicon sealant in the joints to make it watertight. The ACP sheets to be fixed using mechanical fastens and cleats on structures. The cost includes ACP material, cleats, labours, fastners, screws etc. to fix aluminium composite panels to walls, aluminium frame work in required profiles including cutting in truss joining area as per the direction of Engineer In Charge. Only the cost of Aluminium required for fixing ACP sheet as per site requirement, framework wherever required will be paid extra. | 240.00 | sqm |  | 2400.00 | 576000.00 | 4200.00 | 1008000.00 | 4000.00 | 960000.00 | 576000.00 | YASEES ASSOCIATES
50.00 | Repair and leveling of false ceiling, including refixing and closing of open areas using similar dismantled false ceiling boards and framework materials salvaged from other areas within the terminal building. The work shall be carried out to the satisfaction of the Engineer- in-Charge (EIC). | 250.00 | sqm |  | 150.00 | 37500.00 | 750.00 | 187500.00 | 1000.00 | 250000.00 | 37500.00 | YASEES ASSOCIATES
51.00 | Providing & fixing of white vitreous China wall mounting cascade type water closet for WC (CERA Cat. No. S1044150 or Equivalent ) with seat cover and concealed cistern with half frame set, Q KNOBE with CP bolts, nuts, CI chair hanging arrangements with CP hinges & rubber buffers, CP brass screw, washer with all accessories with WC connector with Rubber Lip / Buffer and side gap filled with silicon sealant wherever required with concealed cistern with flow restriction 1.5LPM as per GRIHA standard including brass / SS screws and washer complete of approved make or equivalent including cutting, making good the walls, floors, slab wherever required as per direction of Engineer-Incharge. | 15.00 | each |  | 19000.00 | 285000.00 | 25400.00 | 381000.00 | 13500.00 | 202500.00 | 202500.00 | TATI CONSTRUCTION PVT LTD
52.00 | Providing & fixing of white vitreous China Floor mounting cascade type water closet for WC (CERA 1013123 or Equivalent) with seat cover and concealed cistern with half frame set, Q KNOBE with CP bolts, nuts, with all accessories with WC connector with Rubber Lip / Buffer and side gap filled with silicon sealant wherever required with concealed cistern with flow restriction 1.5LPM as per GRIHA standard including brass / SS screws and washer complete of approved make or equivalent including cutting, making good the walls, floors, slab wherever required as per direction of Engineer-Incharge. | 2.00 | each |  | 12000.00 | 24000.00 | 26800.00 | 53600.00 | 16500.00 | 33000.00 | 24000.00 | YASEES ASSOCIATES
53.00 | Providing & fixing white vitrous china flat back urinal (CERA Cat No. - S4010101SN or Equivalent) of size 360 x 330 x 740 of approved make with automatic flushing systems comprising of all plumbing, electronic and electrical items. CP brass flush pipe with CP brass elbow, CP brass spreader, CP wall flange, infrared photo cells, eyes electrically operated solenoid valve, step down transformer / equipmentand bottle trap Hindware make and any other item required to provide satisfactory functioning including necessary wall cutting / chasing and making good, as required for urinal flushing complete as mentioned above as per direction of Engineer-Incharge. | 56.00 | each |  | 14000.00 | 784000.00 | 15000.00 | 840000.00 | 25000.00 | 1400000.00 | 784000.00 | YASEES ASSOCIATES
54.00 | Providing & fixing of white vitreous china under counter oval wash basin/circular basin (CERA cat No. S2030104SN or Equivalent) 560 x 470 x 190 mm of approved make with CP brass waste assembly, CP cast brass bottle trap with extension piece, 450mm long CP copper connections pipes, wall flanges and rubber adapters for waste connection complete including , nuts, washers, cutting and making good the walls floors wherever required as per direction of Engineer-Incharge. | 15.00 | each |  | 2500.00 | 37500.00 | 5500.00 | 82500.00 | 6000.00 | 90000.00 | 37500.00 | YASEES ASSOCIATES
55.00 | Providing and fixing CP brass hand spray with lever control (health faucet) of approved make, 1meter long flexible tube and wall hook including cost of regulators and flow restrictors and all fittings and fixtures complete inlcuding cutting and making good the walls and floors wherever required.The rate is inclusive of all necessary fittings for instalation. | 45.00 | each |  | 850.00 | 38250.00 | 1500.00 | 67500.00 | 3000.00 | 135000.00 | 38250.00 | YASEES ASSOCIATES
56.00 | Providing & fixing of Compact Laminate Urinal partition projection 900 x 450 mm of approved make as directed by Engineer in charge The rate is Inclusive of cost, carriage of all materials, labour charge, lead & lift, all taxes etc complete. | 25.00 | each |  | 4250.00 | 106250.00 | 4000.00 | 100000.00 | 5300.00 | 132500.00 | 100000.00 | Intex Space Solutions Private Limited
57.00 | Providing and fixing of liquid soap container,of ONIDA/PRAYAG make with snap fittings or equivalent as per the directions of EIC. | 24.00 | each |  | 600.00 | 14400.00 | 450.00 | 10800.00 | 800.00 | 19200.00 | 10800.00 | Intex Space Solutions Private Limited
58.00 | Providing and fixing 6mm thick mirror with studs as per the direction of Engineer in charge in approved sizes and shapes in toilets. The rates includes material, labour, machineries and fixing charges in nothing extra shall be payable. | 15.00 | sqm |  | 1975.00 | 29625.00 | 2100.00 | 31500.00 | 1900.00 | 28500.00 | 28500.00 | TATI CONSTRUCTION PVT LTD
59.00 | Providing and fixing CP brass two way bib cock of approved make conforming to IS 8931 including all fittings and fixtures complete including cutting and making good the walls and floor wherever required as directed by engineer in charge | 30.00 | each |  | 1700.00 | 51000.00 | 2500.00 | 75000.00 | 1700.00 | 51000.00 | 51000.00 | YASEES ASSOCIATES, TATI CONSTRUCTION PVT LTD
60.00 | Providing and fixing PVC pipes (10kg/cm2) confirming to IS complete with all fttings in sewer line vent pipes, the reate inclusive of cutting, finishing etc with required slope complete as per the direction of EIC. 75 mm | 25.00 | metre |  | 320.00 | 8000.00 | 200.00 | 5000.00 | 750.00 | 18750.00 | 5000.00 | Intex Space Solutions Private Limited
61.00 | Providing and fixing PVC pipes (10kg/cm2) confirming to IS complete with all fttings in sewer line, vent pipes, the reate inclusive of cutting, finishing etc with required slope complete as per the direction of EIC. 160 mm (6 inch) | 25.00 | metre |  | 1412.25 | 35306.25 | 280.00 | 7000.00 | 1600.00 | 40000.00 | 7000.00 | Intex Space Solutions Private Limited
62.00 | Providing and fixing high resolution printed Vinyl sticker on existing surface as per the direction and satisfaction of EIC. | 300.00 | sqm |  | 700.00 | 210000.00 | 1200.00 | 360000.00 | 120.00 | 36000.00 | 36000.00 | TATI CONSTRUCTION PVT LTD
63.00 | Providing and laying vitrified tiles in floor and wall in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. Size of Tile 1200 x 600 mm | 1940.00 | sqm |  | 1200.00 | 2328000.00 | 1850.00 | 3589000.00 | 1100.00 | 2134000.00 | 2134000.00 | TATI CONSTRUCTION PVT LTD
64.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08% and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @3.3 kg/sqm including grouting the joint with white cement & matching pigments etc. complete. Size of Tile 1200 x 600 mm | 60.00 | sqm |  | 1200.00 | 72000.00 | 1750.00 | 105000.00 | 1300.00 | 78000.00 | 72000.00 | YASEES ASSOCIATES
65.00 | Providing and Fixing PVC Strips of Required Colour and size 10.5mm at the Corner portions of tiled wall as per the directions of Engineer in Charge | 200.00 | metre |  | 96.00 | 19200.00 | 45.00 | 9000.00 | 150.00 | 30000.00 | 9000.00 | Intex Space Solutions Private Limited
66.00 | Supplying and Fixing KHOLER July soft press auto closing faucet/Piller cock (20747IN-8-cp) or equivalent as per the directions of Engineer in Charge | 20.00 | each |  | 4000.00 | 80000.00 | 3500.00 | 70000.00 | 2500.00 | 50000.00 | 50000.00 | TATI CONSTRUCTION PVT LTD
67.00 | Supplying and Fixing urinal push cock of CP brass and of ONIDA make or equivalent as per the directions of Engineer in Charge | 25.00 | each |  | 1650.00 | 41250.00 | 450.00 | 11250.00 | 550.00 | 13750.00 | 11250.00 | Intex Space Solutions Private Limited
68.00 | Providing and fixing PVC Multi Floor trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : Multi Floor Trap 112x75x50 mm | 20.00 | each |  | 200.00 | 4000.00 | 150.00 | 3000.00 | 650.00 | 13000.00 | 3000.00 | Intex Space Solutions Private Limited
69.00 | Providing and fixing wallpapers of 0.50 mm thickness of approved brand and design. as per the directions of Engineer in Charge | 410.00 | sqm |  | 950.00 | 389500.00 | 1350.00 | 553500.00 | 800.00 | 328000.00 | 328000.00 | TATI CONSTRUCTION PVT LTD
70.00 | Providing and fixing of SS Twin Toilet paper holder of approved make recessed to wall as per the direction of EIC. | 25.00 | each |  | 750.00 | 18750.00 | 450.00 | 11250.00 | 2600.00 | 65000.00 | 11250.00 | Intex Space Solutions Private Limited
71.00 | Providing and fixing marine plywood of approved brand and quality as per IS code 710 on existing frame work with necessary screws etc.all complete as per the direction of EIC. 12 mm thick | 50.00 | sqm |  | 1450.00 | 72500.00 | 2200.00 | 110000.00 | 1600.00 | 80000.00 | 72500.00 | YASEES ASSOCIATES
72.00 | Providing and fixing 4 mm thick, one side decorative veneer conforming to IS: 1328 (type-1), for plain lining / cladding with necessary screws, including priming coat on unexposed surface etc all complete as per the direction and satisfaction of EIC. With Decorative veneer facings of approved manufacture | 100.00 | sqm |  | 1500.00 | 150000.00 | 2000.00 | 200000.00 | 2300.00 | 230000.00 | 150000.00 | YASEES ASSOCIATES
73.00 | Melamine Polishing on veneer surface by spraying, including preparation of the surface by cleaning, sanding, and application of appropriate wood fillers. This item includes all labor, materials, and tools required to achieve the desired finish (matte/glossy/semi-glossy), as per the direction and satisfaction of the EIC. | 100.00 | sqm |  | 1000.00 | 100000.00 | 1500.00 | 150000.00 | 600.00 | 60000.00 | 60000.00 | TATI CONSTRUCTION PVT LTD
74.00 | Dismantling of existing Toilet cubicles including stacking of useful materials near the site and disposal of unserviceable materials within 50 metres lead | 4.00 | each |  | 125.00 | 500.00 | 2800.00 | 11200.00 | 2500.00 | 10000.00 | 500.00 | YASEES ASSOCIATES
75.00 | Providing & fixing modular toilet cubicles of approved make, consisting of high pressure 12mm thick compact laminate board as per IS 2046 and as per fire retardent BS-476/96 standard with phenolic core panels for partitions of intermediate divider, doors and pilasters (The cubicle shall have dimensions of length varying from 1.20 m to 1.60 m and wdith varrying from 0.85 m to 1.20 m and height of 1.995 m (including bottom gap 150 mm, but the panel area required for one cabin shall be one longer and the one shorter side of the cabin including one door) with a door size of 650mm width, the assembly shall be supported by black satin finish aluminium head rail on top of panels and panels shall fixed on the floor with a clearance of maximum 150mm using aluminium alloy satin finish adjustable legs screwed to the floor included accessories with standard - Besco make aluminium, nylon polyamide accessories, gravity hinges,Aluminium top rail,Privacy thumb turn c/w occupancy indicator,coat hook, door knob,Adjustable pedestal,Aluminium "U" channel, aluminum door stopper channel,rubber door stopper lining,screws & wall plug etc complete as per manufacturers specification and as directed by Engineer in charge. The rate is Inclusive of cost,carriage of all materials, labour charge, lead & lift, all taxes etc complete. (L shaped panels matching the two dimensions of a cabin is only required to make one cubicle) | 20.00 | each |  | 27000.00 | 540000.00 | 27000.00 | 540000.00 | 30000.00 | 600000.00 | 540000.00 | Intex Space Solutions Private Limited, YASEES ASSOCIATES
76.00 | Replacing damaged single floor tiles with new vitrified floor tiles of different sizes (thickness as specified by the manufacturer), with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades. The tiles shall be laid on a 20mm thick cement mortar (1:4 mix of 1 part cement to 4 parts coarse sand), joined with grey cement slurry at 3.3 kg/sqm, and grouted with white cement and matching pigments, as directed by the engineer in charge. The rate includes the dismantling of the existing damaged tiles without damaging adjacent tiles and fixing new tiles of the same size and matching colour. | 150.00 | sqm |  | 1200.00 | 180000.00 | 1700.00 | 255000.00 | 1000.00 | 150000.00 | 150000.00 | TATI CONSTRUCTION PVT LTD
77.00 | Extra for providing 4 mm grooves on veneer and painting with enamel paint of approved colour and shade. | 100.00 | meter |  | 50.00 | 5000.00 | 250.00 | 25000.00 | 350.00 | 35000.00 | 5000.00 | YASEES ASSOCIATES
78.00 | Providing and fixing Tactile Flooring for visually impaired passengers using Stainless Steel 316 Grade Directional/Leading-Type C having length 280mm, width 35mm and thickness 12mm. Warning/Hazard - Type B having 35mm diameter and 12mm thickness, fixed using 3M adhessive/ drilling and placing on ground with chemical on the existing tile surface of Terminal Building as per direction of Engineer-In-Charge. | 70.00 | metre |  | 2250.00 | 157500.00 | 1200.00 | 84000.00 | 9500.00 | 665000.00 | 84000.00 | Intex Space Solutions Private Limited
79.00 | Providing and fixing of S.S sheet of thickness 1.00 mm of approved make to the existing support on expansion joint of rquired size with necessary screws/bolts/adhessive etc all complete as per the direction of EIC. | 100.00 | Kg |  | 310.00 | 31000.00 | 525.00 | 52500.00 | 500.00 | 50000.00 | 31000.00 | YASEES ASSOCIATES
80.00 | Providing and fixing Multiwood board of approved make in shelves, cupboards, tables,partitions including cutting,edge finishing and fixing with necessary screws etc. all complete as per the direction of EIC. 18mm thick | 330.00 | sqm |  | 2250.00 | 742500.00 | 1800.00 | 594000.00 | 2700.00 | 891000.00 | 594000.00 | Intex Space Solutions Private Limited
81.00 | Providing and fixing SS of grade 304 handle of size 150 mm with SS screws etc. complete as per direction of Engineer-in-charge | 20.00 | each |  | 150.00 | 3000.00 | 700.00 | 14000.00 | 290.00 | 5800.00 | 3000.00 | YASEES ASSOCIATES
82.00 | Providing and fixing Stainless Steel SS304 (Rust Proof) · Type; Auto Hinges or Soft Close with SS screws etc. complete as per direction of Engineer-in-charge | 40.00 | each |  | 225.00 | 9000.00 | 850.00 | 34000.00 | 345.00 | 13800.00 | 9000.00 | YASEES ASSOCIATES
83.00 | Providing and fixing acrylic printed board of thickness 6 mm, fixed with studs all complete as per direction of engineer -in- charge | 10.00 | sqm |  | 4000.00 | 40000.00 | 1500.00 | 15000.00 | 2050.00 | 20500.00 | 15000.00 | Intex Space Solutions Private Limited
84.00 | Dismantling tile work in floors, wall and roofs laid in cement mortar including stacking material within 50 metres lead. For thickness of tiles 10 mm to 25 mm | 2060.00 | sqm |  | 40.00 | 82400.00 | 140.00 | 288400.00 | 120.00 | 247200.00 | 82400.00 | YASEES ASSOCIATES
85.00 | Providing and fixing Water proofing Gypsum false ceiling of 12.5mm thickness of approved make with necessary screws including framework and joint finishing as per the manufacture specification and direction of Engineer -in-Charge | 750.00 | sqm |  | 1300.00 | 975000.00 | 850.00 | 637500.00 | 1580.00 | 1185000.00 | 637500.00 | Intex Space Solutions Private Limited
86.00 | Providing and fixing SS Floor trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : SS Floor Trap of Size 150mm x 150mm | 50.00 | each |  | 400.00 | 20000.00 | 850.00 | 42500.00 | 1300.00 | 65000.00 | 20000.00 | YASEES ASSOCIATES
87.00 | Providing and fixing flexi board barricade with beautiful scenaries printed at various locations, made with MS tubes/sections frame work with proper base which includes all with writing information etc complete as per the direction of Engineer Incharge (MS tubes in framework shall be paid separately) | 560.00 | sqm |  | 200.00 | 112000.00 | 210.00 | 117600.00 | 650.00 | 364000.00 | 112000.00 | YASEES ASSOCIATES
| Total in Figures |  |  |  |  | 20443650.25 |  | 24678515.00 |  | 25796075.00
Lowest Amount Quoted BY: YASEES ASSOCIATES(20443650.25)

## BOQ Summary
BOQ Summary Details Tender Title: Renovation Facelift of DTB Arrival and Minor Beautification Work at Terminal Building of Calicut International Airport Tender ID: 2024_AAI_221913_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | YASEES ASSOCIATES (BID ID -810504) | 20443650.25 | L1
| 2 | Intex Space Solutions Private Limited (BID ID -809693) | 24678515.00 | L2
| 3 | TATI CONSTRUCTION PVT LTD (BID ID -810896) | 25796075.00 | L3