## BoQ1
Government eProcurement System Created By: YOGESH BHALERAO Created Date/Time: 25-Jul-2024 03:14 PM Tender Title: REPAIRS TO ROOF AND ALLIED REPAIRS TO MTPF AVNL QTR NO. E-25, E-26, E-27 AND GYMNASIUM B. NO. 29 FOR CREATION OF RECREATIONAL AREA Tender ID: 2024_AVNL_186953_1
Tender Inviting Authority: THE CHIEF GENERAL MANAGR MTPF (AVNL) AMBERNATH
Name of Work: REPAIRS TO ROOF & ALLIED REPAIRS TO MTPF AVNL QTR NO. E-25, E-26, E-27 & GYMNASIUM B. NO. 29 FOR CREATION OF RECREATIONAL AREA.
Contract No: 0503/14/2023-24/EO/MPF
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SUNBUD MULTIVENTURES PVT. LTD(GSTN-NA)--680534 |  | JAYPEE ENTERPRISES(GSTN-NA)--685126 |  | M/S KRISHNA CONSTRUCTION CO.(GSTN-NA)--695633
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | REPAIRS TO ROOF & ALLIED REPAIRS TO MTPF AVNL QTR NO. E-25, E-26, E-27 & GYMNASIUM B. NO. 29 FOR CREATION OF RECREATIONAL AREA.
1.10 | Dismantling of single layer Mangalore Pattern or similar tiles in roofing including removal of ridge tiles, thorough cleaning of site, stacking of usable tiles neatly at earmarked place, removal of all rubbish to low lying area etc all complete as directed by the Engg in Charge. | 706.00 | Sq.m | 52.80 | 50.00 | 35300.00 | 50.00 | 35300.00 | 42.00 | 29652.00 | 29652.00 | M/S KRISHNA CONSTRUCTION CO.
2.10 | Dismantling of Battens for tiles, shingles etc, of any size including tilting fillets including thorough cleaning of site, stacking of usable battens neatly at earmarked place, removal of all rubbish to low lying area etc all complete as directed by the Engg in Charge. | 706.00 | Sq.m | 16.90 | 15.00 | 10590.00 | 16.50 | 11649.00 | 14.00 | 9884.00 | 9884.00 | M/S KRISHNA CONSTRUCTION CO.
3.10 | Dismantling of Plain or corrugated steel sheeting, any gauge, thickness, including Nainital or similar pattern roof coverings including thorough cleaning of site, stacking of usable battens neatly at earmarked place, removal of all rubbish to low lying area etc all complete as directed by the Engg in Charge | 706.00 | Sq.m | 28.20 | 30.00 | 21180.00 | 28.00 | 19768.00 | 23.00 | 16238.00 | 16238.00 | M/S KRISHNA CONSTRUCTION CO.
4.10 | Dismantling of timber scantlings 40 sq. cm and over in section, in any position including thorough cleaning of site, stacking of usable timber scantlings neatly at earmarked place, removal of all rubbish to low lying area etc all complete as directed by the Engg in Charge. Important Notes: (i) Contractor shall dismantle Timber scantlings which are ordered by the Engg in Charge. Decision of Engg in Charge in this regard shall be final and binding on the Contractor. (ii) Contractor shall neatly stack the dismantled timber & shall transport the same to required location inside Factory as per the orders of Engg in Charge at his own cost. | 19.00 | Cu.m | 1190.00 | 1050.00 | 19950.00 | 1200.00 | 22800.00 | 938.00 | 17822.00 | 17822.00 | M/S KRISHNA CONSTRUCTION CO.
5.10 | Dismantling of Brickwork or stone boulder masonry including thorough cleaning of site & removal of all rubbish to earmarked low lying area etc all complete as directed by the Engg in Charge. | 200.00 | Cu.m | 770.00 | 600.00 | 120000.00 | 770.00 | 154000.00 | 693.00 | 138600.00 | 120000.00 | SUNBUD MULTIVENTURES PVT. LTD
6.10 | S & F Roof trusses (framed), including distance pieces, cleats etc made with MS rolled sections, Hollow Square pipes (sample as approved by the Factory Authority / Engg in Charge, The MS Sq. pipes to be used shall be having following properties: i) Sq. Pipes 50x50 mm or Equivalent size shall be having Weight between 2.5 Kg/m to 3.0 Kg/m & ii) Sq. Pipes 75 x 75 mm or Equivalent size shall be having Min. Weight between 6.50 Kg/m to 7.0 Kg/m fixed with angle cleats or other connecting plates, welded joints shall be rubbed even & smooth before painting, providing nut & bolt arrangement where directed, complete cleaning of site & removal of all rubbish / waste etc all complete as directed by the Engg in Charge. iii] The pipes shall be connected with MS plates with & including S & F of MS foundation bolts without any extra cost, Important Notes: (i) Sample of all MS sections shall be got approved from Engg in Charge before fixing. (ii) The Contractor shall make design for trusses from Govt. approved designer & shall be solely responsible for effective performance of structure. (iii) The MS portion to be embedded in concrete or to be attached with masonry shall be applied with two coats of black Japan paint. | 8261.00 | Kg | 124.38 | 120.00 | 991320.00 | 125.00 | 1032625.00 | 140.00 | 1156540.00 | 991320.00 | SUNBUD MULTIVENTURES PVT. LTD
7.10 | S & F Rolled sections as in main and cross beams, hip and jack rafters; purlins where connected to common rafters fixed with angle cleats or other connecting plates, with drilling holes as required made with MS rolled sections, Hollow Square pipes (sample as approved by the Factory Authority / Engg in Charge, The MS Sq. pipes to be used shall be having following properties: i) Sq. Pipes 50x50 mm or Equivalent size shall be having Weight between 2.5 Kg/m to 3.0 Kg/m fixed with angle cleats or other connecting plates, welded joints shall be rubbed even & smooth before painting, providing nut & bolt arrangement where directed, complete cleaning of site & removal of all rubbish / waste etc all complete as directed by the Engg in Charge. Important Notes: (i) Sample of all MS sections shall be got approved from Engg in Charge before fixing. (ii) The Contractor shall make design for trusses from Govt. approved designer & shall be solely responsible for effective performance of structure. (iii) The MS portion to be embedded in concrete or to be attached with masonry shall be applied with two coats of black Japan paint. | 8227.00 | Kg | 104.23 | 115.00 | 946105.00 | 104.00 | 855608.00 | 140.00 | 1151780.00 | 855608.00 | JAYPEE ENTERPRISES
8.10 | S & F Galvanized, corrugated mild steel sheeting 0.63 mm thick (Make: JSW / Tata / SAIL) with two corrugations side lap, fixed with coach screws and washers, in roofs, walls etc. with grade of zinc coating 275 etc all complete as directed by the Engg in Charge. Important Note: Sample of all materials shall be got approved from Engg in Charge before fixing. | 706.00 | Sq.m | 620.16 | 675.00 | 476550.00 | 620.00 | 437720.00 | 596.00 | 420776.00 | 420776.00 | M/S KRISHNA CONSTRUCTION CO.
9.10 | S & F thermal insulation hybrid XLPE air bubble sheet Nominal 15 mm thick laminated on both side with pure aluminum foil, bubble size 10mm x 4mm XLPE i.e. chemically crossed linked, closed cell, polythene foam insulation having thermal conductivity of the best quality i.e. 0.0329W/m.k at 23deg C . Suitable for wide temperature range from -40degC to +115 deg C , unaffected by most mild acids and alkali, offers high resistance to ingress of moisture , enhance overall acoustic property and reducing rainwater noise in metal roofing.etc all complete as directed by Engg in Charge. Sample should be approved before execution. Make: Arolam Ultra/ Star-Pack/ Tirisystem. | 706.00 | Sq.m | 276.12 | 280.00 | 197680.00 | 275.00 | 194150.00 | 186.00 | 131316.00 | 131316.00 | M/S KRISHNA CONSTRUCTION CO.
10.10 | M & L for brickwork with sub class 'B' bricks in CM 1:4 including complete cleaning of site, curing for 14 days, removal of all rubbish outside premises etc all complete as directed by the Engg In Charge. | 28.00 | Cu.m | 5370.50 | 5320.00 | 148960.00 | 5370.00 | 150360.00 | 4400.00 | 123200.00 | 123200.00 | M/S KRISHNA CONSTRUCTION CO.
11.10 | M & L for preparation of new surfaces, priming with red oxide & applying two coats of synthetic enamel paint (Make: 1st Quality from Asian/Nerolac/Berger) on steel & iron surfaces etc all complete as directed by the Engg in Charge. | 858.00 | Sq.m | 141.30 | 120.00 | 102960.00 | 110.00 | 94380.00 | 107.00 | 91806.00 | 91806.00 | M/S KRISHNA CONSTRUCTION CO.
12.10 | S & F of Pre- painted galvalume aluminum zinc coating GI based corrugated steel sheet 0.50mm thick of selected colour & Mangalore tile type pattern (of selected colour) having tensile strength of 550 Mpa (Make: Tata Bluescope "Durashine" / JSW "Colouron+") as in roof covering/cladding to wall, fixed with self tapping screws as specified with ridge matching to the profile / pattern of sheet, end sheets of required pattern with curved portion at end on all sides as desired & approved by Factory Authority for architectural requirement including all safety precautions, complete cleaning of premises etc all complete as directed by the Engg in Charge. Important Notes: (i) Sample of roof sheet shall be got approved from the Engg in Charge for all materials before fixing. (ii) Contractor shall submit original invoice (GST bill) of the material. iii] The Self tapping screws shall be of length such that it shall penetrate properly into purlin ranging from Galvalume sheet, insulation panel, supporting MS flats etc. | 917.00 | Sq.m | 767.01 | 770.00 | 706090.00 | 765.00 | 701505.00 | 560.00 | 513520.00 | 513520.00 | M/S KRISHNA CONSTRUCTION CO.
13.10 | S & F boarding 25 mm thick of 2nd class hardwood clean sawn (Sample of boarding to be got approved by the Engg in Charge before fixing) with butt joints, chamfering of exposed edge as approved by the Engg in Charge, including all safety precautions, removing old damaged barge boards etc all complete as directed by the Engg in Charge. Important Note: Sample of boarding shall be got approved from Engg in Charge before fixing. | 172.00 | Sq.m | 1680.18 | 1500.00 | 258000.00 | 1680.00 | 288960.00 | 1442.00 | 248024.00 | 248024.00 | M/S KRISHNA CONSTRUCTION CO.
14.10 | S & F Pre-painted galvalume aluminum zinc coating GI based Plain steel sheet 0.50mm thick (Make: Tata BlueScope "Durashine" / JSW "Colouron+") of desired colour having tensile strength of 550 Mpa as in roof covering/cladding to wall, fixed with self tapping screws as specified etc all complete as directed by the Engg in Charge. Important Note: (i) Sample of roof sheet shall be got approved from the Engg in Charge for all materials before fixing. (ii) Contractor shall submit original invoice (GST bill) of the material. | 172.00 | Sq.m | 717.01 | 745.00 | 128140.00 | 715.00 | 122980.00 | 600.00 | 103200.00 | 103200.00 | M/S KRISHNA CONSTRUCTION CO.
15.10 | Cleaning of surfaces of old slab by removing old damaged waterproofing treatment, removing of shrubs, wild growth from wall / slab, sweeping clean and washing down with water to remove dust, etc all complete as directed by Engg in Charge. | 884.00 | Sq.m | 35.40 | 30.00 | 26520.00 | 35.00 | 30940.00 | 28.00 | 24752.00 | 24752.00 | M/S KRISHNA CONSTRUCTION CO.
16.10 | M&L APP based polymeric membrane minimum weighing 3kg/Sq.m and minimum 3mm thick reinforced with polyester non wove fabric (wt. not less than 150 gms/Sq.m) land on primed surface by forced application complete all as specified etc including removing of old water proofing treatment etc all complete as directed by Engg in Charge (Make Tiki Dan / Pidilite) Important Note: (i) Sample of waterproofing membrane of approved make shall be got approved by Engg in Charge before Starting Work. (ii) Laying of membrane shall be as per manufacturer's instructions. | 884.00 | Sq.m | 403.65 | 445.00 | 393380.00 | 400.00 | 353600.00 | 323.00 | 285532.00 | 285532.00 | M/S KRISHNA CONSTRUCTION CO.
17.10 | M & L for cement concrete Type B0 1:2:4 (12.5 mm graded aggregate) including formwork as required, thorough curing for 28 days, complete cleaning of site etc all complete as directed by the Engg in Charge. Important Notes: (i) Contractor shall use aggregate of proper gradation for concrete purpose. (ii) Contractor shall cast cubes of concrete for strength test as desired by the Engg in Charge during work execution & shall submit test report of the same from Govt. approved testing laboratory. | 83.00 | Cu.m | 9259.40 | 8600.00 | 713800.00 | 9000.00 | 747000.00 | 7514.00 | 623662.00 | 623662.00 | M/S KRISHNA CONSTRUCTION CO.
18.10 | S & F TMT steel bars 10mm dia and over, cut to length, bent to shape required, including cranking, bending spirally for hooping for columns, hooking ends and binding with and including mild steel wire (annealed) not less than 0.9mm dia or securing with clips etc all complete as directed by the Engg in Charge. Important Note: Sample of TMT steel bars to be got approved from Engg in Charge before fixing. | 2191.00 | Kg | 82.60 | 92.00 | 201572.00 | 85.00 | 186235.00 | 80.00 | 175280.00 | 175280.00 | M/S KRISHNA CONSTRUCTION CO.
19.10 | S & F Bitumastic gola, with 80/25 bitumen and coarse sand mixture. 1:3 by weight, 8cmx8cm at the junction of roofing to vertical surfaces etc all complete as directed by Engg in Charge. | 133.00 | Sq.m | 150.76 | 125.00 | 16625.00 | 150.00 | 19950.00 | 121.00 | 16093.00 | 16093.00 | M/S KRISHNA CONSTRUCTION CO.
20.10 | Resecuring Chowkhats or frames without taking down any size etc all complete as directed by the Engg in Charge. | 63.00 | Each | 130.20 | 120.00 | 7560.00 | 130.00 | 8190.00 | 106.00 | 6678.00 | 6678.00 | M/S KRISHNA CONSTRUCTION CO.
21.10 | S & F Plain, solid, straight Chowkhats and frames in 1st class hardwood, wrought, framed rebated on the solid, rounded or chamfered, put together with glue pinned at joints, supplied and fixed in repairs where directed including replacing of old and decayed timber (including piecing, scarfing, etc., of old and new timbers if required) and removing defective portions to store etc all complete as directed by the Engg in Charge. Important Note: (i) Sample of wood shall be got approved from Engg in Charge before use in work. (ii) Contractor shall note that existing wooden Chowkhats to be repaired on as is where is basis without taking down. | 1.00 | Cu.m | 172774.30 | 167000.00 | 167000.00 | 150000.00 | 150000.00 | 125000.00 | 125000.00 | 125000.00 | M/S KRISHNA CONSTRUCTION CO.
22.10 | M & L for flush door shutters 40 mm thick with decorative face veneers on both faces with lipping frame to match etc all complete as directed by the Engg in Charge. Important Note: Sample of door & veneer to be approved from Engg in Charge before use in work. | 155.00 | Sq.m | 3145.20 | 3000.00 | 465000.00 | 3000.00 | 465000.00 | 2516.00 | 389980.00 | 389980.00 | M/S KRISHNA CONSTRUCTION CO.
23.10 | S & F Butt hinges size 125 mm heavy duty, extruded brass cromium plated, with mild steel hinge pin, bright polished and fixed, type B-11 etc all complete as directed by the Engg in Charge Important Note: Sample shall be approved from Engg in Charge before use in work. | 280.00 | Each | 256.90 | 200.00 | 56000.00 | 250.00 | 70000.00 | 225.00 | 63000.00 | 56000.00 | SUNBUD MULTIVENTURES PVT. LTD
24.10 | S & F Brass (Cromium Plated), sliding door bolt of size 375 mm with sand or die-cast brass hasp, staple (bolt type) and fixing bolt with rolled or drawn brass bolts and fixed etc all complete as directed by the Engg in Charge Important Note: Sample shall be approved from Engg in Charge before use in work. | 34.00 | Each | 1051.10 | 800.00 | 27200.00 | 1000.00 | 34000.00 | 841.00 | 28594.00 | 27200.00 | SUNBUD MULTIVENTURES PVT. LTD
25.10 | S & F Extruded brass handles, fabricated type polished of size 150 mm etc all complete as directed by the Engg in Charge. Important Note: Sample shall be approved from Engg in Charge before use in work. | 140.00 | Each | 267.90 | 195.00 | 27300.00 | 250.00 | 35000.00 | 280.00 | 39200.00 | 27300.00 | SUNBUD MULTIVENTURES PVT. LTD
26.10 | S & F Brass skeleton tower bolts size 375 mm with cast brass plate and staples and rolled or drawn brass bolt and fixed etc all complete as directed by the Engg in Charge Important Note: Sample shall be approved from Engg in Charge before use in work. | 70.00 | Each | 616.50 | 600.00 | 42000.00 | 600.00 | 42000.00 | 490.00 | 34300.00 | 34300.00 | M/S KRISHNA CONSTRUCTION CO.
27.10 | Taking down cement or cement lime plaster any description including raking out joints for forming key, complete cleaning of site & removal of all rubbish outside premises etc all complete as directed by Engg in Charge. | 3110.00 | Sq.m | 94.94 | 65.00 | 202150.00 | 90.00 | 279900.00 | 76.00 | 236360.00 | 202150.00 | SUNBUD MULTIVENTURES PVT. LTD
28.10 | M & L for rendering cement plaster in CM 1:4 Avg 20 mm thick in walls of stone masonry or surfaces other than fair faces of brickwork etc all complete as directed by the Engg in Charge. Important Notes: i. Contractor shall use only Clean River Sand as aggregates which shall be approved by Engg in Charge & approved quality of cement for mortar preparation. ii. Any reason for not using of river sand shall not be entertained. Contractor shall quote the rates accordingly. iii. Contractor shall assess the thickness reqd. by visiting site prior to quoting. Extra payment claim for additional thickness claim shall not be entertained at any stage of billing. | 2735.00 | Sq.m | 362.19 | 400.00 | 1094000.00 | 350.00 | 957250.00 | 290.00 | 793150.00 | 793150.00 | M/S KRISHNA CONSTRUCTION CO.
29.10 | M & L for rendering cement plaster in CM 1:3 Avg 10 mm thick in ceiling surfaces including additional thickness as required for exposed steel reinforcement if any etc all complete as directed by the Engg in Charge. Important Notes: i. Contractor shall use only Clean River Sand as aggregates which shall be approved by Engg in Charge & approved quality of cement for mortar preparation. ii. Any reason for not using of river sand shall not be entertained. Contractor shall quote the rates accordingly. iii. Contractor shall assess the thickness reqd. by visiting site prior to quoting. Extra payment claim for additional thickness claim shall not be entertained at any stage of billing. | 375.00 | Sq.m | 207.87 | 225.00 | 84375.00 | 210.00 | 78750.00 | 166.00 | 62250.00 | 62250.00 | M/S KRISHNA CONSTRUCTION CO.
30.10 | M & L for neeru finish to plastering etc all complete as directed by the Engg in Charge. | 2239.00 | Sq.m | 50.00 | 55.00 | 123145.00 | 50.00 | 111950.00 | 24.00 | 53736.00 | 53736.00 | M/S KRISHNA CONSTRUCTION CO.
31.10 | M & L for sand faced finish to plastering etc all complete as directed by the Engg in Charge. | 785.00 | Sq.m | 174.82 | 150.00 | 117750.00 | 170.00 | 133450.00 | 124.00 | 97340.00 | 97340.00 | M/S KRISHNA CONSTRUCTION CO.
32.10 | Taking down Chowkhats or frames exc 1.5 but n exc 4 Sq.m each & removing to store etc all complete as directed by the Engg in Charge. | 35.00 | Each | 302.10 | 200.00 | 7000.00 | 300.00 | 10500.00 | 106.00 | 3710.00 | 3710.00 | M/S KRISHNA CONSTRUCTION CO.
33.10 | S & F Granite 18 - 20 mm thick of selected shade & quality (table rubbed and polished) in steps, jambs, pillars, window-cills, cooking platforms and like in cement mortar (1:4) including pointing in white cement (1:2) using marble dust with admixture of pigment to match with shade of granite etc all complete as directed by the Engg in Charge. Important Note: Sample of all materials shall be approved from Engg in Charge before use in work. | 139.00 | Sq.m | 5183.70 | 4750.00 | 660250.00 | 5000.00 | 695000.00 | 3851.00 | 535289.00 | 535289.00 | M/S KRISHNA CONSTRUCTION CO.
34.10 | S& F UPVC frame window of selected colour, 2 / 3 / 4 track of approved make & quality and two / three window shutter as per size of windows, frame reinforced with 1mm thick GI, adjustable roller, touch lock and along with 5mm thick toughen glass, all fixing to be done with stainless steel screws (304 grade) etc all complete as directed by the Engg In Charge. Important Note: Sample of UPVC Frames & allied accessories shall be got approved from Engg in Charge before incorporating in the work. | 85.00 | Sq.m | 5200.00 | 5500.00 | 467500.00 | 5200.00 | 442000.00 | 5623.00 | 477955.00 | 442000.00 | JAYPEE ENTERPRISES
35.10 | S & F Framed work as in doors or gates or grills of angle or other section with gusset plates, rails, braces, etc., complete, drilled for fixing of steel sheeting or other covering. Doors, etc. to be prepared for hanging or sliding with and including either hooks and hinges or steel hanging door fittings and hanging; also fastening and fixing complete as directed by the Engg in Charge. Important Note: Sample of each material shall be approved from Engg in Charge before use in work. | 4322.00 | Kg | 116.24 | 110.00 | 475420.00 | 110.00 | 475420.00 | 107.00 | 462454.00 | 462454.00 | M/S KRISHNA CONSTRUCTION CO.
36.10 | M & L for External wall painting in Two Coats including following procedure: (i) Complete removal of existing treatment, it shall be ensured that the surface to be painted must be free from any loose paint, dust or grease. Any previous growth of fungus, algae or moss should be removed thoroughly by vigorous wire brushing and cleaning with water. Surface imperfection such as holes, dents fine cracks should be filled with exterior wall putty (Make: Asian / Nerolac) or mixture of white cement and fine sand in proportion 1:3. [The surface such prepared shall be shown to Site in Charge & Engg in Charge for inspection before application of Primer] (ii) Applying one coat of Exterior Wall Primer (Make: Asian / Nerolac) by thinning 1liter of primer with 1 liter of water. Allow the primer coat to dry for 4 hours. [The surface after application of Primer shall be shown to Site in Charge & Engg in Charge before application of 1st coat of Exterior Emulsion] (iii) Applying two coats of Exterior Emulsion, (Make: Apex Weather Proof Exterior Paint from Asian Paints / Excel Total Acrylic Exterior Emulsion from Nerolac Paints) by diluting 1 lit paint with 400ml of water. A gap of 4-6 hours should be given between two coats. The work to be carried out up to 18m height including necessary scaffolding ,staging and all safety equipments, including complete cleaning of site etc. all complete as directed by Engg-in-Charge. [The surface after application of 1st Coat shall be shown to Site in Charge & Engg in Charge for inspection before application of 2nd Coat of Exterior Emulsion. Subsequently the surface after application of 2nd Coat shall be shown to Site in Charge & Engg in Charge for final inspection] | 2663.00 | Sq.m | 80.00 | 80.00 | 213040.00 | 100.00 | 266300.00 | 79.00 | 210377.00 | 210377.00 | M/S KRISHNA CONSTRUCTION CO.
37.10 | M & L for application of approved quality Plastic Emulsion Paint in Two Coats including following procedure: (i) Preparation of new surfaces including 3 mm thick wall care putty on walls & ceiling surfaces where directed Make: JK / Birla / Asian Paints (ii) Apply one coat of primer (Make: 1st quality Asian Paints / Nerolac Paints wall primer) as required for plastic emulsion. Sand the surface with emery paper No.320 and wipe clean. (iii) Applying two coats of approved make & colour Plastic Emulsion (Make 1st Quality from: Asian Paints / Nerolac Paints) as per manufacturer's specification. The application shall be done by using brush / roller. Stir the paint well before use. A gap of 4-6 hours should be given between each coat, the painted surface shall be got approved from competent Factory authority & rectifications, improvements if any shall be carried out by the Contractor at his own risk & cost etc. all complete as directed by Engg-in-Charge. | 2136.00 | Sq.m | 221.94 | 200.00 | 427200.00 | 220.00 | 469920.00 | 180.00 | 384480.00 | 384480.00 | M/S KRISHNA CONSTRUCTION CO.
38.10 | Roughening surfaces of old concrete floor / mosaic tile floor by picking, sweeping clean and washing down with water to remove dust, etc all complete as directed by the Engg in Charge. | 672.00 | Sq.m | 35.40 | 29.00 | 19488.00 | 35.00 | 23520.00 | 28.00 | 18816.00 | 18816.00 | M/S KRISHNA CONSTRUCTION CO.
39.10 | Dismantling floor, hearth or wall tiling including cement mortar bedding (but not backing), removing serviceable tiles to store and rubbish off the premises etc all complete as directed by the Engg in Charge. | 159.00 | Sq.m | 89.50 | 80.00 | 12720.00 | 90.00 | 14310.00 | 94.00 | 14946.00 | 12720.00 | SUNBUD MULTIVENTURES PVT. LTD
40.10 | M & L for screed bed or bedding layer of mortar Avg 25 mm thick for laying floor finishes in CM 1:4 including complete cleaning of site & removal of all rubbish outside Premises etc all complete as directed by the Engg in Charge. | 703.00 | Sq.m | 333.35 | 300.00 | 210900.00 | 300.00 | 210900.00 | 124.00 | 87172.00 | 87172.00 | M/S KRISHNA CONSTRUCTION CO.
41.10 | S & F Vitrified Ceramic tiles 8-10 mm thick (as per Manufacturer) (Make: 1st Quality from HR Johnson, Kajaria, Somany, RAK Ceramics) of desired pattern, design & colour as approved by Engg In Charge, area of each tiles not exceeding 0.36 Sq.m, in floors etc. set and jointed in neat cement slurry and pointed in white or coloured cement to match etc all complete as directed by the Engg in Charge. Important Note: Sample, colour pattern of floor tiles from stipulated makes shall be got approved from Engg in Charge for design, pattern, colour combination etc before starting of work. | 672.00 | Sq.m | 1482.20 | 1325.00 | 890400.00 | 1400.00 | 940800.00 | 1172.00 | 787584.00 | 787584.00 | M/S KRISHNA CONSTRUCTION CO.
42.10 | S & F of Non - skid Ceramic tiles 7 to 8 mm thick (Make: 1st Quality from HR Johnson, Kajaria, Somany, RAK Ceramics) of desired pattern, design & colour as approved by Engg In Charge, area of each tile exceeding 0.18 Sq.m but not exceeding 0.38 Sq.m, in floors etc. set and jointed in neat cement slurry and pointed in white or coloured cement to match etc all complete as directed by the Engg in Charge. Important Note: Sample of floor tiles from stipulated makes shall be got approved from Engg in Charge for design, pattern, colour combination etc before starting of work. | 32.00 | Sq.m | 1428.70 | 1280.00 | 40960.00 | 1400.00 | 44800.00 | 1094.00 | 35008.00 | 35008.00 | M/S KRISHNA CONSTRUCTION CO.
43.10 | S & F Glazed ceramic tiles in vertical surface 350x 250x 7 mm / 450X 350X 7mm (or Equivalent size as per manufacturer & approved by the Engg in Charge)) thick set and jointed in neat cement slurry and pointed in white or colour cement to match (Make: 1st Quality from HR Johnson, Kajaria, Somany, RAK Ceramics) of desired pattern, design & colour as approved by Engg In Charge etc all complete as directed by the Engg in Charge. Important Note: Sample of wall tiles from stipulated makes shall be got approved from Engg in Charge for design, pattern, colour combination etc before starting of work. | 275.00 | Sq.m | 1338.40 | 1200.00 | 330000.00 | 1300.00 | 357500.00 | 1075.00 | 295625.00 | 295625.00 | M/S KRISHNA CONSTRUCTION CO.
44.10 | Dismantling of Wall and ceiling boards (fibre, pulp, insulation, etc.) or insulation boards/slabs/blankets, any thickness, including cover fillets & removing serviceable items to store & rubbish off the premises etc all complete as directed by the Engg in Charge. | 274.00 | Sq.m | 41.60 | 30.00 | 8220.00 | 42.00 | 11508.00 | 31.00 | 8494.00 | 8220.00 | SUNBUD MULTIVENTURES PVT. LTD
45.10 | S & F Anodised Powder coated (Powder coating of desired colour as approved by Engg in Charge) aluminium snap grid frame work for false ceiling all as specified (size of grid 605 mm x 605 mm) etc all complete as directed by the Eng in Charge. Important Note: Sample of anodised powder coated aluminium snap grid material shall be got approved from Engg in Charge before fixing. | 342.00 | Sq.m | 489.29 | 480.00 | 164160.00 | 490.00 | 167580.00 | 391.00 | 133722.00 | 133722.00 | M/S KRISHNA CONSTRUCTION CO.
46.10 | S & F Hangers 6 mm dia. G.I. (up to 1200mm length) adjusting level fixed to roof trusses by means of necessary cleats made out of G.I. flat 40 x 3 mm size 60mm long and expansion hold fasteners 12.5mm dia. 40mm long complete all as specified etc all complete as directed by the Engg in Charge. Important Note: Sample of all hangers & ancillary material shall be got approved from Engg in Charge before fixing. | 342.00 | Sq.m | 111.20 | 80.00 | 27360.00 | 110.00 | 37620.00 | 78.00 | 26676.00 | 26676.00 | M/S KRISHNA CONSTRUCTION CO.
47.10 | S & F Non asbestos fibre cement building boards (Minimum 4 mm thick of reputed make as approved by the Engg in Charge) fixed or laid/ inserted to timber/GI/Aluminium framework with screws etc all complete as directed by the Engg in Charge. Important Note: Sample , design, texture, pattern etc for non asbestos fibre cement bldg. board shall be got approved from Engg in Charge before fixing. | 342.00 | Sq.m | 366.60 | 350.00 | 119700.00 | 370.00 | 126540.00 | 287.00 | 98154.00 | 98154.00 | M/S KRISHNA CONSTRUCTION CO.
48.10 | M & L for preparation of new ceiling surfaces, priming with alkali resistant priming paint and application of plastic emulsion Two coats (Make: 1st Quality from Asian/Nerolac/Berger) etc all complete as directed by the Engg in Charge. Important Note: Sample of primer, paint etc shall be got approved from Engg in Charge before use in work. | 342.00 | Sq.m | 144.80 | 100.00 | 34200.00 | 140.00 | 47880.00 | 107.00 | 36594.00 | 34200.00 | SUNBUD MULTIVENTURES PVT. LTD
49.10 | Excavating in trenches in Hard Dense Soil, moorum, soft rocks etc, n exc 1.5 m wide and n exc 1.5 m in depth; for foundation, etc. or for shafts, wells, cesspits, manholes, pier holes, etc. n exc 10 sq m on plan and n exc 1.5 m in depth and getting out, returning filling etc all complete as directed by Engg-in-Charge. Important Note: Contractor shall take care for not disturbing any underground cables, water supply lines. In case of damage Contractor shall rectify the same at his own risk & cost. | 415.00 | Cu.m | 675.00 | 500.00 | 207500.00 | 675.00 | 280125.00 | 540.00 | 224100.00 | 207500.00 | SUNBUD MULTIVENTURES PVT. LTD
50.10 | M & L of Hardcore of broken boulders or stone of guage exc 63mm but n exc. 100 mm, deposited, spread and leveled in layers n exc. 15 cm thick, watered and rolled/rammed to a true surface etc all complete as directed by Engg-in-Charge. | 55.00 | Cu.m | 2614.90 | 2000.00 | 110000.00 | 2600.00 | 143000.00 | 2472.00 | 135960.00 | 110000.00 | SUNBUD MULTIVENTURES PVT. LTD
51.10 | M & L for Cement concrete Type B2 1:2:4 (40 mm graded aggregate) in foundations, filling and mass concrete etc all complete as directed by Engg-in-Charge. Important Notes: (i) Contractor shall use aggregate of proper gradation for concrete purpose. (ii) Contractor shall cast cubes of concrete for strength test as desired by the Engg in Charge during work execution & shall submit test report of the same from Govt. approved testing laboratory. | 55.00 | Cu.m | 6477.80 | 6200.00 | 341000.00 | 6475.00 | 356125.00 | 5780.00 | 317900.00 | 317900.00 | M/S KRISHNA CONSTRUCTION CO.
52.10 | M & L for Walling of random rubble, uncoursed well bonded, bedded and solidly hearted, built in cement mortar 1:4, Except Stone etc all complete as directed by Engg-in-Charge. Important Note: (i) Contractor shall use neatly stacked stone from demolition of RR Masonry wall for construction purpose. (ii) Contractor shall provide PVC pipes to act as weep holes at regular intervals as per direction of Engg in Charge at his own cost. | 159.00 | Cu.m | 2913.74 | 2500.00 | 397500.00 | 2910.00 | 462690.00 | 2331.00 | 370629.00 | 370629.00 | M/S KRISHNA CONSTRUCTION CO.
53.10 | M & L for Walling of random rubble, uncoursed well bonded, bedded and solidly hearted, built in cement mortar 1:4, etc all complete as directed by Engg-in-Charge. Important Note: i) Contractor shall provide PVC pipes to act as weep holes at regular intervals as per direction of Engg in Charge at his own cost. | 121.00 | Cu.m | 4828.72 | 3500.00 | 423500.00 | 4825.00 | 583825.00 | 4117.00 | 498157.00 | 423500.00 | SUNBUD MULTIVENTURES PVT. LTD
54.10 | S & F precast cement concrete in window or door cills, lintels, bressumers, steps, quoin blocks (for use with masonry), string courses, copings kneelers, apex stones, pier caps, columns, posts, boundary pillars (approx size 150x150mm and 2.4m height) , bed plates, pintle blocks, anchorage blocks, bonders (for stone walling) corbels, brackets, etc. (of any section indicated), with plain fair faces, including all steel reinforcements, chamfers, weatherings, throating etc. and setting in cement mortar 1:4 complete with joints to match etc all complete as directed by Engg-in-Charge. Important Note: Sample of Pillar (approx size 150x150mm and 2.4m ht ) with groove for placing fencing Planks should be approved before Fixing by Engg-in-Charge. | 16.00 | Cu.m | 11053.80 | 11000.00 | 176000.00 | 11000.00 | 176000.00 | 8290.00 | 132640.00 | 132640.00 | M/S KRISHNA CONSTRUCTION CO.
55.10 | S & F Providing precast cement concrete Type B0 1:2:4 (12.5mm graded aggregate) set in cement mortar 1:4 fencing planks/ louvers and jallies, 50mm thick (measured solid), including all steel reinforcement, dismantling old concrete fencing, mouldings, grooves for fixing with precast pillar/Poles/ post/ column etc all complete as directed by Engg-in-Charge. Important Note: Sample of fencing planks / Louvers (approx size 300x1800mm and 50mm thick) with groove for placing in fencing Post/ pillar/ column should be approved before Fixing by Engg-in-Charge. | 810.00 | Sq.m | 927.60 | 1040.00 | 842400.00 | 925.00 | 749250.00 | 835.00 | 676350.00 | 676350.00 | M/S KRISHNA CONSTRUCTION CO.
56.10 | M & L for Moorum/red bajri filling in floors or pavings, laid in layers n exc. 15 cm thick, spread, leveled and rammed including watering etc all complete as directed by Engg-in-Charge. Important Note: (i) Sample of soil shall be got approved from the Engg in Charge before incorporating in work. (ii) Each layer of n exc 15 cm shall be rolled rammed by use of mechanical equipment (iii) The thickness measured shall be compacted thickness & not of loose soil. | 525.00 | Cu.m | 1240.10 | 1100.00 | 577500.00 | 1240.00 | 651000.00 | 1072.00 | 562800.00 | 562800.00 | M/S KRISHNA CONSTRUCTION CO.
57.10 | M & L for Boulder pitching grouted with cement & sand mortar 1:6 including shaping of boulder by hammer dressing etc all complete as directed by the Engg in Charge. Important Note: Sample of boulders, sand & cement shall be got approved from Engg in Charge before use in work. | 118.00 | Cu.m | 3018.87 | 2700.00 | 318600.00 | 3015.00 | 355770.00 | 2264.00 | 267152.00 | 267152.00 | M/S KRISHNA CONSTRUCTION CO.
58.10 | M & L for surface excavation in Hard dense soil n exc 30 cm deep & getting out etc all complete as directed by the Engg in Charge. | 3300.00 | Sq.m | 93.20 | 90.00 | 297000.00 | 92.00 | 303600.00 | 75.00 | 247500.00 | 247500.00 | M/S KRISHNA CONSTRUCTION CO.
59.10 | M & L for Rolling and consolidating formation surfaces in cutting with power roller exc 5 & n exc 8 Tonne etc all complete as directed by the Engg in Charge. | 330.00 | Per10Sq.m | 26.10 | 20.00 | 6600.00 | 25.00 | 8250.00 | 21.00 | 6930.00 | 6600.00 | SUNBUD MULTIVENTURES PVT. LTD
60.10 | M & L for Soling (or sub base) 100 mm consolidated thickness with broken boulders or quarried stone, inter stices filled, surface formed and rolled and consolidated to required gradient and camber etc all complete as directed by the Engg in Charge. | 330.00 | Per10Sq.m | 1810.30 | 1500.00 | 495000.00 | 1810.00 | 597300.00 | 1310.00 | 432300.00 | 432300.00 | M/S KRISHNA CONSTRUCTION CO.
61.10 | M & L for rolling of Soling of broken boulders or quarried stone, not exc 15cm thickness with power roller exc 5 & n exc 8 Tonne etc all complete as directed by the Engg in Charge. | 330.00 | Per10Sq.m | 96.00 | 85.00 | 28050.00 | 95.00 | 31350.00 | 64.00 | 21120.00 | 21120.00 | M/S KRISHNA CONSTRUCTION CO.
62.10 | M & L for Cement concrete Type D2 1:4:8 (40 mm graded aggregate) in foundations, filling and mass concrete etc all complete as directed by Engg-in-Charge. Important Notes: (i) Contractor shall use aggregate of proper gradation for concrete purpose. (ii) Contractor shall cast cubes of concrete for strength test as desired by the Engg in Charge during work execution & shall submit test report of the same from Govt. approved testing laboratory. | 248.00 | Cu.m | 5483.10 | 5700.00 | 1413600.00 | 5450.00 | 1351600.00 | 5164.00 | 1280672.00 | 1280672.00 | M/S KRISHNA CONSTRUCTION CO.
63.10 | Providing and laying 60mm thick factory made chamfered edge cement concrete paver block of M-35 grade with approved colour, design & pattern, with laqure coating & antiskid surface as in footpath, parks, lawns, drive ways or light traffic parking etc., of required strength, thickness & size/ shape, made by table vibratory method using PU mould, laid in required colour & pattern over and including 50mm thick compacted bed of fine sand, compacting and proper embedding/ laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand etc all complete as directed by the Engg in Charge. Important Note: (i) Sample, design & pattern of laqure coated Paver blocks shall be got approved from Engg in Charge before fixing. (ii) Contractor shall submit detailed plan drawing with colour combination for area to be covered with paver block for approval of Competent Authority prior to start of work. | 3300.00 | Sq.m | 873.70 | 730.00 | 2409000.00 | 875.00 | 2887500.00 | 789.00 | 2603700.00 | 2409000.00 | SUNBUD MULTIVENTURES PVT. LTD
64.10 | Trimming of tree branches protruding over the building exc 30 cm girth up to 300 cm girth including all safety precautions etc all complete as directed by Engg in Charge. | 25.00 | Each | 3345.70 | 2500.00 | 62500.00 | 3345.00 | 83625.00 | 2814.00 | 70350.00 | 62500.00 | SUNBUD MULTIVENTURES PVT. LTD
65.10 | Cutting chases, pinning in. making good to facings where required and pointing in cement mortar 1:3 to ends or edges of landings, steps, cills, sunshades, shelves, lintels, etc.; and cutting chases for concealed water tubing or concealed conduit wiring, etc., and making good with and including cement mortar 1:3, for required girth / depth including complete cleaning of site & removal of all rubbish outside factory premises etc all complete as directed by Engg in Charge. | 125.00 | RM | 59.40 | 50.00 | 6250.00 | 60.00 | 7500.00 | 48.00 | 6000.00 | 6000.00 | M/S KRISHNA CONSTRUCTION CO.
66.10 | S & F Unplasticised PVC pipes (UPVC) of bore dia 15 mm of pressure rating 10 kgf/cm2 (Make: Prince "Easyfit"/Astral "Aquarius") fixed complete to walls, ceilings or in floors etc with necessary fittings, fixtures etc for connecting brass water taps, stop cocks etc secured in position etc all complete as directed by Engg in Charge. Important Note: Sample of UPVC pipes shall be got approved from Engg in Charge before fixing | 110.00 | RM | 108.69 | 100.00 | 11000.00 | 110.00 | 12100.00 | 87.00 | 9570.00 | 9570.00 | M/S KRISHNA CONSTRUCTION CO.
67.10 | S & F Unplasticised PVC pipes (UPVC) of bore dia 25 mm of pressure rating 10 kgf/cm2 (Make: Prince "Easyfit"/Astral "Aquarius") fixed complete to walls, ceilings or in floors etc. with necessary fittings, fixtures etc for connecting brass water taps, stop cocks etc, secured in position etc all complete as directed by Engg in Charge. Important Note: Sample of UPVC pipes shall be got approved from Engg in Charge before fixing | 75.00 | RM | 140.31 | 70.00 | 5250.00 | 150.00 | 11250.00 | 112.00 | 8400.00 | 5250.00 | SUNBUD MULTIVENTURES PVT. LTD
68.10 | S & F Unplasticised PVC pipes (UPVC) of bore dia 40 mm of pressure rating 10 kgf/cm2 (Make: Prince "Easyfit"/Astral "Aquarius") fixed complete to walls, ceilings or in floors etc. with necessary fittings, fixtures etc for connecting taps, secured in position etc all complete as directed by Engg in Charge. Important Note: Sample of UPVC pipes shall be got approved from Engg in Charge before fixing | 70.00 | RM | 215.40 | 200.00 | 14000.00 | 220.00 | 15400.00 | 172.00 | 12040.00 | 12040.00 | M/S KRISHNA CONSTRUCTION CO.
69.10 | S & F of PVC Floor / Nahani trap / Multi Floor Trap (Make: Prince / Astral) of standard quality with grating including jointing to waste pipe fixed in cement concrete Type B-1 (1:2:4) dia of outlet minimum 75 mm, etc all complete as directed by the Engg In Charge. Important Note: Sample of Trap shall be got approved from Engg in Charge before fixing. | 34.00 | Each | 400.00 | 350.00 | 11900.00 | 400.00 | 13600.00 | 320.00 | 10880.00 | 10880.00 | M/S KRISHNA CONSTRUCTION CO.
70.10 | S & F Machine cut cudappah stone slab 20-25mm thick over cement screed base, laid and jointed with grey cement slurry mixed with pigment to match the shade of the slab including rubbing and polishing, rounding off exposed edges, complete cleaning of site & removal of all rubbish outside factory premises etc all complete as directed by Engg in Charge. Important Note: Sample of stone slab shall be got approved from Engg in Charge before fixing. | 38.00 | Sq.m | 849.10 | 750.00 | 28500.00 | 1200.00 | 45600.00 | 679.00 | 25802.00 | 25802.00 | M/S KRISHNA CONSTRUCTION CO.
71.10 | S & F sinks with drainage board made of stainless steel 1mm thick (with ISI mark) kitchen or laboratory with plugs, washers and wastes; including bedding in cement mortar to dwarf wall or including fixing cantilever brackets and connecting union to pipe overall size 915mm x 460mm bowl size 410mm x 330mm x 160mm, fixed & secured in position with necessary outlet fittings etc all complete as directed by Engg in Charge. Important Note: Sample of stainless steel sink shall be got approved from Engg in Charge before fixing. | 9.00 | Each | 4916.73 | 4500.00 | 40500.00 | 7000.00 | 63000.00 | 3933.00 | 35397.00 | 35397.00 | M/S KRISHNA CONSTRUCTION CO.
72.10 | S & F PVC (SWR) pipes double socketed of bore dia 110 mm with rubber ring joints (Make: Supreme / Prince / Astral) with ISI mark fixed complete to walls or laid in trenches with all necessary fittings, fixtures such as Single Y, Double Y, Tees, reducers, branch pieces etc, fixed & secured in position with necessary clips, clamps etc all complete as directed by Engg in Charge. Important Note: Sample of pipes shall be got approved from Engg in Charge before fixing. | 75.00 | RM | 215.00 | 200.00 | 15000.00 | 215.00 | 16125.00 | 172.00 | 12900.00 | 12900.00 | M/S KRISHNA CONSTRUCTION CO.
73.10 | S & F PVC (SWR) pipes 75 mm dia double socketed with ISI Mark (Make: Supreme / Prince / Astral) in any length with rubber ring laid in trenches or in floors with all necessary fittings, fixtures such as Single Y, Double Y, Tees, reducers, branch pieces etc all complete as directed by Engg in Charge. Important Note: Sample of pipes shall be got approved from Engg in Charge before fixing. | 60.00 | RM | 185.00 | 150.00 | 9000.00 | 185.00 | 11100.00 | 148.00 | 8880.00 | 8880.00 | M/S KRISHNA CONSTRUCTION CO.
74.10 | S & F fancy type chromium plated bib taps (Make: Jaquar / Hindware / Plumber) for 15 mm dia pipe of cast copper alloy with crutch handle, screwed down for iron pipe or for brass ferrule and fixed (minimum weight of one fancy bib tap shall be 0.575 Kg ) etc all complete as directed by Engg in Charge. Important Note: Sample of Taps shall be got approved from Engg in Charge before fixing. | 24.00 | Each | 607.57 | 500.00 | 12000.00 | 605.00 | 14520.00 | 486.00 | 11664.00 | 11664.00 | M/S KRISHNA CONSTRUCTION CO.
75.10 | S & F stop valves, cast copper alloy, fancy type chromium plated (Make: Jaquar / Hindware / Plumber) with long shank & cup (concealed type) for 15 mm dia pipe with crutch or butterfly handle screwed both ends for iron pipe or for unions and fixed (minimum weight of one fancy bib tap shall be 0.575 Kg ) etc all complete as directed by Engg in Charge. Important Note: Sample of stop valves shall be got approved from Engg in Charge before fixing. | 21.00 | Each | 720.14 | 680.00 | 14280.00 | 720.00 | 15120.00 | 576.00 | 12096.00 | 12096.00 | M/S KRISHNA CONSTRUCTION CO.
76.10 | S & F of 600mmx450mm bevelled edge mirror of selected quality glass (Make: Saint Gobain / Modi Glass / Asahi Float Glass), mounted on 6mm thick AC building board or commercial plywood and fixed to wooden plugs with chromium plated brass screws and cup washers etc all complete as directed by Engg in Charge. Important Note: Sample of mirror shall be got approved from Engg in Charge before fixing. | 9.00 | Each | 554.60 | 490.00 | 4410.00 | 1000.00 | 9000.00 | 444.00 | 3996.00 | 3996.00 | M/S KRISHNA CONSTRUCTION CO.
77.10 | S & F of figured glass, pin head type, 4 mm thick etc all complete as directed by the Engg in Charge. Important Note: Sample of figured glass shall be got approved from Engg in Charge before fixing. | 24.00 | Sq.m | 695.60 | 600.00 | 14400.00 | 695.00 | 16680.00 | 556.00 | 13344.00 | 13344.00 | M/S KRISHNA CONSTRUCTION CO.
78.10 | S & F vitreous china wash basin, white flat back, size 630 x 450 mm (Make : Hindware / Parryware) including brackets for fixing, fixed inside granite table including waste pipe, PVC connector pipe and all necessary fittings etc all complete as directed by the Engg In Charge. Important Note: The sample of Wash Basin & all fixtures/fittings shall be got approved from Engg in Charge before fixing. | 12.00 | Each | 1656.16 | 1450.00 | 17400.00 | 1655.00 | 19860.00 | 1286.00 | 15432.00 | 15432.00 | M/S KRISHNA CONSTRUCTION CO.
79.10 | S & F gun metal globe or gate valves Heavy Duty with ISI Mark for 25 mm bore dia of pipe, with iron wheel head or PVC coated lever screwed both ends for pipes of standard quality etc all complete as directed by the Engg In Charge. Important Note: Sample shall be got approved from Engg in Charge before fixing. | 18.00 | Each | 587.24 | 500.00 | 9000.00 | 587.00 | 10566.00 | 551.00 | 9918.00 | 9000.00 | SUNBUD MULTIVENTURES PVT. LTD
80.10 | S & F self closing taps, cast copper alloy, chromium plated screwed down for 15 mm bore dia of pipe of standard quality (Make: Jaquar, Hindware, Plumber) with and including all necessary accessories etc all complete as directed by the Engg In Charge. Important Note: Sample of taps shall be got approved from Engg in Charge before fixing. | 11.00 | Each | 950.97 | 900.00 | 9900.00 | 950.00 | 10450.00 | 509.00 | 5599.00 | 5599.00 | M/S KRISHNA CONSTRUCTION CO.
81.10 | S & F Brass chromium plated shower rose 125 mm size with swivel joints (Make: Jaquar / Hindware / Plumber) etc all complete as directed by Engg in Charge. Important Note: Sample shall be got approved from Engg in Charge before fixing. | 7.00 | Each | 409.25 | 350.00 | 2450.00 | 410.00 | 2870.00 | 327.00 | 2289.00 | 2289.00 | M/S KRISHNA CONSTRUCTION CO.
82.10 | S & F of PVC water tank 2000 liter capacity suitable for potable water (Make: 1st Quality from Sintex, Astral), hoisted & fixed in position including float valve, other connections etc all complete as directed by the Engg in Charge. Important Note: Sample of Tank shall be got approved from the Engg in Charge before fixing. | 11.00 | Each | 15978.41 | 1500.00 | 16500.00 | 17500.00 | 192500.00 | 12783.00 | 140613.00 | 16500.00 | SUNBUD MULTIVENTURES PVT. LTD
83.10 | S & F of Vitreous china premium/ 1st quality wash down water closet wall hung EWC (Make: Jaquar / Hindware / Plumber) white/ ivory/off white (closed pattern incl. all necessary accessories like rag bolts/ gel gasket etc. (excluding flushing cistern & flush pipe) complete in all respect all as specified etc all complete as directed by the Engg in Charge. Important Note: Sample of EWC shall be got approved from the Engg in Charge before fixing. | 7.00 | Each | 4000.00 | 3500.00 | 24500.00 | 4000.00 | 28000.00 | 3200.00 | 22400.00 | 22400.00 | M/S KRISHNA CONSTRUCTION CO.
84.10 | S & F PVC valveless, syphonic action type, flushing cistern (Make: Jaquar / Hindware / Plumber), low level, white, with inlet, ball valve, float and handle including brackets flush pipe all accessories etc all complete as directed by the Engg in Charge. Important Note: (i) Sample of flush tank with all accessories shall be got apporved from Engg in Charge before fixing. (ii) The flush tank shall be concealed as per directives of the Engg in Charge by the Contractor | 7.00 | Each | 947.64 | 800.00 | 5600.00 | 950.00 | 6650.00 | 777.00 | 5439.00 | 5439.00 | M/S KRISHNA CONSTRUCTION CO.
85.10 | S & F Tubular towel rail Brass Chromium plated (Make: Jaquar / Hindware / Plumber), 20mm dia (or equivalent dia as per prescribed make & approved by Engg in Charge), D type, 60cm long between flanges with all accessories etc all complete as directed by the Engg in Charge. Important Note: (i) Sample of Towel rail with all accessories shall be got approved from Engg in Charge before fixing. | 11.00 | Each | 872.90 | 770.00 | 8470.00 | 875.00 | 9625.00 | 800.00 | 8800.00 | 8470.00 | SUNBUD MULTIVENTURES PVT. LTD
86.10 | S & F Toilet paper holder (Make: Jaquar / Hindware / Plumber) with flat recessed type stainless steel Complete all as specified and directed with all accessories etc all complete as directed by the Engg in Charge. Important Note: (i) Sample of Toilet paper holder with all accessories shall be got approved from Engg in Charge before fixing. | 7.00 | Each | 600.00 | 500.00 | 3500.00 | 600.00 | 4200.00 | 536.00 | 3752.00 | 3500.00 | SUNBUD MULTIVENTURES PVT. LTD
87.10 | S & F Soap dish stainless steel (Make: Jaquar / Hindware / Plumber) ,approximate size 160x 160x90mm fixed with chromium plated Brass screws etc all complete as directed by the Engg in Charge. Important Note: (i) Sample of soap dish with all accessories shall be got approved from Engg in Charge before fixing. | 7.00 | Each | 231.83 | 200.00 | 1400.00 | 230.00 | 1610.00 | 185.00 | 1295.00 | 1295.00 | M/S KRISHNA CONSTRUCTION CO.
88.10 | S & F Stainless steel wire cloth 0.36mm nominal dia of wire and average width of aperture 1.40mm and fixed with stainless steel wire staples etc all complete as directed by the Engg in Charge. Important Note: (i) Sample of Stainless steel wire cloth with all accessories shall be got approved from Engg in Charge before fixing. | 279.00 | Sq.m | 728.30 | 700.00 | 195300.00 | 725.00 | 202275.00 | 583.00 | 162657.00 | 162657.00 | M/S KRISHNA CONSTRUCTION CO.
89.10 | M & L for Salt-glazed stoneware drain pipes 150 mm dia laid in trenches and jointed as specified & directed by the Engg in Charge. Important Note: (i) Sample of stoneware drain pipes with all accessories shall be got approved from Engg in Charge before fixing. | 36.00 | RM | 448.53 | 400.00 | 14400.00 | 450.00 | 16200.00 | 359.00 | 12924.00 | 12924.00 | M/S KRISHNA CONSTRUCTION CO.
90.10 | M & L for Concrete bed to drain pipes of 150 mm dia in CC 1:3:6 including packing under, and haunching against the sides of pipes after they are laid and tested; etc all complete as directed by the Engg in Charge. | 36.00 | RM | 466.89 | 500.00 | 18000.00 | 460.00 | 16560.00 | 374.00 | 13464.00 | 13464.00 | M/S KRISHNA CONSTRUCTION CO.
91.10 | Providing & fixing UV stabilized fiberglass reinforced plastic sheet [Min 2 mm Thick, corrugated or step down or flat as directed by the Engg in Charge] roofing up to any pitch, including fixing with polymer coated 'J' or 'L' hooks, bolts & nuts 8mm dia. G.I plain/bitumen washers complete [excluding the cost of purlins, rafters, trusses etc.] The sheets shall be manufactured out of 2400 TEX panel rovigs incorporating minimum 0.3% ultra-violet stabilizer in resin system under approximately 2400 psi and hot cured. They shall be of uniform pigmentation and thickness without air pockets and shall conform to IS 10192 and IS 12866.The sheets shall be opaque or translucent, clear or pigmented, textured or smooth as specified etc all complete as directed b Engg in Charge. Important Note: (i) Sample, design, pattern etc of sheet shall be got approved from Engg in Charge before fixing. (ii) Contractor shall submit detailed plan drawing with colour combination for area to be covered with fiberglass reinforced plastic sheet for approval of Competent Authority prior to start of work. | 399.00 | Sq.m | 1048.50 | 1150.00 | 458850.00 | 1050.00 | 418950.00 | 1005.00 | 400995.00 | 400995.00 | M/S KRISHNA CONSTRUCTION CO.
92.10 | S & F of Galvanized. 2 strand, steel barbed wire 2.24mm dia barbed with 2mm dia barbs at 75mm spacings and straining and fixing to any type of standard rails strain- ing bolts, including, securing or tying at crossings with and provision of galvanized mild steel wire, staples or steel pins, etc. all complete as directed by the Engg in Charge.(each line wire to be measured) Important Notes: (i) The Contractor shall use Heavy Duty clips / pins for securing the Barbed wire. (ii) The wire shall be properly strained / tightened between the two supports and all along the length of Perimeter Wall including securing & tightening existing loose barbed wire/s. (iii) The sample of Barbed Wire & all accessories shall be got approved from Engg in Charge before fixing. | 27.00 | Per100RM | 1342.01 | 1300.00 | 35100.00 | 2000.00 | 54000.00 | 1074.00 | 28998.00 | 28998.00 | M/S KRISHNA CONSTRUCTION CO.
93.10 | S & F galvanized concertina wire fencing with razor type attached blades as per manufacturer (coil dia 750 mm, length 6 meter each, thickness of core wire 2.59 mm with Zinc coating of 230 gms/Sq.m as per IS: 4826-1976) on perimeter wall, at any place and height including necessary staging, scaffolding, all safety precautions, also aligning & setting of adjacent concertina wires on perimeter wall wherever directed and removing & replacing of old concertina coil wire & moving to BM Store or where directed within Factory Premises etc all complete as directed by the Engg In Charge. Important Notes: (i) The Contractor shall use Heavy Duty clips / pins / wires for securing the Concertina wire between supports. (ii) The concertina wire shall be properly strained / tightened between the two supports and all along the length of Perimeter Wall including securing & tightening existing loose concertina wire/s. (iii) The sample of Concertina Wire & all accessories shall be got approved from Engg in Charge before fixing. | 450.00 | RM | 310.00 | 300.00 | 135000.00 | 350.00 | 157500.00 | 235.00 | 105750.00 | 105750.00 | M/S KRISHNA CONSTRUCTION CO.
94.10 | S & F 4 mm thick exterior grade Aluminium composite Panel with coil thickness of 0.5 mm, cladding of Eurobond / Altobond / Viva makes, in desired colour / colour combination as per elevation drawing & shop drawings approved by the Engg in Charge, over the basic frame work. The basic frame work shall be created by 50mm X 25 mm X 2 mm thick extruded aluminium rectangular tube of Jindal make in the vertical / horizontal plane of the cladding with the following specifications: (i) The Extruded Aluminium Rectangular tube shall be provided with 50 mm long aluminium extruded angle (brackets) of 25 x 25 x 4 mm thick (or 38x25x 4 mm thick or 50x25x4 mm or as may be required at respective locations) at every 600 mm interval on both side of the tube fixed with 2 Nos. of Aluminium rivets on each angle. The Periphery of the geometrical pattern of the structure shall also be done in the same tube. (ii) The grooves between the Aluminium Composite Panel shall be aligned vertically and horizontally for a width of 12 mm and provided with the backer rod and sealed with non-staining silicone weather sealant of Dow Coming / GE Silicon. The Contractor shall make necessary scaffolding arrangement for carrying out the work in such a way the same shall not in any way damage the existing space. Also the Contractor shall prepare shop drawing & submit the same to Engg in Charge for approval prior to start of the work. Important Note: (i) Samples of all materials shall be got approved from the Engg in Charge before use in work. | 90.00 | Sq.m | 4124.25 | 4000.00 | 360000.00 | 4120.00 | 370800.00 | 3500.00 | 315000.00 | 315000.00 | M/S KRISHNA CONSTRUCTION CO.
95.10 | Providing and injecting chemical emulsion for Post Constructional Ant termite Treatment Along the external wall below concrete or masonry apron using chemical emulsion @ 2.25 litres per linear metre including drilling and plugging holes etc. in apron etc all complete as directed by the Engg in Charge. Important Note: Sample of chemical emulsion shall be got approved from Engg in Charge before use in work. | 200.00 | RM | 89.20 | 90.00 | 18000.00 | 89.00 | 17800.00 | 67.00 | 13400.00 | 13400.00 | M/S KRISHNA CONSTRUCTION CO.
96.10 | M & L for Treatment of soil under existing floors Of voids in masonry using chemical emulsion one litre per hole, at 300mm intervals including drilling holes at 45 degree and replugging them with cement mortar 1:2 (1 cement : 2 coarse sand) to match the existing floors etc all complete as directed by the Engg in Charge. Important Notes: i. Sample of chemical emulsion shall be got approved from Engg in Charge before use in work. ii. Contractor shall give Guarantee Certificate for Anti Termite treatment work for a period of Minimum 1 Year. Any sort of development of Termite shall be immediately attend to by the Contractor for a period of 1 Year at his own risk & cost. | 672.00 | Sq.m | 211.00 | 120.00 | 80640.00 | 210.00 | 141120.00 | 95.00 | 63840.00 | 63840.00 | M/S KRISHNA CONSTRUCTION CO.
97.10 | Excavating in trenches, n exc 1.5 m wide and n exc 1.5 m in depth; for foundation, etc. or for shafts, wells, cesspits, manholes, pier holes, etc. n exc 10 sq m on plan and n exc1.5 m in depth and getting out in Hard Dense Soil etc all complete as directed by the Engg in Charge. | 167.50 | Cu.m | 675.00 | 550.00 | 92125.00 | 675.00 | 113062.50 | 540.00 | 90450.00 | 90450.00 | M/S KRISHNA CONSTRUCTION CO.
98.10 | Excavating in trenches, n exc 1.5 m wide and n exc 1.5 m in depth; for foundation, etc. or for shafts, wells, cesspits, manholes, pier holes, etc. n exc 10 sq m on plan and n exc1.5 m in depth and getting out in soft/disintegrated rock etc all complete as directed by the Engg in Charge. | 134.00 | Cu.m | 1542.20 | 1400.00 | 187600.00 | 1540.00 | 206360.00 | 1206.00 | 161604.00 | 161604.00 | M/S KRISHNA CONSTRUCTION CO.
99.10 | Return filing in Hard Dense Soil, including spreading, leveling, watering and well ramming in layers not exc 25 CM etc all complete as directed by the Engg in Charge. | 167.50 | Cu.m | 139.10 | 120.00 | 20100.00 | 140.00 | 23450.00 | 10.00 | 1675.00 | 1675.00 | M/S KRISHNA CONSTRUCTION CO.
100.10 | Return filing in soft disintegrated rocks, including spreading, leveling, watering and well ramming in layers not exc 25 CM etc all complete as directed by the Engg in Charge. | 134.00 | Cu.m | 185.00 | 170.00 | 22780.00 | 185.00 | 24790.00 | 150.00 | 20100.00 | 20100.00 | M/S KRISHNA CONSTRUCTION CO.
101.10 | Providing cement concrete in roof kerbs or muds stops rounded or chamfered on edges for Road cutting Type B1 1:2:4 (20 mm graded aggregate) etc all complete as directed by the Engg in Charge. | 3.75 | Cu.m | 8369.30 | 7500.00 | 28125.00 | 8350.00 | 31312.50 | 6030.00 | 22612.50 | 22612.50 | M/S KRISHNA CONSTRUCTION CO.
102.10 | M & L of Earthing Complete with Copper earth plate electrode 60 x 60 cm x 3.15 mm thick buried directly into ground (earth pit not less than 2.25 mtrs deep below ground level ) with edge of the plate not less than 1.5 mtrs. below normal ground level. And copper strip as earth lead minimum earth continuity strip of 7.5 mtrs. etc all complete as directed by the Engg in Charge. Important Note: Sample of all materials shall be got approved from Engg in Charge before use in work. | 2.00 | EachSet | 15805.50 | 1500.00 | 3000.00 | 16000.00 | 32000.00 | 12644.00 | 25288.00 | 3000.00 | SUNBUD MULTIVENTURES PVT. LTD
103.10 | S & F Cast Iron Man hole Chamber Cover exceeding 5 Kgs each etc all complete as directed by the Engg in Charge. Important Note: Sample of all materials shall be got approved from Engg in Charge before use in work. | 20.00 | Kg | 133.10 | 135.00 | 2700.00 | 135.00 | 2700.00 | 107.00 | 2140.00 | 2140.00 | M/S KRISHNA CONSTRUCTION CO.
104.10 | M & L Copper Earth continuity strips 20 x 3 mm etc all complete as directed by the Engg in Charge. Important Note: Sample of all materials shall be got approved from Engg in Charge before use in work. | 30.00 | RM | 426.80 | 400.00 | 12000.00 | 425.00 | 12750.00 | 291.00 | 8730.00 | 8730.00 | M/S KRISHNA CONSTRUCTION CO.
105.10 | M & L for Supply, Laying & Termination with proper Lugs, Glands etc.3.5 core XLPE insulated, armoured heavy duty electric cable with aluminium conductor, 1100 volts grade, cross-sectional area 50 Sq mm (Make: Finolex/Polycab/CCI) etc all complete as directed by the Engg in Charge. Important Note: Sample of all materials shall be got approved from Engg in Charge before use in work. | 120.00 | RM | 337.52 | 330.00 | 39600.00 | 340.00 | 40800.00 | 304.00 | 36480.00 | 36480.00 | M/S KRISHNA CONSTRUCTION CO.
106.10 | M & L for Supply, Laying & Termination with proper Lugs, Glands etc. 4 core XLPE insulated, armoured heavy duty electric cable with aluminium conductor, 1100 volts grade, cross-sectional area 10 Sq mm (Make: Finolex/Polycab/CCI) etc all complete as directed by the Engg in Charge. Important Note: Sample of all materials shall be got approved from Engg in Charge before use in work. | 600.00 | RM | 174.68 | 150.00 | 90000.00 | 175.00 | 105000.00 | 147.00 | 88200.00 | 88200.00 | M/S KRISHNA CONSTRUCTION CO.
107.10 | M &L for Supply, Laying & Termination with proper Lugs, Glands etc. 4 core XLPE insulated, armoured heavy duty electric cable with aluminium conductor, 1100 volts grade, cross-sectional area 16 Sq mm (Make: Finolex/Polycab/CCI) etc all complete as directed by the Engg in Charge. Important Note: Sample of all materials shall be got approved from Engg in Charge before use in work. | 165.00 | RM | 193.50 | 180.00 | 29700.00 | 200.00 | 33000.00 | 167.00 | 27555.00 | 27555.00 | M/S KRISHNA CONSTRUCTION CO.
108.10 | S & F Sheet Metal Enclosures with Double Door mounted in concealed fitting for DB'S When MCBs to be used TPN 12 Way with 200 Amps Busbar each etc all complete as directed by the Engg in Charge (Make: Siemens/Schneider /L&T /Havells/Standard). Important Note: Sample of all materials shall be got approved from Engg in Charge before use in work. | 1.00 | Each | 4583.30 | 4200.00 | 4200.00 | 4585.00 | 4585.00 | 3667.00 | 3667.00 | 3667.00 | M/S KRISHNA CONSTRUCTION CO.
109.10 | Supply and fixing MCCB 3 Pole & Neutral, 415 V, with Microprocessor release LSIG 160 Amps with breaking capacity 36 KA , 415 V, fixed type, Fixed in Sheet Metal Enclosure with busbars of current carrying capacity 200 A in the DB complete with connection testing and commissioning etc all complete as directed by the Engg in Charge. (Make: Siemens/Schneider /L&T /Havells/Standard) Important Note: Sample of all materials shall be got approved from Engg in Charge before use in work. | 1.00 | Each | 9104.50 | 8600.00 | 8600.00 | 9100.00 | 9100.00 | 7284.00 | 7284.00 | 7284.00 | M/S KRISHNA CONSTRUCTION CO.
110.10 | Supply and fixing 415V 10KA 'B' curve miniature circuit breaker (MCB) of TPN/FP and current carrying capacity 40 to 100 AMP in the DB complete with connection testing and commissioning etc all complete as directed by the Engg in Charge. (Make: Siemens/Schneider /L&T /Havells/Standard). Important Note: Sample of all materials shall be got approved from Engg in Charge before use in work. | 4.00 | Each | 2360.74 | 2200.00 | 8800.00 | 2360.00 | 9440.00 | 1865.00 | 7460.00 | 7460.00 | M/S KRISHNA CONSTRUCTION CO.
111.10 | S & F Sheet Metal Enclosures with Double Door mounted in concealed fitting for DB'S When MCBs to be used SPN 12 Way with 200 Amps Busbar each etc all complete as directed by the Engg in Charge (Make: Siemens/Schneider /L&T /Havells/Standard). Important Note: Sample of all materials shall be got approved from Engg in Charge before use in work. | 4.00 | Each | 2264.90 | 2000.00 | 8000.00 | 2265.00 | 9060.00 | 1812.00 | 7248.00 | 7248.00 | M/S KRISHNA CONSTRUCTION CO.
112.10 | Supply and fixing LED Solar street light fitting 20 Watt of reputed make as approved by the Engg in Charge, including galvanized steel pole of Length 4.5 Meters in built, lithium ion battery, solar panel, charge controller with dusk down sensor etc all complete as directed by the Engg in Charge. Important Note: Sample of all materials shall be got approved from Engg in Charge before use in work. | 20.00 | Each | 40365.48 | 3900.00 | 78000.00 | 40500.00 | 810000.00 | 32292.00 | 645840.00 | 78000.00 | SUNBUD MULTIVENTURES PVT. LTD
113.10 | Supply and fixing post top lantern LED type 15/20 watt 230 watt volts AC outdoor type with decorative post top for 360 degree indirect light IP 65 protection with impact and corrosion resistant complete with driver and lamp etc all complete as directed by the Engg in Charge. Important Note: Sample of all materials shall be got approved from Engg in Charge before use in work. | 40.00 | Each | 5114.04 | 4850.00 | 194000.00 | 5115.00 | 204600.00 | 3819.00 | 152760.00 | 152760.00 | M/S KRISHNA CONSTRUCTION CO.
114.10 | S & F MODULAR METAL/PVC FLUSH BOX 1 or 2 Module (Make: Legrand/Anchor/Crabtree) etc all complete as directed by the Engg in Charge. Important Note: Sample of all materials shall be got approved from Engg in Charge before use in work. | 12.00 | Each | 179.10 | 165.00 | 1980.00 | 180.00 | 2160.00 | 143.00 | 1716.00 | 1716.00 | M/S KRISHNA CONSTRUCTION CO.
115.10 | S & F MODULAR WHITE/METALIC COVER PLATE WITH FRAME 1 or 2 Module (Make: Legrand/Anchor/Crabtree) etc all complete as directed by the Engg in Charge. Important Note: Sample of all materials shall be got approved from Engg in Charge before use in work. | 12.00 | Each | 195.80 | 200.00 | 2400.00 | 195.00 | 2340.00 | 157.00 | 1884.00 | 1884.00 | M/S KRISHNA CONSTRUCTION CO.
116.10 | Supply and fixing of Modular Metal/PVC Flush Box 3 Modules (Make: Legrand/Anchor/Crabtree) etc all complete as directed by the Engg in Charge. Important Note: Sample of all materials shall be got approved from Engg in Charge before use in work. | 24.00 | Each | 179.80 | 170.00 | 4080.00 | 180.00 | 4320.00 | 144.00 | 3456.00 | 3456.00 | M/S KRISHNA CONSTRUCTION CO.
117.10 | Supply and fixing of Modular Metal/PVC Flush Box 6 Modules or above (Make: Legrand/Anchor/Crabtree) as per requirement etc all complete as directed by the Engg in Charge. Important Note: Sample of all materials shall be got approved from Engg in Charge before use in work. | 96.00 | Each | 284.10 | 300.00 | 28800.00 | 285.00 | 27360.00 | 227.00 | 21792.00 | 21792.00 | M/S KRISHNA CONSTRUCTION CO.
118.10 | Supply and fixing of Modular White/Metallic cover plate with frame, 3 Modules (Make: Legrand/Anchor/Crabtree) etc all complete as directed by the Engg in Charge. Important Note: Sample of all materials shall be got approved from Engg in Charge before use in work. | 24.00 | Each | 217.70 | 200.00 | 4800.00 | 215.00 | 5160.00 | 174.00 | 4176.00 | 4176.00 | M/S KRISHNA CONSTRUCTION CO.
119.10 | Supply and fixing of Modular White/Metallic cover plate with frame 6 Modules (Make: Legrand/Anchor/Crabtree) or above as per requirement etc all complete as directed by the Engg in Charge. Important Note: Sample of all materials shall be got approved from Engg in Charge before use in work. | 96.00 | Each | 309.60 | 180.00 | 17280.00 | 315.00 | 30240.00 | 248.00 | 23808.00 | 17280.00 | SUNBUD MULTIVENTURES PVT. LTD
120.10 | Supply and fixing of Modular MCB Isolator 40 Amps Double Pole, (Make: Siemens/Schneider /L&T /Havells/Standard) etc all complete as directed by the Engg in Charge. Important Note: Sample of all materials shall be got approved from Engg in Charge before use in work. | 8.00 | Each | 512.40 | 450.00 | 3600.00 | 510.00 | 4080.00 | 410.00 | 3280.00 | 3280.00 | M/S KRISHNA CONSTRUCTION CO.
121.10 | Supply and fixing of Modular Socket, 6A - 2/3 pin combined 2 module (Make: Legrand/Anchor/Crabtree), etc all complete as directed by the Engg in Charge. Important Note: Sample of all materials shall be got approved from Engg in Charge before use in work. | 80.00 | Each | 340.54 | 300.00 | 24000.00 | 340.00 | 27200.00 | 272.00 | 21760.00 | 21760.00 | M/S KRISHNA CONSTRUCTION CO.
122.10 | Supply and fixing of Modular Switch 1 way 6A, 1 module (Make: Legrand/Anchor/Crabtree) etc all complete as directed by the Engg in Charge. Important Note: Sample of all materials shall be got approved from Engg in Charge before use in work. | 160.00 | Each | 260.50 | 225.00 | 36000.00 | 260.00 | 41600.00 | 208.00 | 33280.00 | 33280.00 | M/S KRISHNA CONSTRUCTION CO.
123.10 | Supply and fixing of Modular Bell push 6A 1 module (Make: Legrand/Anchor/Crabtree) etc all complete as directed by the Engg in Charge. Important Note: Sample of all materials shall be got approved from Engg in Charge before use in work. | 12.00 | Each | 307.30 | 250.00 | 3000.00 | 365.00 | 4380.00 | 246.00 | 2952.00 | 2952.00 | M/S KRISHNA CONSTRUCTION CO.
124.10 | Supply and fixing of Modular Ceiling Rose 3 Pole polycarbonate isolated body 230 V AC, (Make: Legrand/Anchor/Crabtree) etc all complete as directed by the Engg in Charge. Important Note: Sample of all materials shall be got approved from Engg in Charge before use in work. | 120.00 | Each | 65.70 | 50.00 | 6000.00 | 65.00 | 7800.00 | 53.00 | 6360.00 | 6000.00 | SUNBUD MULTIVENTURES PVT. LTD
125.10 | Supply and fixing of Lamp holder, PVC/Polycarbonate type with back plate suitable for batten fittings 230 V AC, (Make: Legrand/Anchor/Crabtree) etc all complete as directed by the Engg in Charge. Important Note: Sample of all materials shall be got approved from Engg in Charge before use in work. | 40.00 | Each | 166.50 | 200.00 | 8000.00 | 165.00 | 6600.00 | 133.00 | 5320.00 | 5320.00 | M/S KRISHNA CONSTRUCTION CO.
126.10 | Supply and fixing of Modular Switch Socket, 6/16 A - 2/3 pin combined 3 module, (Make: Legrand/Anchor/Crabtree) etc all complete as directed by the Engg in Charge. Important Note: Sample of all materials shall be got approved from Engg in Charge before use in work. | 32.00 | Each | 528.40 | 500.00 | 16000.00 | 525.00 | 16800.00 | 423.00 | 13536.00 | 13536.00 | M/S KRISHNA CONSTRUCTION CO.
127.10 | S & Fixing of USB Charger & 10 Amp international Socket 3M with indicator (LED) & 2 USB ports Input 240 VAC Output - 5 VDC Make: GM Model AA 3 454 or Equivalent model of Make Legrand/Anchor/Crabtree /Havells/Philips etc all complete as directed by the Engg in Charge. Important Note: Sample of all materials shall be got approved from Engg in Charge before use in work. | 8.00 | Each | 1450.00 | 1300.00 | 10400.00 | 1450.00 | 11600.00 | 1160.00 | 9280.00 | 9280.00 | M/S KRISHNA CONSTRUCTION CO.
128.10 | S & Fixing of LED Lamp Ceiling Mount 240 V 18/20 Watts Square or Round 11" x 11" Make: Crompton Pearl HPF Square LSCSM-18W-CDL/NW/WW or equivalent COB Panel Ceiling or Recessed mounted lamp 18/20 watts of Make: GM/Havells/Bajaj/Syska/Philips etc all complete as directed by the Engg in Charge. Important Note: Sample of all materials shall be got approved from Engg in Charge before use in work. | 80.00 | Each | 2100.00 | 1900.00 | 152000.00 | 2100.00 | 168000.00 | 1680.00 | 134400.00 | 134400.00 | M/S KRISHNA CONSTRUCTION CO.
129.10 | Supply & Fixing Calling Bell Electronic musical 250 V AC with Battery Backup (Make: Cona/Anchor/Legrand/Crabtree/GM) etc all complete as directed by the Engg in Charge. Important Note: Sample of all materials shall be got approved from Engg in Charge before use in work. | 8.00 | Each | 561.50 | 500.00 | 4000.00 | 560.00 | 4480.00 | 449.00 | 3592.00 | 3592.00 | M/S KRISHNA CONSTRUCTION CO.
130.10 | Supply and fixing LED luminaire 600 mm x 600 mm, 35/36 watt, 220 V AC recessed type with high efficiency PMMA diffuser soft glare free light complete with driver, holders & LED lamp suitable for roof ceiling including connecting up with driver three core flexible copper conductor cases of suitable size complete. (Make: Havells/Bajaj/Syska/Philips /Crompton) etc all complete as directed by the Engg in Charge. Important Note: Sample of all materials shall be got approved from Engg in Charge before use in work. | 32.00 | Each | 4269.19 | 4000.00 | 128000.00 | 4250.00 | 136000.00 | 3415.00 | 109280.00 | 109280.00 | M/S KRISHNA CONSTRUCTION CO.
131.10 | Supply and fixing ceiling fans complete with blades, down rods, electronic regulator (Remote) and accessories, 230 V, 1200 mm sweep. Min air delivery 210 CFM with service value 6.00 BEE. Five star rated with brushless direct current motor (BLDC) (Make: Automberg/Havells/Usha/Bajaj/Crompton) etc all complete as directed by the Engg in Charge. Important Note: Sample of all materials shall be got approved from Engg in Charge before use in work. | 32.00 | Each | 2649.47 | 3000.00 | 96000.00 | 2650.00 | 84800.00 | 2120.00 | 67840.00 | 67840.00 | M/S KRISHNA CONSTRUCTION CO.
132.10 | Supply and fix exhaust fan made of sturdy Engineering plastic complete with louvers shutter, voltage 230V, 50 Hz, RPM 1200, Copper winding of sweep 250mm of (Make: Automberg/Havells/Usha/Bajaj/ Crompton /Surya) etc all complete as directed by the Engg in Charge. Important Note: Sample of all materials shall be got approved from Engg in Charge before use in work. | 12.00 | Each | 1606.52 | 1800.00 | 21600.00 | 1600.00 | 19200.00 | 1541.00 | 18492.00 | 18492.00 | M/S KRISHNA CONSTRUCTION CO.
133.10 | S & Fixing of 2/4 Line Telephone Jack with PCB 1 Module Make GM Model AA 1 045 Magnesia or Equivalent model (Make: Legrand/Anchor/Crabtree/Havells/Philips) etc all complete as directed by the Engg in Charge. Important Note: Sample of all materials shall be got approved from Engg in Charge before use in work. | 24.00 | Each | 126.00 | 100.00 | 2400.00 | 125.00 | 3000.00 | 101.00 | 2424.00 | 2400.00 | SUNBUD MULTIVENTURES PVT. LTD
134.10 | S & Fixing of RJ-45 Sockets for Computer LAN connection 1 Module (Make GM/Legrand/Anchor/Crabtree/Havells/Philips) etc all complete as directed by the Engg in Charge. Important Note: Sample of all materials shall be got approved from Engg in Charge before use in work. | 24.00 | Each | 230.50 | 200.00 | 4800.00 | 230.00 | 5520.00 | 19.00 | 456.00 | 456.00 | M/S KRISHNA CONSTRUCTION CO.
135.10 | Supply, Install, Testing and Commissioning of standard Make 'Solar Hot Water System' (Flat Plate Collector) based on indirect transfer of heat of capacity 300 LPD with Suitable Electrical heating arrangement for Rainy Season etc all complete as directed by the Engg in Charge. Important Note: Sample of all materials shall be got approved from Engg in Charge before use in work. | 3.00 | Each | 97353.30 | 87000.00 | 261000.00 | 100000.00 | 300000.00 | 77883.00 | 233649.00 | 233649.00 | M/S KRISHNA CONSTRUCTION CO.
136.10 | S & F Booster pumps for 440 V, 3 Phase, 50 Hz Confirming to IS- 12469 :1988 With CI Casing bronze impeller and stainless steel shaft mounted on heavy duty bearings suitable for 440 volts, 3 phase, 50 Hz 30m head, 450 LPM discharge etc all complete as directed by the Engg in Charge. Important Note: Sample of all materials shall be got approved from Engg in Charge before use in work. | 1.00 | Each | 63400.00 | 62000.00 | 62000.00 | 65000.00 | 65000.00 | 26800.00 | 26800.00 | 26800.00 | M/S KRISHNA CONSTRUCTION CO.
137.10 | S&F Submain Wiring in Rigid PVC Conduit Wiring in Concealed Fittings 2x6.0 sq. mm + 1x6.0 sq. mm earth wire all complete as directed by the Engg in Charge Wire (Make: Finolex/Polycab/Havells) etc all complete as directed by the Engg in Charge. Important Note: Sample of all materials shall be got approved from Engg in Charge before use in work. | 100.00 | RM | 259.20 | 250.00 | 25000.00 | 260.00 | 26000.00 | 207.00 | 20700.00 | 20700.00 | M/S KRISHNA CONSTRUCTION CO.
138.10 | S&F Submain Wiring in Rigid PVC Conduit Wiring in Concealed Fittings 2x4.0 sq. mm + 1x4 sq. mm earth wire for AC's etc all complete as directed by the Engg in Charge Wire (Make: Finolex/Polycab/Havells) all complete as directed by the Engg in Charge. Important Note: Sample of all materials shall be got approved from Engg in Charge before use in work. | 300.00 | RM | 215.00 | 200.00 | 60000.00 | 215.00 | 64500.00 | 172.00 | 51600.00 | 51600.00 | M/S KRISHNA CONSTRUCTION CO.
139.10 | S&F One Light Point or one Fan point controlled by one switch with cables 1.5 Sq.mm Size in Rigid PVC Conduit in Wire (Make: Finolex/Polycab/Havells) etc all complete as directed by the Engg in Charge. Important Note: Sample of all materials shall be got approved from Engg in Charge before use in work. | 240.00 | Each | 992.75 | 800.00 | 192000.00 | 995.00 | 238800.00 | 800.00 | 192000.00 | 192000.00 | SUNBUD MULTIVENTURES PVT. LTD, M/S KRISHNA CONSTRUCTION CO.
140.10 | Supply and install hi wall split AC units indoor/outdoor complete with cordless remote control unit and with in built air ioniser and Plasma filter for better indoor air quality with minimum 5 star rating and EER 3.2.of capacity 1.5 TR of (Make: LG/Voltas/Bluestar) etc all complete as directed by the Engg in Charge. Important Note: Sample of all materials shall be got approved from Engg in Charge before use in work. | 16.00 | Each | 60815.37 | 55000.00 | 880000.00 | 61000.00 | 976000.00 | 48652.00 | 778432.00 | 778432.00 | M/S KRISHNA CONSTRUCTION CO.
141.10 | Cutting chases, pinning in, making good to facings where required and pointing in cement mortar 1:3 to ends or edges of landings, steps, cills, sunshades, shelves, lintels, etc.; and cutting chases for concealed water tubing or concealed conduit wiring, etc. and making good, cutting exceeding 20cm girth all complete as directed by the Engg in Charge. | 800.00 | RM | 55.60 | 50.00 | 40000.00 | 55.00 | 44000.00 | 44.00 | 35200.00 | 35200.00 | M/S KRISHNA CONSTRUCTION CO.
142.10 | Supply and fixing of 4 PAIR CAT6 UTP CABLE FOR NETWORKING etc all complete as directed by the Engg in Charge. Important Note: Sample of all materials shall be got approved from Engg in Charge before use in work. | 400.00 | RM | 20.00 | 15.00 | 6000.00 | 20.00 | 8000.00 | 13.00 | 5200.00 | 5200.00 | M/S KRISHNA CONSTRUCTION CO.
143.10 | S&F Rigid non-metallic PVC conduit 25 mm exclusive of boxes (junction /terminal) but inclusive of all tees, bends, elbows, reducers, bell mouth tube ends and fixing accessories such as couplers, lock nuts, saddles, pipe hooks etc. for laying of Telephone & CAT6 Cables, etc all complete as directed by the Engg in Charge. Important Note: Sample of all materials shall be got approved from Engg in Charge before use in work. | 400.00 | RM | 84.30 | 90.00 | 36000.00 | 85.00 | 34000.00 | 67.00 | 26800.00 | 26800.00 | M/S KRISHNA CONSTRUCTION CO.
144.10 | S&F Submain Wiring in Rigid PVC Conduit Wiring in Concealed Fittings 2x2.5 sq. mm + 1x2.5 sq. mm earth wire (Make: Finolex/Polycab/Havells) etc all complete as directed by the Engg in Charge. Important Note: Sample of all materials shall be got approved from Engg in Charge before use in work. | 400.00 | RM | 185.21 | 200.00 | 80000.00 | 185.00 | 74000.00 | 148.00 | 59200.00 | 59200.00 | M/S KRISHNA CONSTRUCTION CO.
145.10 | Supply & Fixing Supply and fixing LED street light fitting 35/45 Watt 230 V AC outdoor type with high pressure die cast aluminum hosing and heat resistant complete with driver, lamp bracket with impact and corrosion resistant including thermal management in multiple optics complete with IP 65 / 66 protection complete. (Make: Syska/Bajaj/Crompton/Phillips/Surya) etc all complete as directed by the Engg in Charge. Important Note: Sample of all materials shall be got approved from Engg in Charge before use in work. | 20.00 | Each | 2966.25 | 2800.00 | 56000.00 | 3000.00 | 60000.00 | 2373.00 | 47460.00 | 47460.00 | M/S KRISHNA CONSTRUCTION CO.
146.10 | Supply & Fixing Sheet Metal Enclosure/PVC/ABS IP 66 4 Way for Street Light Junction Box with 6 Amps MCB to be fixed on poles. (Make: Legrand/Anchor/ Crabtree/Havells) etc all complete as directed by the Engg in Charge. Important Note: Sample of all materials shall be got approved from Engg in Charge before use in work. | 20.00 | Each | 1350.25 | 1300.00 | 26000.00 | 1350.00 | 27000.00 | 1080.00 | 21600.00 | 21600.00 | M/S KRISHNA CONSTRUCTION CO.
147.10 | S&F WALL MOUNTING FAN SINGLE PHASE 220V AC,50HZ, REMI SWEEP 400MM, (MAKE:BAJAJ/CROMPTON/HAVELS/ORIENT) etc all complete as directed by the Engg in Charge. Note: Sample of all materials shall be got approved from Engg in Charge before use in work. | 16.00 | Each | 2465.17 | 2500.00 | 40000.00 | 2500.00 | 40000.00 | 1972.00 | 31552.00 | 31552.00 | M/S KRISHNA CONSTRUCTION CO.
148.10 | S & F Steel tubular swaged poles complete with cast iron base plate, finial taper plug, bolts, nuts & screws as specified type 410 SP-22 painted with one coat of red oxide & 2 coats of Metallic silver Colour (8.5 meters long) etc all complete as directed by the Engg in Charge. Important Note: Sample of all materials shall be got approved from Engg in Charge before use in work. | 20.00 | Each | 11505.10 | 1000.00 | 20000.00 | 11500.00 | 230000.00 | 9204.00 | 184080.00 | 20000.00 | SUNBUD MULTIVENTURES PVT. LTD
149.10 | Supply, Installation and Testing of CCTV System Consisting of Bullet Camera Dahua (DH-HAC-B1A21P-0360B) - 8 Nos, Dome Camera Dahua (DH-HAC-D1A21P-0360B) - 8 Nos, DVR Dahua (DH-XVR4B04-V2)- 1 No., Hard Disk 4 TB Surveillance for 27 Days Backup-1 No., Power Supply for 16 Cameras D-Link, Connectors BNC & Power -1 Set as required, Termination Box Pressfit-16 Nos, 4+1 Copper D-Link Premium cable in Pressfit PVC conduit- 400 Meters, 1 KVA UPS with 2 years warranty- 1 No, 3U Rack with PDU and Shelf- 1 No, Installation, configuring of DVR, Camera and Remote accessing etc all complete as directed by Engg in Charge. Important Note: Sample of all materials shall be got approved from Engg in Charge before use in work. | 1.00 | SET | 95639.00 | 90000.00 | 90000.00 | 125000.00 | 125000.00 | 76511.00 | 76511.00 | 76511.00 | M/S KRISHNA CONSTRUCTION CO.
150.10 | S&F of Rigid PVC Junction boxes (1 to 4 way) for pipe of 25 mm external dia etc all complete as directed by the Engg in Charge. Important Note: Sample of all materials shall be got approved from Engg in Charge before use in work. | 240.00 | Each | 46.21 | 40.00 | 9600.00 | 46.00 | 11040.00 | 37.00 | 8880.00 | 8880.00 | M/S KRISHNA CONSTRUCTION CO.
151.10 | Uprooting rank vegetation and weeds by digging the area to a depth of 60 cm, removing all weeds and other growth with roots by forking repeatedly, breaking clods, rough dressing, flooding with water, uprooting fresh growths after 10 to 15 days and then fine dressing for planting new grass, including disposal of all rubbish with all leads and lifts etc all complete as directed by the Engg in Charge. Important Notes: 1.The Contractor shall provide horticulture / landscaping drawing & shall get the same approved from Competent Factory Auth. With necessary corrections/amendments as suggested before start of works. 2. The sample all earth, manure & other usable materials shall be got approved from Competent Factory Auth. before use in works. | 1373.00 | Sq.m | 60.95 | 60.00 | 82380.00 | 60.00 | 82380.00 | 49.00 | 67277.00 | 67277.00 | M/S KRISHNA CONSTRUCTION CO.
152.10 | Supplying and stacking of good earth at site including royalty and carriage complete (earth measured in stacks will be reduced by 20% for payment) etc all complete as directed by the Engg in Charge. Note: Sample of good earth shall be got approved from Engg in Charge before use in work. Important Notes: 1.The Contractor shall provide horticulture / landscaping drawing & shall get the same approved from Competent Factory Auth. With necessary corrections/amendments as suggested before start of works. 2. The sample all earth, manure & other usable materials shall be got approved from Competent Factory Auth. before use in works. | 275.00 | Cu.m | 515.60 | 475.00 | 130625.00 | 515.00 | 141625.00 | 276.00 | 75900.00 | 75900.00 | M/S KRISHNA CONSTRUCTION CO.
153.10 | Supplying and stacking sludge to be used as manure at site including royalty and carriage complete (sludge measured in stacks will be reduced by 8% for payment) etc all complete as directed by the Engg in Charge. Note: Sample of sludge to be used as manure shall be got approved from Engg in Charge before use in work. Important Notes: 1.The Contractor shall provide horticulture / landscaping drawing & shall get the same approved from Competent Factory Auth. With necessary corrections/amendments as suggested before start of works. 2. The sample all earth, manure & other usable materials shall be got approved from Competent Factory Auth. before use in works. | 206.00 | Cu.m | 294.00 | 250.00 | 51500.00 | 295.00 | 60770.00 | 278.00 | 57268.00 | 51500.00 | SUNBUD MULTIVENTURES PVT. LTD
154.10 | Rough dressing the trenched ground including breaking clods etc all complete as directed by the Engg in Charge. Important Notes: 1.The Contractor shall provide horticulture / landscaping drawing & shall get the same approved from Competent Factory Auth. With necessary corrections/amendments as suggested before start of works. 2. The sample all earth, manure & other usable materials shall be got approved from Competent Factory Auth. before use in works. | 1373.00 | Sq.m | 1.50 | 2.00 | 2746.00 | 1.50 | 2059.50 | 1.00 | 1373.00 | 1373.00 | M/S KRISHNA CONSTRUCTION CO.
155.10 | Uprooting weeds from the trenched area after 10 to 15 days of its flooding with water including disposal of uprooted vegetation etc all complete as directed by the Engg in Charge. Important Notes: 1.The Contractor shall provide horticulture / landscaping drawing & shall get the same approved from Competent Factory Auth. With necessary corrections/amendments as suggested before start of works. 2. The sample all earth, manure & other usable materials shall be got approved from Competent Factory Auth. before use in works. | 1373.00 | Sq.m | 4.90 | 5.00 | 6865.00 | 5.00 | 6865.00 | 4.00 | 5492.00 | 5492.00 | M/S KRISHNA CONSTRUCTION CO.
156.10 | Preparation of beds for hedging and shrubbery by excavating 60 cm deep and trenching the excavated base to a further depth of 30 cm, refilling the excavated earth after breaking clods and mixing with sludge or manure in the ratio of 8:1 (8 parts of stacked volume of earth after reduction by 20%: one part of stacked volume of sludge or manure after reduction by 8%), flooding with water, filling with earth if necessary, watering and finally fine dressing, leveling etc. including stacking and disposal of materials declared unserviceable and surplus earth by spreading and leveling as directed, within a lead of 50 m, lift up to 1.5 m complete (cost of sludge, manure or extra earth to be paid for separately) etc all complete as directed by the Engg in Charge. Important Notes: 1.The Contractor shall provide horticulture / landscaping drawing & shall get the same approved from Competent Factory Auth. With necessary corrections/amendments as suggested before start of works. 2. The sample all earth, manure & other usable materials shall be got approved from Competent Factory Auth. before use in works. | 150.00 | Cu.m | 225.85 | 220.00 | 33000.00 | 225.00 | 33750.00 | 181.00 | 27150.00 | 27150.00 | M/S KRISHNA CONSTRUCTION CO.
157.10 | Filling mixture of earth and sludge or manure in the desired proportion in trenches, flooding with water and leveling (cost of supplying earth and sludge or manure and mixing excluded) etc all complete as directed by the Engg in Charge. Important Notes: 1.The Contractor shall provide horticulture / landscaping drawing & shall get the same approved from Competent Factory Auth. With necessary corrections/amendments as suggested before start of works. 2. The sample all earth, manure & other usable materials shall be got approved from Competent Factory Auth. before use in works. | 875.00 | Cu.m | 18.25 | 15.00 | 13125.00 | 18.00 | 15750.00 | 15.00 | 13125.00 | 13125.00 | SUNBUD MULTIVENTURES PVT. LTD, M/S KRISHNA CONSTRUCTION CO.
158.10 | Providing and laying Neelgiri/Mexican grass/ (any type of grass as approved and desire by the Competent Factory Authority) turf with earth 50mm to 60mm thickness of existing ground prepared with proper level and ramming with tools wooden (Dhurmos) and than rolling the surface with light roller make the surface smoothen and light watering with sprinkler and maintenance for 30 days or more till the grass establish properly, etc all complete as directed by the Engg in Charge. Note: Sample of grass turf shall be got approved from the Engg in Charge before use in work. Important Notes: 1.The Contractor shall provide horticulture / landscaping drawing & shall get the same approved from Competent Factory Auth. With necessary corrections/amendments as suggested before start of works. 2. The sample all earth, manure & other usable materials shall be got approved from Competent Factory Auth. before use in works. | 875.00 | Sq.m | 214.40 | 225.00 | 196875.00 | 215.00 | 188125.00 | 200.00 | 175000.00 | 175000.00 | M/S KRISHNA CONSTRUCTION CO.
159.10 | Providing & fixing of White River (Stone) Pebbles size of 2" to 2.50" dia in natural colour at site of work including loading, unloading, carriage and all taxes paid etc. all complete as directed by the Engg in Charge. Note: Sample of stone pebbles shall be got approved from Engg in Charge before use in work. Important Notes: 1.The Contractor shall provide horticulture / landscaping drawing & shall get the same approved from Competent Factory Auth. With necessary corrections/amendments as suggested before start of works. 2. The sample all earth, manure & other usable materials shall be got approved from Competent Factory Auth. before use in works. | 10.00 | Quintal | 610.70 | 600.00 | 6000.00 | 610.00 | 6100.00 | 500.00 | 5000.00 | 5000.00 | M/S KRISHNA CONSTRUCTION CO.
160.10 | Preparation of mounds of various size and shape by available excavated / supplied earth in layers not exceeding 20 cm in depth, breaking clods, watering of each layer, dressing etc., lead upto 50 meter and lift upto 1.5 m complete etc all complete as directed by the Engg in Charge. Important Notes: 1.The Contractor shall provide horticulture / landscaping drawing & shall get the same approved from Competent Factory Auth. With necessary corrections/amendments as suggested before start of works. 2. The sample all earth, manure & other usable materials shall be got approved from Competent Factory Auth. before use in works. | 100.00 | Cu.m | 456.35 | 400.00 | 40000.00 | 455.00 | 45500.00 | 472.00 | 47200.00 | 40000.00 | SUNBUD MULTIVENTURES PVT. LTD
161.10 | Anti termite treatment by digging holes 30 cm deep and 4 cm dia, 6 to 7 holes around the tree using chemical emulsion at the rate of 1.5 liter per hole in two time or more application to get the trees free from termite infection chemicals used Chlorpyriphos 20% EC in the ratio of 1% concentration etc all complete as directed by the Engg in Charge. Important Notes: 1.The Contractor shall provide horticulture / landscaping drawing & shall get the same approved from Competent Factory Auth. With necessary corrections/amendments as suggested before start of works. 2. The sample all earth, manure & other usable materials shall be got approved from Competent Factory Auth. before use in works. | 25.00 | Each Tree | 51.20 | 50.00 | 1250.00 | 51.00 | 1275.00 | 34.00 | 850.00 | 850.00 | M/S KRISHNA CONSTRUCTION CO.
162.10 | Anti termite treatment of lawn area through premise 30.50% I P. one liter premise diluted in 499 liters water and applying solution @ 1.00 litre solution per sqm lawn or bed area.(two application) i/c cost of chemical)and as per direction etc all complete as directed by the Engg in Charge. Important Notes: 1.The Contractor shall provide horticulture / landscaping drawing & shall get the same approved from Competent Factory Auth. With necessary corrections/amendments as suggested before start of works. 2. The sample all earth, manure & other usable materials shall be got approved from Competent Factory Auth. before use in works. | 875.00 | Sq.m | 7.55 | 10.00 | 8750.00 | 7.50 | 6562.50 | 5.00 | 4375.00 | 4375.00 | M/S KRISHNA CONSTRUCTION CO.
163.10 | Providing and fixing of Tuflex Garden fencing Hexagonal net/or equivalent of green colour having contents ( Weight grams/sqm. 510 (+/- 8%)) in width of 60 cm. with bamboo of 90 cm. length. The bamboo should be painted with green colour paint of approved brand and manufacture (two or more coats) and fixed 30 cm. below ground level and 60 cm. above ground level at a distance of 1.50 mtrs. The net and bamboo should be binded with 2 mm. G.I. Wire at three places properly etc all complete as per direction of Engineer-in-charge. Important Notes: 1.The Contractor shall provide horticulture / landscaping drawing & shall get the same approved from Competent Factory Auth. With necessary corrections/amendments as suggested before start of works. 2. The sample all earth, manure & other usable materials shall be got approved from Competent Factory Auth. before use in works. | 100.00 | Sq.m | 204.00 | 225.00 | 22500.00 | 205.00 | 20500.00 | 150.00 | 15000.00 | 15000.00 | M/S KRISHNA CONSTRUCTION CO.
| Total in Figures |  |  |  |  | 25626656.00 |  | 28339911.00 |  | 24268966.50
Lowest Amount Quoted BY: M/S KRISHNA CONSTRUCTION CO.(24268966.50)

## BOQ Summary
BOQ Summary Details Tender Title: REPAIRS TO ROOF AND ALLIED REPAIRS TO MTPF AVNL QTR NO. E-25, E-26, E-27 AND GYMNASIUM B. NO. 29 FOR CREATION OF RECREATIONAL AREA Tender ID: 2024_AVNL_186953_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/S KRISHNA CONSTRUCTION CO. | 24268966.50 | L1
| 2 | SUNBUD MULTIVENTURES PVT. LTD | 25626656.00 | L2
| 3 | JAYPEE ENTERPRISES | 28339911.00 | L3