## BoQ1
Government eProcurement System Created By: VENKATESAN KANNAIAH Created Date/Time: 12-Apr-2024 04:37 PM Tender Title: Special repairs to Toilet, Office Room, Main Garage, Vehicle shed and Pathway in TPT Section at Old Facility in HVF Avadi Tender ID: 2024_AVNL_189794_1
Tender Inviting Authority: THE CHIEF GENERAL MANAGER, HEAVY VEHICLES FACTORY, AVADI
Name of Work : SPECIAL REPAIRS TO TOILET, OFFICE ROOM, MAIN GARAGE, VEHICLE SHED AND PATHWAY IN TPT SECTION AT OLD FACILITY IN HVF AVADI
HVF T.E No : HVF/TE/13025/CEO/2023-24/77
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/s.MSK Construction (GSTN-33EDTPS7287F1ZQ) BID ID -689691 |  | VIJAYALAKSHMI ENETERPRISES(GSTN-NA)--690077 |  | Siva Enterprises(GSTN-NA)--689878 |  | P S G CONSTRUCTIONS(GSTN-NA)--682953
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Removal of existing Roof treatment of any type including the weathering course of any depth provided in any type of concrete by demolition till the mother concrete old R.C.C Roof top is visible and removal of the top coating/bitumen/lime concrete track from the roof so that the old concrete top surfaces is fully clam/fresh to receive any further new treatment.This rate including complete work as specified above including removal of the debris from the roof top and cleaning the area neat & clean, removal of the debris to a location specified ( not less than 1km from the site) and filing the low laying area including spreading the heaps to a have unifrom surface which will not affect the flow of water to nearly low being area/catchment area. | 1650.00 | m2 | 175.00 | 210.00 | 346500.00 | 195.00 | 321750.00 | 255.00 | 420750.00 | 150.00 | 247500.00 | 247500.00 | P S G CONSTRUCTIONS
2.00 | Material and labour for providing a cement concrete layer average thickness 55mm using B0 type concrete and finishing the surface. | 1160.00 | m2 | 497.26 | 600.00 | 696000.00 | 450.00 | 522000.00 | 575.00 | 667000.00 | 490.00 | 568400.00 | 522000.00 | VIJAYALAKSHMI ENETERPRISES
3.00 | Supply of liquid waterproofing compound for plastering in roof surfaces. The make of liquid waterproofing compound should be got approved by E-I-C. | 45.00 | Litre | 300.73 | 300.00 | 13500.00 | 350.00 | 15750.00 | 355.00 | 15975.00 | 120.00 | 5400.00 | 5400.00 | P S G CONSTRUCTIONS
4.00 | Protection of Membrane Providing and laying Protective layer of 210 GSM Geotextile before laying the protection screed | 1650.00 | m2 | 90.00 | 70.00 | 115500.00 | 99.00 | 163350.00 | 125.00 | 206250.00 | 150.00 | 247500.00 | 115500.00 | M/s.MSK Construction
5.00 | Supply and application of Polyurethane based sealant for filling of visible cracks up to 10mm width and 5mm depth. PU sealant material shall have elongation more than 700%.The contractor shall use Hyperseal expert 150 of Alchemica/seal Arm PU of MYK Arment/SNF one plus P590 of Bostik/Masterseal NP 473 U of Master Builders Solutions/Cipoxy 16 D of Dr. Fixit, makes) or suitably equivalent make as approved by EIC and finishing the top surface. | 700.00 | m | 250.00 | 120.00 | 84000.00 | 265.00 | 185500.00 | 255.00 | 178500.00 | 600.00 | 420000.00 | 84000.00 | M/s.MSK Construction
6.00 | Supply and application of seamless Polyurethane (PU) based elastomeric coating exposable to atmosphere. The work consisting a) Supply & Application of PU based primer minimum of 100gms per SQM b) Supply & application of seamless PU based elastomeric coating over a primer coat to achieve a thickness of 1.50mm DFT in two coats, with an application rate of minimum 2.1 kg/Sq.M, having minimum solid content(ASTM 836) of more than 85% and elongation also more than 400% c) Supply & application of Protective UV top coat @ 0.25 kg/sq.m (The Contractor Shall use the material from the reputed manufacturers such as" Master Builders Solution" "MYK Arment", Dr. Fixit",Alchimica", "Bostik" and " Tecnopol") or suitably equivalent make as approved by EIC). | 1650.00 | m2 | 1134.00 | 700.00 | 1155000.00 | 1175.00 | 1938750.00 | 1295.00 | 2136750.00 | 1450.00 | 2392500.00 | 1155000.00 | M/s.MSK Construction
7.00 | M & L for dismantling floor, hearth or wall tiling including cement mortar bedding (but not backing), removing serviceable tiles to store and rubbish off the premises. | 650.00 | m2 | 102.93 | 120.00 | 78000.00 | 95.00 | 61750.00 | 105.00 | 68250.00 | 90.00 | 58500.00 | 58500.00 | P S G CONSTRUCTIONS
8.00 | Roughening the surfaces of old concrete floor by picking , sweeping clean and washing down with water to remove dust and brushing with neat cement slurry with 3.0Kg of cement per Sq.Meter. | 500.00 | m2 | 64.40 | 100.00 | 50000.00 | 60.00 | 30000.00 | 35.00 | 17500.00 | 60.00 | 30000.00 | 17500.00 | Siva Enterprises
9.00 | Supply and Fixing of dark shade Virified Ceramic tiles 10 mm thick (square/ rectangular) polished, area of each tiles not exceeding 0.36 sqm, in floors etc. set and jointed in neat cement slurry and pointed in white or coloured cement to match and screed bed or bedding layer in CM1:3, 20mm thick for laying floor finishes. | 400.00 | m2 | 2049.40 | 1500.00 | 600000.00 | 1850.00 | 740000.00 | 2255.00 | 902000.00 | 1900.00 | 760000.00 | 600000.00 | M/s.MSK Construction
10.00 | Supply and Fixing of dark shade Virified Ceramic tiles 10 mm thick (square/ rectangular) polished, area of each tiles not exceeding 0.36 sqm, in floors/wall etc. set and jointed in neat cement slurry and pointed in white or coloured cement to match including screed bed in CM 1:4 15mm thick complete. | 700.00 | m2 | 1961.41 | 1400.00 | 980000.00 | 1800.00 | 1260000.00 | 2295.00 | 1606500.00 | 1900.00 | 1330000.00 | 980000.00 | M/s.MSK Construction
11.00 | M & L for Cement coloured concrete tiles 20cm x 20cm x 20mm thick,machine pressed; set jointed and pointed in neat cement slurry in floors, and cut and polished with white cement and pigment. | 70.00 | m2 | 1121.71 | 1000.00 | 70000.00 | 1100.00 | 77000.00 | 1155.00 | 80850.00 | 1100.00 | 77000.00 | 70000.00 | M/s.MSK Construction
12.00 | Dismantling of Asbestos cement sheets (corrugated, semicorrugated etc.) in roof coverings as directed and returning to CE stores intact. | 4900.00 | m2 | 40.25 | 100.00 | 490000.00 | 40.00 | 196000.00 | 45.00 | 220500.00 | 75.00 | 367500.00 | 196000.00 | VIJAYALAKSHMI ENETERPRISES
13.00 | S & F of Pre- painted galvatume aluminum zinc coating GI based corrugated steel sheet 0.50mm thick of an colour having tensile strength of 550 Mpa as in roof covering/cladding to wall, fixed with J-type or cranked hook bolts and self tapping screws as specified. | 4900.00 | m2 | 882.06 | 679.00 | 3327100.00 | 865.00 | 4238500.00 | 925.00 | 4532500.00 | 890.00 | 4361000.00 | 3327100.00 | M/s.MSK Construction
14.00 | S & F of Pre-painted galvalume aluminum zinc coating GI based Plain steel sheet 0.50mm thick of any colour having tensile strength of 550 Mpa as in roof covering/cladding to wall, fixed with self tapping screws as specified | 600.00 | m2 | 824.56 | 700.00 | 420000.00 | 865.00 | 519000.00 | 855.00 | 513000.00 | 900.00 | 540000.00 | 420000.00 | M/s.MSK Construction
15.00 | Dismantling Wall and ceiling boards (fibre, pulp, insulation, etc.) or insulation boards/slabs/ blankets, any thickness, including cover fillets. | 50.00 | m2 | 47.84 | 100.00 | 5000.00 | 45.00 | 2250.00 | 55.00 | 2750.00 | 90.00 | 4500.00 | 2250.00 | VIJAYALAKSHMI ENETERPRISES
16.00 | Supply and fixing of Anodised aluminium snap grid frame work for false ceiling all as specified. | 50.00 | m2 | 562.68 | 500.00 | 25000.00 | 525.00 | 26250.00 | 575.00 | 28750.00 | 900.00 | 45000.00 | 25000.00 | M/s.MSK Construction
17.00 | S & F of Anodised aluminium frame for Partition, doors, windows, ventilators with one or more rebates including joining cleat for fixing etc. complete all as specified | 115.00 | KG | 535.45 | 810.00 | 93150.00 | 599.00 | 68885.00 | 545.00 | 62675.00 | 3100.00 | 356500.00 | 62675.00 | Siva Enterprises
18.00 | S & F of Anodised aluminium door shutters, aluminium section weighing 0.55 kg/m including necessary joining cleats, glazing clips, ruber neoprene packing, handles 2 Nos in each door, hinges,anodised aluminum snap beading screws etc. complete all as specified. | 5.00 | m2 | 1482.18 | 4000.00 | 20000.00 | 2500.00 | 12500.00 | 1755.00 | 8775.00 | 2900.00 | 14500.00 | 8775.00 | Siva Enterprises
19.00 | Supply and fixing of pre-laminated particle board of 12mm thick with both sides with decorative choice lamination. | 55.00 | m2 | 979.80 | 1000.00 | 55000.00 | 950.00 | 52250.00 | 995.00 | 54725.00 | 1800.00 | 99000.00 | 52250.00 | VIJAYALAKSHMI ENETERPRISES
20.00 | Material and Labour for exposed metal frame ceiling with calcium silicate board (8mm) of siliceous and calcareous material reinforced with cellulose fibre for fixing in 600 mm x 600mm grid (Frame work for ceiling shall be measured and paid separately) | 50.00 | m2 | 518.88 | 600.00 | 30000.00 | 499.00 | 24950.00 | 545.00 | 27250.00 | 900.00 | 45000.00 | 24950.00 | VIJAYALAKSHMI ENETERPRISES
21.00 | Material and labour for painting calcium silicate board in ceiling with one coat of primer over two coat of plastic internal emulsion preparation of new surfaces. | 50.00 | m2 | 164.68 | 160.00 | 8000.00 | 99.00 | 4950.00 | 155.00 | 7750.00 | 120.00 | 6000.00 | 4950.00 | VIJAYALAKSHMI ENETERPRISES
22.00 | Dismantling structural steel work including door,gates but excluding frame truss etc. | 1.80 | Quintal | 717.14 | 3000.00 | 5400.00 | 650.00 | 1170.00 | 745.00 | 1341.00 | 750.00 | 1350.00 | 1170.00 | VIJAYALAKSHMI ENETERPRISES
23.00 | S & F of Anodised aluminium window and ventilator shutters, side fixed type without sash bars, aluminium sections weighing 0.55 kg/m including necessary joining cleats, glazing clips, rubber packing, anodised aluminium snap beading, screws, complete all as specified | 55.00 | m2 | 1484.17 | 4500.00 | 247500.00 | 2250.00 | 123750.00 | 1455.00 | 80025.00 | 2900.00 | 159500.00 | 80025.00 | Siva Enterprises
24.00 | Taking down window frame with shutter not exceeding 1.5 sq.m and handing over the same to CE stores. | 30.00 | Each | 415.84 | 400.00 | 12000.00 | 280.00 | 8400.00 | 425.00 | 12750.00 | 400.00 | 12000.00 | 8400.00 | VIJAYALAKSHMI ENETERPRISES
25.00 | S & F of 4mm thick Sheet glass, ordinary quality and glazing with oil putty in square exc 0.5 sq. m in each pane | 65.00 | m2 | 1246.37 | 2000.00 | 130000.00 | 1100.00 | 71500.00 | 1355.00 | 88075.00 | 1200.00 | 78000.00 | 71500.00 | VIJAYALAKSHMI ENETERPRISES
26.00 | S & F of Anodised aluminium frame and grill fixed with ' F ' type aluminium chennel complete. | 95.00 | KG | 535.45 | 900.00 | 85500.00 | 650.00 | 61750.00 | 575.00 | 54625.00 | 1800.00 | 171000.00 | 54625.00 | Siva Enterprises
27.00 | Taking down cement plaster on brick or stone walls,/tiles etc. including raking out joints, hacking for key, scrubbing down with water, etc. | 900.00 | m2 | 109.18 | 150.00 | 135000.00 | 90.00 | 81000.00 | 115.00 | 103500.00 | 120.00 | 108000.00 | 81000.00 | VIJAYALAKSHMI ENETERPRISES
28.00 | M & L for Dubbing in CM 1:4 , 10mm thick on facrs of old brick work and concrete surfaces. | 900.00 | m2 | 195.66 | 460.00 | 414000.00 | 200.00 | 180000.00 | 215.00 | 193500.00 | 190.00 | 171000.00 | 171000.00 | P S G CONSTRUCTIONS
29.00 | M & L for plastering in CM 1:3, on fair faces of ceiling to 12mm thick. | 100.00 | m2 | 313.55 | 460.00 | 46000.00 | 275.00 | 27500.00 | 325.00 | 32500.00 | 390.00 | 39000.00 | 27500.00 | VIJAYALAKSHMI ENETERPRISES
30.00 | M & L for plastering in CM 1:4, 15mm thick on fair faces of brick work, concrete surfaces and Door & Window Jamb plastering. | 800.00 | m2 | 302.59 | 460.00 | 368000.00 | 325.00 | 260000.00 | 325.00 | 260000.00 | 360.00 | 288000.00 | 260000.00 | Siva Enterprises, VIJAYALAKSHMI ENETERPRISES
31.00 | Demolition of brickwork or stone/boulder masonery, built in cement motar | .50 | m3 | 678.50 | 2000.00 | 1000.00 | 750.00 | 375.00 | 725.00 | 362.50 | 1200.00 | 600.00 | 362.50 | Siva Enterprises
32.00 | Surface excavation hard dense soil n.exc (not exceeding) 30 cm deep and averaging 15cm deep and getting out | 200.00 | m2 | 107.18 | 100.00 | 20000.00 | 90.00 | 18000.00 | 105.00 | 21000.00 | 60.00 | 12000.00 | 12000.00 | P S G CONSTRUCTIONS
33.00 | Earth work excavation in hard/ dense soil for foundation width and depth not exceeding 1.50m and getting out. | 20.00 | m3 | 776.25 | 300.00 | 6000.00 | 650.00 | 13000.00 | 755.00 | 15100.00 | 900.00 | 18000.00 | 6000.00 | M/s.MSK Construction
34.00 | Material and labour for sand filling in foundation including watering and consolidation. | 30.00 | m3 | 2270.45 | 2000.00 | 60000.00 | 2000.00 | 60000.00 | 2355.00 | 70650.00 | 2700.00 | 81000.00 | 60000.00 | M/s.MSK Construction, VIJAYALAKSHMI ENETERPRISES
35.00 | Material and Labour for P.C.C 1:4:8,D2 type using 40mm graded aggregated in foundation and flooring. | 8.00 | m3 | 6305.57 | 7000.00 | 56000.00 | 5500.00 | 44000.00 | 6455.00 | 51640.00 | 6000.00 | 48000.00 | 44000.00 | VIJAYALAKSHMI ENETERPRISES
36.00 | Material and labour for cement concrete 1:2:4 Type B2 20mm graded aggregate in foundation filling and mass concrete. | 30.00 | m3 | 7513.33 | 9000.00 | 270000.00 | 7500.00 | 225000.00 | 7455.00 | 223650.00 | 8900.00 | 267000.00 | 223650.00 | Siva Enterprises
37.00 | M & L for Brick work built in CM.1:6 using Sub-Class “B” Bricks,straight or curved on plan exc 6m mean radius . | 5.00 | m3 | 5606.25 | 12000.00 | 60000.00 | 7500.00 | 37500.00 | 6500.00 | 32500.00 | 7900.00 | 39500.00 | 32500.00 | Siva Enterprises
38.00 | Taking down door shutters but exc 1 sq. m and n exc 2 sq. m each and handing over the same to CE (Stores), | 10.00 | Each | 245.99 | 500.00 | 5000.00 | 150.00 | 1500.00 | 245.00 | 2450.00 | 400.00 | 4000.00 | 1500.00 | VIJAYALAKSHMI ENETERPRISES
39.00 | S/F of plain solid straight chowkats and frames, wrought framed rebated on the solid rounded or chamfered put together, with glue pinned at joints of 2nd class hard wood. | .40 | m3 | 99345.22 | 150000.00 | 60000.00 | 95000.00 | 38000.00 | 115000.00 | 46000.00 | 99000.00 | 39600.00 | 38000.00 | VIJAYALAKSHMI ENETERPRISES
40.00 | M & L for preparing surfaces of wood and wood based materials new or old, of any description and girth, not otherwise described and treated with creosote oil | 6.00 | m2 | 22.71 | 3000.00 | 18000.00 | 30.00 | 180.00 | 25.00 | 150.00 | 90.00 | 540.00 | 150.00 | Siva Enterprises
41.00 | Cutting of holes in brick wall built in Cement mortor not exceeding half brick wall | 116.00 | Each | 169.21 | 1000.00 | 116000.00 | 150.00 | 17400.00 | 165.00 | 19140.00 | 150.00 | 17400.00 | 17400.00 | P S G CONSTRUCTIONS, VIJAYALAKSHMI ENETERPRISES
42.00 | Supply and fixing of holdfast made out of 25 X 6 mm flat fixed to window frame. | 35.00 | KG | 208.24 | 160.00 | 5600.00 | 150.00 | 5250.00 | 205.00 | 7175.00 | 150.00 | 5250.00 | 5250.00 | P S G CONSTRUCTIONS, VIJAYALAKSHMI ENETERPRISES
43.00 | Supply and fixing of 40 mm thick Flush door shutter solid core construction with block board core and plywood face pannels,commercial type of both sides. | 60.00 | m2 | 2022.51 | 3000.00 | 180000.00 | 2200.00 | 132000.00 | 2255.00 | 135300.00 | 3300.00 | 198000.00 | 132000.00 | VIJAYALAKSHMI ENETERPRISES
44.00 | S & F for 125mm Butt hinges, extruded brass, with mild steel hinge pin, bright polished and fixed, type B-11. | 90.00 | Each | 295.44 | 425.00 | 38250.00 | 300.00 | 27000.00 | 285.00 | 25650.00 | 450.00 | 40500.00 | 25650.00 | Siva Enterprises
45.00 | S & F of 375mm Brass, sliding door bolt with sand or die-cast brass hasp,staple (bolt type) and fixing bolt with rolled or drawn brass bolts and fixed. | 30.00 | Each | 1208.77 | 900.00 | 27000.00 | 1500.00 | 45000.00 | 1155.00 | 34650.00 | 900.00 | 27000.00 | 27000.00 | P S G CONSTRUCTIONS, M/s.MSK Construction
46.00 | S & F of 200mm Brass barrel tower bolts, with cast or sheet barrel and rolled or cast bolts and fixed . | 60.00 | Each | 344.31 | 900.00 | 54000.00 | 500.00 | 30000.00 | 355.00 | 21300.00 | 750.00 | 45000.00 | 21300.00 | Siva Enterprises
47.00 | S & F of 150mm Extruded brass handles,fabricated type polished. | 60.00 | Each | 308.09 | 1500.00 | 90000.00 | 350.00 | 21000.00 | 325.00 | 19500.00 | 750.00 | 45000.00 | 19500.00 | Siva Enterprises
48.00 | S & F of Aluminium (Die cast) bady door closer hydraulically regulated, designation No. 3, universal type, suitable for door shutters of 851 to 1000 mm in width and of weight between 61 to 80 kg and fixed | 19.00 | Each | 1497.30 | 2000.00 | 38000.00 | 1350.00 | 25650.00 | 1455.00 | 27645.00 | 3000.00 | 57000.00 | 25650.00 | VIJAYALAKSHMI ENETERPRISES
49.00 | M & L for Cutting out cracks to V-section in existing roofs or terracing, cleaning out, wetting, grouting with cement and sand slurry 1:3 | 400.00 | m | 111.69 | 120.00 | 48000.00 | 99.00 | 39600.00 | 125.00 | 50000.00 | 120.00 | 48000.00 | 39600.00 | VIJAYALAKSHMI ENETERPRISES
50.00 | Demolition and breaking up drain pipes 100mm (Salt glazed ware, AC or Reinforced concrete) set in cement mortar and removing from the site to nearby low lying area. | 100.00 | m | 55.78 | 100.00 | 10000.00 | 55.00 | 5500.00 | 65.00 | 6500.00 | 60.00 | 6000.00 | 5500.00 | VIJAYALAKSHMI ENETERPRISES
51.00 | S & F of PVC 110mm dia Pipes single socketed, in any length with rubber ring joints laid in trenches or in floors. | 100.00 | m | 218.50 | 500.00 | 50000.00 | 250.00 | 25000.00 | 235.00 | 23500.00 | 390.00 | 39000.00 | 23500.00 | Siva Enterprises
52.00 | S & F of PVC (SWR) 110mm dia Pipes single socketed, in any length with rubber ring joints laid in trenches or in wall. | 75.00 | m | 224.25 | 450.00 | 33750.00 | 265.00 | 19875.00 | 230.00 | 17250.00 | 390.00 | 29250.00 | 17250.00 | Siva Enterprises
53.00 | S & F of PVC 75mm dia Pipes single socketed, in any length with rubber ring joints laid in trenches or in floors. | 40.00 | m | 184.00 | 300.00 | 12000.00 | 200.00 | 8000.00 | 195.00 | 7800.00 | 290.00 | 11600.00 | 7800.00 | Siva Enterprises
54.00 | S & F of PVC Bend 110mm dia any radius | 8.00 | Each | 143.75 | 300.00 | 2400.00 | 150.00 | 1200.00 | 155.00 | 1240.00 | 190.00 | 1520.00 | 1200.00 | VIJAYALAKSHMI ENETERPRISES
55.00 | S & F of PVC Bend 75mm dia any radius | 8.00 | Each | 126.50 | 200.00 | 1600.00 | 125.00 | 1000.00 | 145.00 | 1160.00 | 120.00 | 960.00 | 960.00 | P S G CONSTRUCTIONS
56.00 | S & F of 15mm Bib Taps, cast copper alloy with crutch or butterfly handle, screwed for iron pipe or for brass ferrule fancy type and chroumium plated (Make: waterman, Metro or equvalent) | 20.00 | Each | 698.71 | 1000.00 | 20000.00 | 800.00 | 16000.00 | 725.00 | 14500.00 | 750.00 | 15000.00 | 14500.00 | Siva Enterprises
57.00 | Supply and fixing of EWC Vitreous China wash down water closet pan (pedestal pattern), white with "P" or "S" trap including Wash down water closet (Pedestal pattern), complete High or low level fluslhing cistern, and connections to pipes and fixing of chain and pull, or lever, if any pvc valveless, syphonic action type, flushing cistern 10 litres capacity, low level, white, with inlet, ball valve, float and handle including bracket | 4.00 | Each | 3283.74 | 7000.00 | 28000.00 | 7500.00 | 30000.00 | 3655.00 | 14620.00 | 6000.00 | 24000.00 | 14620.00 | Siva Enterprises
58.00 | Supply and fixing of 110mm PVC (SWR) vent cowl | 8.00 | Each | 132.25 | 150.00 | 1200.00 | 100.00 | 800.00 | 135.00 | 1080.00 | 60.00 | 480.00 | 480.00 | P S G CONSTRUCTIONS
59.00 | Supply and fixing of vitreous China squatting pan of pattern “long pan”, size 580 mm white with ‘P’ or ‘S” trap, front or back inlet and foot rests, any pattern including provision of lime concrete bedding PVC valveless 10 litre, syphonic action type, flushing cistern, low level, white, with inlet, ball valve, float and handle including brackets Flush pipe of polyethylene of low or high density or PVC. 32 mm dia, for low level cistern | 4.00 | Each | 3951.20 | 6000.00 | 24000.00 | 6500.00 | 26000.00 | 4155.00 | 16620.00 | 4500.00 | 18000.00 | 16620.00 | Siva Enterprises
60.00 | Supply and fixing of vitreous China wash basin, white, flat back, size 580x450 Wash basins, Vitreous China (flat back or angle back type) any size, including cutting for and pinning in ends of brackets or erecting stand fixed in repair Waste fittings 32mm, brass, chromium plated for glazed ware sinks, basins, etc. with long screwed shanks and fly-nuts, flange end bedded in red lead cement and other end fixed Pillar taps, cast copper alloy, with capstan heads, chromium plated, screwed down high pressure, with or without lettered 'Hot' or 'Cold' with long screwed shanks and fly-nuts, screwed for iron pipe and fixed.(Bore dia 15mm) | 8.00 | Each | 2954.52 | 5000.00 | 40000.00 | 5000.00 | 40000.00 | 3255.00 | 26040.00 | 3600.00 | 28800.00 | 26040.00 | Siva Enterprises
61.00 | Supply and Fixing of Viterous china urinal half stall type including providing and fixing plugs bedding urinals against wall in CM 1:2 securing urinal to plugs with and including 60mm long brass screw pointing around urinal around urinal back in cement and waste pipe including ect complete and dismantling of existing urinal complete. | 6.00 | Each | 2420.20 | 4000.00 | 24000.00 | 3000.00 | 18000.00 | 2755.00 | 16530.00 | 3600.00 | 21600.00 | 16530.00 | Siva Enterprises
62.00 | Supply and Fixing of 600mmx450mm bevelled edge mirror of selected quality glass, mounted on 6mm thick AC building board or commercial plywood and fixed to wooden plugs with chromium plated brass screws and cup washers | 6.00 | Each | 637.79 | 2500.00 | 15000.00 | 950.00 | 5700.00 | 645.00 | 3870.00 | 900.00 | 5400.00 | 3870.00 | Siva Enterprises
63.00 | Supply and fixing of tubular towel rail 20mm D type 60cm long of aluminium anodized with and including chromium coated brass screws and wooden /plastic cleats. | 8.00 | Each | 436.77 | 1320.00 | 10560.00 | 900.00 | 7200.00 | 445.00 | 3560.00 | 600.00 | 4800.00 | 3560.00 | Siva Enterprises
64.00 | Supply and fixing of soap dish fixed to plugs with chromium plated brass screws.approximate size 160x 160x90mm | 6.00 | Each | 296.09 | 800.00 | 4800.00 | 250.00 | 1500.00 | 325.00 | 1950.00 | 450.00 | 2700.00 | 1500.00 | VIJAYALAKSHMI ENETERPRISES
65.00 | cutting chases, pinning in making good to facing where required and pointing in cement mortar 1:3 for water tubing etc., and making good , cutting not exceeding 10cm girth in brick wall. | 50.00 | m | 58.02 | 200.00 | 10000.00 | 90.00 | 4500.00 | 65.00 | 3250.00 | 90.00 | 4500.00 | 3250.00 | Siva Enterprises
66.00 | Taking down 20mm steel tubing and connection inculding cleaning for refixing or removal to stores. | 70.00 | m | 74.75 | 150.00 | 10500.00 | 20.00 | 1400.00 | 75.00 | 5250.00 | 60.00 | 4200.00 | 1400.00 | VIJAYALAKSHMI ENETERPRISES
67.00 | Taking down 25mm or 32mmsteel tubing and connection inculding cleaning for refixing or removal to stores. | 65.00 | m | 46.23 | 300.00 | 19500.00 | 30.00 | 1950.00 | 55.00 | 3575.00 | 65.00 | 4225.00 | 1950.00 | VIJAYALAKSHMI ENETERPRISES
68.00 | Taking down 40mm or 50mm steel tubing and connection inculding cleaning for refixing or removal to stores. | 50.00 | m | 56.58 | 200.00 | 10000.00 | 50.00 | 2500.00 | 65.00 | 3250.00 | 75.00 | 3750.00 | 2500.00 | VIJAYALAKSHMI ENETERPRISES
69.00 | Supplying and laying of CPVC pipes 40 mm outer diameter SDR 11 & Plain CPVC SDR 11 fittings on walls/ceiling or laying in floors complete all as specified. | 50.00 | m | 712.66 | 450.00 | 22500.00 | 650.00 | 32500.00 | 715.00 | 35750.00 | 360.00 | 18000.00 | 18000.00 | P S G CONSTRUCTIONS
70.00 | Supplying and laying of CPVC pipes 25 mm outer diameter SDR 11 & Plain CPVC SDR 11 fittings on walls/ceiling or laying in floors complete all as specified. | 45.00 | m | 377.78 | 350.00 | 15750.00 | 350.00 | 15750.00 | 375.00 | 16875.00 | 270.00 | 12150.00 | 12150.00 | P S G CONSTRUCTIONS
71.00 | Supplying and laying of CPVC pipes 20 mm outer diameter SDR 11 & Plain CPVC SDR 11 fittings on walls/ceiling or laying in floors complete all as specified. | 85.00 | m | 253.81 | 300.00 | 25500.00 | 250.00 | 21250.00 | 255.00 | 21675.00 | 240.00 | 20400.00 | 20400.00 | P S G CONSTRUCTIONS
72.00 | Supply and Fixing of chromium plated cast copper alloy bib cock of size 15mm. | 10.00 | Each | 535.56 | 1000.00 | 10000.00 | 800.00 | 8000.00 | 545.00 | 5450.00 | 750.00 | 7500.00 | 5450.00 | Siva Enterprises
73.00 | Supply and fixing of cast copper alloy screwed down, high pressure stop cock /angle cock fancy type chromium olated concealed type of size 15mm | 8.00 | Each | 828.16 | 1000.00 | 8000.00 | 750.00 | 6000.00 | 855.00 | 6840.00 | 600.00 | 4800.00 | 4800.00 | P S G CONSTRUCTIONS
74.00 | S & F of Pillar cock chromium plated to wash basin 15mm dia ditto, but fancy type, with capstan heads, screwed down high pressure with long screwed shanks for iron pipe. | 8.00 | Each | 777.91 | 1400.00 | 11200.00 | 950.00 | 7600.00 | 825.00 | 6600.00 | 900.00 | 7200.00 | 6600.00 | Siva Enterprises
75.00 | M & L of PVC gully trap 125/110mm setting and jointing with .chromium plated grating plate | 7.00 | Each | 304.75 | 2000.00 | 14000.00 | 300.00 | 2100.00 | 255.00 | 1785.00 | 540.00 | 3780.00 | 1785.00 | Siva Enterprises
76.00 | M & L of PVC (SWR) floor trap plain of size 75mm with grating including jointing with solvent cement. | 7.00 | Each | 258.75 | 200.00 | 1400.00 | 250.00 | 1750.00 | 250.00 | 1750.00 | 450.00 | 3150.00 | 1400.00 | M/s.MSK Construction
77.00 | Supply and Fixing of Aluminium Coat Hooks of soild body of size 175mm to250mm | 8.00 | Each | 78.10 | 300.00 | 2400.00 | 100.00 | 800.00 | 75.00 | 600.00 | 125.00 | 1000.00 | 600.00 | Siva Enterprises
78.00 | S & F of 20mm Gun-metal,globe or gate valves,with iron wheelhead,screwed both ends for iron pipe and fixed. | 10.00 | Each | 621.13 | 600.00 | 6000.00 | 700.00 | 7000.00 | 500.00 | 5000.00 | 760.00 | 7600.00 | 5000.00 | Siva Enterprises
79.00 | S & F of Wire netting of size 12mm stainless steel wire 1.4mm dia fixed with tinned tacks of stainless steel wire staples. | 60.00 | m2 | 600.53 | 420.00 | 25200.00 | 600.00 | 36000.00 | 600.00 | 36000.00 | 6000.00 | 360000.00 | 25200.00 | M/s.MSK Construction
80.00 | Material and labour for painting steel (Priming with red oxide,zinc chrome) surfaces of any description over 10cm width or grith with two coats of synthetic enamel paint over a coat of primer including preparing new surfaces. | 20.00 | m2 | 162.50 | 200.00 | 4000.00 | 120.00 | 2400.00 | 155.00 | 3100.00 | 140.00 | 2800.00 | 2400.00 | VIJAYALAKSHMI ENETERPRISES
81.00 | Material and labour for painting two coats of synthetic enamel paint on old steel surfaces including preparation of old surfaces. | 50.00 | m2 | 138.12 | 200.00 | 10000.00 | 130.00 | 6500.00 | 125.00 | 6250.00 | 140.00 | 7000.00 | 6250.00 | Siva Enterprises
82.00 | M & L for painting to wooden surfaces of (pink primer) any description over 10cm width or girth with two coats of synthetic enamel paint over a coat of primer including preparing new surfaces. | 120.00 | m2 | 161.23 | 200.00 | 24000.00 | 110.00 | 13200.00 | 155.00 | 18600.00 | 140.00 | 16800.00 | 13200.00 | VIJAYALAKSHMI ENETERPRISES
83.00 | Material and Labour for painting wood work with one coat of synethic enamel paint inculding preparation of old wood painted surfaces. | 30.00 | m2 | 76.25 | 150.00 | 4500.00 | 45.00 | 1350.00 | 75.00 | 2250.00 | 140.00 | 4200.00 | 1350.00 | VIJAYALAKSHMI ENETERPRISES
84.00 | Supply and fixing of Machine pressed precast conctete interlocking paver block with gray cement & pigment any shape and size confirming to IS 15658-2006 of 60 mm thickness, M-35 Grade | 200.00 | m2 | 890.56 | 1200.00 | 240000.00 | 825.00 | 165000.00 | 855.00 | 171000.00 | 990.00 | 198000.00 | 165000.00 | VIJAYALAKSHMI ENETERPRISES
85.00 | Complete removal of existing treatment on external wall surfaces | 700.00 | m2 | 10.81 | 100.00 | 70000.00 | 10.00 | 7000.00 | 15.00 | 10500.00 | 15.00 | 10500.00 | 7000.00 | VIJAYALAKSHMI ENETERPRISES
86.00 | Material and labour for single coat of priming plastered and other wall surfaces with alkali resistant priming paint including preparation of surfaces | 350.00 | m2 | 42.44 | 40.00 | 14000.00 | 50.00 | 17500.00 | 45.00 | 15750.00 | 45.00 | 15750.00 | 14000.00 | M/s.MSK Construction
87.00 | Material and labour for white washing on ceiling with two coats including preparation of old ceiling surfaces. | 50.00 | m2 | 25.53 | 40.00 | 2000.00 | 60.00 | 3000.00 | 25.00 | 1250.00 | 30.00 | 1500.00 | 1250.00 | Siva Enterprises
88.00 | Material and labour for applying two coat of exterior plastic emulsion on external wall surfaces (two storey building ) all complete (50.80+50.80)= 101.60 (MAKE:- ASIAN Paint (ACE), Equivalent in NEROLAC, BERGER (Weather coat)) or suitably equivalent make. | 350.00 | m2 | 116.84 | 160.00 | 56000.00 | 125.00 | 43750.00 | 125.00 | 43750.00 | 140.00 | 49000.00 | 43750.00 | Siva Enterprises, VIJAYALAKSHMI ENETERPRISES
89.00 | Material and labour for Oil Bound Distemper two coats on walls including preparation of old decorated surfaces. | 350.00 | m2 | 78.43 | 70.00 | 24500.00 | 80.00 | 28000.00 | 75.00 | 26250.00 | 120.00 | 42000.00 | 24500.00 | M/s.MSK Construction
90.00 | M & L for precast slabs for drains in cement mortor 1:4 using Type B1 1:2:4: (20mm graded aggregate) | 1.00 | m3 | 12711.87 | 18039.00 | 18039.00 | 11000.00 | 11000.00 | 12500.00 | 12500.00 | 12000.00 | 12000.00 | 11000.00 | VIJAYALAKSHMI ENETERPRISES
91.00 | Supply and fixing of twisted TMT Bars 10mm dia and over, cut to length bent to shape required including cranking, bending, spiraling for hoping for columns, hooking ends and binding with MS Wire not less than 0.9mm dia or securing with clips. | 100.00 | KG | 94.99 | 100.00 | 10000.00 | 95.00 | 9500.00 | 99.00 | 9900.00 | 106.00 | 10600.00 | 9500.00 | VIJAYALAKSHMI ENETERPRISES
92.00 | S & F of galvanised mild steel wire cloth, 0.56mm nominal dia of wire and average width of aperture 1.18mm and fixed with tinned tacks, or galvanised wire staples. | 90.00 | m2 | 551.43 | 140.00 | 12600.00 | 550.00 | 49500.00 | 575.00 | 51750.00 | 900.00 | 81000.00 | 12600.00 | M/s.MSK Construction
93.00 | Removal of excavated debris/rocks exceeding 250m but not exceeding 500m and depositing where directed. | 190.00 | m3 | 501.86 | 500.00 | 95000.00 | 125.00 | 23750.00 | 525.00 | 99750.00 | 900.00 | 171000.00 | 23750.00 | VIJAYALAKSHMI ENETERPRISES
94.00 | Supply & fixing of One light point or one fan point wiring controlled by one switch with PVC single core cables 1.5 sq. mm size in PVC conduit. | 125.00 | Per Point | 1191.30 | 1300.00 | 162500.00 | 999.00 | 124875.00 | 1255.00 | 156875.00 | 990.00 | 123750.00 | 123750.00 | P S G CONSTRUCTIONS
95.00 | Supply & fixing of Wiring for circuit / sub main wiring alongwith earth wire 2 X 2.5 Sq.mm PVC insulated copper conductor single core cable surface / recessed as required in PVC conduit along with earth wire size 1 X 2.5 Sq.mm.including PVC conduit & accessories. | 180.00 | m | 222.25 | 160.00 | 28800.00 | 275.00 | 49500.00 | 245.00 | 44100.00 | 290.00 | 52200.00 | 28800.00 | M/s.MSK Construction
96.00 | Supply & fixing of Wiring for circuit / sub main wiring alongwith earth wire 2x4.0 Sq.mm PVC insulated copper conductor single core cable surface / recessed as required in PVC conduit along with earth wire size 1 X 4.0 Sq.mm.including PVC conduit & accessories. | 40.00 | m | 258.00 | 210.00 | 8400.00 | 325.00 | 13000.00 | 265.00 | 10600.00 | 420.00 | 16800.00 | 8400.00 | M/s.MSK Construction
97.00 | Material & labour of PVC rectangular block for mounting, switches, sockets, fan regulator etc. with 3 mm thick plastic laminated sheet cover of size Ditto, but 350 x 300 x 50 mm deep | 25.00 | Each | 207.84 | 760.00 | 19000.00 | 250.00 | 6250.00 | 225.00 | 5625.00 | 450.00 | 11250.00 | 5625.00 | Siva Enterprises
98.00 | Supply and fixing of switch socket outlet 2 in 1, 6 amp, flush type.240 volts, AC. | 25.00 | Each | 446.64 | 700.00 | 17500.00 | 300.00 | 7500.00 | 455.00 | 11375.00 | 240.00 | 6000.00 | 6000.00 | P S G CONSTRUCTIONS
99.00 | Supply and fixing of Switch socket combination 6A/16A, 5 in 1. | 35.00 | Each | 354.36 | 700.00 | 24500.00 | 300.00 | 10500.00 | 345.00 | 12075.00 | 360.00 | 12600.00 | 10500.00 | VIJAYALAKSHMI ENETERPRISES
100.00 | Supply and fixing of switch flush type, 6 amps, single pole, one way. Make: ANCHOR/ HAVELS/ Legrand/ Schneider/ GM or Suitably equivalent make. | 120.00 | Each | 144.96 | 110.00 | 13200.00 | 120.00 | 14400.00 | 155.00 | 18600.00 | 60.00 | 7200.00 | 7200.00 | P S G CONSTRUCTIONS
101.00 | Supply and fixing LED luminaire 600 mm x 600 mm, 35/36 watt, 220 V AC recessed type with high efficiency PMMA diffuser soft glare free light complete with driver, holders & LED lamp suitable for roof ceiling including connecting up with driver three core flexible copper conductor cases of suitable size complete. ® Make: Philips/Havells/Osram or Suitably equivalent make. | 12.00 | Each | 5123.03 | 5000.00 | 60000.00 | 4000.00 | 48000.00 | 5255.00 | 63060.00 | 3600.00 | 43200.00 | 43200.00 | P S G CONSTRUCTIONS
102.00 | Supply and fixing of PVC/Polycorbonate, isolated ceiling rose . Make: ANCHOR/HAVELS/ZEN/KUNDAN or Suitably equivalent make. | 130.00 | Each | 78.84 | 75.00 | 9750.00 | 65.00 | 8450.00 | 75.00 | 9750.00 | 51.00 | 6630.00 | 6630.00 | P S G CONSTRUCTIONS
103.00 | Cutting chases, pinning in. making good to facings where required and pointing in cement mortar 1:3 to ends or edges of landings, steps, cills, sunshades, shelves, lintels, etc.; and cutting chases for concealed water tubing or concealed conduit wiring, etc., and making good, cutting exc 20 cm girth Brick wall | 250.00 | m | 66.72 | 125.00 | 31250.00 | 65.00 | 16250.00 | 65.00 | 16250.00 | 90.00 | 22500.00 | 16250.00 | Siva Enterprises, VIJAYALAKSHMI ENETERPRISES
104.00 | Supplied & fixed Double pole enclosure with a two pin and earth plug and socket complete with one single pole MCB 240 V 20amp | 6.00 | Each | 2497.80 | 1750.00 | 10500.00 | 1560.00 | 9360.00 | 2455.00 | 14730.00 | 1900.00 | 11400.00 | 9360.00 | VIJAYALAKSHMI ENETERPRISES
105.00 | Supply & fixing of Four pole Isolater, 415V, 100A | 10.00 | Each | 2640.96 | 2500.00 | 25000.00 | 1800.00 | 18000.00 | 2655.00 | 26550.00 | 4500.00 | 45000.00 | 18000.00 | VIJAYALAKSHMI ENETERPRISES
106.00 | Supplied & fixed 240V Isolator SP 40A, Make: STANDARD/HAWELS/SIEMENS/ LEGREND or Suitably equivalent make.or Suitably equivalent make. | 50.00 | Each | 432.17 | 500.00 | 25000.00 | 350.00 | 17500.00 | 425.00 | 21250.00 | 900.00 | 45000.00 | 17500.00 | VIJAYALAKSHMI ENETERPRISES
107.00 | SHEET METAL ENCLOSURES FOR DB'S WHEN MCBs Double Door Supplied & fixed Triple pole & neutral 12 way | 2.00 | Each | 5499.96 | 4000.00 | 8000.00 | 6000.00 | 12000.00 | 5255.00 | 10510.00 | 6300.00 | 12600.00 | 8000.00 | M/s.MSK Construction
108.00 | Supply and fixing of ceiling fans complete with blades, down rods, electronic regulator and accessories, 230 V, 1200 mm sweep. Min air delivery 210 CFM with service value 6.00 BEE. Five star rated with brushless direct current motor (BLDC) | 15.00 | Each | 3179.36 | 2800.00 | 42000.00 | 3350.00 | 50250.00 | 3455.00 | 51825.00 | 4500.00 | 67500.00 | 42000.00 | M/s.MSK Construction
109.00 | Supply & fixing of GI Pipes heavy class, 25 mm dia. | 15.00 | m | 408.00 | 500.00 | 7500.00 | 450.00 | 6750.00 | 375.00 | 5625.00 | 360.00 | 5400.00 | 5400.00 | P S G CONSTRUCTIONS
110.00 | Supply and fixing of Double door sheet metal enclouser for DB's when MCB 's to be used Triple pole and neutral 8 way, 415 volt, AC. Make: STANDARD/ HAWELS/ SIEMENS/ LEGREND or Suitably equivalent make. | 2.00 | Each | 4306.44 | 4000.00 | 8000.00 | 5000.00 | 10000.00 | 3955.00 | 7910.00 | 5400.00 | 10800.00 | 7910.00 | Siva Enterprises
111.00 | Supply and fixing of Double door sheet metal enclouser for DB's when MCB 's to be used Triple pole and neutral 6 way, 415 volt, AC. Make: STANDARD/ HAWELS/ SIEMENS/ LEGREND or Suitably equivalent make. | 2.00 | Each | 3823.44 | 2200.00 | 4400.00 | 4500.00 | 9000.00 | 3655.00 | 7310.00 | 5000.00 | 10000.00 | 4400.00 | M/s.MSK Construction
112.00 | Supply and fixing of Double door sheet metal enclouser for DB's when MCB 's to be used Triple pole and neutral 4 way, 415 volt, AC. Make: STANDARD/ HAWELS/ SIEMENS/ LEGREND or Suitably equivalent make. | 6.00 | Each | 3171.24 | 1250.00 | 7500.00 | 4000.00 | 24000.00 | 3125.00 | 18750.00 | 4800.00 | 28800.00 | 7500.00 | M/s.MSK Construction
113.00 | Supply and fix exhaust fan, steel body AC single Phase. 230V of size 300m sweep with, blades, and frame and louvers. Make : USHA/ HAVELLS/ BAJAJ/ CROMPTON or Suitably equivalent make. | 25.00 | Each | 4258.31 | 2700.00 | 67500.00 | 3500.00 | 87500.00 | 4155.00 | 103875.00 | 3600.00 | 90000.00 | 67500.00 | M/s.MSK Construction
114.00 | Taking down carefully copper / aluminum point wiring (light, fan, socket or power) complete, (fittings such us switches, ceiling roses, pendants, regulators, sockets etc. to be measured separately), removing materials to store for keeping inside safe custody for re – use at site and making good disturbed surfaces of walls, floors, etc | 125.00 | Per Point | 282.72 | 200.00 | 25000.00 | 25.00 | 3125.00 | 55.00 | 6875.00 | 90.00 | 11250.00 | 3125.00 | VIJAYALAKSHMI ENETERPRISES
115.00 | Taking down carefully unscrewing from boards/out-let boxes, fittings and fixtures such as switches sockets, ceiling roses, lamp holders, brackets, ceiling fittings, bulk head fittings, tube light fittings and regulators, etc. for re-use at site or carrying to the store (To be measured only when found service cable in all respects complete for re-use). | 125.00 | Per Point | 41.93 | 200.00 | 25000.00 | 28.00 | 3500.00 | 55.00 | 6875.00 | 90.00 | 11250.00 | 3500.00 | VIJAYALAKSHMI ENETERPRISES
116.00 | Supply and fixing of single door sheet metal enclouser for DB's when MCB 's to be used single pole and neutral 2 way without busbar, 230 volt, AC. Make: STANDARD/HAWELS/SIEMENS/ LEGREND or Suitably equivalent make. | 12.00 | Each | 652.92 | 775.00 | 9300.00 | 650.00 | 7800.00 | 2655.00 | 31860.00 | 1500.00 | 18000.00 | 7800.00 | VIJAYALAKSHMI ENETERPRISES
117.00 | Supply & fixing of isolator single pole with neutral upto 40A 240V A.C. Make: STANDARD/HAWELS/SIEMENS/ LEGREND or Suitably equivalent make. | 10.00 | Each | 517.82 | 650.00 | 6500.00 | 523.00 | 5230.00 | 3155.00 | 31550.00 | 900.00 | 9000.00 | 5230.00 | VIJAYALAKSHMI ENETERPRISES
118.00 | Supply and fixing LED lights fitting 1x 22W, 220V, AC decorative box type with driver, holder including LED tube light connecting up with three core flexible copper conductor cable of suitable size from ceiling rose complete. ®PHILLIPS/ BAJAI/HAWELS/ CROMPTON or Suitably equivalent make. | 60.00 | Each | 1614.74 | 700.00 | 42000.00 | 1400.00 | 84000.00 | 755.00 | 45300.00 | 1200.00 | 72000.00 | 42000.00 | M/s.MSK Construction
| Total in Figures |  |  |  |  | 12999999.00 |  | 13439975.00 |  | 14910753.50 |  | 16040685.00
Lowest Amount Quoted BY: M/s.MSK Construction(12999999.00)

## BOQ Summary
BOQ Summary Details Tender Title: Special repairs to Toilet, Office Room, Main Garage, Vehicle shed and Pathway in TPT Section at Old Facility in HVF Avadi Tender ID: 2024_AVNL_189794_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s.MSK Construction | 12999999.00 | L1
| 2 | VIJAYALAKSHMI ENETERPRISES | 13439975.00 | L2
| 3 | Siva Enterprises | 14910753.50 | L3
| 4 | P S G CONSTRUCTIONS | 16040685.00 | L4