## BoQ1
Government eProcurement System Created By: V. UKESH BABU Created Date/Time: 22-Apr-2024 03:24 PM Tender Title: EXTENSION OF BALCONY IN TYPE V 2/4 QUARTERS AT HVF ESTATE Tender ID: 2024_AVNL_189807_1
Tender Inviting Authority: THE CHIEF GENERAL MANAGER, HEAVY VEHICLES FACTORY, AVADI
Name of Work : EXTENSION OF BALCONY IN TYPE -V 2/4 QUARTERS AT HVF ESTATE
HVF T.E No : HVF/TE/13025/CEO/2023-24/78
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | S VINAYAGAMURTHY(GSTN-NA)--693410 |  | B.V.Enterprises(GSTN-NA)--694659
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earthwork excavation in hard/dense soil in trenches width and depth not exceeding 1.50 m and getting out | 16.00 | CuM | 776.25 | 890.00 | 14240.00 | 500.00 | 8000.00 | 8000.00 | B.V.Enterprises
2.00 | Material and labour for sand filling in foundation including watering and consolidation. | 4.00 | CuM | 2270.45 | 2490.00 | 9960.00 | 1500.00 | 6000.00 | 6000.00 | B.V.Enterprises
3.00 | Material & Labour for PCC 1:3:6 type C2 using 40mm graded aggregate for foundation | 4.00 | CuM | 6741.30 | 7180.00 | 28720.00 | 5800.00 | 23200.00 | 23200.00 | B.V.Enterprises
4.00 | Material and labour for cement concrete 1:2:4 Type B1 20mm graded aggregate in foundation filling and mass concrete. | 13.00 | CuM | 7513.33 | 8240.00 | 107120.00 | 9000.00 | 117000.00 | 107120.00 | S VINAYAGAMURTHY
5.00 | Supply and fixing of mild steel reinforcement deformed or twisted bars including bending, cranking, hooking and tieing with mild steel wire not less than 0.90mm dia. Used RINL-VIZAG Steel/SAIL/TATA-TISCON/"BIS"MARKED (or) Suitably Equivalent make. | 1100.00 | Kg | 94.15 | 109.00 | 119900.00 | 130.00 | 143000.00 | 119900.00 | S VINAYAGAMURTHY
6.00 | M & L for form work to side of RCC Member such as columns, pillars etc., and the finishing shall be of fair finished surface. | 75.00 | SqM | 780.24 | 765.00 | 57375.00 | 450.00 | 33750.00 | 33750.00 | B.V.Enterprises
7.00 | M & L for Brick work built in CM.1:6 using Good quality modular bricks / solid Concrete bricks Bricks.straight or curved on plan exc 6m mean radius. | 4.00 | CuM | 5655.00 | 7400.00 | 29600.00 | 6800.00 | 27200.00 | 27200.00 | B.V.Enterprises
8.00 | M & L for plastering in CM 1:4, 15mm thick on fair faces of brick work and concrete surfaces. | 90.00 | SqM | 302.59 | 310.00 | 27900.00 | 450.00 | 40500.00 | 27900.00 | S VINAYAGAMURTHY
9.00 | M & L for plastering in CM 1:4, 12mm thick on RCC Ceiling. | 25.00 | SqM | 291.77 | 325.00 | 8125.00 | 475.00 | 11875.00 | 8125.00 | S VINAYAGAMURTHY
10.00 | Material and Labour for fixing Light shade Viritified ceramic tiles 10mm thick (Square/rectangle ) polished rea of each tiles not exceeding 0.36 Sqm in floors etc set and jointed in neat cement slurry and pointed in white or colored cement to match including screed bed in cement mortar 1:4, 15mm thick complete. | 35.00 | SqM | 1947.15 | 1610.00 | 56350.00 | 1800.00 | 63000.00 | 56350.00 | S VINAYAGAMURTHY
11.00 | S & F of Framed work as in doors or gates of angle or other section with gusset plates, rails,braces, etc., complete, drilled for fixing of steel sheeting or other covering. Doors, etc. to be prepared for hanging or sliding with and including either hooks and hinges or steel hanging door fittings (exclusive of steel sheeting or other covering, running rails and guides) and hanging; also fastening and fixing complete. | 750.00 | Kg | 135.36 | 130.00 | 97500.00 | 150.00 | 112500.00 | 97500.00 | S VINAYAGAMURTHY
12.00 | M & L for painting to steel surfaces of any description over 10cm width or girth with two coats of synthetic enamel paint over a coat of primer including preparing new surfaces. | 25.00 | SqM | 162.50 | 148.00 | 3700.00 | 120.00 | 3000.00 | 3000.00 | B.V.Enterprises
13.00 | Material and Labour for white washing on ceiling with two coats including preparation of old ceiling surfaces. | 20.00 | SqM | 25.53 | 75.00 | 1500.00 | 40.00 | 800.00 | 800.00 | B.V.Enterprises
14.00 | Material and Labour for applying two coats of plastic emulsion as directed by EIC. | 98.00 | SqM | 116.84 | 155.00 | 15190.00 | 150.00 | 14700.00 | 14700.00 | B.V.Enterprises
15.00 | S & F of PVC 110mm dia Pipes single socketed, in any length with rubber ring joints Fixed to walls. | 30.00 | RM | 224.25 | 245.00 | 7350.00 | 160.00 | 4800.00 | 4800.00 | B.V.Enterprises
16.00 | Returning / refilling of soil / loose including spreading, leveling, watering and well ramming in layers not exceeding 25cm. | 15.00 | CuM | 159.97 | 160.00 | 2400.00 | 200.00 | 3000.00 | 2400.00 | S VINAYAGAMURTHY
17.00 | Material and labour for Point wiring with 1.5sqmm FRLS PVC insulated sheathed single core cable 1100V grade confirming to IS 694 multi strand copper conductor along with 2mm thick PVC conduit accessories run on wall / roof / L angle including M.S. switch box concealed in the wall (made out of 3mm thick sheet) and laminated sun mica sheet 3mm thick cover for housing the switches, regulators and plug socket etc. mount on a wall / roof etc. including 16SWG bare or 1.5/2.5 stranded copper earth continuity wire. (Make: Finolux/Havells/Polycab/ Kundan, orbit or suitably equivalent make as approved by EIC). a)one light point controlled by one switch light / fan. | 10.00 | Point | 1141.66 | 1090.00 | 10900.00 | 1300.00 | 13000.00 | 10900.00 | S VINAYAGAMURTHY
18.00 | Material and labour for Point wiring with 1.5sqmm FRLS PVC insulated sheathed single core cable 1100V grade confirming to IS 694 multi strand copper conductor along with 2mm thick PVC conduit accessories run on wall / roof / L angle including M.S. switch box concealed in the wall (made out of 3mm thick sheet) and laminated sun mica sheet 3mm thick cover for housing the switches, regulators and plug socket etc. mount on a wall / roof etc. including 16SWG bare or 1.5/2.5 stranded copper earth continuity wire. (Make: Finolux/Havells/Polycab/ Kundan, orbit or suitably equivalent make as approved by EIC). b)One 3 pin plug socket with switches flush type 5A on same board with 2.5sqmm cable. | 2.00 | Point | 334.42 | 315.00 | 630.00 | 1400.00 | 2800.00 | 630.00 | S VINAYAGAMURTHY
19.00 | Material and labour for Point wiring with 1.5sqmm FRLS PVC insulated sheathed single core cable 1100V grade confirming to IS 694 multi strand copper conductor along with 2mm thick PVC conduit accessories run on wall / roof / L angle including M.S. switch box concealed in the wall (made out of 3mm thick sheet) and laminated sun mica sheet 3mm thick cover for housing the switches, regulators and plug socket etc. mount on a wall / roof etc. including 16SWG bare or 1.5/2.5 stranded copper earth continuity wire. (Make: Finolux/Havells/Polycab/ Kundan, orbit or suitably equivalent make as approved by EIC). c)One 3 pin plug socket with switches flush type 5A on Independent board with 2.5sqmm cable. | 1.00 | Point | 1301.10 | 1190.00 | 1190.00 | 1500.00 | 1500.00 | 1190.00 | S VINAYAGAMURTHY
20.00 | Supply & fixing of switch piano, flush type single pole one way 6 amps. (ANCHOR / LEGRAND/ HAVELLS or suitably equivalent make as approved by EIC). | 10.00 | Each | 138.92 | 135.00 | 1350.00 | 75.00 | 750.00 | 750.00 | B.V.Enterprises
21.00 | Supply & fixing of Switch socket combination 2 in 1, 6A flush type (ANCHOR / LEGRAND/ HAVELLS or suitably equivalent make as approved by EIC). | 2.00 | Each | 428.03 | 399.00 | 798.00 | 100.00 | 200.00 | 200.00 | B.V.Enterprises
22.00 | Material & Labour for ceiling rose, 3 Phase/PVC /polycorbonate, isolated body (ANCHOR / LEGRAND/ HAVELLS or suitably equivalent make as approved by EIC). | 6.00 | Each | 75.56 | 67.00 | 402.00 | 50.00 | 300.00 | 300.00 | B.V.Enterprises
23.00 | Supply and fixing LED lights fitting 1x 20W, 220V, AC decorative box type with driver, holder including LED tube light connecting up with three core flexible copper conductor cable of suitable size from ceiling rose complete. Make: Philips / Wipro / CG / Havells or suitably equivalent make as approved by EIC. | 4.00 | Each | 1501.21 | 1450.00 | 5800.00 | 1800.00 | 7200.00 | 5800.00 | S VINAYAGAMURTHY
24.00 | Supply & Fixing LED light fitting 1x9W / 1X10W bulkhead luminaires including LED light driver holder connecting up with three core flexible copper conductor cable of suitable size. Make: Philips / Wipro / CG / Havells or suitably equivalent make as approved by EIC. | 1.00 | Each | 1598.33 | 1430.00 | 1430.00 | 2200.00 | 2200.00 | 1430.00 | S VINAYAGAMURTHY
25.00 | Material & Labour for wiring with two runs of FRLS PVC insulated sheathed single core copper cable upto 1100 volts grade confirming to IS 694 multistrand with copper conductor along with PVC conduit and conduit accessories run on wall/roof one run of copper cable as earth wire. (Make: Finolux/Havells/Polycab/ Kundan/ orbit or suitably equivalent make as approved by EIC). a) 2x2.5 sq.mm+1x2.5 sq.mm earth wire. | 10.00 | RM | 212.99 | 230.00 | 2300.00 | 250.00 | 2500.00 | 2300.00 | S VINAYAGAMURTHY
26.00 | Supply & fixing sheet metal enclosures for DB's when MCBs to be use, single pole and neutral, 8 way with 200 amps rated bus bar, double door. | 1.00 | Each | 2199.61 | 2650.00 | 2650.00 | 2300.00 | 2300.00 | 2300.00 | B.V.Enterprises
27.00 | Supply and fixing of TP 25 To 63 AMP 415V 10KA 'B' curve miniature circuit breaker (MCB) of following poles and current carrying capacity in the DB complete with connection testing and commissioning. (Make: STANDARD /LEGRAND / HAVELLS/ABB/Schneider or suitably equivalent make as approved by EIC). | 2.00 | Each | 1952.24 | 1900.00 | 3800.00 | 450.00 | 900.00 | 900.00 | B.V.Enterprises
28.00 | Supply and fixing 240V, 10 KA 'B' curve miniature circuit breaker (MCB) of single poles and current carrying capacity 6 to 32 AMP, in the MCB DB Complete with connection testing and commissioning. (Make: STANDARD /LEGRAND/ HAVELLS / ABB/ Schneider or suitably equivalent make as approved by EIC). | 10.00 | Each | 326.83 | 340.00 | 3400.00 | 450.00 | 4500.00 | 3400.00 | S VINAYAGAMURTHY
| Total in Figures |  |  |  |  | 621580.00 |  | 650475.00
Lowest Amount Quoted BY: S VINAYAGAMURTHY(621580.00)

## BOQ Summary
BOQ Summary Details Tender Title: EXTENSION OF BALCONY IN TYPE V 2/4 QUARTERS AT HVF ESTATE Tender ID: 2024_AVNL_189807_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | S VINAYAGAMURTHY | 621580.00 | L1
| 2 | B.V.Enterprises | 650475.00 | L2