## BoQ1
Government eProcurement System Created By: V. UKESH BABU Created Date/Time: 18-May-2024 11:32 AM Tender Title: REPAIRS / RENOVATION OF AJEYA HOSTEL ANNEXURE AT HVF ESTATE Tender ID: 2024_AVNL_192212_1
Tender Inviting Authority: THE CHIEF GENERAL MANAGER, HEAVY VEHICLES FACTORY, AVADI
Name of Work : REPAIRS / RENOVATION OF AJEYA HOSTEL ANNEXURE AT HVF ESTATE
HVF T.E No : HVF/TE/13025/CEO/2023-24/85
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/s.MSK Construction (GSTN-33EDTPS7287F1ZQ) BID ID -697517 |  | S VINAYAGAMURTHY(GSTN-NA)--697560 |  | Santhosh Infrastructure(GSTN-NA)--694612 |  | Sri Krishna Agencies(GSTN-NA)--697432 |  | VIJAYALAKSHMI ENETERPRISES(GSTN-NA)--694630
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Taking down window Shutters of any description not exc 1.0 sq. m each and handing over the same to CE(E)/Store. | 28.00 | Per Leaf | 135.74 | 70.00 | 1960.00 | 125.00 | 3500.00 | 123.00 | 3444.00 | 135.00 | 3780.00 | 65.00 | 1820.00 | 1820.00 | VIJAYALAKSHMI ENETERPRISES
2.00 | Providing and fixing factory made uPVC white color sliding window three track made of extruded profiles with wall thickness of 2.3 mm ( ± 0.2mm). Window profile with hollow section with multi chamber. Frames (88mm x 52mm), Sliding sash (42mm x 67mm). Sliding mesh Sash (42mm x 57mm) Sliding Interlock (One vertical length in each shutter) (45.5mm x 28mm), Glazing bead (24.5mm x 16mm) will be mitred cut and fusion welded at all corners, including drilling of holes for fixing hardware and drainage of water etc., making arranagement for fixing hardware. EPDM gasket , 1.2 ± 0.2mm thick galvanized steel frame (30mm x 18mm) 2Nos., sliding sash (30mm x 18mm), sliding mesh sash (26mm x 10mm) profile to be inserted in required profile, frame will be fixed to the wall with 8mm x 100mm long fastners, Hardware [Touch Lock of Zinc alloyed (white powder coated), steel roller system. Stainless steel wire cloth 0.36mm nominal dia of wire and average width of aperture 1.40 mm and required accessories. (Note: The unit rate quoted by the contractor excludes cost of glass and includes all other connected accessories. Net Opening will be measured for payment purpose (a) area n.exc 2.00 Sqm each and as approved and as directed. | 42.00 | SqM | 12404.03 | 11800.00 | 495600.00 | 11210.00 | 470820.00 | 11277.00 | 473634.00 | 11600.00 | 487200.00 | 11500.00 | 483000.00 | 470820.00 | S VINAYAGAMURTHY
3.00 | Supply and Fixing of sheet Glass 5.50mm thickness, quality and glazing with oil putty in square exc 0.5 Sqm in each pane ground or obscured or tinted on one side and as approved and as directed by EIC. | 35.00 | SqM | 1477.41 | 1500.00 | 52500.00 | 1330.00 | 46550.00 | 1343.00 | 47005.00 | 1400.00 | 49000.00 | 1400.00 | 49000.00 | 46550.00 | S VINAYAGAMURTHY
4.00 | Taking down Chowkhats or frames with shutters exceeding 1.50 sqm but not exceeding 4.00sqm each without taking off shutter from the frame and handing over the same to CE(E)/Store. | 32.00 | Each | 501.16 | 360.00 | 11520.00 | 499.00 | 15968.00 | 455.00 | 14560.00 | 490.00 | 15680.00 | 325.00 | 10400.00 | 10400.00 | VIJAYALAKSHMI ENETERPRISES
5.00 | S & F of 2nd class hard wood door & Window frame Plain,Solid straight chowkats wrought, framed rebated on the solid rounded or chamfered put together with glue pined at joints. | 1.25 | CuM | 95025.87 | 146972.00 | 183715.00 | 90000.00 | 112500.00 | 86387.00 | 107983.75 | 95000.00 | 118750.00 | 92000.00 | 115000.00 | 107983.75 | Santhosh Infrastructure
6.00 | Supply and Fixing of 30mm thick Flush door shutter solid core constuction with block board core and plywood face panels, commercial type on both sides. | 75.00 | SqM | 1782.00 | 2000.00 | 150000.00 | 1900.00 | 142500.00 | 1620.00 | 121500.00 | 1700.00 | 127500.00 | 1900.00 | 142500.00 | 121500.00 | Santhosh Infrastructure
7.00 | Supply and fixing of 125mm Butt hinges, extruded aluminium alloy with galvanised mild steel hinge pin, anodised and fixed, type B-21 | 96.00 | Each | 295.24 | 270.00 | 25920.00 | 285.00 | 27360.00 | 268.00 | 25728.00 | 290.00 | 27840.00 | 100.00 | 9600.00 | 9600.00 | VIJAYALAKSHMI ENETERPRISES
8.00 | S&F of Aluminium tower bolts, with barrel of extruded section and rolled or cast bolts and fixed 150 mm long. | 64.00 | Each | 84.48 | 80.00 | 5120.00 | 83.00 | 5312.00 | 77.00 | 4928.00 | 110.00 | 7040.00 | 88.00 | 5632.00 | 4928.00 | Santhosh Infrastructure
9.00 | S & F of Aluminium handle 150mm length. | 64.00 | Each | 97.02 | 90.00 | 5760.00 | 95.00 | 6080.00 | 88.00 | 5632.00 | 95.00 | 6080.00 | 96.00 | 6144.00 | 5632.00 | Santhosh Infrastructure
10.00 | Material and Labour for fixing Aluminium Aldrop bolt 300 mm length | 32.00 | Each | 471.02 | 430.00 | 13760.00 | 460.00 | 14720.00 | 428.00 | 13696.00 | 470.00 | 15040.00 | 225.00 | 7200.00 | 7200.00 | VIJAYALAKSHMI ENETERPRISES
11.00 | M & L for plastering in CM 1:4, 15mm thick on fair faces of brick work and concrete surfaces. | 330.00 | SqM | 289.43 | 300.00 | 99000.00 | 280.00 | 92400.00 | 263.00 | 86790.00 | 290.00 | 95700.00 | 300.00 | 99000.00 | 86790.00 | Santhosh Infrastructure
12.00 | Material and Labour for Dubbing out average 10mm thick on irregular face of walls in CM 1:4. | 230.00 | SqM | 187.15 | 160.00 | 36800.00 | 210.00 | 48300.00 | 170.00 | 39100.00 | 170.00 | 39100.00 | 175.00 | 40250.00 | 36800.00 | M/s.MSK Construction
13.00 | Material and Labour for white washing two coats on ceiling on old prepared wall surfaces. Make: (ASIAN / NEROLAC / BERGER) or Suitably Equivalent Make as approved by EIC. | 350.00 | SqM | 24.42 | 15.00 | 5250.00 | 25.00 | 8750.00 | 23.00 | 8050.00 | 24.00 | 8400.00 | 30.00 | 10500.00 | 5250.00 | M/s.MSK Construction
14.00 | Material and Labour for painting two coats of exterior emulsion {MAKE:- ASIAN Paint (Apex Ultima), NEROLAC (Excel Total), BERGER (Weather Coat Long Life 7) (or) Suitably Equivalent make} as approved by EIC. Including one coat of priming paint applies after preparation of the old existing treatment. | 600.00 | SqM | 165.99 | 50.00 | 30000.00 | 147.00 | 88200.00 | 151.00 | 90600.00 | 150.00 | 90000.00 | 135.00 | 81000.00 | 30000.00 | M/s.MSK Construction
15.00 | Material and labour for applying two coats of Plastic emulsion on internal wall surfaces including preparation of old wall surfaces complete all as directed. | 580.00 | SqM | 130.13 | 70.00 | 40600.00 | 120.00 | 69600.00 | 118.00 | 68440.00 | 130.00 | 75400.00 | 115.00 | 66700.00 | 40600.00 | M/s.MSK Construction
16.00 | M&L Painting on steel surfaces of any description, with 2 coats of synthetic enamel paint and one coat of primerRed Oxide) and preparation of new surfaces etc, as directed. | 30.00 | SqM | 155.43 | 50.00 | 1500.00 | 140.00 | 4200.00 | 142.00 | 4260.00 | 150.00 | 4500.00 | 120.00 | 3600.00 | 1500.00 | M/s.MSK Construction
17.00 | M & L for painting to wooden surfaces of any description over 10cm width or girth with Two coats of synthetic enamel paint. including preparing new wooden surfaces. | 120.00 | SqM | 118.25 | 50.00 | 6000.00 | 110.00 | 13200.00 | 108.00 | 12960.00 | 115.00 | 13800.00 | 99.00 | 11880.00 | 6000.00 | M/s.MSK Construction
18.00 | Supply and Fixing of PVC door frame of size 50mmx47mm made out of 5mm plain colour PVC sheet reinforced with M.S square tube. | 38.00 | RM | 498.30 | 450.00 | 17100.00 | 480.00 | 18240.00 | 453.00 | 17214.00 | 550.00 | 20900.00 | 450.00 | 17100.00 | 17100.00 | VIJAYALAKSHMI ENETERPRISES, M/s.MSK Construction
19.00 | S & F of Factory made solid panel PVC Door shutter 30mm thick (style) consisting of frame madeout of M.S tubes for top & bottom rails. M.S.Frame shall be covered with heat moulded plain colour PVC 'C' channel having a PVC sheet strip of 20mm width stuck inside with solvent cement for stiles and plain colour PVC sheets for Top rail, lock rail & bottom rail on either side & gap insert for top rail & bottom rail. Panelling of plain colour PVC sheet to be fitted in the M.S.frame welded / sealed to stiles & rails with suitable PVC sheet beading and jointing togeter and with solvent cement, suppling & fixing in the frame at site as per specification & drawing. all complete and as directed. | 12.00 | SqM | 2638.46 | 2700.00 | 32400.00 | 2500.00 | 30000.00 | 2400.00 | 28800.00 | 2640.00 | 31680.00 | 2500.00 | 30000.00 | 28800.00 | Santhosh Infrastructure
20.00 | Supply and Fixing of extruded Aluminium alloy with galvanised mild steel hinge pin type C-22 Butt hinges heavy weight 75mm length. | 24.00 | Each | 119.35 | 110.00 | 2640.00 | 115.00 | 2760.00 | 109.00 | 2616.00 | 120.00 | 2880.00 | 120.00 | 2880.00 | 2616.00 | Santhosh Infrastructure
21.00 | Supply and Fixing of Aluminium anodized skeleton tower bolts with plate of 100mm length. | 16.00 | Each | 64.57 | 60.00 | 960.00 | 65.00 | 1040.00 | 60.00 | 960.00 | 75.00 | 1200.00 | 65.00 | 1040.00 | 960.00 | Santhosh Infrastructure, M/s.MSK Construction
22.00 | Supply and Fixing of Aluminium handle fabricated type 100mm length. | 16.00 | Each | 80.85 | 75.00 | 1200.00 | 80.00 | 1280.00 | 74.00 | 1184.00 | 80.00 | 1280.00 | 90.00 | 1440.00 | 1184.00 | Santhosh Infrastructure
23.00 | M & L for Brick Walls Cutting chases, pinning in. making good to facings where required and pointing in cement mortar 1:3 to ends or edges of landings, steps, cills, sunshades, shelves, lintels, etc.; and cutting chases for concealed water tubing or concealed conduit wiring, etc., and making good, cutting not exc 10 cm girth | 50.00 | RM | 55.50 | 55.00 | 2750.00 | 45.00 | 2250.00 | 51.00 | 2550.00 | 75.00 | 3750.00 | 75.00 | 3750.00 | 2250.00 | S VINAYAGAMURTHY
24.00 | Supply and Laying of CPVC 20mm over dia pipes SDR 11 & Plain CPVC SDR 11 fittings in trenches complete all as specified. | 50.00 | RM | 269.06 | 250.00 | 12500.00 | 250.00 | 12500.00 | 245.00 | 12250.00 | 270.00 | 13500.00 | 275.00 | 13750.00 | 12250.00 | Santhosh Infrastructure
25.00 | Supply and fixing in repairs of EWC with "P" or "S" trap including bedding valveless syphonic action type 10 litres flushing cistern low level white with inlet ball valve float and handle including bracket Plastic water closet seat, black, closed pattern with flat bottom,and cover and mild steel chromium plated or aluminised hinging device etc., complete and dismantling the existing IWC. | 4.00 | Each | 8645.66 | 9000.00 | 36000.00 | 9250.00 | 37000.00 | 7860.00 | 31440.00 | 8200.00 | 32800.00 | 5000.00 | 20000.00 | 20000.00 | VIJAYALAKSHMI ENETERPRISES
26.00 | Supply and Fixing in repairs of vitreous china wash basin 580 x 450 including pillar cock 15mm dia waste chain and plug and porcelain stopper and removal of old one from the site. 32mm Waste fittings, brass, chromium plated for glazed ware sinks. | 4.00 | Each | 2826.07 | 2900.00 | 11600.00 | 2800.00 | 11200.00 | 2570.00 | 10280.00 | 2600.00 | 10400.00 | 3500.00 | 14000.00 | 10280.00 | Santhosh Infrastructure
27.00 | Supply and fixing of cast copper alloy screwed down, high pressure stop cock /angle cock fancy type chromium plated concealed type of size 15mm. | 8.00 | Each | 792.15 | 720.00 | 5760.00 | 810.00 | 6480.00 | 720.00 | 5760.00 | 790.00 | 6320.00 | 750.00 | 6000.00 | 5760.00 | Santhosh Infrastructure, M/s.MSK Construction
28.00 | Supply and Fixing of Stainless steel sink with draining board, made out of 1.00mm thick sheet for kitchen or laboratory with plug, washers waste pipe, cast iron cantilever brackets, connecting union overall size 915mmx460mm with bowl size 410mm x 330mm x 160mm complete all as directed by EIC. | 4.00 | Each | 4956.74 | 4500.00 | 18000.00 | 530.00 | 2120.00 | 4506.00 | 18024.00 | 6500.00 | 26000.00 | 4800.00 | 19200.00 | 2120.00 | S VINAYAGAMURTHY
29.00 | Supply and Fixing of chromium plated cast copper alloy bib cock of size 15mm. | 28.00 | Each | 512.27 | 1000.00 | 28000.00 | 530.00 | 14840.00 | 466.00 | 13048.00 | 510.00 | 14280.00 | 750.00 | 21000.00 | 13048.00 | Santhosh Infrastructure
30.00 | Supply and Fixing of Health Facet chromium plated (ESS YESS VICTORIAN Make or Suitably Equivalent Make). | 4.00 | Each | 800.00 | 1400.00 | 5600.00 | 915.00 | 3660.00 | 800.00 | 3200.00 | 810.00 | 3240.00 | 900.00 | 3600.00 | 3200.00 | Santhosh Infrastructure
31.00 | Supply and Laying of CPVC 20mm over dia pipes SDR 11 & Plain CPVC SDR 11 fittings in trenches complete all as specified. | 50.00 | RM | 269.06 | 250.00 | 12500.00 | 260.00 | 13000.00 | 245.00 | 12250.00 | 270.00 | 13500.00 | 275.00 | 13750.00 | 12250.00 | Santhosh Infrastructure
32.00 | Supply and Fixing of 600x450mm bevelled mirror of selected quality glass mounted on commercial ply wood and fixed to wooden plugs with chromium plated brass screws and cup washers. | 4.00 | Each | 610.06 | 550.00 | 2200.00 | 650.00 | 2600.00 | 555.00 | 2220.00 | 650.00 | 2600.00 | 850.00 | 3400.00 | 2200.00 | M/s.MSK Construction
33.00 | Supply and Fixing of Swivel Shower of PTMT of any colour for fixing with 15mm pipe (minimum weight 40 gms) | 4.00 | Each | 124.28 | 120.00 | 480.00 | 115.00 | 460.00 | 113.00 | 452.00 | 120.00 | 480.00 | 200.00 | 800.00 | 452.00 | Santhosh Infrastructure
34.00 | Supply and fixing of tubular towel rail 20mm D type 60cm long of aluminium anodized with and including chromium coated brass screws and wooden /plastic cleats. | 4.00 | Each | 417.78 | 900.00 | 3600.00 | 400.00 | 1600.00 | 380.00 | 1520.00 | 380.00 | 1520.00 | 900.00 | 3600.00 | 1520.00 | Santhosh Infrastructure, Sri Krishna Agencies
35.00 | Supply and fixing of soap dish fixed to plugs with chromium plated brass screws. | 4.00 | Each | 211.22 | 200.00 | 800.00 | 205.00 | 820.00 | 192.00 | 768.00 | 210.00 | 840.00 | 400.00 | 1600.00 | 768.00 | Santhosh Infrastructure
36.00 | S & F of PVC floor trap 75mm dia outlet of with grating and connecting PVC extension pipe including jointing with solvent cement etc., complete | 4.00 | Each | 247.50 | 225.00 | 900.00 | 250.00 | 1000.00 | 225.00 | 900.00 | 245.00 | 980.00 | 275.00 | 1100.00 | 900.00 | Santhosh Infrastructure, M/s.MSK Construction
37.00 | Supply and Fixing of PVC (SWR) gully trap 125/110 mm, setting and jointing with neat cement solvent. | 4.00 | Each | 291.50 | 270.00 | 1080.00 | 280.00 | 1120.00 | 265.00 | 1060.00 | 290.00 | 1160.00 | 300.00 | 1200.00 | 1060.00 | Santhosh Infrastructure
38.00 | Supply and Fixing of PVC(SWR) pipe of 110mm dia laid in trenches including or in walls including all fittings complete asll as directed. | 18.00 | RM | 214.50 | 200.00 | 3600.00 | 210.00 | 3780.00 | 200.00 | 3600.00 | 220.00 | 3960.00 | 250.00 | 4500.00 | 3600.00 | Santhosh Infrastructure, M/s.MSK Construction
39.00 | S & F of PVC (SWR) 75mm dia Pipes single socketed, in any length with rubber ring joints laid in trenches or in floors. | 12.00 | RM | 176.00 | 170.00 | 2040.00 | 180.00 | 2160.00 | 160.00 | 1920.00 | 190.00 | 2280.00 | 225.00 | 2700.00 | 1920.00 | Santhosh Infrastructure
40.00 | Supply and fixing of PVC(SWR) pipe 110mm bend. | 6.00 | Each | 137.50 | 125.00 | 750.00 | 130.00 | 780.00 | 125.00 | 750.00 | 140.00 | 840.00 | 150.00 | 900.00 | 750.00 | Santhosh Infrastructure, M/s.MSK Construction
41.00 | Supply and fixing of PVC(SWR) pipe 75mm bend. | 6.00 | Each | 121.00 | 110.00 | 660.00 | 115.00 | 690.00 | 110.00 | 660.00 | 120.00 | 720.00 | 120.00 | 720.00 | 660.00 | Santhosh Infrastructure, M/s.MSK Construction
42.00 | Supply and fixing of PVC(SWR) branch piece, (single Y) equal or unequal of 110mm dia complete all as directed. | 2.00 | Each | 607.82 | 600.00 | 1200.00 | 600.00 | 1200.00 | 553.00 | 1106.00 | 590.00 | 1180.00 | 560.00 | 1120.00 | 1106.00 | Santhosh Infrastructure
43.00 | Dismantling floor, hearth or wall tiling including cement mortar bedding (but not backing), removing serviceable tiles to store and rubbish off the premises | 100.00 | SqM | 98.45 | 100.00 | 10000.00 | 99.00 | 9900.00 | 90.00 | 9000.00 | 98.00 | 9800.00 | 95.00 | 9500.00 | 9000.00 | Santhosh Infrastructure
44.00 | Material and Labour for glazed ceramic colour tiles in vertical surfaces 300x200x7mm thick set and jointed in neat cement slurry and pointed in white or coloured cement to match including screed bed in CM 1:4 15mm thick complete. | 80.00 | SqM | 1717.95 | 1900.00 | 152000.00 | 1500.00 | 120000.00 | 1562.00 | 124960.00 | 1720.00 | 137600.00 | 1450.00 | 116000.00 | 116000.00 | VIJAYALAKSHMI ENETERPRISES
45.00 | Supply and Fixing of colored Glazed ceramic tiles of size minimum 200x200x7mm thick in floor surfaces etc set and jointed in neat cement slurry and pointed in white or colored cement to match and screed bed or bedding layer in CM 1:3, 20mm thick for finishng floor surfaces. | 20.00 | SqM | 1607.86 | 1600.00 | 32000.00 | 1480.00 | 29600.00 | 1462.00 | 29240.00 | 1610.00 | 32200.00 | 1300.00 | 26000.00 | 26000.00 | VIJAYALAKSHMI ENETERPRISES
46.00 | Excavating in post holes in Hard/dense soils (or similar holes) each n exc 0.5 cu.m, getting out, returning,filling in and ramming earth or broken rubble mixed with earth around, in layers not exceeding 25cm. | 10.00 | Each | 419.54 | 400.00 | 4000.00 | 350.00 | 3500.00 | 382.00 | 3820.00 | 400.00 | 4000.00 | 300.00 | 3000.00 | 3000.00 | VIJAYALAKSHMI ENETERPRISES
47.00 | Material and labour for sand filling in foundation including watering and consolidation. | 7.00 | CuM | 2171.73 | 2000.00 | 14000.00 | 1900.00 | 13300.00 | 1975.00 | 13825.00 | 2170.00 | 15190.00 | 2000.00 | 14000.00 | 13300.00 | S VINAYAGAMURTHY
48.00 | Material & Labour for PCC 1:4:8 type D2 using 40mm graded aggregate for foundation | 12.00 | CuM | 6031.41 | 7000.00 | 84000.00 | 5600.00 | 67200.00 | 5484.00 | 65808.00 | 5800.00 | 69600.00 | 5500.00 | 66000.00 | 65808.00 | Santhosh Infrastructure
49.00 | Material and Labour for P.C.C 1:2:4, B1 type using 20mm graded aggregated in foundation and flooring. | 16.00 | CuM | 7186.66 | 10000.00 | 160000.00 | 6600.00 | 105600.00 | 6534.00 | 104544.00 | 7000.00 | 112000.00 | 7250.00 | 116000.00 | 104544.00 | Santhosh Infrastructure
50.00 | Supply and Fixing of M.S Rolled sections (angles, channel, Tee sections etc.,) as in main and cross beams, hip and jack rafters,purlins where connected to common rafters fixed with angle cleats or other connecting plates Fe 410 -W (GdeE- 250) quality A as directed. | 1700.00 | KG | 114.65 | 140.00 | 238000.00 | 115.00 | 195500.00 | 105.00 | 178500.00 | 125.00 | 212500.00 | 120.00 | 204000.00 | 178500.00 | Santhosh Infrastructure
51.00 | Supply and Fixing of pre-printed galvalume aluminium zinc coating GI based corrugated steel sheet 0.50mm (TCT) thick of any clour having tensile strength of 550Mpa as in roof covering /cladding to wall fixed with self tapping screws as specified. | 75.00 | SqM | 843.71 | 800.00 | 60000.00 | 750.00 | 56250.00 | 767.00 | 57525.00 | 780.00 | 58500.00 | 799.00 | 59925.00 | 56250.00 | S VINAYAGAMURTHY
52.00 | M&L Painting on steel surfaces of any description, with 2 coats of synthetic enamel paint and one coat of primerRed Oxide) and preparation of new surfaces etc, as directed. | 75.00 | SqM | 155.43 | 45.00 | 3375.00 | 140.00 | 10500.00 | 141.00 | 10575.00 | 148.00 | 11100.00 | 120.00 | 9000.00 | 3375.00 | M/s.MSK Construction
53.00 | Removing excavated soil n exc. 50m and depositing where directed at a level n exc.1.5m | 2.00 | CuM | 352.44 | 400.00 | 800.00 | 335.00 | 670.00 | 320.00 | 640.00 | 600.00 | 1200.00 | 375.00 | 750.00 | 640.00 | Santhosh Infrastructure
54.00 | Removal of existing old damaged Bitument felt layer including removing of all resuidal bitumen and primer including of all traces using hand buffing machine/mosaic tpolishing machine and depositng the removed materials to a distance not less than 1 KM . | 280.00 | SqM | 155.00 | 50.00 | 14000.00 | 140.00 | 39200.00 | 155.00 | 43400.00 | 150.00 | 42000.00 | 95.00 | 26600.00 | 14000.00 | M/s.MSK Construction
55.00 | Supply and application of Polyurethane based sealant for filling of visible cracks up to 10mm width and 5mm depth. PU sealant material shall have elongation more than 700%.The contractor shall use (Hyperseal expert 150 of Alchemica / Seal Arm PU of MYK Arment / SNF one plus P590 of Bostik / Masterseal NP 473 U of Master Builders Solutions / Cipoxy 16 D of Dr.Fixit make) or Suitably equivalent make as approved by EIC and finishing the top surface. | 120.00 | RM | 250.00 | 180.00 | 21600.00 | 270.00 | 32400.00 | 250.00 | 30000.00 | 250.00 | 30000.00 | 250.00 | 30000.00 | 21600.00 | M/s.MSK Construction
56.00 | Supply and application of seamless Polyurethane (PU) based elastomeric coating exposable to atmosphere. The work consisting:- a) Supply &Application of PU based primer minimum of 100gms per SQM. b) supply and application of seamless PU based elastomeric coating over a primer coat to achieve a thickness of 1.5 mm DFT in two coats, with an application rate of minimum 2.1 kg/Sq.M, having minimum solid content (ASTM 836) of more than 85% and elongation also more than 400%. c) Supply & Application of Protective UV top coat @ 0.25 kg/sq.m. (The Contractor Shall use the material from the reputed manufacturers such as ("Master Builders Solutions", "MYK Arment", "Dr. Fixit", "Alchimica", "Bostik" and "Tecnopol") (or) Suitably equivalent make as approved by EIC. | 280.00 | SqM | 1134.00 | 1200.00 | 336000.00 | 1150.00 | 322000.00 | 1134.00 | 317520.00 | 1150.00 | 322000.00 | 1125.00 | 315000.00 | 315000.00 | VIJAYALAKSHMI ENETERPRISES
57.00 | Material and labour for Point wiring with FRLS PVC insulated sheathed single core cable 1100V grade confirming to IS 694 multi strand copper conductor along with 2mm thick PVC conduuit accessories run on wall or roof including M.S. switch box concealed in the wall(made out of 3mm thick sheet) and laminated sun mica sheet 3mm thick cover for housing the switches, regulators and plug socket etc. mount on a wall/roof etc. including 16SWG bare/ 1.5sqmm multistrand copper earth continuity wire. Make: (Finolex / Orbit / Kundan / Havells / Polycab) or Suitably equivalent make as approved by EIC. a)one light point controlled by one switch light/fan | 42.00 | Point | 1042.39 | 1000.00 | 42000.00 | 1000.00 | 42000.00 | 1041.00 | 43722.00 | 1050.00 | 44100.00 | 1100.00 | 46200.00 | 42000.00 | M/s.MSK Construction, S VINAYAGAMURTHY
58.00 | Material and labour for Point wiring with FRLS PVC insulated sheathed single core cable 1100V grade confirming to IS 694 multi strand copper conductor along with 2mm thick PVC conduuit accessories run on wall or roof including M.S. switch box concealed in the wall(made out of 3mm thick sheet) and laminated sun mica sheet 3mm thick cover for housing the switches, regulators and plug socket etc. mount on a wall/roof etc. including 16SWG bare/ 1.5sqmm multistrand copper earth continuity wire. Make: (Finolex / Orbit / Kundan / Havells / Polycab) or Suitably equivalent make as approved by EIC. b)One 3 pin plug socket with switches flush type 5A on same board with 2.5sqmm cable | 38.00 | Point | 305.34 | 300.00 | 11400.00 | 1100.00 | 41800.00 | 305.00 | 11590.00 | 300.00 | 11400.00 | 400.00 | 15200.00 | 11400.00 | Sri Krishna Agencies, M/s.MSK Construction
59.00 | Material and labour for Point wiring with FRLS PVC insulated sheathed single core cable 1100V grade confirming to IS 694 multi strand copper conductor along with 2mm thick PVC conduuit accessories run on wall or roof including M.S. switch box concealed in the wall(made out of 3mm thick sheet) and laminated sun mica sheet 3mm thick cover for housing the switches, regulators and plug socket etc. mount on a wall/roof etc. including 16SWG bare/ 1.5sqmm multistrand copper earth continuity wire. Make: (Finolex / Orbit / Kundan / Havells / Polycab) or Suitably equivalent make as approved by EIC. c) One light point controlled by two 2 -way switches , with cables 1.5 sq. mm size | 1.00 | Point | 1467.86 | 1400.00 | 1400.00 | 900.00 | 900.00 | 1466.00 | 1466.00 | 1470.00 | 1470.00 | 1250.00 | 1250.00 | 900.00 | S VINAYAGAMURTHY
60.00 | Supply fixing and connecting to the system modular type switches 6A single pole one way Make: (LEGRAND MYRIUS/ Litaski/ Crabtree) or Suitably equivalent make as approved by EIC. | 156.00 | Each | 273.53 | 300.00 | 46800.00 | 120.00 | 18720.00 | 273.00 | 42588.00 | 270.00 | 42120.00 | 200.00 | 31200.00 | 18720.00 | S VINAYAGAMURTHY
61.00 | Supply fixing and connecting to the system modular type switches 6A single pole Two way Make: (LEGRAND MYRIUS/ Litaski/ Crabtree) or Suitably equivalent make as approved by EIC. | 2.00 | Each | 322.67 | 330.00 | 660.00 | 200.00 | 400.00 | 322.00 | 644.00 | 320.00 | 640.00 | 300.00 | 600.00 | 400.00 | S VINAYAGAMURTHY
62.00 | Supply, fixing and connecting to the system of socket, 6A-2/3 pin combined modular type 2 module Make: (LEGRAND MYRIUS/ Litaski/ Crabtree) or Suitably equivalent make as approved by EIC. | 38.00 | Each | 357.57 | 370.00 | 14060.00 | 150.00 | 5700.00 | 360.00 | 13680.00 | 370.00 | 14060.00 | 300.00 | 11400.00 | 5700.00 | S VINAYAGAMURTHY
63.00 | Supply, fixing and connecting to the system of socket, 6A/16A-2/3 pin combined modular type 2 module Make: (LEGRAND MYRIUS/ Litaski/ Crabtree) or Suitably equivalent make as approved by EIC. | 4.00 | Each | 554.82 | 600.00 | 2400.00 | 230.00 | 920.00 | 554.00 | 2216.00 | 550.00 | 2200.00 | 525.00 | 2100.00 | 920.00 | S VINAYAGAMURTHY
64.00 | Supply, fixing and connecting to the system modular type switch one way 16A, 1 module Make: (LEGRAND MYRIUS/ Litaski/ Crabtree) or Suitably equivalent make as approved by EIC. | 4.00 | Each | 360.89 | 400.00 | 1600.00 | 200.00 | 800.00 | 360.00 | 1440.00 | 360.00 | 1440.00 | 350.00 | 1400.00 | 800.00 | S VINAYAGAMURTHY
65.00 | Supply, fixing & connecting of Fan step regulator modular type 120W, 2 module Make: (LEGRAND MYRIUS / Litaski/ Crabtree) or Suitably equivalent make as approved by EIC. | 24.00 | Each | 1068.85 | 1100.00 | 26400.00 | 400.00 | 9600.00 | 1067.00 | 25608.00 | 950.00 | 22800.00 | 700.00 | 16800.00 | 9600.00 | S VINAYAGAMURTHY
66.00 | Supply and fixing of multi music type bell AC 230V and connecting to the system. Make: (ANCHOR / LEGRAND / HAVELLS /Orbit) or Suitably equivalent make as approved by EIC. | 4.00 | Each | 589.58 | 600.00 | 2400.00 | 800.00 | 3200.00 | 590.00 | 2360.00 | 586.00 | 2344.00 | 500.00 | 2000.00 | 2000.00 | VIJAYALAKSHMI ENETERPRISES
67.00 | Supply,fixing and connecting modular bell push 6A, 230V and connecting to the system. Make: (LEGRAND MYRIUS/ Litaski/ Crabtree) or Suitably equivalent make as approved by EIC. | 4.00 | Each | 322.67 | 360.00 | 1440.00 | 600.00 | 2400.00 | 322.00 | 1288.00 | 320.00 | 1280.00 | 300.00 | 1200.00 | 1200.00 | VIJAYALAKSHMI ENETERPRISES
68.00 | Material & Labour for ceiling rose, 3 Phase/PVC/polycorbonate, isolated body. Make: (ANCHOR / LEGRAND/ HAVELLS/ Orbit) or Suitably equivalent make as approved by EIC. | 64.00 | Each | 68.99 | 70.00 | 4480.00 | 45.00 | 2880.00 | 69.00 | 4416.00 | 65.00 | 4160.00 | 65.00 | 4160.00 | 2880.00 | S VINAYAGAMURTHY
69.00 | Supply & fixing of lamp holders PVC/polycorbonate type with cord grid cap suitabile for pendant / straight / slanding fittings. | 52.00 | Each | 137.34 | 170.00 | 8840.00 | 250.00 | 13000.00 | 137.00 | 7124.00 | 140.00 | 7280.00 | 120.00 | 6240.00 | 6240.00 | VIJAYALAKSHMI ENETERPRISES
70.00 | Supply & fixing of modular white cover plate with frame 2 module | 8.00 | Each | 205.59 | 200.00 | 1600.00 | 150.00 | 1200.00 | 205.00 | 1640.00 | 205.00 | 1640.00 | 200.00 | 1600.00 | 1200.00 | S VINAYAGAMURTHY
71.00 | Supply & fixing metal flush box for 2 module plate | 8.00 | Each | 188.06 | 200.00 | 1600.00 | 200.00 | 1600.00 | 190.00 | 1520.00 | 186.00 | 1488.00 | 150.00 | 1200.00 | 1200.00 | VIJAYALAKSHMI ENETERPRISES
72.00 | Supply & fixing of 4 module modular white cover plate with frame | 16.00 | Each | 259.46 | 250.00 | 4000.00 | 200.00 | 3200.00 | 260.00 | 4160.00 | 260.00 | 4160.00 | 250.00 | 4000.00 | 3200.00 | S VINAYAGAMURTHY
73.00 | Supply & fixing of metal flush box for 4 module plate | 16.00 | Each | 224.07 | 220.00 | 3520.00 | 250.00 | 4000.00 | 224.00 | 3584.00 | 220.00 | 3520.00 | 215.00 | 3440.00 | 3440.00 | VIJAYALAKSHMI ENETERPRISES
74.00 | Supply & fixing of 6 module modular white cover plate with frame | 12.00 | Each | 325.08 | 310.00 | 3720.00 | 230.00 | 2760.00 | 325.00 | 3900.00 | 320.00 | 3840.00 | 300.00 | 3600.00 | 2760.00 | S VINAYAGAMURTHY
75.00 | Supply & fixing of metal flush box for 6 module plate | 12.00 | Each | 298.31 | 300.00 | 3600.00 | 250.00 | 3000.00 | 300.00 | 3600.00 | 295.00 | 3540.00 | 250.00 | 3000.00 | 3000.00 | VIJAYALAKSHMI ENETERPRISES, S VINAYAGAMURTHY
76.00 | Supply & fixing of 8 module plate with frame | 1.00 | Each | 400.47 | 400.00 | 400.00 | 250.00 | 250.00 | 401.00 | 401.00 | 400.00 | 400.00 | 374.00 | 374.00 | 250.00 | S VINAYAGAMURTHY
77.00 | Material & Labour for wiring with two runs of PVC insulated sheathed single core copper cable upto 1100 volts grade confirming to IS 694 multistrand with copper conductor along with PVC conduit and conduit accessories run on wall/roof one run of copper cable as earth wire. Make: (Finolux/Havells/Polycab/ Kundan/Orbit) or Suitably equivalent make as approved by EIC. a) 2x2.5 sq.mm + 1x2.5 sq.mm earth wire | 80.00 | RM | 194.47 | 200.00 | 16000.00 | 800.00 | 64000.00 | 195.00 | 15600.00 | 195.00 | 15600.00 | 200.00 | 16000.00 | 15600.00 | Santhosh Infrastructure, Sri Krishna Agencies
78.00 | Material and labour for Brick walls cutting chases,pining in, making good to facing where required and pointing in cement mortor 1:3 to ends and cutting chases for concealed conduit wiring, etc., and making good,cutting exc. 10 cm but not exc. 20 cm grith. | 70.00 | RM | 54.71 | 60.00 | 4200.00 | 150.00 | 10500.00 | 55.00 | 3850.00 | 70.00 | 4900.00 | 75.00 | 5250.00 | 3850.00 | Santhosh Infrastructure
79.00 | Supply, Fixing & Connecting of Single pole and neutral enclosure with a two pin and earth plug and socket complete with one single pole MCB 20AMP. Make: (Legrand/ Havells/ Anchor/ Orbit) or Suitably equivalent make as approved by EIC. | 12.00 | Each | 1908.69 | 2000.00 | 24000.00 | 600.00 | 7200.00 | 1900.00 | 22800.00 | 1900.00 | 22800.00 | 1700.00 | 20400.00 | 7200.00 | S VINAYAGAMURTHY
80.00 | Supply and fix exhaust fan, steel body AC single Phase. 230V of size 300m sweep with, blades, and frame and louvers. Make: (Almonard/ Kaithan/ Crompton) or Suitably equivalent make as approved by EIC. | 4.00 | Each | 3726.02 | 4000.00 | 16000.00 | 3700.00 | 14800.00 | 3725.00 | 14900.00 | 3900.00 | 15600.00 | 3665.00 | 14660.00 | 14660.00 | VIJAYALAKSHMI ENETERPRISES
81.00 | Taking down copper/aluminium point wiring (light,fan,socket or power) complete, including fixture and fittings such as switches, ceiling roses, pendents, regulators, sockets, light fitting, exhaust fan etc removing materilas to store for keeping in safe custody and making good disturbed surfaces of walls, floors etc., | 24.00 | Point | 159.60 | 160.00 | 3840.00 | 15.00 | 360.00 | 160.00 | 3840.00 | 160.00 | 3840.00 | 100.00 | 2400.00 | 360.00 | S VINAYAGAMURTHY
82.00 | Supply and fixing LED lights fitting 1x 20W, 220V, AC decorative box type with driver, holder including LED tube light connecting up with three core flexible copper conductor cable of suitable size from ceiling rose complete. Make: (PHILIPS / CG /Havells / Wipro / Klite/ Bajaj/ Luker) or Suitably equivalent make as approved by EIC. | 44.00 | Each | 1370.67 | 1400.00 | 61600.00 | 1400.00 | 61600.00 | 1370.00 | 60280.00 | 1350.00 | 59400.00 | 1200.00 | 52800.00 | 52800.00 | VIJAYALAKSHMI ENETERPRISES
83.00 | Supply and fixing LED light fitting mirror type with high out put diffuser 2 feet, 10 watt 220 V AC decorative type with driver holder and LED lamp including connecting up with three core flexible copper conductor cable of suitable size complete. Make: (PHILIPS / CG /Havells / Wipro/ Klite/ Bajaj / Luker) or Suitably equivalent make as approved by EIC. | 4.00 | Each | 1422.55 | 1500.00 | 6000.00 | 1600.00 | 6400.00 | 1422.00 | 5688.00 | 1400.00 | 5600.00 | 1250.00 | 5000.00 | 5000.00 | VIJAYALAKSHMI ENETERPRISES
84.00 | Supply and fixing of electric water heater, storage type steel/plastic body with copper inner tank and heating element upto 2 KW capacity 25 litre, BEE 5 Star rated, 8 bar pressure, complete with all accessories such as safety valve, thermostate, NRV, connection piece etc. Make: (Havells / Racold/ Crompton/ Bajaj) or Suitably equivalent make as approved by EIC. | 4.00 | Each | 10531.02 | 11000.00 | 44000.00 | 13000.00 | 52000.00 | 10530.00 | 42120.00 | 10500.00 | 42000.00 | 10650.00 | 42600.00 | 42000.00 | Sri Krishna Agencies
85.00 | Supply and fixing LED street light fitting 70 Watt 230 V AC outdoor type with high pressure die cast aluminum housing and heat resistant complete with driver, lamp bracket with impact and corrosion resistant including thermal management in multiple optics complete with IP 65/66 protection complete. Make: (PHILIPS /GE/ WIPRO /CG/ OSRAM / BAJAJ/ HAVELLS/ SYSKA) or Suitably equivalent make as approved by EIC. | 1.00 | Each | 6239.21 | 6000.00 | 6000.00 | 7000.00 | 7000.00 | 6239.00 | 6239.00 | 6068.00 | 6068.00 | 6000.00 | 6000.00 | 6000.00 | VIJAYALAKSHMI ENETERPRISES, M/s.MSK Construction
86.00 | S & F LED light fitting 1X10 W bulk head luminaires including LED light driver holder connecting up with three core flexible copper conductor cable of suitable size. Make: (PHILIPS / CG /Havells / Wipro / Klite/ Bajaj/ Luker) or Suitably equivalent make as approved by EIC. | 12.00 | Each | 1459.34 | 1400.00 | 16800.00 | 500.00 | 6000.00 | 1500.00 | 18000.00 | 1450.00 | 17400.00 | 1375.00 | 16500.00 | 6000.00 | S VINAYAGAMURTHY
87.00 | Supply and fxing of LED decorative wall mounting fitting complete with suitable LED lamp and accessories, Wattage not more than 15 watts and minimum system output 1000 lumens. Make: (PHILIPS / Bajaj /CG /Havells / Wipro/Luker) or Suitably equivalent make as approved by EIC. | 12.00 | Each | 1065.00 | 1000.00 | 12000.00 | 700.00 | 8400.00 | 1065.00 | 12780.00 | 950.00 | 11400.00 | 1300.00 | 15600.00 | 8400.00 | S VINAYAGAMURTHY
88.00 | Supply & fixing metal flush box for 8 module plate | 1.00 | Each | 384.00 | 300.00 | 300.00 | 500.00 | 500.00 | 403.00 | 403.00 | 400.00 | 400.00 | 300.00 | 300.00 | 300.00 | VIJAYALAKSHMI ENETERPRISES, M/s.MSK Construction
89.00 | Supply & fixing of 12 module plate with frame and metal flush box | 9.00 | Each | 540.00 | 450.00 | 4050.00 | 500.00 | 4500.00 | 540.00 | 4860.00 | 580.00 | 5220.00 | 409.00 | 3681.00 | 3681.00 | VIJAYALAKSHMI ENETERPRISES
90.00 | Supply & fixing of 16 module plate with frame and metal flush box | 4.00 | Each | 635.00 | 700.00 | 2800.00 | 650.00 | 2600.00 | 666.00 | 2664.00 | 680.00 | 2720.00 | 575.00 | 2300.00 | 2300.00 | VIJAYALAKSHMI ENETERPRISES
91.00 | Supply & fixing of modular type Dummy plate | 33.00 | Nos | 20.00 | 30.00 | 990.00 | 100.00 | 3300.00 | 20.00 | 660.00 | 20.00 | 660.00 | 33.00 | 1089.00 | 660.00 | Santhosh Infrastructure, Sri Krishna Agencies
| Total in Figures |  |  |  |  | 2900000.00 |  | 2755650.00 |  | 2683830.75 |  | 2828280.00 |  | 2689695.00
Lowest Amount Quoted BY: Santhosh Infrastructure(2683830.75)

## BOQ Summary
BOQ Summary Details Tender Title: REPAIRS / RENOVATION OF AJEYA HOSTEL ANNEXURE AT HVF ESTATE Tender ID: 2024_AVNL_192212_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Santhosh Infrastructure | 2683830.75 | L1
| 2 | VIJAYALAKSHMI ENETERPRISES | 2689695.00 | L2
| 3 | S VINAYAGAMURTHY | 2755650.00 | L3
| 4 | Sri Krishna Agencies | 2828280.00 | L4
| 5 | M/s.MSK Construction | 2900000.00 | L5