## BoQ1
Government eProcurement System Created By: B SHANKAR LAL Created Date/Time: 03-Jun-2024 03:41 PM Tender Title: SPECIAL REPAIRS TO FALSE CEILING, WINDOWS, DOORS IN AVNL CORPORATE OFFICE AT HVF ESTATE. Tender ID: 2024_AVNL_194253_1
Tender Inviting Authority: THE CHIEF GENERAL MANAGER, HEAVY VEHICLES FACTORY, AVADI
Name of Work : SPECIAL REPAIRS TO FALSE CEILING, WINDOWS, DOORS IN AVNL CORPORATE OFFICE AT HVF ESTATE.
HVF T.E No : HVF/TE/13025/CEO/2024-25/01
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/s.MSK Construction (GSTN-33EDTPS7287F1ZQ) BID ID -701339 |  | Siva Enterprises(GSTN-NA)--701310 |  | VIJAYALAKSHMI ENETERPRISES(GSTN-NA)--701337 |  | SRI LAKSHMI INDUSTRIES(GSTN-NA)--701306 |  | maheshwari traders(GSTN-NA)--701500
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Dismantling of false ceiling boards(fibre, pulp, insulation etc.,) or insulation boards/slabs. blankets of any thickness and removing to CE Stores as directed | 250.00 | SQM | 45.76 | 50.00 | 12500.00 | 55.00 | 13750.00 | 40.00 | 10000.00 | 40.00 | 10000.00 | 35.00 | 8750.00 | 8750.00 | maheshwari traders
2.00 | Material and Labour for Gl frame work for seamless ceiling comprising of Gl perimeter channnel 0.55 mm thick with two unequal flanges of 20 and 30 mm and web of 27 mm fixed to surrounding wall using nylon sleeves and screws at 450 mm centre to ntre/intermediate channel 0.9 mm thick having two equal flanges of 15 mm each and web of 45 mm suspended from soffit at approx 900 mm centre to centre with Gl cleat and steel expansion fasteners with and including ceiling section (not exc 1.2 m length) of 0.55mm thickness having kurled web of 50 mm and flange of 26 mm each with lips of 10.5mm fixed to the intermediate channel with connecting clips across the intermediate channel at 457 mm centre to centre with Hangers 6 mm dia. G.I. (upto 1200mm length) adjusting level fixed to roof slabs by means of ceilling cleats made out of G.I. flat 40 x 3 mm size 60mm long and expansion hold fasteners 12.5mm dia. 40mm long complete all as specified. complete as directed by EIC. | 1600.00 | SQM | 654.75 | 700.00 | 1120000.00 | 595.00 | 952000.00 | 599.00 | 958400.00 | 550.00 | 880000.00 | 415.00 | 664000.00 | 664000.00 | maheshwari traders
3.00 | Material and Labour for Providing and fixing 10mm thick plaster of paris ceiling (Gypsum anhydrous) to flat surface with metal frame work and reinforced with G.I. wire mesh (Fillets, metal frame work and G.I. wire mesh paid separately) including for any raised or sunk moulding and applying of neeru finish/putty and one coat of primer and two caots of plastic emulsion paint including preparation of new surfaces complete as directed by EIC. and also making the provisions for electtrical fittings etc by cutting the board as approved and complete. | 1600.00 | SQM | 2033.66 | 2300.00 | 3680000.00 | 1055.00 | 1688000.00 | 1600.00 | 2560000.00 | 1650.00 | 2640000.00 | 1600.00 | 2560000.00 | 1688000.00 | Siva Enterprises
4.00 | Material and Labour for providing cornice to the false ceiling at the corners of 15cm width and apply neeru finish/putty and one coat or primer and two coats of plastic emulsion complete ad directed by EIC. | 1400.00 | RM | 325.00 | 200.00 | 280000.00 | 255.00 | 357000.00 | 330.00 | 462000.00 | 300.00 | 420000.00 | 306.00 | 428400.00 | 280000.00 | M/s.MSK Construction
5.00 | WALL PUTTY: Material and labour for applying one coat of primer and two coat of white cement based wall care putty in walls / ceiling of 3mm thick inculding removal of loose/peeloff existing treatment if any and as specified in SSR 2020 part-I specification clause 15.19.1 to 15.19.6.4(Make shall be of JK white putty or Birla white wall care putty ) or Suitably Equivalent make | 4200.00 | SQM | 202.88 | 110.00 | 462000.00 | 105.00 | 441000.00 | 135.00 | 567000.00 | 160.00 | 672000.00 | 80.00 | 336000.00 | 336000.00 | maheshwari traders
6.00 | M&L for applying two coats of plastic emulsion on internal wall surfaces including preparaition of old wall surfaces complete all as directed. Make: {Asian (apcolite advanced)/Berger(Easy clean)/Nerolac (Impressions 24 carat) or suitably equivalent make} | 4200.00 | SQM | 130.13 | 90.00 | 378000.00 | 75.00 | 315000.00 | 120.00 | 504000.00 | 120.00 | 504000.00 | 85.00 | 357000.00 | 315000.00 | Siva Enterprises
7.00 | Taking down window Shutters of any description n.exc 1.0 sq. m each and handing over the same to CE(E)/Store. | 60.00 | Each | 135.74 | 50.00 | 3000.00 | 125.00 | 7500.00 | 125.00 | 7500.00 | 100.00 | 6000.00 | 85.00 | 5100.00 | 3000.00 | M/s.MSK Construction
8.00 | Material and Labour for forming jambs using CM 1:4 to opening including cutting, toothing and also facing, jointing and pointing to match existing work complete. | 100.00 | SQM | 781.66 | 1000.00 | 100000.00 | 605.00 | 60500.00 | 725.00 | 72500.00 | 680.00 | 68000.00 | 300.00 | 30000.00 | 30000.00 | maheshwari traders
9.00 | S & F of Framed work as in doors or gates of angle or other section with gusset plates, rails,braces, etc., complete, drilled for fixing of steel sheeting or other covering. Doors, etc. to be prepared for hanging or sliding with and including either hooks and hinges or steel hanging door fittings (exclusive of steel sheeting or other covering, running rails and guides) and hanging; also fastening and fixing complete.Fe-410-W(Gde-E-250)quality A. | 3500.00 | KG | 129.47 | 160.00 | 560000.00 | 105.00 | 367500.00 | 120.00 | 420000.00 | 120.00 | 420000.00 | 117.00 | 409500.00 | 367500.00 | Siva Enterprises
10.00 | M & L for painting to steel surfaces of any description over 10cm width or girth with two coats of synthetic enamel paint over a coat of Red oxide primer including preparing new surfaces. | 125.00 | SQM | 155.43 | 90.00 | 11250.00 | 125.00 | 15625.00 | 130.00 | 16250.00 | 120.00 | 15000.00 | 123.00 | 15375.00 | 11250.00 | M/s.MSK Construction
11.00 | Providing and fixing factory made UPVC white colour casment (Openable) window made out of extruded profiles with wall thickness of 2.3mm (+/-0.20 mm) window profile with hollow section with multi chamber frame(60x58mm) sash (60mmx73mm T profile one vertical length in between two shutters ) (60mmx74mm) glazing bead (35x20mm) will be mitred cut and fusion welded at all corners including drilling of holes for fixing hardware and drainage fo water etc., makeing arrangement for fiding EPDM gasket 1.2 +/-0.2mm thick galvanized steel frame(28mmx21.5mm) sash (31mmx27.5mm) T profile(27mmx17mm ) to be inserted in reuired profile frame will be fixed to the wall with 8mm x 10mm long fasternes Hardware casement hadle made of zinc alloyed(white powder coated) butt hinges of zinc alloyed (white powder coated)transission gear made of mild steel multi point locking system and 5mm thick glazing selected quality glass ( Note the unit rae quoted by contractor excludes glass ,area not exceeding 1.00 sqm each and includes all fittings as directed by EIC) | 120.00 | SQM | 13780.64 | 14045.00 | 1685400.00 | 7455.00 | 894600.00 | 12600.00 | 1512000.00 | 9500.00 | 1140000.00 | 12000.00 | 1440000.00 | 894600.00 | Siva Enterprises
12.00 | Supply and fixing of Sheet glass ordinary quality 5.50mm thick and glazing with oil putty in square not exceeding 0.5 sq.m in each pane. | 90.00 | SQM | 1019.59 | 1000.00 | 90000.00 | 755.00 | 67950.00 | 975.00 | 87750.00 | 950.00 | 85500.00 | 850.00 | 76500.00 | 67950.00 | Siva Enterprises
13.00 | Supplying and Fixing of Solar Control film or 50 micron reflective type (gareware sun control or suitably equivalent make) | 70.00 | SQM | 626.01 | 700.00 | 49000.00 | 545.00 | 38150.00 | 599.00 | 41930.00 | 620.00 | 43400.00 | 600.00 | 42000.00 | 38150.00 | Siva Enterprises
14.00 | M & L for Brick work built in CM.1:6 using Sub-Class “B” Bricks,straight or curved on plan exc 6m mean radius built in | 8.00 | CUM | 6500.00 | 9000.00 | 72000.00 | 6955.00 | 55640.00 | 7000.00 | 56000.00 | 7500.00 | 60000.00 | 6500.00 | 52000.00 | 52000.00 | maheshwari traders
15.00 | M & L for plastering in CM 1:4, 15mm thick on fair faces of brick work and concrete surfaces. | 100.00 | SQM | 289.43 | 390.00 | 39000.00 | 305.00 | 30500.00 | 275.00 | 27500.00 | 170.00 | 17000.00 | 300.00 | 30000.00 | 17000.00 | SRI LAKSHMI INDUSTRIES
16.00 | Material and Labour for fixing Light shade Viritified ceramic tiles 10mm thick (Square/rectangle ) polished rea of each tiles not exceeding 0.36 Sqm in floors etc set and jointed in neat cement slurry and pointed in white or colored cement to match including screed bed in cement mortar 1:4, 15mm thick complete. | 43.00 | SQM | 1862.49 | 1710.00 | 73530.00 | 1255.00 | 53965.00 | 1600.00 | 68800.00 | 1300.00 | 55900.00 | 1550.00 | 66650.00 | 53965.00 | Siva Enterprises
17.00 | M & L for 10mm thick Toughened Glass Door (Single or Double Top and side fixed). The height of the door should be 2.10m aforesaid specified glass all complete as directed by EIC | 15.00 | SQM | 4950.00 | 7000.00 | 105000.00 | 5255.00 | 78825.00 | 5500.00 | 82500.00 | 4800.00 | 72000.00 | 15000.00 | 225000.00 | 72000.00 | SRI LAKSHMI INDUSTRIES
18.00 | Supply and fixing of Double action floor spring hydraulically regulated made up of minimum 1.25 mm thick aluminium alloy sheet foundation box, main body with stainless steel cover, governing pivot made of brass, other parts made of mild steel heavy duty and fixed for glass doors including cutting / demolishing of existing floor and making good all complete and as directed by EIC | 2.00 | Each | 4400.00 | 14000.00 | 28000.00 | 4655.00 | 9310.00 | 5000.00 | 10000.00 | 5000.00 | 10000.00 | 9000.00 | 18000.00 | 9310.00 | Siva Enterprises
19.00 | Supply and fixing of stainless steel handles of size 300-600mm length for glass doors as approved by EIC and AVNL Authorities | 2.00 | Each | 1350.00 | 3000.00 | 6000.00 | 1455.00 | 2910.00 | 1500.00 | 3000.00 | 2000.00 | 4000.00 | 3000.00 | 6000.00 | 2910.00 | Siva Enterprises
20.00 | Supply and fixing of locks for glass doors as approved by EIC and AVNL Authorities | 2.00 | Each | 1000.00 | 2000.00 | 4000.00 | 955.00 | 1910.00 | 1200.00 | 2400.00 | 1100.00 | 2200.00 | 2500.00 | 5000.00 | 1910.00 | Siva Enterprises
21.00 | Providing and fixing of Glass Flim stickering of Generic Forest landscape,any scenery,god /goddes etc.,as approved and as directed. with warranty as per the manufacturer specification and instructions. | 15.00 | SQM | 1550.00 | 2500.00 | 37500.00 | 1455.00 | 21825.00 | 1600.00 | 24000.00 | 1100.00 | 16500.00 | 1000.00 | 15000.00 | 15000.00 | maheshwari traders
22.00 | Cutting holes in brick walls built in cement mortar Exc.half brick work but not exc.one brick for inserting hold fasts and making good dismantled portion in cement mortar 1:3 or cement concrete 1:2:4 type B1 as required. | 260.00 | Each | 374.21 | 410.00 | 106600.00 | 255.00 | 66300.00 | 350.00 | 91000.00 | 310.00 | 80600.00 | 350.00 | 91000.00 | 66300.00 | Siva Enterprises
23.00 | M&L for Taking down of door shutters,easing of door shutters as per the site conditions and re fixing the same as directed to facilitate the tiling works. | 65.00 | Each | 829.20 | 1000.00 | 65000.00 | 755.00 | 49075.00 | 800.00 | 52000.00 | 500.00 | 32500.00 | 800.00 | 52000.00 | 32500.00 | SRI LAKSHMI INDUSTRIES
24.00 | Providing and fixing with approved 4 MM veneer shade with matching grains on door shutter front surfaces including Both side two coat of wood polish etc complete as directed by EIC. Make: ( Euro / Greenlam / Century) or suitably equivalent make. | 135.00 | SQM | 5300.00 | 6000.00 | 810000.00 | 5255.00 | 709425.00 | 5325.00 | 718875.00 | 5200.00 | 702000.00 | 6500.00 | 877500.00 | 702000.00 | SRI LAKSHMI INDUSTRIES
25.00 | S & F of II class hard wood door frame, wrought framed rebated on the solid rounded or chamfered put together with glue pined at joints. | 1.00 | CUM | 95025.87 | 90029.00 | 90029.00 | 75500.00 | 75500.00 | 89000.00 | 89000.00 | 87000.00 | 87000.00 | 95000.00 | 95000.00 | 75500.00 | Siva Enterprises
26.00 | Material and Labour for Buffiing of existing frame and applying of two coats of wood polish.(same as in door shutter color) | 335.00 | RM | 125.00 | 100.00 | 33500.00 | 125.00 | 41875.00 | 130.00 | 43550.00 | 235.00 | 78725.00 | 250.00 | 83750.00 | 33500.00 | M/s.MSK Construction
27.00 | Supply and Fixing of 4 lever Brass Mortice lock of vertical type of size 100mm | 50.00 | Each | 860.97 | 1000.00 | 50000.00 | 655.00 | 32750.00 | 850.00 | 42500.00 | 900.00 | 45000.00 | 2000.00 | 100000.00 | 32750.00 | Siva Enterprises
28.00 | Supply and Fixing of Brass Tower Bolt with cast or sheet barrel and rollere or cast bolts and of Size 200mm | 100.00 | Each | 329.34 | 320.00 | 32000.00 | 255.00 | 25500.00 | 350.00 | 35000.00 | 310.00 | 31000.00 | 400.00 | 40000.00 | 25500.00 | Siva Enterprises
29.00 | Supply and Fixing of SS finished 10mm T Beading | 127.00 | RM | 175.00 | 160.00 | 20320.00 | 165.00 | 20955.00 | 180.00 | 22860.00 | 180.00 | 22860.00 | 370.00 | 46990.00 | 20320.00 | M/s.MSK Construction
30.00 | Supply and fixing of Door closure hydraulically regulated designation No.3 universal or hard drawn type of Aluminum extruded body. | 30.00 | Each | 1657.70 | 1600.00 | 48000.00 | 1255.00 | 37650.00 | 1500.00 | 45000.00 | 1500.00 | 45000.00 | 1500.00 | 45000.00 | 37650.00 | Siva Enterprises
31.00 | Supply and Fixing of butt hinges cast brass with mild steel hinge pin fixed type-B-11 of 100mm length. | 120.00 | Each | 230.45 | 250.00 | 30000.00 | 155.00 | 18600.00 | 225.00 | 27000.00 | 150.00 | 18000.00 | 250.00 | 30000.00 | 18000.00 | SRI LAKSHMI INDUSTRIES
32.00 | Supply and Fixing of floor Door stopper of brass body and tongue with hard drawn steel springdoor stopper 150mm length. | 40.00 | Each | 306.24 | 300.00 | 12000.00 | 155.00 | 6200.00 | 300.00 | 12000.00 | 250.00 | 10000.00 | 250.00 | 10000.00 | 6200.00 | Siva Enterprises
33.00 | Supply and Fixing of Steel steel 600mm handle including necessary screws and fittings complete all as directed by EIC. | 65.00 | Each | 2100.00 | 2200.00 | 143000.00 | 2155.00 | 140075.00 | 2125.00 | 138125.00 | 2000.00 | 130000.00 | 3800.00 | 247000.00 | 130000.00 | SRI LAKSHMI INDUSTRIES
34.00 | Material and labour for Point wiring with FRLS PVC insulated sheathed single core cable 1100V grade confirming to IS 694 multi strand copper conductor along with 2mm thick PVC conduuit accessories run on wall or roof including M.S. switch box concealed in the wall(made out of 3mm thick sheet) and laminated sun mica sheet 3mm thick cover for housing the switches, regulators and plug socket etc. mount on a wall/roof etc. including 16SWG bare/ 1.5 sq.mm sqmm multistrand copper earth continuity wire. (Make: Finolex/Orbit/ Kundan/ Havells/ Polycab) or suitable equivalent make. a) one light point/one fan point controlled by one switch with cables1.5 sqmm size. | 472.00 | Point | 1092.03 | 1100.00 | 519200.00 | 955.00 | 450760.00 | 999.00 | 471528.00 | 985.00 | 464920.00 | 500.00 | 236000.00 | 236000.00 | maheshwari traders
35.00 | Material and labour for Point wiring with FRLS PVC insulated sheathed single core cable 1100V grade confirming to IS 694 multi strand copper conductor along with 2mm thick PVC conduuit accessories run on wall or roof including M.S. switch box concealed in the wall(made out of 3mm thick sheet) and laminated sun mica sheet 3mm thick cover for housing the switches, regulators and plug socket etc. mount on a wall/roof etc. including 16SWG bare/ 1.5 sq.mm sqmm multistrand copper earth continuity wire. (Make: Finolex/Orbit/ Kundan/ Havells/ Polycab) or suitable equivalent make. b) One 3 pin plug socket with switches flush type 5A on same board with 2.5sqmm cable | 170.00 | Point | 319.88 | 320.00 | 54400.00 | 255.00 | 43350.00 | 250.00 | 42500.00 | 280.00 | 47600.00 | 200.00 | 34000.00 | 34000.00 | maheshwari traders
36.00 | Material and labour for Point wiring with FRLS PVC insulated sheathed single core cable 1100V grade confirming to IS 694 multi strand copper conductor along with 2mm thick PVC conduuit accessories run on wall or roof including M.S. switch box concealed in the wall(made out of 3mm thick sheet) and laminated sun mica sheet 3mm thick cover for housing the switches, regulators and plug socket etc. mount on a wall/roof etc. including 16SWG bare/ 1.5 sq.mm sqmm multistrand copper earth continuity wire. (Make: Finolex/Orbit/ Kundan/ Havells/ Polycab) or suitable equivalent make. c) One 3 pin plug socket with switches flush type 5A on Independent board with 2.5sqmm cable | 150.00 | Point | 1244.53 | 1200.00 | 180000.00 | 1055.00 | 158250.00 | 1150.00 | 172500.00 | 1100.00 | 165000.00 | 170.00 | 25500.00 | 25500.00 | maheshwari traders
37.00 | Supply & fixing of Modular switch 1 way 6A,switch 1 module (Make: ANCHOR / LEGRAND/ HAVELLS) or suitable equivalent make. | 718.00 | Each | 286.55 | 270.00 | 193860.00 | 225.00 | 161550.00 | 250.00 | 179500.00 | 240.00 | 172320.00 | 260.00 | 186680.00 | 161550.00 | Siva Enterprises
38.00 | Supply & fixing of Modular switch 1 way 16A,switch 1 module (Make: ANCHOR / LEGRAND/ HAVELLS) or suitable equivalent make. | 75.00 | Each | 378.07 | 360.00 | 27000.00 | 325.00 | 24375.00 | 345.00 | 25875.00 | 335.00 | 25125.00 | 260.00 | 19500.00 | 19500.00 | maheshwari traders
39.00 | Supply & fixing of Socket, 6A - 2/3 pin combined 2 module (Make: ANCHOR / LEGRAND/ HAVELLS) or suitable equivalent make. | 245.00 | Each | 374.59 | 350.00 | 85750.00 | 325.00 | 79625.00 | 340.00 | 83300.00 | 300.00 | 73500.00 | 340.00 | 83300.00 | 73500.00 | SRI LAKSHMI INDUSTRIES
40.00 | Supply & fixing of Socket, 6A/16A - 2/3 pin combined 2 module (Make: ANCHOR / LEGRAND/ HAVELLS) or suitable equivalent make. | 74.00 | Each | 581.24 | 600.00 | 44400.00 | 455.00 | 33670.00 | 530.00 | 39220.00 | 450.00 | 33300.00 | 528.00 | 39072.00 | 33300.00 | SRI LAKSHMI INDUSTRIES
41.00 | Supply and fixing modular white plate frame with cover 8 module (Make Anchor/Legrand/Havells) or suitable equivalent make. | 60.00 | Each | 419.54 | 410.00 | 24600.00 | 355.00 | 21300.00 | 400.00 | 24000.00 | 300.00 | 18000.00 | 381.00 | 22860.00 | 18000.00 | SRI LAKSHMI INDUSTRIES
42.00 | Material & Labour for ceiling rose, 3 Phase/PVC/ polycorbonate, isolated body (Make: ANCHOR / LEGRAND/ HAVELLS) or suitable equivalent make. | 398.00 | Each | 72.27 | 75.00 | 29850.00 | 55.00 | 21890.00 | 67.00 | 26666.00 | 60.00 | 23880.00 | 65.00 | 25870.00 | 21890.00 | Siva Enterprises
43.00 | supply & fixing of lamp holders PVC/polycorbonate type with cord grid cap suitabile for pendant/straight/slanding fittings. | 29.00 | Each | 143.88 | 150.00 | 4350.00 | 125.00 | 3625.00 | 125.00 | 3625.00 | 95.00 | 2755.00 | 130.00 | 3770.00 | 2755.00 | SRI LAKSHMI INDUSTRIES
44.00 | Supply & Fixing of stepped type electronic fan regulator 120W - 2 module | 96.00 | Each | 1119.75 | 1050.00 | 100800.00 | 955.00 | 91680.00 | 999.00 | 95904.00 | 800.00 | 76800.00 | 1017.00 | 97632.00 | 76800.00 | SRI LAKSHMI INDUSTRIES
45.00 | Material & Labour for wiring with two runs of PVC insulated sheathed single core copper cable upto 1100 volts grade confirming to IS 694 multistrand with copper conductor along with PVC conduit and conduit accessories run on wall/roof one run of copper cable as earth wire. (Make: Finolux/Havells/Polycab/ Kundan/Orbit) or suitable equivalent make. a) 2x2.5 sq.mm+1x2.5 sq.mm earth wire | 600.00 | RM | 203.73 | 200.00 | 120000.00 | 155.00 | 93000.00 | 200.00 | 120000.00 | 190.00 | 114000.00 | 200.00 | 120000.00 | 93000.00 | Siva Enterprises
46.00 | Material & Labour for wiring with two runs of PVC insulated sheathed single core copper cable upto 1100 volts grade confirming to IS 694 multistrand with copper conductor along with PVC conduit and conduit accessories run on wall/roof one run of copper cable as earth wire. (Make: Finolux/Havells/Polycab/ Kundan/Orbit) or suitable equivalent make. b) 2x4.0 sq. mm +1x4.0 sq. mm earth wire | 1248.00 | RM | 236.50 | 220.00 | 274560.00 | 175.00 | 218400.00 | 245.00 | 305760.00 | 220.00 | 274560.00 | 225.00 | 280800.00 | 218400.00 | Siva Enterprises
47.00 | Material & Labour for wiring with two runs of PVC insulated sheathed single core copper cable upto 1100 volts grade confirming to IS 694 multistrand with copper conductor along with PVC conduit and conduit accessories run on wall/roof one run of copper cable as earth wire. (Make: Finolux/Havells/Polycab/ Kundan/Orbit) or suitable equivalent make. C) 2x6.0 sqmm+1x6.0 sqmm earth wire | 180.00 | RM | 285.12 | 270.00 | 48600.00 | 155.00 | 27900.00 | 286.00 | 51480.00 | 265.00 | 47700.00 | 275.00 | 49500.00 | 27900.00 | Siva Enterprises
48.00 | Material and labour for Brick walls cutting chases,pining in, making good to facing where required and pointing in cement mortor 1:3 to ends and cutting chases for concealed conduit wiring, etc., and making good,cutting exc. 10 cm but not exc. 20 cm grith. | 660.00 | RM | 57.31 | 50.00 | 33000.00 | 55.00 | 36300.00 | 55.00 | 36300.00 | 65.00 | 42900.00 | 60.00 | 39600.00 | 33000.00 | M/s.MSK Construction
49.00 | Supply and fix exhaust fan, steel body AC single Phase. 230V of size 300m sweep with, blades, and frame and louvers (Make: Almonard/ Kaithan/ Crompton) or suitable equivalent make. | 4.00 | Each | 3903.45 | 3600.00 | 14400.00 | 2955.00 | 11820.00 | 3500.00 | 14000.00 | 3300.00 | 13200.00 | 3800.00 | 15200.00 | 11820.00 | Siva Enterprises
50.00 | Taking down copper/aluminium point wiring (light, fan, socket or power) complete, including fixture and fittings such as switches, ceiling roses, pendants, regulators, sockets, light fitting etc. removing materials to store for keeping in safe custody or for taking credit (credit for above items should be made as per conditions separately) and making good disturbed surfaces of walls, floors, etc. | 400.00 | Each | 167.20 | 150.00 | 60000.00 | 145.00 | 58000.00 | 140.00 | 56000.00 | 120.00 | 48000.00 | 150.00 | 60000.00 | 48000.00 | SRI LAKSHMI INDUSTRIES
51.00 | Supply and fixing LED lights fitting 1x 20W, 220V, AC decorative box type with driver, holder including LED tube light connecting up with three core flexible copper conductor cable of suitable size from ceiling rose complete. Make: (PHILIPS / CG /Havells / Wipro / Klite/ Bajaj/ Luker) or suitable equivalent make. | 30.00 | Each | 1435.94 | 1300.00 | 39000.00 | 1255.00 | 37650.00 | 1300.00 | 39000.00 | 1250.00 | 37500.00 | 1305.00 | 39150.00 | 37500.00 | SRI LAKSHMI INDUSTRIES
52.00 | Supply and fixing LED light fitting mirror type with high out put diffuser 2 feet, 10 watt 220 V AC decorative type with driver holder and LED lamp including connecting up with three core flexible copper conductor cable of suitable size complete. Make: (PHILIPS / CG /Havells / Wipro/ Klite/ Bajaj / Luker.) or suitable equivalent make | 8.00 | Each | 1490.29 | 1400.00 | 11200.00 | 1255.00 | 10040.00 | 1250.00 | 10000.00 | 1300.00 | 10400.00 | 1300.00 | 10400.00 | 10000.00 | VIJAYALAKSHMI ENETERPRISES
53.00 | Hanging only ceiling fan (M.D. supply) and connecting up including provision of cable from ceiling rose or connector to fan | 96.00 | Each | 187.66 | 175.00 | 16800.00 | 155.00 | 14880.00 | 190.00 | 18240.00 | 200.00 | 19200.00 | 170.00 | 16320.00 | 14880.00 | Siva Enterprises
54.00 | Taking down fan, sealing cable end, dismantling blades and removing fan and blades to store | 96.00 | Each | 226.49 | 250.00 | 24000.00 | 175.00 | 16800.00 | 215.00 | 20640.00 | 110.00 | 10560.00 | 205.00 | 19680.00 | 10560.00 | SRI LAKSHMI INDUSTRIES
55.00 | Supply and Fixing of MCCB 3 pole 415 Volt fixed type 125 Amps with breaking capacity 16 KA Make: (LEGRAND / HAVELLS) or suitable equivalent make. | 10.00 | Each | 3945.81 | 3600.00 | 36000.00 | 2955.00 | 29550.00 | 4000.00 | 40000.00 | 3500.00 | 35000.00 | 3600.00 | 36000.00 | 29550.00 | Siva Enterprises
56.00 | Supply and fixing 240V, 10 KA 'B' curve miniature circuit breaker (MCB) of single poles and current carrying capacity 40 AMP, in the MCB DB Complete with connection testing and commissioning. Make: (LEGRAND / HAVELLS) or suitable equivalent make. | 80.00 | Each | 312.62 | 300.00 | 24000.00 | 255.00 | 20400.00 | 290.00 | 23200.00 | 270.00 | 21600.00 | 290.00 | 23200.00 | 20400.00 | Siva Enterprises
57.00 | Supply and fixing amp rating 240V, 10KA 'C' curve miniature circuit breaker (MCB) of following poles and current carrying capacity in the MCB DB complete with connection testing and commissioning. SP 40 Amps Make: (LEGRAND / HAVELLS) or suitable equivalent make. | 40.00 | Each | 887.04 | 810.00 | 32400.00 | 755.00 | 30200.00 | 825.00 | 33000.00 | 750.00 | 30000.00 | 800.00 | 32000.00 | 30000.00 | SRI LAKSHMI INDUSTRIES
58.00 | Supply and fixing of 12 module plate with frame and metal flush box (Make Anchor/Legrand/Havells) or suitable equivalent make. | 60.00 | Each | 540.00 | 900.00 | 54000.00 | 525.00 | 31500.00 | 550.00 | 33000.00 | 600.00 | 36000.00 | 400.00 | 24000.00 | 24000.00 | maheshwari traders
59.00 | Supply and fixing modular metal flush box 8 module (Make Anchor/Legrand/Havells) or suitable equivalent make. | 60.00 | Each | 384.00 | 800.00 | 48000.00 | 375.00 | 22500.00 | 400.00 | 24000.00 | 65.00 | 3900.00 | 381.00 | 22860.00 | 3900.00 | SRI LAKSHMI INDUSTRIES
60.00 | Supply and fixing modular white plate frame with cover 16 module (Make Anchor/Legrand/Havells) or suitable equivalent make. | 20.00 | Each | 635.00 | 1200.00 | 24000.00 | 605.00 | 12100.00 | 650.00 | 13000.00 | 30.00 | 600.00 | 425.00 | 8500.00 | 600.00 | SRI LAKSHMI INDUSTRIES
61.00 | Supply and fixing of modular type dummy plates | 159.00 | Each | 20.00 | 250.00 | 39750.00 | 20.00 | 3180.00 | 20.00 | 3180.00 | 145.00 | 23055.00 | 30.00 | 4770.00 | 3180.00 | Siva Enterprises, VIJAYALAKSHMI ENETERPRISES
62.00 | Supply and fixing of MCBdb 4 way (DPXx160+12) (legrand Make as per legrand 2023 catalgoue No 5077 4550/ABB/HAVELLS) or Suitable equivalent make | 10.00 | Each | 10250.00 | 1400.00 | 14000.00 | 9555.00 | 95550.00 | 10500.00 | 105000.00 | 3000.00 | 30000.00 | 2500.00 | 25000.00 | 14000.00 | M/s.MSK Construction
63.00 | Supply and fixing LED ceiling/Recessed mounting fitting complete with suitable LED lamp and accessoies wattage 24 to 30watts and minimum system output 1800lumens Make (Philips/Bajaj/CG/ Havells/wipro) or suitable equivalent make. | 400.00 | Each | 3755.00 | 500.00 | 200000.00 | 2055.00 | 822000.00 | 3000.00 | 1200000.00 | 380.00 | 152000.00 | 1050.00 | 420000.00 | 152000.00 | SRI LAKSHMI INDUSTRIES
64.00 | Supply and fixing of 25mm rigid non matetalic PVC conduit exclusive of boxes (junction / terminal) but inclusive of all tees, bends, elbow, reductors, bell mouth, tube ends and fixing accessories such as couplers, locknuts, saddles, pipe hooks, etc. | 840.00 | RM | 100.00 | 70.00 | 58800.00 | 55.00 | 46200.00 | 100.00 | 84000.00 | 120.00 | 100800.00 | 200.00 | 168000.00 | 46200.00 | Siva Enterprises
65.00 | Material labour for cutting chases, pining in, making good to facing where required and pointing in cement mortor 1:3 to ends and cutting chases for concealed conduit wiring, etc., and making good, cutting exc. 10cm but not exc. 20 cm grith | 835.00 | RM | 40.00 | 90.00 | 75150.00 | 35.00 | 29225.00 | 44.00 | 36740.00 | 60.00 | 50100.00 | 650.00 | 542750.00 | 29225.00 | Siva Enterprises
66.00 | Supply and fixing modular white cover plate with frame 4 module | 50.00 | Each | 200.00 | 200.00 | 10000.00 | 175.00 | 8750.00 | 200.00 | 10000.00 | 55.00 | 2750.00 | 175.00 | 8750.00 | 2750.00 | SRI LAKSHMI INDUSTRIES
67.00 | Supply and fixing modular metal flush box for 4 module plate | 50.00 | Each | 180.00 | 250.00 | 12500.00 | 125.00 | 6250.00 | 180.00 | 9000.00 | 65.00 | 3250.00 | 150.00 | 7500.00 | 3250.00 | SRI LAKSHMI INDUSTRIES
68.00 | Supply of 10 pair PVC telephone cable with conductor size of 0.5 mm Make: (Finolex / Delton / Five star) or Suitably equivalent acceptable | 1000.00 | RM | 47.50 | 150.00 | 150000.00 | 125.00 | 125000.00 | 50.00 | 50000.00 | 850.00 | 850000.00 | 160.00 | 160000.00 | 50000.00 | VIJAYALAKSHMI ENETERPRISES
69.00 | Labour only for removing of 5 / 10 pair telephone cable in PVC / GI pipe. | 800.00 | RM | 7.00 | 30.00 | 24000.00 | 10.00 | 8000.00 | 8.00 | 6400.00 | 700.00 | 560000.00 | 25.00 | 20000.00 | 6400.00 | VIJAYALAKSHMI ENETERPRISES
70.00 | Labour only for laying of 5 / 10 pair telephone cable in PVC / GI pipe. | 1000.00 | RM | 15.00 | 30.00 | 30000.00 | 20.00 | 20000.00 | 16.00 | 16000.00 | 20.00 | 20000.00 | 75.00 | 75000.00 | 16000.00 | VIJAYALAKSHMI ENETERPRISES
71.00 | Supply and fixing of12 module plate with frame and metal flush box | 20.00 | Each | 450.00 | 1000.00 | 20000.00 | 595.00 | 11900.00 | 525.00 | 10500.00 | 420.00 | 8400.00 | 250.00 | 5000.00 | 5000.00 | maheshwari traders
72.00 | supply and fixing modular type dummy plate (12 module) | 20.00 | Each | 20.00 | 250.00 | 5000.00 | 35.00 | 700.00 | 25.00 | 500.00 | 22.00 | 440.00 | 30.00 | 600.00 | 440.00 | SRI LAKSHMI INDUSTRIES
| Total in Figures |  |  |  |  | 12999999.00 |  | 9635235.00 |  | 12343998.00 |  | 12073300.00 |  | 11517279.00
Lowest Amount Quoted BY: Siva Enterprises(9635235.00)

## BOQ Summary
BOQ Summary Details Tender Title: SPECIAL REPAIRS TO FALSE CEILING, WINDOWS, DOORS IN AVNL CORPORATE OFFICE AT HVF ESTATE. Tender ID: 2024_AVNL_194253_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Siva Enterprises | 9635235.00 | L1
| 2 | maheshwari traders | 11517279.00 | L2
| 3 | SRI LAKSHMI INDUSTRIES | 12073300.00 | L3
| 4 | VIJAYALAKSHMI ENETERPRISES | 12343998.00 | L4
| 5 | M/s.MSK Construction | 12999999.00 | L5