## BoQ1
Government eProcurement System Created By: V. UKESH BABU Created Date/Time: 08-Jul-2024 03:17 PM Tender Title: SPECIAL REPAIRS TO DAMAGED ADMIN BLOCK, SHOP FLOOR AREA AND STEEL DOOR IN MBT ARJUN AT HVF, AVADI Tender ID: 2024_AVNL_196801_1
Tender Inviting Authority: THE CHIEF GENERAL MANAGER, HEAVY VEHICLES FACTORY, AVADI
Name of Work : SPECIAL REPAIRS TO DAMAGED ADMIN BLOCK, SHOP FLOOR AREA AND STEEL DOOR IN MBT ARJUN AT HVF, AVADI
HVF T.E No : HVF/TE/13025/CEO/2024-25/07
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/s.MSK Construction (GSTN-33EDTPS7287F1ZQ) BID ID -708760 |  | Intex Space Solutions Private Limited (GSTN-33AABCI6589E2ZH) BID ID -709312 |  | AMUTHA ENGINEERING AND CONSTRUCTION(GSTN-NA)--709174
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Demolition of Reinforced Cement Concrete/cement concrete structure of any description | 135.00 | CuM | 2166.26 | 2100.00 | 283500.00 | 2012.00 | 271620.00 | 2150.00 | 290250.00 | 271620.00 | Intex Space Solutions Private Limited
2.00 | Surface excavation hard dense soil n.exc (not exceeding) 30 cm deep and averaging 15cm deep and getting out | 50.00 | SqM | 107.18 | 110.00 | 5500.00 | 564.00 | 28200.00 | 100.00 | 5000.00 | 5000.00 | AMUTHA ENGINEERING AND CONSTRUCTION
3.00 | Earth work excavation in hard/ dense soil for foundation width and depth not exceeding 1.50m and getting out. | 100.00 | CuM | 776.25 | 760.00 | 76000.00 | 322.00 | 32200.00 | 760.00 | 76000.00 | 32200.00 | Intex Space Solutions Private Limited
4.00 | Material and labour for sand filling in foundation including watering and consolidation. | 15.00 | CuM | 2270.45 | 2300.00 | 34500.00 | 9662.00 | 144930.00 | 2400.00 | 36000.00 | 34500.00 | M/s.MSK Construction
5.00 | Suuply and laying of P.C.C 1:4:8, D2 type using 40mm graded aggregated incl all bye works etc | 20.00 | CuM | 6305.57 | 6500.00 | 130000.00 | 6039.00 | 120780.00 | 6500.00 | 130000.00 | 120780.00 | Intex Space Solutions Private Limited
6.00 | Material and labour for cement concrete 1:2:4 Type B1 20mm graded aggregate in foundation filling and mass concrete. | 70.00 | CuM | 7513.33 | 7800.00 | 546000.00 | 6442.00 | 450940.00 | 8250.00 | 577500.00 | 450940.00 | Intex Space Solutions Private Limited
7.00 | M & L for R.C.C A1 Type, 1: 1.5: 3 mix, 20mm graded aggregate in foundations, including rafts, footings, column, beam, plinth beams, roof slab etc., | 90.00 | CuM | 8498.41 | 9000.00 | 810000.00 | 7247.00 | 652230.00 | 9250.00 | 832500.00 | 652230.00 | Intex Space Solutions Private Limited
8.00 | M & L for moorum/red bajri filling in floors or pavings, laid in layers n exc. 15 cm thick, spread, levelled and rammed including watering | 40.00 | CuM | 1426.12 | 1400.00 | 56000.00 | 4831.00 | 193240.00 | 1425.00 | 57000.00 | 56000.00 | M/s.MSK Construction
9.00 | Supply and fixing of TMT Bars 10mm dia and over, cut to length bent to shape required including cranking, bending, spiraling for hoping for columns, hooking ends and binding with MS Wire not less than 0.9mm dia or securing with clips. | 5000.00 | Kg | 94.99 | 90.00 | 450000.00 | 81.00 | 405000.00 | 98.00 | 490000.00 | 405000.00 | Intex Space Solutions Private Limited
10.00 | Supply and fixing of TMT Bars 6mm to 8mm dia, cut to length bent to shape required including cranking, bending, spiraling for hoping for columns, hooking ends and binding with MS Wire not less than 0.9mm dia or securing with clips. | 800.00 | Kg | 97.23 | 92.00 | 73600.00 | 97.00 | 77600.00 | 100.00 | 80000.00 | 73600.00 | M/s.MSK Construction
11.00 | M & L for form work to side and soffit of RCC Member such as foundation , plinth beam etc., , and the finishing shall be of fair and smooth finished surface. | 500.00 | SqM | 456.68 | 450.00 | 225000.00 | 685.00 | 342500.00 | 450.00 | 225000.00 | 225000.00 | M/s.MSK Construction, AMUTHA ENGINEERING AND CONSTRUCTION
12.00 | Taking down Rolling Shutter/Steel door shutter of any size and handing over to CE Store | 10.00 | Each | 2400.00 | 2400.00 | 24000.00 | 8052.00 | 80520.00 | 2500.00 | 25000.00 | 24000.00 | M/s.MSK Construction
13.00 | Supply and Fixing of structural steel of Fe 410-W (Gde-E- 250) Quality - A, for Framed work in doors or gates of angle or other section with gusset plates,rails, braces, stanchions built up of one beam etc complete drilling for fixing of steel sheeting or other covering doors etc,to be prepared for handing or sliding with and including either hooks and hinges or steel hanging door fittings including steel sheeting and hanging also fastening and locking arrangements etc and fixing complete all as directed by EIC. | 26000.00 | Kg | 135.36 | 140.00 | 3640000.00 | 97.00 | 2522000.00 | 140.00 | 3640000.00 | 2522000.00 | Intex Space Solutions Private Limited
14.00 | Material and labour for Polycarbonite sheet 2mm thick to suit the existing roof profile as in roof covering/cladding to wall self drilling/self tapping anticorrisive serews with EPDM seal complete all as per manfacturers specification and instructions and as approved and as directed,by considering the dimension & including all necessary sceaffolding and safty aspects complete. The height of work excedding 10 meters from the average ground level. | 225.00 | SqM | 2036.78 | 2000.00 | 450000.00 | 1852.00 | 416700.00 | 2400.00 | 540000.00 | 416700.00 | Intex Space Solutions Private Limited
15.00 | M & L for applying MS poliymer (modified selaine) based sealent / adhesive for application at leak joints of valley gutters, bolt holes, down take pipes (6mm depth and 10mm width) and as directed by considering the diemension and height above 10.00 metres height approx including all safety aspects and scafollding complete as required at site (Make:McKoy/soudal/stanvac or equivelent) | 500.00 | RM | 99.00 | 100.00 | 50000.00 | 121.00 | 60500.00 | 100.00 | 50000.00 | 50000.00 | M/s.MSK Construction, AMUTHA ENGINEERING AND CONSTRUCTION
16.00 | Labour for cleaning valley gutters of any description and any size in AC sheet/Galvalume sheet roof (13m to 20m height) for removal of silt,leaves,funges,debris,tree branches or any other debris lying in valley gutter by using wire brush,steel scrubber,cotton waste., The contractor should collect aforesaid silt,leaves,funges,debris,tree branches in bags and lower the same to ground using pully/rope tec., including removal of collected item to 1.5 km from site as per the directions of EIC. | 875.00 | RM | 225.00 | 200.00 | 175000.00 | 81.00 | 70875.00 | 235.00 | 205625.00 | 70875.00 | Intex Space Solutions Private Limited
17.00 | Material and labour for Providing and injecting chemical emulsion for Post Constructional Antitermite Treatment along external wall where the apron is not provided using chemical emulsion at the rate of 7.5 litres per sq.m of the vertical surface of the sub-structure to a depth of 300mm including excavating channel along the wall and rodding etc. complete | 100.00 | SqM | 320.39 | 300.00 | 30000.00 | 201.00 | 20100.00 | 320.00 | 32000.00 | 20100.00 | Intex Space Solutions Private Limited
18.00 | Providing and fixing Commercial ply paneling, of 12mm thk. ply finished with 4mm thick. approved Veneer shade with matching grains and 8mm Aluminum channal section to achieve uniform groove between gypsum and paneling including melamine finish . Make: Euro / Greenlam / Century or Suitably Equivalent Make. | 90.00 | SqM | 8300.00 | 5500.00 | 495000.00 | 5233.00 | 470970.00 | 9000.00 | 810000.00 | 470970.00 | Intex Space Solutions Private Limited
19.00 | Providing and fixing in true horizontal level modular false ceiling using hot dipped galvanised steel sections. Exposed surface chemically cleaned capping prefinished in baked polyester paint .Shilloute/ Black Reveal grids and approved wall angle of size 3000mmx19mmx19mm used in the periphery of the ceiling fixed to the partition, R.C.C.column and walls using screws at 600mm c/c. | 125.00 | SqM | 2100.00 | 2000.00 | 250000.00 | 1690.00 | 211250.00 | 2400.00 | 300000.00 | 211250.00 | Intex Space Solutions Private Limited
20.00 | Providing and fixing roller blinds with drive unit end plug support brackets roller tube bottom rail ball chains all described as below but with fabric of approved shade colour and sample. Make - Vista/ Marvel or Suitably Equivalent Make. | 25.00 | SqM | 1950.00 | 2000.00 | 50000.00 | 2012.00 | 50300.00 | 2250.00 | 56250.00 | 50000.00 | M/s.MSK Construction
21.00 | Dismantling of false ceiling boards(fibre, pulp, insulation etc.,) or insulation boards/slabs. blankets of any thickness and removing to CE Stores as directed. | 120.00 | SqM | 47.84 | 50.00 | 6000.00 | 201.00 | 24120.00 | 48.00 | 5760.00 | 5760.00 | AMUTHA ENGINEERING AND CONSTRUCTION
22.00 | Supply and fixing of Anodised aluminium snap grid frame work for false ceiling all as specified. | 120.00 | SqM | 562.68 | 550.00 | 66000.00 | 725.00 | 87000.00 | 565.00 | 67800.00 | 66000.00 | M/s.MSK Construction
23.00 | Material and Labour for exposed metal frame ceiling with calcium silicate board of siliceous and calcareous material reinforced with cellulose fibre for fixing in 600 mm x 600mm grid (Frame work for ceiling shall be measured and paid separately) 6mm. | 120.00 | SqM | 462.07 | 475.00 | 57000.00 | 644.00 | 77280.00 | 465.00 | 55800.00 | 55800.00 | AMUTHA ENGINEERING AND CONSTRUCTION
24.00 | Material and labour for painting calcium silicate board in ceiling with one coat of primer over two coat of sythetic enamel paint including paint including preparation of new surfaces. | 120.00 | SqM | 161.23 | 160.00 | 19200.00 | 160.00 | 19200.00 | 160.00 | 19200.00 | 19200.00 | M/s.MSK Construction, AMUTHA ENGINEERING AND CONSTRUCTION, Intex Space Solutions Private Limited
25.00 | Demolition of Brick tiles or terracing tiles, single layer on roofs | 1100.00 | SqM | 85.91 | 85.00 | 93500.00 | 201.00 | 221100.00 | 90.00 | 99000.00 | 93500.00 | M/s.MSK Construction
26.00 | Demolition lime concrete of any description and in any position not otherwise specifically provided | 60.00 | CuM | 992.22 | 1000.00 | 60000.00 | 1610.00 | 96600.00 | 1000.00 | 60000.00 | 60000.00 | M/s.MSK Construction, AMUTHA ENGINEERING AND CONSTRUCTION
27.00 | Material and labour for providing a cement concrete layer average thickness 40mm using B0 type concrete and finishing the surface. | 900.00 | SqM | 393.07 | 400.00 | 360000.00 | 362.00 | 325800.00 | 400.00 | 360000.00 | 325800.00 | Intex Space Solutions Private Limited
28.00 | Protection of Membrane Providing and laying Protective layer of 210 GSM Geotextile before laying the protection screed | 500.00 | SqM | 90.00 | 90.00 | 45000.00 | 564.00 | 282000.00 | 90.00 | 45000.00 | 45000.00 | M/s.MSK Construction, AMUTHA ENGINEERING AND CONSTRUCTION
29.00 | Supply and application of Polyurethane based sealant for filling of visible cracks up to 10mm width and 5mm depth. PU sealant material shall have elongation more than 700%. The contractor shall use Hyperseal expert 150 of Alchemica/Seal Arm PU of MYK Arment/SNF one plus P590 of ,Bostik/Masterseal NP 473 U of Master Builders Solutions/ Cipoxy 16 D of Dr. Fixit,makes are only acceptable as approved by EIC and finishing the top surface. | 600.00 | RM | 322.00 | 320.00 | 192000.00 | 322.00 | 193200.00 | 320.00 | 192000.00 | 192000.00 | M/s.MSK Construction, AMUTHA ENGINEERING AND CONSTRUCTION
30.00 | Supply and application of seamless Polyurethane (PU) based elastomeric coating exposable to atmosphere. The work consisting a) Supply & Application of PU based primer minimum of 100gms per SQM b) Supply & Application of seamless PU based elastomeric coating over a primer coat to achieve a thicnkess of 1.5mm DFT in two coats,with an application rate of minimum 2.1 kg/Sq.m,having minimum solid coatent (ASTM 836) of more than 85% and elongation also more than 400% c)Supply & Application of Protective UV top coat @ 0.25 kg/sq.m( The contractor shall use the material from the reputed manufacturers such as " Master Builder Solution","MYK Arment","Dr. Fixit" " Alchimica" ,"Bostik" and "Tecnopol" or Suitably Equivalent Make as approved by EIC) | 1100.00 | SqM | 1450.00 | 1300.00 | 1430000.00 | 242.00 | 266200.00 | 1450.00 | 1595000.00 | 266200.00 | Intex Space Solutions Private Limited
31.00 | S & F of Anodised aluminium frame for Partition, doors, windows, ventilators with one or more rebates including joining cleat for fixing etc. complete all as specified | 800.00 | Kg | 535.45 | 500.00 | 400000.00 | 403.00 | 322400.00 | 600.00 | 480000.00 | 322400.00 | Intex Space Solutions Private Limited
32.00 | S & F of Anodised aluminium door shutters, aluminium section weighing 0.55 kg/m including necessary joining cleats, glazing clips, ruber neoprene packing, handles 2 Nos in each door, hinges,anodised aluminum snap beading screws etc. complete all as specified. | 35.00 | SqM | 1482.18 | 1600.00 | 56000.00 | 3623.00 | 126805.00 | 1500.00 | 52500.00 | 52500.00 | AMUTHA ENGINEERING AND CONSTRUCTION
33.00 | Supply and fixing of pre-laminated particle board of 12mm thick with both sides with decorative choice lamination. | 180.00 | SqM | 979.80 | 1000.00 | 180000.00 | 1208.00 | 217440.00 | 1100.00 | 198000.00 | 180000.00 | M/s.MSK Construction
34.00 | S & F of 5.5mm thick sheet glass ordinary quality and glazing with oil putty in square not exceeding 0.50 Sq.m in each pane. | 160.00 | SqM | 1065.94 | 200.00 | 32000.00 | 1610.00 | 257600.00 | 1200.00 | 192000.00 | 32000.00 | M/s.MSK Construction
35.00 | S & F of Anodised aluminium window and ventilator shutters, fixed type without sash bars, aluminium sections weighing 0.55 kg/m including necessary joining cleats, glazing clips, rubber packing, anodised aluminium snap beading, screws, etc., complete all as specified. | 80.00 | SqM | 1484.17 | 1500.00 | 120000.00 | 2818.00 | 225440.00 | 525.00 | 42000.00 | 42000.00 | AMUTHA ENGINEERING AND CONSTRUCTION
36.00 | Material and labour for solar control film 25 micron reflective type sticked to glass panes as per instructions of manufacturers | 80.00 | SqM | 520.84 | 500.00 | 40000.00 | 805.00 | 64400.00 | 525.00 | 42000.00 | 40000.00 | M/s.MSK Construction
37.00 | S & F of Aluminium Door closer hydraulically regulated, designation No. 3, universal type, suitable for door shutters of 851 to 1000 mm in width and of weight between 61 to 80 kg and fixed | 10.00 | Each | 1497.30 | 1500.00 | 15000.00 | 3623.00 | 36230.00 | 1500.00 | 15000.00 | 15000.00 | M/s.MSK Construction, AMUTHA ENGINEERING AND CONSTRUCTION
38.00 | Taking down door and window frame with shutter exceeding 1.50 SQM and not exceeding 4.0 SQM and removing to CE Stores. | 35.00 | Each | 523.94 | 375.00 | 13125.00 | 1208.00 | 42280.00 | 525.00 | 18375.00 | 13125.00 | M/s.MSK Construction
39.00 | S/F of plain solid straight chowkats and frames, wrought framed rebated on the solid rounded or chamfered put together, with glue pinned at joints of 2nd class hard wood. | 1.10 | CuM | 99345.22 | 100000.00 | 110000.00 | 80515.00 | 88566.50 | 120000.00 | 132000.00 | 88566.50 | Intex Space Solutions Private Limited
40.00 | Supply and fixing of 40 mm thick Flush door shutter solid core construction with block board core and plywood face pannels,commercial type of both sides. | 70.00 | SqM | 2022.51 | 2100.00 | 147000.00 | 2415.00 | 169050.00 | 3000.00 | 210000.00 | 147000.00 | M/s.MSK Construction
41.00 | S & F for 125mm Butt hinges, extruded brass, with mild steel hinge pin, bright polished and fixed, type B-11. | 30.00 | Each | 295.44 | 300.00 | 9000.00 | 403.00 | 12090.00 | 300.00 | 9000.00 | 9000.00 | M/s.MSK Construction, AMUTHA ENGINEERING AND CONSTRUCTION
42.00 | S & F of 375mm Brass, sliding door bolt with sand or die-cast brass hasp,staple (bolt type) and fixing bolt with rolled or drawn brass bolts and fixed. | 10.00 | Each | 1208.77 | 1750.00 | 17500.00 | 3623.00 | 36230.00 | 1200.00 | 12000.00 | 12000.00 | AMUTHA ENGINEERING AND CONSTRUCTION
43.00 | S & F of 200mm Brass barrel tower bolts, with cast or sheet barrel and rolled or cast bolts and fixed . | 20.00 | Each | 344.31 | 350.00 | 7000.00 | 282.00 | 5640.00 | 350.00 | 7000.00 | 5640.00 | Intex Space Solutions Private Limited
44.00 | S & F of 150mm Extruded brass handles,fabricated type polished. | 20.00 | Each | 308.09 | 300.00 | 6000.00 | 282.00 | 5640.00 | 310.00 | 6200.00 | 5640.00 | Intex Space Solutions Private Limited
45.00 | Material and labour for granite (of any type) tiles 20mm thick machine cut, bedded and jointed with grey cement slurry and pointed with white cement with admixture of pigment to match the shade of granite stone including grinding and polishing complete. | 20.00 | SqM | 2757.41 | 2800.00 | 56000.00 | 6039.00 | 120780.00 | 2950.00 | 59000.00 | 56000.00 | M/s.MSK Construction
46.00 | Supply and fixing of granite 12 mm thick of approved colour used for urinal partition including fixing with stainless steel clamps over the tiles as required at site | 10.00 | SqM | 2400.00 | 2500.00 | 25000.00 | 4428.00 | 44280.00 | 2500.00 | 25000.00 | 25000.00 | M/s.MSK Construction, AMUTHA ENGINEERING AND CONSTRUCTION
47.00 | Rounding to edges of stone slabs one edge,such as in steps, cooking platform, and other similar situations | 55.00 | RM | 55.78 | 50.00 | 2750.00 | 242.00 | 13310.00 | 60.00 | 3300.00 | 2750.00 | M/s.MSK Construction
48.00 | Supply & fixing of 150mm Aluminum anodized barrel tower bolts of extruded section and fixed. | 60.00 | Each | 88.32 | 90.00 | 5400.00 | 121.00 | 7260.00 | 90.00 | 5400.00 | 5400.00 | M/s.MSK Construction, AMUTHA ENGINEERING AND CONSTRUCTION
49.00 | S & F of 125mm butt hinges, extruded Aluminum alloy type B-21with galvanised mild steel hinge pin. | 80.00 | Each | 308.66 | 300.00 | 24000.00 | 161.00 | 12880.00 | 300.00 | 24000.00 | 12880.00 | Intex Space Solutions Private Limited
50.00 | S & F of 150mm Aluminum Handles cast rod type, anodized | 60.00 | Each | 87.29 | 90.00 | 5400.00 | 242.00 | 14520.00 | 90.00 | 5400.00 | 5400.00 | M/s.MSK Construction, AMUTHA ENGINEERING AND CONSTRUCTION
51.00 | Supply and fixing of 250mm mild steel sliding door bolts,plate type,stove enamelled black, with bright bolt not less than 12mm dia with and including a minium of 6 bolts and nuts,four on bolt plate and two on staple plate and fixed. | 25.00 | Each | 257.14 | 250.00 | 6250.00 | 4025.00 | 100625.00 | 258.00 | 6450.00 | 6250.00 | M/s.MSK Construction
52.00 | Taking down cement plaster on brick or stone walls/tiles etc. including raking out joints, hacking for key, scrubbing down with water, etc. | 700.00 | SqM | 109.18 | 110.00 | 77000.00 | 201.00 | 140700.00 | 100.00 | 70000.00 | 70000.00 | AMUTHA ENGINEERING AND CONSTRUCTION
53.00 | M & L for Dubbing in CM 1:4, 10mm thick on faces of old brick work and concrete surfaces. | 700.00 | SqM | 195.66 | 200.00 | 140000.00 | 322.00 | 225400.00 | 200.00 | 140000.00 | 140000.00 | M/s.MSK Construction, AMUTHA ENGINEERING AND CONSTRUCTION
54.00 | Material and labour for plastering with CM 1:4, 15mm thick on fair faces of brick work/ concrete surfaces work. | 820.00 | SqM | 302.59 | 310.00 | 254200.00 | 387.00 | 317340.00 | 300.00 | 246000.00 | 246000.00 | AMUTHA ENGINEERING AND CONSTRUCTION
55.00 | M & L for plastering in CM 1:3, on fair faces of ceiling to 12mm thick. | 50.00 | SqM | 313.55 | 320.00 | 16000.00 | 443.00 | 22150.00 | 315.00 | 15750.00 | 15750.00 | AMUTHA ENGINEERING AND CONSTRUCTION
56.00 | M & L for Brick work built in CM.1:6 using Sub-Class “B” Bricks. | 18.00 | CuM | 5606.25 | 7200.00 | 129600.00 | 9260.00 | 166680.00 | 6000.00 | 108000.00 | 108000.00 | AMUTHA ENGINEERING AND CONSTRUCTION
57.00 | M & L for dismantling floor, hearth or wall tiling including cement mortar bedding (but not backing), removing serviceable tiles to store and rubbish off the premises. | 600.00 | SqM | 102.93 | 100.00 | 60000.00 | 161.00 | 96600.00 | 100.00 | 60000.00 | 60000.00 | M/s.MSK Construction, AMUTHA ENGINEERING AND CONSTRUCTION
58.00 | Supply and Fixing of Vitrified Ceramic tiles (Dark Shade) 10 mm thick (square/ rectangular) polished, area of each tiles not exceeding 0.36 sqm, in floors etc. set and jointed in neat cement slurry and pointed in white or coloured cement to match and screed bed or bedding layer in CM1:3, 20mm thick for laying floor finishes. | 388.00 | SqM | 2049.40 | 1900.00 | 737200.00 | 1369.00 | 531172.00 | 2000.00 | 776000.00 | 531172.00 | Intex Space Solutions Private Limited
59.00 | Supply and Fixing of Vitrified Ceramic tiles (Dark Shade) 10 mm thick (square/ rectangular) polished, area of each tiles not exceeding 0.36 sqm, in floors/wall etc. set and jointed in neat cement slurry and pointed in white or coloured cement to match including screed bed in CM 1:4, 15mm thick complete. | 550.00 | SqM | 1961.41 | 1800.00 | 990000.00 | 1369.00 | 752950.00 | 2000.00 | 1100000.00 | 752950.00 | Intex Space Solutions Private Limited
60.00 | Hacking out plaster 15cm vide on either sides of the crack cutting of 6mm ' V ' groove by inserting chicken mesh in the gaps of wall and applying pressure grouting the cracks with a mixure of CERA POLY CRACK FILLER,crack fill of Bostik or equivalent in STP,BASF,CIPY and finishing to the original shape. | 150.00 | RM | 190.00 | 200.00 | 30000.00 | 885.00 | 132750.00 | 200.00 | 30000.00 | 30000.00 | M/s.MSK Construction, AMUTHA ENGINEERING AND CONSTRUCTION
61.00 | Supply and fixing of EWC with "P" or "S" trap including bedding valveless syphonic action type flushing cistern low level white with inlet ball valve float and handle including bracket etc., complete and dismantling the existing EWC. | 4.00 | Each | 7947.58 | 8100.00 | 32400.00 | 6039.00 | 24156.00 | 8000.00 | 32000.00 | 24156.00 | Intex Space Solutions Private Limited
62.00 | Supply and fixing of vitreous China squatting pan of pattern “long pan”, size 580 mm white with ‘P’ or ‘S” trap, front or back inlet and foot rests, any pattern including provision of lime concrete bedding PVC valveless 10 litre, syphonic action type, flushing cistern, low level, white, with inlet, ball valve, float and handle including brackets Flush pipe of polyethylene of low or high density or PVC. 32 mm dia, for low level cistern | 8.00 | Each | 3951.20 | 4000.00 | 32000.00 | 6039.00 | 48312.00 | 4000.00 | 32000.00 | 32000.00 | M/s.MSK Construction, AMUTHA ENGINEERING AND CONSTRUCTION
63.00 | Supply and fixing of vitreous China wash basin, white, flat back, size 580x450 Wash basins, Vitreous China (flat back or angle back type) any size, including cutting for and pinning in ends of brackets or erecting stand fixed in repair Waste fittings, brass, chromium plated for glazed ware sinks, basins, etc. with long screwed shanks and fly-nuts, flange end bedded in red lead cement and other end fixed Pillar taps, cast copper alloy, with capstan heads, chromium plated, screwed down high pressure, with or without lettered 'Hot' or 'Cold' with long screwed shanks and fly-nuts, screwed for iron pipe and fixed. | 20.00 | Each | 2954.52 | 3000.00 | 60000.00 | 3623.00 | 72460.00 | 3000.00 | 60000.00 | 60000.00 | M/s.MSK Construction, AMUTHA ENGINEERING AND CONSTRUCTION
64.00 | Supply and Fixing of Vitreous China urinals, bowl type flat back of size 465X355X265mm white including providing and fixing plugs, bedding urinal against wall in cement mortar 1:2, securing urinal to plugs with and including 60mm long brass screws, pointing around urinal back in cement; inculding .connector pipe, stop cock15mm and waste pipe and removing old damaged urinal etc complete | 15.00 | Each | 2541.35 | 2500.00 | 37500.00 | 4831.00 | 72465.00 | 2500.00 | 37500.00 | 37500.00 | M/s.MSK Construction, AMUTHA ENGINEERING AND CONSTRUCTION
65.00 | Material and labour Providing and fixing in position Inbuilt automatic sensing Urinals having Intergrated EFS - Smart -DC and the make shall be approved by EIC. | 6.00 | Each | 30000.00 | 28000.00 | 168000.00 | 12077.00 | 72462.00 | 32000.00 | 192000.00 | 72462.00 | Intex Space Solutions Private Limited
66.00 | Supply and fixing of counter sunk wash basin, waste coupling, bottle trap, angle valve, teflon tape etc and the make shall be approved by EIC. | 6.00 | Each | 14000.00 | 14000.00 | 84000.00 | 4830.00 | 28980.00 | 15000.00 | 90000.00 | 28980.00 | Intex Space Solutions Private Limited
67.00 | Supply and fixing of wall mounted coupled closet inculding soft seat cover,concealed flush tank etc and the make shall be approved by EIC. | 6.00 | Each | 28000.00 | 25000.00 | 150000.00 | 14492.00 | 86952.00 | 30000.00 | 180000.00 | 86952.00 | Intex Space Solutions Private Limited
68.00 | Material and labour Providing and fixing in position Toilet Piller cock and the make shall be approved by EIC. | 6.00 | Each | 3100.00 | 3100.00 | 18600.00 | 3623.00 | 21738.00 | 3250.00 | 19500.00 | 18600.00 | M/s.MSK Construction
69.00 | Material and labour Providing and fixing in position Toilet Health Facet with chromed flexible hose & Wall Bracket and the make shall be approved by EIC. | 6.00 | Each | 500.00 | 600.00 | 3600.00 | 2576.00 | 15456.00 | 525.00 | 3150.00 | 3150.00 | AMUTHA ENGINEERING AND CONSTRUCTION
70.00 | Material and labour Providing and fixing in position Toilet Bottle Trap of 32mm Size with 330mm & 110mm long conection pipes and the make shall be approved by EIC. | 6.00 | Each | 2500.00 | 2500.00 | 15000.00 | 2013.00 | 12078.00 | 2650.00 | 15900.00 | 12078.00 | Intex Space Solutions Private Limited
71.00 | Material and labour Providing and fixing in position Toilet Nahni Trap. | 6.00 | Each | 1600.00 | 200.00 | 1200.00 | 1610.00 | 9660.00 | 1680.00 | 10080.00 | 1200.00 | M/s.MSK Construction
72.00 | Material and labour Providing and fixing in position Toilet Paper Holder with Flap and the make shall be approved by EIC. | 6.00 | Each | 3000.00 | 3000.00 | 18000.00 | 723.00 | 4338.00 | 3150.00 | 18900.00 | 4338.00 | Intex Space Solutions Private Limited
73.00 | Supply and fixing of roob hook brass coated with chorimum plated / gold plated. | 6.00 | Each | 1400.00 | 1400.00 | 8400.00 | 723.00 | 4338.00 | 1500.00 | 9000.00 | 4338.00 | Intex Space Solutions Private Limited
74.00 | Providing and fixing in position liquid soap dispenser of approved shade and the make shall be approved by EIC. Cost to be inclusive of Liquid soap pouch. | 4.00 | Each | 4000.00 | 500.00 | 2000.00 | 2013.00 | 8052.00 | 4500.00 | 18000.00 | 2000.00 | M/s.MSK Construction
75.00 | Supply and fixing of frosted Glass Sheet glass(5.50mm thick), ordinary quality and glazing with oil putty in square exc 0.5 sq. m in each pane ground or obscured or frosted, on one side. | 3.00 | SqM | 1544.57 | 1500.00 | 4500.00 | 2013.00 | 6039.00 | 1500.00 | 4500.00 | 4500.00 | M/s.MSK Construction, AMUTHA ENGINEERING AND CONSTRUCTION
76.00 | Providing and fixing factory made uPVC white colour casement(openable) window made of extruded profiles with wall thickness of 2.3 mm (±0.2mm) window profile with hollow section with multi chamber. Frame(60mm x 58 mm) sash (60mm x 73 mm T profile one vertical length in between two shutters)(60 mm x 74 mm) Glazing bead(35mm x 20 mm) will be mitred cut and fusion welded at all corners including drilling of holes for fixing hardware and drainage of water etc making arrangement for fixing hardware EPDM gasket 1.2 ±0.2 mm thick galvanised steel frame(28 mm x 21.5 mm ) sash (31 mm x 27.5 mm), T profile (27 mmx 17 mm) tobe inserted in required profile. frame will be fixed to the wall with 8 mm x 100 mm long fastners. Hardware casement handle made of zinc alloyed (white powder coated). butt hinges of zinc alloyed (white powder coated) transmissiion gear made of mild steel with multi point locking system and 5mm thick glazing with selected quality glass (Note The unit rate quoted by contractor excludes cost of glass and includes all other connected accessories. Net opening will be measured for payment purpose.(a) area n exc 1.00 Sqm each) | 4.00 | SqM | 14407.03 | 12000.00 | 48000.00 | 8857.00 | 35428.00 | 14500.00 | 58000.00 | 35428.00 | Intex Space Solutions Private Limited
77.00 | Supply and Fixing of bevelled mirror of area exceeding 0.27Sq.m to not exceeding 0.72 Sqm of selected quality glass mounted on commercial ply wood and fixed to wooden frame work or metal frame work with chromium plated brass screws and cup washers. | 6.00 | Each | 2600.00 | 2600.00 | 15600.00 | 6039.00 | 36234.00 | 2750.00 | 16500.00 | 15600.00 | M/s.MSK Construction
78.00 | Supply and Fixing of 600mmx450mm bevelled edge mirror of selected quality glass, mounted on 6mm thick AC building board or commercial plywood and fixed to wooden plugs with chromium plated brass screws and cup washers | 16.00 | Each | 637.79 | 650.00 | 10400.00 | 4026.00 | 64416.00 | 650.00 | 10400.00 | 10400.00 | M/s.MSK Construction, AMUTHA ENGINEERING AND CONSTRUCTION
79.00 | Supply and fixing of tubular towel rail 20mm D type 60cm long of aluminium anodized with and including chromium coated brass screws and wooden /plastic cleats. | 22.00 | Each | 436.77 | 450.00 | 9900.00 | 1450.00 | 31900.00 | 500.00 | 11000.00 | 9900.00 | M/s.MSK Construction
80.00 | Supply and Fixing of 750 capacity in Litres of plastic water tank,approved quality with all fitting and fixed complete to roof. | 20.00 | Each | 6577.21 | 7000.00 | 140000.00 | 6442.00 | 128840.00 | 6500.00 | 130000.00 | 128840.00 | Intex Space Solutions Private Limited
81.00 | Supply and fixing of soap dish fixed to plugs with chromium plated brass screws. | 22.00 | Each | 296.09 | 300.00 | 6600.00 | 644.00 | 14168.00 | 300.00 | 6600.00 | 6600.00 | M/s.MSK Construction, AMUTHA ENGINEERING AND CONSTRUCTION
82.00 | Taking down 20mm steel tubing and connection inculding cleaning for refixing or removal to stores. | 250.00 | RM | 42.11 | 40.00 | 10000.00 | 81.00 | 20250.00 | 42.00 | 10500.00 | 10000.00 | M/s.MSK Construction
83.00 | Taking down 25mm or 32mmsteel tubing and connection inculding cleaning for refixing or removal to stores. | 170.00 | RM | 46.23 | 45.00 | 7650.00 | 81.00 | 13770.00 | 45.00 | 7650.00 | 7650.00 | M/s.MSK Construction, AMUTHA ENGINEERING AND CONSTRUCTION
84.00 | Taking down 40mm or 50mm steel tubing and connection inculding cleaning for refixing or removal to stores. | 150.00 | RM | 56.58 | 55.00 | 8250.00 | 81.00 | 12150.00 | 60.00 | 9000.00 | 8250.00 | M/s.MSK Construction
85.00 | Demolition and breaking drain (Salt glazed ware AC or reinforced concrete) 100mm dia set in cement mortar. | 350.00 | RM | 55.78 | 55.00 | 19250.00 | 200.00 | 70000.00 | 58.00 | 20300.00 | 19250.00 | M/s.MSK Construction
86.00 | Cutting chases, pinning in making good to facing where required and pointing in cement mortar 1:3 for water tubing etc., and making good , cutting not exceeding 10cm girth in brick wall. | 200.00 | RM | 58.02 | 60.00 | 12000.00 | 200.00 | 40000.00 | 60.00 | 12000.00 | 12000.00 | M/s.MSK Construction, AMUTHA ENGINEERING AND CONSTRUCTION
87.00 | Supplying and laying of CPVC pipes 40 mm outer diameter SDR 11 & Plain CPVC SDR 11 fittings on walls/ceiling or laying in floors complete all as specified. | 150.00 | RM | 712.66 | 700.00 | 105000.00 | 200.00 | 30000.00 | 715.00 | 107250.00 | 30000.00 | Intex Space Solutions Private Limited
88.00 | Supplying and laying of CPVC pipes 25 mm outer diameter SDR 11 & Plain CPVC SDR 11 fittings on walls/ceiling or laying in floors complete all as specified. | 170.00 | RM | 377.78 | 350.00 | 59500.00 | 145.00 | 24650.00 | 380.00 | 64600.00 | 24650.00 | Intex Space Solutions Private Limited
89.00 | Supplying and laying of CPVC pipes 20 mm outer diameter SDR 11 & Plain CPVC SDR 11 fittings on walls/ceiling or laying in floors complete all as specified. | 250.00 | RM | 253.81 | 250.00 | 62500.00 | 120.00 | 30000.00 | 250.00 | 62500.00 | 30000.00 | Intex Space Solutions Private Limited
90.00 | Supplying and laying of CPVC pipes 16 mm outer diameter SDR 11 & Plain CPVC SDR 11 fittings on walls/ceiling or laying in floors complete all as specified. | 100.00 | RM | 159.97 | 160.00 | 16000.00 | 96.00 | 9600.00 | 160.00 | 16000.00 | 9600.00 | Intex Space Solutions Private Limited
91.00 | Supply and Fixing of chromium plated cast copper alloy bib cock of size 15mm. | 90.00 | Each | 535.56 | 500.00 | 45000.00 | 966.00 | 86940.00 | 650.00 | 58500.00 | 45000.00 | M/s.MSK Construction
92.00 | Supply and fixing of cast copper alloy screwed down, high pressure stop cock /angle cock fancy type chromium plated concealed type of size 15mm | 70.00 | Each | 828.16 | 850.00 | 59500.00 | 966.00 | 67620.00 | 900.00 | 63000.00 | 59500.00 | M/s.MSK Construction
93.00 | M & L of PVC gully trap 125/110mm setting and jointing with .chromium plated grating plate | 20.00 | Each | 304.75 | 300.00 | 6000.00 | 725.00 | 14500.00 | 300.00 | 6000.00 | 6000.00 | M/s.MSK Construction, AMUTHA ENGINEERING AND CONSTRUCTION
94.00 | M & L of PVC (SWR) floor trap plain of size 75mm with grating including jointing with solvent cement. | 22.00 | Each | 258.75 | 260.00 | 5720.00 | 564.00 | 12408.00 | 250.00 | 5500.00 | 5500.00 | AMUTHA ENGINEERING AND CONSTRUCTION
95.00 | Supply and Fixing of Aluminium Coat Hooks of soild body of size 175mm to250mm | 22.00 | Each | 78.10 | 80.00 | 1760.00 | 564.00 | 12408.00 | 78.00 | 1716.00 | 1716.00 | AMUTHA ENGINEERING AND CONSTRUCTION
96.00 | S & F of 110mm PVC (SWR) Pipes single socketed,in any lenth with rubber ring joints,laid in trenches or in floor. | 250.00 | RM | 218.50 | 225.00 | 56250.00 | 322.00 | 80500.00 | 225.00 | 56250.00 | 56250.00 | M/s.MSK Construction, AMUTHA ENGINEERING AND CONSTRUCTION
97.00 | Supply and fixin of 110mm SWR PVC pipe single socketed in any length with rubber ring joints fixed in walls . | 150.00 | RM | 224.25 | 225.00 | 33750.00 | 322.00 | 48300.00 | 230.00 | 34500.00 | 33750.00 | M/s.MSK Construction
98.00 | Fixing of 75mm SWR PVC pipe single socketed in any length with rubber ring joints fixed in walls . | 50.00 | RM | 65.15 | 65.00 | 3250.00 | 280.00 | 14000.00 | 65.00 | 3250.00 | 3250.00 | M/s.MSK Construction, AMUTHA ENGINEERING AND CONSTRUCTION
99.00 | Fixing of 75mm SWR PVC pipe single socketed in any length with rubber ring joints fixed in floor . | 110.00 | RM | 65.06 | 65.00 | 7150.00 | 280.00 | 30800.00 | 65.00 | 7150.00 | 7150.00 | M/s.MSK Construction, AMUTHA ENGINEERING AND CONSTRUCTION
100.00 | S & F of PVC Bend with door 110mm dia any radius. | 40.00 | Each | 195.50 | 200.00 | 8000.00 | 483.00 | 19320.00 | 200.00 | 8000.00 | 8000.00 | M/s.MSK Construction, AMUTHA ENGINEERING AND CONSTRUCTION
101.00 | S & F of PVC Bend with door 75mm dia any radius. | 15.00 | Each | 166.75 | 170.00 | 2550.00 | 360.00 | 5400.00 | 175.00 | 2625.00 | 2550.00 | M/s.MSK Construction
102.00 | S & F of PVC Tee with door 110mm dia any radius. | 15.00 | Each | 631.38 | 650.00 | 9750.00 | 483.00 | 7245.00 | 650.00 | 9750.00 | 7245.00 | Intex Space Solutions Private Limited
103.00 | S & F of PVC Tee with door 75mm dia any radius. | 12.00 | Each | 489.07 | 500.00 | 6000.00 | 362.00 | 4344.00 | 490.00 | 5880.00 | 4344.00 | Intex Space Solutions Private Limited
104.00 | S & F of PVC Y with door 110mm dia any radius. | 4.00 | Each | 687.19 | 700.00 | 2800.00 | 483.00 | 1932.00 | 690.00 | 2760.00 | 1932.00 | Intex Space Solutions Private Limited
105.00 | Supply and fixing of 110mm PVC (SWR) vent cowl | 15.00 | Each | 132.25 | 130.00 | 1950.00 | 483.00 | 7245.00 | 132.00 | 1980.00 | 1950.00 | M/s.MSK Construction
106.00 | Complete removal of existing treatment on external wall surfaces | 14400.00 | SqM | 10.81 | 11.00 | 158400.00 | 72.00 | 1036800.00 | 14.00 | 201600.00 | 158400.00 | M/s.MSK Construction
107.00 | Material and labour for applying two coats of internal emulsion on internal wall surfaces all complete. | 6102.70 | SqM | 116.84 | 114.50 | 698759.15 | 120.00 | 732324.00 | 125.00 | 762837.50 | 698759.15 | M/s.MSK Construction
108.00 | Material and labour for applying two coat of exterior plastic emulsion on external wall surfaces (two storey building ) all complete (MAKE:- ASIAN Paint (Apex Ultima), NEROLAC (Excel Total), BERGER (Weather Coat Long Life 7) or Suitably Equivalent Make as approved by EIC. | 7700.00 | SqM | 116.84 | 120.00 | 924000.00 | 120.00 | 924000.00 | 125.00 | 962500.00 | 924000.00 | M/s.MSK Construction, Intex Space Solutions Private Limited
109.00 | Material and labour for white washing on ceiling with two coats including preparation of new ceiling surfaces. | 600.00 | SqM | 24.73 | 25.00 | 15000.00 | 120.00 | 72000.00 | 25.00 | 15000.00 | 15000.00 | M/s.MSK Construction, AMUTHA ENGINEERING AND CONSTRUCTION
110.00 | Material and labour for painting steel surfaces of any description over 10cm width or grith with two coats of synthetic enamel paint over a coat of primer including preparing new surfaces. | 1500.00 | SqM | 157.90 | 165.00 | 247500.00 | 160.00 | 240000.00 | 160.00 | 240000.00 | 240000.00 | AMUTHA ENGINEERING AND CONSTRUCTION, Intex Space Solutions Private Limited
111.00 | Material and labour for painting two coats of synthetic enamel paint on old steel surfaces including preparation of untreated surfaces. | 100.00 | SqM | 125.70 | 130.00 | 13000.00 | 160.00 | 16000.00 | 125.00 | 12500.00 | 12500.00 | AMUTHA ENGINEERING AND CONSTRUCTION
112.00 | Material and labour for painting two coats of synthetic enamel paint on old wood surfaces including preparation of old surfaces. | 3570.00 | SqM | 128.23 | 130.00 | 464100.00 | 160.00 | 571200.00 | 130.00 | 464100.00 | 464100.00 | M/s.MSK Construction, AMUTHA ENGINEERING AND CONSTRUCTION
113.00 | S & F of PVC (SWR) pipe of 160 mm dia to walls / roof or in trenches inlcuding all fittings like clamps, bend, Tee etc.as directed and as approved complete as required at site. | 100.00 | RM | 1540.00 | 1600.00 | 160000.00 | 480.00 | 48000.00 | 1600.00 | 160000.00 | 48000.00 | Intex Space Solutions Private Limited
114.00 | Dismantling expanded metal, any thickness or mesh, fixed with steel or wood fillets, if any | 50.00 | SqM | 23.12 | 23.00 | 1150.00 | 400.00 | 20000.00 | 24.00 | 1200.00 | 1150.00 | M/s.MSK Construction
115.00 | S & F of galvanised mild steel wire cloth, 0.56mm nominal dia of wire and average width of aperture 1.18mm and fixed with tinned tacks, or galvanised wire staples. | 50.00 | SqM | 551.43 | 550.00 | 27500.00 | 480.00 | 24000.00 | 550.00 | 27500.00 | 24000.00 | Intex Space Solutions Private Limited
116.00 | M & L for precast slabs for drains in cement mortor 1:4 using Type B1 1:2:4: (20mm graded aggregate) | 2.00 | CuM | 12711.87 | 13125.00 | 26250.00 | 12077.00 | 24154.00 | 12500.00 | 25000.00 | 24154.00 | Intex Space Solutions Private Limited
117.00 | Removal of excavated rocks exceeding 250m but not exceeding 500m and depositing where directed. | 135.00 | CuM | 501.86 | 175.00 | 23625.00 | 885.00 | 119475.00 | 520.00 | 70200.00 | 23625.00 | M/s.MSK Construction
118.00 | Returning / refilling of soil / loose including spreading, leveling, watering and well ramming in layers not exceeding 25cm. | 50.00 | CuM | 159.97 | 165.00 | 8250.00 | 725.00 | 36250.00 | 160.00 | 8000.00 | 8000.00 | AMUTHA ENGINEERING AND CONSTRUCTION
119.00 | Material and labour for Point wiring with PVC insulated sheathed single core cable 1100V grade confirming to IS 694 multi strand copper conductor along with 2mm thick PVC conduuit accessories run on wall or roof including M.S. switch box concealed in the wall(made out of 3mm thick sheet) and laminated sun mica sheet 3mm thick cover for housing the switches, regulators and plug socket etc. mount on a wall/roof etc. including 16SWG bare copper earth continuity wire. a)one light point or one fan point controlled by one switch with cables1.5 sqmm size. | 147.00 | Point | 1141.66 | 1235.00 | 181545.00 | 600.00 | 88200.00 | 1200.00 | 176400.00 | 88200.00 | Intex Space Solutions Private Limited
120.00 | Material and labour for Point wiring with PVC insulated sheathed single core cable 1100V grade confirming to IS 694 multi strand copper conductor along with 2mm thick PVC conduuit accessories run on wall or roof including M.S. switch box concealed in the wall(made out of 3mm thick sheet) and laminated sun mica sheet 3mm thick cover for housing the switches, regulators and plug socket etc. mount on a wall/roof etc. including 16SWG bare copper earth continuity wire. b)One 3 pin socket outlet 5 amps on the same board with other switches, with cables 1.5 sqmm size. | 47.00 | Point | 326.72 | 350.00 | 16450.00 | 725.00 | 34075.00 | 340.00 | 15980.00 | 15980.00 | AMUTHA ENGINEERING AND CONSTRUCTION
121.00 | Supply & Fixing of wiring with two runs of PVC insulated sheathed single core copper cable upto 1100 volts grade confirming to IS 694 multistrand with copper conductor along with PVC conduit and conduit accessories run on wall/roof one run of copper cable as earth wire. (Make: Finolux/Havells/Polycab or Suitably Equivalent make). a)2x2.5 sq.mm+1x2.5 sq.mm earth wire | 500.00 | RM | 212.99 | 230.00 | 115000.00 | 160.00 | 80000.00 | 225.00 | 112500.00 | 80000.00 | Intex Space Solutions Private Limited
122.00 | Supply & Fixing of wiring with two runs of PVC insulated sheathed single core copper cable upto 1100 volts grade confirming to IS 694 multistrand with copper conductor along with PVC conduit and conduit accessories run on wall/roof one run of copper cable as earth wire. (Make: Finolux/Havells/Polycab or Suitably Equivalent make). b) 2x4 sq.mm+1x 4.0 sqmm earth wire | 500.00 | RM | 247.25 | 265.00 | 132500.00 | 322.00 | 161000.00 | 250.00 | 125000.00 | 125000.00 | AMUTHA ENGINEERING AND CONSTRUCTION
123.00 | Supply & Fixing of wiring with two runs of PVC insulated sheathed single core copper cable upto 1100 volts grade confirming to IS 694 multistrand with copper conductor along with PVC conduit and conduit accessories run on wall/roof one run of copper cable as earth wire. (Make: Finolux/Havells/Polycab or Suitably Equivalent make). c)2x6 sq.mm+1x 6.0 sq.mm earth wire | 200.00 | RM | 298.08 | 320.00 | 64000.00 | 440.00 | 88000.00 | 325.00 | 65000.00 | 64000.00 | M/s.MSK Construction
124.00 | Material & Labour for brick wall cutting chases, pinning in, making good to facings where required and pointing in cement mortar 1:3 to ends and cutting chases for concealed conduit wiring, etc. and making good, cutting exceeding 20cm girth. | 120.00 | RM | 63.94 | 70.00 | 8400.00 | 96.00 | 11520.00 | 75.00 | 9000.00 | 8400.00 | M/s.MSK Construction
125.00 | Material & Labour for fixing of switch piano, flush type single pole one way 6 amps. | 78.00 | Each | 138.92 | 355.00 | 27690.00 | 73.00 | 5694.00 | 150.00 | 11700.00 | 5694.00 | Intex Space Solutions Private Limited
126.00 | Material & Labour for fixing of switch socket combination 2 in 1, 6 A flush type universal. | 15.00 | Each | 428.03 | 460.00 | 6900.00 | 242.00 | 3630.00 | 450.00 | 6750.00 | 3630.00 | Intex Space Solutions Private Limited
127.00 | Material & Labour for switch socket combination 3 pin 6A/16A, 5 in 1 flush type universal | 16.00 | Each | 339.60 | 350.00 | 5600.00 | 362.00 | 5792.00 | 350.00 | 5600.00 | 5600.00 | M/s.MSK Construction, AMUTHA ENGINEERING AND CONSTRUCTION
128.00 | Supply & Fixing of stepped type electronic fan regulator flush type on the existing phenolic laminated sheet etc. as required. | 8.00 | Each | 420.79 | 450.00 | 3600.00 | 362.00 | 2896.00 | 45.00 | 360.00 | 360.00 | AMUTHA ENGINEERING AND CONSTRUCTION
129.00 | Material & Labour for ceiling rose, 3 Phase/PVC/polycorbonate, isolated body. | 51.00 | Each | 75.56 | 80.00 | 4080.00 | 120.00 | 6120.00 | 78.00 | 3978.00 | 3978.00 | AMUTHA ENGINEERING AND CONSTRUCTION
130.00 | Material & Labour for fixing PVC rectangular block for mounting, switches, sockets, fan regulator etc. with 3 mm thick plastic laminated sheet cover of size 350 x 300 x 50mm deep | 8.00 | Each | 199.18 | 210.00 | 1680.00 | 322.00 | 2576.00 | 210.00 | 1680.00 | 1680.00 | M/s.MSK Construction, AMUTHA ENGINEERING AND CONSTRUCTION
131.00 | Material & Labour for fixing PVC rectangular block for mounting, switches, sockets, fan regulator etc. with 3 mm thick plastic laminated sheet cover of size 200 x 150 x 50mm deep | 16.00 | Each | 153.53 | 165.00 | 2640.00 | 280.00 | 4480.00 | 160.00 | 2560.00 | 2560.00 | AMUTHA ENGINEERING AND CONSTRUCTION
132.00 | Supply & fixing 240 Volt,10KA 'C' curve MCB of single pole 6 to 32Amps in the MCB DB complete with connection testing and commissioning. Make: Standard /Legrand/ Havells or Suitably Equivalent make. | 54.00 | Each | 338.10 | 360.00 | 19440.00 | 200.00 | 10800.00 | 350.00 | 18900.00 | 10800.00 | Intex Space Solutions Private Limited
133.00 | Supply & fixing 240 Volt,10KA 'C' curve MCB of SPN 32Amps in the MCB DB complete with connection testing and commissioning. Make: Standard /Legrand/Havells or Suitably Equivalent make. | 10.00 | Each | 978.88 | 1200.00 | 12000.00 | 4860.00 | 48600.00 | 1025.00 | 10250.00 | 10250.00 | AMUTHA ENGINEERING AND CONSTRUCTION
134.00 | Supply & fixing 415 Volt,10KA 'C' curve MCB of TPN 40 To 100Amps in the MCB DB complete with connection testing and commissioning. Make: Standard /Legrand /Havells or Suitably Equivalent make. | 2.00 | Each | 2714.85 | 2100.00 | 4200.00 | 7245.00 | 14490.00 | 2850.00 | 5700.00 | 4200.00 | M/s.MSK Construction
135.00 | Supply, fixing & connecting the single pole and neutral enclosure with two pin & earth plug & socket complete with one single pole 20 amps MCB. (Make: Legrand/ Anchor/ Havells or Suitably Equivalent make. | 20.00 | Each | 2090.47 | 2245.00 | 44900.00 | 2012.00 | 40240.00 | 2200.00 | 44000.00 | 40240.00 | Intex Space Solutions Private Limited
136.00 | Material & Labour for connecting to the system modular type switches 6A single pole one way Make: LEGRAND/ ANCHOR/ HAVELLS or Suitably Equivalent make. | 116.00 | Each | 299.58 | 320.00 | 37120.00 | 80.00 | 9280.00 | 325.00 | 37700.00 | 9280.00 | Intex Space Solutions Private Limited
137.00 | Supply, fixing and connecting to the system of socket, 6A-2/3 pin combined modular type 2 module Make: LEGRAND/ ANCHOR/ HAVELLS or Suitably Equivalent make. | 32.00 | Each | 391.62 | 420.00 | 13440.00 | 242.00 | 7744.00 | 400.00 | 12800.00 | 7744.00 | Intex Space Solutions Private Limited
138.00 | Material & Labour for fixing and connecting to the system of switch socket combination, 16A-6 pin 3 module Make: LEGRAND /ANCHOR/ HAVELLS or Suitably Equivalent make. | 16.00 | Each | 451.03 | 480.00 | 7680.00 | 362.00 | 5792.00 | 1200.00 | 19200.00 | 5792.00 | Intex Space Solutions Private Limited
139.00 | Supply, fixing & connecting of Fan step regulator modular type 120W, 2 module Make: Anchor /Havells/ Legrand or Suitably Equivalent make. | 20.00 | Each | 1170.64 | 1250.00 | 25000.00 | 362.00 | 7240.00 | 300.00 | 6000.00 | 6000.00 | AMUTHA ENGINEERING AND CONSTRUCTION
140.00 | Supply & fixing of 3 module, polycarbonate modular white cover plate with frame. Make: Anchor/ Havells/ Legrand or Suitably Equivalent make. | 16.00 | Each | 250.36 | 260.00 | 4160.00 | 65.00 | 1040.00 | 225.00 | 3600.00 | 1040.00 | Intex Space Solutions Private Limited
141.00 | Supply & fixing of metal flush box for 3 module plate. | 16.00 | Each | 206.77 | 220.00 | 3520.00 | 96.00 | 1536.00 | 375.00 | 6000.00 | 1536.00 | Intex Space Solutions Private Limited
142.00 | Supply & fixing of 6 module, polycarbonate modular white cover plate with frame. Make: Anchor/ Havells/ Legrand or Suitably Equivalent make. | 25.00 | Each | 356.04 | 380.00 | 9500.00 | 145.00 | 3625.00 | 375.00 | 9375.00 | 3625.00 | Intex Space Solutions Private Limited
143.00 | Supply & fixing of metal flush box for 6 module plate. | 25.00 | Each | 326.72 | 350.00 | 8750.00 | 200.00 | 5000.00 | 340.00 | 8500.00 | 5000.00 | Intex Space Solutions Private Limited
144.00 | Supply & fixing of 8 module, polycarbonate modular white cover plate with frame. Make: Anchor/ Havells/ Legrand or Suitably Equivalent make. | 17.00 | Each | 438.61 | 470.00 | 7990.00 | 280.00 | 4760.00 | 450.00 | 7650.00 | 4760.00 | Intex Space Solutions Private Limited
145.00 | S & F LED light fitting 1X10W bulkhead luminaires including LED light driver holder connecting up with three core flexible copper conductor cable of suitable size. Make: Philips/ Wipro/ Havells / C&S/ Panasonic or Suitably Equivalent make. Warranty: 2 yrs. | 22.00 | Each | 1598.33 | 1700.00 | 37400.00 | 1200.00 | 26400.00 | 1675.00 | 36850.00 | 26400.00 | Intex Space Solutions Private Limited
146.00 | Supply and fixing of LED luminaire 600mmx600mm, 40watts, 220v AC recessed type with high efficiency PMMA diffuser soft glare cool day light complete with driver, holders & LED lamp suitable for roof ceiling including connecting up with driver three core flexible copper conductor cases of suitable size complete. Make: Philips/ Havells/ Wipro/ Panasonic or Suitably Equivalent make. Warranty: 2 yrs. | 54.00 | Each | 5242.54 | 5600.00 | 302400.00 | 2820.00 | 152280.00 | 5250.00 | 283500.00 | 152280.00 | Intex Space Solutions Private Limited
147.00 | Supply and fixing LED lights fitting 1x 20W, 220V,AC decorative box type with driver, holder including LED tube light connecting up with three core flexible copper conductor cable of suitable size from ceiling rose complete. Make: Philips/ Havells/ Wipro/ Panasonic or Suitably Equivalent make. Warranty: 2 Yrs. | 14.00 | Each | 1501.21 | 1500.00 | 21000.00 | 1450.00 | 20300.00 | 1575.00 | 22050.00 | 20300.00 | Intex Space Solutions Private Limited
148.00 | Supply and fixing round shape 12 watt 220 volts AC recessed type with high efficiency PMMA diffuser soft glare free light complete with drivers, holders, LED lamp suitable for roof ceiling including connecting up with three core flexible copper conductor cable of suitable size complete. Warranty: 2 Yrs. | 14.00 | Each | 1052.62 | 1100.00 | 15400.00 | 1200.00 | 16800.00 | 1100.00 | 15400.00 | 15400.00 | M/s.MSK Construction, AMUTHA ENGINEERING AND CONSTRUCTION
149.00 | Taking down carefully copper/aluminium point wiring (light, fan, socket or power) complete, including fixture and fittings such as switches, ceiling roses, pendants, regulators, sockets, light fitting etc. removing materials to store for keeping in safe custody for taking credit and making good disturbed surfaces of wall, floors, etc. | 243.00 | Point | 270.94 | 285.00 | 69255.00 | 160.00 | 38880.00 | 285.00 | 69255.00 | 38880.00 | Intex Space Solutions Private Limited
150.00 | Supply & fixing of galvanised steel tubes, medium grade 20mm dia for ceiling fan down rod. | 70.00 | RM | 131.73 | 145.00 | 10150.00 | 96.00 | 6720.00 | 150.00 | 10500.00 | 6720.00 | Intex Space Solutions Private Limited
151.00 | Supply and fixing of ceiling fans, complete with three blade, down rod, accessories 230V, 1200mm sweep, with Squirrel cage induction motor and BEE Star Rating: 5 Star & ISI Marking. Make: Orient/ USHA/ Havells or Suitably Equivalent make. Warranty: 2 Yrs. | 20.00 | Each | 3725.44 | 4000.00 | 80000.00 | 2800.00 | 56000.00 | 4000.00 | 80000.00 | 56000.00 | Intex Space Solutions Private Limited
152.00 | Taking down fan, sealing cable end, dismantling blades and removing fan and blades to store. | 43.00 | Each | 236.79 | 250.00 | 10750.00 | 200.00 | 8600.00 | 240.00 | 10320.00 | 8600.00 | Intex Space Solutions Private Limited
153.00 | Supply and fixing of exhaust fan, steel body AC single phase 230 v of size 300mm sweep with blades and frame and louvers. Make: Almonard/ Khaitan/ Havells or Suitably Equivalent make. Warranty: 2 Yrs. | 15.00 | Each | 4080.88 | 4300.00 | 64500.00 | 5233.00 | 78495.00 | 4500.00 | 67500.00 | 64500.00 | M/s.MSK Construction
154.00 | Material & Labour for Painting of ceiling fans complete with synthetic enamel paint by spraying including filling cavities with filler, one coat after cleaning all dust etc | 8.00 | Each | 293.48 | 310.00 | 2480.00 | 1288.00 | 10304.00 | 300.00 | 2400.00 | 2400.00 | AMUTHA ENGINEERING AND CONSTRUCTION
155.00 | Hanging only ceiling fan (M.D.supply) and connecting up including provision of cable from ceiling rose or connector to fan. | 8.00 | Each | 196.19 | 210.00 | 1680.00 | 1610.00 | 12880.00 | 300.00 | 2400.00 | 1680.00 | M/s.MSK Construction
156.00 | Supply & fixing of metal flush box for 8 module plate. | 17.00 | Each | 380.00 | 390.05 | 6630.85 | 322.00 | 5474.00 | 200.00 | 3400.00 | 3400.00 | AMUTHA ENGINEERING AND CONSTRUCTION
157.00 | Supply & fixing of 12 module, polycarbonate modular white cover plate with frame and metal flush box. Make: Anchor/ Havells/ Legrand or Suitably Equivalent make. | 2.00 | Each | 530.00 | 550.00 | 1100.00 | 430.00 | 860.00 | 400.00 | 800.00 | 800.00 | AMUTHA ENGINEERING AND CONSTRUCTION
158.00 | Supply & Fixing of modular type Dummy plate | 90.00 | Number | 26.00 | 27.00 | 2430.00 | 30.00 | 2700.00 | 550.00 | 49500.00 | 2430.00 | M/s.MSK Construction
159.00 | Supply and Fixing of 10 Nos. of 1.5 Ton Inverter Type Hi-Wall Split Air Conditioner unit with 5 Star Rating, Copper Coil and with all accessories including Copper Pipe. | 10.00 | Set | 49600.00 | 54000.00 | 540000.00 | 40000.00 | 400000.00 | 56000.00 | 560000.00 | 400000.00 | Intex Space Solutions Private Limited
| Total in Figures |  |  |  |  | 20010000.00 |  | 19341043.50 |  | 21470246.50
Lowest Amount Quoted BY: Intex Space Solutions Private Limited(19341043.50)

## BOQ Summary
BOQ Summary Details Tender Title: SPECIAL REPAIRS TO DAMAGED ADMIN BLOCK, SHOP FLOOR AREA AND STEEL DOOR IN MBT ARJUN AT HVF, AVADI Tender ID: 2024_AVNL_196801_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Intex Space Solutions Private Limited | 19341043.50 | L1
| 2 | M/s.MSK Construction | 20010000.00 | L2
| 3 | AMUTHA ENGINEERING AND CONSTRUCTION | 21470246.50 | L3