## BoQ1
Government eProcurement System Created By: K SREEVANI Created Date/Time: 11-Jul-2024 04:36 PM Tender Title: Electrical rewiring of MRS and MDS-I and Factory Pump House Bldg. at OFMK (Bldg. No. 41by1, 31 and 32) Tender ID: 2024_AVNL_197106_1
Tender Inviting Authority: CHIEF GENERAL MANAGER, ORDNANCE FACTORY MEDAK HYDERABAD A UNIT OF AVNL
Name of Work: Electrical rewiring of MRS & MDS-I and Factory Pump House Bldg. at OFMK (Bldg. No.41/1, 31 and 32)
Contract No: 76026/ TE-03/ OFMK/EOC/Rewiring MRS&MDS/24-25
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | NIKESH ENTERPRISES(GSTN-NA)--711938 |  | SRI SAI PANASA ELECTRICALS(GSTN-NA)--711943 |  | m/s P.V.PROJECTS&ENGINEERS(GSTN-NA)--711698
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Taking Down carefully copper/ Aluminium point wiring (light ,Fan ,Socket, power point ) complete (fittings such as switches, ceiling roses, pendents, regulators, sockets, etc to be measured seperately) removing mateiral to store for keeping in safe custody for reuse at site and making good ,disturbed surfaces of walls ,floors etc as per the instructions of EIC. | 400.00 | per point | 100.00 | 184.00 | 73600.00 | 230.00 | 92000.00 | 210.00 | 84000.00 | 73600.00 | NIKESH ENTERPRISES
2.00 | Taking Down carefully by unscrewing from board /outlets boxes fittings and fixtures such as switches ,sockets, ceiling roses, lamp holders, brackets, ceiling fittings, bulk head fittings, tubelight fittings and regulatorsetc for reuse at site or carrying to the store ( to be measured only when found serviciable in all respect complete for reuse as per instructions of EIC. | 600.00 | per point | 100.00 | 40.00 | 24000.00 | 30.00 | 18000.00 | 35.00 | 21000.00 | 18000.00 | SRI SAI PANASA ELECTRICALS
3.00 | Point wiring: Supply and fixing /Drawing of cables in PVC pipe of 1"or 3/4 " Dia ,one Light point or one fan point controlled by one switch with cables 1.5 sq.mm size of copper conductor cables FRLS PVC single core Make Finolex/ Havells/ polycab/ L&T in PVC concealed conduit wiring ,includes all accessories like bends ,tees ,screws ,clips ,plugs, clamps, junction boxes ,cutting holes in or through walls ,fixing of wooden boards ,earth wire and nuetral etc and testing as specified all connections to be given by copper Pin/ eye type lugs including for earth connections complete all as specified by EIC. | 472.00 | per point | 10.00 | 953.00 | 449816.00 | 990.00 | 467280.00 | 950.00 | 448400.00 | 448400.00 | m/s P.V.PROJECTS&ENGINEERS
4.00 | Point wiring: Supply and fixing /Drawing of cables to one 3 pin socket outlet 5 amps independent on the same board with other switches, with cables 1.5 sq.mm size of copper conductor cables FRLS PVC concealed conduit wiring Make Finolex/ Havells/ polycab/ L&T as specified by EIC. | 24.00 | per point | 10.00 | 260.00 | 6240.00 | 480.00 | 11520.00 | 280.00 | 6720.00 | 6240.00 | NIKESH ENTERPRISES
5.00 | Point wiring: Supply and fixing /Drawing of cables in PVC pipe of 1"or 3/4 " Dia ,one 3 pin socket outlet 5 amps independent, with cables 2.5 sq.mm size of copper conductor cables FRLS PVC Make Finolex/ Havells/ polycab/L&T in PVC conduit ,includes all accessories like bends ,tees ,screws ,clips ,plugs, clamps, junction boxes ,cutting holes in or through walls ,fixing of wooden boards ,earth wire and all connections to be given by copper Pin/ eye type lugs including for earth connections etc, and testing as specified by EIC. | 8.00 | per point | 10.00 | 1160.00 | 9280.00 | 1600.00 | 12800.00 | 1040.00 | 8320.00 | 8320.00 | m/s P.V.PROJECTS&ENGINEERS
6.00 | Point wiring: Supply and fixing /Drawing of cables in PVC pipe of 1"or 3/4 " Dia ,one 3 pin socket outlet 5 amps independent, with cables 1.5 sq.mm size of copper conductor cables FRLS PVC Make Finolex/ Havells/ polycab/L&T in PVC conduit ,includes all accessories like bends ,tees ,screws ,clips ,plugs, clamps, junction boxes ,cutting holes in or through walls ,fixing of wooden boards ,earth wire and all connections to be given by copper Pin/ eye type lugs including for earth connections etc, and testing as specified by EIC. | 69.00 | per point | 100.00 | 953.00 | 65757.00 | 800.00 | 55200.00 | 1070.00 | 73830.00 | 55200.00 | SRI SAI PANASA ELECTRICALS
7.00 | Point wiring: Supply and fixing /Drawing of cables in PVC pipe of 1"or 3/4 " Dia ,one 3 pin socket outlet 15 amps independent, with 4.0 sq.mm size of copper conductor cables FRLS PVC Make Finolex/Havells/ polycab/ L&T in PVC concealed conduit wiring ,includes all accessories like bends ,tees ,screws ,clips ,plugs, clamps, junction boxes ,cutting holes in or through walls ,fixing of wooden boards ,earth wire. All connections to be given by copper Pin/ eye type lugs including for earth connections etc, and testing as specified by EIC 's technical instructions amended from time to time. | 30.00 | per point | 100.00 | 1700.00 | 51000.00 | 1700.00 | 51000.00 | 1930.00 | 57900.00 | 51000.00 | NIKESH ENTERPRISES, SRI SAI PANASA ELECTRICALS
8.00 | Ceiling rose :Supply and fixing of ceiling rose,PVC/Polycorbonate,3 terminal Make Anchor / Havells/Maru/Cona of ISI quality. | 472.00 | Each | 10.00 | 62.00 | 29264.00 | 50.00 | 23600.00 | 65.00 | 30680.00 | 23600.00 | SRI SAI PANASA ELECTRICALS
9.00 | LED TUBE LIGHT:Supply and fixing LED lights fitting 1x 20W, 220V,AC decorative box type with driver, holder including LED tube light connecting up with three core flexible copper onductor cable of suitable size from ceiling rose complete. Make: syska/Orient/ CG /wipro/ osram/surya/ halonex/ philips /havells | 421.00 | Each | 10.00 | 1160.00 | 488360.00 | 1300.00 | 547300.00 | 1300.00 | 547300.00 | 488360.00 | NIKESH ENTERPRISES
10.00 | MCB :Supply and fixing of MCB, 240 V, single pole 5 to 40 amp Make legrand/Schneider/Indoasian/Havells of ISI quality.All connections to be given by copper Pin/ eye type lugs including for earth connections | 220.00 | Each | 10.00 | 350.00 | 77000.00 | 200.00 | 44000.00 | 360.00 | 79200.00 | 44000.00 | SRI SAI PANASA ELECTRICALS
11.00 | MCB :Supply and fixing of MCB, 240 V, DP 40 amp. Make legrand/ Schneider/ Indoasian/ Havells of ISI quality.All connections to be given by copper Pin/ eye type lugs including for earth connections | 21.00 | Each | 100.00 | 710.00 | 14910.00 | 500.00 | 10500.00 | 512.00 | 10752.00 | 10500.00 | SRI SAI PANASA ELECTRICALS
12.00 | MCB :Supply and fixing of MCB, 415 V, TPN 63A amp Make legrand/ Schneider/Indoasian/Havells of ISI quality.All connections to be given by copper Pin/ eye type lugs including for earth connections | 16.00 | Each | 100.00 | 1376.00 | 22016.00 | 1100.00 | 17600.00 | 1300.00 | 20800.00 | 17600.00 | SRI SAI PANASA ELECTRICALS
13.00 | MCB D.B :Supply and fixing of Sheet Metal enclousers for MCB D.B of double door of SPN, 12 way, phase distribution type including Grouting into the wall neatly and terminate all cables neatly with cable glands and lugs Make legrand/ Schneider/ Indoasian / Havells complete all as specified by EIC. | 21.00 | Each | 10.00 | 2240.00 | 47040.00 | 2000.00 | 42000.00 | 2260.00 | 47460.00 | 42000.00 | SRI SAI PANASA ELECTRICALS
14.00 | MCB D.B :Supply and fixing of Sheet Metal enclousers for MCB D.B of double door of TPN,8 way, phase distribution type including Grouting into the wall neatly and terminate all cables neatly with cable glands and lugs Make legrand/ Schneider/ Indoasian/ Havells complete all as specified by EIC. | 4.00 | Each | 10.00 | 3500.00 | 14000.00 | 4500.00 | 18000.00 | 3580.00 | 14320.00 | 14000.00 | NIKESH ENTERPRISES
15.00 | MCCB: Suppply and fixing of MCCB 3 pole, 415 V,adjustable type, 125 Amps with breaking capacity 16KA Make: Legrand/Schneider/ Indoasian/ Havells/ L&T | 5.00 | Each | 10.00 | 3860.00 | 19300.00 | 7000.00 | 35000.00 | 3580.00 | 17900.00 | 17900.00 | m/s P.V.PROJECTS&ENGINEERS
16.00 | PVC Armoured Cable: Supply and fixing of PVC insulated, armoured, heavy duty electric cable with aluminium conductor, 1100 volts grade, cross-sectional area 50 sq. mm 4 core Make: Finolex/ Havells/ Polycab/ | 150.00 | RM | 10.00 | 323.00 | 48450.00 | 500.00 | 75000.00 | 320.00 | 48000.00 | 48000.00 | m/s P.V.PROJECTS&ENGINEERS
17.00 | PVC Armoured Cable: Supply and fixing of PVC insulated, armoured, heavy duty electric cable with aluminium conductor, 1100 volts grade, cross-sectional area 70 sq. mm 4 core Make: Finolex/ Havells/ Polycab | 200.00 | RM | 10.00 | 440.00 | 88000.00 | 600.00 | 120000.00 | 410.00 | 82000.00 | 82000.00 | m/s P.V.PROJECTS&ENGINEERS
18.00 | Cable trench: Earth work in excavation by mechanical means (Hydraulic excavator) means over areas (exceeding 30 cm in depth,1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5m, as directed by Engineer-in- charge | 150.00 | CU.M | 10.00 | 161.00 | 24150.00 | 200.00 | 30000.00 | 166.00 | 24900.00 | 24150.00 | NIKESH ENTERPRISES
19.00 | Returning,: Filling in, including spreading, levelling, watering and well ramming in layers not exc 25 cm.as specified and directed by the EIC | 156.40 | CU.M | 10.00 | 140.00 | 21896.00 | 100.00 | 15640.00 | 140.00 | 21896.00 | 15640.00 | SRI SAI PANASA ELECTRICALS
20.00 | Switch Modular : Supply and Fixing of switch modular type of one way 6 amps make Legrand/ Schneider/ Havells of ISI quality complete all as specifies by the EIC | 573.00 | Each | 10.00 | 215.00 | 123195.00 | 160.00 | 91680.00 | 260.00 | 148980.00 | 91680.00 | SRI SAI PANASA ELECTRICALS
21.00 | Socket Modular : Supply and Fixing of socket 2 in 1 , 2/3 pin 6 amps combined 2 modular type make Legrand/Schneider/Havells of ISI quality complete all as specified by the EIC | 101.00 | Each | 100.00 | 215.00 | 21715.00 | 300.00 | 30300.00 | 340.00 | 34340.00 | 21715.00 | NIKESH ENTERPRISES
22.00 | Switch Modular : Supply and Fixing of switch modular type of one way 16 amps make Legrand/ Schneider/Havells of ISI quality complete all as specifies by the EIC | 30.00 | Each | 100.00 | 260.00 | 7800.00 | 300.00 | 9000.00 | 340.00 | 10200.00 | 7800.00 | NIKESH ENTERPRISES
23.00 | Socket Modular : Supply and Fixing of socket 2 in 1 , 3 pin 6/16 amps modular type make Legrand/ Schneider/Havells of ISI quality complete all as specified by the EIC | 30.00 | Each | 10.00 | 350.00 | 10500.00 | 300.00 | 9000.00 | 525.00 | 15750.00 | 9000.00 | SRI SAI PANASA ELECTRICALS
24.00 | COVERING PLATES WITH FRAME : Supply and Fixing of covering plates with frames of 4 module of make Legrand/ Schneider /Havells complete all as specified by the EIC | 100.00 | Each | 10.00 | 161.00 | 16100.00 | 250.00 | 25000.00 | 247.00 | 24700.00 | 16100.00 | NIKESH ENTERPRISES
25.00 | METAL FLUSH BOX : Supply and Fixing of 4 module metal flush box for mounting switches and sockets cable terminations neatly with lugs, grouted into the wall complete all as specified Make Legrand/ Schneider/ Havells complete all as specified by the EIC | 100.00 | Each | 10.00 | 170.00 | 17000.00 | 200.00 | 20000.00 | 213.00 | 21300.00 | 17000.00 | NIKESH ENTERPRISES
26.00 | LED SECURITY LIGHT : Supply and fixing LED street light fitting 35 Watt 230 V AC outdoor type with high pressure die cast aluminum hosing and heat resistant complete with driver, lamp bracket with impact and corrosion resistant including thermal management in multiple optics complete with IP 65/66 protection complete. Make: Surya/ Syska/ Orient/CG/ Havells | 40.00 | Each | 100.00 | 2960.00 | 118400.00 | 2000.00 | 80000.00 | 2960.00 | 118400.00 | 80000.00 | SRI SAI PANASA ELECTRICALS
27.00 | Cutting Chases: Cutting chases , pinning in, making good to facings where required and pointing in cement mortor 1:3 to ends or edges of landings, steps, cills, sunshades, shelves, lintels etc; and cutting chases for concealed water tubing or concealed conduit wiring etc, and making good , cutting not exceding 10 cm girth.complete all as specified by the EIC | 800.00 | RM | 100.00 | 53.00 | 42400.00 | 50.00 | 40000.00 | 50.00 | 40000.00 | 40000.00 | m/s P.V.PROJECTS&ENGINEERS, SRI SAI PANASA ELECTRICALS
28.00 | Painting: Distempering walls with distemper oil emulsion, white or tinted double coat as specified by the EIC | 300.00 | Sq.M | 10.00 | 62.00 | 18600.00 | 65.00 | 19500.00 | 54.00 | 16200.00 | 16200.00 | m/s P.V.PROJECTS&ENGINEERS
29.00 | Celing Fan: Supply and fixing ceiling fans complete with blades, down rods, electronic regulator and accessories, 230 V, 1200 mm sweep. Min air delivery 210 CFM with service value 6.00 BEE. Five star rated with brushless direct current motor (BLDC) Make: CG/ Havells/ Usha/ Bajaj/Orient | 21.00 | Each | 10.00 | 3500.00 | 73500.00 | 2800.00 | 58800.00 | 2650.00 | 55650.00 | 55650.00 | m/s P.V.PROJECTS&ENGINEERS
30.00 | Exhaust Fan: Supply and fix exhaust fan, steel body single phase 230V of size 450 MM sweep heavy duty with blades, frame and louvers Make: Almonard/ Usha / CG / Bajaj/ Havells/Orient | 26.00 | Each | 10.00 | 5300.00 | 137800.00 | 5500.00 | 143000.00 | 5500.00 | 143000.00 | 137800.00 | NIKESH ENTERPRISES
31.00 | Sub main wiring : Supply and fixing of wiring for Sub Main wiring along with earth wire with following sizes of FR PVC Insulated copper conductor single core cable 4x6.0 Sq.mm + 1x6 sq.mm earth wire in PVC concelead Conduit wiring .Make: Finolex/Havells /polycab/L&T complete all as specified by the EIC | 100.00 | RM | 100.00 | 400.00 | 40000.00 | 350.00 | 35000.00 | 400.00 | 40000.00 | 35000.00 | SRI SAI PANASA ELECTRICALS
32.00 | Sub main wiring : Supply and fixing of wiring for Sub Main wiring along with earth wire with following sizes of FR PVC Insulated copper conductor single core cable 2x4.0 Sq.mm + 1x4.0 sq.mm earth wire in PVC Conduit wiring .Make: Finolex/Havells /polycab/L&T complete all as specified by the EIC | 600.00 | RM | 100.00 | 224.00 | 134400.00 | 200.00 | 120000.00 | 220.00 | 132000.00 | 120000.00 | SRI SAI PANASA ELECTRICALS
33.00 | SWITCH BOARD BOX WITH FRAME PLATE AND COVER PLATE 8 MODULE :Supply and Fixing of 8 Module metal flush box of make Legrand/Schneider/Havells compleate all as secified by the EIC | 29.00 | Each | 10.00 | 170.00 | 4930.00 | 200.00 | 5800.00 | 180.00 | 5220.00 | 4930.00 | NIKESH ENTERPRISES
34.00 | SWITCH BOARD BOX WITH FRAME PLATE AND COVER PLATE 8 MODULE :Supply and Fixing of 8 Module covering plate with frame of make Legrand/Schneider/Havells compleate all as secified by the EIC | 29.00 | Each | 10.00 | 220.00 | 6380.00 | 300.00 | 8700.00 | 200.00 | 5800.00 | 5800.00 | m/s P.V.PROJECTS&ENGINEERS
35.00 | Fan Hook: Supply and Fixing of Fan hook with double anchor bolt complete fixing as per instructions of EIC. | 20.00 | Each | 10.00 | 130.00 | 2600.00 | 150.00 | 3000.00 | 130.00 | 2600.00 | 2600.00 | m/s P.V.PROJECTS&ENGINEERS, NIKESH ENTERPRISES
36.00 | MCCB Enclosure: Suppply of MCCB Enclosure box for 4 pole,MCCB 125Amps Make: L&T/HPL/ Indoasian | 5.00 | Each | 10.00 | 2200.00 | 11000.00 | 3500.00 | 17500.00 | 2000.00 | 10000.00 | 10000.00 | m/s P.V.PROJECTS&ENGINEERS
37.00 | PANEL:supply and fixing of PDB control panel with powder coated of 2mm thickness CRCA sheet to accomodate 250Amps MCCB in coming, 3 ph and neural bus(Aluminium) bar(250Amps) and provision to fixing of 15 nos of TPN MCBs with indication lamps | 1.00 | Each | 10.00 | 3507.00 | 3507.00 | 50000.00 | 50000.00 | 35000.00 | 35000.00 | 3507.00 | NIKESH ENTERPRISES
38.00 | SWITCH BOARD BOX WITH FRAME PLATE AND COVER PLATE 18 MODULE : Supply and Fixing of covering plates with Metal Flush box and cover plate frames of 18 module of make Legrand/ Schneider/ Havells complete all as specified by the EIC | 30.00 | Each | 10.00 | 530.00 | 15900.00 | 500.00 | 15000.00 | 500.00 | 15000.00 | 15000.00 | m/s P.V.PROJECTS&ENGINEERS, SRI SAI PANASA ELECTRICALS
| Total in Figures |  |  |  |  | 2379806.00 |  | 2467720.00 |  | 2519518.00
Lowest Amount Quoted BY: NIKESH ENTERPRISES(2379806.00)

## BOQ Summary
BOQ Summary Details Tender Title: Electrical rewiring of MRS and MDS-I and Factory Pump House Bldg. at OFMK (Bldg. No. 41by1, 31 and 32) Tender ID: 2024_AVNL_197106_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | NIKESH ENTERPRISES | 2379806.00 | L1
| 2 | SRI SAI PANASA ELECTRICALS | 2467720.00 | L2
| 3 | m/s P.V.PROJECTS&ENGINEERS | 2519518.00 | L3